## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-03 00:00:00 | 2.9507 | 166.8429 | 3.3986 | 183.3379 | 4.9714 | 12.6793 | 5.2643 | 21.9293 | 4.4707 | 893 | 80.8077 | 23.8314
2020-01-03 00:15:00 | 3.104 | 69.0647 | 3.572 | 75.8887 | 5.0033 | 13.5527 | 5.3967 | 24.5653 | 4.584 | 893 | 79.9493 | 26.7313
2020-01-03 00:30:00 | 2.802 | 172.1873 | 3.2253 | 167.5787 | 5.0467 | 9.5767 | 5.34 | 14.9527 | 4.5453 | 893 | 80.366 | 27.954
2020-01-03 00:45:00 | 3.4627 | 14.1307 | 3.9847 | 15.5287 | 5.4273 | 122.3307 | 5.48 | 8.7607 | 4.5987 | 893 | 79.524 | 33.1293
2020-01-03 01:00:00 | 3.9373 | 50.0353 | 4.5327 | 75.314 | 6.0033 | 15.2887 | 6.1673 | 17.4813 | 4.644 | 893 | 79.32 | 39.5267
2020-01-03 01:15:00 | 4.356 | 197.312 | 5.0133 | 216.8267 | 7.272 | 11.0327 | 7.344 | 15.3047 | 4.6227 | 893 | 79.5473 | 41.7487
2020-01-03 01:30:00 | 4.09 | 119.1907 | 4.71 | 147.4567 | 7.292 | 10.606 | 7.0593 | 14.3093 | 4.53 | 893 | 80.2 | 40.1027
2020-01-03 01:45:00 | 4.1973 | 77.0047 | 4.8333 | 84.6187 | 7.8407 | 15.0193 | 7.8587 | 20.4947 | 4.4707 | 893 | 80.64 | 41.6147
2020-01-03 02:00:00 | 4.862 | 41.4933 | 5.5973 | 45.594 | 9.2847 | 10.9173 | 9.464 | 22.6787 | 4.3967 | 893 | 81.24 | 48.9627
2020-01-03 02:15:00 | 5.016 | 113.1093 | 5.772 | 124.292 | 9.7853 | 17.7853 | 10.3607 | 26.6313 | 4.3467 | 892.6667 | 81.46 | 48.384
2020-01-03 02:30:00 | 5.2053 | 74.6747 | 5.9887 | 82.0567 | 9.8367 | 18.6393 | 10.3893 | 25.7347 | 4.3213 | 892 | 81.72 | 50.3527
2020-01-03 02:45:00 | 5.2307 | 118.1253 | 6.0247 | 151.9413 | 9.9627 | 15.8847 | 10.2893 | 25.0733 | 4.3787 | 892 | 80.6907 | 50.9247
2020-01-03 03:00:00 | 5.304 | 188.498 | 6.1073 | 207.1333 | 10.2173 | 14.9667 | 10.3753 | 23.252 | 4.5267 | 892 | 78.9573 | 51.5653
2020-01-03 03:15:00 | 5.5267 | 233.862 | 6.3573 | 256.9867 | 10.6173 | 19.4 | 11.0953 | 31.0653 | 4.5333 | 892 | 79.106 | 52.1427
2020-01-03 03:30:00 | 6.0967 | 230.8327 | 7.016 | 253.6547 | 11.0887 | 20.3587 | 11.7053 | 31.6493 | 4.4927 | 892 | 79.398 | 53.876
2020-01-03 03:45:00 | 5.8773 | 213.24 | 6.7627 | 234.32 | 10.7793 | 20.7413 | 11.5287 | 33.514 | 4.4833 | 892 | 79.166 | 50.4847
2020-01-03 04:00:00 | 5.3573 | 148.7187 | 6.1653 | 163.4227 | 10.0707 | 16.5007 | 10.7393 | 29.99 | 4.5193 | 892 | 78.6407 | 50.6087
2020-01-03 04:15:00 | 5.4153 | 177.926 | 6.2353 | 195.5193 | 10.304 | 20.1047 | 11.0127 | 27.51 | 4.5493 | 892 | 78 | 49.8713
2020-01-03 04:30:00 | 5.6907 | 208.0187 | 6.5507 | 228.59 | 10.6767 | 18.5053 | 11.5807 | 28.35 | 4.6287 | 892 | 76.6333 | 50.2467
2020-01-03 04:45:00 | 5.8527 | 227.0933 | 6.7413 | 249.5533 | 10.9213 | 18.9327 | 11.67 | 31.3053 | 4.708 | 891.0667 | 75.402 | 49.8327
2020-01-03 05:00:00 | 6.1793 | 66.8327 | 7.1093 | 73.4373 | 11.5433 | 17.2167 | 12.0847 | 28.5147 | 4.8067 | 891 | 73.7527 | 48.6493
2020-01-03 05:15:00 | 5.9093 | 163.8353 | 6.8027 | 180.0333 | 10.9167 | 12.4593 | 11.0213 | 21.3387 | 5.084 | 891 | 70.8507 | 47.3967
2020-01-03 05:30:00 | 6.4087 | 171.5627 | 7.372 | 188.8 | 11.2307 | 12.5893 | 11.0307 | 16.0473 | 5.156 | 891 | 70.1913 | 48.0693
2020-01-03 05:45:00 | 6.4707 | 165.8233 | 7.444 | 182.2267 | 11.2633 | 15.322 | 11.23 | 19.5373 | 5.1173 | 891 | 70.432 | 50.1973
2020-01-03 06:00:00 | 6.4073 | 142.4147 | 7.3767 | 156.4967 | 10.8433 | 9.0547 | 10.6547 | 11.3807 | 5.02 | 891 | 71.2253 | 47.0007
2020-01-03 06:15:00 | 6.32 | 109.6467 | 7.2747 | 122.4967 | 10.8367 | 6.2387 | 10.7333 | 20.338 | 4.9613 | 891 | 71.646 | 45.1167
2020-01-03 06:30:00 | 6.308 | 31.0733 | 7.26 | 34.138 | 10.8193 | 11.9433 | 10.7887 | 16.544 | 5.0113 | 891 | 70.9193 | 47.6307
2020-01-03 06:45:00 | 6.78 | 66.124 | 7.7947 | 72.6627 | 11.704 | 16.186 | 12.1153 | 20.088 | 4.948 | 891 | 71.434 | 49.1333
2020-01-03 07:00:00 | 6.6953 | 131.9893 | 7.6967 | 145.034 | 11.5967 | 6.162 | 12.158 | 21.3993 | 4.9773 | 891 | 71.1853 | 46.932
2020-01-03 07:15:00 | 6.4593 | 127.5493 | 7.4287 | 140.1627 | 11.0093 | 8.832 | 11.2773 | 23.5613 | 5.02 | 891.9333 | 71.2013 | 48.5107
2020-01-03 07:30:00 | 6.7333 | 149.1707 | 7.748 | 163.92 | 11.5013 | 17.8267 | 11.744 | 21.6813 | 4.9827 | 892 | 71.1813 | 48.9813
2020-01-03 07:45:00 | 6.6373 | 133.802 | 7.6327 | 147.0333 | 11.394 | 9.366 | 11.816 | 19.2307 | 4.998 | 892 | 70.564 | 46.4953
2020-01-03 08:00:00 | 6.48 | 124.11 | 7.458 | 136.38 | 10.932 | 13.196 | 11.084 | 15.78 | 4.996 | 892 | 70.424 | 43.958
2020-01-03 08:15:00 | 6.0707 | 158.4513 | 6.9847 | 174.1133 | 10.1727 | 10.4953 | 10.0293 | 17.3553 | 4.9507 | 892 | 70.63 | 42.58
2020-01-03 08:30:00 | 5.6013 | 171.6713 | 6.4447 | 188.6453 | 9.19 | 54.9987 | 8.6907 | 14.674 | 4.9147 | 892 | 71.0253 | 43.956
2020-01-03 08:45:00 | 5.6547 | 146.314 | 6.504 | 160.778 | 9.4307 | 196.6153 | 9.574 | 15.2693 | 4.9253 | 892.7333 | 70.9233 | 42.5927
2020-01-03 09:00:00 | 5.3267 | 178.834 | 6.13 | 196.5167 | 9.5527 | 11.21 | 9.8413 | 25.706 | 4.9093 | 892 | 71.5113 | 40.028
2020-01-03 09:15:00 | 5.3313 | 204.12 | 6.1407 | 224.3067 | 9.4913 | 15.5867 | 9.6547 | 21.1933 | 4.9767 | 892.9333 | 71.362 | 35.144
2020-01-03 09:30:00 | 5.1947 | 185.728 | 5.9773 | 204.0933 | 9.2587 | 11.334 | 9.454 | 17.61 | 5.0267 | 893 | 71.148 | 36.5673
2020-01-03 09:45:00 | 5.1453 | 86.9853 | 5.9253 | 84.168 | 9.204 | 12.9273 | 9.3753 | 17.312 | 5.0213 | 893 | 71.624 | 37.9107
2020-01-03 10:00:00 | 4.6453 | 160.7033 | 5.348 | 176.592 | 8.0187 | 15.1153 | 8.0827 | 19.9293 | 5.0507 | 893.6667 | 71.6473 | 33.706
2020-01-03 10:15:00 | 4.99 | 65.942 | 5.746 | 72.3947 | 8.426 | 8.2467 | 8.5533 | 101.7547 | 5.0673 | 894 | 72.4567 | 28.9753
2020-01-03 10:30:00 | 4.826 | 57.88 | 5.5507 | 63.6013 | 8.4893 | 7.4527 | 8.3907 | 17.3307 | 5.1193 | 894 | 72.1247 | 28.814
2020-01-03 10:45:00 | 4.9153 | 164.98 | 5.662 | 181.2933 | 8.302 | 11.366 | 8.416 | 19.9933 | 5.2067 | 894 | 71.382 | 30.6187
2020-01-03 11:00:00 | 5.1 | 188.246 | 5.8673 | 203.072 | 8.8427 | 16.2787 | 8.8827 | 21.1987 | 5.3087 | 894 | 70.9633 | 33.1793
2020-01-03 11:15:00 | 5.004 | 184.8207 | 5.7627 | 203.096 | 8.794 | 13.7427 | 8.816 | 18.256 | 5.43 | 894 | 70.3753 | 34.366
2020-01-03 11:30:00 | 4.46 | 197.9407 | 5.1293 | 217.5067 | 7.9113 | 15.2 | 7.9453 | 21.7127 | 5.508 | 894 | 70.124 | 31.3947
2020-01-03 11:45:00 | 4.8447 | 175.1727 | 5.5853 | 192.4953 | 8.0813 | 9.2333 | 7.856 | 17.9573 | 5.5547 | 894 | 69.9307 | 33.0773
2020-01-03 12:00:00 | 5.0207 | 169.8507 | 5.778 | 186.6467 | 8.072 | 11.5093 | 7.9107 | 22.156 | 5.7167 | 894 | 68.78 | 30.4527
2020-01-03 12:15:00 | 4.6033 | 92.282 | 5.2947 | 84.876 | 8.05 | 9.35 | 7.8747 | 17.044 | 5.962 | 894 | 68.6113 | 30.3667
2020-01-03 12:30:00 | 4.68 | 117.44 | 5.3867 | 129.0507 | 8.3993 | 17.7 | 8.0153 | 21.8313 | 6.0833 | 894 | 68.0953 | 28.5247
2020-01-03 12:45:00 | 4.258 | 44.2533 | 4.9033 | 48.6247 | 7.3133 | 16.8013 | 6.8967 | 17.65 | 6.25 | 893.0667 | 66.9833 | 24.3587
2020-01-03 13:00:00 | 4.1653 | 74.928 | 4.802 | 99.252 | 7.2027 | 18.53 | 6.9013 | 22.806 | 6.5147 | 893 | 66.2627 | 21.5727
2020-01-03 13:15:00 | 3.8747 | 207.6327 | 4.4647 | 228.162 | 6.5907 | 23.1093 | 6.0953 | 21.3767 | 6.814 | 893 | 65.3607 | 18.454
2020-01-03 13:30:00 | 3.764 | 49.3147 | 4.336 | 51.954 | 6.186 | 27.8173 | 5.9633 | 18.234 | 7.18 | 893 | 63.424 | 15.4387
2020-01-03 13:45:00 | 3.6107 | 106.0427 | 4.1513 | 95.804 | 6.0747 | 23.0413 | 6.0147 | 19.5793 | 7.634 | 893 | 61.7047 | 15.7973
2020-01-03 14:00:00 | 3.8187 | 81.8047 | 4.3947 | 89.8893 | 6.4667 | 4.54 | 6.32 | 17.1887 | 8.5987 | 892.4 | 58.932 | 14.2113
2020-01-03 14:15:00 | 3.5233 | 111.2393 | 4.0547 | 122.238 | 6.1367 | 104.226 | 5.8307 | 20.284 | 9.746 | 892 | 55.636 | 10.1767
2020-01-03 14:30:00 | 3.2967 | 36.5653 | 3.8 | 40.176 | 5.3567 | 11.6007 | 4.8947 | 19.364 | 10.7713 | 892 | 52.604 | 5.918
2020-01-03 14:45:00 | 3.2913 | 83.0633 | 3.7867 | 91.274 | 4.9693 | 20.3073 | 4.5413 | 60.064 | 10.1553 | 892.2667 | 53.778 | 3.2447
2020-01-03 15:00:00 | 2.876 | 191.6367 | 3.3047 | 210.5867 | 4.138 | 171.0813 | 3.854 | 231.4833 | 9.9813 | 893 | 53.9953 | 2.192
2020-01-03 15:15:00 | 2.9913 | 63.8227 | 3.4367 | 70.134 | 4.6493 | 227.8333 | 4.5747 | 337.0467 | 10.0133 | 893 | 54.1787 | 2.3387
2020-01-03 15:30:00 | 3.2867 | 76.7233 | 3.7773 | 84.3087 | 4.824 | 80.9573 | 4.6667 | 86.842 | 9.8527 | 893 | 54.3413 | 0.62533
2020-01-03 15:45:00 | 2.5153 | 66.0253 | 2.9013 | 79.114 | 4.4473 | 19.5107 | 3.994 | 15.93 | 10.5427 | 893 | 52.4867 | 0
2020-01-03 16:00:00 | 2.242 | 123.9527 | 2.5833 | 136.2047 | 4.2107 | 13.6953 | 4.0627 | 17.648 | 10.652 | 893 | 51.7233 | 0.010667
2020-01-03 16:15:00 | 2.4093 | 160.9553 | 2.7707 | 175.0093 | 4.2733 | 14.9453 | 3.9313 | 17.1047 | 11.202 | 893 | 50.024 | 0
2020-01-03 16:30:00 | 2.0133 | 125.1827 | 2.318 | 137.8787 | 3.6693 | 11.3613 | 3.482 | 16.4287 | 10.8807 | 893 | 50.6007 | 0
2020-01-03 16:45:00 | 1.7413 | 218.3827 | 2.008 | 239.9693 | 3.2993 | 13.5427 | 3.172 | 8.1347 | 10.75 | 893 | 50.6733 | 0
2020-01-03 17:00:00 | 1.6767 | 128.0273 | 1.9347 | 140.6827 | 3.03 | 169.9233 | 2.804 | 29.0607 | 9.878 | 893 | 53.064 | 0
2020-01-03 17:15:00 | 1.4393 | 21.2993 | 1.6653 | 23.3867 | 2.8247 | 82.1407 | 2.8153 | 15.9093 | 8.8433 | 893 | 56.4607 | 0
2020-01-03 17:30:00 | 1.0553 | 20.7273 | 1.22 | 22.7733 | 1.9947 | 22.4907 | 1.968 | 30.3507 | 8.22 | 893 | 58.168 | 0
2020-01-03 17:45:00 | 1.118 | 20.06 | 1.2907 | 22.0413 | 1.992 | 20.676 | 1.9133 | 25.8127 | 7.72 | 892 | 59.4933 | 0
2020-01-03 18:00:00 | 1.2607 | 272.7767 | 1.4507 | 299.7493 | 2.364 | 10.7793 | 2.2327 | 13.0367 | 7.1913 | 892 | 61.5747 | 0
2020-01-03 18:15:00 | 1.418 | 109.6433 | 1.634 | 120.48 | 2.4613 | 6.6653 | 2.5533 | 39.276 | 7.0313 | 891.7333 | 62.4053 | 0.16067
2020-01-03 18:30:00 | 1.5467 | 205.0853 | 1.7847 | 225.3667 | 2.812 | 165.2387 | 2.5993 | 10.5493 | 6.7 | 891 | 63.7047 | 0.104
2020-01-03 18:45:00 | 1.3973 | 310.0127 | 1.614 | 340.6667 | 2.5187 | 207.3333 | 2.3807 | 5.652 | 6.408 | 891.3333 | 64.9827 | 0.53267
2020-01-03 19:00:00 | 1.4867 | 283.0513 | 1.716 | 311.04 | 2.574 | 284.978 | 2.4607 | 97.914 | 6.2713 | 892 | 65.722 | 0.010667
2020-01-03 19:15:00 | 1.5767 | 316.4233 | 1.8193 | 347.7067 | 2.434 | 127.4213 | 2.4173 | 19.664 | 6.2853 | 892 | 65.6867 | 0
2020-01-03 19:30:00 | 1.2487 | 299.454 | 1.4413 | 329.0733 | 1.838 | 17.3167 | 1.9347 | 25.938 | 6.4227 | 892 | 64.85 | 0
2020-01-03 19:45:00 | 1.1247 | 299.8733 | 1.3027 | 329.5267 | 2.1793 | 22.434 | 2.45 | 37.7747 | 6.1353 | 892 | 65.9527 | 0
2020-01-03 20:00:00 | 1.0453 | 297.67 | 1.208 | 327.1 | 2.0453 | 12.6827 | 1.9667 | 24.4267 | 5.8033 | 892 | 67.394 | 0
2020-01-03 20:15:00 | 0.98133 | 280.382 | 1.128 | 308.1 | 1.9407 | 71.79 | 1.898 | 15.4493 | 5.4707 | 892 | 69.1707 | 0
2020-01-03 20:30:00 | 0.662 | 285.234 | 0.76867 | 313.4333 | 1.3093 | 54.5847 | 1.4593 | 19.54 | 5.4267 | 892 | 69.6787 | 0
2020-01-03 20:45:00 | 0.35133 | 272.266 | 0.406 | 299.1867 | 0.45267 | 76.8887 | 0.58 | 42.1173 | 5.8127 | 892 | 68.3593 | 0
2020-01-03 21:00:00 | 1.9267 | 175.6933 | 2.2207 | 193.0667 | 2.5133 | 193.9067 | 2.5613 | 189.54 | 6.126 | 892.6 | 72.008 | 0
2020-01-03 21:15:00 | 2.1027 | 159.694 | 2.4227 | 175.4867 | 2.82 | 169.8867 | 3.2613 | 165.4067 | 5.8647 | 893 | 78.0213 | 0
2020-01-03 21:30:00 | 1.802 | 153.1993 | 2.076 | 168.3467 | 2.4253 | 154.3533 | 2.9887 | 153.26 | 5.722 | 893 | 79.0307 | 0
2020-01-03 21:45:00 | 1.7527 | 152.9107 | 2.02 | 168.0267 | 2.4873 | 154.0333 | 2.55 | 162.06 | 5.7773 | 892.6667 | 77.524 | 0
2020-01-03 22:00:00 | 1.6473 | 167.8467 | 1.8953 | 184.44 | 2.3887 | 166.3067 | 2.3733 | 169.44 | 5.762 | 892 | 78.564 | 0
2020-01-03 22:15:00 | 1.916 | 166.384 | 2.2087 | 182.84 | 2.526 | 183.0933 | 2.6073 | 179.8867 | 5.766 | 892.9333 | 79.6067 | 0
2020-01-03 22:30:00 | 1.778 | 172.5047 | 2.0513 | 189.5667 | 2.2833 | 193.8533 | 2.416 | 193.8867 | 5.666 | 893 | 80.5627 | 0
2020-01-03 22:45:00 | 0.99333 | 179.7467 | 1.15 | 197.52 | 1.3933 | 187.52 | 1.7667 | 177.9867 | 5.5307 | 893 | 81.6267 | 0
2020-01-03 23:00:00 | 0.99533 | 184.8193 | 1.1527 | 203.0867 | 1.4127 | 185.3733 | 2.096 | 175.9 | 5.5093 | 893 | 82.2 | 0
2020-01-03 23:15:00 | 0.84467 | 178.8467 | 0.97333 | 196.5267 | 1.3947 | 167.24 | 1.9827 | 173.08 | 5.4053 | 893 | 82.72 | 0
2020-01-03 23:30:00 | 0.29533 | 100.1273 | 0.33867 | 110.0167 | 0.412 | 151.6 | 1.0953 | 172.54 | 5.0287 | 892.4 | 83.86 | 0
2020-01-03 23:45:00 | 1.378 | 172.6807 | 1.5893 | 189.7567 | 0.83867 | 79.5733 | 0.71667 | 112.144 | 4.4067 | 892 | 80.736 | 0