## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-04 00:00:00 | 2.4229 | 206.7136 | 2.7871 | 227.1536 | 2.8243 | 2.3107 | 2.3636 | 131.5193 | 3.5921 | 892 | 83.4667 | 0
2020-01-04 00:15:00 | 3.2233 | 82.234 | 3.7087 | 90.36 | 4.0827 | 8.3793 | 3.698 | 7.6573 | 3.4253 | 892 | 83.5733 | 0.79333
2020-01-04 00:30:00 | 3.0793 | 80.67 | 3.542 | 88.646 | 4.1747 | 14.9813 | 4.598 | 24.538 | 3.424 | 891.3333 | 83.4867 | 2.4767
2020-01-04 00:45:00 | 2.416 | 255.8273 | 2.78 | 281.124 | 3.1733 | 80.5433 | 3.5007 | 19.97 | 3.1433 | 891 | 84.98 | 0.054
2020-01-04 01:00:00 | 2.8933 | 311.974 | 3.33 | 342.82 | 3.3693 | 238.8367 | 3.1947 | 11.288 | 3.4213 | 891.6 | 83.7867 | 0
2020-01-04 01:15:00 | 1.9953 | 303.052 | 2.3007 | 333.02 | 2.1807 | 184.738 | 2.1993 | 139.4593 | 3.4553 | 892 | 83.72 | 0
2020-01-04 01:30:00 | 2.844 | 268.534 | 3.2707 | 295.0933 | 3.2627 | 235.8607 | 3.1667 | 6.5967 | 3.468 | 891.4 | 83.66 | 0
2020-01-04 01:45:00 | 3.7653 | 318.538 | 4.334 | 350.04 | 4.64 | 2.488 | 4.464 | 8.02 | 3.276 | 891 | 84.7133 | 1.6667
2020-01-04 02:00:00 | 3.3747 | 265.322 | 3.8787 | 291.56 | 4.66 | 3.052 | 4.4667 | 7.5947 | 3.1393 | 891 | 85.1333 | 0.92933
2020-01-04 02:15:00 | 3.322 | 216.366 | 3.8173 | 237.7633 | 4.3373 | 10.888 | 4.4687 | 14.17 | 3.0493 | 891 | 85.6267 | 0.462
2020-01-04 02:30:00 | 3.6127 | 206.2067 | 4.1533 | 245.444 | 4.8807 | 9.6307 | 4.7627 | 12.9053 | 2.854 | 891 | 86.4333 | 1.208
2020-01-04 02:45:00 | 3.3753 | 308.9133 | 3.8827 | 339.46 | 4.3213 | 9.552 | 4.61 | 12.3207 | 2.5813 | 891 | 87.3467 | 0.82867
2020-01-04 03:00:00 | 4.194 | 218.8367 | 4.8253 | 240.4767 | 4.622 | 238.6667 | 4.2113 | 0.60867 | 2.8373 | 891 | 86.3467 | 0.40733
2020-01-04 03:15:00 | 3.472 | 114.0893 | 3.9987 | 147.7993 | 4.154 | 17.708 | 3.5453 | 0.32667 | 2.6313 | 891 | 87.54 | 0.35067
2020-01-04 03:30:00 | 3.5787 | 175.24 | 4.1207 | 192.57 | 4.2913 | 1.052 | 4.0507 | 0.68733 | 2.556 | 890.4 | 88.2133 | 1.2133
2020-01-04 03:45:00 | 3.6147 | 44.3327 | 4.156 | 48.7133 | 4.1507 | 2.8433 | 3.866 | 12.4573 | 2.5047 | 890 | 88.7267 | 0.31867
2020-01-04 04:00:00 | 2.892 | 210.812 | 3.3347 | 231.6633 | 3.7413 | 6.718 | 3.2547 | 5.3787 | 2.574 | 890.6 | 88.5333 | 0
2020-01-04 04:15:00 | 2.9433 | 268.7487 | 3.3893 | 296.4707 | 3.6867 | 4.6533 | 2.732 | 1.512 | 2.5013 | 890.0667 | 88.4667 | 0
2020-01-04 04:30:00 | 3.0213 | 254.02 | 3.4827 | 279.1393 | 3.834 | 130.9127 | 2.9773 | 4.4967 | 2.502 | 890 | 88.9267 | 0
2020-01-04 04:45:00 | 3.5687 | 316.4767 | 4.106 | 347.7733 | 4.4627 | 35.5633 | 4.2887 | 4.4293 | 2.63 | 890 | 88.7133 | 1.0793
2020-01-04 05:00:00 | 3.7247 | 165.724 | 4.2887 | 182.11 | 5.0293 | 10.3993 | 4.908 | 10.3547 | 2.3527 | 890 | 89.92 | 2.4587
2020-01-04 05:15:00 | 4.0307 | 139.268 | 4.642 | 153.0347 | 4.9867 | 168.3853 | 4.8107 | 5.0467 | 2.0533 | 889.7333 | 91.1667 | 4.0173
2020-01-04 05:30:00 | 3.74 | 260.162 | 4.3033 | 266.064 | 5.2613 | 165.4 | 5.1913 | 7.2953 | 1.848 | 889 | 91.88 | 3.556
2020-01-04 05:45:00 | 3.8487 | 236.3027 | 4.424 | 259.6653 | 4.9427 | 167.756 | 4.544 | 3.022 | 1.8513 | 889 | 91.56 | 2.7713
2020-01-04 06:00:00 | 3.8867 | 251.186 | 4.474 | 276.0273 | 4.89 | 166.8673 | 4.5887 | 5.2307 | 1.856 | 889 | 91.72 | 4.3627
2020-01-04 06:15:00 | 3.8647 | 163.5607 | 4.4527 | 179.734 | 5.842 | 49.176 | 5.6627 | 4.7993 | 2.012 | 889 | 91.8 | 7.984
2020-01-04 06:30:00 | 3.7533 | 8.6527 | 4.3207 | 9.5007 | 5.704 | 6.2033 | 5.59 | 6.1827 | 1.9313 | 889 | 92.1733 | 9.71
2020-01-04 06:45:00 | 3.6127 | 113.056 | 4.152 | 124.2347 | 5.8713 | 8.8393 | 6.04 | 14.756 | 1.8427 | 889.9333 | 92.7133 | 11.0853
2020-01-04 07:00:00 | 3.4127 | 213.3653 | 3.9273 | 234.286 | 5.862 | 10.4427 | 6.2493 | 16.1127 | 1.8167 | 890 | 92.5933 | 10.5993
2020-01-04 07:15:00 | 3.1753 | 213.212 | 3.6507 | 234.2987 | 5.5547 | 2.3167 | 6.0907 | 14.6567 | 1.7413 | 889.3333 | 92.8667 | 8.094
2020-01-04 07:30:00 | 3.28 | 92.17 | 3.774 | 101.2793 | 5.5413 | 6.2493 | 6.092 | 20.5907 | 1.868 | 890 | 92.2267 | 8.1413
2020-01-04 07:45:00 | 3.2387 | 167.1087 | 3.7347 | 183.624 | 5.442 | 9.6653 | 5.8253 | 20.966 | 1.8747 | 890 | 91.8867 | 6.292
2020-01-04 08:00:00 | 3.5533 | 172.108 | 4.0907 | 189.1267 | 5.4773 | 5.2607 | 5.6033 | 10.2667 | 1.8747 | 890 | 91.7133 | 7.28
2020-01-04 08:15:00 | 3.4827 | 233.6747 | 4.0087 | 260.3033 | 5.074 | 73.1393 | 5.26 | 6.9413 | 1.954 | 890 | 91.2533 | 4.2853
2020-01-04 08:30:00 | 4.128 | 210.3207 | 4.7487 | 231.1233 | 4.9227 | 73.8913 | 4.8473 | 1.608 | 2.1087 | 890 | 90.5067 | 2.7127
2020-01-04 08:45:00 | 4.124 | 293.4 | 4.7467 | 322.34 | 4.8927 | 159.7687 | 5.1153 | 1.1187 | 2.106 | 890 | 90.82 | 1.244
2020-01-04 09:00:00 | 3.8373 | 192.81 | 4.4107 | 211.8733 | 4.6507 | 95.552 | 4.9693 | 5.5487 | 2.1747 | 890 | 90.98 | 0.618
2020-01-04 09:15:00 | 3.9193 | 48.5887 | 4.5047 | 53.3853 | 4.964 | 10.318 | 4.756 | 13.522 | 2.348 | 890 | 90.54 | 0.396
2020-01-04 09:30:00 | 3.5173 | 113.5133 | 4.042 | 101.178 | 4.9127 | 15.7867 | 4.7733 | 20.046 | 2.5047 | 890 | 90.2867 | 0.43133
2020-01-04 09:45:00 | 3.4107 | 152.606 | 3.9193 | 167.6947 | 4.4893 | 10.2927 | 4.546 | 9.0653 | 2.6633 | 890.2667 | 89.6133 | 0.182
2020-01-04 10:00:00 | 3.502 | 121.302 | 4.032 | 133.29 | 4.5047 | 4.7847 | 4.4493 | 11.2387 | 2.8053 | 891 | 88.8533 | 0.77
2020-01-04 10:15:00 | 3.6453 | 76.62 | 4.204 | 84.1853 | 4.9007 | 11.694 | 5.1867 | 15.262 | 2.8073 | 891 | 88.8867 | 2.816
2020-01-04 10:30:00 | 3.764 | 171.8307 | 4.332 | 188.8227 | 4.778 | 4.1547 | 5.0913 | 18.622 | 2.596 | 891 | 89.7467 | 1.6807
2020-01-04 10:45:00 | 3.5547 | 211.806 | 4.0973 | 232.75 | 4.4693 | 12.208 | 4.7733 | 20.8807 | 2.8853 | 891 | 88.4467 | 1.8133
2020-01-04 11:00:00 | 2.996 | 191.912 | 3.454 | 210.884 | 4.188 | 12.7773 | 4.726 | 20.788 | 3.2167 | 891 | 87.34 | 2.0347
2020-01-04 11:15:00 | 3.172 | 5.3027 | 3.6513 | 5.8193 | 4.34 | 19.0873 | 4.602 | 22.512 | 3.6873 | 891 | 85.2667 | 1.4087
2020-01-04 11:30:00 | 3.1193 | 51.51 | 3.588 | 56.5967 | 4.0373 | 10.158 | 4.206 | 12.732 | 3.7987 | 891 | 84.2933 | 0.638
2020-01-04 11:45:00 | 3.0853 | 178.9273 | 3.546 | 196.6193 | 3.684 | 11.5967 | 4.0027 | 17.602 | 3.7867 | 890.0667 | 84.4 | 0.001333
2020-01-04 12:00:00 | 3.128 | 205.4973 | 3.5993 | 225.8193 | 4.108 | 4.8467 | 4.2553 | 12.624 | 3.968 | 890 | 83.52 | 0.11733
2020-01-04 12:15:00 | 3.2613 | 27.3313 | 3.7547 | 30.032 | 4.1287 | 122.9927 | 4.2547 | 9.0587 | 4.2173 | 890 | 82.74 | 0
2020-01-04 12:30:00 | 3.196 | 25.9647 | 3.6793 | 28.5267 | 4.128 | 11.702 | 4.4613 | 12.1887 | 4.1833 | 890 | 83.3267 | 0
2020-01-04 12:45:00 | 2.9313 | 113.7967 | 3.3687 | 125.044 | 3.7647 | 7.6453 | 4.056 | 16.398 | 4.0987 | 889.7333 | 83.8067 | 0
2020-01-04 13:00:00 | 2.8713 | 56.2093 | 3.302 | 61.7607 | 3.5827 | 3.4093 | 3.656 | 12.3633 | 4.1967 | 889 | 83.5733 | 0
2020-01-04 13:15:00 | 2.2573 | 106.69 | 2.5973 | 117.2367 | 3.032 | 1.4967 | 2.714 | 11.5307 | 4.5893 | 889 | 81.6667 | 0
2020-01-04 13:30:00 | 1.7653 | 136.942 | 2.0333 | 150.48 | 2.158 | 12.9507 | 1.672 | 16.114 | 4.8293 | 889 | 80.9467 | 0
2020-01-04 13:45:00 | 1.76 | 18.952 | 2.0333 | 20.8167 | 1.9513 | 25.2207 | 1.2507 | 5.6493 | 4.774 | 888 | 80.5333 | 0
2020-01-04 14:00:00 | 1.722 | 5.4847 | 1.992 | 6.016 | 1.8613 | 9.8647 | 0.60867 | 21.8747 | 4.8447 | 888 | 80.0853 | 0
2020-01-04 14:15:00 | 1.364 | 11.6287 | 1.5673 | 12.7753 | 1.3687 | 123.7447 | 0.078667 | 261.2933 | 4.7853 | 888 | 80.624 | 0
2020-01-04 14:30:00 | 0.30667 | 129.3027 | 0.35467 | 142.0893 | 0.15333 | 223.272 | 0.79133 | 193.2333 | 5.118 | 888 | 81.0467 | 0
2020-01-04 14:45:00 | 0.71067 | 267.186 | 0.822 | 293.606 | 0.33933 | 254.16 | 0.54267 | 196.0667 | 5.1073 | 887.0667 | 82.1467 | 0
2020-01-04 15:00:00 | 1.6693 | 52.7347 | 1.9293 | 57.9487 | 1.638 | 234.4467 | 0.842 | 328.2467 | 4.8647 | 887 | 83.38 | 0
2020-01-04 15:15:00 | 2.122 | 59.216 | 2.4467 | 87.1787 | 2.2647 | 352.2467 | 1.9493 | 343.3267 | 4.67 | 887 | 84.04 | 0
2020-01-04 15:30:00 | 1.9827 | 115.8213 | 2.2873 | 127.27 | 2.2413 | 351.82 | 1.9493 | 258.36 | 4.5387 | 887 | 84.6667 | 0
2020-01-04 15:45:00 | 1.9713 | 217.5693 | 2.2653 | 238.8833 | 2.3433 | 346.7733 | 2.008 | 344.6133 | 4.5447 | 886.6667 | 85.1 | 0
2020-01-04 16:00:00 | 2.1173 | 180.5613 | 2.436 | 198.418 | 2.3987 | 82.724 | 2.056 | 185.3187 | 4.5687 | 886 | 85.5133 | 0
2020-01-04 16:15:00 | 1.8053 | 16.1373 | 2.0813 | 17.728 | 2.324 | 32.164 | 1.7787 | 2.0967 | 4.7293 | 886 | 84.9267 | 0
2020-01-04 16:30:00 | 2.6407 | 146.7773 | 3.044 | 161.2907 | 3.4053 | 3.3433 | 3.0893 | 125.28 | 4.6307 | 886 | 85.1267 | 0
2020-01-04 16:45:00 | 2.7407 | 225.8107 | 3.152 | 248.14 | 3.6787 | 0.98933 | 3.402 | 7.9547 | 4.6573 | 885.7333 | 84.9 | 0
2020-01-04 17:00:00 | 2.362 | 196.204 | 2.7207 | 215.6 | 2.8807 | 236.2033 | 2.7447 | 170.8273 | 4.6353 | 885 | 85.5333 | 0
2020-01-04 17:15:00 | 2.232 | 228.4507 | 2.572 | 251.0393 | 2.662 | 283.3633 | 2.5287 | 71.5053 | 4.572 | 885.9333 | 86.0467 | 0
2020-01-04 17:30:00 | 1.7947 | 250.8433 | 2.072 | 275.646 | 2.2427 | 117.244 | 1.9907 | 47.388 | 4.48 | 886 | 86.26 | 0.13267
2020-01-04 17:45:00 | 1.8727 | 319.462 | 2.156 | 351.0533 | 2.3287 | 255.51 | 2.004 | 189.6453 | 4.398 | 886 | 86.7067 | 0.15867
2020-01-04 18:00:00 | 1.9987 | 280.242 | 2.3093 | 307.9573 | 2.47 | 73.7533 | 2.018 | 1.9607 | 4.406 | 886 | 86.62 | 0.52467
2020-01-04 18:15:00 | 1.724 | 179.3453 | 1.9887 | 197.0787 | 2.1167 | 11.2687 | 0.74667 | 96.9913 | 4.3373 | 886 | 86.9733 | 0
2020-01-04 18:30:00 | 2.518 | 279.044 | 2.9 | 306.64 | 3.1813 | 52.964 | 3.016 | 10.4133 | 4.1527 | 886 | 87.8333 | 0
2020-01-04 18:45:00 | 2.6913 | 213.5187 | 3.0973 | 234.6287 | 3.6073 | 73.8013 | 3.5593 | 14.4187 | 3.9787 | 885.0667 | 88.14 | 0.20667
2020-01-04 19:00:00 | 2.2887 | 159.044 | 2.6313 | 174.7647 | 3.6173 | 7.9987 | 3.472 | 16.028 | 3.916 | 885 | 88.34 | 0
2020-01-04 19:15:00 | 2.6307 | 213.6833 | 3.0353 | 234.8167 | 3.162 | 125.7487 | 3.2593 | 11.2447 | 3.9213 | 885 | 88.1133 | 0
2020-01-04 19:30:00 | 2.9953 | 231.0927 | 3.4473 | 253.9387 | 3.4753 | 48.408 | 3.1293 | 235.162 | 3.9793 | 885 | 87.7333 | 0
2020-01-04 19:45:00 | 3.064 | 265.164 | 3.5267 | 291.388 | 3.3747 | 195.9927 | 3.0767 | 9.4467 | 4.0347 | 885 | 87.44 | 0
2020-01-04 20:00:00 | 2.96 | 45.952 | 3.4033 | 50.4913 | 3.7067 | 143.0693 | 3.2913 | 123.0493 | 3.98 | 885 | 87.94 | 0
2020-01-04 20:15:00 | 3.1773 | 310.468 | 3.652 | 340.8067 | 3.5847 | 132.852 | 3.4353 | 126.552 | 3.9733 | 885 | 87.6533 | 0.13867
2020-01-04 20:30:00 | 3.1807 | 211.63 | 3.6607 | 232.5567 | 3.8353 | 49.94 | 3.81 | 7.786 | 3.96 | 885 | 87.4533 | 1.22
2020-01-04 20:45:00 | 3.2627 | 275.8 | 3.754 | 280.7373 | 4.222 | 192.1827 | 3.9433 | 19.8953 | 3.9307 | 885 | 87.7733 | 1.866
2020-01-04 21:00:00 | 2.5927 | 41.4987 | 2.98 | 45.6013 | 4.074 | 4.716 | 3.9553 | 13.212 | 3.8927 | 885 | 88.1867 | 1.9547
2020-01-04 21:15:00 | 2.9333 | 301.856 | 3.374 | 331.7067 | 4.6133 | 9.39 | 4.648 | 9.4013 | 3.836 | 885 | 88.7333 | 2.942
2020-01-04 21:30:00 | 2.906 | 117.0433 | 3.3447 | 128.6167 | 4.2467 | 14.4887 | 4.3327 | 15.5613 | 3.804 | 885 | 89.06 | 2.3567
2020-01-04 21:45:00 | 2.7627 | 74.8367 | 3.1813 | 83.244 | 4.1253 | 100.942 | 3.9987 | 10.9747 | 3.8107 | 885 | 89.1 | 1.4347
2020-01-04 22:00:00 | 2.6987 | 210.446 | 3.1053 | 231.26 | 3.7527 | 121.5767 | 3.6593 | 16.0293 | 3.8193 | 885 | 89.1 | 0.87
2020-01-04 22:15:00 | 2.6247 | 144.2347 | 3.0247 | 158.5013 | 3.9753 | 168.9933 | 3.6653 | 7.1367 | 3.8327 | 885 | 89.0933 | 0.94133
2020-01-04 22:30:00 | 2.8293 | 215.6267 | 3.2587 | 236.9467 | 3.9753 | 214.2833 | 3.646 | 4.776 | 3.8187 | 885 | 89.3 | 1.5847
2020-01-04 22:45:00 | 2.6953 | 311.0787 | 3.1013 | 341.84 | 4.16 | 259.1 | 3.816 | 101.1993 | 3.8013 | 885 | 89.56 | 1.868
2020-01-04 23:00:00 | 2.8527 | 310.4873 | 3.28 | 341.1933 | 4.472 | 75.4727 | 4.1993 | 4.8247 | 3.7513 | 885 | 90.06 | 2.6087
2020-01-04 23:15:00 | 3.0453 | 176.024 | 3.4987 | 193.43 | 4.6153 | 5.1027 | 4.4687 | 9.5727 | 3.7193 | 884.6667 | 90.26 | 2.7707
2020-01-04 23:30:00 | 3.2107 | 148.874 | 3.6933 | 163.5933 | 4.674 | 6.418 | 4.3513 | 14.8273 | 3.6493 | 884 | 90.9933 | 3.5747
2020-01-04 23:45:00 | 3.3993 | 71.3507 | 3.9133 | 78.4073 | 5.3533 | 166.97 | 5.0267 | 10.9547 | 3.5327 | 884 | 92.1133 | 4.6187