## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-05 00:00:00 | 3.1586 | 162.0593 | 3.6364 | 178.085 | 5.4086 | 102.6536 | 5.0593 | 6.325 | 3.4514 | 884 | 93.01 | 5.3743
2020-01-05 00:15:00 | 3.3853 | 95.04 | 3.9027 | 104.4347 | 5.38 | 80.2453 | 5.2287 | 4.4587 | 3.328 | 884 | 94.52 | 7.7547
2020-01-05 00:30:00 | 3.6273 | 281.704 | 4.1733 | 309.56 | 5.5227 | 12.4927 | 5.426 | 12.378 | 3.174 | 884 | 95.44 | 10.1867
2020-01-05 00:45:00 | 3.7787 | 214.4187 | 4.3453 | 235.62 | 5.7893 | 18.46 | 5.5893 | 11.9753 | 3.0793 | 883.6667 | 95.6933 | 10.8573
2020-01-05 01:00:00 | 3.866 | 173.6053 | 4.448 | 190.7707 | 5.6487 | 119.7207 | 5.602 | 16.4053 | 3.04 | 883 | 95.82 | 10.262
2020-01-05 01:15:00 | 3.908 | 133.2727 | 4.5013 | 146.4513 | 5.7287 | 95.8927 | 5.7947 | 13.518 | 3.0373 | 883.3333 | 95.6067 | 12.08
2020-01-05 01:30:00 | 3.94 | 93.7333 | 4.5367 | 103.002 | 5.9107 | 15.3267 | 5.906 | 20.4287 | 3.014 | 883.4 | 95.56 | 14.0347
2020-01-05 01:45:00 | 3.972 | 151.5727 | 4.566 | 166.5613 | 6.5353 | 7.2173 | 6.254 | 16.4347 | 2.9593 | 883 | 95.9733 | 16.3933
2020-01-05 02:00:00 | 4.0393 | 200.646 | 4.6487 | 220.488 | 6.762 | 53.6493 | 6.2973 | 14.51 | 2.8973 | 883 | 96.6 | 15.9453
2020-01-05 02:15:00 | 4.1013 | 147.826 | 4.7173 | 162.4367 | 6.278 | 195.46 | 5.9207 | 20.5413 | 2.862 | 883 | 96.9333 | 14.682
2020-01-05 02:30:00 | 4.0347 | 207.1373 | 4.6387 | 227.6267 | 5.8227 | 147.8067 | 5.572 | 57.74 | 2.852 | 883 | 97.1867 | 12.9533
2020-01-05 02:45:00 | 3.8067 | 195.7807 | 4.3813 | 215.1367 | 6.3233 | 79.8293 | 5.8973 | 79.1207 | 2.8107 | 883 | 97.64 | 12.86
2020-01-05 03:00:00 | 3.612 | 63.6213 | 4.1527 | 69.9053 | 5.956 | 151.018 | 5.3453 | 5.5687 | 2.776 | 883 | 97.9867 | 10.97
2020-01-05 03:15:00 | 3.7067 | 224.6173 | 4.264 | 246.8293 | 5.6307 | 141.6547 | 5.4047 | 16.9607 | 2.7427 | 883 | 98.2 | 11.132
2020-01-05 03:30:00 | 3.6927 | 19.2913 | 4.25 | 19.6293 | 5.6153 | 233.52 | 5.4813 | 8.618 | 2.7067 | 883 | 98.3 | 12.85
2020-01-05 03:45:00 | 3.748 | 190.9607 | 4.3153 | 209.842 | 5.952 | 185.796 | 5.9187 | 11.03 | 2.6347 | 883 | 98.6933 | 15.4133
2020-01-05 04:00:00 | 3.9093 | 32.0227 | 4.502 | 35.1853 | 6.074 | 11.0007 | 5.9027 | 17.212 | 2.5547 | 883 | 99 | 15.6147
2020-01-05 04:15:00 | 3.702 | 218.3833 | 4.2613 | 239.972 | 5.6353 | 7.7927 | 5.4353 | 13.2347 | 2.514 | 883 | 99.2267 | 15.3867
2020-01-05 04:30:00 | 3.7927 | 49.9007 | 4.366 | 54.834 | 5.86 | 235.6287 | 5.5367 | 5.546 | 2.4953 | 883 | 99.46 | 16.444
2020-01-05 04:45:00 | 4.2173 | 217.816 | 4.8527 | 239.3567 | 6.3687 | 63.738 | 6.1367 | 12.8373 | 2.4773 | 883 | 99.5667 | 23.3553
2020-01-05 05:00:00 | 4.6313 | 169.3107 | 5.3293 | 186.052 | 7.126 | 75.5727 | 6.924 | 13.2 | 2.4427 | 883 | 99.56 | 30.14
2020-01-05 05:15:00 | 4.9293 | 87.8507 | 5.6687 | 96.5373 | 7.964 | 58.3873 | 7.5827 | 14.924 | 2.42 | 882 | 99.5667 | 30.3413
2020-01-05 05:30:00 | 4.3067 | 169.2033 | 4.9567 | 185.9373 | 6.852 | 239.3467 | 6.8073 | 10.6533 | 2.4393 | 882 | 99.4133 | 28.862
2020-01-05 05:45:00 | 4.3487 | 108.2487 | 5.0067 | 118.95 | 6.6233 | 82.1013 | 6.6587 | 5.7653 | 2.466 | 882 | 99.1733 | 30.9587
2020-01-05 06:00:00 | 4.6573 | 69.4527 | 5.36 | 76.3193 | 7.3227 | 190.7847 | 7.3 | 14.95 | 2.4527 | 882 | 99.16 | 34.6567
2020-01-05 06:15:00 | 5.1273 | 123.95 | 5.9033 | 136.1993 | 7.64 | 125.0033 | 7.4927 | 11.432 | 2.462 | 882 | 99.0133 | 36.1893
2020-01-05 06:30:00 | 4.9607 | 161.61 | 5.7127 | 177.584 | 7.2413 | 111.0373 | 7.084 | 11.5647 | 2.508 | 882 | 98.6533 | 37.0153
2020-01-05 06:45:00 | 5.3427 | 173.5607 | 6.1473 | 190.718 | 8.2793 | 13.4093 | 8.1867 | 12.9547 | 2.5227 | 882.3333 | 98.32 | 37.8347
2020-01-05 07:00:00 | 5.2707 | 111.5413 | 6.0713 | 122.572 | 8.7273 | 61.8587 | 8.638 | 9.8447 | 2.5573 | 883 | 98.0133 | 36.3647
2020-01-05 07:15:00 | 4.7687 | 102.914 | 5.4887 | 113.086 | 7.5207 | 192.1 | 7.4767 | 10.6233 | 2.6127 | 883 | 97.66 | 36.4547
2020-01-05 07:30:00 | 4.2293 | 120.1107 | 4.8633 | 131.9853 | 7.0873 | 10.9787 | 7.066 | 15.958 | 2.646 | 883 | 97.4133 | 36.7453
2020-01-05 07:45:00 | 4.342 | 156.8947 | 5.0047 | 172.4033 | 7.4367 | 127.298 | 7.2793 | 16.6093 | 2.6507 | 883 | 97.2 | 36.4947
2020-01-05 08:00:00 | 4.8447 | 199.3573 | 5.5727 | 219.0693 | 7.3027 | 143.802 | 7.1133 | 23.212 | 2.684 | 883 | 96.5133 | 38.0513
2020-01-05 08:15:00 | 5.2587 | 149.488 | 6.0507 | 164.2727 | 8.1427 | 187.7847 | 7.9713 | 19.8873 | 2.7147 | 883 | 96.02 | 39.5313
2020-01-05 08:30:00 | 5.2927 | 96.8207 | 6.09 | 106.3947 | 8.3227 | 16.7633 | 8.1773 | 15.73 | 2.7487 | 883 | 95.2267 | 39.0607
2020-01-05 08:45:00 | 5.056 | 108.2887 | 5.816 | 118.9993 | 8.2613 | 13.5833 | 7.8727 | 22.6513 | 2.756 | 883.9333 | 94.9333 | 39.042
2020-01-05 09:00:00 | 4.9813 | 198.2627 | 5.7387 | 217.864 | 8.3733 | 16.664 | 8.03 | 25.762 | 2.7873 | 884 | 94.7333 | 40.4493
2020-01-05 09:15:00 | 5.288 | 125.0807 | 6.0887 | 137.446 | 8.43 | 8.1787 | 8.3273 | 19.5667 | 2.918 | 884 | 93.96 | 41.0527
2020-01-05 09:30:00 | 5.316 | 51.5473 | 6.1193 | 56.644 | 8.746 | 21.1173 | 8.5067 | 13.4253 | 3.13 | 884 | 92.5933 | 38.2387
2020-01-05 09:45:00 | 5.214 | 109.7727 | 6.0047 | 120.6233 | 8.6247 | 13.75 | 8.2373 | 18.918 | 3.3153 | 884 | 91.7 | 34.5533
2020-01-05 10:00:00 | 4.8127 | 212.3033 | 5.536 | 233.2967 | 7.6693 | 15.5407 | 7.1693 | 19.92 | 3.4393 | 884 | 91.34 | 34.3713
2020-01-05 10:15:00 | 4.7173 | 170.434 | 5.4253 | 187.2887 | 8.0067 | 127.394 | 7.6013 | 12.97 | 3.634 | 884.3333 | 90.7 | 39.116
2020-01-05 10:30:00 | 5.05 | 109.234 | 5.8133 | 120.0327 | 7.9947 | 11.492 | 7.774 | 13.714 | 3.7707 | 885 | 89.94 | 40.8747
2020-01-05 10:45:00 | 5.1373 | 17.5933 | 5.9127 | 19.3333 | 7.9847 | 119.4293 | 7.5927 | 170.968 | 3.8667 | 885 | 89.5467 | 41.8113
2020-01-05 11:00:00 | 5.2387 | 123.5827 | 6.0247 | 135.802 | 8.0827 | 128.8113 | 7.814 | 82.8953 | 4.02 | 885 | 88.86 | 39.9127
2020-01-05 11:15:00 | 5.2613 | 83.3927 | 6.0573 | 91.638 | 8.9933 | 18.292 | 8.28 | 16.3633 | 4.1907 | 885 | 88.36 | 38.4567
2020-01-05 11:30:00 | 5.5153 | 173.678 | 6.3493 | 190.8573 | 9.3487 | 20.512 | 8.664 | 20.152 | 4.326 | 885 | 87.5333 | 36.9967
2020-01-05 11:45:00 | 5.356 | 65.9147 | 6.1633 | 72.4293 | 9.4733 | 12.842 | 8.7393 | 15.864 | 4.4553 | 885 | 86.86 | 33.474
2020-01-05 12:00:00 | 5.554 | 294.6633 | 6.3847 | 323.8 | 9.6387 | 17.972 | 9.176 | 15.228 | 4.5833 | 885 | 86.36 | 34.9527
2020-01-05 12:15:00 | 5.2813 | 138.1587 | 6.078 | 151.8207 | 8.8633 | 20.8027 | 8.2367 | 19.794 | 4.584 | 885 | 86.28 | 35.566
2020-01-05 12:30:00 | 5.6327 | 259.1353 | 6.4853 | 284.7547 | 9.6767 | 12.7327 | 9.148 | 19.1667 | 4.5693 | 885 | 86.1333 | 36.8253
2020-01-05 12:45:00 | 5.7353 | 120.0367 | 6.5967 | 131.906 | 9.5547 | 17.55 | 9.0567 | 18.6773 | 4.6473 | 884.0667 | 85.6733 | 37.9093
2020-01-05 13:00:00 | 5.388 | 244.7827 | 6.2053 | 268.986 | 8.794 | 11.162 | 8.2347 | 13.2967 | 4.6573 | 884 | 85.6533 | 37.8113
2020-01-05 13:15:00 | 5.852 | 103.6487 | 6.7333 | 113.89 | 9.7207 | 17.0093 | 9.166 | 20.0207 | 4.5573 | 884 | 86.0933 | 37.6493
2020-01-05 13:30:00 | 5.8973 | 240.7493 | 6.784 | 264.556 | 9.8587 | 8.684 | 9.368 | 17.8673 | 4.4807 | 884 | 86.4533 | 41.726
2020-01-05 13:45:00 | 6.1167 | 20.828 | 7.0427 | 22.8813 | 10.5187 | 15.116 | 9.7707 | 18.896 | 4.5787 | 883.0667 | 86.1267 | 41.6713
2020-01-05 14:00:00 | 5.9913 | 23.2527 | 6.904 | 25.548 | 10.2567 | 21.118 | 9.7233 | 20.71 | 4.6073 | 883 | 85.86 | 41.2813
2020-01-05 14:15:00 | 5.7433 | 140.1467 | 6.6047 | 154 | 10.6527 | 15.1667 | 10.464 | 21.328 | 4.866 | 883 | 85.3667 | 43.8633
2020-01-05 14:30:00 | 5.9933 | 119.91 | 6.892 | 131.7673 | 10.666 | 10.5727 | 10.6133 | 19.5 | 5.0447 | 883 | 84.42 | 45.644
2020-01-05 14:45:00 | 6.5613 | 82.9893 | 7.5487 | 91.1927 | 11.59 | 16.3627 | 11.176 | 18.62 | 5.2793 | 883 | 83.6333 | 45.2967
2020-01-05 15:00:00 | 6.6213 | 155.8647 | 7.6147 | 171.2707 | 11.356 | 12.4193 | 10.9313 | 18.7607 | 5.2127 | 883 | 83.48 | 46.1613
2020-01-05 15:15:00 | 6.35 | 168.682 | 7.3133 | 185.3567 | 11.1013 | 14.4513 | 10.8567 | 14.6207 | 5.2213 | 883 | 83.3133 | 43.9667
2020-01-05 15:30:00 | 6.5147 | 166.4813 | 7.4953 | 182.9367 | 11.0567 | 14.214 | 10.836 | 18.254 | 5.124 | 883 | 83.3933 | 45.256
2020-01-05 15:45:00 | 6.3847 | 81.122 | 7.3447 | 89.1433 | 10.9953 | 13.9907 | 10.6493 | 16.8687 | 5.0473 | 883 | 83.7067 | 46.2147
2020-01-05 16:00:00 | 6.8167 | 174.3347 | 7.84 | 191.5707 | 11.654 | 13.442 | 11.0513 | 153.3273 | 4.9467 | 882.4 | 84.04 | 46.7873
2020-01-05 16:15:00 | 6.7907 | 181.9473 | 7.808 | 199.9307 | 11.2073 | 55.3233 | 10.608 | 17.7087 | 4.79 | 882.2667 | 84.6 | 48.25
2020-01-05 16:30:00 | 6.9607 | 232.2373 | 8.006 | 255.2073 | 11.6367 | 86.2433 | 10.9133 | 21.148 | 4.7433 | 883 | 84.6 | 50.2493
2020-01-05 16:45:00 | 7.3987 | 260.826 | 8.5133 | 286.62 | 12.504 | 15.7593 | 11.704 | 14.356 | 4.6533 | 883 | 84.5333 | 52.0567
2020-01-05 17:00:00 | 7.3047 | 146.734 | 8.3993 | 161.24 | 12.916 | 16.074 | 12.8687 | 17.5527 | 4.6027 | 883 | 84.5733 | 56.2693
2020-01-05 17:15:00 | 7.1013 | 174.052 | 8.17 | 175.9973 | 12.7507 | 21.5727 | 12.6527 | 25.5147 | 4.6207 | 883 | 84.3667 | 57.376
2020-01-05 17:30:00 | 6.7827 | 303.9067 | 7.8053 | 333.96 | 12.272 | 14.352 | 12.2487 | 20.356 | 4.562 | 883 | 84.22 | 58.49
2020-01-05 17:45:00 | 7.018 | 250.2533 | 8.072 | 275.0013 | 12.5007 | 17.7893 | 12.2087 | 25.308 | 4.4547 | 883 | 84.2933 | 57.9227
2020-01-05 18:00:00 | 6.8173 | 154.45 | 7.844 | 169.7253 | 12.3967 | 11.932 | 12.4247 | 22.5153 | 4.3667 | 883 | 84.6 | 56.912
2020-01-05 18:15:00 | 7.254 | 117.268 | 8.344 | 128.864 | 13.166 | 16.876 | 13.07 | 24.116 | 4.2987 | 883 | 84.8667 | 57.4953
2020-01-05 18:30:00 | 7.2713 | 226.4613 | 8.3647 | 248.86 | 13.0767 | 14.598 | 13.218 | 20.3273 | 4.3047 | 883 | 84.42 | 57.2407
2020-01-05 18:45:00 | 7.116 | 171.7587 | 8.1847 | 188.744 | 13.2267 | 10.5867 | 13.452 | 20.8687 | 4.3 | 883 | 84.2667 | 57.9273
2020-01-05 19:00:00 | 6.948 | 65.7213 | 7.9907 | 72.2227 | 12.7987 | 17.6787 | 12.9867 | 21.2413 | 4.3293 | 883 | 83.96 | 57.0033
2020-01-05 19:15:00 | 6.8327 | 139.488 | 7.858 | 153.28 | 12.658 | 17.2573 | 13.1607 | 24.136 | 4.3573 | 883.9333 | 83.6933 | 57.1933
2020-01-05 19:30:00 | 7.256 | 187.586 | 8.3473 | 206.132 | 12.786 | 58.6147 | 13.026 | 23.37 | 4.3693 | 884 | 83.3 | 56.9993
2020-01-05 19:45:00 | 7.2507 | 142.6653 | 8.3387 | 156.7747 | 12.6973 | 75.566 | 12.9613 | 20.806 | 4.3673 | 884 | 83.34 | 57.024
2020-01-05 20:00:00 | 7.804 | 162.2393 | 8.974 | 178.2793 | 13.548 | 15.5367 | 13.3713 | 20.5693 | 4.334 | 884 | 83.44 | 58.2847
2020-01-05 20:15:00 | 8.158 | 143.4553 | 9.39 | 157.6313 | 14.186 | 6.2173 | 14.156 | 21.7567 | 4.2873 | 884 | 83.8 | 61.0513
2020-01-05 20:30:00 | 8.2507 | 168.7193 | 9.49 | 185.4 | 14.378 | 11.57 | 14.652 | 15.3533 | 4.2787 | 884 | 83.8267 | 61.3513
2020-01-05 20:45:00 | 8.4347 | 200.8353 | 9.7 | 220.7 | 14.786 | 12.4713 | 14.674 | 19.26 | 4.268 | 884 | 84.1933 | 60.5787
2020-01-05 21:00:00 | 7.7927 | 189.516 | 8.9667 | 208.26 | 13.9667 | 12.902 | 14.0727 | 17.2627 | 4.2447 | 884 | 84.4667 | 60.5673
2020-01-05 21:15:00 | 8.0153 | 138.836 | 9.2213 | 152.5667 | 14.3267 | 14.562 | 14.5233 | 20.0713 | 4.1447 | 884 | 85.1333 | 58.7093
2020-01-05 21:30:00 | 7.9653 | 180.5233 | 9.1627 | 190.69 | 14.506 | 13.05 | 14.67 | 19.1793 | 4.154 | 884.6 | 85.3 | 60.4673
2020-01-05 21:45:00 | 8.2767 | 136.006 | 9.5213 | 149.45 | 14.9393 | 15.1447 | 14.9553 | 23.0053 | 4.18 | 885 | 85.2267 | 60.67
2020-01-05 22:00:00 | 8.458 | 244.4133 | 9.73 | 268.58 | 15.6273 | 14.022 | 15.6833 | 18.816 | 4.164 | 885 | 85.3 | 60.1227
2020-01-05 22:15:00 | 8.8907 | 170.8293 | 10.23 | 187.716 | 15.9573 | 16.014 | 15.9953 | 25.1367 | 4.148 | 884.7333 | 85.46 | 60.9273
2020-01-05 22:30:00 | 8.2733 | 280.746 | 9.5207 | 308.5133 | 14.8693 | 15.7227 | 14.8833 | 23.9707 | 4.1133 | 884.6667 | 85.8067 | 59.314
2020-01-05 22:45:00 | 7.5707 | 167.2433 | 8.7127 | 183.7827 | 13.8433 | 17.6947 | 13.8553 | 24.0913 | 4.0887 | 885 | 86.1667 | 58.7893
2020-01-05 23:00:00 | 7.138 | 203.1473 | 8.212 | 240.656 | 12.93 | 15.6467 | 13.07 | 25.386 | 4.1213 | 885 | 86.1 | 57.7067
2020-01-05 23:15:00 | 7.1933 | 257.026 | 8.276 | 282.44 | 13.086 | 16.976 | 13.0547 | 23.126 | 4.1393 | 885 | 86.1667 | 58.6087
2020-01-05 23:30:00 | 7.3647 | 202.224 | 8.474 | 222.22 | 13.374 | 23.1227 | 13.522 | 20.1173 | 4.1727 | 885 | 85.9533 | 58.126
2020-01-05 23:45:00 | 7.4947 | 240.3053 | 8.6233 | 264.0667 | 13.8413 | 14.6547 | 13.9653 | 23.7267 | 4.216 | 885 | 85.6333 | 58.5707