## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-06 00:00:00 | 7.5336 | 149.3386 | 8.6621 | 164.1 | 13.5336 | 15.4229 | 13.7421 | 21.6979 | 4.2507 | 885 | 85.53 | 58.1343
2020-01-06 00:15:00 | 7.9687 | 188.7067 | 9.172 | 207.3667 | 13.8587 | 14.9733 | 13.9227 | 23.1853 | 4.386 | 885 | 84.2867 | 59.5487
2020-01-06 00:30:00 | 8.112 | 133.396 | 9.3373 | 146.5867 | 14.194 | 15.5873 | 13.9507 | 20.4747 | 4.328 | 885 | 84.74 | 60.2987
2020-01-06 00:45:00 | 8.42 | 89.4247 | 9.686 | 98.2633 | 14.3747 | 14.9007 | 14.004 | 19.0033 | 4.3633 | 885 | 84.4667 | 59.4187
2020-01-06 01:00:00 | 8.132 | 119.6953 | 9.3547 | 131.5333 | 14.068 | 13.3333 | 13.5613 | 16.1033 | 4.368 | 885 | 84.4067 | 59.93
2020-01-06 01:15:00 | 8.4107 | 258.8487 | 9.676 | 284.44 | 14.4193 | 13.072 | 13.7473 | 17.8507 | 4.3567 | 885 | 84.5867 | 59.618
2020-01-06 01:30:00 | 8.516 | 115.748 | 9.8027 | 127.1867 | 14.952 | 12.4407 | 14.7647 | 18.3467 | 4.362 | 885 | 84.64 | 61.1127
2020-01-06 01:45:00 | 8.3273 | 130.2367 | 9.582 | 143.1133 | 14.7327 | 9.1233 | 14.498 | 18.862 | 4.356 | 884.6667 | 84.64 | 60.8893
2020-01-06 02:00:00 | 7.4507 | 163.0573 | 8.5707 | 179.184 | 13.5247 | 9.3573 | 13.196 | 15.274 | 4.3973 | 884 | 84.58 | 60.404
2020-01-06 02:15:00 | 7.578 | 121.1093 | 8.716 | 133.0827 | 13.572 | 124.9427 | 13.0133 | 14.0587 | 4.5207 | 884.6667 | 83.9 | 60.938
2020-01-06 02:30:00 | 8.116 | 162.0787 | 9.3393 | 178.1 | 14.3893 | 13.642 | 13.7827 | 15.934 | 4.6127 | 884 | 83.48 | 61.6087
2020-01-06 02:45:00 | 8.3 | 143.0787 | 9.5467 | 157.2293 | 14.764 | 14.2287 | 14.1227 | 20.2633 | 4.6807 | 884 | 83.22 | 60.696
2020-01-06 03:00:00 | 8.5407 | 118.0133 | 9.8333 | 129.6833 | 15.0887 | 15.3467 | 14.6527 | 22.3427 | 4.7287 | 884 | 83.04 | 61.5507
2020-01-06 03:15:00 | 8.652 | 95.976 | 9.9607 | 105.4607 | 15.146 | 9.9213 | 14.522 | 16.568 | 4.7047 | 884 | 83.1667 | 61.4473
2020-01-06 03:30:00 | 8.1913 | 138.0693 | 9.4267 | 151.7167 | 14.4967 | 15.83 | 14.41 | 20.6093 | 4.7993 | 884 | 82.64 | 60.7113
2020-01-06 03:45:00 | 7.876 | 139.9927 | 9.0613 | 153.832 | 13.8773 | 12.48 | 13.9147 | 20.8847 | 4.888 | 884 | 82.3333 | 59.3253
2020-01-06 04:00:00 | 7.5853 | 106.122 | 8.7207 | 116.608 | 13.6127 | 12.3027 | 13.3333 | 20.7927 | 4.938 | 884 | 82.1067 | 59.7653
2020-01-06 04:15:00 | 7.5227 | 135.244 | 8.6507 | 148.6167 | 13.58 | 15.9807 | 13.7067 | 29.176 | 5.006 | 884 | 81.4933 | 59.5927
2020-01-06 04:30:00 | 7.526 | 257.652 | 8.656 | 283.1333 | 13.3513 | 14.9667 | 13.5713 | 27.1547 | 5.0887 | 884.6 | 80.4867 | 60.0227
2020-01-06 04:45:00 | 7.852 | 41.846 | 9.0367 | 45.9767 | 13.8487 | 22.9073 | 14.0967 | 28.688 | 5.1087 | 884.0667 | 80.012 | 59.124
2020-01-06 05:00:00 | 8.2753 | 11.0533 | 9.52 | 12.1367 | 14.26 | 18.566 | 14.4127 | 31.306 | 5.1767 | 884 | 78.4193 | 60.3153
2020-01-06 05:15:00 | 8.216 | 193.19 | 9.452 | 212.2933 | 14.5127 | 12.3913 | 14.712 | 33.952 | 5.122 | 884 | 77.78 | 61.2713
2020-01-06 05:30:00 | 8.722 | 257.244 | 10.0413 | 282.6733 | 15.5233 | 18.2073 | 15.8347 | 29.092 | 5.0653 | 884 | 77.2387 | 61.1073
2020-01-06 05:45:00 | 8.978 | 240.1207 | 10.3253 | 263.8667 | 15.6573 | 17.4393 | 15.9767 | 24.0627 | 5.032 | 884 | 76.818 | 61.4187
2020-01-06 06:00:00 | 9.5613 | 171.2287 | 11.0047 | 188.1567 | 16.6627 | 25.8553 | 17.0207 | 26.982 | 5.11 | 884 | 74.2447 | 61.534
2020-01-06 06:15:00 | 9.12 | 72.7893 | 10.4853 | 79.9867 | 15.9293 | 12.8413 | 16.1667 | 29.9087 | 5.1 | 884 | 73.0727 | 61.428
2020-01-06 06:30:00 | 9.2707 | 177.828 | 10.6667 | 195.414 | 16.2267 | 20.812 | 16.6467 | 23.548 | 5.086 | 884 | 72.3733 | 60.3847
2020-01-06 06:45:00 | 8.9627 | 112.33 | 10.3127 | 123.4293 | 15.64 | 22.78 | 15.7907 | 28.4107 | 5.158 | 884 | 71.0473 | 60.2167
2020-01-06 07:00:00 | 8.8433 | 194.4567 | 10.1713 | 213.6873 | 15.538 | 14.5793 | 15.5167 | 28.732 | 5.1527 | 884.6667 | 70.324 | 60.5573
2020-01-06 07:15:00 | 8.9827 | 32.368 | 10.336 | 35.5673 | 15.8087 | 27.826 | 16.2587 | 29.3653 | 5.14 | 884 | 69.2487 | 61.4813
2020-01-06 07:30:00 | 9.076 | 142.0487 | 10.4387 | 156.098 | 16.0107 | 17.136 | 16.3927 | 23.2153 | 5.098 | 884 | 68.398 | 61.5007
2020-01-06 07:45:00 | 9.3973 | 166.8487 | 10.8093 | 183.3447 | 16.5787 | 24.442 | 16.948 | 27.798 | 5.064 | 884 | 68.1107 | 61.678
2020-01-06 08:00:00 | 8.7253 | 200.6347 | 10.0367 | 220.4773 | 15.1633 | 16.1133 | 15.8553 | 25.888 | 5.034 | 884.6 | 67.3933 | 61.4
2020-01-06 08:15:00 | 8.4387 | 208.5233 | 9.708 | 229.1473 | 14.5727 | 13.58 | 14.6393 | 30.8587 | 5.11 | 885 | 65.006 | 60.998
2020-01-06 08:30:00 | 8.924 | 145.7867 | 10.2627 | 160.194 | 15.462 | 20.1527 | 15.8053 | 29.0453 | 5.196 | 885 | 63.126 | 60.5093
2020-01-06 08:45:00 | 8.9873 | 39.6267 | 10.3373 | 43.5393 | 15.4947 | 15.7427 | 15.74 | 26.76 | 5.222 | 885 | 62.0507 | 62.4133
2020-01-06 09:00:00 | 8.9553 | 169.9713 | 10.3067 | 186.7807 | 15.658 | 20.1913 | 15.932 | 25.788 | 5.1907 | 885 | 62.4453 | 63.02
2020-01-06 09:15:00 | 9.0573 | 225.1013 | 10.416 | 247.3667 | 15.914 | 22.6047 | 16.2793 | 31.98 | 5.1973 | 885 | 63.0193 | 61.8513
2020-01-06 09:30:00 | 8.9927 | 283.294 | 10.3407 | 311.3067 | 15.8847 | 23.3947 | 16.0927 | 26.8547 | 5.218 | 885.6667 | 63.2387 | 61.1447
2020-01-06 09:45:00 | 8.9007 | 90.592 | 10.2393 | 99.55 | 15.5893 | 17.8547 | 15.7353 | 25.2533 | 5.2147 | 886 | 63.4587 | 61.066
2020-01-06 10:00:00 | 8.6307 | 67.5453 | 9.9273 | 74.2247 | 15.1013 | 23.8373 | 14.9273 | 33.3647 | 5.2267 | 886 | 63.6307 | 61.592
2020-01-06 10:15:00 | 8.8207 | 228.1513 | 10.148 | 250.7087 | 15.6933 | 17.2127 | 15.792 | 24.1693 | 5.2293 | 886 | 63.8153 | 60.6113
2020-01-06 10:30:00 | 8.6887 | 118.45 | 9.9913 | 130.1633 | 15.34 | 12.144 | 15.4433 | 30.1333 | 5.218 | 886 | 63.462 | 60.774
2020-01-06 10:45:00 | 8.9787 | 123.5587 | 10.3333 | 135.7793 | 15.7813 | 14.9213 | 16.1333 | 26.6833 | 5.2327 | 886 | 63.154 | 61.6907
2020-01-06 11:00:00 | 8.752 | 82.0267 | 10.0713 | 90.1347 | 15.318 | 20.9053 | 15.8247 | 28.408 | 5.2107 | 886 | 62.678 | 62.5167
2020-01-06 11:15:00 | 8.4833 | 142.536 | 9.7553 | 156.6293 | 14.5973 | 20.8587 | 15.2727 | 36.1047 | 5.2133 | 886 | 61.9553 | 62.772
2020-01-06 11:30:00 | 9.3333 | 135.3013 | 10.7387 | 148.6733 | 16.1633 | 17.95 | 16.1167 | 29.6633 | 5.2547 | 885.3333 | 62.102 | 62.662
2020-01-06 11:45:00 | 9.0207 | 218.908 | 10.3813 | 240.5533 | 15.6553 | 16.2093 | 16.0733 | 21.1047 | 5.3133 | 885 | 62.2887 | 61.0667
2020-01-06 12:00:00 | 9.2127 | 191.616 | 10.6007 | 210.5633 | 15.9953 | 19.808 | 16.28 | 27.5407 | 5.4867 | 885 | 62.4053 | 62.2027
2020-01-06 12:15:00 | 8.7627 | 219.5093 | 10.08 | 241.2133 | 15.1307 | 21.414 | 15.546 | 29.5527 | 5.5387 | 885 | 62.3213 | 61.008
2020-01-06 12:30:00 | 8.6813 | 138.5487 | 9.9907 | 152.25 | 15.312 | 27.7393 | 15.6147 | 33.346 | 5.6027 | 884.3333 | 62.2967 | 61.546
2020-01-06 12:45:00 | 9.3687 | 284.1827 | 10.7833 | 312.28 | 16.2213 | 17.23 | 16.374 | 29.092 | 5.68 | 884 | 61.2613 | 61.8313
2020-01-06 13:00:00 | 9.436 | 287.1653 | 10.856 | 315.5667 | 16.5207 | 24.7547 | 16.5453 | 27.6393 | 6.0253 | 884 | 59.9327 | 63.2153
2020-01-06 13:15:00 | 8.5907 | 208.506 | 9.882 | 229.1267 | 14.7847 | 23.1307 | 15.542 | 29.6753 | 6.322 | 883.0667 | 58.1547 | 61.022
2020-01-06 13:30:00 | 8.662 | 160.7293 | 9.9673 | 176.6253 | 15.0913 | 16.0813 | 15.4447 | 29.1153 | 6.548 | 883 | 56.3887 | 59.2667
2020-01-06 13:45:00 | 8.7073 | 161.302 | 10.0153 | 177.2513 | 14.8427 | 20.6373 | 15.2293 | 38.056 | 6.3807 | 882 | 54.622 | 59.4847
2020-01-06 14:00:00 | 9.1347 | 205.736 | 10.5107 | 226.08 | 15.7 | 26.3647 | 16.098 | 27.1287 | 6.2447 | 882 | 53.3273 | 60.5393
2020-01-06 14:15:00 | 8.1427 | 69.9213 | 9.372 | 76.8287 | 13.9027 | 19.782 | 14.5973 | 28.534 | 6.1453 | 882 | 52.866 | 58.2753
2020-01-06 14:30:00 | 7.866 | 150.3793 | 9.05 | 165.2447 | 13.3133 | 19.092 | 13.5527 | 31.6587 | 6.096 | 882 | 52.398 | 56.6
2020-01-06 14:45:00 | 7.614 | 171.53 | 8.762 | 188.49 | 12.8813 | 28.2827 | 13.4867 | 28.8733 | 6.012 | 882 | 52.6667 | 56.338
2020-01-06 15:00:00 | 7.8087 | 207.678 | 8.984 | 228.22 | 13.0673 | 25.9547 | 13.4487 | 36.8627 | 5.9847 | 882.6 | 53.1327 | 56.486
2020-01-06 15:15:00 | 8.294 | 167.4387 | 9.542 | 183.996 | 14.0793 | 24.796 | 14.446 | 34.7393 | 5.8947 | 882.0667 | 54.0667 | 57.034
2020-01-06 15:30:00 | 7.4993 | 231.0793 | 8.6307 | 253.924 | 13.1367 | 25.4193 | 14.1987 | 36.576 | 5.7773 | 882 | 54.848 | 58.5493
2020-01-06 15:45:00 | 7.8427 | 244.6533 | 9.0187 | 268.8387 | 13.4653 | 18.9507 | 14.038 | 30.032 | 5.7627 | 882 | 55.142 | 61.1453
2020-01-06 16:00:00 | 7.9633 | 131.0987 | 9.1607 | 144.058 | 13.7887 | 15.4353 | 14.154 | 25.1573 | 5.7833 | 882.6 | 54.5813 | 61.7093
2020-01-06 16:15:00 | 7.9127 | 246.1727 | 9.106 | 270.52 | 13.7873 | 15.1373 | 14.01 | 23.642 | 5.758 | 883 | 54.7367 | 61.8267
2020-01-06 16:30:00 | 8.308 | 203.0013 | 9.56 | 223.08 | 14.2547 | 11.1393 | 14.6367 | 25.2847 | 5.7773 | 883 | 54.5147 | 62.0567
2020-01-06 16:45:00 | 8.704 | 206.314 | 10.0193 | 226.7133 | 15.1507 | 12.964 | 15.4387 | 24.17 | 5.802 | 882.7333 | 54.4047 | 62.7313
2020-01-06 17:00:00 | 9.1853 | 266.4693 | 10.562 | 292.8133 | 15.9373 | 20.3307 | 16.1733 | 23.602 | 5.7387 | 882.6 | 54.6927 | 61.4313
2020-01-06 17:15:00 | 8.7727 | 285.0407 | 10.094 | 313.2267 | 15.474 | 23.9987 | 16.228 | 35.914 | 5.6707 | 883 | 55.9313 | 61.2733
2020-01-06 17:30:00 | 8.4367 | 166.1093 | 9.7053 | 182.54 | 14.954 | 24.4807 | 15.2373 | 30.864 | 5.5253 | 883 | 57.7627 | 61.7253
2020-01-06 17:45:00 | 8.5313 | 164.7933 | 9.8113 | 181.0893 | 15.1893 | 19.4327 | 15.6167 | 27.8393 | 5.43 | 883 | 58.6127 | 62.4267
2020-01-06 18:00:00 | 8.0907 | 140.8673 | 9.306 | 154.7907 | 14.364 | 18.8047 | 14.5933 | 25.1333 | 5.3587 | 883 | 58.85 | 61.1053
2020-01-06 18:15:00 | 7.408 | 226.964 | 8.5233 | 249.744 | 13.344 | 24.1713 | 13.7827 | 33.0973 | 5.296 | 884 | 59.194 | 59.9967
2020-01-06 18:30:00 | 6.9427 | 87.7653 | 7.982 | 96.4427 | 12.6373 | 18.1153 | 12.8413 | 21.2553 | 5.234 | 884 | 59.3353 | 56.8033
2020-01-06 18:45:00 | 6.574 | 161.8093 | 7.56 | 177.81 | 11.7753 | 16.7187 | 12.2087 | 27.8933 | 5.264 | 884.3333 | 58.9 | 53.632
2020-01-06 19:00:00 | 6.2307 | 230.6467 | 7.1707 | 253.4533 | 11.5613 | 18.9573 | 12.2827 | 27.6533 | 5.2747 | 885 | 59.0933 | 53.8
2020-01-06 19:15:00 | 7.102 | 146.2787 | 8.1727 | 160.7433 | 12.8093 | 18.1347 | 13.5807 | 31.826 | 5.308 | 885 | 58.458 | 55.6633
2020-01-06 19:30:00 | 7.5587 | 146.5793 | 8.6947 | 161.0753 | 13.5847 | 21.5213 | 14.1587 | 29.7013 | 5.39 | 885 | 57.5407 | 55.2967
2020-01-06 19:45:00 | 7.3907 | 154.1933 | 8.502 | 169.438 | 13.5547 | 15.0273 | 13.828 | 24.508 | 5.37 | 885 | 57.4747 | 54
2020-01-06 20:00:00 | 7.5507 | 131.0853 | 8.688 | 144.0433 | 13.7467 | 16.1 | 14.0453 | 24.594 | 5.3713 | 885 | 57.3827 | 58.7293
2020-01-06 20:15:00 | 7.2313 | 11.3033 | 8.322 | 12.4127 | 12.9713 | 24.2793 | 13.1493 | 25.9027 | 5.2867 | 885 | 58.2227 | 56.844
2020-01-06 20:30:00 | 7.2547 | 238.9093 | 8.3493 | 262.5307 | 13.2227 | 14.762 | 13.718 | 23.8827 | 5.214 | 885 | 58.39 | 56.9673
2020-01-06 20:45:00 | 6.8567 | 219.5633 | 7.8907 | 241.2733 | 12.6707 | 15.452 | 12.8967 | 30.3073 | 5.1587 | 885 | 58.602 | 54.5867
2020-01-06 21:00:00 | 7.0847 | 185.7013 | 8.15 | 211.4067 | 12.7747 | 18.6887 | 13.654 | 30.8007 | 5.098 | 885 | 59.044 | 54.5673
2020-01-06 21:15:00 | 6.8227 | 214.506 | 7.8567 | 235.7133 | 12.46 | 19.1573 | 13.1787 | 23.61 | 5.0493 | 885 | 59.1767 | 56.35
2020-01-06 21:30:00 | 6.92 | 281.1487 | 7.9647 | 308.9533 | 12.3613 | 25.1613 | 13.086 | 33.1587 | 4.9913 | 885 | 59.326 | 56.1127
2020-01-06 21:45:00 | 6.7747 | 168.1693 | 7.7907 | 184.8 | 11.9407 | 22.822 | 12.7433 | 34.5413 | 4.9647 | 885 | 59.1387 | 52.9927
2020-01-06 22:00:00 | 5.9667 | 228.3533 | 6.8647 | 250.9307 | 10.7813 | 14.7047 | 11.19 | 29.846 | 4.8373 | 885.6 | 59.6873 | 50.8227
2020-01-06 22:15:00 | 5.59 | 110.7293 | 6.428 | 121.6793 | 10.29 | 18.44 | 10.652 | 23.2007 | 4.74 | 886 | 59.7587 | 49.1607
2020-01-06 22:30:00 | 5.886 | 201.4253 | 6.7753 | 221.34 | 10.7813 | 20.6067 | 11.1567 | 22.0893 | 4.6473 | 886 | 59.906 | 51.496
2020-01-06 22:45:00 | 6.452 | 192.1753 | 7.4173 | 211.1767 | 11.7807 | 16.094 | 12.284 | 23.5667 | 4.6173 | 885.0667 | 59.1787 | 54.624
2020-01-06 23:00:00 | 6.644 | 226.512 | 7.638 | 248.9133 | 12.0953 | 10.7867 | 12.4733 | 27.4287 | 4.666 | 885 | 57.8607 | 54.19
2020-01-06 23:15:00 | 6.9467 | 164.592 | 7.9907 | 180.8667 | 12.458 | 17.468 | 12.7713 | 22.7033 | 4.734 | 885 | 56.658 | 51.572
2020-01-06 23:30:00 | 6.7853 | 142.9533 | 7.8127 | 157.0867 | 12.004 | 15.6173 | 11.77 | 30.8493 | 4.8313 | 885 | 55.2027 | 52.0027
2020-01-06 23:45:00 | 6.92 | 89.27 | 7.9667 | 98.0967 | 12.2527 | 14.2973 | 11.962 | 60.1947 | 4.6113 | 885 | 55.234 | 54.248