## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-07 00:00:00 | 6.9029 | 189.88 | 7.945 | 208.66 | 12.1071 | 5.7536 | 11.7436 | 94.3357 | 4.5729 | 885 | 54.6629 | 51.0257
2020-01-07 00:15:00 | 6.5073 | 135.438 | 7.49 | 148.828 | 11.7813 | 13.2073 | 11.7567 | 18.7267 | 4.428 | 885 | 55.19 | 50.166
2020-01-07 00:30:00 | 6.5513 | 105.6113 | 7.5393 | 116.05 | 11.9013 | 14.398 | 11.9327 | 17.0453 | 4.246 | 885 | 56.1687 | 51.2873
2020-01-07 00:45:00 | 6.3547 | 165.436 | 7.31 | 181.7967 | 11.4953 | 10.6533 | 11.582 | 20.6673 | 4.132 | 885 | 56.5907 | 46.968
2020-01-07 01:00:00 | 5.7193 | 243.4327 | 6.5833 | 267.5067 | 10.7333 | 18.734 | 11.0167 | 21.0967 | 4.054 | 885 | 56.7113 | 46.5113
2020-01-07 01:15:00 | 5.6787 | 201.6727 | 6.538 | 221.62 | 10.436 | 14.6547 | 11.1947 | 23.892 | 4.0553 | 885 | 56.5887 | 41.3667
2020-01-07 01:30:00 | 5.3467 | 186.8147 | 6.1507 | 205.2867 | 9.378 | 14.8813 | 9.9447 | 22.2313 | 4.218 | 885 | 55.4273 | 38.6153
2020-01-07 01:45:00 | 5.0373 | 278.1133 | 5.7973 | 305.6133 | 8.9733 | 18.4713 | 9.098 | 19.1267 | 4.07 | 885.3333 | 55.924 | 38.7833
2020-01-07 02:00:00 | 4.9427 | 172.7633 | 5.6873 | 189.85 | 8.9927 | 17.9947 | 9.5093 | 25.1587 | 3.888 | 886 | 56.424 | 32.426
2020-01-07 02:15:00 | 4.9533 | 205.7473 | 5.7067 | 226.0933 | 9.0607 | 22.738 | 9.522 | 30.406 | 3.7847 | 886 | 56.7093 | 30.7253
2020-01-07 02:30:00 | 4.2133 | 212.8633 | 4.8527 | 233.9133 | 7.8053 | 21.986 | 7.8387 | 31.2767 | 3.5173 | 886 | 57.71 | 20.3747
2020-01-07 02:45:00 | 3.5647 | 307.3133 | 4.106 | 337.7067 | 6.6093 | 12.306 | 6.6693 | 29.484 | 3.3853 | 886 | 57.8693 | 18.016
2020-01-07 03:00:00 | 3.3193 | 141.7507 | 3.8187 | 155.768 | 6.2333 | 18.7047 | 6.338 | 24.292 | 3.402 | 886.6 | 57.6533 | 11.5667
2020-01-07 03:15:00 | 2.898 | 156.8273 | 3.3353 | 172.3287 | 5.2093 | 8.262 | 4.9393 | 41.4673 | 3.6413 | 887 | 56.2513 | 10.9347
2020-01-07 03:30:00 | 2.7467 | 187.9553 | 3.1567 | 206.536 | 5.1333 | 144.2093 | 5.074 | 17.8613 | 3.3093 | 887 | 57.5087 | 15.2953
2020-01-07 03:45:00 | 3.4647 | 162.7507 | 3.9827 | 178.8433 | 6.5393 | 89.8393 | 6.47 | 29.2507 | 3.1773 | 887 | 58.3047 | 20.3367
2020-01-07 04:00:00 | 3.0787 | 184.1827 | 3.542 | 202.3987 | 6.0913 | 22.2693 | 6.774 | 31.994 | 2.784 | 887 | 60.406 | 23.2887
2020-01-07 04:15:00 | 2.808 | 156.1047 | 3.2347 | 171.538 | 5.4987 | 23.352 | 6.5853 | 32.9413 | 2.4987 | 887 | 61.636 | 21.9893
2020-01-07 04:30:00 | 3.096 | 210.332 | 3.5607 | 231.1333 | 5.9 | 19.44 | 7.0773 | 27.6153 | 2.3947 | 887 | 62.7133 | 16.9927
2020-01-07 04:45:00 | 3.324 | 130.75 | 3.826 | 143.678 | 5.656 | 57.0193 | 6.5867 | 38.5713 | 2.7753 | 887 | 60.914 | 11.9433
2020-01-07 05:00:00 | 3.5827 | 62.8907 | 4.1193 | 69.1093 | 5.856 | 176.0253 | 5.3673 | 108.136 | 2.806 | 887 | 60.8 | 12.1467
2020-01-07 05:15:00 | 3.082 | 235.3993 | 3.5447 | 258.6747 | 5.7267 | 137.0013 | 5.8393 | 11.278 | 2.672 | 887 | 60.7707 | 14.1373
2020-01-07 05:30:00 | 2.9847 | 183.998 | 3.434 | 202.188 | 5.1633 | 126.1713 | 5.2567 | 38.0253 | 2.6647 | 887 | 60.5347 | 16.1947
2020-01-07 05:45:00 | 3.1727 | 108.95 | 3.6507 | 119.716 | 5.2893 | 15.9267 | 5.4473 | 17.3227 | 2.682 | 887 | 60.8193 | 20.5367
2020-01-07 06:00:00 | 3.422 | 151.9407 | 3.942 | 166.9647 | 5.476 | 128.42 | 5.4527 | 9.8813 | 2.544 | 887.6667 | 62.1347 | 27.308
2020-01-07 06:15:00 | 4.0727 | 141.0433 | 4.698 | 154.9933 | 6.5213 | 167.7953 | 6.46 | 21.4533 | 2.53 | 887 | 62.608 | 26.1493
2020-01-07 06:30:00 | 4.3013 | 170.9927 | 4.958 | 187.8953 | 7.0527 | 77.1133 | 7.1553 | 11.41 | 2.1973 | 887 | 64.4613 | 28.0107
2020-01-07 06:45:00 | 4.0133 | 17.8027 | 4.616 | 19.5567 | 6.5087 | 115.7187 | 6.554 | 12.024 | 2.1127 | 887 | 64.7107 | 29.9453
2020-01-07 07:00:00 | 4.4373 | 183.2967 | 5.1093 | 201.4267 | 7.12 | 51.6313 | 7.2893 | 12.374 | 2.0293 | 887 | 65.284 | 28.0507
2020-01-07 07:15:00 | 4.0133 | 40.7347 | 4.618 | 44.766 | 7.1513 | 214.6767 | 7.022 | 144.5013 | 2.032 | 887.9333 | 64.942 | 23.9487
2020-01-07 07:30:00 | 3.6493 | 157.844 | 4.1993 | 173.4507 | 6.6893 | 9.5653 | 6.6067 | 10.328 | 1.9667 | 888 | 64.9947 | 18.6733
2020-01-07 07:45:00 | 3.69 | 260.358 | 4.244 | 284.2127 | 6.5267 | 103.5913 | 6.9433 | 16.8667 | 1.932 | 888 | 65.026 | 23.8427
2020-01-07 08:00:00 | 4.15 | 296.146 | 4.7767 | 325.4333 | 7.1607 | 54.6833 | 7.4273 | 15.4967 | 1.8507 | 888 | 65.4547 | 30.7413
2020-01-07 08:15:00 | 4.3173 | 264.23 | 4.968 | 290.356 | 7.4087 | 132.0633 | 7.576 | 8.7233 | 1.68 | 888 | 66.6387 | 36.802
2020-01-07 08:30:00 | 5.0053 | 114.0273 | 5.762 | 125.2933 | 7.8293 | 161.5533 | 7.728 | 10.596 | 1.9107 | 888 | 65.7813 | 36.3527
2020-01-07 08:45:00 | 4.8627 | 52.26 | 5.5967 | 57.4233 | 7.6133 | 120.6167 | 7.6467 | 8.1893 | 2.2727 | 888 | 64.6947 | 30.646
2020-01-07 09:00:00 | 4.4733 | 290.4027 | 5.1447 | 319.12 | 7.3787 | 235.1167 | 7.5733 | 38.9813 | 2.82 | 888.6 | 63.1327 | 31.3073
2020-01-07 09:15:00 | 4.5 | 176.998 | 5.1827 | 194.4967 | 7.5227 | 119.5 | 7.8627 | 10.3133 | 3.6147 | 889.3333 | 60.1807 | 28.052
2020-01-07 09:30:00 | 4.4993 | 132.2 | 5.178 | 145.27 | 7.1647 | 118.0753 | 7.5867 | 132.9967 | 4.1393 | 890 | 58.0987 | 24.114
2020-01-07 09:45:00 | 4.3253 | 294.948 | 4.9813 | 324.1133 | 7.4353 | 4.218 | 7.6973 | 23.6467 | 5.198 | 890 | 55.006 | 26.8653
2020-01-07 10:00:00 | 4.338 | 187.076 | 4.9933 | 205.57 | 7.3253 | 2.938 | 7.6213 | 9.5353 | 5.6273 | 890.6 | 53.58 | 24.5207
2020-01-07 10:15:00 | 4.358 | 262.0893 | 5.0173 | 288 | 7.306 | 8.028 | 7.4047 | 6.7 | 5.7787 | 891 | 53.2713 | 27.058
2020-01-07 10:30:00 | 4.438 | 87.8487 | 5.106 | 96.532 | 7.0847 | 4.2273 | 6.878 | 8.476 | 5.6173 | 891 | 53.196 | 22.3327
2020-01-07 10:45:00 | 4.1853 | 244.968 | 4.8227 | 269.192 | 6.8053 | 53.1747 | 6.4813 | 7.712 | 6.1387 | 891 | 51.8447 | 18.9207
2020-01-07 11:00:00 | 3.912 | 79.058 | 4.5027 | 86.8713 | 6.5153 | 73.1987 | 6.3867 | 9.2893 | 6.8813 | 891.6 | 49.4027 | 17.9433
2020-01-07 11:15:00 | 4.1513 | 152.476 | 4.7773 | 167.5487 | 6.538 | 6.476 | 6.5907 | 19.174 | 6.3413 | 891.7333 | 50.704 | 18.0353
2020-01-07 11:30:00 | 4.3867 | 269.9113 | 5.0567 | 296.6013 | 6.8473 | 8.4927 | 6.8307 | 25.4433 | 6.6713 | 891 | 49.332 | 22.5653
2020-01-07 11:45:00 | 4.1893 | 197.6887 | 4.8207 | 217.2427 | 6.9393 | 10.1293 | 6.868 | 17.7787 | 7.116 | 891 | 47.586 | 22.82
2020-01-07 12:00:00 | 4.2467 | 32.0373 | 4.8847 | 35.1987 | 6.588 | 7.2733 | 6.3187 | 14.8093 | 7.946 | 891 | 44.828 | 16.4547
2020-01-07 12:15:00 | 4.308 | 162.09 | 4.9633 | 178.1133 | 6.2287 | 17.8467 | 5.9827 | 9.1473 | 7.478 | 891 | 44.856 | 10.7227
2020-01-07 12:30:00 | 4.3227 | 28.622 | 4.974 | 31.444 | 6.614 | 11.608 | 6.4107 | 16.8847 | 7.678 | 890.3333 | 44.822 | 7.9333
2020-01-07 12:45:00 | 3.4413 | 52.636 | 3.958 | 57.836 | 5.202 | 4.3853 | 4.972 | 7.2747 | 8.3267 | 890 | 42.7913 | 1.144
2020-01-07 13:00:00 | 2.9127 | 75.3313 | 3.3527 | 82.7773 | 3.846 | 8.758 | 3.6773 | 6.9193 | 8.2193 | 890.6 | 41.3953 | 0
2020-01-07 13:15:00 | 1.9707 | 114.8687 | 2.2653 | 126.232 | 2.342 | 123.7967 | 1.872 | 234.0667 | 8.4747 | 890.0667 | 41.4313 | 0
2020-01-07 13:30:00 | 1.3 | 137.9247 | 1.4927 | 151.5673 | 1.4 | 58.9553 | 0.85267 | 55.4013 | 9.1187 | 890 | 39.6533 | 0
2020-01-07 13:45:00 | 2.684 | 148.5587 | 3.0913 | 163.2467 | 2.9813 | 158.3133 | 2.7973 | 168.1067 | 9.0027 | 890 | 43.1033 | 0
2020-01-07 14:00:00 | 3.7427 | 141.9973 | 4.304 | 156.0333 | 4.178 | 160.2533 | 4.1327 | 162.2667 | 9.062 | 890 | 45.3893 | 1.002
2020-01-07 14:15:00 | 4.2373 | 150.9493 | 4.8773 | 165.8733 | 4.708 | 166.86 | 4.7247 | 168.9533 | 9.2393 | 890 | 45.2113 | 1.6387
2020-01-07 14:30:00 | 3.8467 | 148.644 | 4.4233 | 163.34 | 4.2273 | 173.2 | 4.0047 | 166.9533 | 9.2793 | 889.4 | 44.3287 | 1.3387
2020-01-07 14:45:00 | 3.6933 | 129.656 | 4.246 | 142.4733 | 4.18 | 148.4667 | 4.2353 | 166.8467 | 9.4153 | 889 | 43.4627 | 1.9707
2020-01-07 15:00:00 | 3.6093 | 134.682 | 4.1547 | 147.9933 | 4.2133 | 143.3533 | 4.2927 | 160.1867 | 9.4633 | 889 | 42.4627 | 0.61
2020-01-07 15:15:00 | 3.5587 | 142.3293 | 4.102 | 156.3933 | 4.05 | 156.9667 | 3.9173 | 162.44 | 9.6047 | 889 | 42.6407 | 1.1593
2020-01-07 15:30:00 | 3.7807 | 149.3633 | 4.3507 | 164.56 | 4.37 | 164.84 | 3.996 | 180.3 | 9.532 | 889 | 46.4233 | 5.7407
2020-01-07 15:45:00 | 3.4853 | 173.4587 | 4.008 | 190.6067 | 4.4487 | 223.94 | 4.486 | 229.6667 | 9.888 | 889 | 47.2727 | 8.1873
2020-01-07 16:00:00 | 3.9213 | 174.2587 | 4.5113 | 191.4867 | 4.9093 | 224.3533 | 5.084 | 224.1333 | 9.2253 | 889 | 48.532 | 6.1207
2020-01-07 16:15:00 | 2.6407 | 185.0727 | 3.0413 | 203.3733 | 3.3613 | 221.9333 | 3.434 | 222.5267 | 9.4667 | 889 | 47.1473 | 6.4547
2020-01-07 16:30:00 | 3.4947 | 174.4553 | 4.0287 | 191.7067 | 4.4073 | 222.5333 | 4.6233 | 226.3733 | 9.1907 | 889 | 47.6827 | 6.4087
2020-01-07 16:45:00 | 3.3113 | 160.828 | 3.812 | 176.7267 | 4.2147 | 224.0467 | 4.3887 | 223.46 | 8.5687 | 889 | 50.5733 | 6.052
2020-01-07 17:00:00 | 3.3467 | 170.36 | 3.8553 | 187.2 | 4.1787 | 226.8533 | 4.498 | 224.1933 | 8.2127 | 889 | 55.652 | 4.2013
2020-01-07 17:15:00 | 3.3747 | 168.8073 | 3.8793 | 185.5 | 4.2567 | 218.8067 | 4.3833 | 225.4533 | 7.6693 | 888.0667 | 59.9107 | 4.0887
2020-01-07 17:30:00 | 3.442 | 162.9067 | 3.9573 | 179.0133 | 4.4007 | 220.8533 | 4.8287 | 228.8467 | 7.2707 | 888 | 62.3113 | 4.378
2020-01-07 17:45:00 | 3.3827 | 177.828 | 3.8887 | 195.4133 | 4.5 | 215.18 | 4.84 | 222.6933 | 6.9007 | 888 | 64.2787 | 4.4207
2020-01-07 18:00:00 | 3.3873 | 169.5667 | 3.898 | 186.34 | 4.4487 | 219.62 | 4.8067 | 217.24 | 6.6327 | 888 | 65.068 | 6.948
2020-01-07 18:15:00 | 3.1893 | 181.4987 | 3.6753 | 199.4467 | 4.312 | 216.8133 | 4.8353 | 216.9067 | 6.4273 | 888 | 65.352 | 10.2627
2020-01-07 18:30:00 | 3.1867 | 170.3013 | 3.6633 | 187.14 | 4.2387 | 224.0067 | 4.892 | 222.04 | 6.23 | 887.4 | 65.9893 | 10.9653
2020-01-07 18:45:00 | 3.48 | 174.3593 | 4.0067 | 191.6 | 4.5233 | 208.8 | 4.818 | 219.6333 | 6.132 | 887.6 | 68.556 | 7.938
2020-01-07 19:00:00 | 3.1593 | 169.864 | 3.6313 | 186.6533 | 4.268 | 211.2067 | 4.268 | 222.0533 | 6.01 | 887.6 | 70.562 | 4.592
2020-01-07 19:15:00 | 2.644 | 171.544 | 3.038 | 188.5 | 3.3433 | 195.14 | 3.1807 | 210.02 | 5.9907 | 888 | 71.0747 | 3.3493
2020-01-07 19:30:00 | 1.9113 | 172.4633 | 2.1987 | 189.5133 | 2.5287 | 200.54 | 2.4873 | 204.5733 | 6.0567 | 888 | 71.2867 | 3.1653
2020-01-07 19:45:00 | 2.3567 | 174.3693 | 2.7127 | 191.6133 | 3.2307 | 212.26 | 3.1887 | 209.5867 | 5.932 | 888 | 72.2593 | 2.0847
2020-01-07 20:00:00 | 1.3867 | 176.7553 | 1.5993 | 194.24 | 2.2453 | 211.42 | 2.2433 | 201.1067 | 5.7153 | 888 | 73.402 | 0.062667
2020-01-07 20:15:00 | 0.39067 | 178.9733 | 0.458 | 196.6667 | 0.752 | 190.68 | 0.918 | 194.7267 | 5.5813 | 888 | 73.814 | 0
2020-01-07 20:30:00 | 0.904 | 178.92 | 1.044 | 196.6 | 1.6153 | 189.6067 | 2.066 | 192.4667 | 5.5353 | 888 | 74.174 | 0.414
2020-01-07 20:45:00 | 2.0727 | 174.1027 | 2.392 | 191.32 | 2.5087 | 188.9 | 2.754 | 196.8867 | 5.8607 | 888.9333 | 72.8613 | 0.91
2020-01-07 21:00:00 | 1.788 | 177.0207 | 2.062 | 194.5267 | 2.3267 | 197.0467 | 2.6933 | 189.68 | 5.782 | 889 | 73.0573 | 0.182
2020-01-07 21:15:00 | 0.74533 | 176.3033 | 0.864 | 193.7333 | 1.3247 | 175.8867 | 2.072 | 172.2133 | 5.714 | 889 | 73.1933 | 0
2020-01-07 21:30:00 | 0.17667 | 176.31 | 0.204 | 193.74 | 0.346 | 156.9 | 1.198 | 168.8667 | 5.538 | 889 | 73.6227 | 0
2020-01-07 21:45:00 | 0.45867 | 176.27 | 0.52867 | 193.7 | 0.91 | 177.1267 | 1.124 | 205.2133 | 5.3707 | 889 | 74.3673 | 0
2020-01-07 22:00:00 | 0.498 | 176.27 | 0.57533 | 193.7 | 0.982 | 197.0867 | 1.3233 | 213.9067 | 5.664 | 889 | 73.6613 | 0
2020-01-07 22:15:00 | 0.47467 | 176.3633 | 0.558 | 193.7933 | 0.91933 | 195.7933 | 1.1333 | 213.6 | 5.8913 | 889 | 72.7867 | 0
2020-01-07 22:30:00 | 0.344 | 176.37 | 0.40067 | 193.8 | 0.672 | 195.8 | 1.1007 | 200.7867 | 5.8467 | 889 | 73.032 | 0
2020-01-07 22:45:00 | 0.49733 | 176.37 | 0.578 | 193.8 | 0.98733 | 195.7067 | 1.4347 | 186.2 | 5.7373 | 889 | 73.142 | 0
2020-01-07 23:00:00 | 0.63733 | 158.6133 | 0.738 | 174.2933 | 1.1547 | 195.36 | 1.3833 | 186.26 | 5.7373 | 889 | 72.928 | 0
2020-01-07 23:15:00 | 0.10333 | 138.32 | 0.12333 | 152 | 0.2 | 194.9067 | 0.66533 | 186.2067 | 5.406 | 889 | 74.19 | 0
2020-01-07 23:30:00 | 0 | 138.32 | 0 | 152 | 0 | 194.9 | 0.064 | 186.2 | 5.1353 | 889 | 75.3 | 0
2020-01-07 23:45:00 | 0.086667 | 138.32 | 0.106 | 152 | 0.14867 | 194.9 | 0.21133 | 161.744 | 4.968 | 889 | 76.2953 | 0