## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-08 00:00:00 | 0.62571 | 280.33 | 0.72571 | 308.0429 | 1.1929 | 194.9 | 1.15 | 2.63 | 4.6929 | 889 | 77.5621 | 0
2020-01-08 00:15:00 | 1.4587 | 317.564 | 1.686 | 348.96 | 1.9827 | 152.3267 | 1.8527 | 2.63 | 4.556 | 889 | 77.9547 | 0
2020-01-08 00:30:00 | 2.0747 | 308.3853 | 2.3873 | 338.8733 | 2.402 | 78.5373 | 2.2033 | 14.362 | 4.376 | 889 | 78.232 | 0
2020-01-08 00:45:00 | 2.036 | 300.1727 | 2.34 | 329.8533 | 2.9767 | 8.324 | 2.5733 | 18.0567 | 4.0987 | 889 | 77.9913 | 0
2020-01-08 01:00:00 | 2.5273 | 212.896 | 2.9113 | 233.95 | 3.45 | 8.2933 | 2.9527 | 13.81 | 4.0133 | 889 | 78.1767 | 0
2020-01-08 01:15:00 | 2.8353 | 319.4633 | 3.2653 | 351.0533 | 3.926 | 2.152 | 3.98 | 6.4027 | 3.8447 | 889 | 79.4287 | 0.084667
2020-01-08 01:30:00 | 2.884 | 214.7753 | 3.326 | 236.02 | 3.6987 | 119.7387 | 3.918 | 121.1873 | 3.9427 | 889 | 78.8953 | 1.2233
2020-01-08 01:45:00 | 2.37 | 66.4227 | 2.726 | 72.9833 | 4.078 | 5.636 | 4.1947 | 10.9267 | 3.858 | 889 | 77.8693 | 2.8853
2020-01-08 02:00:00 | 2.6267 | 46.4693 | 3.02 | 51.06 | 4.1473 | 7.3813 | 4.2913 | 9.076 | 3.7113 | 889 | 78.1573 | 5.894
2020-01-08 02:15:00 | 2.7887 | 304.26 | 3.2153 | 334.3533 | 4.8927 | 120.7707 | 4.7587 | 10.6107 | 3.4747 | 888.0667 | 79.0733 | 8.1353
2020-01-08 02:30:00 | 3.264 | 62.0733 | 3.762 | 68.2067 | 5.836 | 23.0907 | 5.8493 | 18.184 | 3.2833 | 888 | 80.0733 | 12.864
2020-01-08 02:45:00 | 3.9453 | 65.9587 | 4.5487 | 72.4747 | 6.62 | 54.2793 | 6.5453 | 22.2413 | 3.356 | 888 | 80.0133 | 17.6447
2020-01-08 03:00:00 | 3.6693 | 141.868 | 4.226 | 155.8947 | 6.66 | 353.06 | 6.3253 | 6.4127 | 3.3167 | 888 | 80.4933 | 18.0613
2020-01-08 03:15:00 | 3.7727 | 55.6873 | 4.3453 | 61.1933 | 6.8887 | 302.812 | 6.5487 | 123.144 | 3.2807 | 888 | 80.7867 | 23.2293
2020-01-08 03:30:00 | 4.4267 | 251.288 | 5.096 | 276.1333 | 7.688 | 278.5747 | 7.1547 | 121.332 | 3.2407 | 888 | 81.2 | 30.1447
2020-01-08 03:45:00 | 5.0113 | 213.1033 | 5.7693 | 234.1767 | 8.086 | 76.938 | 7.852 | 134.2867 | 3.178 | 887.0667 | 81.56 | 37.0633
2020-01-08 04:00:00 | 5.4967 | 181.7013 | 6.3313 | 199.6627 | 8.1753 | 9.356 | 8.244 | 13.4973 | 3.1387 | 887 | 81.6267 | 38.046
2020-01-08 04:15:00 | 5.1653 | 82.19 | 5.9413 | 90.31 | 8.142 | 48.4993 | 7.9887 | 13.712 | 3.082 | 887 | 81.8933 | 39.696
2020-01-08 04:30:00 | 5.5727 | 56.9773 | 6.418 | 62.6087 | 8.7913 | 73.6913 | 8.712 | 12.9733 | 3.052 | 887 | 81.9733 | 40.5413
2020-01-08 04:45:00 | 5.6827 | 254.5653 | 6.5447 | 279.736 | 9.2927 | 11.6747 | 8.84 | 12.028 | 3.0727 | 887 | 81.8067 | 41.912
2020-01-08 05:00:00 | 5.904 | 39.4713 | 6.794 | 43.364 | 9.084 | 10.272 | 9.212 | 11.2567 | 3.02 | 887 | 82.04 | 41.712
2020-01-08 05:15:00 | 5.824 | 26.3233 | 6.6973 | 28.9247 | 9.1147 | 16.1953 | 9.2127 | 23.7333 | 2.974 | 886.0667 | 82.3333 | 42.62
2020-01-08 05:30:00 | 6.0433 | 135.2167 | 6.952 | 148.592 | 10.2313 | 10.7567 | 10.4253 | 17.8147 | 2.94 | 886 | 82.3933 | 42.9587
2020-01-08 05:45:00 | 6.2613 | 122.7207 | 7.2067 | 134.8513 | 10.8587 | 13.4567 | 10.6533 | 14.2133 | 2.9467 | 886 | 82.3 | 44.728
2020-01-08 06:00:00 | 6.762 | 75.21 | 7.7813 | 82.642 | 10.7647 | 11.2533 | 10.4427 | 13.7473 | 2.9753 | 886 | 81.76 | 45.9093
2020-01-08 06:15:00 | 6.782 | 193.634 | 7.8 | 212.7833 | 11.5627 | 14.6947 | 11.24 | 27.8007 | 2.9447 | 886 | 81.88 | 45.1973
2020-01-08 06:30:00 | 6.922 | 173.6333 | 7.968 | 190.8033 | 11.5927 | 10.4167 | 10.978 | 31.2167 | 2.876 | 886 | 82.2 | 45.8493
2020-01-08 06:45:00 | 7.4073 | 159.3907 | 8.5213 | 175.1493 | 12.3487 | 13.526 | 11.6993 | 16.3247 | 2.8713 | 886 | 81.9 | 48.1047
2020-01-08 07:00:00 | 7.4067 | 108.72 | 8.5227 | 119.4673 | 12.122 | 50.2153 | 11.4493 | 7.6073 | 2.8773 | 886 | 81.8 | 47.624
2020-01-08 07:15:00 | 7.1613 | 57.274 | 8.234 | 62.9287 | 12.204 | 15.682 | 11.6967 | 12.7267 | 2.7913 | 886 | 82.2733 | 49.1607
2020-01-08 07:30:00 | 7.322 | 197.9887 | 8.4233 | 217.5633 | 12.1067 | 10.3153 | 11.776 | 7.69 | 2.8027 | 886 | 82.02 | 49.016
2020-01-08 07:45:00 | 6.8807 | 263.152 | 7.9173 | 289.18 | 11.4367 | 11.3947 | 10.9967 | 15.3073 | 2.7707 | 886 | 82.1867 | 48.7407
2020-01-08 08:00:00 | 6.78 | 222.7467 | 7.8093 | 244.7767 | 11.0333 | 57.6553 | 10.6927 | 19.4193 | 2.7107 | 886 | 82.44 | 48.5567
2020-01-08 08:15:00 | 6.8607 | 214.0207 | 7.8967 | 235.1833 | 10.73 | 194.722 | 10.3013 | 17.4487 | 2.6967 | 886 | 82.4 | 48.8067
2020-01-08 08:30:00 | 7.154 | 168.288 | 8.2373 | 184.9287 | 11.57 | 13.2213 | 10.9667 | 12.586 | 2.6953 | 886 | 82.4867 | 48.5733
2020-01-08 08:45:00 | 6.8813 | 230.966 | 7.9173 | 253.8047 | 11.19 | 74.9033 | 10.7093 | 11.6067 | 2.682 | 886 | 82.7267 | 49.1873
2020-01-08 09:00:00 | 6.4987 | 113.8013 | 7.4753 | 125.05 | 10.494 | 77.7253 | 10.2207 | 23.354 | 2.68 | 886 | 82.8933 | 48.8647
2020-01-08 09:15:00 | 6.7013 | 198.9653 | 7.71 | 218.6387 | 10.264 | 146.2027 | 10.0027 | 25.244 | 2.688 | 887 | 83.02 | 48.7887
2020-01-08 09:30:00 | 6.0667 | 80.4853 | 6.978 | 88.4387 | 10.092 | 11.5673 | 9.8887 | 7.704 | 2.7213 | 887 | 83.16 | 47.164
2020-01-08 09:45:00 | 6.6733 | 210.6247 | 7.674 | 231.4473 | 10.414 | 11.176 | 10.042 | 14.5927 | 2.7673 | 887 | 83.1067 | 48.0467
2020-01-08 10:00:00 | 6.3827 | 114.2887 | 7.348 | 125.586 | 10.31 | 51.3273 | 10.0953 | 7.734 | 2.8387 | 887 | 82.9133 | 47.1113
2020-01-08 10:15:00 | 5.7493 | 161.174 | 6.6153 | 177.108 | 9.4253 | 296.5733 | 9.1007 | 133.5867 | 2.912 | 888 | 82.58 | 45.692
2020-01-08 10:30:00 | 5.7807 | 160.6113 | 6.654 | 176.494 | 9.3927 | 17.396 | 8.7427 | 23.0447 | 3.018 | 888 | 82.2067 | 44.8493
2020-01-08 10:45:00 | 5.538 | 12.4793 | 6.374 | 13.7107 | 9.3347 | 83.0727 | 8.722 | 18.4027 | 3.1707 | 888 | 81.6867 | 43.7193
2020-01-08 11:00:00 | 5.5947 | 130.7553 | 6.442 | 143.6893 | 8.9367 | 15.9933 | 8.542 | 16.0247 | 3.2493 | 888 | 81.3467 | 42.3153
2020-01-08 11:15:00 | 5.2747 | 144.574 | 6.0727 | 158.8707 | 8.842 | 13.524 | 8.2973 | 8.83 | 3.416 | 888 | 80.5413 | 40.454
2020-01-08 11:30:00 | 5.52 | 131.3113 | 6.3567 | 144.2913 | 8.6907 | 10.948 | 8.1387 | 14.7327 | 3.4973 | 888 | 79.7653 | 38.6673
2020-01-08 11:45:00 | 5.742 | 128.422 | 6.604 | 141.122 | 9.392 | 15.2947 | 8.6727 | 20.1733 | 3.6213 | 888 | 79.002 | 35.8593
2020-01-08 12:00:00 | 5.3693 | 220.7807 | 6.176 | 242.6153 | 8.9967 | 12.5907 | 8.2107 | 17.7707 | 3.7007 | 888 | 78.5313 | 34.1753
2020-01-08 12:15:00 | 5.1093 | 96.6413 | 5.8773 | 106.198 | 8.4287 | 19.2147 | 7.6007 | 17.5373 | 3.8713 | 887.7333 | 77.804 | 34.4873
2020-01-08 12:30:00 | 5.0347 | 193.1107 | 5.7987 | 212.2 | 8.584 | 18.516 | 8.0907 | 15.7007 | 3.9027 | 887 | 77.6513 | 34.3673
2020-01-08 12:45:00 | 5.1833 | 31.562 | 5.9673 | 34.6767 | 8.9513 | 18.1 | 8.2033 | 16.8787 | 4.0527 | 887 | 76.8453 | 33.8493
2020-01-08 13:00:00 | 5.3333 | 49.4767 | 6.1393 | 54.3607 | 9.5467 | 20.97 | 8.7607 | 18.7807 | 4.3047 | 887 | 76.1267 | 33.116
2020-01-08 13:15:00 | 5.4227 | 196.034 | 6.2467 | 215.422 | 9.3707 | 20.728 | 8.7293 | 16.7807 | 4.4007 | 887 | 75.26 | 32.8953
2020-01-08 13:30:00 | 5.1067 | 71.1093 | 5.8833 | 78.1413 | 8.388 | 16.6233 | 7.8873 | 23.002 | 4.4713 | 886.3333 | 74.9973 | 29.8793
2020-01-08 13:45:00 | 5.2033 | 79.1913 | 5.9907 | 87.02 | 8.8187 | 11.6513 | 8.3167 | 17.1933 | 4.58 | 886 | 74.5073 | 30.3593
2020-01-08 14:00:00 | 5.098 | 129.1233 | 5.8667 | 141.8867 | 9.0747 | 13.4387 | 8.466 | 11.6573 | 4.77 | 886 | 73.8547 | 29.424
2020-01-08 14:15:00 | 5.128 | 84.8153 | 5.8987 | 93.2 | 8.5947 | 18.492 | 8.142 | 10.2433 | 4.8853 | 885.7333 | 73.3173 | 28.528
2020-01-08 14:30:00 | 4.8273 | 152.6067 | 5.5507 | 167.6933 | 8.64 | 16.8 | 8.0733 | 22.3033 | 4.9253 | 885.6667 | 73.12 | 28.2353
2020-01-08 14:45:00 | 5.0233 | 83.2067 | 5.7847 | 91.4333 | 8.8907 | 21.5187 | 8.206 | 23.1347 | 4.844 | 885 | 73.5227 | 28.0393
2020-01-08 15:00:00 | 4.954 | 125.3827 | 5.696 | 137.7853 | 9.0173 | 16.2793 | 8.6193 | 21.3013 | 5.0073 | 885 | 73.204 | 27.384
2020-01-08 15:15:00 | 4.8693 | 132.6233 | 5.6013 | 145.7347 | 8.5967 | 16.45 | 8.2993 | 19.1447 | 5.096 | 885 | 72.892 | 27.5453
2020-01-08 15:30:00 | 5.0253 | 114.4133 | 5.7813 | 125.72 | 8.9773 | 12.51 | 8.4307 | 18.3493 | 4.9967 | 885 | 73.2893 | 29.35
2020-01-08 15:45:00 | 5.072 | 77.932 | 5.834 | 85.64 | 9.1953 | 15.9307 | 8.932 | 14.2527 | 5.1327 | 885 | 72.7073 | 32.2733
2020-01-08 16:00:00 | 5.168 | 132.8273 | 5.9487 | 145.9653 | 9.3607 | 11.452 | 9.0607 | 13.962 | 5.0187 | 885 | 72.9267 | 31.5867
2020-01-08 16:15:00 | 5.2587 | 228.2407 | 6.056 | 250.8133 | 9.4293 | 8.1987 | 9.1367 | 10.5647 | 5.0727 | 885 | 72.5827 | 32.772
2020-01-08 16:30:00 | 5.0993 | 125.5253 | 5.8667 | 137.9353 | 8.7253 | 39.064 | 8.446 | 11.6173 | 4.7333 | 885 | 73.6307 | 34.932
2020-01-08 16:45:00 | 5.6733 | 49.628 | 6.5273 | 54.536 | 9.9507 | 15.9547 | 9.494 | 14.9493 | 4.4567 | 885 | 74.8507 | 36.5893
2020-01-08 17:00:00 | 5.7107 | 127.29 | 6.5727 | 139.8727 | 10.046 | 9.602 | 9.6827 | 11.1933 | 4.366 | 885 | 75.3793 | 39.3833
2020-01-08 17:15:00 | 5.858 | 110.7827 | 6.7453 | 121.7353 | 9.872 | 13.4687 | 9.4453 | 17.1913 | 4.204 | 885 | 76.0967 | 39.5427
2020-01-08 17:30:00 | 5.646 | 119.572 | 6.494 | 131.394 | 9.6147 | 10.248 | 9.1167 | 15.1367 | 4.0453 | 885 | 76.6907 | 39.364
2020-01-08 17:45:00 | 5.532 | 84.9787 | 6.3647 | 93.38 | 9.732 | 125.8353 | 9.308 | 18.6653 | 3.8873 | 885 | 77.2807 | 39.794
2020-01-08 18:00:00 | 5.4147 | 183.9633 | 6.2307 | 202.1467 | 9.766 | 15.5473 | 9.5687 | 18.862 | 3.7247 | 885 | 77.8353 | 42.082
2020-01-08 18:15:00 | 5.2613 | 166.4487 | 6.0547 | 182.9093 | 9.8113 | 12.882 | 9.74 | 15.0407 | 3.5973 | 885 | 78.284 | 42.6953
2020-01-08 18:30:00 | 5.7053 | 145.058 | 6.5633 | 159.3973 | 10.2807 | 11.1773 | 9.806 | 15.9787 | 3.4847 | 885 | 78.7073 | 42.9033
2020-01-08 18:45:00 | 5.9507 | 77.998 | 6.8467 | 85.7127 | 10.422 | 13.8633 | 9.9007 | 18.778 | 3.4167 | 885 | 78.9867 | 43.928
2020-01-08 19:00:00 | 6.0627 | 204.418 | 6.9767 | 224.6373 | 10.872 | 13.8567 | 10.426 | 19.1827 | 3.3507 | 885 | 79.3 | 46.3247
2020-01-08 19:15:00 | 6.0047 | 181.282 | 6.9087 | 199.2067 | 10.6647 | 10.0647 | 10.252 | 20.96 | 3.2993 | 885 | 79.4787 | 46.7993
2020-01-08 19:30:00 | 6.1867 | 217.044 | 7.1147 | 238.5093 | 10.748 | 18.912 | 10.0647 | 16.862 | 3.2533 | 885 | 79.7833 | 46.6847
2020-01-08 19:45:00 | 6.29 | 124.0167 | 7.2387 | 136.2807 | 10.634 | 18.9527 | 9.8113 | 20.5227 | 3.1873 | 885.2667 | 80.3467 | 47.218
2020-01-08 20:00:00 | 6.178 | 100.28 | 7.112 | 110.1947 | 10.5847 | 11.794 | 10.12 | 17.6107 | 3.1273 | 886 | 80.8133 | 47.0233
2020-01-08 20:15:00 | 5.9427 | 283.058 | 6.836 | 311.0533 | 10.3373 | 14.1307 | 9.696 | 20.7007 | 3.0813 | 886 | 81.22 | 47.894
2020-01-08 20:30:00 | 6.3827 | 128.168 | 7.342 | 140.8367 | 10.7793 | 13.6647 | 10.4667 | 17.9387 | 3.032 | 886 | 81.4867 | 48.954
2020-01-08 20:45:00 | 6.2613 | 166.8233 | 7.206 | 183.32 | 10.9147 | 13.9847 | 10.6467 | 22.8833 | 2.9733 | 886 | 81.7933 | 48.876
2020-01-08 21:00:00 | 5.9347 | 100.8527 | 6.8273 | 110.82 | 10.636 | 19.4493 | 10.4007 | 24.7933 | 2.922 | 886 | 82.18 | 48.894
2020-01-08 21:15:00 | 6.252 | 203.458 | 7.1893 | 223.5767 | 11.054 | 13.328 | 10.782 | 17.5393 | 2.8607 | 886 | 82.6867 | 51.138
2020-01-08 21:30:00 | 6.3133 | 193.778 | 7.2687 | 212.94 | 11.2827 | 12.2907 | 10.75 | 15.736 | 2.8067 | 886 | 83.26 | 50.5987
2020-01-08 21:45:00 | 6.4553 | 171.8673 | 7.422 | 188.8633 | 10.996 | 12.1093 | 10.6387 | 15.7913 | 2.7327 | 886 | 83.9067 | 50.3793
2020-01-08 22:00:00 | 6.7993 | 138.3913 | 7.824 | 152.0707 | 11.714 | 15.4613 | 10.962 | 22.1053 | 2.666 | 886 | 84.4933 | 49.7413
2020-01-08 22:15:00 | 6.686 | 93.0227 | 7.694 | 102.2167 | 11.626 | 13.456 | 11.0747 | 14.4287 | 2.6313 | 886 | 84.7 | 47.0393
2020-01-08 22:30:00 | 6.42 | 167.844 | 7.3913 | 184.4393 | 11.0647 | 129.3927 | 10.4807 | 18.0167 | 2.6013 | 886 | 84.7 | 46.3513
2020-01-08 22:45:00 | 6.262 | 36.3427 | 7.2067 | 39.9267 | 11.0873 | 15.8647 | 10.2567 | 18.224 | 2.568 | 886 | 84.7933 | 46.4993
2020-01-08 23:00:00 | 6.2227 | 134.464 | 7.162 | 147.7547 | 10.7467 | 14.3327 | 10.4687 | 17.62 | 2.542 | 886 | 84.8667 | 46.06
2020-01-08 23:15:00 | 6.144 | 264.8947 | 7.07 | 291.0867 | 10.958 | 15.3027 | 10.5467 | 17.858 | 2.5267 | 886 | 84.9267 | 47.1633
2020-01-08 23:30:00 | 6.0313 | 107.894 | 6.9407 | 118.5567 | 10.556 | 63.4467 | 10.0707 | 71.9693 | 2.5087 | 886 | 84.9333 | 47.3867
2020-01-08 23:45:00 | 5.64 | 40.402 | 6.488 | 44.3953 | 9.822 | 13.4593 | 9.2213 | 15.2287 | 2.484 | 886 | 84.9 | 43.772