## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-09 00:00:00 | 5.6279 | 144.4421 | 6.4793 | 158.7229 | 9.9579 | 11.8814 | 9.2829 | 16.7186 | 2.4764 | 886 | 84.9 | 43.3943
2020-01-09 00:15:00 | 5.6947 | 177.282 | 6.556 | 194.8067 | 9.97 | 25.7467 | 9.3067 | 66.5547 | 2.4647 | 886 | 84.8733 | 44.3053
2020-01-09 00:30:00 | 6.0567 | 181.402 | 6.9693 | 199.34 | 10.8547 | 14.4633 | 10.2967 | 85.418 | 2.44 | 886 | 85.0467 | 43.464
2020-01-09 00:45:00 | 5.962 | 119.6013 | 6.8587 | 131.4233 | 10.462 | 17.4967 | 9.9 | 14.0447 | 2.4413 | 886 | 84.7067 | 42.6993
2020-01-09 01:00:00 | 5.662 | 141.7853 | 6.516 | 155.8013 | 10.182 | 12.7413 | 9.7233 | 17.1293 | 2.4267 | 886 | 84.76 | 42.2633
2020-01-09 01:15:00 | 5.344 | 52.2847 | 6.15 | 57.4487 | 9.8753 | 13.2827 | 9.5067 | 14.7233 | 2.3987 | 886 | 85.2067 | 41.18
2020-01-09 01:30:00 | 5.038 | 144.836 | 5.8033 | 159.1567 | 9.456 | 14.8553 | 9.286 | 24.7167 | 2.3667 | 886 | 85.2 | 39.1173
2020-01-09 01:45:00 | 4.9747 | 242.1767 | 5.7227 | 266.1207 | 9.3353 | 22.172 | 8.9613 | 24.1467 | 2.2973 | 886 | 86.1133 | 38.3733
2020-01-09 02:00:00 | 4.784 | 192.2527 | 5.508 | 211.262 | 9.018 | 13.3993 | 8.748 | 19.9907 | 2.148 | 886 | 87.5533 | 38.2493
2020-01-09 02:15:00 | 5.2333 | 187.782 | 6.0273 | 206.3453 | 9.382 | 8.978 | 8.8487 | 19.87 | 2.1253 | 886 | 87.08 | 38.8787
2020-01-09 02:30:00 | 5.744 | 238.1207 | 6.6107 | 261.6713 | 10.1893 | 16.1873 | 9.7893 | 20.5727 | 2.144 | 886 | 86.66 | 40.3973
2020-01-09 02:45:00 | 5.4187 | 157.2327 | 6.2313 | 172.7787 | 9.866 | 16.264 | 9.4053 | 18.3513 | 2.1067 | 886 | 87.04 | 40.7433
2020-01-09 03:00:00 | 5.79 | 148.884 | 6.6573 | 163.608 | 10.3373 | 7.458 | 10.0813 | 14.9367 | 2.0807 | 886 | 87.3067 | 42.3633
2020-01-09 03:15:00 | 5.8627 | 144.8533 | 6.75 | 159.1733 | 10.702 | 11.096 | 10.3473 | 17.1713 | 2.0293 | 886 | 87.9467 | 45.314
2020-01-09 03:30:00 | 6.0127 | 135.6627 | 6.9147 | 149.068 | 10.848 | 14.5573 | 10.4793 | 17.5587 | 1.9833 | 886 | 88.3333 | 44.4587
2020-01-09 03:45:00 | 6.018 | 74.7713 | 6.926 | 82.162 | 10.662 | 14.8393 | 10.3307 | 16.4993 | 1.9947 | 886 | 88.1733 | 45.4713
2020-01-09 04:00:00 | 5.8853 | 135.642 | 6.7653 | 149.0533 | 10.3973 | 11.02 | 10.2047 | 19.824 | 1.9987 | 886 | 88.04 | 48.32
2020-01-09 04:15:00 | 6.04 | 183.7913 | 6.944 | 201.96 | 10.6967 | 14.3047 | 10.3627 | 18.61 | 1.9973 | 885.6667 | 87.72 | 47.6393
2020-01-09 04:30:00 | 5.7847 | 133.0307 | 6.654 | 146.184 | 10.558 | 18.122 | 10.3087 | 20.2947 | 2.0413 | 885 | 87.02 | 49.1233
2020-01-09 04:45:00 | 6.1613 | 76.6893 | 7.0847 | 84.2627 | 11.064 | 17.2753 | 10.6713 | 16.0353 | 2.112 | 885 | 86.28 | 49.142
2020-01-09 05:00:00 | 6.0687 | 237.0073 | 6.9827 | 260.44 | 11.0013 | 14.9773 | 10.622 | 18.5653 | 2.1667 | 885 | 85.7333 | 49.068
2020-01-09 05:15:00 | 6.2267 | 39.5513 | 7.162 | 43.4593 | 11.0073 | 16.8253 | 10.644 | 20.4433 | 2.16 | 885 | 85.5133 | 49.63
2020-01-09 05:30:00 | 6.2253 | 199.2113 | 7.1673 | 218.9073 | 10.848 | 18.9733 | 10.29 | 18.476 | 2.152 | 885 | 85.42 | 52.1053
2020-01-09 05:45:00 | 6.5527 | 286.9053 | 7.54 | 315.28 | 11.154 | 19.8387 | 10.8153 | 24.174 | 2.174 | 885 | 84.92 | 50.6753
2020-01-09 06:00:00 | 6.5633 | 166.5713 | 7.5473 | 183.0407 | 11.3807 | 15.2553 | 10.9293 | 15.2167 | 2.1733 | 885 | 84.6933 | 50.3713
2020-01-09 06:15:00 | 6.368 | 58.6333 | 7.3227 | 64.4293 | 11.128 | 12.4913 | 10.8607 | 13.27 | 2.1993 | 885 | 84.2067 | 49.7907
2020-01-09 06:30:00 | 6.3133 | 119.7913 | 7.266 | 131.6367 | 10.8167 | 13.78 | 10.3093 | 20.7633 | 2.2307 | 885 | 83.78 | 50.4713
2020-01-09 06:45:00 | 6.2673 | 244.262 | 7.208 | 268.4133 | 11.2267 | 11.3093 | 10.98 | 18.3967 | 2.2413 | 885 | 83.42 | 50.4833
2020-01-09 07:00:00 | 6.3893 | 221.556 | 7.354 | 243.46 | 11.3547 | 13.256 | 10.972 | 22.2067 | 2.25 | 885 | 83.1733 | 48.4893
2020-01-09 07:15:00 | 6.108 | 251.9573 | 7.028 | 276.8667 | 10.6733 | 14.012 | 10.4133 | 18.7053 | 2.2527 | 885 | 83.0533 | 47.846
2020-01-09 07:30:00 | 5.95 | 158.27 | 6.8473 | 173.912 | 10.672 | 13.946 | 10.4793 | 19.8993 | 2.208 | 885 | 83.3667 | 48.9833
2020-01-09 07:45:00 | 6.3307 | 123.4533 | 7.2853 | 135.6567 | 10.9393 | 14.3833 | 10.632 | 21.5753 | 2.214 | 885 | 83.3 | 49.3873
2020-01-09 08:00:00 | 6.506 | 213.0353 | 7.4813 | 234.1067 | 11.212 | 17.548 | 10.6033 | 15.0307 | 2.2547 | 885 | 82.82 | 49.3833
2020-01-09 08:15:00 | 6.1793 | 244.55 | 7.106 | 268.7347 | 10.5433 | 7.498 | 10.202 | 20.3393 | 2.2787 | 885 | 82.3333 | 45.73
2020-01-09 08:30:00 | 5.4353 | 73.6667 | 6.2553 | 80.9487 | 9.4007 | 11 | 9.2127 | 10.9553 | 2.2907 | 885 | 82.2133 | 42.378
2020-01-09 08:45:00 | 5.1873 | 128.2887 | 5.9693 | 140.9733 | 8.7567 | 14.796 | 8.352 | 25.4113 | 2.3007 | 885.9333 | 82.2333 | 40.3347
2020-01-09 09:00:00 | 5.5553 | 76.1673 | 6.4013 | 83.6953 | 9.1053 | 12.6667 | 8.8547 | 32.3827 | 2.3593 | 886 | 81.9533 | 42.0553
2020-01-09 09:15:00 | 5.3107 | 24.1147 | 6.11 | 26.498 | 8.9667 | 132.8107 | 8.7233 | 15.872 | 2.386 | 886 | 81.9267 | 41.9847
2020-01-09 09:30:00 | 5.944 | 37.8387 | 6.836 | 41.5767 | 10.0853 | 9.5613 | 9.5973 | 15.6853 | 2.4427 | 886 | 81.9067 | 40.3313
2020-01-09 09:45:00 | 5.7547 | 248.0433 | 6.6187 | 272.5747 | 9.6227 | 8.6687 | 9.0227 | 13.9707 | 2.51 | 886.9333 | 81.5733 | 39.94
2020-01-09 10:00:00 | 5.5867 | 45.56 | 6.4273 | 50.06 | 9.5567 | 10.032 | 9.29 | 21.2387 | 2.5693 | 887 | 81.5933 | 39.184
2020-01-09 10:15:00 | 5.406 | 247.278 | 6.2167 | 271.7253 | 8.7553 | 13.532 | 8.2887 | 10.1333 | 2.64 | 887.3333 | 81.3867 | 37.2333
2020-01-09 10:30:00 | 5.1213 | 157.844 | 5.8953 | 173.4473 | 8.4987 | 14.7813 | 8.2893 | 20.1967 | 2.7067 | 888 | 81.5733 | 36.1447
2020-01-09 10:45:00 | 5.276 | 56.8173 | 6.076 | 62.4367 | 9.0667 | 12.2587 | 8.566 | 19.808 | 2.8333 | 888 | 81.3067 | 33.512
2020-01-09 11:00:00 | 4.824 | 90.452 | 5.554 | 99.396 | 8.4453 | 60.6713 | 8.0247 | 20.7713 | 2.982 | 888 | 80.8467 | 32.4753
2020-01-09 11:15:00 | 4.952 | 201.1673 | 5.7027 | 221.0567 | 8.5413 | 76.6273 | 7.9653 | 18.2807 | 3.13 | 888 | 80.2133 | 30.6393
2020-01-09 11:30:00 | 4.8653 | 183.634 | 5.604 | 201.79 | 8.8073 | 14.192 | 8.3753 | 23.822 | 3.38 | 887.4 | 79.6053 | 26.5547
2020-01-09 11:45:00 | 4.8213 | 176.3187 | 5.5573 | 193.75 | 8.3653 | 13.1107 | 8.0487 | 23.0873 | 3.4947 | 887 | 79.0353 | 24.458
2020-01-09 12:00:00 | 4.3247 | 71.9947 | 4.9813 | 79.1067 | 7.5587 | 13.428 | 7.356 | 13.6913 | 3.548 | 887 | 78.5513 | 19.886
2020-01-09 12:15:00 | 4.0913 | 180.518 | 4.7087 | 198.3667 | 6.6587 | 32.3453 | 6.4373 | 72.848 | 3.5627 | 887 | 78.6347 | 17.3993
2020-01-09 12:30:00 | 4.5987 | 51.4193 | 5.292 | 56.5013 | 7.704 | 20.0267 | 7.0367 | 19.0033 | 3.6533 | 887 | 78.3707 | 16.5867
2020-01-09 12:45:00 | 4.3253 | 84.3033 | 4.974 | 92.6327 | 7.2707 | 17.666 | 6.8513 | 18.87 | 3.7767 | 887 | 78.0367 | 15.078
2020-01-09 13:00:00 | 3.944 | 57.6947 | 4.5353 | 63.4 | 7.066 | 17.5953 | 6.854 | 20.6273 | 3.972 | 887 | 77.546 | 14.9053
2020-01-09 13:15:00 | 4.044 | 148.662 | 4.6507 | 163.36 | 7.4267 | 20.206 | 7.1647 | 23.5333 | 3.9553 | 886.0667 | 77.772 | 15.8207
2020-01-09 13:30:00 | 4.2447 | 147.1147 | 4.884 | 161.666 | 7.8227 | 18.71 | 7.3493 | 20.5587 | 3.8467 | 886 | 78.392 | 14.8247
2020-01-09 13:45:00 | 3.9933 | 125.7427 | 4.5933 | 138.1793 | 7.3873 | 15.3147 | 6.89 | 22.4953 | 3.8487 | 886 | 78.884 | 14.4647
2020-01-09 14:00:00 | 3.8627 | 167.3333 | 4.4393 | 183.8787 | 7.096 | 15.5753 | 6.6773 | 24.42 | 3.7973 | 886 | 78.916 | 13.69
2020-01-09 14:15:00 | 4.2747 | 97.36 | 4.9187 | 106.9873 | 7.7333 | 21.34 | 7.3353 | 26.0827 | 3.7347 | 886 | 79.2827 | 15.8693
2020-01-09 14:30:00 | 4.4293 | 206.378 | 5.1013 | 226.79 | 8.1247 | 18.9513 | 7.7793 | 21.5153 | 3.7767 | 885.4 | 79.432 | 21.78
2020-01-09 14:45:00 | 4.5453 | 184.2153 | 5.2267 | 202.4333 | 8.29 | 8.5913 | 7.704 | 15.236 | 3.838 | 885 | 79.5133 | 24.332
2020-01-09 15:00:00 | 4.676 | 194.638 | 5.38 | 213.89 | 8.2307 | 18.2267 | 7.7847 | 25.1793 | 3.8073 | 885 | 80.034 | 27.6907
2020-01-09 15:15:00 | 4.638 | 165.99 | 5.3333 | 182.4007 | 8.3607 | 19.0727 | 8.0813 | 25.838 | 3.7733 | 885 | 80.1267 | 30.2753
2020-01-09 15:30:00 | 4.6267 | 152.078 | 5.3267 | 167.1093 | 8.404 | 13.7873 | 8.0347 | 20.35 | 3.718 | 885 | 80.34 | 29.798
2020-01-09 15:45:00 | 4.6833 | 189.7493 | 5.3867 | 208.51 | 8.3027 | 13.748 | 8.0493 | 18.4653 | 3.7173 | 885 | 80.6267 | 29.7673
2020-01-09 16:00:00 | 4.61 | 186.254 | 5.3033 | 204.6733 | 8.5267 | 16.1573 | 8.278 | 18.3687 | 3.672 | 885 | 81.1 | 31.0333
2020-01-09 16:15:00 | 4.7947 | 55.032 | 5.5133 | 60.4693 | 9.03 | 18.7413 | 8.5793 | 21.6873 | 3.6327 | 885 | 81.7933 | 33.364
2020-01-09 16:30:00 | 5.5307 | 125.8787 | 6.3607 | 138.324 | 9.7953 | 10.234 | 9.464 | 17.532 | 3.4013 | 885 | 82.14 | 35.3613
2020-01-09 16:45:00 | 5.042 | 146.2233 | 5.8013 | 160.6787 | 9.3807 | 15.7987 | 8.9713 | 23.914 | 3.2347 | 885 | 83.0133 | 33.342
2020-01-09 17:00:00 | 4.8827 | 116.8667 | 5.6253 | 128.4193 | 9.2587 | 17.7187 | 8.718 | 23.7433 | 3.134 | 885 | 83.26 | 32.7953
2020-01-09 17:15:00 | 4.7493 | 154.6893 | 5.4633 | 169.9907 | 9.0207 | 16.622 | 8.8793 | 24.086 | 3.0353 | 885 | 83.7333 | 33.3067
2020-01-09 17:30:00 | 4.62 | 61.0127 | 5.3213 | 67.0413 | 8.7333 | 13.762 | 8.4647 | 19.6407 | 2.9467 | 885 | 84.1667 | 35.2233
2020-01-09 17:45:00 | 4.6987 | 156.4313 | 5.4147 | 171.896 | 8.9647 | 17.664 | 8.6967 | 17.3533 | 2.842 | 885 | 84.7467 | 37.1033
2020-01-09 18:00:00 | 4.81 | 199.8187 | 5.534 | 219.578 | 8.9887 | 11.722 | 8.6407 | 22.3573 | 2.71 | 885 | 84.9267 | 38.564
2020-01-09 18:15:00 | 5.0053 | 183.0067 | 5.7593 | 201.106 | 9.628 | 9.3947 | 9.4647 | 18.9467 | 2.61 | 885 | 85.2267 | 41.7967
2020-01-09 18:30:00 | 5.1813 | 133.824 | 5.9613 | 147.052 | 9.7353 | 14.4587 | 9.5433 | 23.038 | 2.5487 | 885 | 85.1733 | 45.14
2020-01-09 18:45:00 | 5.5933 | 216.8993 | 6.438 | 238.3467 | 10.282 | 11.828 | 9.9407 | 18.078 | 2.482 | 885 | 84.92 | 47.0267
2020-01-09 19:00:00 | 5.744 | 188.318 | 6.6107 | 206.94 | 10.468 | 15.0533 | 10.192 | 19.4893 | 2.424 | 885.6667 | 84.7333 | 47.938
2020-01-09 19:15:00 | 5.7513 | 186.014 | 6.62 | 204.4067 | 10.5513 | 9.5993 | 10.2173 | 14.9673 | 2.3713 | 885.0667 | 84.58 | 48.2367
2020-01-09 19:30:00 | 5.6 | 70.584 | 6.4453 | 77.56 | 10.29 | 14.0793 | 10.088 | 21.7227 | 2.3313 | 885 | 84.46 | 51.6147
2020-01-09 19:45:00 | 5.7947 | 212.5773 | 6.672 | 233.5953 | 10.4187 | 13.8473 | 10.3667 | 17.8393 | 2.3053 | 885 | 84.1133 | 50.1647
2020-01-09 20:00:00 | 5.7893 | 212.6573 | 6.6647 | 233.688 | 9.988 | 9.722 | 9.642 | 22.6733 | 2.2953 | 885 | 83.56 | 48.1
2020-01-09 20:15:00 | 5.2693 | 179.5073 | 6.066 | 197.2567 | 9.128 | 11.342 | 8.3707 | 67.3627 | 2.2867 | 885 | 83.5333 | 46.7593
2020-01-09 20:30:00 | 5.9667 | 110.2 | 6.8707 | 121.0933 | 9.7873 | 18.0913 | 9.382 | 90.0393 | 2.31 | 885.6667 | 82.64 | 48.832
2020-01-09 20:45:00 | 6.2413 | 250.2193 | 7.188 | 274.9633 | 10.1967 | 15.396 | 9.9593 | 15.8447 | 2.3673 | 886 | 81.56 | 49.7907
2020-01-09 21:00:00 | 6.0107 | 234.2153 | 6.9187 | 257.38 | 10.0727 | 14.114 | 9.8953 | 18.1387 | 2.3873 | 886 | 80.7533 | 47.952
2020-01-09 21:15:00 | 5.628 | 242.052 | 6.4753 | 265.98 | 10.244 | 13.552 | 10.0727 | 19.7407 | 2.3553 | 886 | 80.8467 | 44.464
2020-01-09 21:30:00 | 5.486 | 163.9313 | 6.3147 | 180.14 | 9.71 | 13.5733 | 9.8727 | 22.652 | 2.3427 | 886 | 80.2933 | 43.116
2020-01-09 21:45:00 | 5.1773 | 128.912 | 5.9553 | 141.6513 | 9.456 | 10.0947 | 9.7947 | 23.1207 | 2.3313 | 886 | 80.2613 | 43.5493
2020-01-09 22:00:00 | 5.6533 | 129.192 | 6.5113 | 141.962 | 10.1507 | 17.3727 | 9.6667 | 19.088 | 2.358 | 886 | 79.9253 | 48.016
2020-01-09 22:15:00 | 6.1133 | 202.9267 | 7.0367 | 222.992 | 10.9667 | 11.7773 | 10.7453 | 19.7353 | 2.3087 | 886.7333 | 80.2547 | 50.3013
2020-01-09 22:30:00 | 6.0833 | 183.028 | 7.0013 | 201.1213 | 10.8373 | 16.734 | 11.2147 | 26.3633 | 2.3113 | 886 | 79.682 | 49.24
2020-01-09 22:45:00 | 5.5387 | 203.456 | 6.3727 | 223.57 | 10.114 | 19.948 | 10.6013 | 27.7973 | 2.324 | 886 | 79.584 | 48.1973
2020-01-09 23:00:00 | 5.62 | 285.508 | 6.4707 | 313.74 | 10.3787 | 10.8573 | 10.7453 | 25.7387 | 2.2913 | 886 | 79.7273 | 48.094
2020-01-09 23:15:00 | 5.8507 | 154.744 | 6.73 | 170.0413 | 10.5927 | 15.4673 | 10.9327 | 24.3113 | 2.31 | 886 | 79.4167 | 48.6893
2020-01-09 23:30:00 | 5.776 | 105.906 | 6.6467 | 116.3787 | 10.7073 | 22.2867 | 10.998 | 24.636 | 2.2747 | 886 | 79.7407 | 49.3047
2020-01-09 23:45:00 | 5.8933 | 198.342 | 6.7847 | 217.9533 | 10.7273 | 18.158 | 11.026 | 23.854 | 2.22 | 886 | 80.0633 | 50.7467