## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-10 00:00:00 | 6.0164 | 176.6836 | 6.9271 | 194.1571 | 10.5443 | 19.9957 | 11.1129 | 25.9157 | 2.2243 | 886.6429 | 79.9193 | 51.845
2020-01-10 00:15:00 | 6.0127 | 182.282 | 6.9167 | 200.3067 | 11.024 | 15.9793 | 11.2493 | 24.776 | 2.2187 | 886 | 80.2007 | 52.4453
2020-01-10 00:30:00 | 5.8927 | 214.2993 | 6.78 | 235.4933 | 11.0513 | 14.7327 | 11.2593 | 23.162 | 2.1907 | 886 | 80.7933 | 52.5793
2020-01-10 00:45:00 | 5.932 | 231.9293 | 6.8253 | 254.86 | 11.164 | 17.286 | 11.448 | 27.1307 | 2.1567 | 886 | 80.9133 | 51.9453
2020-01-10 01:00:00 | 6.364 | 220.2947 | 7.324 | 242.08 | 11.502 | 8.5347 | 11.4327 | 22.6173 | 2.208 | 886 | 80.3667 | 52.37
2020-01-10 01:15:00 | 6.012 | 188.4173 | 6.92 | 207.0427 | 11.0847 | 16.8887 | 11.0613 | 22.0247 | 2.1567 | 886 | 80.7467 | 50.2153
2020-01-10 01:30:00 | 5.774 | 168.4193 | 6.646 | 185.0707 | 10.3713 | 10.7027 | 10.7147 | 20.6887 | 2.0727 | 886 | 81.36 | 49.8093
2020-01-10 01:45:00 | 5.8493 | 149.286 | 6.734 | 164.0433 | 10.4527 | 15.2847 | 10.9787 | 25.9993 | 2.0607 | 886 | 81.3667 | 48.296
2020-01-10 02:00:00 | 5.966 | 184.8487 | 6.8647 | 203.12 | 10.4833 | 9.236 | 10.7247 | 27.8367 | 2.0413 | 886 | 81.3867 | 47.1193
2020-01-10 02:15:00 | 5.9493 | 192.4453 | 6.85 | 211.4733 | 10.9667 | 9.454 | 11.2133 | 22.702 | 1.992 | 886 | 81.86 | 51.806
2020-01-10 02:30:00 | 6.336 | 205.9313 | 7.2927 | 226.2867 | 11.5513 | 16.8367 | 11.696 | 25.748 | 1.9287 | 886 | 82.34 | 53.9613
2020-01-10 02:45:00 | 6.3907 | 182.9993 | 7.3513 | 201.0933 | 11.7727 | 19.7307 | 11.534 | 30.864 | 1.8633 | 886 | 82.9 | 52.25
2020-01-10 03:00:00 | 6.2907 | 176.5287 | 7.244 | 193.9813 | 11.4587 | 15.6387 | 11.6 | 21.3773 | 1.8387 | 886 | 82.7267 | 54
2020-01-10 03:15:00 | 6.0807 | 154.2473 | 7.0033 | 169.4953 | 10.8593 | 23.466 | 11.2247 | 29.078 | 1.802 | 886 | 83.2333 | 52.5167
2020-01-10 03:30:00 | 6.0853 | 203.812 | 7.0047 | 223.9667 | 11.0393 | 13.784 | 11.4333 | 25.272 | 1.7233 | 886 | 83.7067 | 53.098
2020-01-10 03:45:00 | 6.6387 | 128.2713 | 7.6413 | 140.9533 | 12.162 | 14.4147 | 11.88 | 13.8333 | 1.6153 | 886 | 84.8267 | 54.8347
2020-01-10 04:00:00 | 7.356 | 227.998 | 8.4647 | 250.548 | 12.8713 | 10.7267 | 12.2933 | 18.666 | 1.5247 | 886 | 85.88 | 54.6967
2020-01-10 04:15:00 | 7.6067 | 220.3933 | 8.7547 | 242.1853 | 12.9067 | 16.594 | 12.532 | 37.67 | 1.4353 | 885.0667 | 86.9133 | 57.3253
2020-01-10 04:30:00 | 7.6107 | 149.3127 | 8.7593 | 164.0733 | 13.1873 | 14.424 | 12.8927 | 17.4793 | 1.3887 | 885 | 87.2867 | 56.1007
2020-01-10 04:45:00 | 7.7893 | 86.058 | 8.9647 | 94.5667 | 13.1227 | 19.8153 | 12.5467 | 19.04 | 1.33 | 885 | 87.8267 | 57.0507
2020-01-10 05:00:00 | 7.478 | 143.014 | 8.6007 | 157.16 | 12.644 | 43.0173 | 12.034 | 17.9053 | 1.3133 | 885 | 87.9133 | 57.814
2020-01-10 05:15:00 | 7.9953 | 220.8193 | 9.204 | 242.6547 | 14.0813 | 12.1633 | 13.5373 | 12.4087 | 1.3387 | 885 | 87.6667 | 57.89
2020-01-10 05:30:00 | 7.9047 | 143.5207 | 9.098 | 157.7053 | 14.1787 | 11.9713 | 14.088 | 19.9787 | 1.3033 | 885 | 88 | 58.2927
2020-01-10 05:45:00 | 7.864 | 179.16 | 9.0513 | 196.8733 | 13.804 | 14.1207 | 13.6173 | 21.0027 | 1.278 | 885 | 88.1733 | 59.346
2020-01-10 06:00:00 | 8.086 | 181.6093 | 9.3013 | 199.5667 | 13.9367 | 10.1273 | 13.462 | 19.2707 | 1.3267 | 885 | 87.72 | 59.0273
2020-01-10 06:15:00 | 7.7573 | 231.5873 | 8.93 | 254.4867 | 13.3413 | 13.366 | 12.7113 | 17.258 | 1.4073 | 885 | 87.3467 | 58.8507
2020-01-10 06:30:00 | 7.2393 | 135.288 | 8.328 | 148.6653 | 12.1193 | 18.6593 | 11.5853 | 13.346 | 1.4213 | 885 | 87.26 | 57.6853
2020-01-10 06:45:00 | 6.9233 | 50.178 | 7.964 | 55.14 | 11.6833 | 9.908 | 11.5273 | 20.226 | 1.448 | 885 | 86.9933 | 57.1007
2020-01-10 07:00:00 | 7.0553 | 81.5147 | 8.1147 | 89.57 | 12.4227 | 12.5333 | 11.9067 | 14.438 | 1.482 | 885 | 86.6933 | 57.8567
2020-01-10 07:15:00 | 7.022 | 211.0447 | 8.074 | 231.91 | 12.2913 | 11.0493 | 11.9113 | 16.9193 | 1.578 | 885 | 85.9267 | 57.6773
2020-01-10 07:30:00 | 6.9633 | 142.8793 | 8.0087 | 157.0067 | 12.268 | 10.9793 | 11.934 | 18.6233 | 1.6507 | 885.6 | 85.18 | 57.8547
2020-01-10 07:45:00 | 6.8407 | 84.012 | 7.8693 | 92.3167 | 11.6673 | 9.2413 | 11.252 | 20.3233 | 1.7147 | 886 | 84.7133 | 57.2953
2020-01-10 08:00:00 | 7.1467 | 151.5313 | 8.2213 | 166.5087 | 12.5913 | 13.922 | 11.9507 | 19.6653 | 1.7527 | 886 | 84.4467 | 58.4493
2020-01-10 08:15:00 | 7.2187 | 147.784 | 8.3093 | 162.3947 | 12.756 | 11.7013 | 12.282 | 16.2873 | 1.7907 | 886 | 84.2933 | 58.1893
2020-01-10 08:30:00 | 7.092 | 112.352 | 8.1607 | 123.4547 | 12.2307 | 9.926 | 11.758 | 16.7027 | 1.8453 | 886 | 83.8933 | 56.6927
2020-01-10 08:45:00 | 7.0367 | 173.4487 | 8.0913 | 190.5933 | 12.7047 | 6.392 | 12.324 | 22.078 | 1.8907 | 886 | 83.6667 | 55.978
2020-01-10 09:00:00 | 6.278 | 201.4347 | 7.224 | 221.3533 | 11.516 | 11.4447 | 11.4827 | 25.474 | 1.9407 | 886 | 83.66 | 57.1287
2020-01-10 09:15:00 | 5.828 | 255.996 | 6.7073 | 281.3 | 10.7533 | 13.3327 | 10.7493 | 22.9873 | 1.9853 | 886.2667 | 83.5933 | 56.4773
2020-01-10 09:30:00 | 5.824 | 189.6167 | 6.71 | 208.3693 | 10.7193 | 9.0333 | 10.7167 | 27.5167 | 2.0773 | 887 | 83.02 | 56.5487
2020-01-10 09:45:00 | 6.0547 | 131.1833 | 6.97 | 144.1487 | 11.268 | 6.7393 | 11.4593 | 23.8607 | 2.2173 | 887 | 82.3667 | 56.2107
2020-01-10 10:00:00 | 6.4427 | 114.342 | 7.4153 | 125.648 | 11.7353 | 10.8127 | 11.77 | 17.8533 | 2.308 | 887 | 81.7 | 56.9393
2020-01-10 10:15:00 | 6.3413 | 136.69 | 7.3027 | 150.2033 | 11.8133 | 12.9173 | 11.6013 | 24.7727 | 2.392 | 887.2667 | 81.5133 | 55.8633
2020-01-10 10:30:00 | 6.4967 | 134.388 | 7.4813 | 147.68 | 11.7287 | 14.1633 | 11.6687 | 24.8127 | 2.4413 | 888 | 81.5 | 55.0647
2020-01-10 10:45:00 | 6.3647 | 190.7467 | 7.324 | 209.6067 | 11.5647 | 16.4333 | 11.3793 | 19.432 | 2.524 | 888 | 81.1 | 56.2207
2020-01-10 11:00:00 | 6.4847 | 215.922 | 7.4633 | 237.2733 | 11.8607 | 14.872 | 11.6693 | 23.43 | 2.6153 | 888 | 80.5133 | 56.7633
2020-01-10 11:15:00 | 6.3893 | 104.596 | 7.3467 | 114.9367 | 11.742 | 16.1127 | 11.5333 | 23.2133 | 2.736 | 888 | 80.344 | 56.294
2020-01-10 11:30:00 | 6.7813 | 203.3553 | 7.802 | 223.4633 | 12.194 | 13.7393 | 11.9213 | 23.2853 | 2.8913 | 888 | 79.5853 | 54.7173
2020-01-10 11:45:00 | 6.8553 | 187.032 | 7.8847 | 205.5267 | 12.21 | 5.9887 | 11.918 | 26.3287 | 3.1167 | 888 | 78.7527 | 54.058
2020-01-10 12:00:00 | 6.7527 | 256.476 | 7.7713 | 281.84 | 12.132 | 12.6507 | 11.9873 | 27.02 | 3.2527 | 887.4 | 77.8067 | 52.6773
2020-01-10 12:15:00 | 6.8207 | 190.0007 | 7.8427 | 208.79 | 12.196 | 13.6367 | 11.9893 | 14.5307 | 3.3153 | 887 | 77.4427 | 51.7873
2020-01-10 12:30:00 | 6.296 | 140.946 | 7.2453 | 154.8813 | 11.4153 | 11.854 | 11.3773 | 18.0607 | 3.4647 | 887 | 77.0347 | 50.6053
2020-01-10 12:45:00 | 6.206 | 227.526 | 7.1413 | 250.022 | 11.018 | 10.836 | 10.8593 | 19.0367 | 3.508 | 887 | 77.0407 | 50.484
2020-01-10 13:00:00 | 6.2573 | 197.8727 | 7.198 | 217.4367 | 11.054 | 19.416 | 11.2513 | 26.322 | 3.4467 | 887 | 76.8887 | 52.2553
2020-01-10 13:15:00 | 6.2413 | 160.72 | 7.1813 | 176.61 | 11.1307 | 14.1147 | 10.8887 | 25.5187 | 3.428 | 887 | 76.5947 | 54.014
2020-01-10 13:30:00 | 6.0533 | 149.1313 | 6.9673 | 163.88 | 10.6767 | 19.6227 | 10.4187 | 27.1913 | 3.4307 | 887 | 76.154 | 51.244
2020-01-10 13:45:00 | 6.4113 | 140.0913 | 7.3767 | 153.9433 | 11.538 | 19.9687 | 11.3367 | 21.0913 | 3.6227 | 886.6667 | 75.914 | 50.9513
2020-01-10 14:00:00 | 6.3127 | 206.9313 | 7.2647 | 227.4 | 11.0613 | 16.8047 | 10.978 | 24.2567 | 3.6947 | 886 | 75.1673 | 49.2293
2020-01-10 14:15:00 | 6.2927 | 254.8753 | 7.2493 | 280.084 | 11.0993 | 14.296 | 10.988 | 21.0867 | 3.7527 | 886 | 74.8587 | 47.6767
2020-01-10 14:30:00 | 5.7053 | 204.0987 | 6.5693 | 224.276 | 10.0147 | 15.6173 | 10.1407 | 26.62 | 3.8213 | 886 | 74.2833 | 45.8593
2020-01-10 14:45:00 | 5.46 | 159.0633 | 6.2887 | 174.7933 | 9.7047 | 15.7793 | 9.8893 | 22.3273 | 3.8247 | 886 | 74.3667 | 45.1633
2020-01-10 15:00:00 | 5.6487 | 169.4433 | 6.4987 | 186.2 | 10.016 | 13.926 | 9.9087 | 22.23 | 3.9427 | 886 | 74.1973 | 46.5627
2020-01-10 15:15:00 | 5.686 | 230.432 | 6.5407 | 253.2133 | 9.9987 | 10.76 | 10.0887 | 22.5713 | 3.924 | 886 | 73.894 | 46.5633
2020-01-10 15:30:00 | 5.3573 | 123.8247 | 6.1627 | 136.0667 | 9.5313 | 21.6653 | 10.0067 | 26.248 | 3.9393 | 886 | 74.156 | 45.294
2020-01-10 15:45:00 | 6.046 | 128.8807 | 6.9587 | 141.6287 | 10.556 | 12.2887 | 10.7927 | 26.6047 | 3.922 | 886 | 74.1653 | 45.482
2020-01-10 16:00:00 | 5.9367 | 147.014 | 6.8347 | 161.5447 | 10.5793 | 20.1553 | 11.042 | 30.7353 | 3.8707 | 886 | 74.4973 | 45.4553
2020-01-10 16:15:00 | 5.8553 | 100.394 | 6.736 | 110.3167 | 10.43 | 23.8473 | 11.3913 | 33.3227 | 3.8547 | 886 | 74.7713 | 45.096
2020-01-10 16:30:00 | 6.1547 | 181.2267 | 7.0793 | 199.1533 | 10.998 | 26.552 | 11.4627 | 28.0453 | 3.766 | 886 | 75.234 | 42.9933
2020-01-10 16:45:00 | 5.856 | 180.9667 | 6.7407 | 198.8613 | 10.5373 | 19.0647 | 10.884 | 28.714 | 3.684 | 886 | 75.4633 | 43.8247
2020-01-10 17:00:00 | 5.6213 | 102.5647 | 6.474 | 112.7053 | 10.132 | 14.066 | 10.3533 | 26.6607 | 3.5787 | 886 | 75.83 | 44.6067
2020-01-10 17:15:00 | 5.3667 | 200.64 | 6.1747 | 220.4733 | 9.6713 | 18.8007 | 10.05 | 22.7967 | 3.506 | 886 | 76.508 | 40.9293
2020-01-10 17:30:00 | 5.0247 | 271.334 | 5.7787 | 298.1667 | 8.9893 | 19.326 | 9.362 | 26.1853 | 3.374 | 886 | 77.2433 | 40.0687
2020-01-10 17:45:00 | 4.8753 | 228.2013 | 5.6113 | 250.7667 | 8.7553 | 16.5953 | 8.994 | 24.8147 | 3.228 | 886.9333 | 78.0247 | 41.328
2020-01-10 18:00:00 | 4.8013 | 140.3447 | 5.5307 | 154.216 | 8.9013 | 16.1813 | 9.3553 | 23.8067 | 3.1047 | 887 | 78.9333 | 37.158
2020-01-10 18:15:00 | 4.6867 | 233.9187 | 5.3927 | 257.044 | 8.9387 | 15.8947 | 8.986 | 27.6407 | 2.9767 | 887 | 79.6693 | 35.88
2020-01-10 18:30:00 | 4.7673 | 135.9873 | 5.4813 | 149.4367 | 9.1033 | 13.3947 | 8.9607 | 25.7773 | 2.898 | 887 | 80.1367 | 36.726
2020-01-10 18:45:00 | 4.7827 | 209.0967 | 5.502 | 229.78 | 8.8807 | 14.044 | 8.5893 | 14.866 | 2.834 | 887 | 80.5267 | 36.0947
2020-01-10 19:00:00 | 4.98 | 121.927 | 5.733 | 133.98 | 9.007 | 16.618 | 9.158 | 23.697 | 2.853 | 887 | 80.24 | 35.955
2020-01-10 19:15:00 | 5.247 | 251.802 | 6.039 | 276.7 | 9.48 | 12.856 | 9.738 | 27.743 | 2.847 | 887 | 80.4 | 34.346
2020-01-10 19:30:00 | 5.101 | 196.332 | 5.875 | 215.75 | 9.273 | 12.276 | 9.537 | 22.247 | 2.886 | 887 | 80.04 | 35.698
2020-01-10 19:45:00 | 5.1847 | 272.32 | 5.9667 | 299.2467 | 9.296 | 18.542 | 9.0827 | 22.866 | 2.8787 | 887 | 80.4067 | 37.0707
2020-01-10 20:00:00 | 5.274 | 219.507 | 6.069 | 241.21 | 9.47 | 12.651 | 9.034 | 22.84 | 2.935 | 887.4 | 80.03 | 37.948
2020-01-10 20:15:00 | 5.4393 | 152.266 | 6.2633 | 167.3267 | 9.8407 | 17.9893 | 9.582 | 21.8633 | 3.0193 | 888 | 79.2307 | 41.1613
2020-01-10 20:30:00 | 5.7347 | 192.3187 | 6.6067 | 211.3367 | 10.0767 | 13.658 | 10.02 | 19.7987 | 3.084 | 888 | 78.564 | 45.8613
2020-01-10 20:45:00 | 5.448 | 67.3347 | 6.2687 | 73.9913 | 9.7227 | 14.7447 | 9.3793 | 19.2293 | 3.0987 | 888.3333 | 78.692 | 48.6553
2020-01-10 21:00:00 | 5.6247 | 187.594 | 6.4727 | 206.1487 | 10.2773 | 32.8173 | 10.4033 | 26.56 | 3.0487 | 889 | 78.7973 | 47.2673
2020-01-10 21:15:00 | 5.848 | 169.1827 | 6.7287 | 185.9067 | 10.6233 | 44.138 | 10.9113 | 22.2333 | 3.022 | 889 | 79.0527 | 47.8833
2020-01-10 21:30:00 | 5.9287 | 105.0227 | 6.8253 | 115.398 | 10.7287 | 15.194 | 10.7373 | 20.456 | 3.0153 | 889 | 79.446 | 52.33
2020-01-10 21:45:00 | 5.5827 | 149.8227 | 6.426 | 164.632 | 10.188 | 13.148 | 10.344 | 25.67 | 2.938 | 889 | 80.3293 | 46.602
2020-01-10 22:00:00 | 5.1213 | 189.2287 | 5.896 | 207.94 | 9.616 | 16.6613 | 10.118 | 23.836 | 2.838 | 889 | 81.1067 | 43.7
2020-01-10 22:15:00 | 4.6947 | 118.276 | 5.404 | 129.966 | 8.6833 | 133.4427 | 9.0213 | 28.996 | 2.7953 | 889 | 80.8667 | 38.794
2020-01-10 22:30:00 | 4.7173 | 174.6107 | 5.4353 | 191.8713 | 8.898 | 18.1993 | 9.2907 | 27.8273 | 2.7373 | 889 | 80.496 | 45.2473
2020-01-10 22:45:00 | 5.4773 | 27.3907 | 6.3067 | 30.0967 | 9.6087 | 10.774 | 9.392 | 15.5573 | 3.016 | 889 | 78.4393 | 47.818
2020-01-10 23:00:00 | 5.1307 | 122.874 | 5.9033 | 135.0247 | 9.3813 | 8.67 | 9.0987 | 19.4667 | 3.1247 | 889 | 78.6127 | 44.144
2020-01-10 23:15:00 | 5.2987 | 160.7927 | 6.096 | 176.6907 | 9.7887 | 15.6107 | 9.7393 | 24.1467 | 2.9667 | 889.2667 | 81.738 | 39.18
2020-01-10 23:30:00 | 5.264 | 218.006 | 6.0533 | 239.56 | 9.5293 | 16.6693 | 9.126 | 26.3147 | 2.6613 | 890 | 84.98 | 41.3827
2020-01-10 23:45:00 | 4.5173 | 148.1713 | 5.2013 | 162.8213 | 8.2533 | 13.2733 | 7.7327 | 18.2387 | 2.584 | 890 | 85.38 | 36.4947