## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-11 00:00:00 | 4.1771 | 143.9843 | 4.8079 | 158.2214 | 7.24 | 133.0707 | 6.8779 | 10.6557 | 2.5193 | 889.4286 | 85.5857 | 36.7707
2020-01-11 00:15:00 | 4.4753 | 176.0847 | 5.154 | 193.496 | 7.866 | 8.2347 | 7.3627 | 20.6533 | 2.4533 | 889 | 85.62 | 35.2367
2020-01-11 00:30:00 | 4.6133 | 205.9587 | 5.3107 | 226.324 | 8.3453 | 13.4313 | 8.108 | 14.6667 | 2.4673 | 889 | 85.7133 | 28.05
2020-01-11 00:45:00 | 3.7733 | 178.0047 | 4.3473 | 195.6033 | 7.208 | 9.468 | 7.426 | 18.846 | 2.256 | 889 | 86.6067 | 25.0107
2020-01-11 01:00:00 | 3.9493 | 209.4907 | 4.5413 | 230.21 | 7.2687 | 11.0807 | 7.482 | 18.1873 | 2.102 | 889 | 87.2 | 23.7873
2020-01-11 01:15:00 | 3.5887 | 216.6687 | 4.1307 | 238.0933 | 6.8033 | 11.422 | 7.1667 | 22.0587 | 2.0433 | 889 | 87.2733 | 23.0027
2020-01-11 01:30:00 | 3.4813 | 262.592 | 4.012 | 288.56 | 6.7533 | 13.79 | 7.2547 | 21.076 | 1.934 | 889 | 88.2133 | 31.696
2020-01-11 01:45:00 | 3.9213 | 123.2327 | 4.5147 | 135.4147 | 7.186 | 13.7733 | 7.604 | 19.4347 | 1.838 | 889 | 89.1 | 34.5153
2020-01-11 02:00:00 | 4.1027 | 216.528 | 4.7193 | 237.9387 | 7.458 | 9.2973 | 7.88 | 16.3627 | 1.8613 | 889 | 88.9067 | 34.5493
2020-01-11 02:15:00 | 4.342 | 6.8033 | 4.998 | 7.466 | 7.2573 | 169.9433 | 7.398 | 11.0013 | 1.964 | 889 | 87.98 | 28.942
2020-01-11 02:30:00 | 4.0727 | 252.1833 | 4.6873 | 277.1173 | 6.9653 | 90.0367 | 6.7073 | 5.5167 | 1.9547 | 889 | 87.6133 | 31.4093
2020-01-11 02:45:00 | 4.1453 | 306.8653 | 4.772 | 337.2067 | 6.6153 | 3.7813 | 6.78 | 8.1973 | 1.826 | 889 | 88.56 | 32.3287
2020-01-11 03:00:00 | 4.4967 | 77.8113 | 5.1733 | 85.5013 | 7.6407 | 15.6867 | 7.7533 | 16.1773 | 1.7747 | 889 | 88.94 | 32.6193
2020-01-11 03:15:00 | 3.7427 | 160.6767 | 4.3033 | 176.558 | 6.9013 | 13.8347 | 6.9853 | 17.738 | 1.5073 | 889 | 90.4667 | 31.048
2020-01-11 03:30:00 | 3.7173 | 89.9613 | 4.2793 | 98.85 | 6.57 | 13.4893 | 6.9473 | 18.3333 | 1.246 | 889 | 92.0333 | 32.3267
2020-01-11 03:45:00 | 3.468 | 256.396 | 3.9927 | 281.7467 | 6.6493 | 16.13 | 6.9893 | 18.4913 | 1.008 | 889 | 92.8467 | 32.36
2020-01-11 04:00:00 | 3.7027 | 83.2173 | 4.266 | 91.4433 | 7.1913 | 16.7407 | 7.6067 | 17.9287 | 0.66 | 889 | 94.0133 | 26.0567
2020-01-11 04:15:00 | 3.5493 | 110.2827 | 4.0847 | 121.1887 | 6.9347 | 17.2407 | 7.45 | 20.572 | 0.446 | 889 | 95.2 | 23.0113
2020-01-11 04:30:00 | 3.184 | 124.2593 | 3.668 | 136.5453 | 6.222 | 16.1987 | 6.7907 | 20.664 | 0.47267 | 889 | 95.7 | 20.2087
2020-01-11 04:45:00 | 2.98 | 231.9127 | 3.4327 | 254.8427 | 5.7813 | 13.3213 | 6.954 | 21.604 | 0.43067 | 889 | 95.7867 | 16.504
2020-01-11 05:00:00 | 2.9413 | 192.4913 | 3.3913 | 211.5267 | 5.6693 | 14.8313 | 6.6393 | 22.6093 | 0.33867 | 889 | 96.06 | 16.5033
2020-01-11 05:15:00 | 2.8793 | 168.9 | 3.3107 | 185.5967 | 5.4 | 13.5507 | 6.294 | 20.3993 | 0.33133 | 889 | 96.0133 | 17.1087
2020-01-11 05:30:00 | 2.8293 | 284.0187 | 3.2513 | 312.1 | 5.2167 | 7.7013 | 5.656 | 15.2907 | 0.276 | 888.3333 | 95.68 | 19.2227
2020-01-11 05:45:00 | 2.9567 | 179.9887 | 3.402 | 197.7833 | 5.408 | 12.264 | 5.9033 | 18.6667 | 0.092667 | 888 | 96.42 | 14.97
2020-01-11 06:00:00 | 2.8247 | 223.818 | 3.2547 | 245.9533 | 5.0973 | 5 | 5.666 | 10.9353 | -0.081333 | 888 | 96.9 | 12.4267
2020-01-11 06:15:00 | 2.7253 | 197.112 | 3.1347 | 216.604 | 5.1027 | 4.2953 | 5.5053 | 10.8247 | -0.214 | 888 | 97.54 | 9.6933
2020-01-11 06:30:00 | 2.5393 | 184.5007 | 2.9213 | 202.74 | 4.9007 | 3.5513 | 5.0227 | 11.968 | -0.238 | 888 | 97.84 | 9.0933
2020-01-11 06:45:00 | 2.6467 | 261.5633 | 3.0487 | 287.4253 | 4.7753 | 4.348 | 5.098 | 12.3333 | -0.26267 | 889 | 97.8 | 8.9147
2020-01-11 07:00:00 | 3.0467 | 190.32 | 3.5053 | 209.144 | 4.7933 | 16.6007 | 4.698 | 52.4907 | -0.158 | 889 | 97.7467 | 8.3387
2020-01-11 07:15:00 | 2.9947 | 108.156 | 3.4447 | 118.8493 | 4.5673 | 18.062 | 4.5633 | 77.7107 | -0.042 | 889 | 97.0267 | 7.928
2020-01-11 07:30:00 | 2.79 | 253.0093 | 3.2093 | 278.0347 | 4.29 | 6.4207 | 4.558 | 6.2907 | -0.12267 | 889 | 96.4667 | 7.7487
2020-01-11 07:45:00 | 2.8387 | 175.7793 | 3.2627 | 193.1647 | 4.2847 | 4.652 | 4.7373 | 9.0687 | -0.083333 | 889 | 96.2333 | 6.4293
2020-01-11 08:00:00 | 2.4613 | 149.8893 | 2.8387 | 164.7087 | 4.5633 | 6.328 | 4.7733 | 8.6547 | -0.35133 | 889 | 96.46 | 4.8347
2020-01-11 08:15:00 | 2.2807 | 164.3647 | 2.622 | 180.6113 | 4.1767 | 0.55133 | 4.748 | 14.9593 | -0.49667 | 889 | 97.0533 | 4.4893
2020-01-11 08:30:00 | 2.3307 | 259.6013 | 2.6867 | 285.2687 | 4.2773 | 8.8453 | 4.338 | 6.524 | -0.422 | 889 | 97.2933 | 3.402
2020-01-11 08:45:00 | 2.5133 | 309.3847 | 2.8993 | 339.98 | 3.0907 | 9.1 | 3.1327 | 18.8067 | -0.06 | 889.3333 | 97.66 | 1.0047
2020-01-11 09:00:00 | 2.9867 | 172.926 | 3.44 | 190.0173 | 3.352 | 16.2473 | 2.8607 | 13.4587 | 0.39533 | 890 | 96.8267 | 0.446
2020-01-11 09:15:00 | 2.716 | 218.2587 | 3.1293 | 239.8447 | 2.894 | 168.1793 | 2.94 | 8.4147 | 0.79467 | 890.3333 | 94.8933 | 0.092
2020-01-11 09:30:00 | 2.7593 | 107.028 | 3.178 | 117.6113 | 2.9227 | 350.94 | 2.672 | 6.326 | 1.188 | 891 | 92.1333 | 0
2020-01-11 09:45:00 | 2.8827 | 155.674 | 3.3247 | 171.0633 | 3.354 | 233.01 | 3.2927 | 145.8347 | 1.3713 | 891 | 91.6133 | 0
2020-01-11 10:00:00 | 2.7607 | 106.3573 | 3.174 | 116.87 | 3.302 | 119.86 | 3.4873 | 12.27 | 2.1327 | 891 | 87.4667 | 0
2020-01-11 10:15:00 | 2.962 | 279.184 | 3.4047 | 306.7907 | 3.632 | 71.5067 | 3.786 | 9.894 | 2.452 | 891.9333 | 86.4733 | 0
2020-01-11 10:30:00 | 2.7433 | 13.8247 | 3.1573 | 15.1873 | 3.2053 | 8.9853 | 3.346 | 18.0607 | 3.206 | 892 | 81.104 | 0
2020-01-11 10:45:00 | 2.806 | 2.2473 | 3.2293 | 2.4667 | 3.218 | 2.2867 | 2.5867 | 25.8193 | 3.2553 | 892 | 78.8553 | 0
2020-01-11 11:00:00 | 2.6047 | 111.136 | 2.996 | 122.124 | 2.9107 | 7.182 | 2.1713 | 22.082 | 3.586 | 892 | 77.3733 | 0
2020-01-11 11:15:00 | 2.8173 | 2.8833 | 3.2387 | 3.166 | 2.9087 | 8.694 | 2.186 | 23.6887 | 2.8953 | 892 | 78.9787 | 0
2020-01-11 11:30:00 | 2.4793 | 106.256 | 2.8513 | 116.76 | 2.5013 | 11.7373 | 2.1367 | 23.0527 | 3.2693 | 892 | 78.4667 | 0
2020-01-11 11:45:00 | 1.6207 | 251.188 | 1.8707 | 276.02 | 1.622 | 163.6667 | 1.498 | 33.5853 | 3.8307 | 891.0667 | 76.2053 | 0
2020-01-11 12:00:00 | 0.792 | 288.5427 | 0.91933 | 317.08 | 0.56333 | 91.5367 | 0.52133 | 40.0793 | 5.5153 | 891 | 68.586 | 0
2020-01-11 12:15:00 | 2.182 | 143.81 | 2.5107 | 158.02 | 2.396 | 150.12 | 2.19 | 158.6667 | 6.378 | 891 | 67.7847 | 0
2020-01-11 12:30:00 | 2.692 | 157.182 | 3.0993 | 172.72 | 2.9553 | 174.4467 | 2.5513 | 179.54 | 6.5687 | 891 | 68.178 | 0
2020-01-11 12:45:00 | 3.0773 | 149.958 | 3.5427 | 164.7867 | 3.358 | 177.6467 | 3.1387 | 187.0867 | 6.6813 | 890.6667 | 67.416 | 0
2020-01-11 13:00:00 | 3.536 | 137.5367 | 4.0647 | 151.1333 | 3.8547 | 174.4667 | 3.6953 | 185.1533 | 6.884 | 890 | 63.87 | 0
2020-01-11 13:15:00 | 3.8627 | 145.4073 | 4.4407 | 159.7867 | 4.1073 | 163.5467 | 4.0187 | 165.9067 | 6.914 | 890 | 60.8853 | 0.912
2020-01-11 13:30:00 | 4.0507 | 138.2893 | 4.6587 | 151.96 | 4.4573 | 159.02 | 4.416 | 166.22 | 7.014 | 890 | 61.196 | 1.92
2020-01-11 13:45:00 | 4.1873 | 138.19 | 4.8173 | 151.8533 | 4.774 | 157.12 | 4.916 | 168.3667 | 7.564 | 890 | 61.522 | 4.042
2020-01-11 14:00:00 | 4.42 | 143.6993 | 5.092 | 157.9067 | 5.1547 | 162.88 | 5.1953 | 166.8 | 7.958 | 890 | 60.5507 | 6.314
2020-01-11 14:15:00 | 4.5693 | 139.4907 | 5.2553 | 153.2867 | 5.4393 | 166.6267 | 5.2473 | 174.5467 | 8.3947 | 889 | 59.04 | 7.29
2020-01-11 14:30:00 | 4.2333 | 159.9413 | 4.8707 | 175.76 | 4.964 | 160.9267 | 5.1267 | 184.58 | 8.7093 | 889 | 58.72 | 8.5153
2020-01-11 14:45:00 | 4.242 | 140.6527 | 4.8807 | 154.5533 | 4.8787 | 165.8933 | 4.9387 | 175.8067 | 9.0333 | 889 | 57.8793 | 8.352
2020-01-11 15:00:00 | 4.0353 | 149.44 | 4.64 | 164.22 | 4.7433 | 169.34 | 4.9213 | 173.8133 | 9.0267 | 889 | 57.9913 | 7.8167
2020-01-11 15:15:00 | 3.9853 | 143.1007 | 4.592 | 157.2467 | 4.5953 | 163.0267 | 4.6047 | 185.9067 | 8.9807 | 889 | 58.0867 | 6.8847
2020-01-11 15:30:00 | 3.744 | 122.226 | 4.3093 | 134.3133 | 4.44 | 175.4733 | 4.8713 | 187.1 | 9.4247 | 889 | 57.052 | 7.1627
2020-01-11 15:45:00 | 3.9053 | 151.3447 | 4.496 | 166.3067 | 4.45 | 162.54 | 4.408 | 187.2667 | 9.1553 | 888.6667 | 57.8967 | 8.824
2020-01-11 16:00:00 | 3.57 | 147.116 | 4.1107 | 161.6667 | 4.1113 | 149.5333 | 3.8873 | 181.2 | 9.4247 | 888 | 57.3947 | 8.8387
2020-01-11 16:15:00 | 3.3227 | 144.372 | 3.822 | 158.6467 | 4.132 | 163.16 | 4.0327 | 186.04 | 9.662 | 888.2667 | 56.538 | 8.2953
2020-01-11 16:30:00 | 3.1273 | 112.618 | 3.6 | 123.7467 | 3.6893 | 162.5933 | 3.654 | 168.7667 | 9.4407 | 889 | 57.346 | 9.146
2020-01-11 16:45:00 | 2.8547 | 128.536 | 3.2833 | 141.24 | 3.6533 | 187.82 | 3.532 | 206.52 | 9.3087 | 889 | 58.3953 | 6.5993
2020-01-11 17:00:00 | 2.9147 | 164.724 | 3.3547 | 181.0133 | 3.6047 | 206.5 | 3.5567 | 206.8667 | 8.9753 | 889 | 59.9587 | 7.05
2020-01-11 17:15:00 | 2.7127 | 144.2053 | 3.118 | 158.46 | 3.2873 | 189.34 | 3.5287 | 190.3733 | 8.596 | 888.7333 | 60.978 | 9.31
2020-01-11 17:30:00 | 2.84 | 136.908 | 3.2647 | 150.44 | 3.3967 | 193.5333 | 3.7273 | 193.6267 | 8.2347 | 888 | 62.4533 | 10.9973
2020-01-11 17:45:00 | 3.3327 | 177.5107 | 3.8353 | 195.06 | 4.016 | 196.2667 | 4.4527 | 197.9467 | 8.0387 | 888 | 63.638 | 13.572
2020-01-11 18:00:00 | 3.3547 | 154.04 | 3.862 | 169.2667 | 4.1073 | 193.96 | 4.6207 | 200.6 | 7.8067 | 888 | 65.14 | 15.422
2020-01-11 18:15:00 | 3.5 | 150.4987 | 4.026 | 165.3733 | 4.33 | 193.3533 | 5.014 | 197.5467 | 7.6453 | 888 | 65.9987 | 18.214
2020-01-11 18:30:00 | 3.5233 | 156.3473 | 4.0553 | 171.8 | 4.1873 | 189.9867 | 4.7273 | 188.1733 | 7.532 | 888 | 66.6573 | 19.4193
2020-01-11 18:45:00 | 3.326 | 158.73 | 3.8307 | 174.42 | 3.9793 | 191.28 | 4.4133 | 191.1733 | 7.454 | 888 | 67.1267 | 21.1213
2020-01-11 19:00:00 | 2.5213 | 163.086 | 2.9033 | 179.2133 | 3.0453 | 204.1467 | 3.5213 | 205.8733 | 7.1753 | 888 | 68.4367 | 20.3027
2020-01-11 19:15:00 | 2.3053 | 163.8627 | 2.6513 | 180.0667 | 2.8187 | 193.0733 | 3.244 | 193.8533 | 6.9433 | 888 | 69.5673 | 18.528
2020-01-11 19:30:00 | 2.39 | 173.046 | 2.7507 | 190.1533 | 2.98 | 216.3 | 3.1007 | 218.3067 | 6.724 | 888 | 70.6747 | 16.3953
2020-01-11 19:45:00 | 2.734 | 176.532 | 3.1433 | 193.98 | 3.5267 | 187.9667 | 3.9913 | 184.4933 | 6.498 | 888 | 71.5547 | 16.9027
2020-01-11 20:00:00 | 3.566 | 156.5973 | 4.1007 | 172.08 | 4.4327 | 197.1 | 5.2133 | 182.48 | 6.298 | 888 | 72.418 | 15.3813
2020-01-11 20:15:00 | 3.7193 | 160.696 | 4.286 | 176.5867 | 4.4313 | 186.3867 | 4.9253 | 187.2867 | 6.148 | 888 | 73.0567 | 15.9047
2020-01-11 20:30:00 | 3.984 | 165.7347 | 4.5793 | 182.1267 | 4.6807 | 200.0333 | 5.2387 | 188.4067 | 6.0853 | 888 | 73.1727 | 13.3873
2020-01-11 20:45:00 | 3.718 | 167.0827 | 4.2747 | 183.6067 | 4.4953 | 201.4933 | 4.998 | 201.96 | 5.8853 | 888 | 73.9573 | 10.184
2020-01-11 21:00:00 | 2.98 | 161.0747 | 3.434 | 177 | 3.5313 | 198.7467 | 3.998 | 203.2467 | 5.754 | 888.6 | 74.4053 | 8.1927
2020-01-11 21:15:00 | 2.7773 | 175.6907 | 3.1973 | 193.0667 | 3.3273 | 200.9533 | 3.6493 | 201.3733 | 5.664 | 888 | 74.5813 | 8.3507
2020-01-11 21:30:00 | 2.1253 | 151.5 | 2.4467 | 166.48 | 2.6953 | 178.5533 | 3.064 | 182.4133 | 5.392 | 888.6667 | 75.568 | 9.3033
2020-01-11 21:45:00 | 2.794 | 157.2887 | 3.2127 | 172.8333 | 3.3127 | 193.7133 | 3.5447 | 190.98 | 5.2273 | 889 | 76.186 | 11.7693
2020-01-11 22:00:00 | 3.2333 | 162.2947 | 3.7213 | 178.34 | 3.7487 | 185.0867 | 4.168 | 189.2267 | 5.1333 | 889 | 76.5793 | 12.8093
2020-01-11 22:15:00 | 3.4527 | 149.774 | 3.9747 | 164.5867 | 4.0607 | 194.1733 | 4.392 | 190.9267 | 5.058 | 889 | 76.908 | 13.948
2020-01-11 22:30:00 | 3.5927 | 147.0907 | 4.134 | 161.6333 | 4.2653 | 197.2067 | 4.632 | 191.1733 | 4.978 | 888.4 | 77.182 | 12.5913
2020-01-11 22:45:00 | 3.4813 | 158.7307 | 4.006 | 174.42 | 4.1127 | 194.3 | 4.6047 | 191.4933 | 5.0513 | 888 | 76.5773 | 10.3733
2020-01-11 23:00:00 | 2.9113 | 164.6707 | 3.3507 | 180.9533 | 3.5387 | 180.5667 | 4.0873 | 189.0533 | 4.7513 | 888 | 77.66 | 10.382
2020-01-11 23:15:00 | 3.1187 | 158.8513 | 3.59 | 174.56 | 3.7093 | 173.8933 | 4.2667 | 183.42 | 4.6713 | 888 | 78.1287 | 10.4033
2020-01-11 23:30:00 | 2.868 | 150.6407 | 3.3 | 165.54 | 3.552 | 178.1467 | 4.116 | 184.8733 | 4.5907 | 888 | 78.5613 | 8.8447
2020-01-11 23:45:00 | 2.932 | 155.7193 | 3.3747 | 171.1133 | 3.5567 | 186.6067 | 3.9413 | 191.9133 | 4.43 | 888 | 79.322 | 10.5993