## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-12 00:00:00 | 3.1429 | 148.8079 | 3.615 | 163.5214 | 3.7143 | 196.9071 | 4.2236 | 201.55 | 4.57 | 888 | 78.7591 | 9.88
2020-01-12 00:15:00 | 3.392 | 153.7907 | 3.9067 | 169 | 4.1073 | 198.1533 | 4.3373 | 194.4667 | 4.3247 | 887.7333 | 79.9907 | 9.6727
2020-01-12 00:30:00 | 2.764 | 164.5553 | 3.1827 | 180.8267 | 3.2733 | 189.54 | 3.386 | 190.9867 | 4.2387 | 887.6 | 80.7667 | 5.0787
2020-01-12 00:45:00 | 2.4107 | 162.5333 | 2.7767 | 178.6067 | 3.0927 | 197.1067 | 3.1587 | 196.92 | 3.9727 | 887.7333 | 81.96 | 5.49
2020-01-12 01:00:00 | 2.15 | 154.5233 | 2.4813 | 169.8 | 2.7093 | 193.2867 | 2.74 | 205.24 | 3.8127 | 887.6667 | 82.9867 | 5.8693
2020-01-12 01:15:00 | 2.7393 | 157.9193 | 3.1573 | 173.5333 | 3.342 | 201.3467 | 3.7293 | 208.8933 | 3.9767 | 887.7333 | 82.5867 | 9.06
2020-01-12 01:30:00 | 2.0693 | 149.572 | 2.3847 | 164.3667 | 2.4107 | 196.8 | 2.8787 | 218.3667 | 4.0153 | 887.6 | 82.56 | 8.5993
2020-01-12 01:45:00 | 2.0253 | 160.984 | 2.3333 | 176.8933 | 2.5473 | 197.3867 | 3.0947 | 222.6933 | 3.9647 | 887 | 82.9667 | 8.7407
2020-01-12 02:00:00 | 2.228 | 156.324 | 2.5607 | 171.78 | 2.728 | 197.4867 | 3.3793 | 211.5333 | 3.9533 | 887 | 83.1 | 10.0447
2020-01-12 02:15:00 | 2.0187 | 154.3793 | 2.3253 | 169.64 | 2.3447 | 201.5667 | 2.8447 | 216.3733 | 3.9267 | 887 | 83.3 | 10.328
2020-01-12 02:30:00 | 2.196 | 161.27 | 2.5273 | 177.2067 | 2.58 | 196.4467 | 3.0307 | 213.14 | 3.946 | 887 | 83.16 | 11.3913
2020-01-12 02:45:00 | 2.5187 | 152.746 | 2.898 | 167.84 | 2.864 | 187.3533 | 2.956 | 204.5333 | 3.9187 | 887 | 83.36 | 10.4747
2020-01-12 03:00:00 | 2.3573 | 160.8007 | 2.712 | 176.7 | 2.6813 | 186.1133 | 2.9187 | 196.1133 | 3.854 | 887 | 83.8533 | 9.1133
2020-01-12 03:15:00 | 2.28 | 170.0173 | 2.624 | 186.8333 | 2.6773 | 190.66 | 2.9647 | 201.9867 | 3.7533 | 887 | 84.6733 | 9.7673
2020-01-12 03:30:00 | 2.5273 | 160.3567 | 2.9093 | 176.2133 | 2.7747 | 185.68 | 2.8587 | 205.4 | 3.6467 | 887 | 85.3533 | 9.7493
2020-01-12 03:45:00 | 2.8147 | 160.5047 | 3.236 | 176.3733 | 3.2 | 176.08 | 3.3033 | 191.4533 | 3.5507 | 887 | 85.8733 | 7.1913
2020-01-12 04:00:00 | 2.604 | 159.054 | 2.996 | 174.78 | 3.0467 | 184.86 | 3.4027 | 191.6133 | 3.4793 | 887 | 86.2667 | 8.5393
2020-01-12 04:15:00 | 2.7987 | 173.0287 | 3.2227 | 190.14 | 3.3093 | 190.28 | 3.416 | 197.4333 | 3.4847 | 886.7333 | 86.2733 | 9.646
2020-01-12 04:30:00 | 3.1887 | 154.534 | 3.6653 | 169.8133 | 3.6373 | 188.1733 | 3.768 | 187.3533 | 3.426 | 886 | 86.7933 | 9.4013
2020-01-12 04:45:00 | 2.998 | 172.5933 | 3.4527 | 189.66 | 3.326 | 191.32 | 3.5087 | 194.3133 | 3.284 | 886 | 87.4133 | 8.0913
2020-01-12 05:00:00 | 2.818 | 156.0213 | 3.2453 | 171.4533 | 3.3393 | 187.24 | 3.806 | 196.0067 | 3.258 | 886 | 87.4 | 7.0187
2020-01-12 05:15:00 | 2.112 | 150.6567 | 2.434 | 165.5533 | 2.5 | 197.8133 | 3.0367 | 202.9867 | 3.2393 | 886 | 87.5267 | 6.744
2020-01-12 05:30:00 | 1.8753 | 155.902 | 2.1593 | 171.3133 | 2.2513 | 194.0733 | 3.408 | 209.6133 | 3.1307 | 886 | 88.36 | 6.408
2020-01-12 05:45:00 | 2.6973 | 155.838 | 3.1087 | 171.2467 | 3.0687 | 185.4267 | 3.8627 | 193.0933 | 3.1427 | 886 | 88.5 | 7.552
2020-01-12 06:00:00 | 2.8747 | 157.416 | 3.3053 | 172.98 | 3.3167 | 190.3867 | 3.7647 | 206.7933 | 3.1307 | 886 | 88.66 | 10.4247
2020-01-12 06:15:00 | 2.946 | 164.1907 | 3.3907 | 180.4267 | 3.4587 | 195.32 | 3.704 | 199.8333 | 3.1073 | 886 | 88.7933 | 9.4373
2020-01-12 06:30:00 | 2.6467 | 160.5813 | 3.044 | 176.46 | 3.0147 | 193.5 | 3.2927 | 199.5 | 3.1387 | 886 | 88.9 | 9.1253
2020-01-12 06:45:00 | 2.4653 | 154.7187 | 2.836 | 170.02 | 2.8473 | 188.9933 | 3.3547 | 210.8867 | 3.182 | 886 | 88.9267 | 10.0733
2020-01-12 07:00:00 | 2.896 | 161.1467 | 3.328 | 177.08 | 3.424 | 191.74 | 3.6327 | 200.02 | 3.1487 | 886 | 89.2867 | 10.1213
2020-01-12 07:15:00 | 2.8 | 162.1607 | 3.2207 | 178.1933 | 3.2687 | 191.0333 | 3.4907 | 194.9733 | 3.12 | 886 | 89.6267 | 9.954
2020-01-12 07:30:00 | 2.4027 | 167.44 | 2.768 | 184 | 3.07 | 218.2333 | 3.3933 | 212.7 | 3.186 | 886 | 89.66 | 9.6613
2020-01-12 07:45:00 | 2.9213 | 177.78 | 3.3647 | 195.36 | 3.774 | 216.8267 | 3.8147 | 213.94 | 3.3247 | 886 | 89.3867 | 9.61
2020-01-12 08:00:00 | 2.788 | 174.8947 | 3.206 | 192.18 | 3.5127 | 206.86 | 3.6407 | 202.6867 | 3.3533 | 886 | 89.2867 | 9.9333
2020-01-12 08:15:00 | 1.7787 | 161.284 | 2.0467 | 177.2333 | 2.1607 | 188.8933 | 2.692 | 206.64 | 3.1747 | 886 | 90.3133 | 6.352
2020-01-12 08:30:00 | 1.6587 | 170.1907 | 1.91 | 187.0133 | 2.3173 | 227.24 | 2.2307 | 203.7067 | 3.2187 | 886 | 90.18 | 4.3333
2020-01-12 08:45:00 | 2.0593 | 170.0827 | 2.3673 | 186.9 | 2.636 | 210.1133 | 2.83 | 208.14 | 3.2153 | 886 | 90.2867 | 4.2607
2020-01-12 09:00:00 | 2.2327 | 161.034 | 2.5687 | 176.9533 | 2.668 | 207.2267 | 3.0233 | 194.14 | 3.2787 | 886 | 90.2933 | 4.344
2020-01-12 09:15:00 | 3.1007 | 158.8073 | 3.566 | 174.5133 | 3.596 | 188.76 | 3.9147 | 192.6933 | 3.3167 | 886.7333 | 90.0067 | 4.8667
2020-01-12 09:30:00 | 2.4453 | 163.9733 | 2.8133 | 180.1867 | 2.958 | 195.3667 | 3.1593 | 209.6133 | 3.3727 | 886.6 | 89.8467 | 5.9173
2020-01-12 09:45:00 | 2.7313 | 154.376 | 3.1433 | 169.6333 | 3.3267 | 214.6267 | 3.2027 | 216.4867 | 3.4393 | 887 | 89.7333 | 7.2687
2020-01-12 10:00:00 | 2.2647 | 161.4673 | 2.61 | 177.4333 | 2.98 | 220.08 | 2.912 | 201.1267 | 3.4207 | 887 | 89.86 | 5.9793
2020-01-12 10:15:00 | 2.166 | 168.682 | 2.4907 | 185.36 | 2.7853 | 206.2133 | 3.038 | 184.6733 | 3.472 | 887 | 89.9933 | 5.278
2020-01-12 10:30:00 | 1.606 | 149.928 | 1.8493 | 164.7467 | 1.998 | 193.7733 | 2.2807 | 171.4133 | 3.514 | 887 | 90.04 | 4.3127
2020-01-12 10:45:00 | 2.2087 | 144.6373 | 2.5413 | 158.94 | 2.486 | 187.3267 | 2.6973 | 190.12 | 3.3533 | 887 | 90.6933 | 3.1907
2020-01-12 11:00:00 | 2.432 | 147.876 | 2.7973 | 162.5 | 2.8773 | 173.3667 | 3.3 | 182.2867 | 3.432 | 887 | 90.54 | 2.014
2020-01-12 11:15:00 | 2.9613 | 164.048 | 3.41 | 180.2667 | 3.3593 | 178.14 | 3.6227 | 181.4267 | 3.5313 | 887 | 90.76 | 5.8373
2020-01-12 11:30:00 | 2.1147 | 166.108 | 2.4333 | 182.5333 | 2.432 | 198.5533 | 2.9973 | 194.9533 | 3.698 | 887 | 90.52 | 1.226
2020-01-12 11:45:00 | 1.5027 | 183.8187 | 1.7313 | 201.9933 | 2.1247 | 203.6933 | 2.31 | 214.9067 | 3.8467 | 887 | 90.0667 | 0.11
2020-01-12 12:00:00 | 1.3233 | 151.3567 | 1.5253 | 166.3267 | 1.7153 | 175.8733 | 1.9513 | 171.5133 | 3.8853 | 887 | 90.26 | 0.40867
2020-01-12 12:15:00 | 2.8207 | 155.384 | 3.2447 | 170.7467 | 3.296 | 176.24 | 3.6907 | 176.14 | 3.9293 | 887 | 90.3267 | 1.1473
2020-01-12 12:30:00 | 1.4313 | 137.0213 | 1.656 | 150.5667 | 2.0253 | 168.6867 | 2.634 | 161.7133 | 4.118 | 887 | 90.2 | 0
2020-01-12 12:45:00 | 0.10267 | 141.33 | 0.122 | 155.3 | 0.176 | 146.02 | 0.808 | 144.3333 | 4.268 | 886.6667 | 89.9733 | 0
2020-01-12 13:00:00 | 0.798 | 139.664 | 0.92333 | 153.4667 | 1.0987 | 141.2333 | 1.7227 | 144.2533 | 4.316 | 886 | 89.84 | 0
2020-01-12 13:15:00 | 0.748 | 138.4847 | 0.86467 | 152.1733 | 1.108 | 149.5 | 1.4413 | 151.4067 | 4.3973 | 886 | 89.8867 | 0
2020-01-12 13:30:00 | 0.070667 | 251.0927 | 0.083333 | 275.9133 | 0.031333 | 226.1667 | 0.028 | 156.6 | 4.4693 | 886 | 89.34 | 0
2020-01-12 13:45:00 | 0.61733 | 161.85 | 0.71867 | 177.854 | 0.54133 | 299.1867 | 0.26467 | 81.5633 | 4.444 | 885.0667 | 89.6333 | 0
2020-01-12 14:00:00 | 1.952 | 3.268 | 2.242 | 3.5893 | 2.7993 | 120.7973 | 2.4993 | 123.3573 | 4.2373 | 885 | 90.6 | 0
2020-01-12 14:15:00 | 2.3233 | 73.8787 | 2.6767 | 81.1753 | 4.2327 | 7.5627 | 3.92 | 15.0313 | 4.2027 | 885 | 90.84 | 0.70333
2020-01-12 14:30:00 | 2.3667 | 46.788 | 2.7247 | 51.4113 | 4.056 | 14.5007 | 4.0613 | 19.994 | 4.0533 | 885 | 92.0067 | 1.072
2020-01-12 14:45:00 | 2.108 | 270.7533 | 2.4293 | 297.528 | 3.3673 | 98.7213 | 3.3293 | 105.6573 | 3.984 | 885 | 93.9 | 0.15429
2020-01-12 15:00:00 | 2.4747 | 98.3013 | 2.8487 | 108.016 | 3.5667 | 1.7007 | 3.3613 | 7.1313 | 3.8973 | 885 | 94.4733 | 0.93067
2020-01-12 15:15:00 | 1.552 | 257.0847 | 1.792 | 282.508 | 2.024 | 8.4693 | 1.8227 | 27.174 | 3.9147 | 884.0667 | 95.0067 | 0
2020-01-12 15:30:00 | 1.6353 | 318.236 | 1.89 | 349.7 | 1.826 | 166.5487 | 1.5833 | 148.8527 | 4.2767 | 884 | 93.1067 | 0
2020-01-12 15:45:00 | 2.1687 | 210.4047 | 2.4947 | 231.2133 | 3.0227 | 354.4933 | 2.6987 | 121.166 | 4.2653 | 884.3333 | 92.6867 | 0.138
2020-01-12 16:00:00 | 1.744 | 129.6633 | 2.0113 | 142.4813 | 2.8253 | 304.4653 | 2.8667 | 119.6507 | 4.2107 | 885 | 92.96 | 0.18533
2020-01-12 16:15:00 | 1.6827 | 69.4727 | 1.9367 | 76.33 | 2.2993 | 6.7927 | 2.2027 | 2.6553 | 4.1893 | 884.0667 | 93.1667 | 0.54533
2020-01-12 16:30:00 | 2.5727 | 206.89 | 2.964 | 227.3487 | 4.302 | 2.2093 | 4.1133 | 7.502 | 4.1453 | 884 | 92.5867 | 3.7307
2020-01-12 16:45:00 | 2.7967 | 29.7287 | 3.222 | 32.6687 | 4.912 | 166.8493 | 4.7727 | 54.6467 | 4.186 | 884 | 91.8733 | 6.1887
2020-01-12 17:00:00 | 2.7847 | 9.5787 | 3.206 | 10.5227 | 4.976 | 353.16 | 4.8567 | 186.428 | 4.272 | 884.6 | 90.9133 | 5.1953
2020-01-12 17:15:00 | 2.1687 | 82.2827 | 2.4973 | 90.4167 | 4.1407 | 74.4853 | 4.22 | 12.404 | 4.334 | 884.0667 | 90.1267 | 2.8387
2020-01-12 17:30:00 | 2.2333 | 226.0407 | 2.5693 | 248.3853 | 4.28 | 6.41 | 4.2487 | 7.1027 | 4.3467 | 884.6 | 90.0667 | 4.1673
2020-01-12 17:45:00 | 2.1187 | 96.872 | 2.44 | 106.4493 | 3.928 | 12.4233 | 3.8873 | 11.738 | 4.2393 | 885 | 90.8867 | 5.2347
2020-01-12 18:00:00 | 2.9533 | 228.9407 | 3.4007 | 251.582 | 4.7133 | 128.7753 | 4.7347 | 16.98 | 4.0853 | 885 | 91.6267 | 10.3727
2020-01-12 18:15:00 | 3.0147 | 160.526 | 3.464 | 176.4 | 5.6727 | 10.9807 | 5.63 | 13.1267 | 3.8753 | 885 | 92.6267 | 10.4887
2020-01-12 18:30:00 | 2.848 | 172.938 | 3.2773 | 190.038 | 4.4153 | 15.372 | 4.0553 | 130.2513 | 3.6713 | 884.3333 | 93.86 | 10.626
2020-01-12 18:45:00 | 3.2207 | 143.88 | 3.7047 | 158.0987 | 5.8673 | 119.552 | 5.78 | 3.0387 | 3.4927 | 884 | 94.88 | 14.2347
2020-01-12 19:00:00 | 3.0733 | 192.1927 | 3.5373 | 211.1933 | 5.0653 | 133.7673 | 5.1807 | 7.1967 | 3.46 | 884 | 95.48 | 10.7607
2020-01-12 19:15:00 | 2.6507 | 118.3353 | 3.052 | 130.0333 | 4.7433 | 235.3793 | 4.6527 | 13.6927 | 3.4873 | 884 | 95.52 | 10.442
2020-01-12 19:30:00 | 3.3587 | 103.6747 | 3.8713 | 113.9233 | 5.834 | 159.8513 | 5.5613 | 54.084 | 3.2253 | 884 | 95.9867 | 20.0947
2020-01-12 19:45:00 | 3.4453 | 212.5947 | 3.9613 | 233.616 | 5.8227 | 238.88 | 5.438 | 90.1873 | 3.1147 | 884 | 95.4333 | 20.416
2020-01-12 20:00:00 | 3.3207 | 106.6567 | 3.8213 | 117.1987 | 5.9207 | 116.7667 | 5.8147 | 28.2493 | 2.9513 | 884.6667 | 95.08 | 16.338
2020-01-12 20:15:00 | 3.2433 | 109.2727 | 3.73 | 120.0813 | 5.6353 | 70.2867 | 5.668 | 12.328 | 3.0813 | 885 | 94.4333 | 21.2407
2020-01-12 20:30:00 | 3.076 | 148.2687 | 3.5433 | 162.924 | 5.6267 | 13.1773 | 6.0033 | 22.6067 | 2.8267 | 884.3333 | 95.1067 | 19.406
2020-01-12 20:45:00 | 3.3013 | 171.732 | 3.7973 | 188.7127 | 5.728 | 169.102 | 5.7173 | 9.4733 | 2.9587 | 885 | 94.74 | 20.322
2020-01-12 21:00:00 | 3.5907 | 146.876 | 4.1333 | 161.4007 | 6.1407 | 191.158 | 6.2227 | 10.6233 | 2.8833 | 885 | 94.78 | 25.6207
2020-01-12 21:15:00 | 3.884 | 157.4227 | 4.468 | 172.9793 | 6.982 | 14.5187 | 7.2953 | 24.6847 | 2.8847 | 885 | 95.2867 | 22.394
2020-01-12 21:30:00 | 3.9733 | 67.8713 | 4.5747 | 74.5773 | 6.8607 | 124.542 | 6.904 | 14.0267 | 2.8373 | 885 | 95.66 | 25.4493
2020-01-12 21:45:00 | 3.816 | 66.8673 | 4.392 | 73.4707 | 7.014 | 8.992 | 7.1667 | 16.1527 | 2.7553 | 885 | 95.72 | 25.1553
2020-01-12 22:00:00 | 4.2167 | 117.18 | 4.8467 | 128.762 | 7.3167 | 9.9287 | 7.6053 | 15.676 | 2.632 | 885 | 95.8133 | 29.7147
2020-01-12 22:15:00 | 4.4347 | 67.08 | 5.0993 | 73.7073 | 7.2633 | 226.6547 | 7.2347 | 122.752 | 2.7093 | 885 | 95.7533 | 31.662
2020-01-12 22:30:00 | 3.9653 | 134.8767 | 4.56 | 148.216 | 6.288 | 52.1987 | 6.4853 | 15.9187 | 2.7093 | 885 | 95.3267 | 29.7187
2020-01-12 22:45:00 | 4.068 | 104.7853 | 4.6807 | 115.146 | 6.4913 | 79.5467 | 6.336 | 10.3187 | 2.4447 | 885 | 96.1 | 27.7407
2020-01-12 23:00:00 | 3.5033 | 142.732 | 4.032 | 156.8467 | 5.846 | 131.3487 | 5.6307 | 11.37 | 2.324 | 885 | 96.24 | 25.4267
2020-01-12 23:15:00 | 3.7573 | 261.6693 | 4.3293 | 287.544 | 5.5553 | 55.688 | 5.824 | 58.498 | 2.1327 | 885 | 96.4533 | 25.0567
2020-01-12 23:30:00 | 4.0987 | 157.4347 | 4.718 | 172.9993 | 5.9273 | 73.734 | 6.2213 | 78.5633 | 2.256 | 885 | 95.6533 | 27.7073
2020-01-12 23:45:00 | 3.994 | 270.344 | 4.5987 | 297.0787 | 6.2913 | 53.0127 | 6.628 | 12.1293 | 2.1127 | 884.7333 | 95.2867 | 29.512