## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-13 00:00:00 | 4.0307 | 41.2586 | 4.6364 | 45.3357 | 6.5693 | 77.3179 | 6.9086 | 17.065 | 1.98 | 884.6429 | 95.9214 | 33.0336
2020-01-13 00:15:00 | 4.288 | 213.108 | 4.934 | 234.1807 | 6.394 | 12.7707 | 6.738 | 20.9653 | 1.9053 | 884.0667 | 96.34 | 33.8707
2020-01-13 00:30:00 | 3.966 | 100.1493 | 4.56 | 110.05 | 6.0833 | 13.304 | 6.102 | 8.218 | 1.8313 | 884 | 96.24 | 34.1933
2020-01-13 00:45:00 | 4.1267 | 24.4913 | 4.7567 | 26.9053 | 6.7047 | 51.3253 | 6.7033 | 123.8633 | 1.642 | 884 | 97.1133 | 36.2433
2020-01-13 01:00:00 | 4.3493 | 38.4493 | 5.0093 | 42.2427 | 6.928 | 129.9733 | 6.7507 | 54.7267 | 1.5067 | 884 | 97.56 | 37.9047
2020-01-13 01:15:00 | 4.4753 | 136.9613 | 5.1487 | 150.5033 | 7.6627 | 352.34 | 7.1187 | 140.6 | 1.4173 | 884 | 97.6267 | 36.7413
2020-01-13 01:30:00 | 4.428 | 214.4967 | 5.0953 | 235.7133 | 7.758 | 350.18 | 7.1913 | 134.2367 | 1.252 | 884 | 97.8333 | 37.9233
2020-01-13 01:45:00 | 4.3793 | 171.2493 | 5.0387 | 188.184 | 7.6013 | 352.0867 | 7.3333 | 17.4133 | 1.1307 | 884 | 97.96 | 40.3687
2020-01-13 02:00:00 | 4.5567 | 66.4093 | 5.2427 | 72.9733 | 8.0427 | 71.1667 | 7.7513 | 4.8047 | 1.0147 | 884 | 98.2533 | 41.374
2020-01-13 02:15:00 | 4.366 | 218.3393 | 5.024 | 239.926 | 7.75 | 119.492 | 7.504 | 1.8973 | 0.90667 | 883.4 | 98.6333 | 42.6553
2020-01-13 02:30:00 | 4.6773 | 115.7313 | 5.3847 | 127.1767 | 7.892 | 127.7773 | 7.716 | 19.1473 | 1.0433 | 883.3333 | 98.7467 | 42.9947
2020-01-13 02:45:00 | 4.7213 | 257.7493 | 5.4327 | 283.2413 | 8.49 | 119.8653 | 8.176 | 119.5633 | 1.2527 | 884 | 98.2933 | 41.7207
2020-01-13 03:00:00 | 4.718 | 228.818 | 5.426 | 251.443 | 8.424 | 250.793 | 7.956 | 4.819 | 1.489 | 884 | 97.04 | 43.092
2020-01-13 03:15:00 | 5.48 | 173.2327 | 6.304 | 190.3587 | 8.8587 | 235.38 | 8.8793 | 8.4953 | 1.55 | 883.6667 | 96.2067 | 44.8913
2020-01-13 03:30:00 | 5.4773 | 104.1113 | 6.3053 | 114.4033 | 8.8527 | 229.1933 | 8.5887 | 17.36 | 1.588 | 883 | 95.9 | 45.074
2020-01-13 03:45:00 | 5.3407 | 118.0267 | 6.1473 | 129.6967 | 8.1707 | 128.6167 | 8.1087 | 13.3167 | 1.7227 | 883.9333 | 94.98 | 44.444
2020-01-13 04:00:00 | 5.2747 | 196.3153 | 6.0653 | 215.7287 | 8.2647 | 83.1107 | 8.036 | 125.9347 | 1.7967 | 884 | 94.3867 | 43.906
2020-01-13 04:15:00 | 5.3067 | 77.7853 | 6.1093 | 85.4753 | 7.878 | 277.356 | 7.7553 | 9.9253 | 1.7707 | 883.0667 | 94.5 | 44.164
2020-01-13 04:30:00 | 5.1187 | 119.4467 | 5.8967 | 131.256 | 7.9133 | 113.0067 | 7.414 | 122.482 | 1.7633 | 883 | 94.5933 | 43.6207
2020-01-13 04:45:00 | 4.8427 | 249.3827 | 5.576 | 274.042 | 8.0967 | 197.52 | 7.7873 | 6.5493 | 1.7627 | 883 | 94.6733 | 44.446
2020-01-13 05:00:00 | 4.9693 | 206.3193 | 5.7133 | 226.72 | 8.8733 | 74.1367 | 8.3293 | 8.2273 | 1.8147 | 883 | 94.3 | 44.88
2020-01-13 05:15:00 | 4.992 | 246.5773 | 5.74 | 270.9573 | 8.8367 | 306.596 | 8.4573 | 6.726 | 1.856 | 883 | 93.8133 | 45.884
2020-01-13 05:30:00 | 4.818 | 91.5027 | 5.5407 | 100.5493 | 8.4653 | 169.3107 | 8.444 | 122.334 | 1.8753 | 883 | 93.64 | 46.73
2020-01-13 05:45:00 | 5.138 | 72.8207 | 5.908 | 80.0233 | 8.67 | 348.4933 | 8.062 | 9.122 | 1.9033 | 883 | 93.5067 | 45.73
2020-01-13 06:00:00 | 5.358 | 299.43 | 6.1687 | 329.04 | 8.438 | 235.9767 | 8.0153 | 129.5707 | 1.9033 | 883 | 93.3333 | 46.732
2020-01-13 06:15:00 | 5.1853 | 110.9007 | 5.9647 | 121.862 | 8.9033 | 236.5133 | 8.522 | 119.1067 | 1.9047 | 883 | 93.3 | 45.542
2020-01-13 06:30:00 | 5.2053 | 155.2887 | 5.9827 | 170.64 | 8.402 | 235.9533 | 7.9473 | 53.2393 | 1.954 | 883 | 93.0467 | 45.5567
2020-01-13 06:45:00 | 5.3813 | 25.596 | 6.1913 | 28.1267 | 8.7873 | 231.0433 | 8.6207 | 82.8813 | 2.0013 | 883 | 92.8467 | 45.5987
2020-01-13 07:00:00 | 5.5267 | 218.8367 | 6.3587 | 240.478 | 9.0293 | 235.1 | 8.7193 | 8.9267 | 2.0687 | 883 | 92.5 | 46.532
2020-01-13 07:15:00 | 5.236 | 58.3447 | 6.022 | 64.1087 | 8.2647 | 209.5867 | 7.8987 | 17.37 | 2.0933 | 883 | 92.3733 | 44.2647
2020-01-13 07:30:00 | 5.3693 | 155.764 | 6.1787 | 171.158 | 8.368 | 197.1133 | 8.2573 | 14.9847 | 2.0913 | 883 | 92.3933 | 44.9013
2020-01-13 07:45:00 | 5.0293 | 124.9673 | 5.7913 | 137.3233 | 8.694 | 96.8433 | 8.39 | 8.6867 | 2.1747 | 883 | 91.8267 | 46.0133
2020-01-13 08:00:00 | 5.224 | 164.734 | 6.0113 | 181.02 | 9.186 | 163.6667 | 8.7993 | 4.792 | 2.208 | 883.6 | 91.6 | 47.87
2020-01-13 08:15:00 | 5.7993 | 163.0253 | 6.674 | 179.1487 | 9.3467 | 192.8573 | 9.252 | 124.318 | 2.2793 | 884 | 91.18 | 48.7793
2020-01-13 08:30:00 | 6.0447 | 43.8427 | 6.9553 | 48.1747 | 9.948 | 14.5033 | 9.484 | 16.6233 | 2.328 | 884 | 90.8 | 47.3353
2020-01-13 08:45:00 | 5.994 | 196.694 | 6.894 | 216.14 | 9.768 | 150.434 | 9.482 | 37.99 | 2.34 | 884 | 90.7733 | 45.5527
2020-01-13 09:00:00 | 5.4493 | 227.9493 | 6.2733 | 250.4813 | 8.172 | 12.91 | 8.0527 | 126.5673 | 2.3267 | 884 | 90.7 | 45.832
2020-01-13 09:15:00 | 5.5953 | 83.528 | 6.436 | 91.7813 | 9.3607 | 204.5313 | 9.1393 | 125.1693 | 2.3893 | 884 | 90.4067 | 49.1373
2020-01-13 09:30:00 | 6.196 | 215.59 | 7.1247 | 236.9033 | 9.6913 | 77.3013 | 9.65 | 114.3733 | 2.5727 | 884.6 | 89.2333 | 51.578
2020-01-13 09:45:00 | 6.7587 | 171.2667 | 7.778 | 188.2 | 11.682 | 8.0467 | 11.4973 | 15.0333 | 2.692 | 885 | 88.2 | 49.8827
2020-01-13 10:00:00 | 6.5433 | 138.2927 | 7.5307 | 151.97 | 11.8213 | 16.0753 | 12.08 | 22.2613 | 2.7567 | 885 | 87.76 | 49.626
2020-01-13 10:15:00 | 6.922 | 192.7553 | 7.966 | 211.8133 | 12.424 | 8.2313 | 12.4713 | 16.8527 | 2.9607 | 885 | 86.4467 | 52.642
2020-01-13 10:30:00 | 7.4627 | 210.678 | 8.5913 | 231.5067 | 13.0213 | 10.9433 | 12.8687 | 18.7493 | 3.1413 | 885.6 | 85.0333 | 51.9707
2020-01-13 10:45:00 | 7.1367 | 176.9173 | 8.2093 | 194.4067 | 12.5547 | 11.4167 | 12.43 | 20.622 | 3.2707 | 886 | 84.4067 | 51.904
2020-01-13 11:00:00 | 6.8607 | 157.646 | 7.8947 | 173.2333 | 12.3913 | 12.2947 | 12.2693 | 20.6667 | 3.5787 | 886 | 83.54 | 48.8253
2020-01-13 11:15:00 | 6.7687 | 106.7973 | 7.7893 | 117.3533 | 12.2527 | 17.15 | 12.3747 | 20.5673 | 3.824 | 886 | 82.1667 | 47.86
2020-01-13 11:30:00 | 6.65 | 167.0367 | 7.646 | 183.5453 | 12.0613 | 15.226 | 12.2827 | 22.1327 | 4.0467 | 886 | 81.2333 | 47.1187
2020-01-13 11:45:00 | 6.314 | 246.1933 | 7.2653 | 270.5413 | 11.436 | 13.7353 | 11.432 | 21.9393 | 4.8873 | 886 | 78.8267 | 45.95
2020-01-13 12:00:00 | 6.2467 | 163.722 | 7.1927 | 179.9067 | 11.2853 | 12.0193 | 11.27 | 20.4247 | 5.906 | 886 | 74.9147 | 46.4567
2020-01-13 12:15:00 | 6.1453 | 159.0207 | 7.076 | 174.7333 | 10.82 | 16.4993 | 10.842 | 22.796 | 6.5967 | 886.6667 | 71.158 | 46.0953
2020-01-13 12:30:00 | 5.724 | 87.454 | 6.5873 | 96.0967 | 10.1647 | 10.8493 | 10.3153 | 20.1247 | 6.642 | 886 | 70.8787 | 43.7907
2020-01-13 12:45:00 | 5.8653 | 159.3573 | 6.746 | 175.11 | 10.568 | 17.144 | 10.7287 | 19.926 | 7.3173 | 886 | 68.87 | 40.7207
2020-01-13 13:00:00 | 6.25 | 231.28 | 7.1867 | 254.1533 | 11.1207 | 14.5653 | 11.0893 | 19.2933 | 8.7387 | 886 | 63.3367 | 41.998
2020-01-13 13:15:00 | 6.6593 | 168.8093 | 7.6607 | 185.4987 | 11.7113 | 23.4507 | 11.4887 | 16.9873 | 8.788 | 886 | 61.0433 | 41.2687
2020-01-13 13:30:00 | 6.804 | 54.4193 | 7.834 | 59.7913 | 11.7933 | 17.1213 | 11.556 | 21.692 | 8.564 | 886 | 60.642 | 44.0447
2020-01-13 13:45:00 | 6.8627 | 241.4173 | 7.898 | 265.28 | 11.85 | 12.3093 | 11.2407 | 12.912 | 8.9907 | 886 | 58.9653 | 44.1833
2020-01-13 14:00:00 | 6.752 | 191.1793 | 7.768 | 210.08 | 11.5793 | 15.9327 | 11.1333 | 14.7993 | 9.3907 | 886 | 57.4673 | 42.4233
2020-01-13 14:15:00 | 6.7733 | 107.8093 | 7.7967 | 118.4647 | 11.24 | 17.4633 | 10.5033 | 131.708 | 9.2147 | 886 | 56.7547 | 41.082
2020-01-13 14:30:00 | 5.8753 | 131.64 | 6.7567 | 144.652 | 10.018 | 18.2827 | 9.7147 | 25.7187 | 9.8367 | 886 | 54.6233 | 38.8373
2020-01-13 14:45:00 | 6.4173 | 94.548 | 7.382 | 103.8933 | 11.18 | 13.1727 | 10.8327 | 24.3087 | 9.6647 | 886 | 54.0273 | 42.256
2020-01-13 15:00:00 | 6.0267 | 222.5327 | 6.9347 | 244.5333 | 10.4467 | 13.884 | 10.18 | 16.958 | 9.9607 | 886 | 51.9487 | 37.076
2020-01-13 15:15:00 | 5.276 | 212.1613 | 6.0793 | 233.14 | 8.9333 | 19.452 | 8.7353 | 24.6033 | 10.0713 | 886 | 51.106 | 34.3673
2020-01-13 15:30:00 | 5.0873 | 194.592 | 5.854 | 213.8333 | 9.136 | 10.5487 | 9.008 | 17.7873 | 9.9153 | 886 | 51.1133 | 32.4913
2020-01-13 15:45:00 | 5.2973 | 110.8373 | 6.0993 | 121.796 | 9.4853 | 18.3353 | 9.4527 | 31.6993 | 9.9327 | 886 | 50.428 | 30.8233
2020-01-13 16:00:00 | 5.2513 | 195.0653 | 6.0387 | 214.354 | 9.378 | 23.262 | 9.174 | 32.0833 | 9.038 | 886 | 52.2087 | 31.4793
2020-01-13 16:15:00 | 5.44 | 170.6753 | 6.2653 | 187.5533 | 9.6307 | 10.6647 | 9.294 | 20.4113 | 8.1873 | 886 | 54.482 | 35.078
2020-01-13 16:30:00 | 5.7113 | 183.4273 | 6.572 | 201.5667 | 10.608 | 12.6453 | 10.3567 | 26.502 | 8.2227 | 886 | 55.33 | 38.304
2020-01-13 16:45:00 | 5.852 | 238.649 | 6.74 | 262.25 | 11.115 | 10.388 | 10.737 | 20.907 | 7.673 | 886 | 57.244 | 41.518
2020-01-13 17:00:00 | 5.414 | 256.3773 | 6.2293 | 281.7333 | 9.8227 | 7.4573 | 9.9173 | 20.3327 | 7.2627 | 885 | 57.7547 | 35.1507
2020-01-13 17:15:00 | 5.0833 | 188.0733 | 5.8467 | 206.6733 | 9.206 | 11.8427 | 9.588 | 22.6133 | 6.918 | 885 | 59.4207 | 33.1973
2020-01-13 17:30:00 | 5.1867 | 215.1747 | 5.9693 | 236.4533 | 9.1627 | 16.9793 | 9.5653 | 20.526 | 6.6847 | 885 | 60.266 | 36.66
2020-01-13 17:45:00 | 5.122 | 143.7893 | 5.896 | 158.0027 | 9.4867 | 23.3187 | 9.576 | 28.342 | 6.3507 | 885 | 62.4987 | 37.626
2020-01-13 18:00:00 | 4.71 | 194.9513 | 5.4233 | 214.2307 | 8.596 | 18.166 | 8.692 | 28.9567 | 6.0113 | 885 | 63.7133 | 36.1387
2020-01-13 18:15:00 | 4.4067 | 193.7327 | 5.0667 | 212.888 | 8.1747 | 18.3513 | 8.0507 | 22.4187 | 5.778 | 886 | 63.9893 | 35.0607
2020-01-13 18:30:00 | 4.2587 | 129.9587 | 4.9007 | 142.8047 | 8.036 | 19.548 | 7.9827 | 23.4427 | 5.592 | 886 | 65.1493 | 31.2473
2020-01-13 18:45:00 | 4.6173 | 71.9427 | 5.314 | 79.052 | 8.5813 | 15.5447 | 8.644 | 25.292 | 5.458 | 886 | 65.0693 | 34.126
2020-01-13 19:00:00 | 4.5413 | 89.4727 | 5.224 | 98.32 | 8.288 | 18.4607 | 8.342 | 25.1567 | 5.2907 | 886 | 65.2373 | 36.9673
2020-01-13 19:15:00 | 5.1267 | 81.3353 | 5.9013 | 89.3767 | 8.9993 | 14.8253 | 8.5807 | 21.07 | 5.1333 | 886 | 65.5513 | 40.2
2020-01-13 19:30:00 | 5.7747 | 233.2247 | 6.65 | 256.2933 | 9.424 | 18.6487 | 9.0367 | 22.014 | 5.026 | 886 | 65.5107 | 41.2907
2020-01-13 19:45:00 | 5.516 | 195.3707 | 6.3473 | 214.6907 | 9.114 | 6.9207 | 9.0547 | 13.368 | 4.8907 | 886.2667 | 66.072 | 39.4813
2020-01-13 20:00:00 | 5.5867 | 156.5213 | 6.4313 | 172.002 | 9.2607 | 12.048 | 8.87 | 12.94 | 4.7293 | 887 | 66.5873 | 37.6767
2020-01-13 20:15:00 | 5.5407 | 220.742 | 6.3767 | 242.5733 | 9.528 | 23.1227 | 9.1433 | 16.8853 | 4.61 | 887 | 66.9193 | 36.288
2020-01-13 20:30:00 | 5.7467 | 244.2027 | 6.61 | 268.3507 | 9.896 | 16.5387 | 9.4747 | 18.3673 | 4.4713 | 887 | 67.1147 | 38.8147
2020-01-13 20:45:00 | 5.736 | 139.878 | 6.606 | 153.7093 | 10.1587 | 14.6347 | 9.6247 | 23.9813 | 4.3213 | 887 | 67.3487 | 40.486
2020-01-13 21:00:00 | 5.7567 | 135.4647 | 6.624 | 148.8533 | 10.1353 | 13.0573 | 9.8493 | 19.6433 | 4.2087 | 887 | 67.5667 | 40.6333
2020-01-13 21:15:00 | 5.7033 | 162.3973 | 6.5593 | 178.4553 | 10.0627 | 10.08 | 9.9653 | 15.2727 | 4.0767 | 887 | 68.0247 | 39.798
2020-01-13 21:30:00 | 5.5807 | 24.814 | 6.426 | 27.2647 | 9.9433 | 16.7327 | 9.6707 | 22.3907 | 3.9647 | 887 | 68.4353 | 38.45
2020-01-13 21:45:00 | 5.2673 | 108.676 | 6.0627 | 119.42 | 9.5773 | 9.3927 | 9.2813 | 24.4253 | 3.866 | 887 | 68.786 | 39.136
2020-01-13 22:00:00 | 5.3787 | 150.764 | 6.188 | 165.6733 | 9.8473 | 7.8787 | 9.632 | 15.8873 | 3.7353 | 887.6667 | 69.3367 | 40.6813
2020-01-13 22:15:00 | 5.474 | 201.7807 | 6.2947 | 221.7333 | 9.952 | 14.406 | 9.854 | 22.0187 | 3.55 | 888 | 70.1933 | 40.7647
2020-01-13 22:30:00 | 4.796 | 202.9467 | 5.5213 | 223.0167 | 8.9167 | 12.4713 | 8.7267 | 22.7253 | 3.332 | 888 | 70.7647 | 36.452
2020-01-13 22:45:00 | 4.952 | 182.616 | 5.6993 | 200.67 | 7.9753 | 13.9653 | 7.5413 | 11.8113 | 3.2507 | 887.3333 | 70.7113 | 34.0293
2020-01-13 23:00:00 | 5.0533 | 153.848 | 5.8213 | 169.06 | 8.608 | 7.3207 | 8.424 | 34.448 | 3.5007 | 888 | 69.882 | 34.8107
2020-01-13 23:15:00 | 4.8167 | 97.45 | 5.538 | 107.0867 | 8.1853 | 5.014 | 8.3167 | 23.46 | 3.4793 | 888.9333 | 70.4833 | 36.7747
2020-01-13 23:30:00 | 5.1947 | 143.384 | 5.9727 | 157.5613 | 9.024 | 10.546 | 8.7127 | 26.7953 | 3.3287 | 888.3333 | 71.836 | 38.3167
2020-01-13 23:45:00 | 5.0473 | 209.7967 | 5.814 | 230.5353 | 9.1233 | 14.5973 | 8.986 | 21.744 | 3.138 | 888 | 72.9393 | 31.8007