## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-14 00:00:00 | 4.57 | 118.2579 | 5.2657 | 129.9536 | 8.0057 | 14.62 | 7.835 | 11.4814 | 2.9471 | 888 | 73.7636 | 36.9807
2020-01-14 00:15:00 | 5.7853 | 86.158 | 6.6593 | 94.676 | 9.6653 | 18.8067 | 9.248 | 21.186 | 2.842 | 888 | 74.5973 | 42.9993
2020-01-14 00:30:00 | 5.7833 | 116.5633 | 6.6593 | 128.0907 | 9.92 | 13.5787 | 9.5453 | 21.3567 | 2.736 | 888 | 75.5153 | 39.1853
2020-01-14 00:45:00 | 4.998 | 238.7673 | 5.7493 | 262.38 | 9.12 | 17.8487 | 8.83 | 20.8107 | 2.574 | 888 | 76.992 | 31.8787
2020-01-14 01:00:00 | 4.4973 | 200.906 | 5.174 | 220.77 | 7.5133 | 126.3533 | 7.2593 | 57.4193 | 2.596 | 888 | 77.074 | 28.6827
2020-01-14 01:15:00 | 4.438 | 158.0567 | 5.1027 | 173.6893 | 8.0193 | 70.5107 | 7.7967 | 80.7353 | 2.5373 | 888 | 77.2847 | 29.982
2020-01-14 01:30:00 | 4.218 | 214.9447 | 4.8527 | 236.2007 | 7.5127 | 354.0533 | 7.118 | 14.5533 | 2.638 | 888 | 77.318 | 32.4413
2020-01-14 01:45:00 | 4.602 | 189.5507 | 5.2953 | 208.2933 | 7.8667 | 193.264 | 7.5087 | 13.7647 | 2.6407 | 888 | 77.6913 | 33.93
2020-01-14 02:00:00 | 4.562 | 75.6927 | 5.2527 | 83.1727 | 7.742 | 14.8127 | 7.3013 | 15.2693 | 2.4813 | 888 | 78.834 | 32.73
2020-01-14 02:15:00 | 4.7787 | 20.6047 | 5.5093 | 22.6407 | 7.668 | 8.714 | 7.7513 | 15.8627 | 2.5687 | 888 | 78.7767 | 30.9953
2020-01-14 02:30:00 | 4.23 | 52.4247 | 4.868 | 57.6047 | 7.278 | 126.2453 | 7.074 | 20.682 | 2.564 | 888.6 | 78.982 | 25.5147
2020-01-14 02:45:00 | 4.64 | 267.584 | 5.3373 | 294.048 | 7.3153 | 123.884 | 6.9027 | 21.306 | 2.4867 | 888.6667 | 79.6227 | 30.5927
2020-01-14 03:00:00 | 4.4293 | 7.9333 | 5.0993 | 8.7133 | 7.1593 | 10.17 | 6.8747 | 16.3667 | 2.2713 | 888 | 81.14 | 26.9347
2020-01-14 03:15:00 | 4.278 | 159.5253 | 4.9233 | 175.2987 | 7.072 | 113.4553 | 6.7433 | 12.3933 | 2.2387 | 888 | 82.0133 | 29.092
2020-01-14 03:30:00 | 4.1307 | 126.5207 | 4.752 | 139.0267 | 6.6093 | 15.1347 | 6.5547 | 20.776 | 2.2753 | 888 | 82.4067 | 22.458
2020-01-14 03:45:00 | 3.8647 | 309.6067 | 4.4467 | 340.22 | 5.9453 | 65.9407 | 5.824 | 8.308 | 2.2427 | 888 | 82.48 | 14.4687
2020-01-14 04:00:00 | 3.1633 | 161.814 | 3.642 | 177.8087 | 5.398 | 189.0833 | 5.1513 | 9.096 | 2.0633 | 887.3333 | 83.4533 | 5.8927
2020-01-14 04:15:00 | 3.2153 | 47.4933 | 3.706 | 52.1913 | 5.1293 | 165.57 | 4.808 | 53.8053 | 2.0993 | 887 | 83.76 | 2.8513
2020-01-14 04:30:00 | 2.8587 | 166.1007 | 3.2913 | 182.5233 | 4.7713 | 117.4267 | 4.5033 | 72.774 | 2.172 | 887 | 83.66 | 2.592
2020-01-14 04:45:00 | 3.2993 | 147.12 | 3.796 | 161.67 | 5.2173 | 73.2827 | 4.9987 | 2.134 | 2.2067 | 887 | 83.7067 | 5.5007
2020-01-14 05:00:00 | 3.4507 | 156.1707 | 3.9693 | 171.6073 | 5.6333 | 120.5773 | 5.516 | 15.8073 | 2.226 | 887 | 84.0667 | 7.8407
2020-01-14 05:15:00 | 3.3113 | 250.716 | 3.8127 | 275.5127 | 5.2773 | 14.9627 | 5.0933 | 12.5633 | 2.198 | 887 | 84.4 | 3.3773
2020-01-14 05:30:00 | 3.5493 | 214.5133 | 4.0873 | 235.7233 | 4.8287 | 184.934 | 4.622 | 8.3107 | 2.1387 | 886.4 | 84.72 | 4.0913
2020-01-14 05:45:00 | 3.616 | 72.622 | 4.1587 | 79.7987 | 5.4147 | 78.0733 | 5.1087 | 9.856 | 2.144 | 886.9333 | 85.08 | 6.37
2020-01-14 06:00:00 | 3.3827 | 117.8467 | 3.8873 | 129.4993 | 5.4147 | 121.5647 | 5.1927 | 124.196 | 2.142 | 886.4 | 85.36 | 7.076
2020-01-14 06:15:00 | 3.3473 | 117.3033 | 3.8493 | 128.9033 | 4.568 | 10.2287 | 4.362 | 20.5207 | 2.0833 | 886.6667 | 85.5867 | 3.572
2020-01-14 06:30:00 | 3.7747 | 105.636 | 4.35 | 116.074 | 5.292 | 54.1067 | 4.9827 | 10.0307 | 2.024 | 886.6 | 85.96 | 4.982
2020-01-14 06:45:00 | 3.1533 | 43.1527 | 3.6267 | 47.4153 | 5.2607 | 81.192 | 5.038 | 8.172 | 2.0247 | 887 | 86.1267 | 6.2007
2020-01-14 07:00:00 | 3.08 | 119.364 | 3.55 | 131.162 | 5.1267 | 22.5253 | 5.0013 | 12.5153 | 2.0127 | 887 | 86.2 | 5.2773
2020-01-14 07:15:00 | 3.106 | 201.6813 | 3.5773 | 221.6173 | 5.0567 | 7.1573 | 4.9293 | 14.0893 | 1.9387 | 887 | 86.6067 | 4.7407
2020-01-14 07:30:00 | 3.1067 | 230.4733 | 3.57 | 253.2653 | 4.424 | 121.358 | 4.2607 | 19.3713 | 1.8547 | 887 | 87.0333 | 2.8373
2020-01-14 07:45:00 | 3.1253 | 32.608 | 3.5993 | 35.828 | 4.7753 | 73.6853 | 4.562 | 140.7987 | 1.858 | 887 | 87.0733 | 2.3773
2020-01-14 08:00:00 | 3.3353 | 9.7233 | 3.838 | 10.684 | 4.8847 | 3.3113 | 4.5147 | 3.8467 | 1.922 | 887 | 86.7467 | 2.5947
2020-01-14 08:15:00 | 3.416 | 150.2347 | 3.9367 | 165.0827 | 4.878 | 168.33 | 4.4453 | 6.0613 | 1.918 | 887 | 86.7733 | 2.844
2020-01-14 08:30:00 | 3.5233 | 113.71 | 4.0533 | 124.9567 | 4.5013 | 205.294 | 4.0827 | 113.0527 | 1.8707 | 887 | 87.14 | 2.0627
2020-01-14 08:45:00 | 3.3367 | 112.0353 | 3.8433 | 123.11 | 3.8933 | 49.606 | 3.54 | 121.798 | 1.8113 | 887 | 87.2933 | 0.98933
2020-01-14 09:00:00 | 3.348 | 319.5933 | 3.854 | 351.1867 | 3.7867 | 190.6907 | 3.6107 | 1.39 | 1.7793 | 887 | 87.4533 | 0.544
2020-01-14 09:15:00 | 3.472 | 315.5327 | 3.9973 | 346.7333 | 3.894 | 3.8813 | 3.6213 | 21.844 | 1.7527 | 887 | 87.9467 | 0.38467
2020-01-14 09:30:00 | 3.1693 | 67.8567 | 3.6447 | 74.558 | 3.466 | 53.5047 | 3.2847 | 12.672 | 1.7213 | 887 | 88.48 | 0.62533
2020-01-14 09:45:00 | 3.218 | 209.0333 | 3.6993 | 229.7007 | 3.7773 | 72.858 | 3.4507 | 11.2187 | 1.6607 | 887 | 89.76 | 0.522
2020-01-14 10:00:00 | 2.6653 | 44.7053 | 3.066 | 49.118 | 2.9827 | 3.164 | 2.7353 | 14.5833 | 1.6513 | 887 | 89.82 | 0.34733
2020-01-14 10:15:00 | 2.6967 | 307.0753 | 3.1027 | 337.4333 | 2.8647 | 118.8027 | 2.1433 | 3.9873 | 1.5373 | 887 | 91.7533 | 0.19867
2020-01-14 10:30:00 | 2.5973 | 115.7373 | 2.988 | 127.1767 | 3.06 | 25.2707 | 2.3693 | 4.7047 | 1.404 | 887 | 93.8133 | 0.292
2020-01-14 10:45:00 | 2.486 | 210.5787 | 2.8573 | 231.4033 | 2.9593 | 7.308 | 2.042 | 7.9913 | 1.396 | 887.9333 | 94.1933 | 0.41133
2020-01-14 11:00:00 | 2.5233 | 312.328 | 2.9047 | 343.22 | 2.6633 | 59.982 | 1.936 | 12.9727 | 1.46 | 888 | 93.9867 | 0.26
2020-01-14 11:15:00 | 2.116 | 316.828 | 2.4407 | 348.16 | 2.5367 | 190.9767 | 1.7227 | 10.7627 | 1.5247 | 888 | 94.1 | 0.092667
2020-01-14 11:30:00 | 2.3427 | 209.5933 | 2.6973 | 230.3167 | 3.0347 | 2.2107 | 2.46 | 2.5187 | 1.5013 | 888 | 95.34 | 0
2020-01-14 11:45:00 | 2.882 | 208.096 | 3.32 | 228.6667 | 3.5173 | 0.90133 | 3.1047 | 3.5973 | 1.4113 | 888 | 95.88 | 0
2020-01-14 12:00:00 | 2.5047 | 110.8107 | 2.8847 | 121.77 | 3.164 | 72.012 | 2.6807 | 18.2087 | 1.3507 | 887.3333 | 96.5667 | 0
2020-01-14 12:15:00 | 2.308 | 215.9027 | 2.662 | 237.2567 | 2.87 | 120.286 | 1.9507 | 120.0733 | 1.2873 | 887 | 97.7067 | 0
2020-01-14 12:30:00 | 2.3533 | 108.8827 | 2.716 | 119.6467 | 2.6353 | 8.1353 | 1.4287 | 54.228 | 1.176 | 887 | 98.5333 | 0
2020-01-14 12:45:00 | 2.334 | 63.2487 | 2.6867 | 69.4953 | 2.712 | 6.036 | 1.3467 | 83.8033 | 1.1567 | 887 | 99.3133 | 0
2020-01-14 13:00:00 | 2.2327 | 9.7393 | 2.5693 | 10.698 | 2.404 | 6.806 | 0.94333 | 132.434 | 1.0673 | 886.4 | 99.7867 | 0
2020-01-14 13:15:00 | 1.826 | 208.8327 | 2.1027 | 229.486 | 1.632 | 121.6573 | 0.071333 | 281.8127 | 1.064 | 886 | 100 | 0
2020-01-14 13:30:00 | 2.0533 | 154.0133 | 2.36 | 169.2407 | 2.2207 | 55.3073 | 1.144 | 73.3773 | 1.1327 | 885.3333 | 100 | 0
2020-01-14 13:45:00 | 2.2853 | 275.2 | 2.63 | 302.4187 | 2.4533 | 74.8213 | 1.626 | 12.914 | 1.1293 | 885 | 100 | 0
2020-01-14 14:00:00 | 1.996 | 150.8933 | 2.296 | 165.808 | 2.044 | 2.948 | 0.60467 | 1.704 | 1.172 | 885 | 100 | 0
2020-01-14 14:15:00 | 1.462 | 176.9973 | 1.694 | 194.5053 | 1.6227 | 121.2293 | 0.036667 | 1.2173 | 1.3893 | 884 | 100 | 0
2020-01-14 14:30:00 | 1.1127 | 221.924 | 1.2847 | 243.864 | 0.83667 | 157.6253 | 0.022667 | 215.216 | 1.4507 | 884 | 100 | 0
2020-01-14 14:45:00 | 0.288 | 248.822 | 0.332 | 273.4227 | 0 | 264.32 | 0.498 | 211.96 | 1.5233 | 884 | 100 | 0.15333
2020-01-14 15:00:00 | 0.59 | 294.7453 | 0.68467 | 323.8867 | 1.0627 | 205.9133 | 2.11 | 198.9933 | 1.8753 | 884 | 100 | 0.48533
2020-01-14 15:15:00 | 1.6213 | 164.3493 | 1.8647 | 180.6 | 1.9827 | 188.6467 | 2.5987 | 195.6467 | 2.098 | 883 | 100 | 0.35467
2020-01-14 15:30:00 | 1.914 | 161.004 | 2.2 | 176.92 | 2.1787 | 188.6067 | 2.6227 | 186.9867 | 2.248 | 883 | 99.3467 | 0.648
2020-01-14 15:45:00 | 1.7927 | 157.99 | 2.0687 | 173.6067 | 1.9667 | 175.4267 | 2.52 | 182.5267 | 2.332 | 883 | 95.3067 | 0.72667
2020-01-14 16:00:00 | 1.806 | 163.4513 | 2.0773 | 179.6133 | 1.8413 | 181.86 | 2.4553 | 189.9133 | 2.3213 | 883 | 92.68 | 0.864
2020-01-14 16:15:00 | 1.8133 | 143.6847 | 2.0887 | 157.8933 | 1.7933 | 179.1133 | 2.21 | 186.1333 | 2.3013 | 883 | 92.68 | 1.174
2020-01-14 16:30:00 | 1.7967 | 152.7033 | 2.0647 | 167.8 | 1.75 | 183.0333 | 2.1833 | 195.8067 | 2.2533 | 883 | 93.1 | 1.5393
2020-01-14 16:45:00 | 1.7267 | 152.98 | 1.9967 | 168.1067 | 1.7593 | 180.74 | 2.2387 | 193.16 | 2.2313 | 883 | 93.3733 | 1.67
2020-01-14 17:00:00 | 0.842 | 163.162 | 0.96467 | 179.3 | 0.76667 | 187.78 | 1.9573 | 198.3333 | 2.2587 | 883 | 93.5667 | 1.026
2020-01-14 17:15:00 | 0.094 | 171.44 | 0.11 | 188.4 | 0.052 | 185.26 | 1.0127 | 196.64 | 2.316 | 883 | 93.5667 | 0.78933
2020-01-14 17:30:00 | 0 | 171.44 | 0 | 188.4 | 0 | 185.1 | 0.498 | 205.44 | 2.3653 | 883 | 93.5933 | 0.83067
2020-01-14 17:45:00 | 0.034667 | 171.44 | 0.038667 | 188.4 | 0.056 | 187.98 | 1.328 | 210.2933 | 2.432 | 883 | 93.6533 | 0.58333
2020-01-14 18:00:00 | 0.064 | 171.44 | 0.073333 | 188.4 | 0.12067 | 199.86 | 1.636 | 202.7933 | 2.492 | 883 | 93.5667 | 0.21933
2020-01-14 18:15:00 | 0 | 171.44 | 0 | 188.4 | 0 | 194.3267 | 0.68533 | 217.9467 | 2.5113 | 883 | 93.9333 | 0.372
2020-01-14 18:30:00 | 0.614 | 164.1267 | 0.706 | 180.36 | 0.50667 | 198.4 | 1.482 | 210.74 | 2.5227 | 883 | 94.5733 | 0.882
2020-01-14 18:45:00 | 1.3687 | 160.96 | 1.5753 | 176.8733 | 1.4227 | 186.9133 | 1.8027 | 203.5867 | 2.3733 | 883 | 96.6533 | 0.74
2020-01-14 19:00:00 | 0.42533 | 160.9107 | 0.49133 | 176.82 | 0.33467 | 219.4933 | 1.158 | 215.7933 | 2.202 | 883 | 98.86 | 0.91
2020-01-14 19:15:00 | 0.033333 | 199.8647 | 0.041333 | 219.6267 | 0.044 | 224.42 | 0.23667 | 207.48 | 2.234 | 883 | 99.5933 | 0.466
2020-01-14 19:30:00 | 0.012 | 248.61 | 0.016 | 273.2 | 0.012 | 231 | 0 | 204.4733 | 2.296 | 883.6667 | 99.86 | 0
2020-01-14 19:45:00 | 0.3 | 270.7233 | 0.35133 | 297.4867 | 0 | 202.1533 | 0 | 165.2867 | 2.3427 | 884 | 99.9933 | 0
2020-01-14 20:00:00 | 0.16 | 301.632 | 0.18867 | 331.46 | 0 | 174.6147 | 0 | 137.8233 | 2.36 | 884 | 100 | 0
2020-01-14 20:15:00 | 0.028 | 312.04 | 0.036 | 342.9 | 0 | 294.4667 | 0 | 284.5667 | 2.3393 | 884 | 100 | 0
2020-01-14 20:30:00 | 0.032 | 312.04 | 0.037333 | 342.9 | 0 | 294.3333 | 0 | 202.7 | 2.3327 | 884 | 100 | 0
2020-01-14 20:45:00 | 0.18933 | 313.388 | 0.222 | 344.38 | 0 | 294.3267 | 0 | 217.9533 | 2.2 | 884 | 100 | 0
2020-01-14 21:00:00 | 0.77933 | 173.0353 | 0.90533 | 190.14 | 0.632 | 69.996 | 0.001333 | 321.2533 | 2.004 | 884 | 100 | 0
2020-01-14 21:15:00 | 0.85933 | 254.6827 | 0.99067 | 279.8633 | 0.55467 | 168.2073 | 0.002 | 70.2247 | 1.8953 | 884 | 100 | 0
2020-01-14 21:30:00 | 0.93267 | 316.7447 | 1.0707 | 348.06 | 0.47133 | 349.94 | 0 | 0.41067 | 1.848 | 884 | 100 | 0
2020-01-14 21:45:00 | 1.0833 | 212.122 | 1.2487 | 233.0933 | 1.0707 | 74.06 | 0.18933 | 121.7973 | 1.8587 | 884 | 100 | 0
2020-01-14 22:00:00 | 1.056 | 297.3993 | 1.2193 | 326.8 | 0.81133 | 2.4373 | 0.238 | 16.826 | 1.826 | 884 | 100 | 0
2020-01-14 22:15:00 | 0.71267 | 260.048 | 0.82733 | 285.7667 | 0.52867 | 8.8727 | 0.01 | 17.3167 | 1.7773 | 884 | 100 | 0
2020-01-14 22:30:00 | 0.868 | 172.174 | 1.004 | 189.2007 | 0.51267 | 10.8753 | 0.023333 | 38.4987 | 1.792 | 884 | 100 | 0
2020-01-14 22:45:00 | 1.1327 | 258.0367 | 1.3153 | 283.5527 | 0.80333 | 55.894 | 0.009333 | 90.116 | 1.704 | 884 | 100 | 0
2020-01-14 23:00:00 | 1.5693 | 321.12 | 1.8113 | 352.88 | 1.358 | 73.276 | 0.16267 | 114.4427 | 1.6767 | 884 | 100 | 0
2020-01-14 23:15:00 | 1.898 | 214.3507 | 2.1867 | 235.55 | 1.9927 | 4.692 | 1.4627 | 58.122 | 1.5627 | 884 | 100 | 0
2020-01-14 23:30:00 | 2.3387 | 306.7553 | 2.6873 | 337.0933 | 2.58 | 124.1553 | 2.332 | 78.7953 | 1.4693 | 884 | 100 | 0
2020-01-14 23:45:00 | 2.1993 | 274.322 | 2.5353 | 301.4467 | 2.5933 | 122.278 | 2.4933 | 11.0193 | 1.516 | 884 | 100 | 0