## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-15 00:00:00 | 2.8193 | 112.7221 | 3.2471 | 123.8686 | 3.08 | 9.2971 | 3.035 | 18.7129 | 1.4793 | 884 | 100 | 0.25786
2020-01-15 00:15:00 | 3.06 | 113.3687 | 3.518 | 124.576 | 3.806 | 128.94 | 3.7827 | 16.97 | 1.408 | 884 | 100 | 1.97
2020-01-15 00:30:00 | 2.7867 | 245.5 | 3.2027 | 269.7793 | 4.044 | 130.58 | 4.0427 | 24.2327 | 1.3487 | 884 | 100 | 3.3253
2020-01-15 00:45:00 | 3.0093 | 211.646 | 3.4607 | 232.5767 | 5.034 | 4.506 | 4.9847 | 13.9967 | 1.3187 | 884 | 100 | 4.074
2020-01-15 01:00:00 | 3.044 | 231.134 | 3.506 | 253.9867 | 5.124 | 125.9073 | 5.1413 | 10.7753 | 1.3087 | 884 | 100 | 4.77
2020-01-15 01:15:00 | 3.2507 | 71.3273 | 3.7453 | 78.376 | 5.1413 | 148.5627 | 5.1233 | 102.926 | 1.264 | 884 | 100 | 6.008
2020-01-15 01:30:00 | 3.2613 | 141.4887 | 3.7587 | 155.4753 | 5.63 | 12.3973 | 5.73 | 15.156 | 1.2567 | 884 | 100 | 7.356
2020-01-15 01:45:00 | 3.502 | 311.984 | 4.03 | 342.8333 | 5.6633 | 10.6967 | 5.6967 | 15.8993 | 1.2313 | 884 | 100 | 7.8087
2020-01-15 02:00:00 | 3.044 | 102.2373 | 3.5 | 112.342 | 5.306 | 7.6287 | 5.506 | 13.7793 | 1.224 | 884 | 100 | 7.5853
2020-01-15 02:15:00 | 3.2627 | 60.8627 | 3.7527 | 66.876 | 5.292 | 140.0727 | 5.2307 | 129.524 | 1.2013 | 884 | 100 | 7.0213
2020-01-15 02:30:00 | 2.8873 | 275.372 | 3.3227 | 302.5987 | 4.904 | 191.06 | 4.64 | 125.1187 | 1.2327 | 884 | 100 | 5.1307
2020-01-15 02:45:00 | 3.0367 | 22.5607 | 3.492 | 24.7827 | 4.9107 | 259.1073 | 4.5713 | 3.824 | 1.2447 | 884 | 100 | 4.976
2020-01-15 03:00:00 | 3.098 | 198.046 | 3.562 | 217.6327 | 5.3687 | 2.462 | 4.95 | 5.9047 | 1.2687 | 884 | 100 | 5.9033
2020-01-15 03:15:00 | 3.192 | 148.278 | 3.6747 | 162.9373 | 5.4867 | 156.2167 | 5.254 | 5.616 | 1.28 | 883.6667 | 100 | 6.7087
2020-01-15 03:30:00 | 3.7147 | 204.9413 | 4.2713 | 225.2093 | 5.498 | 73.7427 | 5.0933 | 12.3787 | 1.2187 | 883 | 100 | 6.9433
2020-01-15 03:45:00 | 3.534 | 118.7813 | 4.0693 | 130.5287 | 6.2393 | 1.4147 | 5.6593 | 10.1933 | 1.2107 | 883.9333 | 100 | 7.8413
2020-01-15 04:00:00 | 3.69 | 154.674 | 4.2447 | 169.9667 | 6.662 | 131.3713 | 6.1033 | 128.966 | 1.1787 | 884 | 100 | 8.3107
2020-01-15 04:15:00 | 3.7227 | 269.2873 | 4.284 | 295.9173 | 6.6947 | 49.6633 | 5.9513 | 11.3827 | 1.1433 | 884 | 100 | 7.946
2020-01-15 04:30:00 | 3.6333 | 63.3287 | 4.182 | 69.5893 | 5.9327 | 74.944 | 5.6093 | 13.03 | 1.1133 | 883.4 | 100 | 8.2287
2020-01-15 04:45:00 | 3.4447 | 187.548 | 3.96 | 206.0947 | 5.8153 | 47.9893 | 5.5067 | 15.7527 | 1.1373 | 883 | 100 | 7.9227
2020-01-15 05:00:00 | 3.7967 | 116.236 | 4.3647 | 127.726 | 5.7667 | 292.1933 | 5.444 | 12.132 | 1.152 | 883 | 100 | 7.7527
2020-01-15 05:15:00 | 3.9987 | 11.8493 | 4.5987 | 13.012 | 5.92 | 343.5933 | 5.37 | 53.0007 | 1.144 | 883 | 100 | 7.478
2020-01-15 05:30:00 | 3.444 | 237.4173 | 3.9693 | 260.894 | 6.1333 | 234.27 | 5.79 | 75.4327 | 1.1827 | 883 | 100 | 7.544
2020-01-15 05:45:00 | 3.7647 | 75.326 | 4.3293 | 82.7707 | 6.3213 | 240 | 5.748 | 8.916 | 1.166 | 883 | 100 | 7.666
2020-01-15 06:00:00 | 3.6873 | 107.5673 | 4.25 | 118.1993 | 6.5447 | 119.0667 | 6.0853 | 169.398 | 1.166 | 883 | 100 | 7.5753
2020-01-15 06:15:00 | 3.7333 | 182.2833 | 4.3 | 200.3067 | 6.472 | 210.5053 | 6.0133 | 169.704 | 1.144 | 883.9333 | 100 | 15.2293
2020-01-15 06:30:00 | 3.92 | 188.9147 | 4.5073 | 207.5933 | 6.4493 | 277.8227 | 6.1287 | 10.6833 | 1.1507 | 884 | 100 | 22.1293
2020-01-15 06:45:00 | 3.9707 | 114.298 | 4.574 | 125.5967 | 6.2613 | 76.4973 | 6.1453 | 16.8553 | 1.1067 | 884 | 100 | 22.8507
2020-01-15 07:00:00 | 4.1933 | 86.732 | 4.8227 | 95.3053 | 6.5307 | 283.9793 | 6.5227 | 100.6333 | 1.084 | 884 | 100 | 24.2733
2020-01-15 07:15:00 | 4.0373 | 214.8353 | 4.6433 | 236.0827 | 7.0627 | 77.72 | 7.0347 | 12.2373 | 1.0807 | 884 | 100 | 23.592
2020-01-15 07:30:00 | 3.698 | 164.6333 | 4.2533 | 180.9133 | 6.5533 | 53.0233 | 6.5487 | 129.532 | 1.0653 | 884 | 100 | 22.5247
2020-01-15 07:45:00 | 3.756 | 165.9793 | 4.3247 | 182.3927 | 6.5173 | 195.9613 | 6.438 | 7.6093 | 1.058 | 884 | 100 | 22.6467
2020-01-15 08:00:00 | 3.87 | 98.4253 | 4.454 | 108.154 | 6.7633 | 119.5453 | 6.7333 | 12.1567 | 1.0687 | 884 | 100 | 23.2273
2020-01-15 08:15:00 | 3.928 | 228.7707 | 4.5207 | 251.3867 | 6.9573 | 125.78 | 6.6267 | 125.36 | 1.074 | 884.2667 | 100 | 22.7433
2020-01-15 08:30:00 | 3.8247 | 275.5567 | 4.4073 | 302.808 | 6.582 | 47.5633 | 6.518 | 9.796 | 1.1027 | 885 | 100 | 21.9787
2020-01-15 08:45:00 | 3.744 | 113.8073 | 4.3113 | 125.0547 | 6.2813 | 353.3 | 6.2633 | 126.036 | 1.0993 | 885 | 100 | 21.7613
2020-01-15 09:00:00 | 3.7573 | 84.0673 | 4.324 | 92.374 | 6.5093 | 191.066 | 6.4033 | 7.664 | 1.0747 | 885 | 100 | 20.918
2020-01-15 09:15:00 | 3.73 | 260.2373 | 4.292 | 285.9747 | 6.344 | 115.3587 | 6.4353 | 13.0733 | 1.1107 | 885 | 100 | 24.574
2020-01-15 09:30:00 | 4.1807 | 176.29 | 4.8167 | 193.722 | 6.5 | 125.456 | 6.6313 | 9.9573 | 1.1027 | 885 | 100 | 24.094
2020-01-15 09:45:00 | 3.9387 | 154.7913 | 4.54 | 170.0967 | 6.502 | 49.0127 | 6.5087 | 9.404 | 1.1207 | 885 | 100 | 24.2653
2020-01-15 10:00:00 | 3.9127 | 204.4313 | 4.5047 | 224.65 | 6.5507 | 185.83 | 6.5207 | 9.7233 | 1.142 | 885 | 100 | 23.9913
2020-01-15 10:15:00 | 4.012 | 118.9173 | 4.62 | 130.6767 | 6.8607 | 166.32 | 6.8807 | 11.76 | 1.21 | 885 | 100 | 23.5767
2020-01-15 10:30:00 | 3.7773 | 152.468 | 4.3467 | 167.5467 | 6.8567 | 88.688 | 6.5613 | 12.6667 | 1.268 | 885 | 100 | 22.2633
2020-01-15 10:45:00 | 4.088 | 286.556 | 4.7007 | 314.8933 | 7.01 | 56.4153 | 6.4687 | 9.6907 | 1.3307 | 886 | 100 | 23.392
2020-01-15 11:00:00 | 3.9387 | 207.4253 | 4.5307 | 227.9367 | 6.4467 | 100.4507 | 5.9947 | 88.6593 | 1.364 | 886 | 100 | 22.7413
2020-01-15 11:15:00 | 4.452 | 71.6767 | 5.13 | 78.7627 | 6.7447 | 8.1093 | 6.4493 | 15.596 | 1.3233 | 886 | 100 | 22.8547
2020-01-15 11:30:00 | 4.394 | 149.6507 | 5.0573 | 164.4407 | 6.7773 | 17.596 | 6.836 | 25.2327 | 1.318 | 886 | 100 | 21.436
2020-01-15 11:45:00 | 4.1667 | 194.4467 | 4.7947 | 213.67 | 6.6913 | 51.5507 | 6.254 | 22.172 | 1.3467 | 886 | 100 | 20.6093
2020-01-15 12:00:00 | 3.9273 | 131.7867 | 4.518 | 144.8127 | 6.4007 | 299.7987 | 6.156 | 11.0207 | 1.4007 | 886 | 100 | 19.9247
2020-01-15 12:15:00 | 3.586 | 113.888 | 4.1287 | 125.1487 | 6.222 | 120.4093 | 6.1207 | 12.8867 | 1.4673 | 886 | 100 | 21.5053
2020-01-15 12:30:00 | 3.9647 | 167.49 | 4.5667 | 184.052 | 6.6693 | 120.2853 | 6.6487 | 104.2707 | 1.4833 | 886 | 100 | 23.756
2020-01-15 12:45:00 | 4.5113 | 181.0973 | 5.1873 | 199.01 | 7.3693 | 128.0533 | 7.0473 | 16.4407 | 1.4567 | 885.0667 | 100 | 25.1573
2020-01-15 13:00:00 | 4.7173 | 254.9273 | 5.4293 | 280.1427 | 8.126 | 21.0647 | 7.8753 | 19.0667 | 1.4473 | 885 | 100 | 26.1053
2020-01-15 13:15:00 | 4.9207 | 116.8527 | 5.6653 | 128.4027 | 8.216 | 25.2093 | 8.0133 | 20.01 | 1.4853 | 885 | 100 | 27.9473
2020-01-15 13:30:00 | 4.8867 | 91.1473 | 5.6213 | 100.156 | 8.144 | 16.0093 | 7.726 | 23.6887 | 1.6233 | 884.4 | 100 | 27.2353
2020-01-15 13:45:00 | 4.7947 | 53.5987 | 5.514 | 58.8953 | 8.348 | 16.7873 | 7.6627 | 22.398 | 1.5953 | 884 | 100 | 26.5033
2020-01-15 14:00:00 | 5.328 | 170.5087 | 6.1313 | 187.3633 | 9.4933 | 15.776 | 8.964 | 21.7007 | 1.5693 | 884 | 100 | 27.2787
2020-01-15 14:15:00 | 5.1687 | 138.8447 | 5.948 | 152.57 | 9.2433 | 17.6927 | 8.8533 | 21.382 | 1.632 | 884 | 100 | 27.7907
2020-01-15 14:30:00 | 5.4693 | 67.8193 | 6.294 | 74.5247 | 9.0427 | 13.9633 | 8.5573 | 18.8407 | 1.6353 | 884 | 100 | 27.3673
2020-01-15 14:45:00 | 5.4273 | 124.7727 | 6.244 | 137.1087 | 9.286 | 13.8513 | 8.814 | 21.5133 | 1.5467 | 884 | 100 | 31.1867
2020-01-15 15:00:00 | 5.7007 | 43.5187 | 6.5593 | 47.8233 | 9.6607 | 12.546 | 9.3407 | 15.868 | 1.4793 | 884 | 100 | 30.374
2020-01-15 15:15:00 | 5.38 | 144.224 | 6.1907 | 158.4867 | 8.6913 | 17.5107 | 8.4827 | 15.7673 | 1.538 | 884 | 100 | 31.426
2020-01-15 15:30:00 | 5.87 | 251.844 | 6.7513 | 276.7467 | 9.3873 | 10.414 | 9.098 | 125.2367 | 1.5333 | 884 | 99.5133 | 32.506
2020-01-15 15:45:00 | 6.264 | 199.2353 | 7.2093 | 218.9367 | 10.258 | 12.8327 | 9.5853 | 126.2647 | 1.5127 | 884 | 98.94 | 35.3633
2020-01-15 16:00:00 | 6.5107 | 175.114 | 7.5 | 192.4307 | 11.202 | 12.7733 | 10.7587 | 21.924 | 1.5027 | 884 | 98.84 | 36.1387
2020-01-15 16:15:00 | 6.8427 | 88.7433 | 7.8693 | 97.5133 | 11.4967 | 18.412 | 10.8 | 17.6427 | 1.4267 | 885 | 98.62 | 36.7747
2020-01-15 16:30:00 | 6.566 | 129.71 | 7.554 | 142.532 | 11.4413 | 17.6973 | 10.9053 | 17.34 | 1.3453 | 885 | 98.5 | 36.634
2020-01-15 16:45:00 | 5.818 | 131.3693 | 6.6933 | 144.36 | 10.8247 | 15.332 | 10.576 | 19.0587 | 1.3933 | 885 | 98.54 | 37.062
2020-01-15 17:00:00 | 5.454 | 125.1053 | 6.272 | 137.4767 | 10.06 | 12.8447 | 9.5547 | 13.654 | 1.3793 | 885 | 98.42 | 35.4187
2020-01-15 17:15:00 | 5.86 | 17.6413 | 6.7433 | 19.3787 | 10.3387 | 12.2967 | 9.8967 | 16.748 | 1.3053 | 885 | 97.7667 | 34.7467
2020-01-15 17:30:00 | 5.754 | 125.192 | 6.6213 | 137.572 | 10.368 | 17.2673 | 9.92 | 22.936 | 1.2393 | 885 | 97.6 | 34.3447
2020-01-15 17:45:00 | 6.0533 | 113.8473 | 6.9613 | 125.1073 | 10.512 | 13.926 | 10.2773 | 20.0753 | 1.24 | 885.9333 | 97.0933 | 35.5647
2020-01-15 18:00:00 | 6.7347 | 162.9453 | 7.7507 | 179.0633 | 11.7393 | 16.4007 | 11.308 | 17.4627 | 1.2313 | 886 | 96.1933 | 36.208
2020-01-15 18:15:00 | 6.7573 | 152.7673 | 7.7713 | 167.8733 | 11.5693 | 19.9247 | 10.976 | 12.16 | 1.2507 | 886 | 95.6467 | 37.0193
2020-01-15 18:30:00 | 6.6507 | 125.856 | 7.6533 | 138.2987 | 10.64 | 23.364 | 10.4167 | 151.1533 | 1.3253 | 886 | 94.46 | 38.5333
2020-01-15 18:45:00 | 6.9873 | 71.954 | 8.0387 | 79.0667 | 11.496 | 13.658 | 11.3873 | 22.5913 | 1.3667 | 886 | 93.4867 | 39.2427
2020-01-15 19:00:00 | 7.604 | 215.6687 | 8.7473 | 236.9933 | 13.1413 | 7.0113 | 12.67 | 14.4153 | 1.4273 | 886 | 92.6267 | 39.6627
2020-01-15 19:15:00 | 7.3707 | 168.8613 | 8.48 | 185.5533 | 12.6747 | 12.304 | 12.3807 | 17.418 | 1.5233 | 886 | 91.4667 | 38.2533
2020-01-15 19:30:00 | 6.6487 | 123.5487 | 7.654 | 135.7633 | 11.9353 | 9.594 | 11.7807 | 15.5327 | 1.5833 | 886.6 | 90.4533 | 37.2567
2020-01-15 19:45:00 | 6.6907 | 189.196 | 7.702 | 207.9 | 11.9773 | 3.3853 | 11.7867 | 20.232 | 1.6067 | 887 | 90.1267 | 36.9573
2020-01-15 20:00:00 | 6.688 | 127.3793 | 7.6993 | 139.974 | 12.2433 | 13.4313 | 11.9567 | 19.0047 | 1.6 | 887 | 90.2067 | 39.2
2020-01-15 20:15:00 | 7.1293 | 155.0333 | 8.2073 | 170.366 | 12.3593 | 7.8647 | 12.1167 | 22.2447 | 1.6487 | 887 | 89.46 | 42.936
2020-01-15 20:30:00 | 7.5007 | 123.2227 | 8.6307 | 135.4087 | 13.0233 | 7.0367 | 12.6707 | 17.2227 | 1.6407 | 887.6667 | 89.3533 | 43.9133
2020-01-15 20:45:00 | 8.358 | 119.4253 | 9.622 | 131.2333 | 14.6033 | 10.1413 | 14.1873 | 18.4587 | 1.6867 | 888 | 88.5467 | 43.2593
2020-01-15 21:00:00 | 7.822 | 219.0913 | 9.002 | 240.7547 | 14.452 | 12.5133 | 14.278 | 21.3893 | 1.6827 | 888 | 88.7933 | 43.0807
2020-01-15 21:15:00 | 7.784 | 143.11 | 8.956 | 157.2587 | 14.0873 | 9.928 | 13.8147 | 16.9533 | 1.6627 | 888 | 89.16 | 43.9947
2020-01-15 21:30:00 | 7.5467 | 209.4673 | 8.6847 | 230.1767 | 13.634 | 14.41 | 13.1993 | 12.544 | 1.7213 | 888 | 88.8267 | 43.3953
2020-01-15 21:45:00 | 7.1353 | 210.3647 | 8.2067 | 231.16 | 13.128 | 13.2593 | 13.0387 | 19.5467 | 1.786 | 888.3333 | 88.6733 | 42.672
2020-01-15 22:00:00 | 6.5433 | 172.4867 | 7.5253 | 189.536 | 12.3007 | 13.6487 | 12.612 | 21.6527 | 1.7227 | 889 | 89.7667 | 43.06
2020-01-15 22:15:00 | 6.3147 | 156.9567 | 7.2707 | 172.474 | 11.554 | 8.1387 | 11.6287 | 19.0813 | 1.7767 | 889 | 89.1733 | 39.584
2020-01-15 22:30:00 | 7.0813 | 167.9913 | 8.15 | 184.5967 | 12.4507 | 10.9213 | 12.1653 | 17.5553 | 1.836 | 889 | 88.6067 | 39.1973
2020-01-15 22:45:00 | 6.714 | 148.0647 | 7.7207 | 162.708 | 12.1827 | 13.9827 | 12.0633 | 20.696 | 1.878 | 889 | 88.7467 | 39.3387
2020-01-15 23:00:00 | 6.9167 | 109.646 | 7.954 | 120.4853 | 12.862 | 15.3767 | 13.1367 | 20.6413 | 1.852 | 889 | 88.6067 | 42.894
2020-01-15 23:15:00 | 7.1613 | 87.0927 | 8.242 | 95.7053 | 12.718 | 9.8053 | 12.7067 | 16.0193 | 1.9367 | 889 | 88.14 | 42.5033
2020-01-15 23:30:00 | 6.852 | 57.036 | 7.8853 | 62.6667 | 11.2853 | 144.442 | 10.958 | 144.204 | 2.032 | 889 | 87.82 | 41.2733
2020-01-15 23:45:00 | 6.6953 | 78.2747 | 7.7047 | 86.0047 | 11.156 | 14.2233 | 10.872 | 14.002 | 2.0833 | 889 | 87.5067 | 41.9827