## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-16 00:00:00 | 6.5529 | 59.7536 | 7.5393 | 65.6564 | 10.82 | 7.0129 | 10.5336 | 16.1393 | 2.0829 | 889.5 | 87.56 | 42.1721
2020-01-16 00:15:00 | 6.5473 | 152.198 | 7.5367 | 167.2453 | 11.4333 | 14.5347 | 11.0527 | 16.996 | 2.066 | 889.0667 | 87.6933 | 41.2167
2020-01-16 00:30:00 | 6.13 | 56.254 | 7.0547 | 61.8153 | 11.126 | 15.38 | 10.9567 | 17.1727 | 1.946 | 889 | 88.5 | 38.9707
2020-01-16 00:45:00 | 5.5453 | 270.216 | 6.3867 | 296.9327 | 10.1133 | 8.524 | 10.17 | 15.0667 | 1.87 | 889 | 88.32 | 39.1033
2020-01-16 01:00:00 | 6.0973 | 265.6327 | 7.0153 | 291.9 | 10.424 | 7.2813 | 10.0633 | 17.658 | 1.994 | 889 | 87.3667 | 40.1753
2020-01-16 01:15:00 | 5.9833 | 194.556 | 6.8853 | 213.796 | 10.3787 | 11.982 | 10.0587 | 10.6993 | 1.95 | 889 | 87.3533 | 40.746
2020-01-16 01:30:00 | 6.22 | 53.0967 | 7.1587 | 58.344 | 10.37 | 14.5873 | 9.9527 | 8.418 | 1.778 | 889 | 87.4667 | 40.7767
2020-01-16 01:45:00 | 5.8413 | 236.1127 | 6.7207 | 259.4573 | 9.7767 | 9.3973 | 9.314 | 6.0147 | 1.6453 | 889 | 87.92 | 38.484
2020-01-16 02:00:00 | 5.696 | 252.9207 | 6.56 | 277.936 | 10.412 | 13.4573 | 10.242 | 19.6367 | 1.47 | 889 | 88.4667 | 37.9167
2020-01-16 02:15:00 | 4.9933 | 164.1973 | 5.7473 | 180.4333 | 9.2887 | 18.85 | 9.7573 | 22.4613 | 1.0953 | 889 | 89.54 | 35.9213
2020-01-16 02:30:00 | 4.406 | 206.474 | 5.0753 | 226.8933 | 8.5107 | 19.0953 | 8.9913 | 21.732 | 0.71467 | 889 | 90.86 | 31.388
2020-01-16 02:45:00 | 4.3587 | 218.84 | 5.016 | 240.4867 | 8.2493 | 15.4387 | 9.0173 | 23.374 | 0.434 | 889 | 92.1333 | 28.2107
2020-01-16 03:00:00 | 4.2553 | 106.5487 | 4.9007 | 117.0867 | 8.1347 | 14.4213 | 8.8147 | 21.4007 | 0.35267 | 889 | 92.3133 | 32.3693
2020-01-16 03:15:00 | 4.54 | 164.1367 | 5.22 | 180.3667 | 8.3793 | 15.7753 | 9.066 | 23.7427 | 0.19267 | 889 | 92.8133 | 30.784
2020-01-16 03:30:00 | 4.188 | 140.366 | 4.82 | 154.244 | 7.8993 | 16.9767 | 8.1687 | 18.7333 | 0.015333 | 889 | 93.7 | 29.586
2020-01-16 03:45:00 | 4.1493 | 18.2347 | 4.776 | 20.0353 | 7.6467 | 15.6407 | 8.4147 | 28.5333 | 0 | 889 | 94.0133 | 27.932
2020-01-16 04:00:00 | 4.152 | 173.8653 | 4.7787 | 191.064 | 7.7907 | 17.9727 | 8.548 | 23.936 | -0.106 | 889 | 94.12 | 26.8947
2020-01-16 04:15:00 | 4.2653 | 176.8727 | 4.9067 | 194.36 | 7.6547 | 10.8207 | 8.0487 | 18.6587 | -0.064 | 889 | 94.0133 | 22.2687
2020-01-16 04:30:00 | 3.7493 | 136.1573 | 4.3167 | 149.6233 | 6.3933 | 15.8047 | 6.634 | 22.2193 | -0.01 | 889 | 93.4467 | 18.4
2020-01-16 04:45:00 | 3.0853 | 114.5147 | 3.5493 | 125.8373 | 4.4787 | 107.5013 | 4.6067 | 13.66 | 0.072 | 888.6667 | 92.9067 | 20.3833
2020-01-16 05:00:00 | 3.4847 | 66.4393 | 4.0127 | 73.006 | 5.0887 | 182.4027 | 5.0673 | 39.0433 | 0.084667 | 888 | 92.46 | 22.4393
2020-01-16 05:15:00 | 3.5347 | 163.3393 | 4.066 | 179.49 | 5.7533 | 346.58 | 5.6527 | 160.0773 | -0.008 | 888 | 92.4533 | 24.7433
2020-01-16 05:30:00 | 3.8193 | 49.8527 | 4.3947 | 54.7807 | 6.0247 | 265.82 | 5.78 | 163.1947 | -0.062 | 888 | 92.6467 | 23.6653
2020-01-16 05:45:00 | 3.8187 | 154.7073 | 4.3987 | 170.0033 | 6.624 | 340.82 | 6.214 | 20.0527 | -0.274 | 888 | 93.62 | 23.9387
2020-01-16 06:00:00 | 3.7013 | 82.8027 | 4.2573 | 90.9867 | 6.5547 | 238.15 | 6.3387 | 4.5953 | -0.376 | 888 | 93.92 | 24.762
2020-01-16 06:15:00 | 4.298 | 227.5153 | 4.9407 | 250.016 | 6.9207 | 215.6107 | 6.6327 | 12.9607 | -0.344 | 888 | 93.46 | 27.1587
2020-01-16 06:30:00 | 4.2993 | 101.9133 | 4.9453 | 111.988 | 6.5127 | 84.674 | 6.4947 | 16.2667 | -0.31667 | 888.6667 | 93.2267 | 27.4093
2020-01-16 06:45:00 | 4.1927 | 157.7447 | 4.8247 | 173.3393 | 6.5193 | 52.8293 | 6.4793 | 13.2833 | -0.47333 | 888.3333 | 93.9467 | 23.594
2020-01-16 07:00:00 | 3.652 | 61.066 | 4.2 | 67.1027 | 6.302 | 73.4627 | 6.3067 | 13.6173 | -0.616 | 889 | 94.32 | 20.0373
2020-01-16 07:15:00 | 3.596 | 19.3627 | 4.136 | 21.276 | 6.0747 | 122.5193 | 6.06 | 11.672 | -0.706 | 889 | 94.7667 | 18.1533
2020-01-16 07:30:00 | 3.9647 | 243.094 | 4.5607 | 267.1353 | 6.99 | 168.488 | 6.5807 | 14.268 | -0.76867 | 889 | 94.62 | 20.496
2020-01-16 07:45:00 | 4.2747 | 307.0127 | 4.9207 | 337.38 | 7.488 | 195.8167 | 7.0547 | 10.8627 | -0.758 | 889 | 94.4 | 22.2047
2020-01-16 08:00:00 | 4.4693 | 207.342 | 5.1373 | 227.8467 | 7.3907 | 49.9167 | 7.2987 | 11.198 | -0.61533 | 889 | 93.74 | 20.978
2020-01-16 08:15:00 | 3.7527 | 221.15 | 4.316 | 243.0167 | 6.3867 | 187.378 | 6.3093 | 124.3027 | -0.57 | 889 | 93.1467 | 19.8253
2020-01-16 08:30:00 | 3.7793 | 188.774 | 4.3513 | 207.438 | 6.1733 | 19.8913 | 6.34 | 12.5367 | -0.58333 | 889 | 93.6067 | 19.0553
2020-01-16 08:45:00 | 3.736 | 203.5007 | 4.298 | 223.6187 | 6.1193 | 11.6813 | 6.2927 | 15.0073 | -0.27933 | 890 | 92.86 | 18.758
2020-01-16 09:00:00 | 3.7833 | 251.9007 | 4.356 | 276.8107 | 6.3547 | 10.9187 | 6.6427 | 10.816 | 0.138 | 890 | 91.3333 | 19.564
2020-01-16 09:15:00 | 3.7973 | 74.458 | 4.3713 | 81.8147 | 6.4353 | 8.1727 | 6.9293 | 21.734 | 0.658 | 890.9333 | 89.92 | 20.4013
2020-01-16 09:30:00 | 3.7573 | 64.954 | 4.3233 | 71.3753 | 5.986 | 16.7 | 6.4033 | 19.7773 | 0.91733 | 891 | 88.8533 | 25.212
2020-01-16 09:45:00 | 3.516 | 308.1787 | 4.0433 | 338.6467 | 6.1293 | 60.9087 | 6.3433 | 16.2553 | 1.2787 | 892 | 88.38 | 29.6413
2020-01-16 10:00:00 | 4.28 | 122.0567 | 4.9247 | 134.1267 | 6.9433 | 85.7007 | 7.2367 | 13.026 | 1.8627 | 892 | 85.6867 | 28.5673
2020-01-16 10:15:00 | 4.738 | 70.8547 | 5.4527 | 77.8633 | 7.5213 | 13.672 | 7.4987 | 23.1927 | 2.15 | 892 | 84.0467 | 19.674
2020-01-16 10:30:00 | 4.434 | 113.634 | 5.102 | 124.87 | 6.698 | 9.4827 | 6.7353 | 22.4953 | 2.4213 | 892 | 83.5267 | 15.6767
2020-01-16 10:45:00 | 4.2673 | 51.6107 | 4.906 | 56.71 | 7.2133 | 12.528 | 6.9893 | 14.87 | 3.6047 | 892 | 79.0327 | 15.244
2020-01-16 11:00:00 | 3.8833 | 94.9353 | 4.4667 | 104.32 | 6.0773 | 14.932 | 6.0693 | 16.3 | 3.7487 | 892.6 | 77.6973 | 10.662
2020-01-16 11:15:00 | 3.8433 | 66.506 | 4.422 | 73.0853 | 6.192 | 14.482 | 6.0007 | 15.1173 | 3.844 | 893 | 77.8573 | 8.4393
2020-01-16 11:30:00 | 3.7547 | 240.8647 | 4.322 | 264.6847 | 6.0367 | 20.3267 | 5.9233 | 61.726 | 4.03 | 893 | 76.032 | 7.83
2020-01-16 11:45:00 | 3.9253 | 270.3327 | 4.5153 | 297.0627 | 6.1813 | 14.8167 | 6.052 | 82.3013 | 4.5847 | 892.0667 | 73.0413 | 10.5047
2020-01-16 12:00:00 | 4.6647 | 125.4907 | 5.3673 | 137.8927 | 7.37 | 16.89 | 7.208 | 18.4473 | 4.8247 | 892.6667 | 71.2507 | 11.142
2020-01-16 12:15:00 | 4.428 | 217.414 | 5.0993 | 238.9073 | 6.9073 | 25.83 | 6.542 | 15.87 | 5.2833 | 892.0667 | 67.8933 | 8.1327
2020-01-16 12:30:00 | 4.3133 | 23.014 | 4.9627 | 25.286 | 6.346 | 18.3587 | 5.946 | 12.1373 | 5.274 | 892 | 68.0853 | 6.7007
2020-01-16 12:45:00 | 3.99 | 119.3953 | 4.59 | 131.1967 | 6.4973 | 10.3153 | 6.0613 | 18.1587 | 6.21 | 892 | 64.898 | 7.852
2020-01-16 13:00:00 | 4.3733 | 22.4913 | 5.0293 | 24.7113 | 6.398 | 8.486 | 5.97 | 11.6293 | 6.1947 | 892 | 63.042 | 10.1667
2020-01-16 13:15:00 | 4.5593 | 157.3627 | 5.2487 | 172.9233 | 6.5827 | 14.6727 | 6.2587 | 14.2593 | 6.1213 | 891.7333 | 62.588 | 10.5687
2020-01-16 13:30:00 | 4.5387 | 208.6147 | 5.2327 | 229.25 | 7.8047 | 10.7947 | 7.3207 | 9.0267 | 7.0813 | 891 | 59.2187 | 10.0727
2020-01-16 13:45:00 | 4.396 | 111.1807 | 5.056 | 122.1767 | 7.576 | 14.982 | 6.9213 | 26.2887 | 8.148 | 891 | 54.9713 | 7.3047
2020-01-16 14:00:00 | 3.796 | 123.014 | 4.3667 | 135.178 | 6.4733 | 22.7727 | 6.422 | 32.2087 | 8.652 | 891 | 53.3547 | 4.9107
2020-01-16 14:15:00 | 3.5347 | 143.444 | 4.0693 | 157.6267 | 6.0887 | 23.1727 | 5.8267 | 19.5527 | 9.3493 | 891 | 51.87 | 3.704
2020-01-16 14:30:00 | 3.5127 | 217.4673 | 4.0433 | 238.97 | 6.2473 | 15.3987 | 5.806 | 14.4193 | 9.9647 | 891 | 49.848 | 2.9987
2020-01-16 14:45:00 | 3.3627 | 96.1727 | 3.868 | 105.6813 | 5.9253 | 15.6233 | 5.588 | 17.53 | 10.45 | 891 | 47.9973 | 1.9853
2020-01-16 15:00:00 | 2.9 | 138.9027 | 3.3393 | 152.63 | 5.1853 | 18.3993 | 4.9567 | 23.378 | 10.1013 | 891 | 48.2687 | 0.91933
2020-01-16 15:15:00 | 2.634 | 289.8013 | 3.0313 | 318.4533 | 4.5813 | 14.654 | 4.4713 | 12.6507 | 10.1007 | 891 | 47.5673 | 0.29467
2020-01-16 15:30:00 | 2.458 | 69.5433 | 2.8293 | 76.41 | 3.7473 | 15.324 | 3.712 | 17.3327 | 9.4913 | 891 | 48.1 | 0
2020-01-16 15:45:00 | 2.3587 | 178.9833 | 2.718 | 196.68 | 3.3887 | 17.012 | 3.1373 | 9.7613 | 8.7173 | 891 | 49.5607 | 0
2020-01-16 16:00:00 | 1.8107 | 65.36 | 2.0893 | 71.8167 | 2.8507 | 17.1167 | 2.6647 | 15.0827 | 9.284 | 891 | 48.1387 | 0
2020-01-16 16:15:00 | 1.8273 | 84.4173 | 2.11 | 92.756 | 2.7353 | 10.264 | 2.4933 | 8.1807 | 9.0027 | 891 | 47.9207 | 0
2020-01-16 16:30:00 | 1.8 | 48.2467 | 2.0747 | 53.012 | 2.656 | 169.7373 | 2.4527 | 286.484 | 8.5407 | 891 | 49.676 | 0
2020-01-16 16:45:00 | 1.816 | 120.3473 | 2.09 | 132.2447 | 2.778 | 235.8533 | 2.6327 | 348.9133 | 8.114 | 891 | 51.2327 | 0
2020-01-16 17:00:00 | 1.406 | 112.7213 | 1.6193 | 123.8613 | 2.584 | 347.24 | 2.4247 | 352.3467 | 7.9813 | 891 | 52.2567 | 0
2020-01-16 17:15:00 | 1.1973 | 107.714 | 1.3807 | 118.358 | 2.014 | 306.0667 | 2.0227 | 189.9607 | 7.5407 | 891 | 52.786 | 0
2020-01-16 17:30:00 | 1.1593 | 13.042 | 1.3347 | 14.3233 | 2.2393 | 7.566 | 2.0493 | 5.9773 | 6.988 | 891 | 54.5707 | 0
2020-01-16 17:45:00 | 1.0233 | 15.42 | 1.1793 | 16.938 | 2.022 | 12.7013 | 1.99 | 3.868 | 6.53 | 890.7333 | 56.9693 | 0
2020-01-16 18:00:00 | 0.98267 | 77.554 | 1.1313 | 85.2333 | 1.958 | 8.9867 | 2.012 | 12.738 | 5.912 | 890 | 58.7393 | 0
2020-01-16 18:15:00 | 0.95067 | 295.1267 | 1.0947 | 324.3133 | 1.8713 | 23.288 | 1.8 | 26.8573 | 5.4 | 890 | 60.1453 | 0
2020-01-16 18:30:00 | 1.0587 | 324.78 | 1.2253 | 356.9 | 2.078 | 121.35 | 2.106 | 12.432 | 5.048 | 890 | 61.34 | 0
2020-01-16 18:45:00 | 1.5967 | 284.6267 | 1.8447 | 312.7747 | 3.1553 | 24.9033 | 3.2333 | 7.1787 | 4.5687 | 890 | 63.7853 | 0
2020-01-16 19:00:00 | 2.3133 | 184.7927 | 2.6693 | 203.0653 | 4.486 | 15.892 | 4.8253 | 29.2633 | 4.4473 | 890 | 65.332 | 4.5033
2020-01-16 19:15:00 | 2.3927 | 236.6773 | 2.758 | 260.08 | 4.5633 | 13.9073 | 4.7967 | 29.0187 | 4.254 | 890 | 68.4507 | 8.288
2020-01-16 19:30:00 | 2.9253 | 259.4047 | 3.3687 | 285.0533 | 5.5487 | 13.946 | 5.9507 | 24.8153 | 3.9953 | 890 | 70.61 | 10.4207
2020-01-16 19:45:00 | 2.6393 | 124.4633 | 3.036 | 136.768 | 4.8607 | 54.376 | 5.0907 | 65.4347 | 3.828 | 890 | 71.526 | 10.92
2020-01-16 20:00:00 | 2.8447 | 149.9353 | 3.2767 | 164.7587 | 4.194 | 127.8433 | 4.2087 | 80.7267 | 3.92 | 890 | 70.8693 | 11.2113
2020-01-16 20:15:00 | 3.1453 | 182.712 | 3.62 | 200.7767 | 5.1393 | 72.412 | 5.2147 | 15.4967 | 3.8913 | 890.2667 | 70.764 | 11.6573
2020-01-16 20:30:00 | 3.2593 | 127.274 | 3.7507 | 139.854 | 5.6187 | 131.934 | 5.282 | 130.256 | 3.6353 | 891 | 72.0867 | 11.936
2020-01-16 20:45:00 | 3.1193 | 124.6733 | 3.592 | 137.0007 | 4.6393 | 60.284 | 4.6187 | 16.9687 | 3.548 | 891 | 72.8033 | 11.2367
2020-01-16 21:00:00 | 2.964 | 56.0647 | 3.4087 | 61.612 | 4.8707 | 192.3873 | 4.984 | 10.7467 | 3.312 | 891 | 73.9633 | 13.54
2020-01-16 21:15:00 | 3.1287 | 212.812 | 3.598 | 233.8567 | 5.408 | 237.9653 | 5.498 | 122.8413 | 3.0607 | 891 | 75.47 | 14.2813
2020-01-16 21:30:00 | 3.0693 | 255.1 | 3.5287 | 280.32 | 5.7373 | 117.684 | 5.5213 | 5.058 | 2.8073 | 891 | 76.8147 | 14.9253
2020-01-16 21:45:00 | 3.1387 | 147.084 | 3.6087 | 161.6233 | 5.828 | 0.73267 | 5.794 | 30.0267 | 2.748 | 891 | 77.1693 | 17.64
2020-01-16 22:00:00 | 3.4873 | 218.4953 | 4.0087 | 240.1067 | 6.2853 | 50.3273 | 6.1907 | 10.2667 | 2.6553 | 891 | 77.6807 | 21.3027
2020-01-16 22:15:00 | 3.8533 | 88.7527 | 4.4373 | 97.5267 | 6.818 | 117.7467 | 6.4873 | 31.2253 | 2.5147 | 891 | 78.344 | 27.6227
2020-01-16 22:30:00 | 4.0747 | 145.95 | 4.6913 | 160.382 | 7.126 | 238.26 | 6.794 | 123.378 | 2.2287 | 891 | 79.61 | 29.9267
2020-01-16 22:45:00 | 3.8747 | 108.33 | 4.4627 | 119.0447 | 6.432 | 308.1053 | 6.3507 | 123.1973 | 2.1067 | 891 | 80.2367 | 25.4933
2020-01-16 23:00:00 | 3.7667 | 144.2393 | 4.332 | 158.5067 | 6.7167 | 49.9047 | 6.6193 | 7.7573 | 1.8193 | 891 | 81.4133 | 27.9647
2020-01-16 23:15:00 | 3.1813 | 102.4867 | 3.6613 | 112.6193 | 6.0687 | 187.946 | 6.024 | 5.1747 | 1.6487 | 891 | 82.0467 | 24.5953
2020-01-16 23:30:00 | 3.2413 | 118.2573 | 3.728 | 129.948 | 5.9233 | 7.1293 | 5.9607 | 7.2027 | 1.3707 | 891 | 83.5533 | 24.854
2020-01-16 23:45:00 | 3.5047 | 144.9947 | 4.03 | 159.3327 | 6.1513 | 2.1713 | 6.1353 | 3.8293 | 1.1887 | 891 | 84.5 | 24.728