## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-17 00:00:00 | 3.725 | 180.8721 | 4.2879 | 198.7571 | 6.3114 | 3.985 | 6.105 | 7.8729 | 1.13 | 891 | 84.6923 | 27.1771
2020-01-17 00:15:00 | 3.616 | 116.6127 | 4.164 | 128.138 | 5.6093 | 9.2567 | 5.5507 | 9.9567 | 1.3407 | 891 | 83.56 | 26.7113
2020-01-17 00:30:00 | 3.6313 | 152.2933 | 4.1807 | 167.3487 | 6.1287 | 276.278 | 5.9127 | 6.9673 | 1.0573 | 891 | 84.8067 | 28.148
2020-01-17 00:45:00 | 3.702 | 165.9667 | 4.2607 | 182.3727 | 6.2253 | 115.4367 | 6.008 | 12.886 | 1.0187 | 891 | 85.0267 | 25.8393
2020-01-17 01:00:00 | 3.9153 | 59.0213 | 4.504 | 64.8607 | 6.6807 | 188.7253 | 6.3613 | 14.1413 | 0.93533 | 891 | 85.1933 | 23.99
2020-01-17 01:15:00 | 4.1653 | 167.0553 | 4.796 | 183.5713 | 6.9253 | 239.4147 | 6.488 | 4.2773 | 0.80067 | 891 | 85.86 | 27.0487
2020-01-17 01:30:00 | 4.2467 | 106.9873 | 4.8893 | 117.5607 | 7.236 | 166.1367 | 6.846 | 8.9493 | 0.79267 | 891 | 86.08 | 26.3873
2020-01-17 01:45:00 | 4.152 | 42.2613 | 4.776 | 46.438 | 6.5773 | 352.1733 | 6.358 | 11.1267 | 0.784 | 891 | 86.3933 | 26.1713
2020-01-17 02:00:00 | 3.918 | 161.3547 | 4.5107 | 177.308 | 6.8473 | 230.904 | 6.516 | 8.9867 | 0.57867 | 891 | 87.36 | 27.6813
2020-01-17 02:15:00 | 4.0907 | 78.7127 | 4.7067 | 86.4927 | 6.7093 | 8.6893 | 6.5233 | 12.6807 | 0.54267 | 890 | 87.7467 | 29.43
2020-01-17 02:30:00 | 4.024 | 151.388 | 4.636 | 166.3573 | 6.6193 | 73.384 | 6.5847 | 14.7533 | 0.43533 | 890 | 88.3133 | 27.5033
2020-01-17 02:45:00 | 4.3613 | 122.9433 | 5.0227 | 135.1033 | 7.204 | 117.414 | 6.9173 | 11.544 | 0.34933 | 890 | 88.8 | 26.0787
2020-01-17 03:00:00 | 4.0067 | 171.3713 | 4.6087 | 188.3147 | 7.206 | 23.6513 | 7.01 | 34.4013 | 0.30467 | 890 | 88.98 | 26.546
2020-01-17 03:15:00 | 4.4667 | 101.7593 | 5.1487 | 111.8213 | 7.0753 | 121.6 | 7.0927 | 13.8747 | 0.28133 | 890 | 89.34 | 28.1927
2020-01-17 03:30:00 | 4.5407 | 149.5947 | 5.2287 | 164.3807 | 7.2733 | 56.8833 | 7.488 | 14.3493 | 0.24267 | 890 | 89.7867 | 31.238
2020-01-17 03:45:00 | 4.7733 | 126.2807 | 5.49 | 138.7667 | 7.496 | 83.2733 | 7.2907 | 15.722 | 0.33133 | 890 | 89.6933 | 29.816
2020-01-17 04:00:00 | 4.8147 | 199.6673 | 5.538 | 219.4067 | 7.236 | 5.178 | 7.1827 | 16.3207 | 0.61533 | 890 | 88.54 | 29.9367
2020-01-17 04:15:00 | 4.1853 | 165.0707 | 4.8133 | 181.3973 | 6.4373 | 30.476 | 6.5913 | 21.3767 | 0.59533 | 890 | 88.68 | 31.312
2020-01-17 04:30:00 | 4.26 | 208.3027 | 4.9053 | 228.898 | 6.8513 | 7.272 | 6.828 | 20.716 | 0.484 | 890 | 89.34 | 32.5367
2020-01-17 04:45:00 | 4.536 | 213.34 | 5.2187 | 234.4327 | 7.4987 | 7.9547 | 7.4867 | 12.5593 | 0.458 | 890 | 89.6667 | 31.7953
2020-01-17 05:00:00 | 4.652 | 100.5007 | 5.3587 | 110.4387 | 6.7713 | 126.8273 | 6.47 | 15.354 | 0.508 | 890 | 89.1733 | 31.6767
2020-01-17 05:15:00 | 4.586 | 82.1033 | 5.2773 | 90.2147 | 7.2993 | 6.5827 | 7.264 | 14.6267 | 0.496 | 890 | 89.22 | 31.9287
2020-01-17 05:30:00 | 4.3393 | 152.5947 | 4.9973 | 167.6787 | 6.912 | 3.6707 | 6.53 | 13.916 | 0.444 | 890 | 89.46 | 31.8067
2020-01-17 05:45:00 | 4.3953 | 115.1393 | 5.0587 | 126.5233 | 6.9907 | 116.4733 | 6.6767 | 16.4533 | 0.426 | 890 | 89.6 | 29.3613
2020-01-17 06:00:00 | 4.198 | 177.0133 | 4.834 | 194.5187 | 6.6967 | 8.214 | 6.712 | 129.468 | 0.39 | 890 | 89.8867 | 26.9927
2020-01-17 06:15:00 | 4.4633 | 107.6833 | 5.138 | 118.326 | 7.092 | 13.922 | 7.1347 | 14.0787 | 0.32667 | 890 | 90.1533 | 26.23
2020-01-17 06:30:00 | 4.4487 | 18.2547 | 5.1253 | 20.0573 | 7.6593 | 10.8413 | 7.5293 | 17.07 | 0.23267 | 890 | 90.7 | 23.2113
2020-01-17 06:45:00 | 4.8067 | 7.7307 | 5.5407 | 8.496 | 7.4373 | 8.1553 | 6.968 | 148.412 | 0.18333 | 889.4 | 90.8867 | 18.9187
2020-01-17 07:00:00 | 4.0847 | 154.31 | 4.706 | 169.5707 | 6.99 | 20.5713 | 6.3833 | 2.9747 | 0.29067 | 890 | 90.3267 | 18.6473
2020-01-17 07:15:00 | 3.915 | 324.69 | 4.504 | 356.8 | 6.526 | 0.438 | 6.2 | 5.057 | 0.312 | 890 | 90.2 | 17.867
2020-01-17 07:30:00 | 3.56 | 217.3647 | 4.0927 | 238.8547 | 6.5747 | 284.8373 | 6.3067 | 192.538 | 0.29267 | 890 | 90.26 | 16.726
2020-01-17 07:45:00 | 3.4287 | 171.296 | 3.944 | 188.2307 | 6.0053 | 237.1347 | 5.6507 | 80.232 | 0.28333 | 890 | 89.8067 | 17.638
2020-01-17 08:00:00 | 3.528 | 247.222 | 4.0633 | 271.672 | 5.9573 | 352.2467 | 5.844 | 18.7267 | 0.24467 | 890 | 89.9933 | 17.1653
2020-01-17 08:15:00 | 3.6307 | 220.6233 | 4.1807 | 242.4433 | 6.194 | 235.3967 | 5.902 | 31.8853 | 0.30267 | 890 | 89.4133 | 19.4067
2020-01-17 08:30:00 | 4.3813 | 210.438 | 5.04 | 231.25 | 6.8 | 142.2533 | 6.4313 | 11.0993 | 0.42933 | 890.6 | 88.6533 | 21.9207
2020-01-17 08:45:00 | 4.338 | 256.1353 | 4.992 | 281.4627 | 6.99 | 161.1847 | 6.646 | 54.162 | 0.508 | 891 | 88.4 | 24.38
2020-01-17 09:00:00 | 4.2753 | 214.5553 | 4.9287 | 235.774 | 7.3133 | 238.128 | 7.0967 | 80.1853 | 0.586 | 891 | 88.2733 | 27.6
2020-01-17 09:15:00 | 4.3793 | 123.44 | 5.0473 | 135.6373 | 7.226 | 7.5907 | 7.3207 | 15.042 | 0.74733 | 891 | 87.6467 | 27.4567
2020-01-17 09:30:00 | 4.4213 | 12.244 | 5.0867 | 13.4507 | 7.3567 | 4.9647 | 7.376 | 17.164 | 0.88467 | 891 | 87.5267 | 26.554
2020-01-17 09:45:00 | 4.2753 | 72.7693 | 4.926 | 79.958 | 7.7827 | 9.5073 | 7.798 | 16.6447 | 2.042 | 892 | 83.9 | 26.428
2020-01-17 10:00:00 | 4.68 | 74.264 | 5.3853 | 81.6007 | 7.9433 | 11.7373 | 7.89 | 14.6327 | 3.0607 | 892 | 79.0167 | 25.844
2020-01-17 10:15:00 | 4.756 | 168.876 | 5.4753 | 185.5753 | 7.6573 | 16.974 | 7.2453 | 18.9207 | 2.8747 | 892.2667 | 79.206 | 22.346
2020-01-17 10:30:00 | 4.6867 | 116.8787 | 5.39 | 128.4353 | 7.0413 | 56.5767 | 6.5927 | 17.6767 | 2.98 | 893 | 78.7207 | 19.34
2020-01-17 10:45:00 | 4.576 | 11.5547 | 5.268 | 12.6907 | 6.4533 | 108.6653 | 6.2787 | 19.154 | 2.83 | 893 | 79.7913 | 15.274
2020-01-17 11:00:00 | 4.592 | 49.6993 | 5.286 | 54.6053 | 6.8087 | 11.9773 | 6.4887 | 16.0693 | 3.2427 | 893 | 78.3253 | 14.7273
2020-01-17 11:15:00 | 4.506 | 253.9187 | 5.18 | 279.0333 | 6.7727 | 6.1107 | 6.372 | 13.674 | 3.7553 | 893 | 75.5813 | 12.0267
2020-01-17 11:30:00 | 4.6047 | 57.6 | 5.2953 | 63.29 | 6.456 | 15.92 | 6.1887 | 21.328 | 3.5867 | 893 | 75.834 | 10.06
2020-01-17 11:45:00 | 4.3447 | 111.624 | 4.9993 | 122.6567 | 6.32 | 14.6407 | 6.01 | 17.1993 | 4.134 | 892.6667 | 73.9547 | 8.5793
2020-01-17 12:00:00 | 4.2087 | 82.6547 | 4.8447 | 90.824 | 6.0707 | 10.17 | 5.798 | 13.676 | 4.7467 | 892 | 71.0233 | 4.5193
2020-01-17 12:15:00 | 3.8473 | 25.23 | 4.4247 | 27.7207 | 5.268 | 11.33 | 4.7227 | 126.44 | 5.0833 | 892 | 69.4633 | 1.8673
2020-01-17 12:30:00 | 3.4413 | 7.7833 | 3.9613 | 8.546 | 4.7533 | 13.3113 | 4.4 | 11.9227 | 5.414 | 892 | 67.8087 | 0.62933
2020-01-17 12:45:00 | 3.098 | 57.0727 | 3.5627 | 62.7127 | 3.8847 | 13.1227 | 3.7073 | 132.0613 | 5.576 | 892 | 67.5173 | 0
2020-01-17 13:00:00 | 2.6667 | 82.48 | 3.0693 | 90.626 | 3.494 | 21.822 | 3.2313 | 9.0953 | 6.4153 | 891.3333 | 64.6147 | 0
2020-01-17 13:15:00 | 2.57 | 121.096 | 2.954 | 133.066 | 3.3133 | 24.3153 | 3.2027 | 10.6347 | 6.6807 | 891 | 62.946 | 0
2020-01-17 13:30:00 | 2.3513 | 16.204 | 2.706 | 17.8013 | 2.994 | 20.134 | 2.862 | 69.088 | 6.8747 | 891 | 62.274 | 0
2020-01-17 13:45:00 | 1.9793 | 115.6507 | 2.2787 | 127.0847 | 2.604 | 133.568 | 2.2933 | 117.0033 | 7.432 | 891 | 60.4507 | 0
2020-01-17 14:00:00 | 1.7047 | 148.8427 | 1.9693 | 163.5587 | 1.7787 | 286.3253 | 1.6473 | 326.44 | 7.328 | 891 | 59.2627 | 0
2020-01-17 14:15:00 | 0.866 | 174.308 | 0.99867 | 191.5467 | 0.93267 | 274.5333 | 0.91933 | 236.8533 | 7.7107 | 891 | 57.912 | 0
2020-01-17 14:30:00 | 1.704 | 145.8087 | 1.9693 | 160.22 | 1.9607 | 155.78 | 1.484 | 171.5733 | 7.8907 | 890.3333 | 59.724 | 0.11333
2020-01-17 14:45:00 | 2.178 | 134.6853 | 2.5047 | 148 | 2.452 | 169.9533 | 2.408 | 168.2867 | 7.7947 | 890 | 62.026 | 0.10467
2020-01-17 15:00:00 | 1.9613 | 143.5873 | 2.2633 | 157.78 | 2.224 | 154.7133 | 2.49 | 174.0667 | 8.1347 | 890 | 60.8087 | 0.202
2020-01-17 15:15:00 | 2.0527 | 161.6493 | 2.358 | 177.6333 | 2.466 | 209.62 | 2.5653 | 225.34 | 7.6427 | 890 | 62.734 | 0.36733
2020-01-17 15:30:00 | 2.206 | 170.086 | 2.5407 | 186.9 | 2.82 | 238.3667 | 2.6873 | 240.24 | 7.694 | 890 | 62.4047 | 0.089333
2020-01-17 15:45:00 | 2.4627 | 160.35 | 2.8367 | 176.2067 | 2.9773 | 218.7067 | 2.938 | 235.2733 | 8.3547 | 889.7333 | 59.4273 | 0.088667
2020-01-17 16:00:00 | 2.0987 | 177.92 | 2.4153 | 195.5133 | 2.81 | 242.58 | 2.8667 | 246.1133 | 7.6633 | 889 | 61.752 | 0.094667
2020-01-17 16:15:00 | 2.3373 | 188.9153 | 2.694 | 207.5933 | 3.2147 | 243.8667 | 3.4133 | 252.14 | 7.9747 | 889 | 60.2793 | 0.284
2020-01-17 16:30:00 | 2.2733 | 177.812 | 2.6193 | 195.3933 | 3.1453 | 245.9333 | 3.4393 | 259.9933 | 8.0053 | 889 | 59.856 | 0.438
2020-01-17 16:45:00 | 2.1567 | 183.976 | 2.48 | 202.1667 | 2.8093 | 236.4667 | 3.022 | 249.2533 | 7.878 | 889.2667 | 59.952 | 0.32467
2020-01-17 17:00:00 | 2.2613 | 170.504 | 2.602 | 187.3667 | 3.0933 | 234.56 | 3.344 | 250.12 | 7.664 | 890 | 60.6933 | 0.31533
2020-01-17 17:15:00 | 2.1547 | 179.4493 | 2.484 | 197.1867 | 2.878 | 224.1067 | 2.9647 | 236.86 | 7.5967 | 890 | 60.3487 | 0.74867
2020-01-17 17:30:00 | 2.9153 | 168.8167 | 3.354 | 185.5067 | 3.6487 | 224.34 | 3.6067 | 219.4333 | 7.1787 | 889.4 | 61.2413 | 2.3193
2020-01-17 17:45:00 | 3.19 | 173.9293 | 3.678 | 191.1267 | 3.886 | 211.94 | 4.206 | 227.4333 | 6.6993 | 889 | 64.0347 | 4.1287
2020-01-17 18:00:00 | 2.794 | 173.3633 | 3.218 | 190.5067 | 3.5793 | 214.6933 | 3.7813 | 229.66 | 6.3667 | 889 | 66.28 | 4.1387
2020-01-17 18:15:00 | 2.3707 | 160.8687 | 2.7273 | 176.7733 | 3.072 | 209.06 | 3.2933 | 224.76 | 6.0313 | 889 | 68.8033 | 3.944
2020-01-17 18:30:00 | 2.6013 | 173.9373 | 2.9933 | 191.1333 | 3.3833 | 225.3333 | 3.5307 | 230.9667 | 5.816 | 889 | 69.8273 | 4.768
2020-01-17 18:45:00 | 3.1207 | 169.494 | 3.5913 | 186.2533 | 4.1213 | 230 | 4.3153 | 233.6667 | 5.6607 | 889 | 70.34 | 6.402
2020-01-17 19:00:00 | 2.788 | 162.55 | 3.2167 | 178.6267 | 3.676 | 220.08 | 4.0107 | 231.6867 | 5.4627 | 889 | 71.0947 | 4.784
2020-01-17 19:15:00 | 2.866 | 166.338 | 3.2987 | 182.7867 | 3.7633 | 211.6733 | 4.0327 | 226.86 | 5.306 | 889 | 73.9213 | 2.1027
2020-01-17 19:30:00 | 2.5733 | 159.9267 | 2.964 | 175.7333 | 3.3067 | 207.0867 | 3.4827 | 211.26 | 5.2087 | 889 | 77.5013 | 1.2113
2020-01-17 19:45:00 | 2.9473 | 161.5933 | 3.3947 | 177.5667 | 3.7793 | 202.8733 | 3.762 | 210.28 | 5.124 | 889 | 79.064 | 0.824
2020-01-17 20:00:00 | 2.836 | 161.998 | 3.2607 | 178.0133 | 3.4307 | 196.8867 | 3.548 | 198.0467 | 5.0627 | 889 | 80.552 | 0.33867
2020-01-17 20:15:00 | 2.1447 | 155.378 | 2.4667 | 170.7467 | 2.534 | 189.5867 | 2.756 | 199.8733 | 4.958 | 889 | 81.18 | 0.14733
2020-01-17 20:30:00 | 2.5427 | 156.2973 | 2.9207 | 171.7533 | 3.0487 | 186.38 | 2.9887 | 198.2733 | 4.8473 | 889.6667 | 80.6 | 0.438
2020-01-17 20:45:00 | 2.6667 | 154.5313 | 3.066 | 169.8067 | 3.1827 | 185.8 | 3.11 | 191.3533 | 4.7493 | 890 | 80.8667 | 0.79867
2020-01-17 21:00:00 | 2.516 | 159.1827 | 2.896 | 174.9267 | 3.1587 | 186.5933 | 3.304 | 188.2733 | 4.6753 | 890 | 80.7333 | 1.34
2020-01-17 21:15:00 | 3.0333 | 156.444 | 3.494 | 171.9133 | 3.5653 | 190.4067 | 3.5187 | 203.2 | 4.6327 | 890 | 81.44 | 1.7507
2020-01-17 21:30:00 | 2.97 | 155.7027 | 3.4207 | 171.0933 | 3.5253 | 193.54 | 3.644 | 200.1867 | 4.6367 | 890 | 81.6667 | 2.0067
2020-01-17 21:45:00 | 2.866 | 156.6527 | 3.2967 | 172.1467 | 3.374 | 189.9733 | 3.6133 | 197.8733 | 4.5427 | 890 | 82.6067 | 1.9367
2020-01-17 22:00:00 | 2.5847 | 156.3127 | 2.9713 | 171.7667 | 3.13 | 190.0067 | 3.3707 | 197.5867 | 4.3 | 890 | 84.4 | 1.734
2020-01-17 22:15:00 | 2.4613 | 156.5827 | 2.834 | 172.06 | 3.174 | 196.8267 | 3.3113 | 207.4333 | 4.24 | 890 | 84.8333 | 1.544
2020-01-17 22:30:00 | 2.2813 | 156.5407 | 2.6247 | 172.02 | 2.8887 | 192.9733 | 3.0267 | 198.8667 | 4.2987 | 890 | 84.4467 | 0.48867
2020-01-17 22:45:00 | 1.964 | 169.5047 | 2.2693 | 186.2667 | 2.638 | 186.9133 | 2.606 | 196.02 | 4.178 | 890 | 85.42 | 0
2020-01-17 23:00:00 | 2.1687 | 170.2373 | 2.4973 | 187.0733 | 2.8993 | 188.5467 | 2.9327 | 191.08 | 4.2007 | 890 | 85.1267 | 0
2020-01-17 23:15:00 | 2.1713 | 171.048 | 2.496 | 187.96 | 2.8827 | 192.1533 | 2.9753 | 182.8867 | 4.198 | 890 | 84.7333 | 0
2020-01-17 23:30:00 | 2.246 | 170.402 | 2.584 | 187.2533 | 2.8207 | 189.2533 | 2.7427 | 186.4267 | 4.2767 | 890 | 83.54 | 0
2020-01-17 23:45:00 | 1.4667 | 180.5047 | 1.6873 | 198.3467 | 1.938 | 208.9333 | 2.2547 | 184.42 | 4.2733 | 890 | 83.2067 | 0