## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-18 00:00:00 | 1.1914 | 187.335 | 1.3771 | 205.8571 | 1.5136 | 185.2714 | 1.9386 | 168.9071 | 4.3879 | 890 | 82.46 | 0
2020-01-18 00:15:00 | 0.644 | 200.3207 | 0.74733 | 220.1333 | 0.78933 | 183.8667 | 0.98067 | 169 | 4.5467 | 890 | 80.6333 | 0
2020-01-18 00:30:00 | 1.4353 | 211.3987 | 1.6547 | 232.3033 | 1.6307 | 41.6213 | 1.244 | 66.342 | 4.0547 | 889.3333 | 83.4467 | 0
2020-01-18 00:45:00 | 2.108 | 305.3293 | 2.424 | 335.5267 | 3.072 | 9.5367 | 3.2573 | 31.854 | 3.5253 | 889 | 86.1933 | 0
2020-01-18 01:00:00 | 2.3447 | 178.9613 | 2.6973 | 196.6533 | 3.6167 | 9.0793 | 3.68 | 22.022 | 3.22 | 889 | 87.7933 | 1.974
2020-01-18 01:15:00 | 2.4333 | 312.7353 | 2.7993 | 343.66 | 3.7687 | 9.894 | 3.4733 | 11.8033 | 2.9513 | 889 | 89.7533 | 2.9913
2020-01-18 01:30:00 | 2.6847 | 65.6433 | 3.09 | 72.1247 | 3.9513 | 12.3007 | 3.8293 | 17.912 | 2.9073 | 888.4 | 90.16 | 2.8953
2020-01-18 01:45:00 | 2.8127 | 111.1513 | 3.2347 | 122.1393 | 4.172 | 3.15 | 4.2367 | 14.6787 | 2.9187 | 888 | 88.22 | 1.9873
2020-01-18 02:00:00 | 2.6513 | 123.48 | 3.048 | 135.6867 | 4.4513 | 121.0967 | 4.3473 | 14.1353 | 2.842 | 888 | 86.5933 | 2.0207
2020-01-18 02:15:00 | 2.6787 | 249.044 | 3.0853 | 273.676 | 4.154 | 167.1473 | 3.7667 | 30.4673 | 2.97 | 888 | 84.3267 | 1.7493
2020-01-18 02:30:00 | 3.1227 | 199.8687 | 3.5973 | 219.6333 | 4.0007 | 191.4847 | 3.816 | 7.75 | 3.3653 | 888 | 80.1533 | 1.8013
2020-01-18 02:45:00 | 3.3 | 195.6467 | 3.802 | 214.9947 | 4.1387 | 259.176 | 4.0533 | 6.912 | 3.3613 | 888 | 79.716 | 2.2933
2020-01-18 03:00:00 | 3.4173 | 114.2507 | 3.932 | 125.5493 | 4.3313 | 94.9107 | 4.4933 | 17.1673 | 3.2587 | 888 | 79.1633 | 2.872
2020-01-18 03:15:00 | 2.9967 | 111.7273 | 3.448 | 122.7767 | 4.2007 | 6.318 | 4.3307 | 10.5393 | 3.0967 | 888 | 79.5827 | 2.0707
2020-01-18 03:30:00 | 3.0613 | 164.9767 | 3.524 | 181.2913 | 3.8113 | 5.2607 | 3.9347 | 82.3553 | 3.046 | 888 | 79.542 | 0.786
2020-01-18 03:45:00 | 3.1413 | 219.4273 | 3.6147 | 241.126 | 3.8387 | 4.8353 | 3.862 | 13.044 | 3.0453 | 888 | 79.4627 | 1.4133
2020-01-18 04:00:00 | 3.0493 | 107.322 | 3.512 | 117.932 | 3.998 | 128.4093 | 4.1353 | 12.2033 | 2.9993 | 888 | 79.8407 | 1.52
2020-01-18 04:15:00 | 2.8107 | 150.7827 | 3.236 | 165.6947 | 3.8893 | 123.7147 | 3.9007 | 8.118 | 2.9687 | 888 | 79.9273 | 1.2307
2020-01-18 04:30:00 | 3.1467 | 213.1753 | 3.6287 | 234.2567 | 3.6667 | 123.1367 | 3.598 | 6.018 | 2.902 | 888 | 80.3267 | 1.738
2020-01-18 04:45:00 | 3.0133 | 123.6913 | 3.4707 | 135.92 | 4.4467 | 7.6353 | 4.634 | 19.9907 | 2.7587 | 887.7333 | 81.22 | 4.7173
2020-01-18 05:00:00 | 3.9027 | 125.7347 | 4.492 | 138.1627 | 5.3953 | 10.8933 | 5.428 | 13.482 | 2.6287 | 887 | 81.7 | 8.7653
2020-01-18 05:15:00 | 3.794 | 115.0473 | 4.3653 | 126.422 | 5.6113 | 5.05 | 5.5247 | 16.4733 | 2.5067 | 887 | 82.5933 | 12.0487
2020-01-18 05:30:00 | 3.9013 | 160.3667 | 4.4887 | 176.2253 | 5.7707 | 54.6693 | 5.618 | 18.7653 | 2.4533 | 887 | 82.7733 | 15.044
2020-01-18 05:45:00 | 3.8873 | 93.646 | 4.4827 | 102.9053 | 5.7913 | 85.4307 | 5.7367 | 17.9627 | 2.4233 | 887 | 83.16 | 18.2687
2020-01-18 06:00:00 | 4.14 | 109.7893 | 4.7713 | 120.6433 | 6.3567 | 129.3247 | 6.3647 | 15.006 | 2.3587 | 887 | 83.8667 | 22.798
2020-01-18 06:15:00 | 4.4733 | 33.8067 | 5.1473 | 37.1467 | 6.9107 | 236.1553 | 6.558 | 17.038 | 2.3833 | 887 | 83.6933 | 26.5347
2020-01-18 06:30:00 | 4.674 | 240.0807 | 5.382 | 263.8213 | 7.246 | 164.5693 | 6.9953 | 51.192 | 2.3593 | 887 | 83.86 | 29.912
2020-01-18 06:45:00 | 4.4173 | 307.6487 | 5.0787 | 338.0667 | 7.008 | 186.4773 | 6.8347 | 69.5487 | 2.3227 | 887 | 84.2 | 32.0833
2020-01-18 07:00:00 | 4.4727 | 181.592 | 5.144 | 199.5413 | 6.606 | 5.8467 | 6.342 | 58.3147 | 2.3007 | 887.6 | 84.0867 | 32.828
2020-01-18 07:15:00 | 4.544 | 62.3953 | 5.2287 | 68.5613 | 7.468 | 278.5527 | 7.2687 | 301.7933 | 2.3427 | 888 | 83.64 | 32.5227
2020-01-18 07:30:00 | 4.6947 | 162.4493 | 5.398 | 178.5073 | 7.952 | 302.0027 | 7.6113 | 120.358 | 2.3927 | 888 | 83.0133 | 31.6313
2020-01-18 07:45:00 | 4.4987 | 284.392 | 5.1807 | 312.5133 | 7.744 | 167.134 | 7.1013 | 126.6927 | 2.4347 | 888 | 82.8333 | 33.24
2020-01-18 08:00:00 | 4.5727 | 240.864 | 5.2633 | 264.6747 | 7.9453 | 186.7127 | 7.602 | 9.0393 | 2.4207 | 888.6667 | 82.9933 | 36.6933
2020-01-18 08:15:00 | 5.1467 | 188.47 | 5.9267 | 207.1093 | 8.1293 | 9.2387 | 8.126 | 13.7493 | 2.4313 | 889 | 82.9 | 38.1293
2020-01-18 08:30:00 | 5.2793 | 253.4873 | 6.0747 | 278.5527 | 7.762 | 144.8587 | 7.512 | 19.408 | 2.4713 | 889 | 82.7067 | 39.4013
2020-01-18 08:45:00 | 5.3867 | 186.584 | 6.1987 | 205.03 | 8.4007 | 75.7927 | 8.0733 | 13.3153 | 2.484 | 889 | 82.8133 | 38.986
2020-01-18 09:00:00 | 5.732 | 49.67 | 6.594 | 54.578 | 9.5593 | 12.1593 | 8.9993 | 18.214 | 2.5147 | 889 | 82.5067 | 40.588
2020-01-18 09:15:00 | 5.662 | 185.74 | 6.512 | 204.1093 | 9.7727 | 15.6887 | 9.2747 | 15.3427 | 2.5767 | 889 | 82.4467 | 40.5387
2020-01-18 09:30:00 | 5.1333 | 22.484 | 5.9087 | 24.7087 | 8.8967 | 13.62 | 8.5593 | 16.7167 | 2.6267 | 889.6 | 82.36 | 40.3327
2020-01-18 09:45:00 | 5.1193 | 160.1453 | 5.89 | 175.9853 | 8.9547 | 10.2573 | 8.8593 | 15.4047 | 2.678 | 890 | 82.3 | 41.1093
2020-01-18 10:00:00 | 5.432 | 173.9453 | 6.2467 | 191.1413 | 9.4887 | 15.736 | 9.358 | 18.0127 | 2.7393 | 890 | 81.8733 | 43.1307
2020-01-18 10:15:00 | 5.7173 | 184.072 | 6.5787 | 202.2727 | 9.9467 | 13.7587 | 9.6633 | 18.6293 | 2.8067 | 890 | 81.6133 | 42.314
2020-01-18 10:30:00 | 5.6347 | 147.266 | 6.4827 | 161.8227 | 9.818 | 8.062 | 9.6707 | 12.09 | 2.886 | 890.6667 | 81.6267 | 38.9233
2020-01-18 10:45:00 | 5.5 | 191.52 | 6.3247 | 210.46 | 9.732 | 16.7993 | 9.79 | 18.75 | 2.9887 | 891 | 81.1867 | 39.284
2020-01-18 11:00:00 | 5.4093 | 173.5773 | 6.2267 | 190.74 | 9.5327 | 10.962 | 9.4547 | 26.246 | 3.188 | 891 | 80.56 | 40.0313
2020-01-18 11:15:00 | 5.0773 | 140.2053 | 5.8393 | 154.0687 | 9.18 | 16.994 | 9.1 | 19.1493 | 3.4893 | 891 | 79.8953 | 36.6307
2020-01-18 11:30:00 | 4.804 | 182.7213 | 5.5253 | 200.788 | 8.9453 | 15.142 | 8.9793 | 19.0787 | 3.764 | 891 | 79.3107 | 33.062
2020-01-18 11:45:00 | 4.7727 | 218.5667 | 5.4927 | 240.18 | 8.532 | 12.9407 | 8.8107 | 19.8373 | 3.9113 | 891 | 78.8367 | 27.6367
2020-01-18 12:00:00 | 4.9787 | 171.398 | 5.7267 | 188.34 | 8.982 | 13.6733 | 9.028 | 15.65 | 4.164 | 891 | 77.8707 | 24.86
2020-01-18 12:15:00 | 4.904 | 158.3913 | 5.644 | 174.052 | 8.95 | 11.6867 | 8.9653 | 18.4 | 4.2693 | 891 | 77.4387 | 26.8307
2020-01-18 12:30:00 | 4.8327 | 213.7353 | 5.5607 | 234.8713 | 9.0587 | 14.5967 | 9.1967 | 15.2847 | 4.7213 | 891 | 76.2433 | 31.038
2020-01-18 12:45:00 | 4.9767 | 194.0207 | 5.724 | 213.2067 | 8.9167 | 7.22 | 9.24 | 25.2727 | 4.796 | 891 | 75.4233 | 29.4253
2020-01-18 13:00:00 | 4.7387 | 212.6567 | 5.45 | 233.6833 | 8.666 | 21.0753 | 8.8233 | 33.0967 | 4.9907 | 891 | 74.9947 | 28.2713
2020-01-18 13:15:00 | 4.7813 | 246.3073 | 5.5007 | 270.6613 | 8.7787 | 25.4613 | 8.9593 | 34.2813 | 5.3067 | 890.7333 | 74.0347 | 29.4613
2020-01-18 13:30:00 | 4.8313 | 171.754 | 5.5613 | 188.7407 | 8.732 | 18.902 | 9.3107 | 42.92 | 5.372 | 890 | 73.61 | 30.8947
2020-01-18 13:45:00 | 5.2953 | 219.1293 | 6.092 | 240.8013 | 9.3873 | 27.1833 | 9.9893 | 33.7453 | 5.56 | 890 | 72.6933 | 34.3433
2020-01-18 14:00:00 | 6.0113 | 79.7447 | 6.9173 | 87.624 | 10.718 | 17.2767 | 10.6953 | 21.9007 | 5.782 | 890 | 71.8007 | 40.1507
2020-01-18 14:15:00 | 6.3173 | 128.4833 | 7.2667 | 141.1933 | 11.136 | 20.68 | 11.1793 | 26.8793 | 6.084 | 889 | 70.1453 | 44.75
2020-01-18 14:30:00 | 6.2987 | 53.4073 | 7.248 | 58.6867 | 10.9153 | 23.7433 | 10.9 | 35.336 | 6.3573 | 889 | 68.9573 | 43.5007
2020-01-18 14:45:00 | 6.2113 | 187.4 | 7.1473 | 205.9267 | 10.9847 | 27.4447 | 11.3273 | 31.344 | 6.47 | 889 | 68.476 | 43.4987
2020-01-18 15:00:00 | 6.32 | 235.8073 | 7.2727 | 259.1267 | 10.794 | 15.7387 | 11.0773 | 23.9327 | 6.23 | 889 | 68.4833 | 45.7573
2020-01-18 15:15:00 | 6.2413 | 156.0093 | 7.1847 | 171.428 | 10.7967 | 16.9273 | 10.952 | 31.0607 | 6.3413 | 889 | 67.2433 | 45.9207
2020-01-18 15:30:00 | 6.2027 | 168.4333 | 7.1327 | 185.082 | 10.784 | 21.956 | 11.022 | 32.392 | 5.9987 | 889 | 66.6573 | 49.834
2020-01-18 15:45:00 | 6.7493 | 174.4687 | 7.7613 | 191.722 | 11.4747 | 29.5907 | 11.8 | 29.806 | 5.8267 | 889 | 65.1213 | 49.2707
2020-01-18 16:00:00 | 6.5927 | 111.7167 | 7.5813 | 122.7633 | 11.262 | 26.8907 | 11.9867 | 35.13 | 5.766 | 889 | 63.562 | 50.656
2020-01-18 16:15:00 | 6.4333 | 70.6753 | 7.4 | 77.662 | 11.1367 | 23.2667 | 11.2587 | 30.8547 | 5.768 | 889 | 62.5053 | 48.526
2020-01-18 16:30:00 | 5.754 | 188.0993 | 6.6207 | 206.694 | 10.0433 | 29.138 | 10.1593 | 35.9573 | 5.862 | 889.6667 | 61.9167 | 45.8213
2020-01-18 16:45:00 | 5.9927 | 276.4307 | 6.902 | 303.76 | 10.586 | 16.1807 | 10.186 | 22.6593 | 5.84 | 890 | 60.8893 | 44.2653
2020-01-18 17:00:00 | 6.33 | 300.718 | 7.2827 | 330.4533 | 10.9827 | 15.3913 | 11.4133 | 25.088 | 5.6947 | 890 | 60.232 | 47.0767
2020-01-18 17:15:00 | 6.246 | 255.088 | 7.1833 | 280.3107 | 10.7413 | 18.288 | 11.3573 | 31.4253 | 5.636 | 890 | 59.5367 | 46.8773
2020-01-18 17:30:00 | 6.4053 | 118.7173 | 7.374 | 130.456 | 11.15 | 15.7553 | 11.7613 | 37.548 | 5.4947 | 890 | 59.0633 | 47.5707
2020-01-18 17:45:00 | 6.6907 | 205.284 | 7.696 | 225.5767 | 11.4947 | 25.2507 | 11.8253 | 29.0213 | 5.3053 | 890 | 59.1847 | 48.778
2020-01-18 18:00:00 | 6.3173 | 237.8487 | 7.2667 | 261.3733 | 10.928 | 17.994 | 11.4307 | 36.1393 | 5.1387 | 890 | 58.71 | 46.9633
2020-01-18 18:15:00 | 6.152 | 188.7633 | 7.0767 | 207.4267 | 10.7973 | 26.4893 | 11.3073 | 35.502 | 4.9487 | 890 | 59.086 | 46.3647
2020-01-18 18:30:00 | 5.6413 | 78.2033 | 6.4933 | 85.93 | 9.938 | 23.2567 | 10.1413 | 26.6553 | 4.7593 | 890 | 58.9547 | 40.702
2020-01-18 18:45:00 | 5.6947 | 158.0953 | 6.5633 | 173.724 | 10.058 | 157.6907 | 10.144 | 29.656 | 4.666 | 890.9333 | 59.106 | 41.54
2020-01-18 19:00:00 | 5.2767 | 82.55 | 6.0727 | 90.7 | 9.178 | 16.2647 | 9.6347 | 28.2493 | 4.5553 | 891 | 58.9813 | 38.0413
2020-01-18 19:15:00 | 6.1653 | 146.1167 | 7.0933 | 160.56 | 10.6273 | 25.9513 | 10.6387 | 30.866 | 4.4407 | 891 | 58.7973 | 38.6253
2020-01-18 19:30:00 | 6.3747 | 173.166 | 7.33 | 190.2833 | 11.1833 | 21.376 | 11.404 | 29.584 | 4.3207 | 891 | 58.4627 | 44.43
2020-01-18 19:45:00 | 6.208 | 102.9513 | 7.1393 | 113.13 | 10.93 | 26.2133 | 11.6453 | 32.602 | 4.1407 | 891 | 59.42 | 42.93
2020-01-18 20:00:00 | 5.7073 | 188.3887 | 6.57 | 207.0133 | 10.274 | 26.682 | 10.8427 | 26.9987 | 3.7853 | 891.6 | 61.562 | 40.74
2020-01-18 20:15:00 | 5.0527 | 313.5607 | 5.818 | 344.5667 | 9.4473 | 19.7267 | 10.1087 | 27.884 | 3.4493 | 892 | 63.3807 | 36.7273
2020-01-18 20:30:00 | 5.1187 | 176.8073 | 5.896 | 194.2907 | 9.196 | 19.274 | 9.6613 | 28.142 | 3.2553 | 892 | 64.2013 | 36.1227
2020-01-18 20:45:00 | 5.4133 | 122.7587 | 6.2267 | 134.8993 | 9.426 | 23.8573 | 9.8927 | 38.5607 | 3.2467 | 892 | 64.5947 | 31.6193
2020-01-18 21:00:00 | 4.9487 | 91.4613 | 5.698 | 100.5033 | 9.1753 | 16.914 | 9.6607 | 31.0973 | 3.2087 | 892 | 65.28 | 28.502
2020-01-18 21:15:00 | 4.3133 | 198.3347 | 4.9633 | 217.944 | 8.0333 | 24.636 | 8.1673 | 30.448 | 3.1413 | 892.9333 | 65.43 | 23.2447
2020-01-18 21:30:00 | 3.752 | 195.642 | 4.3127 | 214.992 | 6.8847 | 22.494 | 6.992 | 34.6933 | 3.1913 | 893 | 65.142 | 21.7613
2020-01-18 21:45:00 | 3.664 | 87.3633 | 4.212 | 96.004 | 7.0013 | 22.7413 | 7.4893 | 30.0993 | 3.1693 | 893 | 65.7973 | 20.3267
2020-01-18 22:00:00 | 3.9833 | 103.384 | 4.588 | 113.6033 | 7.7013 | 15.682 | 8.4647 | 29.0247 | 3.0113 | 893 | 66.852 | 22.5693
2020-01-18 22:15:00 | 4.264 | 205.838 | 4.9073 | 226.19 | 8.2573 | 17.6573 | 8.6487 | 28.5767 | 3.01 | 893 | 66.638 | 27.276
2020-01-18 22:30:00 | 4.816 | 140.1287 | 5.5367 | 153.98 | 8.7727 | 22.432 | 9.266 | 21.5567 | 3.2647 | 893 | 64.9267 | 26.308
2020-01-18 22:45:00 | 4.4247 | 173.7253 | 5.092 | 190.9 | 8.176 | 16.996 | 8.474 | 22.372 | 3.5293 | 893 | 63.124 | 25.564
2020-01-18 23:00:00 | 4.338 | 122.4167 | 4.9907 | 134.52 | 7.982 | 15.8413 | 7.8547 | 19.034 | 3.5287 | 893 | 63.206 | 22.378
2020-01-18 23:15:00 | 3.7873 | 74.42 | 4.3587 | 81.7727 | 7.4073 | 17.0487 | 7.3307 | 22.8833 | 3.338 | 893 | 64.4367 | 16.79
2020-01-18 23:30:00 | 3.522 | 58.8713 | 4.054 | 64.6853 | 6.9107 | 18.068 | 6.728 | 20.262 | 3.2907 | 893 | 64.248 | 14.4147
2020-01-18 23:45:00 | 3.516 | 87.6593 | 4.046 | 96.3267 | 6.958 | 13.308 | 6.8833 | 22.4947 | 3.2447 | 893 | 64.1607 | 13.5227