## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-19 00:00:00 | 3.87 | 108.1529 | 4.4557 | 118.8464 | 7.1707 | 15.5843 | 6.9907 | 20.3921 | 3.3293 | 893 | 63.143 | 13.3193
2020-01-19 00:15:00 | 3.6193 | 123.4373 | 4.164 | 135.6433 | 6.6607 | 18.4053 | 6.73 | 24.834 | 3.4387 | 893 | 61.59 | 11.4467
2020-01-19 00:30:00 | 3.6873 | 152.4967 | 4.2407 | 167.58 | 6.768 | 24.4507 | 6.9953 | 24.0633 | 3.5313 | 893 | 60.4953 | 11.3153
2020-01-19 00:45:00 | 3.496 | 243.1713 | 4.0213 | 267.2133 | 6.7467 | 18.1833 | 6.906 | 24.32 | 3.3433 | 893 | 61.9433 | 10.6467
2020-01-19 01:00:00 | 2.956 | 177.9767 | 3.402 | 195.5733 | 5.768 | 17.602 | 6.2767 | 27.866 | 3.224 | 893 | 61.66 | 8.6133
2020-01-19 01:15:00 | 2.768 | 210.5493 | 3.1847 | 231.36 | 5.4967 | 24.2087 | 6.4787 | 30.4387 | 3.1293 | 893 | 62.1213 | 8.0547
2020-01-19 01:30:00 | 2.404 | 147.6393 | 2.768 | 162.2367 | 4.588 | 27.19 | 5.5967 | 30.3787 | 3.214 | 893 | 60.594 | 5.392
2020-01-19 01:45:00 | 2.5767 | 179.2047 | 2.9647 | 196.9253 | 5.0647 | 22.0233 | 5.5627 | 33.3567 | 3.2673 | 893 | 60.324 | 7.692
2020-01-19 02:00:00 | 2.3573 | 134.1587 | 2.7147 | 147.42 | 4.63 | 17.8647 | 5.3893 | 35.6947 | 3.0647 | 893 | 61.2913 | 5.754
2020-01-19 02:15:00 | 2.07 | 62.5847 | 2.3827 | 68.7667 | 4.102 | 18.186 | 4.49 | 36.69 | 2.9327 | 893 | 61.308 | 6.2093
2020-01-19 02:30:00 | 1.956 | 230.5247 | 2.2573 | 253.32 | 3.8633 | 19.096 | 3.802 | 27.8373 | 2.8893 | 892.4 | 61.7707 | 5.5147
2020-01-19 02:45:00 | 2.148 | 228.744 | 2.474 | 251.36 | 4.2093 | 18.442 | 4.2453 | 32.2027 | 2.8893 | 892 | 61.4607 | 8.5867
2020-01-19 03:00:00 | 2.56 | 252.664 | 2.948 | 277.6467 | 5.0893 | 16.6353 | 5.5313 | 30.2653 | 2.7407 | 892 | 61.7893 | 13.42
2020-01-19 03:15:00 | 3.0833 | 104.302 | 3.5467 | 114.6133 | 6.0867 | 17.0947 | 6.502 | 24.7307 | 2.706 | 892 | 61.4707 | 17.9733
2020-01-19 03:30:00 | 3.874 | 130.2033 | 4.4573 | 143.0733 | 7.28 | 15.5493 | 7.0753 | 16.3993 | 2.8633 | 892 | 61.1713 | 22.0887
2020-01-19 03:45:00 | 3.7873 | 224.6113 | 4.358 | 246.8133 | 6.992 | 12.8647 | 6.952 | 25.7167 | 2.8153 | 892 | 63.1053 | 29.0827
2020-01-19 04:00:00 | 4.3773 | 120.6467 | 5.044 | 132.576 | 7.5413 | 11.746 | 7.4727 | 18.7067 | 2.6867 | 892 | 63.8687 | 35.4487
2020-01-19 04:15:00 | 4.8 | 91.2247 | 5.524 | 100.244 | 8.63 | 12.264 | 8.4007 | 20.388 | 2.688 | 891.0667 | 63.7793 | 39.5753
2020-01-19 04:30:00 | 4.604 | 203.2933 | 5.2993 | 223.396 | 8.3573 | 13.9107 | 8.1667 | 21.332 | 2.6487 | 891 | 63.4027 | 39.7393
2020-01-19 04:45:00 | 4.0853 | 46.0167 | 4.7073 | 50.564 | 7.296 | 12.178 | 7.264 | 18.074 | 2.6473 | 891 | 63.0967 | 42.2227
2020-01-19 05:00:00 | 4.8013 | 125.4793 | 5.5267 | 137.8873 | 8.8327 | 9.9727 | 8.6907 | 17.7907 | 2.4793 | 891 | 64.088 | 47.3373
2020-01-19 05:15:00 | 5.916 | 250.294 | 6.8047 | 275.0493 | 10.7933 | 10.0547 | 10.6553 | 19.8707 | 2.456 | 890.7333 | 63.17 | 48.3787
2020-01-19 05:30:00 | 6.1207 | 169.562 | 7.044 | 186.3333 | 10.64 | 124.7753 | 10.5707 | 14.7327 | 2.5673 | 890 | 60.6567 | 45.5847
2020-01-19 05:45:00 | 5.7653 | 203.1133 | 6.6347 | 223.1933 | 9.6673 | 8.876 | 9.658 | 10.994 | 2.5653 | 890 | 60.3113 | 42.6313
2020-01-19 06:00:00 | 5.6773 | 97.1993 | 6.5353 | 106.806 | 9.6147 | 10.7753 | 9.32 | 18.6533 | 2.482 | 890 | 61.0393 | 46.1687
2020-01-19 06:15:00 | 6.1427 | 99.2113 | 7.0747 | 109.0187 | 10.5847 | 12.1047 | 10.7967 | 19.296 | 2.33 | 890.6667 | 61.9387 | 48.7887
2020-01-19 06:30:00 | 6.2713 | 127.06 | 7.2187 | 139.628 | 10.812 | 13.068 | 11.5673 | 20.0287 | 2.338 | 890.6 | 60.5127 | 47.1507
2020-01-19 06:45:00 | 5.912 | 172.172 | 6.8027 | 189.1933 | 10.2753 | 53.7213 | 10.52 | 18.3313 | 2.3447 | 891 | 59.0553 | 41.4907
2020-01-19 07:00:00 | 4.8827 | 140.588 | 5.622 | 154.4833 | 8.8073 | 77.4507 | 8.7967 | 13.994 | 2.0853 | 891 | 59.7127 | 35.6473
2020-01-19 07:15:00 | 3.9573 | 129.0573 | 4.56 | 141.8167 | 7.022 | 10.518 | 6.6907 | 15.8507 | 1.9567 | 891 | 59.4713 | 31.596
2020-01-19 07:30:00 | 3.816 | 111.1507 | 4.3947 | 122.1313 | 6.4287 | 176.9453 | 6.3893 | 13.0893 | 1.774 | 891 | 60.1427 | 31.0673
2020-01-19 07:45:00 | 3.7553 | 88.042 | 4.32 | 96.746 | 6.906 | 238.68 | 6.3553 | 112.7367 | 1.442 | 891 | 61.0993 | 32.8867
2020-01-19 08:00:00 | 3.9553 | 48.0473 | 4.554 | 52.7913 | 6.9327 | 259.1867 | 6.4893 | 6.2247 | 1.2933 | 891 | 61.586 | 37.4033
2020-01-19 08:15:00 | 4.3213 | 85.148 | 4.9787 | 93.5653 | 7.05 | 293.2653 | 6.7 | 143.2767 | 1.238 | 891 | 62.5533 | 41.4047
2020-01-19 08:30:00 | 4.3007 | 151.208 | 4.954 | 166.158 | 7.0773 | 122.9427 | 6.9727 | 17.8967 | 1.3967 | 891 | 62.784 | 35.038
2020-01-19 08:45:00 | 4.068 | 124.0907 | 4.676 | 136.3587 | 6.5507 | 17.4547 | 6.8993 | 20.472 | 2.134 | 891.2667 | 61.1267 | 22.0973
2020-01-19 09:00:00 | 3.5527 | 189.6473 | 4.0893 | 208.4 | 6.472 | 8.01 | 6.5253 | 25.7907 | 3.2713 | 892 | 56.2873 | 17.236
2020-01-19 09:15:00 | 3.1467 | 154.8353 | 3.6233 | 170.146 | 5.6647 | 15.3427 | 5.6153 | 22.4113 | 4.582 | 892.2667 | 51.2753 | 13.0407
2020-01-19 09:30:00 | 2.7153 | 90.664 | 3.1273 | 99.6233 | 4.7633 | 129.6993 | 4.706 | 21.2987 | 4.7713 | 893 | 51.038 | 8.7993
2020-01-19 09:45:00 | 2.9067 | 255.7147 | 3.3453 | 281.0007 | 4.0067 | 13.892 | 4.1433 | 29.6407 | 4.6467 | 893 | 49.614 | 5.756
2020-01-19 10:00:00 | 3.0387 | 78.9007 | 3.4987 | 86.692 | 4.166 | 10.1387 | 4.3687 | 29.286 | 4.6093 | 893 | 49.4967 | 6.26
2020-01-19 10:15:00 | 3.356 | 113.0907 | 3.8633 | 124.264 | 4.478 | 14.3567 | 4.5153 | 29.5053 | 4.3953 | 893 | 50.6907 | 7.2613
2020-01-19 10:30:00 | 3.1273 | 253.8053 | 3.5973 | 278.904 | 4.5867 | 9.978 | 4.782 | 28.122 | 4.5927 | 893 | 49.988 | 8.6113
2020-01-19 10:45:00 | 3.5847 | 165.7613 | 4.1227 | 182.152 | 4.9813 | 8.034 | 5.026 | 25.2333 | 4.8607 | 893 | 46.3353 | 9.9033
2020-01-19 11:00:00 | 3.8173 | 110.9653 | 4.3953 | 121.936 | 5.462 | 14.44 | 5.5147 | 23.8627 | 5.5307 | 893 | 45.4433 | 10.0853
2020-01-19 11:15:00 | 4.0967 | 96.656 | 4.7187 | 106.2093 | 6.5187 | 15.584 | 6.3967 | 23.9167 | 6.05 | 893 | 43.3253 | 12.9113
2020-01-19 11:30:00 | 4.3067 | 14.3527 | 4.964 | 15.772 | 7.1893 | 22.1707 | 7.4647 | 27.8893 | 6.5627 | 893 | 41.0767 | 15.2907
2020-01-19 11:45:00 | 4.2827 | 202.3313 | 4.928 | 222.336 | 7.5187 | 17.528 | 7.32 | 30.6073 | 7.076 | 893 | 37.8607 | 13.1247
2020-01-19 12:00:00 | 3.9573 | 166.7153 | 4.56 | 183.204 | 7.1407 | 15.9967 | 7.3527 | 24.2833 | 7.73 | 893 | 36.418 | 10.4873
2020-01-19 12:15:00 | 4.2393 | 47.1013 | 4.8767 | 51.7567 | 7.222 | 13.6967 | 6.8487 | 25.664 | 7.844 | 893 | 35.8373 | 11.844
2020-01-19 12:30:00 | 3.956 | 220.3873 | 4.5547 | 242.1767 | 6.412 | 14.9153 | 5.998 | 29.2093 | 7.464 | 893 | 36.8973 | 12.5227
2020-01-19 12:45:00 | 4.4267 | 47.9293 | 5.0913 | 52.6673 | 6.7927 | 19.9227 | 6.4347 | 26.1387 | 7.47 | 892.7333 | 36.308 | 12.4553
2020-01-19 13:00:00 | 4.4207 | 218.6847 | 5.094 | 240.3073 | 7.4547 | 15.06 | 6.84 | 21.264 | 8.5713 | 892 | 32.732 | 9.9113
2020-01-19 13:15:00 | 3.9693 | 122.7647 | 4.5693 | 134.9007 | 6.0933 | 15.6433 | 5.7167 | 22.682 | 8.8227 | 892 | 31.0733 | 6.4833
2020-01-19 13:30:00 | 3.5733 | 35.5047 | 4.1167 | 39.0113 | 5.4207 | 20.5973 | 5.096 | 27.4653 | 8.576 | 892 | 31.6193 | 4.1367
2020-01-19 13:45:00 | 3.494 | 271.7667 | 4.024 | 298.6413 | 4.834 | 8.2933 | 4.7687 | 17.128 | 8.7107 | 891.6667 | 32.198 | 1.8413
2020-01-19 14:00:00 | 2.952 | 78.8527 | 3.394 | 86.65 | 4.6713 | 17.6573 | 4.4333 | 18.3967 | 9.8687 | 891 | 31.0727 | 0.78467
2020-01-19 14:15:00 | 2.6773 | 123.5613 | 3.0787 | 135.7827 | 3.9573 | 19.904 | 3.9153 | 22.9233 | 10.1833 | 891 | 29.588 | 0.020667
2020-01-19 14:30:00 | 2.512 | 258.6913 | 2.8893 | 284.274 | 3.9373 | 15.3507 | 4.0433 | 20.7753 | 10.6027 | 891 | 28.2233 | 0
2020-01-19 14:45:00 | 2.1727 | 157.36 | 2.5033 | 172.9107 | 3.278 | 32.46 | 2.9833 | 35.6847 | 11.158 | 891 | 26.7373 | 0
2020-01-19 15:00:00 | 1.5227 | 55.8847 | 1.7607 | 61.4127 | 2.1253 | 71.534 | 1.8993 | 36.208 | 10.566 | 891 | 26.6073 | 0
2020-01-19 15:15:00 | 1.4553 | 272.338 | 1.6773 | 299.2693 | 1.584 | 86.4627 | 1.394 | 62.918 | 10.7993 | 891 | 26.1087 | 0
2020-01-19 15:30:00 | 1.2293 | 223.5733 | 1.4167 | 245.684 | 1.394 | 51.754 | 1.4113 | 123.7833 | 11.368 | 890.3333 | 25.4413 | 0
2020-01-19 15:45:00 | 1.872 | 149.3 | 2.155 | 164.06 | 2.239 | 159.73 | 2.309 | 178.47 | 10.579 | 890 | 27.096 | 0
2020-01-19 16:00:00 | 6.5927 | 111.7167 | 7.5813 | 122.7633 | 11.262 | 26.8907 | 11.9867 | 35.13 | 5.766 | 889 | 63.562 | 50.656
2020-01-19 16:15:00 | 6.4333 | 70.6753 | 7.4 | 77.662 | 11.1367 | 23.2667 | 11.2587 | 30.8547 | 5.768 | 889 | 62.5053 | 48.526
2020-01-19 16:30:00 | 5.754 | 188.0993 | 6.6207 | 206.694 | 10.0433 | 29.138 | 10.1593 | 35.9573 | 5.862 | 889.6667 | 61.9167 | 45.8213
2020-01-19 16:45:00 | 5.9927 | 276.4307 | 6.902 | 303.76 | 10.586 | 16.1807 | 10.186 | 22.6593 | 5.84 | 890 | 60.8893 | 44.2653
2020-01-19 17:00:00 | 6.33 | 300.718 | 7.2827 | 330.4533 | 10.9827 | 15.3913 | 11.4133 | 25.088 | 5.6947 | 890 | 60.232 | 47.0767
2020-01-19 17:15:00 | 6.246 | 255.088 | 7.1833 | 280.3107 | 10.7413 | 18.288 | 11.3573 | 31.4253 | 5.636 | 890 | 59.5367 | 46.8773
2020-01-19 17:30:00 | 6.4053 | 118.7173 | 7.374 | 130.456 | 11.15 | 15.7553 | 11.7613 | 37.548 | 5.4947 | 890 | 59.0633 | 47.5707
2020-01-19 17:45:00 | 6.6907 | 205.284 | 7.696 | 225.5767 | 11.4947 | 25.2507 | 11.8253 | 29.0213 | 5.3053 | 890 | 59.1847 | 48.778
2020-01-19 18:00:00 | 6.3173 | 237.8487 | 7.2667 | 261.3733 | 10.928 | 17.994 | 11.4307 | 36.1393 | 5.1387 | 890 | 58.71 | 46.9633
2020-01-19 18:15:00 | 6.152 | 188.7633 | 7.0767 | 207.4267 | 10.7973 | 26.4893 | 11.3073 | 35.502 | 4.9487 | 890 | 59.086 | 46.3647
2020-01-19 18:30:00 | 5.6413 | 78.2033 | 6.4933 | 85.93 | 9.938 | 23.2567 | 10.1413 | 26.6553 | 4.7593 | 890 | 58.9547 | 40.702
2020-01-19 18:45:00 | 5.6947 | 158.0953 | 6.5633 | 173.724 | 10.058 | 157.6907 | 10.144 | 29.656 | 4.666 | 890.9333 | 59.106 | 41.54
2020-01-19 19:00:00 | 5.2767 | 82.55 | 6.0727 | 90.7 | 9.178 | 16.2647 | 9.6347 | 28.2493 | 4.5553 | 891 | 58.9813 | 38.0413
2020-01-19 19:15:00 | 6.1653 | 146.1167 | 7.0933 | 160.56 | 10.6273 | 25.9513 | 10.6387 | 30.866 | 4.4407 | 891 | 58.7973 | 38.6253
2020-01-19 19:30:00 | 6.3747 | 173.166 | 7.33 | 190.2833 | 11.1833 | 21.376 | 11.404 | 29.584 | 4.3207 | 891 | 58.4627 | 44.43
2020-01-19 19:45:00 | 6.208 | 102.9513 | 7.1393 | 113.13 | 10.93 | 26.2133 | 11.6453 | 32.602 | 4.1407 | 891 | 59.42 | 42.93
2020-01-19 20:00:00 | 5.7073 | 188.3887 | 6.57 | 207.0133 | 10.274 | 26.682 | 10.8427 | 26.9987 | 3.7853 | 891.6 | 61.562 | 40.74
2020-01-19 20:15:00 | 5.0527 | 313.5607 | 5.818 | 344.5667 | 9.4473 | 19.7267 | 10.1087 | 27.884 | 3.4493 | 892 | 63.3807 | 36.7273
2020-01-19 20:30:00 | 5.1187 | 176.8073 | 5.896 | 194.2907 | 9.196 | 19.274 | 9.6613 | 28.142 | 3.2553 | 892 | 64.2013 | 36.1227
2020-01-19 20:45:00 | 2.4013 | 161.5747 | 2.764 | 177.5533 | 2.9353 | 195.2467 | 3.2253 | 186.38 | 5.86 | 889 | 38.906 | 4.0527
2020-01-19 21:00:00 | 2.6407 | 157.5287 | 3.0387 | 173.1067 | 3.2527 | 173.5267 | 3.7327 | 178.6133 | 5.6227 | 889 | 41.5653 | 3.5847
2020-01-19 21:15:00 | 2.2647 | 163.0287 | 2.614 | 179.14 | 2.8687 | 181.2733 | 3.5647 | 178.82 | 5.5473 | 889 | 43.692 | 3.354
2020-01-19 21:30:00 | 1.984 | 165.2407 | 2.286 | 181.58 | 2.5413 | 183.36 | 3.2093 | 172.0733 | 5.5913 | 889 | 45.8673 | 2.444
2020-01-19 21:45:00 | 1.9353 | 167.904 | 2.228 | 184.5067 | 2.4 | 185.3 | 2.952 | 185.22 | 5.6493 | 889 | 47.6773 | 1.798
2020-01-19 22:00:00 | 1.7687 | 172.396 | 2.0447 | 189.44 | 2.274 | 185.4933 | 2.772 | 178.0667 | 5.572 | 889 | 48.8407 | 1.0953
2020-01-19 22:15:00 | 1.774 | 175.696 | 2.044 | 193.0667 | 2.2247 | 173.58 | 2.902 | 170.8333 | 5.6227 | 889.2667 | 49.5727 | 0.32933
2020-01-19 22:30:00 | 1.5627 | 167.6993 | 1.8053 | 184.28 | 2.1233 | 168.9933 | 2.7747 | 170.6 | 5.524 | 890 | 50.118 | 0.073333
2020-01-19 22:45:00 | 1.4933 | 169.078 | 1.7247 | 185.8 | 1.874 | 171.78 | 2.6507 | 173.9467 | 5.534 | 890 | 50.1987 | 0.33267
2020-01-19 23:00:00 | 1.7813 | 167.8207 | 2.052 | 184.42 | 2.25 | 172.58 | 3.0393 | 175.26 | 5.4953 | 890 | 50.556 | 0.37
2020-01-19 23:15:00 | 1.7947 | 169.0207 | 2.0673 | 185.7333 | 2.366 | 173.2267 | 3.118 | 176.5333 | 5.3607 | 890 | 51.4587 | 0.61533
2020-01-19 23:30:00 | 1.5807 | 169.642 | 1.8227 | 186.4133 | 2.15 | 177.7467 | 3.0853 | 179.52 | 5.208 | 890 | 52.0553 | 0.464
2020-01-19 23:45:00 | 1.688 | 173.7387 | 1.9467 | 190.92 | 2.0513 | 186.2333 | 2.9827 | 184.4267 | 5.238 | 890 | 51.68 | 0.22533