## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-20 00:00:00 | 1.1121 | 164.99 | 1.2836 | 181.3 | 1.695 | 185.7571 | 2.4086 | 187.0857 | 5.0879 | 890 | 51.8691 | 0.031429
2020-01-20 00:15:00 | 0.98867 | 164.99 | 1.1407 | 181.3 | 1.6727 | 185.8 | 2.0007 | 192.1267 | 4.8587 | 890 | 52.5633 | 0
2020-01-20 00:30:00 | 1.0813 | 164.4807 | 1.2507 | 180.74 | 1.8687 | 187.0733 | 2.06 | 192.2 | 4.458 | 890 | 52.8587 | 0.198
2020-01-20 00:45:00 | 2.1373 | 173.008 | 2.4593 | 190.1133 | 2.7913 | 185.02 | 2.88 | 187.5 | 4.372 | 890 | 53.5167 | 0.26867
2020-01-20 01:00:00 | 1.9533 | 164.5387 | 2.252 | 180.8067 | 2.5293 | 178.9067 | 3.0767 | 181.4067 | 4.546 | 890 | 53.672 | 0.005333
2020-01-20 01:15:00 | 2.034 | 159.2727 | 2.35 | 175.02 | 2.5227 | 166.6 | 3.3967 | 168.34 | 4.4933 | 889.7333 | 54.122 | 0.24933
2020-01-20 01:30:00 | 1.728 | 154.478 | 1.9927 | 169.7533 | 2.208 | 165.2333 | 3.7053 | 166.4733 | 4.228 | 889 | 55.282 | 0.384
2020-01-20 01:45:00 | 1.4207 | 159.3873 | 1.636 | 175.1533 | 2.3227 | 158.1667 | 3.1453 | 163.92 | 4.136 | 889 | 56.2093 | 0
2020-01-20 02:00:00 | 0.994 | 157.372 | 1.148 | 172.9333 | 1.8327 | 146.2467 | 2.3787 | 149.5933 | 4.4247 | 889 | 55.4487 | 0
2020-01-20 02:15:00 | 0.94467 | 162.9227 | 1.0993 | 179.0333 | 1.75 | 144.2533 | 2.184 | 159.1867 | 4.558 | 889 | 55.026 | 0
2020-01-20 02:30:00 | 0.752 | 174.05 | 0.87267 | 191.26 | 1.38 | 163.9067 | 2.0853 | 177.0533 | 4.6 | 889 | 55.042 | 0
2020-01-20 02:45:00 | 0.11867 | 224.6533 | 0.138 | 246.8733 | 0.20867 | 172.1867 | 0.612 | 189.2 | 4.29 | 889 | 56.1447 | 0
2020-01-20 03:00:00 | 0.26333 | 280.9567 | 0.30467 | 308.7333 | 0.512 | 173.2267 | 0.834 | 190.28 | 4.0473 | 889 | 57.4893 | 0
2020-01-20 03:15:00 | 0.19933 | 183.0787 | 0.22733 | 201.1867 | 0.37333 | 203.9333 | 1.2747 | 224.1067 | 3.402 | 889 | 59.7253 | 0
2020-01-20 03:30:00 | 0.016 | 147.6 | 0.018 | 162.2 | 0.026 | 195.52 | 0.37 | 235.2 | 3.038 | 889 | 61.196 | 0
2020-01-20 03:45:00 | 0 | 147.6 | 0 | 162.2 | 0 | 188.7267 | 0.47067 | 257.3 | 3.21 | 889 | 60.49 | 0
2020-01-20 04:00:00 | 0 | 147.6 | 0 | 162.2 | 0 | 188.74 | 0 | 262.74 | 3.4453 | 889 | 59.16 | 0
2020-01-20 04:15:00 | 0.24267 | 210.464 | 0.284 | 231.28 | 0 | 188.7933 | 0 | 262.7267 | 3.332 | 889 | 59.6367 | 0
2020-01-20 04:30:00 | 0.62867 | 302.94 | 0.734 | 332.8933 | 0.15333 | 188.8 | 0 | 262.7333 | 3.222 | 888.3333 | 60.594 | 0
2020-01-20 04:45:00 | 1.184 | 310.0907 | 1.364 | 340.7533 | 0.61133 | 177.0033 | 0.097333 | 183.5 | 3.1213 | 888 | 61.1433 | 0
2020-01-20 05:00:00 | 0.844 | 310.586 | 0.97467 | 341.3 | 0.21467 | 292.25 | 0.34733 | 163.7 | 3.1233 | 888 | 59.5273 | 0
2020-01-20 05:15:00 | 0.594 | 302.108 | 0.68933 | 331.9867 | 0.020667 | 319.5 | 0.052 | 163.7 | 3.234 | 888 | 58.8953 | 0
2020-01-20 05:30:00 | 0.654 | 302.1867 | 0.74867 | 332.0667 | 0.008 | 313.9667 | 0 | 163.7667 | 3.2067 | 888 | 59.342 | 0
2020-01-20 05:45:00 | 1.1853 | 211.3993 | 1.3653 | 232.3 | 0.70133 | 64.1213 | 0.013333 | 163.7667 | 2.9513 | 888 | 58.4747 | 0
2020-01-20 06:00:00 | 1.0573 | 323.414 | 1.22 | 355.4 | 0.862 | 7.3153 | 0.02 | 163.7667 | 2.906 | 888 | 57.734 | 0
2020-01-20 06:15:00 | 1.538 | 315.8693 | 1.774 | 347.1067 | 1.508 | 10.324 | 0.124 | 142.7893 | 2.7653 | 888 | 59.192 | 0
2020-01-20 06:30:00 | 2.174 | 314.0033 | 2.5013 | 345.06 | 2.36 | 6.2433 | 1.254 | 15.834 | 2.3913 | 888 | 61.8407 | 0
2020-01-20 06:45:00 | 2.036 | 308.8093 | 2.3487 | 339.3467 | 2.196 | 129.242 | 0.80867 | 244.6467 | 2.2207 | 888 | 62.4967 | 0
2020-01-20 07:00:00 | 1.664 | 309.582 | 1.924 | 340.1933 | 1.516 | 15.7253 | 0.16 | 48.026 | 2.2927 | 888 | 62.4507 | 0
2020-01-20 07:15:00 | 1.5587 | 312.814 | 1.7973 | 343.7467 | 1.0907 | 166.3353 | 0.006667 | 48.0887 | 2.2367 | 888 | 63.3447 | 0
2020-01-20 07:30:00 | 1.9433 | 310.156 | 2.2407 | 340.8267 | 2.044 | 78.316 | 0.014667 | 185.3313 | 2.0233 | 888 | 65.3547 | 0
2020-01-20 07:45:00 | 2.0747 | 273.2133 | 2.39 | 300.2267 | 2.354 | 7.722 | 0.66 | 342.2267 | 1.768 | 888 | 65.9173 | 0
2020-01-20 08:00:00 | 2.1033 | 106.706 | 2.4227 | 117.2573 | 2.4013 | 3.8673 | 1.0867 | 97.7453 | 1.5353 | 888 | 64.5007 | 0
2020-01-20 08:15:00 | 2.0733 | 255.9233 | 2.3847 | 281.2327 | 2.4787 | 7.0393 | 1.972 | 10.766 | 1.336 | 888 | 65.166 | 0
2020-01-20 08:30:00 | 2.5967 | 316.7233 | 2.9833 | 348.0467 | 3.378 | 2.8767 | 2.288 | 4.5547 | 1.4427 | 888 | 65.3367 | 0
2020-01-20 08:45:00 | 2.764 | 216.816 | 3.1813 | 238.26 | 3.3987 | 5.3867 | 2.2133 | 11.9167 | 1.5447 | 888 | 64.8327 | 0
2020-01-20 09:00:00 | 2.7707 | 219.536 | 3.1867 | 241.2433 | 3.3027 | 5.6393 | 2.33 | 5.4187 | 1.6907 | 888.6 | 64.0967 | 0
2020-01-20 09:15:00 | 2.7087 | 219.3353 | 3.1153 | 241.0233 | 3.3767 | 7.9193 | 2.538 | 0.53867 | 2.1887 | 889 | 62.7127 | 0
2020-01-20 09:30:00 | 2.476 | 320.0173 | 2.8513 | 351.66 | 2.916 | 9.982 | 1.9467 | 0.912 | 2.764 | 889 | 61.2253 | 0
2020-01-20 09:45:00 | 2.458 | 220.0287 | 2.83 | 241.7867 | 2.8047 | 5.7667 | 1.6213 | 5.5047 | 3.19 | 889.9333 | 58.996 | 0
2020-01-20 10:00:00 | 2.064 | 284.6713 | 2.376 | 312.824 | 2.0333 | 5.74 | 0.21067 | 35.5453 | 2.8613 | 890 | 58.844 | 0
2020-01-20 10:15:00 | 0.97333 | 16.016 | 1.1287 | 17.5933 | 0.18867 | 182.472 | 0.27 | 199.2867 | 3.1067 | 890 | 57.248 | 0
2020-01-20 10:30:00 | 0.922 | 111.354 | 1.0673 | 122.36 | 0.88733 | 128.836 | 1.3653 | 164.2 | 3.6547 | 890 | 56.1393 | 0
2020-01-20 10:45:00 | 0.922 | 111.354 | 1.0673 | 122.36 | 0.88733 | 128.836 | 1.3653 | 164.2 | 3.6547 | 890 | 56.1393 | 0
2020-01-20 11:00:00 | 0.922 | 111.354 | 1.0673 | 122.36 | 0.88733 | 128.836 | 1.3653 | 164.2 | 3.6547 | 890 | 56.1393 | 0
2020-01-20 11:15:00 | 2.5727 | 149.3027 | 2.9587 | 164.06 | 2.7267 | 172.6667 | 2.6193 | 178.3133 | 5.5607 | 891 | 58.2767 | 0
2020-01-20 11:30:00 | 2.708 | 158.7813 | 3.12 | 174.4867 | 2.8987 | 182.16 | 2.9913 | 197.2067 | 4.8427 | 890.4 | 60.542 | 0
2020-01-20 11:45:00 | 3.0213 | 153.2227 | 3.4733 | 168.3667 | 3.184 | 193.64 | 3.274 | 201.4933 | 4.8413 | 890 | 61.0587 | 0.14333
2020-01-20 12:00:00 | 2.708 | 143.0493 | 3.1113 | 157.1933 | 2.7993 | 182.2933 | 2.984 | 209.7733 | 5.1453 | 890 | 61.15 | 0.334
2020-01-20 12:15:00 | 3.0067 | 146.4133 | 3.458 | 160.8867 | 3.29 | 192.56 | 3.244 | 207.2133 | 5.5087 | 890 | 61.572 | 0.66267
2020-01-20 12:30:00 | 3.132 | 154.0413 | 3.6047 | 169.2733 | 3.4373 | 180.9867 | 3.194 | 195.5133 | 6.052 | 890 | 61.4427 | 1.0207
2020-01-20 12:45:00 | 3.6327 | 144.6113 | 4.1807 | 158.9133 | 3.9333 | 173.58 | 3.6767 | 176.16 | 6.4733 | 889.0667 | 60.9273 | 1.9807
2020-01-20 13:00:00 | 3.776 | 153.1607 | 4.3467 | 168.3067 | 4.192 | 173.58 | 4.0727 | 182.8867 | 6.5233 | 889 | 61.198 | 2.2413
2020-01-20 13:15:00 | 3.272 | 150.3747 | 3.7667 | 165.24 | 3.6807 | 187.4667 | 3.7793 | 182.1133 | 6.3727 | 889 | 62.0727 | 2.1613
2020-01-20 13:30:00 | 3.244 | 147.2053 | 3.7333 | 161.76 | 3.6853 | 185.1267 | 3.518 | 198.34 | 6.5047 | 888.3333 | 61.772 | 1.2327
2020-01-20 13:45:00 | 3.1993 | 138.8153 | 3.678 | 152.54 | 3.608 | 180.36 | 3.7187 | 186.6733 | 6.4087 | 888 | 62.0793 | 1.348
2020-01-20 14:00:00 | 3.6173 | 148.5733 | 4.1613 | 163.2667 | 4.0687 | 168.1867 | 4.13 | 175.5133 | 6.706 | 888 | 61.6667 | 1.264
2020-01-20 14:15:00 | 3.0487 | 149.8507 | 3.5107 | 164.6733 | 3.436 | 183.7133 | 3.4453 | 184.62 | 7.392 | 887.0667 | 58.614 | 0.76867
2020-01-20 14:30:00 | 3.1093 | 145.888 | 3.5733 | 160.3067 | 3.5873 | 175.2667 | 3.492 | 184.1733 | 7.8873 | 887 | 55.582 | 1.8213
2020-01-20 14:45:00 | 3.3507 | 152.8287 | 3.8527 | 167.94 | 3.6633 | 176.4867 | 3.7727 | 178.3333 | 7.812 | 887 | 55.3953 | 2.8547
2020-01-20 15:00:00 | 3.5747 | 153.058 | 4.1167 | 168.1933 | 4.2293 | 192.0533 | 4.1527 | 196.5667 | 7.9173 | 887 | 55.4053 | 2.6547
2020-01-20 15:15:00 | 3.373 | 131.97 | 3.884 | 145.02 | 3.94 | 197.53 | 4.388 | 182.45 | 7.808 | 887 | 55.737 | 1.946
2020-01-20 15:30:00 | 2.9227 | 133.712 | 3.3647 | 146.9267 | 3.4773 | 164.8067 | 3.818 | 176.4533 | 7.608 | 887 | 55.7133 | 0.83933
2020-01-20 15:45:00 | 2.8227 | 158.0233 | 3.2493 | 173.6467 | 3.402 | 153.9867 | 3.556 | 163.62 | 7.5393 | 887 | 56.7093 | 0.50133
2020-01-20 16:00:00 | 2.4147 | 153.0333 | 2.7787 | 168.1667 | 2.8793 | 173.86 | 2.8687 | 182.3267 | 7.4227 | 887 | 57.1887 | 0
2020-01-20 16:15:00 | 2.3047 | 160.9307 | 2.6467 | 176.84 | 2.7087 | 158.64 | 2.862 | 169.5933 | 7.442 | 886.7333 | 57.1813 | 0
2020-01-20 16:30:00 | 2.6573 | 178.998 | 3.0567 | 196.7 | 3.232 | 195.6067 | 3.3947 | 198.7133 | 7.2207 | 886 | 57.7047 | 0
2020-01-20 16:45:00 | 2.6487 | 156.074 | 3.0527 | 171.5 | 3.062 | 181.9533 | 3.0033 | 191.9933 | 7.1593 | 886 | 58.3687 | 0.25
2020-01-20 17:00:00 | 2.508 | 157.424 | 2.8867 | 172.9933 | 2.9953 | 216.6067 | 2.996 | 221.7667 | 6.9807 | 886 | 59.2707 | 0.86733
2020-01-20 17:15:00 | 2.53 | 188.748 | 2.9127 | 207.4133 | 3.514 | 229.08 | 3.41 | 230.02 | 6.834 | 886 | 60.3913 | 1.3153
2020-01-20 17:30:00 | 2.784 | 176.018 | 3.2053 | 193.42 | 3.6547 | 234.0133 | 4.0807 | 222.7933 | 6.6793 | 886 | 60.8653 | 1.5653
2020-01-20 17:45:00 | 2.4413 | 178.7433 | 2.8093 | 196.4133 | 3.2087 | 219.1933 | 3.388 | 217.7667 | 6.5633 | 886 | 61.7547 | 1.744
2020-01-20 18:00:00 | 2.148 | 159.426 | 2.4713 | 175.1867 | 2.8727 | 216.8067 | 3.3707 | 221.1 | 6.4367 | 886 | 62.8947 | 2.6827
2020-01-20 18:15:00 | 2.1727 | 175.372 | 2.502 | 192.7133 | 3.1533 | 219.82 | 3.726 | 221.08 | 6.3293 | 886 | 63.536 | 2.7973
2020-01-20 18:30:00 | 2.3933 | 181.3593 | 2.7567 | 199.2867 | 3.328 | 219.0333 | 3.5907 | 214.4133 | 6.2573 | 886 | 63.7727 | 1.8367
2020-01-20 18:45:00 | 1.9067 | 185.1093 | 2.1953 | 203.4133 | 2.678 | 214.14 | 2.8867 | 215.22 | 6.202 | 886 | 64.4113 | 0.58067
2020-01-20 19:00:00 | 1.792 | 171.372 | 2.058 | 188.32 | 2.3593 | 214.1733 | 2.6267 | 200.9467 | 6.2267 | 886 | 64.4313 | 0.68933
2020-01-20 19:15:00 | 1.4053 | 170.7167 | 1.6173 | 187.6 | 2.0727 | 208.6933 | 2.2953 | 211.66 | 6.1807 | 886.3333 | 64.8767 | 0.198
2020-01-20 19:30:00 | 1.302 | 175.9453 | 1.4987 | 193.34 | 1.8793 | 201.9733 | 2.1153 | 201.1867 | 6.154 | 887 | 65.128 | 0
2020-01-20 19:45:00 | 0.83133 | 178.466 | 0.962 | 196.1133 | 1.4087 | 184.82 | 1.5127 | 203.1933 | 6.1227 | 887 | 65.4933 | 0.028
2020-01-20 20:00:00 | 1.5513 | 160.9453 | 1.794 | 176.86 | 2.2027 | 193 | 2.3773 | 202.7267 | 6.0667 | 887 | 65.964 | 0.41933
2020-01-20 20:15:00 | 1.6193 | 155.9027 | 1.868 | 171.3133 | 2.2373 | 187.16 | 2.5153 | 197.0867 | 6.0073 | 887 | 66.6013 | 0.44133
2020-01-20 20:30:00 | 0.96133 | 163.372 | 1.1053 | 179.5267 | 1.5473 | 189.4733 | 1.8107 | 187.5467 | 6.0567 | 887 | 66.618 | 0
2020-01-20 20:45:00 | 0.296 | 144.6 | 0.34933 | 158.9 | 0.51067 | 187.5133 | 1.0453 | 198.08 | 6.0113 | 887 | 66.6453 | 0.062667
2020-01-20 21:00:00 | 0.668 | 144.654 | 0.77467 | 158.96 | 1.2493 | 184.6 | 1.5573 | 198 | 6.012 | 887 | 66.4933 | 0.11933
2020-01-20 21:15:00 | 0.74133 | 144.6493 | 0.862 | 158.9533 | 1.428 | 184.6 | 1.586 | 198.1867 | 5.9867 | 887 | 66.6813 | 0.036
2020-01-20 21:30:00 | 0.804 | 145.25 | 0.93333 | 159.6 | 1.368 | 184.6 | 1.5027 | 197.8267 | 5.9867 | 887 | 66.98 | 0.007333
2020-01-20 21:45:00 | 1.0053 | 170.0853 | 1.1593 | 186.9067 | 1.3607 | 191.4667 | 1.7753 | 197.2 | 5.978 | 887 | 67.2427 | 0
2020-01-20 22:00:00 | 1.1313 | 175.99 | 1.31 | 193.4 | 1.6427 | 184.7933 | 1.9293 | 190.08 | 5.9993 | 887 | 67.3293 | 0
2020-01-20 22:15:00 | 0.51733 | 175.99 | 0.59867 | 193.4 | 1.012 | 191.8733 | 1.5147 | 188.3 | 5.912 | 887 | 67.7733 | 0
2020-01-20 22:30:00 | 0.656 | 175.99 | 0.75533 | 193.4 | 1.296 | 191.1467 | 1.3933 | 188.2333 | 5.8547 | 887 | 67.9073 | 0
2020-01-20 22:45:00 | 0.62133 | 175.99 | 0.72 | 193.4 | 1.2253 | 190.4 | 1.3687 | 188.2 | 5.808 | 887.9333 | 67.808 | 0
2020-01-20 23:00:00 | 0.364 | 175.99 | 0.426 | 193.4 | 0.71267 | 190.4667 | 1.1367 | 188.2 | 5.716 | 888 | 67.98 | 0
2020-01-20 23:15:00 | 0.090667 | 175.99 | 0.106 | 193.4 | 0.16867 | 190.4333 | 0.984 | 188.2 | 5.7613 | 888 | 67.902 | 0
2020-01-20 23:30:00 | 0.55267 | 175.99 | 0.63867 | 193.4 | 1.0887 | 189.4867 | 1.412 | 183.1267 | 5.7547 | 888 | 67.942 | 0
2020-01-20 23:45:00 | 0.524 | 175.99 | 0.60933 | 193.4 | 1.044 | 183.3 | 1.59 | 172.9 | 5.7573 | 887 | 67.9547 | 0