## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-21 00:00:00 | 0.95643 | 175.99 | 1.1014 | 193.4 | 1.32 | 183.3571 | 1.8 | 172.9 | 5.7643 | 887 | 67.9521 | 0
2020-01-21 00:15:00 | 1.2127 | 175.9153 | 1.4027 | 193.3067 | 1.6987 | 183.3733 | 1.8167 | 172.9 | 5.6713 | 887 | 68.5127 | 0
2020-01-21 00:30:00 | 0.90467 | 175.8433 | 1.044 | 193.2333 | 1.502 | 183.3667 | 1.628 | 172.9 | 5.5147 | 887 | 69.244 | 0
2020-01-21 00:45:00 | 0.72333 | 175.81 | 0.83933 | 193.2 | 1.3513 | 186 | 1.5147 | 172.9267 | 5.4447 | 887 | 69.6407 | 0
2020-01-21 01:00:00 | 0.82133 | 190.8553 | 0.95133 | 209.72 | 1.5007 | 190.0133 | 1.8673 | 181.86 | 5.342 | 887 | 70.3693 | 0
2020-01-21 01:15:00 | 0.61133 | 199.364 | 0.70333 | 219.0733 | 1.1453 | 189.2467 | 1.726 | 179.6267 | 5.354 | 887 | 70.5933 | 0
2020-01-21 01:30:00 | 1.1787 | 183.872 | 1.358 | 202.0533 | 1.6553 | 193.6467 | 1.8607 | 186.6467 | 5.2333 | 887 | 71.3327 | 0
2020-01-21 01:45:00 | 1.5793 | 176.132 | 1.8247 | 193.5467 | 2.27 | 193.8733 | 2.376 | 184.64 | 5.142 | 887 | 72.0987 | 0
2020-01-21 02:00:00 | 1.1813 | 176.24 | 1.3667 | 193.6733 | 1.6287 | 194.2533 | 1.708 | 193.4 | 5.1047 | 887 | 72.3827 | 0
2020-01-21 02:15:00 | 0.082667 | 186.004 | 0.096667 | 204.3867 | 0.15467 | 192.6267 | 0.21933 | 241.42 | 5.0413 | 886.0667 | 73.432 | 0
2020-01-21 02:30:00 | 0.602 | 308.5747 | 0.698 | 339.08 | 0.90067 | 108.6467 | 0.85733 | 315.8333 | 4.83 | 886 | 75.874 | 0
2020-01-21 02:45:00 | 1.664 | 118.608 | 1.9207 | 130.3333 | 2.454 | 345.6133 | 2.4347 | 337.46 | 4.5207 | 886 | 79.5513 | 0
2020-01-21 03:00:00 | 1.5227 | 312.2573 | 1.7493 | 343.1333 | 2.1733 | 343.32 | 1.7667 | 348.4667 | 4.428 | 886 | 79.8407 | 0
2020-01-21 03:15:00 | 0.99933 | 319.648 | 1.1533 | 351.26 | 1.598 | 353.5133 | 1.1393 | 354.7267 | 4.5133 | 886 | 78.7107 | 0
2020-01-21 03:30:00 | 1.31 | 302.9433 | 1.5147 | 332.9 | 1.716 | 344.56 | 1.4253 | 353.94 | 4.616 | 886 | 77.532 | 0
2020-01-21 03:45:00 | 0.3 | 286.306 | 0.354 | 314.6133 | 0.498 | 316.46 | 0.53867 | 325.6467 | 4.468 | 885.6667 | 78.1207 | 0
2020-01-21 04:00:00 | 0.192 | 192.8347 | 0.22467 | 211.8933 | 0.26933 | 180.6533 | 0.308 | 174.1 | 4.4813 | 885 | 77.806 | 0
2020-01-21 04:15:00 | 1.0553 | 293.654 | 1.216 | 322.7 | 1.374 | 314.2333 | 0.856 | 306.2067 | 4.4273 | 885 | 78.698 | 0
2020-01-21 04:30:00 | 0.37333 | 297.278 | 0.42933 | 326.68 | 0.568 | 333.54 | 0.64267 | 324.2667 | 4.44 | 885 | 78.7933 | 0
2020-01-21 04:45:00 | 0.19467 | 299.49 | 0.22267 | 329.1 | 0.016 | 333.5 | 0 | 322 | 4.368 | 885 | 79.092 | 0
2020-01-21 05:00:00 | 0.21333 | 299.49 | 0.25 | 329.1 | 0.30733 | 336.4467 | 0.152 | 281.4947 | 4.25 | 885 | 79.1033 | 0
2020-01-21 05:15:00 | 0.98133 | 309.2993 | 1.1333 | 339.88 | 1.5573 | 309.3187 | 1.558 | 19.694 | 4.3613 | 885 | 78.6887 | 0
2020-01-21 05:30:00 | 1.6647 | 317.058 | 1.9227 | 348.4133 | 2.1753 | 7.2947 | 2.362 | 26.718 | 4.12 | 885 | 80.6547 | 0
2020-01-21 05:45:00 | 2.1487 | 209.6793 | 2.4727 | 230.41 | 3.006 | 5.878 | 3.0387 | 16.3793 | 3.9287 | 885 | 81.4267 | 0
2020-01-21 06:00:00 | 2.352 | 268.92 | 2.7093 | 295.516 | 3.096 | 5.7933 | 3.1947 | 20.4833 | 3.8353 | 885 | 81.5467 | 0.23267
2020-01-21 06:15:00 | 2.3733 | 108.232 | 2.7293 | 118.928 | 3.6127 | 16.7047 | 3.6013 | 11.4413 | 3.7553 | 885 | 81.74 | 0.92533
2020-01-21 06:30:00 | 1.9167 | 82.2587 | 2.2047 | 90.3893 | 3.392 | 16.0707 | 3.8093 | 31.3533 | 3.774 | 885 | 81.46 | 0.09
2020-01-21 06:45:00 | 1.8413 | 175.8233 | 2.1213 | 193.2107 | 2.8467 | 10.9953 | 2.9087 | 19.5507 | 3.7833 | 885 | 80.9733 | 0
2020-01-21 07:00:00 | 2.0627 | 236.9493 | 2.3833 | 260.388 | 2.8307 | 11.9953 | 3.1047 | 25.678 | 3.8773 | 885 | 80.1853 | 0
2020-01-21 07:15:00 | 1.9173 | 212.618 | 2.206 | 233.64 | 2.938 | 15.304 | 2.8973 | 31.4773 | 3.7433 | 885 | 80.7933 | 0
2020-01-21 07:30:00 | 2.104 | 213.3053 | 2.4207 | 234.39 | 2.8407 | 7.5367 | 2.9373 | 24.3293 | 3.624 | 885 | 80.9133 | 0
2020-01-21 07:45:00 | 1.9553 | 313.276 | 2.252 | 344.2533 | 2.484 | 6.7507 | 2.454 | 22.1347 | 3.706 | 885.9333 | 79.5287 | 0
2020-01-21 08:00:00 | 1.452 | 302.606 | 1.674 | 332.5267 | 1.7913 | 168.1707 | 1.6327 | 40.8587 | 3.9073 | 886 | 77.088 | 0
2020-01-21 08:15:00 | 0.80467 | 309.57 | 0.93267 | 340.1867 | 1.3893 | 356.8 | 2.0813 | 8.406 | 3.774 | 886 | 78.33 | 0
2020-01-21 08:30:00 | 1.422 | 211.0833 | 1.64 | 231.9533 | 2.1033 | 355.54 | 1.7573 | 164.6747 | 3.2993 | 886 | 81.62 | 0
2020-01-21 08:45:00 | 0.336 | 311.524 | 0.38933 | 342.32 | 0.664 | 354.0267 | 0.20267 | 352.6 | 3.2787 | 886 | 82.36 | 0
2020-01-21 09:00:00 | 0.001333 | 247.212 | 0.001333 | 271.6533 | 0 | 354.1 | 0.010667 | 339.8 | 4.0087 | 886 | 79.5407 | 0
2020-01-21 09:15:00 | 0.98333 | 157.4547 | 1.1333 | 173.0267 | 1.1193 | 235.2267 | 1.292 | 214.6667 | 4.7907 | 887 | 76.8253 | 0
2020-01-21 09:30:00 | 1.54 | 142.562 | 1.778 | 156.6533 | 1.8147 | 191.5733 | 2.288 | 191.36 | 4.7833 | 887 | 79.4213 | 0
2020-01-21 09:45:00 | 2.5833 | 158.3793 | 2.974 | 174.04 | 2.8247 | 183.1733 | 3.04 | 195.3467 | 4.8827 | 887 | 81.2733 | 0
2020-01-21 10:00:00 | 2.6307 | 149.6227 | 3.0267 | 164.42 | 2.962 | 204.6867 | 3.136 | 205.4 | 4.9213 | 887 | 82.2667 | 0.015333
2020-01-21 10:15:00 | 2.48 | 151.0607 | 2.8593 | 165.9933 | 2.924 | 205.2067 | 3.016 | 199.4133 | 5.5507 | 887.3333 | 78.686 | 0.152
2020-01-21 10:30:00 | 2.3853 | 153.7273 | 2.7447 | 168.9267 | 2.5073 | 193.72 | 2.5873 | 211.74 | 6.162 | 888 | 74.4833 | 0.21067
2020-01-21 10:45:00 | 2.3907 | 150.282 | 2.7527 | 165.1467 | 2.4927 | 189.1867 | 2.5967 | 204.2867 | 6.6633 | 888 | 74.6073 | 0.298
2020-01-21 11:00:00 | 2.906 | 147.99 | 3.3427 | 162.62 | 3.024 | 186.4867 | 2.9273 | 192.7133 | 6.49 | 888 | 75.6247 | 0.54867
2020-01-21 11:15:00 | 3.2433 | 145.1487 | 3.732 | 159.5067 | 3.4393 | 174.14 | 3.09 | 181.8 | 6.35 | 888 | 75.5773 | 0.546
2020-01-21 11:30:00 | 3.0853 | 155.114 | 3.5473 | 170.4467 | 3.3333 | 190.7067 | 3.2693 | 201.48 | 6.5453 | 888 | 73.8347 | 0.718
2020-01-21 11:45:00 | 3.0573 | 158.8207 | 3.522 | 174.52 | 3.3787 | 195.8133 | 3.2347 | 194.7133 | 7.2253 | 888 | 69.108 | 0.70267
2020-01-21 12:00:00 | 3.6853 | 160.7873 | 4.236 | 176.6867 | 4.07 | 177.48 | 4.1947 | 176.0333 | 7.2913 | 887.3333 | 67.6607 | 1.4373
2020-01-21 12:15:00 | 4.1087 | 134.7327 | 4.728 | 148.06 | 4.5647 | 169.06 | 4.786 | 152.8933 | 7.48 | 887 | 65.806 | 2.95
2020-01-21 12:30:00 | 4.2847 | 128.3547 | 4.9353 | 141.04 | 4.8173 | 159.0067 | 5.0093 | 177.7 | 7.658 | 887 | 64.6133 | 3.3293
2020-01-21 12:45:00 | 4.152 | 147.97 | 4.7767 | 162.6 | 4.7627 | 163.86 | 4.9893 | 175.3467 | 8.252 | 887 | 63.1673 | 2.908
2020-01-21 13:00:00 | 4.006 | 136.9207 | 4.608 | 150.46 | 4.598 | 157.1467 | 4.744 | 183.2 | 8.3093 | 887 | 61.7093 | 2.7907
2020-01-21 13:15:00 | 4.018 | 143.2587 | 4.6293 | 157.4267 | 4.7407 | 161.6533 | 4.8987 | 173.6933 | 8.5453 | 887 | 60.336 | 3.1287
2020-01-21 13:30:00 | 3.6787 | 135.926 | 4.2327 | 149.36 | 4.1633 | 153.3933 | 4.5027 | 174.5067 | 8.5747 | 886.4 | 60.854 | 2.9447
2020-01-21 13:45:00 | 3.5333 | 133.1707 | 4.0687 | 146.34 | 4.168 | 167.3533 | 4.1067 | 175.44 | 9.0413 | 886 | 60.13 | 2.152
2020-01-21 14:00:00 | 3.0427 | 144.786 | 3.5033 | 159.0933 | 3.496 | 183.0533 | 3.5373 | 182.46 | 9.638 | 886 | 57.9573 | 2.9373
2020-01-21 14:15:00 | 3.5467 | 134.3867 | 4.086 | 147.6733 | 4.2587 | 187.1067 | 4.382 | 194.5067 | 9.134 | 886 | 59.2127 | 2.3907
2020-01-21 14:30:00 | 3.094 | 157.5867 | 3.566 | 173.1667 | 3.698 | 219.9333 | 3.9747 | 227.4067 | 8.2567 | 886 | 62.4307 | 0.86933
2020-01-21 14:45:00 | 2.5 | 168.1633 | 2.8753 | 184.7933 | 3.1133 | 226.16 | 3.3233 | 249.18 | 8.2313 | 885.6667 | 62.628 | 0.42667
2020-01-21 15:00:00 | 1.8973 | 166.442 | 2.1867 | 182.9 | 2.5213 | 198.5333 | 2.5273 | 200.7333 | 8.4527 | 885 | 62.2727 | 0.29267
2020-01-21 15:15:00 | 1.6527 | 158.112 | 1.906 | 173.7467 | 2.0347 | 193.42 | 2.1647 | 204.08 | 8.842 | 885 | 61.0253 | 0
2020-01-21 15:30:00 | 2.144 | 132.464 | 2.476 | 145.56 | 2.5047 | 159.8667 | 2.3947 | 178.08 | 8.7867 | 885 | 61.0213 | 0
2020-01-21 15:45:00 | 2.136 | 135.8807 | 2.4573 | 149.3133 | 2.6307 | 148.16 | 2.7953 | 154.3733 | 9.11 | 885 | 59.592 | 0
2020-01-21 16:00:00 | 2.1413 | 157.382 | 2.4687 | 172.94 | 2.4727 | 160.5067 | 2.7553 | 160.7667 | 8.9 | 885 | 60.3913 | 0
2020-01-21 16:15:00 | 2.7213 | 144.358 | 3.1407 | 158.6267 | 3.3133 | 152.1933 | 3.2947 | 164.4667 | 8.8 | 885 | 60.986 | 0
2020-01-21 16:30:00 | 2.5367 | 149.2327 | 2.9233 | 163.98 | 3.1027 | 154.3133 | 3.108 | 158.28 | 8.6073 | 885 | 61.3153 | 0
2020-01-21 16:45:00 | 2.7907 | 148.872 | 3.222 | 163.5867 | 3.2393 | 161.7 | 3.1573 | 178.6267 | 8.37 | 885 | 62.3667 | 0
2020-01-21 17:00:00 | 2.2147 | 146.7193 | 2.544 | 161.2333 | 2.6527 | 172.3867 | 2.538 | 178.32 | 8.386 | 884.3333 | 62.26 | 0
2020-01-21 17:15:00 | 2.3233 | 154.43 | 2.6713 | 169.7 | 2.5567 | 175.4933 | 2.438 | 181.6267 | 8.1893 | 884.6667 | 62.5987 | 0
2020-01-21 17:30:00 | 2.1893 | 149.5267 | 2.5193 | 164.3133 | 2.6073 | 162.6533 | 2.4673 | 177.52 | 8.0813 | 884 | 63.4293 | 0
2020-01-21 17:45:00 | 1.5447 | 145.0913 | 1.7793 | 159.4333 | 1.8647 | 160.6267 | 1.8947 | 166.8867 | 8.072 | 884 | 63.7233 | 0
2020-01-21 18:00:00 | 0.83533 | 161.6833 | 0.96467 | 177.6667 | 1.2727 | 152.8 | 1.354 | 163 | 8.1013 | 884 | 63.9673 | 0
2020-01-21 18:15:00 | 1.2753 | 155.16 | 1.472 | 170.5 | 1.8767 | 169.8067 | 1.876 | 164.6467 | 7.9567 | 885 | 64.6333 | 0
2020-01-21 18:30:00 | 0.68 | 169.0187 | 0.78133 | 185.7333 | 1.0607 | 173.66 | 1.6273 | 171.4 | 7.7447 | 885 | 65.5307 | 0
2020-01-21 18:45:00 | 0.36267 | 192.6287 | 0.42 | 211.6733 | 0.71533 | 173.7667 | 1.1513 | 171.4933 | 7.74 | 885 | 65.3267 | 0
2020-01-21 19:00:00 | 0.16667 | 192.57 | 0.198 | 211.6 | 0.324 | 153.84 | 0.49067 | 171.5 | 7.712 | 885 | 65.424 | 0
2020-01-21 19:15:00 | 0.71 | 103.0147 | 0.82267 | 113.2 | 1.194 | 25.1687 | 0.45267 | 78.576 | 7.5647 | 885 | 66.3087 | 0
2020-01-21 19:30:00 | 0.57133 | 0.05 | 0.66067 | 0.05 | 0.898 | 25.1813 | 0.13867 | 37.1673 | 7.4387 | 885 | 66.6107 | 0
2020-01-21 19:45:00 | 0.99333 | 240.656 | 1.152 | 264.45 | 1.5847 | 19.25 | 1.3647 | 21.3433 | 7.3953 | 885.3333 | 66.7773 | 0
2020-01-21 20:00:00 | 1.0587 | 307.24 | 1.2173 | 337.62 | 1.7333 | 122.4027 | 2.042 | 22.0167 | 7.4093 | 885.4 | 66.4347 | 0
2020-01-21 20:15:00 | 0.842 | 316.786 | 0.97467 | 348.1067 | 1.62 | 6.6627 | 1.646 | 10.0193 | 7.308 | 885.9333 | 66.8687 | 0
2020-01-21 20:30:00 | 1.0053 | 316.84 | 1.162 | 348.1667 | 1.8667 | 9.1367 | 1.7333 | 18.616 | 7.2907 | 886 | 67.0553 | 0
2020-01-21 20:45:00 | 1.1 | 316.446 | 1.2667 | 347.7333 | 2.1007 | 24.5447 | 2.1713 | 31.106 | 7.294 | 886 | 66.922 | 0
2020-01-21 21:00:00 | 0.86667 | 295.8827 | 1.0053 | 325.1333 | 1.5687 | 133.9693 | 2.02 | 21.1493 | 7.2287 | 886 | 67.7113 | 0
2020-01-21 21:15:00 | 0.81467 | 287.2107 | 0.938 | 315.6067 | 1.498 | 17.2407 | 1.758 | 26.1993 | 7.148 | 886 | 68.0667 | 0
2020-01-21 21:30:00 | 0.256 | 297.22 | 0.29867 | 326.6 | 0.508 | 28.58 | 1.064 | 51.482 | 7.086 | 886 | 68.45 | 0
2020-01-21 21:45:00 | 0.94933 | 237.748 | 1.0973 | 261.2533 | 1.3427 | 147.876 | 1.4573 | 148.194 | 7.222 | 886 | 68.328 | 0
2020-01-21 22:00:00 | 1.686 | 163.0007 | 1.9433 | 179.12 | 2.116 | 182.8533 | 2.1733 | 186.98 | 6.962 | 886 | 71.8947 | 0
2020-01-21 22:15:00 | 0.87133 | 157.946 | 1.006 | 173.56 | 1.4127 | 191.5933 | 1.622 | 182.0933 | 6.8367 | 886 | 73.4827 | 0
2020-01-21 22:30:00 | 1.6013 | 155.9033 | 1.8467 | 171.3133 | 2.0787 | 180.42 | 1.9627 | 176.7267 | 6.7687 | 886 | 74.408 | 0
2020-01-21 22:45:00 | 2.0507 | 154.23 | 2.364 | 169.48 | 2.5107 | 167.5933 | 2.606 | 168.68 | 6.6647 | 886 | 74.7367 | 0
2020-01-21 23:00:00 | 1.5993 | 149.394 | 1.8467 | 164.16 | 2.0487 | 174.42 | 2.2733 | 166.04 | 6.556 | 886 | 75.24 | 0
2020-01-21 23:15:00 | 1.706 | 168.6267 | 1.9633 | 185.3 | 2.3267 | 189.5667 | 2.6147 | 197.54 | 6.4813 | 886 | 75.5253 | 0
2020-01-21 23:30:00 | 2.3047 | 166.1333 | 2.6487 | 182.56 | 3.1187 | 205.1 | 3.254 | 205.02 | 6.4667 | 886 | 74.348 | 0
2020-01-21 23:45:00 | 2.2407 | 160.3393 | 2.582 | 176.1933 | 2.7827 | 195.2467 | 2.9907 | 197.4333 | 6.606 | 886 | 72.894 | 0