## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-22 00:00:00 | 2.41 | 162.2893 | 2.7807 | 178.3357 | 3.0379 | 188.5357 | 3.2386 | 195.4 | 6.6821 | 886 | 73.3386 | 0.455
2020-01-22 00:15:00 | 2.132 | 169.544 | 2.454 | 186.3067 | 3.0727 | 208.04 | 3.0493 | 204.5133 | 6.634 | 886.9333 | 73.8553 | 0.36267
2020-01-22 00:30:00 | 2.4887 | 178.2413 | 2.864 | 195.8667 | 3.5993 | 201.34 | 3.4567 | 203.86 | 6.462 | 887 | 74.6773 | 0.55867
2020-01-22 00:45:00 | 2.022 | 180.4747 | 2.328 | 198.32 | 3.2327 | 205 | 3.2747 | 213.7667 | 6.4787 | 887 | 75.3207 | 0.382
2020-01-22 01:00:00 | 1.2173 | 186.0947 | 1.402 | 204.4933 | 2.2273 | 227.2933 | 2.8373 | 246.3133 | 6.494 | 887 | 74.204 | 0.26133
2020-01-22 01:15:00 | 0.304 | 105.736 | 0.35733 | 116.19 | 0.596 | 255.5067 | 1.1307 | 247.5667 | 6.4813 | 887 | 74.2013 | 0
2020-01-22 01:30:00 | 0.076 | 285.126 | 0.090667 | 313.3267 | 0.112 | 158.7613 | 0.332 | 260.9187 | 6.3147 | 887 | 75.6287 | 0
2020-01-22 01:45:00 | 0.906 | 187.474 | 1.0427 | 206.0167 | 1.7913 | 45.1387 | 1.922 | 29.5787 | 6.194 | 886.7333 | 75.774 | 0
2020-01-22 02:00:00 | 1.2653 | 55.7687 | 1.458 | 61.276 | 2.3393 | 59.0273 | 2.3393 | 62.4153 | 6.1327 | 886 | 76.2613 | 0.72533
2020-01-22 02:15:00 | 1.7167 | 123.4153 | 1.9807 | 135.6107 | 2.8753 | 69.2827 | 3.4027 | 70.8373 | 6.0827 | 885 | 76.7873 | 7.0073
2020-01-22 02:30:00 | 2.7247 | 131 | 3.1373 | 143.9533 | 3.6 | 115.9267 | 3.842 | 114.4133 | 6.086 | 884.3333 | 75.6773 | 4.018
2020-01-22 02:45:00 | 3.8493 | 151.2527 | 4.4273 | 166.2067 | 4.606 | 173.3067 | 4.6333 | 168.78 | 6.0847 | 884 | 74.958 | 2.998
2020-01-22 03:00:00 | 2.7387 | 155.7873 | 3.15 | 171.1867 | 3.804 | 181.9067 | 4.3087 | 175.8733 | 6.152 | 884.6 | 74.3373 | 0
2020-01-22 03:15:00 | 2.2107 | 244.3653 | 2.544 | 268.5267 | 3.4173 | 269.44 | 2.7953 | 273.4933 | 5.6933 | 885 | 76.8553 | 0.998
2020-01-22 03:30:00 | 1.7107 | 271.8847 | 1.9707 | 298.7733 | 2.9787 | 327.4333 | 3.426 | 335.4067 | 5.21 | 885 | 79.0747 | 0.73867
2020-01-22 03:45:00 | 1.894 | 183.548 | 2.184 | 201.6967 | 3.1207 | 340.54 | 3.6647 | 341.38 | 5.0987 | 885 | 79.634 | 0.67067
2020-01-22 04:00:00 | 1.9247 | 174.5313 | 2.224 | 191.7867 | 3.786 | 334.52 | 4.406 | 336.74 | 5.166 | 885 | 79.2653 | 0.042
2020-01-22 04:15:00 | 1.4887 | 73.5147 | 1.7193 | 80.7813 | 2.8093 | 345.3733 | 2.6327 | 349.7467 | 5.3653 | 885 | 77.8273 | 0
2020-01-22 04:30:00 | 1.0587 | 152.34 | 1.2187 | 167.4053 | 2.0193 | 345.4933 | 2.064 | 342.52 | 5.4593 | 885 | 76.954 | 0
2020-01-22 04:45:00 | 0.71667 | 311.242 | 0.82333 | 342.02 | 1.252 | 336.4133 | 0.64467 | 348.8 | 5.4667 | 885 | 76.8653 | 0
2020-01-22 05:00:00 | 0.60867 | 310.87 | 0.70133 | 341.6 | 1.1073 | 345.6533 | 0.94 | 186.3187 | 5.6087 | 885 | 76.5953 | 0
2020-01-22 05:15:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 05:30:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 05:45:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 06:00:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 06:15:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 06:30:00 | 0.642 | 310.8333 | 0.74667 | 341.5667 | 1.1713 | 353.42 | 0.97467 | 0.54 | 5.6767 | 885 | 75.9873 | 0
2020-01-22 06:45:00 | 2.4707 | 168.7607 | 2.846 | 185.4433 | 3.4227 | 75.5713 | 3.6927 | 13.4427 | 4.8047 | 886 | 82.46 | 0
2020-01-22 07:00:00 | 2.4707 | 168.7607 | 2.846 | 185.4433 | 3.4227 | 75.5713 | 3.6927 | 13.4427 | 4.8047 | 886 | 82.46 | 0
2020-01-22 07:15:00 | 2.4707 | 168.7607 | 2.846 | 185.4433 | 3.4227 | 75.5713 | 3.6927 | 13.4427 | 4.8047 | 886 | 82.46 | 0
2020-01-22 07:30:00 | 2.4707 | 168.7607 | 2.846 | 185.4433 | 3.4227 | 75.5713 | 3.6927 | 13.4427 | 4.8047 | 886 | 82.46 | 0
2020-01-22 07:45:00 | 2.4707 | 168.7607 | 2.846 | 185.4433 | 3.4227 | 75.5713 | 3.6927 | 13.4427 | 4.8047 | 886 | 82.46 | 0
2020-01-22 08:00:00 | 2.2253 | 244.864 | 2.566 | 269.0767 | 3.702 | 49.902 | 3.8027 | 10.1887 | 4.616 | 886 | 83.2733 | 0.408
2020-01-22 08:15:00 | 2.7507 | 286.092 | 3.1667 | 314.3853 | 3.612 | 120.5567 | 3.6193 | 8.642 | 4.7493 | 886 | 81.4733 | 0.25333
2020-01-22 08:30:00 | 2.6393 | 110.6933 | 3.0373 | 121.6393 | 3.7987 | 75.2753 | 3.6813 | 4.1553 | 4.8033 | 886 | 80.744 | 0.342
2020-01-22 08:45:00 | 2.826 | 152.772 | 3.248 | 167.873 | 3.621 | 14.611 | 4.001 | 15.584 | 4.874 | 886 | 79.98 | 0.459
2020-01-22 09:00:00 | 2.804 | 107.662 | 3.229 | 118.305 | 3.845 | 8.095 | 3.81 | 21.854 | 4.894 | 886 | 80.296 | 1.086
2020-01-22 09:15:00 | 2.9933 | 86.0033 | 3.4447 | 94.5093 | 4.354 | 7.6767 | 4.406 | 14.254 | 5.0007 | 886 | 79.7827 | 2.1813
2020-01-22 09:30:00 | 3.0173 | 249.5633 | 3.4767 | 274.2407 | 4.842 | 10.872 | 4.874 | 15.5913 | 5.2 | 886.6667 | 79.1953 | 3.0427
2020-01-22 09:45:00 | 3.1613 | 115.9047 | 3.6353 | 127.37 | 4.6327 | 7.5633 | 4.6727 | 11.694 | 5.396 | 887 | 78.456 | 3.0487
2020-01-22 10:00:00 | 3.3507 | 169.1953 | 3.8553 | 185.9247 | 4.9527 | 120.8867 | 4.8713 | 8.0107 | 5.49 | 887 | 77.976 | 3.5607
2020-01-22 10:15:00 | 3.374 | 54.4167 | 3.882 | 59.792 | 5.2893 | 10.9887 | 5.4787 | 14.3893 | 5.6467 | 887 | 77.5847 | 4.5107
2020-01-22 10:30:00 | 3.316 | 169.0587 | 3.8153 | 185.7747 | 5.472 | 6.9367 | 5.4773 | 13.7593 | 5.9873 | 887 | 76.994 | 4.8833
2020-01-22 10:45:00 | 3.5373 | 108.6833 | 4.068 | 119.4227 | 5.342 | 121.6087 | 5.112 | 13.184 | 6.2327 | 887.9333 | 75.9333 | 5.2507
2020-01-22 11:00:00 | 3.992 | 7.1727 | 4.5933 | 7.8787 | 5.8747 | 3.376 | 5.7073 | 12.094 | 6.236 | 888 | 75.7387 | 5.1393
2020-01-22 11:15:00 | 3.5067 | 84.5287 | 4.0387 | 92.8827 | 5.4213 | 9.3407 | 5.5127 | 16.35 | 6.4173 | 888 | 74.7713 | 4.8187
2020-01-22 11:30:00 | 3.6087 | 130.3713 | 4.154 | 143.2647 | 5.3533 | 7.442 | 5.416 | 5.116 | 6.7113 | 888 | 73.35 | 5.044
2020-01-22 11:45:00 | 3.2693 | 123.9793 | 3.7653 | 136.24 | 5.5527 | 12.0747 | 5.342 | 12.8027 | 7.2133 | 888 | 71.8393 | 3.5313
2020-01-22 12:00:00 | 3.342 | 253.7633 | 3.8493 | 278.8533 | 5.4933 | 6.1373 | 5.4113 | 7.9207 | 7.484 | 888 | 70.6387 | 3.8127
2020-01-22 12:15:00 | 3.3573 | 264.908 | 3.8607 | 291.1013 | 5.4413 | 7.4907 | 5.192 | 8.2647 | 7.7127 | 888 | 69.4447 | 3.616
2020-01-22 12:30:00 | 3.274 | 214.9207 | 3.7687 | 236.1713 | 5.1867 | 10.4533 | 5.1053 | 11.9733 | 7.8847 | 888 | 68.612 | 2.5107
2020-01-22 12:45:00 | 2.942 | 160.612 | 3.3847 | 176.494 | 4.4167 | 10.4047 | 4.4107 | 12.3747 | 8.008 | 888 | 67.97 | 1.0253
2020-01-22 13:00:00 | 2.982 | 71.2427 | 3.4373 | 78.2907 | 4.188 | 14.312 | 3.944 | 9.2267 | 8.0813 | 888 | 67.8447 | 0.33067
2020-01-22 13:15:00 | 3.2687 | 16.7267 | 3.76 | 18.374 | 4.0947 | 4.2227 | 4.022 | 11.738 | 8.7247 | 887.0667 | 65.5073 | 0.49
2020-01-22 13:30:00 | 2.9213 | 126.3587 | 3.36 | 138.85 | 4.3587 | 12.5787 | 4.0287 | 13.8253 | 9.5233 | 887 | 62.7953 | 0.344
2020-01-22 13:45:00 | 2.98 | 58.7513 | 3.4313 | 64.5587 | 4.1927 | 120.764 | 3.9507 | 123.9293 | 9.2 | 887 | 63.162 | 0.25
2020-01-22 14:00:00 | 3.2547 | 86.002 | 3.7427 | 94.5067 | 4.614 | 20.0213 | 4.1873 | 20.736 | 10.0913 | 887 | 60.356 | 0.042
2020-01-22 14:15:00 | 2.59 | 185.2027 | 2.9767 | 203.5167 | 3.4767 | 9.8947 | 3.1907 | 21.5073 | 9.5827 | 887 | 61.4013 | 0
2020-01-22 14:30:00 | 2.3893 | 185.5853 | 2.7533 | 203.944 | 2.9853 | 170.7973 | 2.7267 | 12.98 | 9.006 | 887 | 62.608 | 0
2020-01-22 14:45:00 | 1.934 | 8.7153 | 2.2313 | 9.5713 | 2.536 | 197.146 | 2.2893 | 20.28 | 8.922 | 886 | 62.092 | 0
2020-01-22 15:00:00 | 1.0973 | 12.094 | 1.2707 | 13.2873 | 1.6087 | 20.2047 | 1.5487 | 14.37 | 9.1967 | 886 | 60.2867 | 0
2020-01-22 15:15:00 | 1.2013 | 120.4347 | 1.392 | 132.3453 | 1.9707 | 6.52 | 1.7 | 41.054 | 9.3793 | 886 | 59.99 | 0
2020-01-22 15:30:00 | 1.252 | 12.2947 | 1.4433 | 13.5053 | 1.826 | 19.686 | 1.662 | 24.452 | 9.3473 | 886 | 58.902 | 0
2020-01-22 15:45:00 | 1.2567 | 252.0553 | 1.452 | 276.9767 | 1.4993 | 8.8533 | 1.3547 | 18.1947 | 9.2127 | 886 | 55.86 | 0
2020-01-22 16:00:00 | 1.2133 | 71.654 | 1.4007 | 78.7373 | 1.8853 | 18.7513 | 1.6907 | 13.1253 | 9.6547 | 886 | 57.4567 | 0
2020-01-22 16:15:00 | 1.368 | 18.888 | 1.58 | 20.756 | 1.81 | 23.8227 | 1.3307 | 16.5013 | 10.2273 | 886 | 54.116 | 0
2020-01-22 16:30:00 | 1.162 | 68.7973 | 1.344 | 75.5967 | 1.536 | 13.1687 | 0.994 | 20.418 | 10.2187 | 886 | 54.0993 | 0
2020-01-22 16:45:00 | 0.55467 | 269.0767 | 0.64467 | 295.684 | 0.99133 | 14.4393 | 0.43867 | 66.114 | 10.026 | 886 | 54.5053 | 0
2020-01-22 17:00:00 | 0.94 | 151.1267 | 1.0833 | 166.0693 | 1.1507 | 275.8947 | 0.68 | 346.5 | 9.4047 | 886 | 55.822 | 0
2020-01-22 17:15:00 | 0.522 | 317.5507 | 0.61267 | 348.9533 | 0.82133 | 342.1933 | 0.63533 | 346.38 | 9.2733 | 886 | 57.36 | 0
2020-01-22 17:30:00 | 0.070667 | 315.87 | 0.080667 | 347.1 | 0.077333 | 331.7 | 0.02 | 333.9933 | 9.146 | 886 | 57.0713 | 0
2020-01-22 17:45:00 | 0.066667 | 315.9 | 0.082 | 347.1333 | 0.13667 | 317.02 | 0.202 | 239.7467 | 8.9833 | 886 | 57.814 | 0
2020-01-22 18:00:00 | 0.99133 | 201.4887 | 1.148 | 221.4067 | 1.8307 | 223.6 | 1.77 | 224.5933 | 8.7993 | 886 | 59.5873 | 0
2020-01-22 18:15:00 | 1.0667 | 179.0653 | 1.2353 | 196.7667 | 2.0433 | 223.5733 | 1.9067 | 230.2733 | 8.5833 | 886 | 60.9033 | 0
2020-01-22 18:30:00 | 1.1993 | 185.3293 | 1.384 | 203.66 | 2.1253 | 217.56 | 2.098 | 225.7933 | 8.496 | 886 | 61.2173 | 0
2020-01-22 18:45:00 | 1.5193 | 178.1513 | 1.7527 | 195.7667 | 2.2807 | 215.3733 | 2.2607 | 219.9267 | 8.4793 | 886.2667 | 61.0907 | 0
2020-01-22 19:00:00 | 1.6167 | 176.8553 | 1.866 | 194.34 | 2.444 | 212.18 | 2.3587 | 215.52 | 8.468 | 887 | 60.958 | 0
2020-01-22 19:15:00 | 1.4067 | 182.7887 | 1.618 | 200.8667 | 2.504 | 215.1333 | 2.3553 | 214.6733 | 8.3973 | 887 | 61.5213 | 0
2020-01-22 19:30:00 | 1.66 | 178.0713 | 1.9227 | 195.68 | 2.7 | 214.0467 | 2.544 | 214.6 | 8.3667 | 887 | 62.1967 | 0
2020-01-22 19:45:00 | 1.9093 | 173.33 | 2.2053 | 190.46 | 2.7907 | 202.82 | 2.7027 | 208.1133 | 8.3433 | 887 | 62.8933 | 0
2020-01-22 20:00:00 | 1.0327 | 169.3933 | 1.196 | 186.1333 | 1.7233 | 194.58 | 1.934 | 204.94 | 8.3007 | 887 | 63.4113 | 0
2020-01-22 20:15:00 | 1.248 | 169.3853 | 1.4453 | 186.1333 | 1.764 | 186.1 | 1.8933 | 201.0533 | 8.2227 | 887 | 63.4367 | 0
2020-01-22 20:30:00 | 1.7027 | 161.196 | 1.9613 | 177.1333 | 2.18 | 182.0467 | 2.2013 | 191.5667 | 8.2287 | 887 | 63.032 | 0
2020-01-22 20:45:00 | 2.0027 | 164.6607 | 2.302 | 180.94 | 2.6947 | 182.4867 | 2.9153 | 182.3467 | 8.0213 | 887.2667 | 65.8187 | 0
2020-01-22 21:00:00 | 1.0327 | 154.58 | 1.1927 | 169.86 | 1.7413 | 167.3667 | 2.0593 | 171.7533 | 7.934 | 888 | 67.1407 | 0
2020-01-22 21:15:00 | 0.888 | 147.4807 | 1.026 | 162.0667 | 1.5287 | 154.72 | 1.776 | 163.2533 | 7.9153 | 887.7333 | 67.4033 | 0
2020-01-22 21:30:00 | 0.51467 | 140.05 | 0.60067 | 153.9 | 0.944 | 146.7 | 1.156 | 162 | 7.9773 | 887.6667 | 68.0853 | 0
2020-01-22 21:45:00 | 0 | 140.05 | 0 | 153.9 | 0 | 146.7 | 0.086 | 162 | 7.812 | 887.4 | 70.7393 | 0
2020-01-22 22:00:00 | 0.008 | 140.05 | 0.009333 | 153.9 | 0 | 146.7 | 0 | 162 | 7.6387 | 888 | 72.0333 | 0
2020-01-22 22:15:00 | 0.71333 | 163.042 | 0.828 | 179.1667 | 0.68333 | 48.7467 | 0.048 | 141.34 | 7.4587 | 888 | 70.5067 | 0
2020-01-22 22:30:00 | 1.132 | 312.094 | 1.3013 | 342.96 | 1.6987 | 28.232 | 0.86867 | 9.6647 | 7.286 | 888 | 70.81 | 0
2020-01-22 22:45:00 | 1.6227 | 169.7427 | 1.8667 | 186.5253 | 2.3293 | 11.9393 | 2.19 | 25.3753 | 7.1993 | 888 | 70.964 | 0
2020-01-22 23:00:00 | 2.04 | 253.1407 | 2.3467 | 278.1713 | 3.0027 | 10.8593 | 3.4313 | 20.4267 | 7.038 | 888 | 71.7573 | 0.10533
2020-01-22 23:15:00 | 2.144 | 313.1493 | 2.4673 | 344.12 | 3.6347 | 21.4633 | 3.484 | 27.806 | 6.5673 | 888 | 73.438 | 1.4467
2020-01-22 23:30:00 | 2.0013 | 298.488 | 2.312 | 328 | 3.612 | 14.8727 | 3.8467 | 30.4727 | 6.3853 | 887.4 | 73.828 | 1.8867
2020-01-22 23:45:00 | 2.2913 | 110.3807 | 2.6373 | 121.292 | 3.4173 | 16.3393 | 3.8433 | 27.3 | 6.4493 | 887 | 73.122 | 3.4273