## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-23 00:00:00 | 2.2071 | 313.2329 | 2.5414 | 344.2071 | 3.5164 | 13.3579 | 3.88 | 30.6707 | 6.1807 | 887 | 74.7323 | 3.8336
2020-01-23 00:15:00 | 2.264 | 213.3947 | 2.606 | 234.49 | 3.4967 | 9.78 | 3.682 | 63.7947 | 5.98 | 886.6667 | 75.61 | 3.7033
2020-01-23 00:30:00 | 1.9027 | 269.8487 | 2.1893 | 296.54 | 3.3647 | 277.0467 | 3.3353 | 121.26 | 5.8113 | 886.6 | 76.0033 | 0.028
2020-01-23 00:45:00 | 1.9473 | 300.668 | 2.242 | 330.4067 | 3.332 | 327.9267 | 2.914 | 341.5867 | 5.6573 | 887 | 75.8353 | 0
2020-01-23 01:00:00 | 2.2913 | 310.926 | 2.6367 | 341.6733 | 3.6373 | 232.2067 | 3.5133 | 115.68 | 5.8887 | 887 | 74.2553 | 0.084667
2020-01-23 01:15:00 | 2.0027 | 221.2893 | 2.3047 | 243.1693 | 3.798 | 71.6147 | 3.8547 | 262.7253 | 5.692 | 887 | 74.8253 | 0.56333
2020-01-23 01:30:00 | 1.7053 | 292.288 | 1.9653 | 321.1933 | 3.264 | 8.5127 | 3.1793 | 77.0373 | 5.5467 | 887 | 75.6593 | 0.045333
2020-01-23 01:45:00 | 1.9513 | 292.12 | 2.2493 | 321 | 3.296 | 14.9013 | 3.096 | 2.0727 | 5.448 | 887 | 76.7673 | 0.006
2020-01-23 02:00:00 | 2.4133 | 319.6233 | 2.7807 | 351.2267 | 2.9407 | 13.35 | 2.794 | 6.604 | 5.6833 | 887 | 76.2653 | 0
2020-01-23 02:15:00 | 2.3773 | 208.5373 | 2.7393 | 229.1633 | 3.5987 | 16.834 | 3.4487 | 20.726 | 5.6673 | 887 | 76.7027 | 0.96
2020-01-23 02:30:00 | 2.7193 | 198.428 | 3.1313 | 218.05 | 5.05 | 16.296 | 5.312 | 21.4847 | 5.41 | 887 | 77.9107 | 10.9193
2020-01-23 02:45:00 | 2.8287 | 111.4593 | 3.2573 | 122.48 | 5.108 | 11.6793 | 5.558 | 21.6813 | 5.0213 | 886.6667 | 79.8573 | 14.6107
2020-01-23 03:00:00 | 2.9853 | 194.9433 | 3.436 | 214.2167 | 5.4147 | 53.9413 | 5.4867 | 18.304 | 4.8233 | 886 | 80.88 | 13.698
2020-01-23 03:15:00 | 3.038 | 200.1127 | 3.494 | 219.8967 | 5.3027 | 186.0093 | 5.594 | 12.2747 | 4.7473 | 886 | 81.62 | 13.36
2020-01-23 03:30:00 | 2.828 | 260.1867 | 3.2587 | 285.9147 | 4.5187 | 50.2707 | 5.1427 | 7.55 | 4.5253 | 886 | 82.7867 | 11.034
2020-01-23 03:45:00 | 2.7067 | 47.9527 | 3.116 | 52.692 | 4.994 | 74.758 | 5.4767 | 10.932 | 4.5213 | 886 | 82.5733 | 12.11
2020-01-23 04:00:00 | 2.9053 | 261.0953 | 3.3393 | 286.9133 | 5.1787 | 5.0787 | 5.5133 | 14.6833 | 4.4093 | 886 | 82.6667 | 11.4367
2020-01-23 04:15:00 | 2.9107 | 223.6267 | 3.3507 | 245.7333 | 4.918 | 165.3067 | 5.1227 | 7.5347 | 4.586 | 886 | 81.54 | 10.2727
2020-01-23 04:30:00 | 2.496 | 291.1627 | 2.8773 | 319.9533 | 4.4533 | 71.8873 | 4.9687 | 6.9433 | 4.428 | 886 | 82.38 | 10.678
2020-01-23 04:45:00 | 2.6453 | 305.7173 | 3.0427 | 335.9533 | 4.842 | 5.0073 | 5.716 | 9.1993 | 4.3327 | 886 | 82.9267 | 11.2153
2020-01-23 05:00:00 | 2.248 | 174.054 | 2.588 | 191.2647 | 4.36 | 11.5767 | 5.296 | 14.6567 | 4.3113 | 886 | 83.4 | 13.6933
2020-01-23 05:15:00 | 2.706 | 158.5327 | 3.1153 | 174.2053 | 5.1273 | 10.1547 | 5.5673 | 12.7453 | 4.248 | 885 | 83.82 | 19.4887
2020-01-23 05:30:00 | 3.384 | 265.7007 | 3.8913 | 291.9733 | 5.8367 | 122.86 | 5.8127 | 7.8647 | 4.2893 | 885 | 83.3467 | 17.2593
2020-01-23 05:45:00 | 3.234 | 113.8247 | 3.722 | 125.08 | 5.3693 | 14.5507 | 5.68 | 15.3227 | 4.4607 | 885 | 82.0667 | 15.2313
2020-01-23 06:00:00 | 2.9227 | 204.458 | 3.3613 | 224.67 | 4.758 | 16.426 | 4.9127 | 22.3933 | 4.488 | 885 | 81.7933 | 17.994
2020-01-23 06:15:00 | 3.5653 | 85.8687 | 4.1053 | 94.3527 | 6.25 | 11.2347 | 6.3807 | 16.4233 | 4.4987 | 885 | 81.66 | 21.618
2020-01-23 06:30:00 | 3.64 | 120.5487 | 4.1867 | 132.464 | 5.8933 | 2.99 | 5.9407 | 18.5767 | 4.4767 | 885.6 | 81.4667 | 19.0327
2020-01-23 06:45:00 | 3.304 | 235.3567 | 3.7973 | 258.6267 | 5.074 | 14.5167 | 5.4847 | 18.8693 | 4.3847 | 886 | 81.5867 | 20.1333
2020-01-23 07:00:00 | 3.4453 | 203.3187 | 3.962 | 223.4233 | 5.766 | 50.5013 | 5.8773 | 121.8767 | 4.036 | 885.4 | 83.5533 | 23.5107
2020-01-23 07:15:00 | 3.5527 | 83.6527 | 4.0847 | 91.9253 | 6.132 | 104.7267 | 6.3453 | 8.89 | 3.9647 | 885.2667 | 84.2067 | 25.586
2020-01-23 07:30:00 | 3.3553 | 64.696 | 3.8573 | 71.088 | 5.6413 | 18.324 | 6.1293 | 24.8873 | 4.1927 | 886 | 83.0067 | 26.566
2020-01-23 07:45:00 | 3.4213 | 164.8933 | 3.9347 | 181.1927 | 5.9093 | 123.4213 | 6.5633 | 25.194 | 4.196 | 886 | 82.86 | 28.9433
2020-01-23 08:00:00 | 3.7073 | 15.644 | 4.2647 | 17.1907 | 6.1853 | 8.0987 | 6.5107 | 22.3853 | 4.0187 | 886 | 83.4933 | 31.6967
2020-01-23 08:15:00 | 4.0987 | 150.0647 | 4.7193 | 164.9053 | 7.056 | 6.044 | 7.0053 | 14.236 | 3.718 | 886 | 85.14 | 32.9587
2020-01-23 08:30:00 | 3.998 | 187.5207 | 4.6013 | 206.0593 | 7.0707 | 3.3907 | 7.2167 | 12.6127 | 3.7487 | 886 | 85.1067 | 33.05
2020-01-23 08:45:00 | 3.8733 | 182.2887 | 4.456 | 200.308 | 6.7347 | 122.0607 | 7.146 | 15.2487 | 4.0993 | 886.2667 | 83.4533 | 30.232
2020-01-23 09:00:00 | 4.596 | 15.0893 | 5.286 | 16.5753 | 7.2133 | 63.5687 | 7.0993 | 127.0247 | 4.376 | 887 | 82.1467 | 35.0987
2020-01-23 09:15:00 | 4.592 | 13.0173 | 5.2867 | 14.2993 | 7.65 | 77.578 | 8.0147 | 20.7073 | 4.6247 | 887 | 81.2933 | 36.7893
2020-01-23 09:30:00 | 4.268 | 108.7333 | 4.9067 | 119.4833 | 6.8727 | 7.5487 | 7.5693 | 12.4887 | 4.7293 | 887 | 80.6733 | 32.7087
2020-01-23 09:45:00 | 3.7613 | 132.3233 | 4.33 | 145.4073 | 6.504 | 170.18 | 6.712 | 18.7187 | 5.07 | 887.9333 | 79.6753 | 30.1833
2020-01-23 10:00:00 | 3.8067 | 120.754 | 4.3787 | 132.688 | 6.1147 | 307.9407 | 5.9893 | 10.3027 | 5.292 | 888 | 78.2247 | 30.9653
2020-01-23 10:15:00 | 3.8067 | 29.2627 | 4.3793 | 32.154 | 6.0293 | 125.0907 | 6.0387 | 15.796 | 5.5033 | 888 | 77.2867 | 32.0027
2020-01-23 10:30:00 | 3.538 | 152.8227 | 4.0727 | 167.932 | 5.2133 | 54.8647 | 5.386 | 122.53 | 5.826 | 888 | 76.1513 | 28.7967
2020-01-23 10:45:00 | 3.6693 | 180.3447 | 4.2227 | 198.1773 | 5.5453 | 346.5333 | 5.192 | 121.6933 | 5.9707 | 888 | 75.8973 | 27.7093
2020-01-23 11:00:00 | 3.558 | 207.3193 | 4.0933 | 227.81 | 5.5767 | 351.9933 | 5.3687 | 1.7413 | 6.12 | 888.6 | 75.812 | 24.6307
2020-01-23 11:15:00 | 3.4247 | 110.9887 | 3.9393 | 121.958 | 5.2953 | 195.058 | 5.3987 | 4.496 | 6.41 | 889 | 74.4733 | 23.7347
2020-01-23 11:30:00 | 3.514 | 110.2993 | 4.0447 | 121.2067 | 5.3593 | 284.232 | 5.2247 | 9.9453 | 6.8267 | 889 | 72.7513 | 19.902
2020-01-23 11:45:00 | 3.67 | 32.4233 | 4.2207 | 35.6253 | 5.9247 | 187.1773 | 5.7107 | 12.4947 | 6.876 | 889 | 72.518 | 20.772
2020-01-23 12:00:00 | 3.6513 | 185.3553 | 4.2047 | 203.6833 | 6.228 | 4.926 | 6.2673 | 14.3973 | 7.062 | 889 | 71.848 | 21.7573
2020-01-23 12:15:00 | 3.748 | 204.1687 | 4.316 | 224.358 | 6.1207 | 2.04 | 6.1453 | 6.8673 | 7.242 | 889 | 71.2587 | 26.1853
2020-01-23 12:30:00 | 4.004 | 102.8673 | 4.6107 | 113.0393 | 6.378 | 56.5013 | 6.22 | 142.3413 | 7.2587 | 889 | 71.5887 | 25.9213
2020-01-23 12:45:00 | 3.74 | 43.2567 | 4.308 | 47.5293 | 6.2233 | 130.06 | 5.78 | 13.264 | 7.2433 | 889 | 71.782 | 25.8307
2020-01-23 13:00:00 | 4.252 | 115.608 | 4.894 | 127.0347 | 6.9427 | 130.408 | 6.476 | 13.9847 | 7.248 | 888.4 | 71.61 | 26.28
2020-01-23 13:15:00 | 5.03 | 125.358 | 5.79 | 137.7527 | 8.2847 | 18.5047 | 8.0513 | 12.622 | 7.312 | 888 | 70.1767 | 26.5347
2020-01-23 13:30:00 | 5.1913 | 114.2013 | 5.976 | 125.4867 | 9.2307 | 17.1247 | 9.158 | 19.5527 | 7.6467 | 888 | 68.62 | 26.2927
2020-01-23 13:45:00 | 4.9053 | 213.392 | 5.6447 | 234.494 | 8.8167 | 21.112 | 8.988 | 19.7073 | 7.5827 | 888 | 68.6207 | 27.8193
2020-01-23 14:00:00 | 4.4967 | 229.3 | 5.1773 | 251.9733 | 8.2707 | 20.3313 | 8.7827 | 26.1133 | 8.06 | 887.4 | 67.3807 | 21.3167
2020-01-23 14:15:00 | 4.6007 | 185.5173 | 5.2973 | 203.86 | 8.1567 | 20.68 | 8.2087 | 22.8593 | 8.2313 | 887 | 66.556 | 16.9867
2020-01-23 14:30:00 | 4.588 | 131.2827 | 5.2773 | 144.2613 | 7.7927 | 20.2333 | 7.4887 | 23.9473 | 7.782 | 887.6667 | 67.5167 | 18.842
2020-01-23 14:45:00 | 3.7173 | 110.1227 | 4.276 | 121.012 | 6.5547 | 16.1573 | 6.5967 | 20.4807 | 7.7147 | 887 | 68.474 | 17.1267
2020-01-23 15:00:00 | 4.3787 | 199.942 | 5.0433 | 219.716 | 7.484 | 12.5393 | 7.2313 | 18.4113 | 7.7713 | 887 | 67.6073 | 19.3427
2020-01-23 15:15:00 | 4.3627 | 139.4167 | 5.0227 | 153.1987 | 7.588 | 15.348 | 7.1767 | 21.0487 | 7.6767 | 887 | 67.348 | 20.8207
2020-01-23 15:30:00 | 4.8833 | 62.068 | 5.6193 | 68.2 | 8.6527 | 16.824 | 8.4407 | 19.582 | 7.5073 | 887 | 67.452 | 23.0027
2020-01-23 15:45:00 | 4.6147 | 163.1327 | 5.312 | 179.2653 | 8.0767 | 16.7487 | 8.026 | 23.482 | 7.3913 | 887 | 67.474 | 22.1147
2020-01-23 16:00:00 | 4.1413 | 250.502 | 4.762 | 275.2733 | 7.8847 | 10.72 | 7.9267 | 18.5847 | 7.468 | 887 | 67.6893 | 20.1787
2020-01-23 16:15:00 | 4.332 | 162.9013 | 4.9833 | 179.0067 | 8.0593 | 15.1347 | 8.014 | 19.7393 | 7.3647 | 887 | 68.1507 | 22.13
2020-01-23 16:30:00 | 4.0467 | 197.6933 | 4.6587 | 217.2467 | 7.76 | 17.4207 | 7.84 | 18.598 | 7.2927 | 887 | 68.792 | 19.528
2020-01-23 16:45:00 | 4.1627 | 185.072 | 4.7887 | 203.376 | 7.6927 | 22.3687 | 7.7433 | 32.358 | 7.1447 | 887 | 69.0127 | 22.262
2020-01-23 17:00:00 | 4.216 | 219.3987 | 4.8507 | 241.0867 | 7.6287 | 25.138 | 7.8233 | 32.4513 | 6.9513 | 887 | 69.5853 | 23.6427
2020-01-23 17:15:00 | 4.1507 | 154.732 | 4.778 | 170.0333 | 7.512 | 22.016 | 7.812 | 31.36 | 6.7313 | 887 | 70.09 | 24.518
2020-01-23 17:30:00 | 4.172 | 215.5733 | 4.8053 | 236.8933 | 7.9013 | 22.27 | 7.8473 | 28.806 | 6.56 | 887 | 71.542 | 24.178
2020-01-23 17:45:00 | 4.056 | 221.5327 | 4.6673 | 243.44 | 7.6587 | 23.5007 | 7.9813 | 29.466 | 6.3993 | 887 | 71.9387 | 24.802
2020-01-23 18:00:00 | 4.006 | 125.1373 | 4.604 | 137.5133 | 7.5987 | 17.8727 | 7.7053 | 26.746 | 6.2933 | 887 | 71.448 | 21.718
2020-01-23 18:15:00 | 4.2427 | 250.8613 | 4.8893 | 275.6667 | 7.964 | 13.9447 | 8.2107 | 27.3087 | 6.2253 | 887 | 71.096 | 25.2947
2020-01-23 18:30:00 | 4.2147 | 246.52 | 4.8527 | 270.9 | 8.0813 | 14.17 | 8.532 | 29.9433 | 6.1053 | 887 | 71.536 | 27.5593
2020-01-23 18:45:00 | 4.2033 | 258.26 | 4.84 | 283.8 | 7.984 | 19.5347 | 8.182 | 23.316 | 6.0453 | 887.9333 | 71.2873 | 30.6113
2020-01-23 19:00:00 | 4.7373 | 101.348 | 5.4487 | 111.3633 | 8.4147 | 22.2667 | 8.502 | 18.7513 | 6.1153 | 888 | 70.3147 | 33.5027
2020-01-23 19:15:00 | 4.3327 | 178.542 | 4.9847 | 196.1933 | 8.068 | 128.3787 | 8.64 | 25.03 | 6.0567 | 888 | 70.3873 | 33.6273
2020-01-23 19:30:00 | 4.9227 | 146.6967 | 5.6647 | 161.2 | 8.7527 | 19.9253 | 9.1573 | 25.3167 | 6.0673 | 888 | 69.9573 | 35.1253
2020-01-23 19:45:00 | 4.34 | 104.784 | 4.9927 | 115.1467 | 8.298 | 13.1493 | 8.6127 | 25.1653 | 5.9093 | 888.2667 | 70.8733 | 32.9807
2020-01-23 20:00:00 | 3.9773 | 171.334 | 4.5793 | 188.28 | 7.6513 | 12.2113 | 7.8567 | 25.204 | 5.9213 | 889 | 70.1153 | 32.4333
2020-01-23 20:15:00 | 4.01 | 87.484 | 4.6113 | 96.1267 | 7.642 | 21.2713 | 8.4173 | 34.3053 | 5.826 | 889 | 70.844 | 33.3467
2020-01-23 20:30:00 | 4.5767 | 191.6967 | 5.268 | 210.6533 | 8.5913 | 11.7353 | 8.968 | 29.2633 | 5.8513 | 889 | 70.564 | 34.1233
2020-01-23 20:45:00 | 4.688 | 186.2093 | 5.396 | 204.6267 | 9.022 | 13.5333 | 9.522 | 29.57 | 5.876 | 889.2667 | 70.444 | 40.042
2020-01-23 21:00:00 | 4.6613 | 146.0107 | 5.36 | 160.4467 | 9.024 | 14.086 | 9.3767 | 28.5633 | 5.794 | 890 | 71.0207 | 40.0127
2020-01-23 21:15:00 | 4.8473 | 120.8993 | 5.5793 | 132.8567 | 9.1767 | 126.8513 | 9.766 | 29.0547 | 5.7707 | 890 | 70.9307 | 41.2213
2020-01-23 21:30:00 | 4.816 | 148.2707 | 5.54 | 162.9293 | 9.2413 | 12.316 | 9.6067 | 25.4593 | 5.808 | 890 | 70.4367 | 42.884
2020-01-23 21:45:00 | 4.8533 | 164.3207 | 5.592 | 180.5627 | 9.3147 | 16.664 | 9.81 | 27.1407 | 5.8213 | 890 | 70.4533 | 43.9593
2020-01-23 22:00:00 | 5.3593 | 187.8627 | 6.1687 | 206.434 | 10.1573 | 23.028 | 10.6 | 29.5753 | 5.814 | 890 | 70.8013 | 46.156
2020-01-23 22:15:00 | 5.9853 | 88.0107 | 6.8947 | 96.71 | 11.1267 | 21.5427 | 11.6313 | 31.2433 | 5.846 | 890 | 70.8487 | 51.3793
2020-01-23 22:30:00 | 6.1293 | 204.0233 | 7.054 | 224.1967 | 11.4373 | 13.758 | 11.7667 | 28.0227 | 5.8487 | 890 | 70.9453 | 53.358
2020-01-23 22:45:00 | 5.92 | 146.6993 | 6.82 | 161.2033 | 11.0953 | 13.484 | 11.4447 | 24.52 | 5.842 | 890 | 71.16 | 51.918
2020-01-23 23:00:00 | 6.532 | 214.7293 | 7.5213 | 235.96 | 11.7973 | 21.7187 | 12.13 | 27.4347 | 5.87 | 890 | 71.208 | 51.6007
2020-01-23 23:15:00 | 6.2947 | 240.7987 | 7.2387 | 264.6133 | 11.2433 | 19.782 | 11.4933 | 26.9447 | 5.906 | 890 | 71.3113 | 49.1713
2020-01-23 23:30:00 | 6.14 | 178.2493 | 7.062 | 195.8767 | 11.4393 | 19.714 | 11.3227 | 23.0993 | 5.87 | 890 | 71.6807 | 51.51
2020-01-23 23:45:00 | 6.5187 | 244.722 | 7.5 | 268.92 | 12.182 | 18.6453 | 12.2373 | 29.3213 | 5.7947 | 890 | 72.4513 | 55.3273