## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-24 00:00:00 | 6.9086 | 234.0829 | 7.9564 | 257.2286 | 12.8757 | 21.825 | 12.7707 | 26.5514 | 5.7536 | 890 | 72.718 | 56.5793
2020-01-24 00:15:00 | 7.304 | 237.3327 | 8.4127 | 260.8 | 13.234 | 22.4887 | 13.3173 | 27.5247 | 5.7453 | 890 | 72.7893 | 59.3913
2020-01-24 00:30:00 | 8.196 | 224.744 | 9.4213 | 246.9667 | 14.4567 | 20.8213 | 14.4967 | 23.4967 | 5.7153 | 890 | 72.8433 | 59.8853
2020-01-24 00:45:00 | 7.2947 | 189.952 | 8.388 | 208.73 | 13.5427 | 11.6187 | 13.6507 | 21.188 | 5.6273 | 890 | 73.2007 | 59.29
2020-01-24 01:00:00 | 7.7773 | 197.1493 | 8.954 | 216.6467 | 14.112 | 19.7993 | 14.1593 | 27.624 | 5.5207 | 890 | 73.8607 | 57.4107
2020-01-24 01:15:00 | 7.584 | 203.7813 | 8.724 | 223.9267 | 13.712 | 21.5447 | 13.7647 | 26.5887 | 5.2987 | 889.3333 | 75.0393 | 57.6113
2020-01-24 01:30:00 | 7.1273 | 184.846 | 8.1987 | 203.1267 | 13.1387 | 23.1467 | 13.202 | 25.9093 | 5.064 | 890 | 76.646 | 55.5
2020-01-24 01:45:00 | 7.3647 | 108.568 | 8.4733 | 119.298 | 13.2593 | 21.6107 | 13.522 | 26.1213 | 5.0547 | 889.6667 | 77.2947 | 56.31
2020-01-24 02:00:00 | 7.4287 | 138.8047 | 8.5533 | 152.5287 | 13.6793 | 16.3873 | 13.9067 | 23.8573 | 5.0833 | 889.6667 | 77.6153 | 55.87
2020-01-24 02:15:00 | 7.3413 | 154.0047 | 8.4527 | 169.23 | 13.4547 | 10.6707 | 13.6167 | 19.0413 | 5.1913 | 889.6667 | 77.1467 | 56.362
2020-01-24 02:30:00 | 7.4827 | 254.0793 | 8.6053 | 279.2067 | 13.7873 | 17.488 | 14.0413 | 22.152 | 5.18 | 889 | 77.3113 | 55.9627
2020-01-24 02:45:00 | 7.0393 | 235.4333 | 8.0967 | 258.7133 | 12.9467 | 11.6633 | 13.334 | 23.6053 | 5.1773 | 889.2667 | 77.252 | 45.4353
2020-01-24 03:00:00 | 6.7653 | 139.956 | 7.7927 | 153.7967 | 12.2107 | 18 | 12.734 | 29.112 | 5.202 | 890 | 77.0373 | 48.742
2020-01-24 03:15:00 | 6.8893 | 191.936 | 7.924 | 210.9133 | 12.3067 | 12.6327 | 12.882 | 23.9947 | 5.198 | 890 | 77.2627 | 52.184
2020-01-24 03:30:00 | 7.176 | 229.4133 | 8.2573 | 252.1027 | 12.878 | 18.3393 | 13.188 | 24.2293 | 5.1487 | 890 | 77.844 | 56.564
2020-01-24 03:45:00 | 7.5053 | 196.782 | 8.64 | 216.2367 | 13.672 | 6.844 | 13.7173 | 30.22 | 5.1573 | 889.0667 | 77.8007 | 57.4753
2020-01-24 04:00:00 | 7.7493 | 201.4893 | 8.916 | 221.414 | 14.1127 | 9.902 | 14.434 | 24.1707 | 5.096 | 889 | 78.468 | 58.9733
2020-01-24 04:15:00 | 8.2167 | 186.4027 | 9.454 | 204.8333 | 14.7787 | 14.382 | 14.5927 | 17.902 | 5.0327 | 889 | 79.0367 | 59.804
2020-01-24 04:30:00 | 7.9593 | 132.824 | 9.16 | 145.9533 | 14.264 | 11.3787 | 14.2287 | 20.5373 | 4.9953 | 889 | 79.47 | 58.0247
2020-01-24 04:45:00 | 7.376 | 203.0813 | 8.486 | 223.16 | 13.5253 | 8.558 | 13.3847 | 18.9853 | 4.928 | 889 | 80.1573 | 57.7227
2020-01-24 05:00:00 | 7.436 | 65.3647 | 8.5547 | 71.8233 | 13.558 | 12.3853 | 13.3113 | 19.412 | 4.8233 | 889 | 81.1667 | 57.5493
2020-01-24 05:15:00 | 7.302 | 239.6747 | 8.4027 | 263.38 | 13.46 | 13.6787 | 13.5627 | 26.74 | 4.7573 | 889 | 81.86 | 58.2633
2020-01-24 05:30:00 | 7.8367 | 95.236 | 9.018 | 104.6567 | 14.092 | 10.14 | 13.9693 | 15.844 | 4.6553 | 889 | 83.0067 | 58.99
2020-01-24 05:45:00 | 7.9847 | 115.2707 | 9.188 | 126.6707 | 14.166 | 12.72 | 13.7027 | 18.9693 | 4.4253 | 889 | 85.4333 | 58.628
2020-01-24 06:00:00 | 7.4373 | 102.376 | 8.5567 | 112.4927 | 13.3033 | 12.9827 | 13.1933 | 23.514 | 3.972 | 889 | 89.98 | 57.4907
2020-01-24 06:15:00 | 6.8667 | 138.382 | 7.9047 | 152.0687 | 12.3633 | 17.4373 | 12.3407 | 19.462 | 3.658 | 889.2667 | 92.36 | 55.06
2020-01-24 06:30:00 | 7.2173 | 183.762 | 8.3027 | 201.9347 | 13.0727 | 14.2827 | 13.0807 | 19.6073 | 3.456 | 890 | 93.7267 | 57.1633
2020-01-24 06:45:00 | 6.6793 | 47.8713 | 7.686 | 52.5993 | 12.292 | 12.7393 | 12.6207 | 18.3793 | 3.3067 | 890 | 94.7267 | 58.2173
2020-01-24 07:00:00 | 7.0267 | 178.0173 | 8.0853 | 195.614 | 13.0927 | 15.8313 | 13.3647 | 15.99 | 3.1547 | 890 | 96.12 | 58.4627
2020-01-24 07:15:00 | 7.046 | 222.4613 | 8.1047 | 244.46 | 13.0027 | 10.2447 | 13.136 | 19.5113 | 3.0513 | 890 | 96.7333 | 56.8133
2020-01-24 07:30:00 | 7.3987 | 134.0947 | 8.518 | 147.3467 | 13.26 | 10.1127 | 13.8047 | 20.9453 | 3.014 | 890.6667 | 96.5867 | 57.5247
2020-01-24 07:45:00 | 7.586 | 126.1607 | 8.73 | 138.63 | 13.414 | 15.2733 | 13.6693 | 20.5067 | 2.9253 | 891 | 96.8667 | 57.6653
2020-01-24 08:00:00 | 7.5467 | 128.994 | 8.6853 | 141.7487 | 13.5613 | 17.4467 | 13.7133 | 19.27 | 2.81 | 891 | 97.4533 | 55.438
2020-01-24 08:15:00 | 7.1107 | 156.8947 | 8.1807 | 172.4047 | 12.144 | 11.6707 | 11.7093 | 8.068 | 2.7387 | 891 | 97.6333 | 56.014
2020-01-24 08:30:00 | 7.964 | 124.0453 | 9.166 | 136.3147 | 13.582 | 11.1713 | 12.9733 | 20.0473 | 2.578 | 891 | 97.8867 | 58.1147
2020-01-24 08:45:00 | 7.9373 | 121.2067 | 9.1313 | 133.186 | 13.352 | 17.1427 | 12.6667 | 79.7547 | 2.4147 | 891.2667 | 98.1933 | 57.4773
2020-01-24 09:00:00 | 8.08 | 225.1313 | 9.292 | 247.396 | 13.736 | 20.0013 | 13.2173 | 21.958 | 2.3467 | 892 | 98.5 | 58.5467
2020-01-24 09:15:00 | 7.7473 | 80.5927 | 8.91 | 88.5567 | 13.5887 | 12.8973 | 13.064 | 21.164 | 2.304 | 892 | 98.8933 | 59.4893
2020-01-24 09:30:00 | 7.7707 | 198.702 | 8.9393 | 218.3467 | 13.668 | 12.596 | 13.372 | 30.1067 | 2.256 | 892 | 99.1867 | 59.938
2020-01-24 09:45:00 | 8.0093 | 50.5327 | 9.2147 | 55.5267 | 13.9647 | 16.7187 | 13.766 | 24.518 | 2.246 | 892 | 99.4333 | 59.8153
2020-01-24 10:00:00 | 7.8613 | 186.7107 | 9.0453 | 205.172 | 14.14 | 21.2273 | 13.758 | 22.4227 | 2.276 | 892 | 99.66 | 59.8047
2020-01-24 10:15:00 | 8.0293 | 84.428 | 9.236 | 92.768 | 14.04 | 15.754 | 13.6913 | 19.446 | 2.334 | 892.2667 | 99.82 | 59.1553
2020-01-24 10:30:00 | 7.5033 | 39.6833 | 8.632 | 43.6007 | 13.3333 | 14.796 | 13.16 | 20.854 | 2.4607 | 893 | 99.96 | 58.91
2020-01-24 10:45:00 | 7.2827 | 138.7413 | 8.3727 | 152.4527 | 13.3093 | 15.5487 | 13.004 | 21.0173 | 2.4793 | 893 | 100 | 58.862
2020-01-24 11:00:00 | 6.9933 | 270.252 | 8.044 | 296.9733 | 12.9273 | 13.7313 | 12.9413 | 21.106 | 2.612 | 893 | 100 | 59.3967
2020-01-24 11:15:00 | 6.9547 | 228.4887 | 7.9993 | 251.0813 | 12.7073 | 12.1267 | 12.952 | 19.618 | 2.7453 | 893 | 100 | 59.806
2020-01-24 11:30:00 | 6.7813 | 32.4773 | 7.798 | 35.688 | 12.3887 | 17.2367 | 12.7387 | 24.5053 | 2.9927 | 893 | 100 | 58.2667
2020-01-24 11:45:00 | 6.9827 | 146.5813 | 8.0313 | 161.0707 | 12.7593 | 17.48 | 13.09 | 23.998 | 3.2087 | 893 | 100 | 58.3727
2020-01-24 12:00:00 | 7.4773 | 80.9193 | 8.606 | 88.914 | 13.4587 | 22.0407 | 13.4367 | 26.18 | 3.5067 | 893 | 99.96 | 58.09
2020-01-24 12:15:00 | 7.2407 | 144.498 | 8.328 | 158.786 | 12.6493 | 24.216 | 12.828 | 31.8133 | 3.72 | 893 | 98.6733 | 55.346
2020-01-24 12:30:00 | 7.0773 | 289.1347 | 8.15 | 317.7267 | 12.6113 | 13.554 | 12.8487 | 32.3293 | 3.858 | 893 | 96.94 | 56.8887
2020-01-24 12:45:00 | 7.6867 | 302.5747 | 8.8447 | 332.4933 | 13.4853 | 20.204 | 13.8887 | 32.8053 | 3.7793 | 893 | 95.9333 | 55.5793
2020-01-24 13:00:00 | 7.842 | 140.7747 | 9.0247 | 154.6967 | 13.898 | 17.0467 | 14.482 | 32.322 | 3.708 | 892.3333 | 95.0667 | 54.942
2020-01-24 13:15:00 | 7.6187 | 136.2867 | 8.768 | 149.7593 | 13.5913 | 23.5487 | 14.192 | 31.0213 | 3.7207 | 892 | 93.7067 | 53.6313
2020-01-24 13:30:00 | 7.8267 | 194.206 | 9.006 | 213.404 | 13.566 | 23.548 | 14.31 | 31.9993 | 3.7353 | 892 | 91.7333 | 54.5193
2020-01-24 13:45:00 | 7.372 | 218.534 | 8.478 | 240.1387 | 12.6693 | 20.96 | 14.0067 | 30.234 | 3.762 | 892 | 89.7667 | 55.1687
2020-01-24 14:00:00 | 7.346 | 80.172 | 8.4507 | 88.098 | 12.634 | 21.412 | 13.518 | 27.5033 | 3.8513 | 892 | 88.3 | 53.72
2020-01-24 14:15:00 | 6.9667 | 67.864 | 8.0153 | 74.5733 | 12.0327 | 17.5393 | 12.648 | 28.6367 | 4.05 | 892 | 86.8533 | 52.3013
2020-01-24 14:30:00 | 7.2 | 192.9687 | 8.29 | 212.0467 | 12.6107 | 14.9467 | 12.9433 | 27.128 | 4.2213 | 892 | 85.5867 | 54.61
2020-01-24 14:45:00 | 7.2853 | 278.7193 | 8.3773 | 306.2867 | 12.704 | 12.8733 | 13.412 | 28.1647 | 4.3173 | 891.0667 | 85.14 | 53.7507
2020-01-24 15:00:00 | 7.3673 | 102.0773 | 8.472 | 112.1667 | 12.938 | 22.0553 | 13.5267 | 31.7427 | 4.4427 | 891 | 84.9867 | 54.1387
2020-01-24 15:15:00 | 6.8667 | 224.3107 | 7.904 | 246.4853 | 12.006 | 17.8873 | 12.4567 | 33.6467 | 4.4833 | 891 | 84.6533 | 51.1553
2020-01-24 15:30:00 | 6.794 | 117.6447 | 7.8127 | 129.2807 | 11.5913 | 20.9567 | 12.276 | 32.988 | 4.3893 | 891.6 | 84.7067 | 49.3567
2020-01-24 15:45:00 | 6.6033 | 200.6593 | 7.5967 | 220.504 | 11.316 | 22.208 | 12.422 | 36.5473 | 4.1653 | 891.3333 | 86.32 | 46.196
2020-01-24 16:00:00 | 6.4093 | 248.146 | 7.3767 | 272.684 | 11.2153 | 22.196 | 12.044 | 34.5867 | 4.0913 | 891.3333 | 87.0467 | 48.0073
2020-01-24 16:15:00 | 6.8973 | 141.042 | 7.9353 | 154.9793 | 12.0447 | 20.122 | 12.6513 | 27.7313 | 4.1093 | 891 | 86.8467 | 51.27
2020-01-24 16:30:00 | 6.93 | 121.2507 | 7.9733 | 133.24 | 12.1833 | 20.2047 | 12.6993 | 26.4053 | 4.224 | 891 | 85.8733 | 52.32
2020-01-24 16:45:00 | 6.738 | 82.2893 | 7.7493 | 90.4207 | 11.9887 | 18.2213 | 12.3747 | 26.86 | 4.3113 | 891 | 85.8333 | 53.3667
2020-01-24 17:00:00 | 6.1553 | 17.8513 | 7.0887 | 19.6113 | 11.0373 | 25.398 | 11.1207 | 29.0967 | 4.2087 | 891.6 | 86.5867 | 53.4407
2020-01-24 17:15:00 | 6.2947 | 136.0387 | 7.2493 | 149.488 | 11.4307 | 12.7753 | 11.5387 | 25.8473 | 3.9673 | 891.7333 | 88.2 | 56.0553
2020-01-24 17:30:00 | 6.2073 | 137.5193 | 7.1413 | 151.1153 | 11.5467 | 17.1207 | 11.894 | 28.7593 | 3.8813 | 891 | 87.82 | 57.0967
2020-01-24 17:45:00 | 6.9793 | 226.4967 | 8.034 | 248.8947 | 12.2513 | 22.5007 | 12.7213 | 26.4947 | 3.9407 | 891 | 85.5133 | 57.214
2020-01-24 18:00:00 | 7.656 | 155.342 | 8.8087 | 170.7 | 13.496 | 21.7813 | 13.706 | 24.0727 | 3.95 | 891 | 84.2867 | 57.5967
2020-01-24 18:15:00 | 7.3373 | 165.9487 | 8.448 | 182.3607 | 13.168 | 13.1347 | 13.3853 | 30.938 | 3.878 | 892 | 84.9467 | 53.7087
2020-01-24 18:30:00 | 6.6633 | 133.534 | 7.6607 | 146.7393 | 12.108 | 17.14 | 12.5173 | 28.4873 | 3.766 | 892 | 85.34 | 52.0307
2020-01-24 18:45:00 | 6.2227 | 295.9773 | 7.156 | 325.2467 | 11.5873 | 12.5093 | 11.588 | 20.012 | 3.6613 | 892 | 85.6333 | 49.83
2020-01-24 19:00:00 | 6.4447 | 187.208 | 7.4127 | 205.7167 | 11.886 | 16.42 | 12.0247 | 19.9993 | 3.5767 | 892 | 85.4333 | 52.674
2020-01-24 19:15:00 | 6.5233 | 237.144 | 7.502 | 260.5867 | 11.952 | 17.216 | 12.3707 | 19.3567 | 3.51 | 892 | 85.5 | 54.5887
2020-01-24 19:30:00 | 6.1787 | 225.7047 | 7.1067 | 248.0267 | 11.3673 | 16.3227 | 12.1127 | 27.058 | 3.3693 | 892 | 86.2267 | 53.4453
2020-01-24 19:45:00 | 6.176 | 165.9613 | 7.108 | 182.3667 | 11.3887 | 18.6087 | 12.1613 | 26.1113 | 3.3307 | 892 | 86.5867 | 56.978
2020-01-24 20:00:00 | 6.736 | 156.978 | 7.7507 | 172.5007 | 12.1413 | 14.1267 | 12.906 | 29.7153 | 3.2153 | 892 | 86.8667 | 55.8667
2020-01-24 20:15:00 | 6.81 | 49.1267 | 7.8307 | 53.9827 | 12.0667 | 18.4407 | 12.6707 | 30.9833 | 3.2313 | 892.9333 | 85.76 | 54.998
2020-01-24 20:30:00 | 6.506 | 139.3487 | 7.48 | 153.132 | 11.7113 | 18.1173 | 12.3473 | 32.0253 | 3.0987 | 893 | 85.72 | 53.1867
2020-01-24 20:45:00 | 7.056 | 61.804 | 8.1187 | 67.9113 | 12.8753 | 13.608 | 13.4327 | 23.6807 | 3.084 | 893 | 85.08 | 53.7007
2020-01-24 21:00:00 | 7.1227 | 168.512 | 8.1933 | 185.1767 | 12.938 | 18.8027 | 13.5153 | 26.5333 | 3.156 | 893 | 84.2067 | 51.1667
2020-01-24 21:15:00 | 6.948 | 161.1447 | 7.9947 | 177.08 | 12.4273 | 20.26 | 12.964 | 30.118 | 3.2687 | 893 | 83.44 | 53.036
2020-01-24 21:30:00 | 6.0767 | 169.5593 | 6.9953 | 186.3253 | 10.9493 | 21.1627 | 11.58 | 32.9907 | 3.4073 | 893 | 83.0667 | 51.952
2020-01-24 21:45:00 | 6.012 | 168.422 | 6.92 | 185.078 | 11.0467 | 13.7573 | 11.264 | 23.9167 | 3.4627 | 894 | 83.5067 | 48.2053
2020-01-24 22:00:00 | 6.0447 | 211.3853 | 6.9553 | 232.2933 | 10.95 | 10.07 | 11.3567 | 28.326 | 3.5847 | 894 | 83.1333 | 49.7153
2020-01-24 22:15:00 | 5.964 | 268.0647 | 6.8607 | 294.5733 | 11.0073 | 18.3733 | 11.566 | 27.12 | 3.5693 | 894 | 83.7067 | 48.7287
2020-01-24 22:30:00 | 6.3433 | 233.916 | 7.2993 | 257.0413 | 11.458 | 18.974 | 11.8513 | 27.3687 | 3.4553 | 894 | 84.1467 | 51.0653
2020-01-24 22:45:00 | 6.5167 | 233.4427 | 7.494 | 256.522 | 11.8393 | 21.426 | 12.0193 | 28.2153 | 3.1353 | 893.6667 | 84.5933 | 53.242
2020-01-24 23:00:00 | 6.4733 | 203.3173 | 7.4487 | 223.42 | 11.4973 | 16.732 | 11.6127 | 26.5033 | 3.0007 | 893.6 | 84.64 | 51.8207
2020-01-24 23:15:00 | 6.22 | 94.26 | 7.1607 | 103.58 | 11.408 | 11.3147 | 11.5193 | 15.7727 | 2.8333 | 893.2667 | 85.32 | 47.6827
2020-01-24 23:30:00 | 5.484 | 192.6653 | 6.312 | 211.7167 | 10.4 | 17.3653 | 10.712 | 25.24 | 2.6567 | 894 | 85.9133 | 49.868
2020-01-24 23:45:00 | 5.67 | 230.2507 | 6.526 | 253.0147 | 10.798 | 21.4513 | 11.0707 | 26.4673 | 2.4367 | 893.7333 | 87.04 | 52.9187