## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-25 00:00:00 | 5.9857 | 227.7229 | 6.8886 | 250.2386 | 11.1279 | 23.9621 | 11.6436 | 27.1171 | 2.2486 | 893 | 87.78 | 52.9829
2020-01-25 00:15:00 | 6.2653 | 167.3553 | 7.2127 | 183.9053 | 11.2853 | 22.3667 | 11.696 | 26.6347 | 2.26 | 893 | 87.3733 | 50.2733
2020-01-25 00:30:00 | 6.2133 | 246.7027 | 7.15 | 271.0933 | 11.2047 | 17.258 | 11.56 | 26.7047 | 2.2173 | 893 | 87.1 | 48.8947
2020-01-25 00:45:00 | 5.862 | 238.4613 | 6.744 | 262.04 | 11.024 | 15.778 | 11.328 | 24.512 | 2.0653 | 893 | 87.74 | 48.4267
2020-01-25 01:00:00 | 5.7333 | 156.7573 | 6.6013 | 172.26 | 10.9133 | 15.4527 | 11.1507 | 19.4447 | 2.0393 | 893 | 87.98 | 49.2333
2020-01-25 01:15:00 | 5.972 | 231.9007 | 6.8733 | 254.8333 | 11.2813 | 7.8907 | 11.112 | 16.9553 | 2.1747 | 892.0667 | 87.36 | 53.7987
2020-01-25 01:30:00 | 6.744 | 225.4807 | 7.7567 | 247.78 | 12.192 | 13.6173 | 11.9627 | 19.47 | 2.4093 | 892 | 86.2733 | 55.1973
2020-01-25 01:45:00 | 6.6727 | 123.9347 | 7.678 | 136.19 | 12.122 | 8.5953 | 12.0113 | 19.9407 | 2.5253 | 892 | 85.6933 | 57.072
2020-01-25 02:00:00 | 6.9567 | 144.9193 | 8.006 | 159.244 | 12.7047 | 16.1753 | 12.5693 | 18.896 | 2.5247 | 892 | 86.1 | 60.5527
2020-01-25 02:15:00 | 6.7427 | 165.6533 | 7.752 | 182.026 | 12.3793 | 14.2727 | 12.22 | 23.3 | 2.5373 | 892 | 86.3667 | 59.138
2020-01-25 02:30:00 | 6.2313 | 30.11 | 7.1713 | 33.0867 | 11.7787 | 12.3293 | 11.6613 | 16.2627 | 2.3907 | 892 | 87.28 | 57.9367
2020-01-25 02:45:00 | 6.6093 | 218.7393 | 7.6053 | 240.3693 | 12.0593 | 14.7327 | 11.878 | 28.2187 | 2.3693 | 891.6667 | 87.3467 | 58.346
2020-01-25 03:00:00 | 6.8193 | 66.124 | 7.844 | 72.6553 | 12.3887 | 20.1213 | 12.4733 | 26.88 | 2.368 | 891 | 86.9867 | 58.7373
2020-01-25 03:15:00 | 7.3147 | 161.946 | 8.4167 | 177.962 | 12.866 | 15.4707 | 13.0287 | 28.7973 | 2.5087 | 891 | 86.0333 | 58.478
2020-01-25 03:30:00 | 7.1673 | 125.6633 | 8.2467 | 138.088 | 13.098 | 17.1887 | 13.4173 | 29.7173 | 2.4567 | 891 | 85.9333 | 56.6073
2020-01-25 03:45:00 | 6.7453 | 145.8347 | 7.7593 | 160.2533 | 12.3433 | 19.994 | 12.582 | 27.4267 | 2.47 | 891 | 85.4067 | 54.544
2020-01-25 04:00:00 | 6.2353 | 197.072 | 7.1747 | 216.56 | 11.7007 | 15.628 | 11.942 | 25.558 | 2.4253 | 891 | 84.9733 | 50.7707
2020-01-25 04:15:00 | 5.5453 | 165.732 | 6.378 | 182.118 | 10.44 | 17.3333 | 10.9327 | 23.8513 | 2.36 | 891 | 84.78 | 38.5427
2020-01-25 04:30:00 | 4.57 | 181.8073 | 5.2573 | 199.7787 | 8.5647 | 20.05 | 8.8907 | 35.338 | 2.3327 | 891.6667 | 84.7 | 25.2253
2020-01-25 04:45:00 | 3.5967 | 214.956 | 4.14 | 236.2067 | 7.004 | 19.5027 | 7.3873 | 25.19 | 2.3227 | 892 | 84.1467 | 19.528
2020-01-25 05:00:00 | 3.3013 | 190.0013 | 3.7973 | 208.79 | 6.3253 | 22.1913 | 6.0647 | 29.786 | 2.09 | 892 | 83.9133 | 14.54
2020-01-25 05:15:00 | 3.6313 | 140.36 | 4.1813 | 154.24 | 6.9067 | 26.936 | 6.3107 | 30.8173 | 1.904 | 893 | 83.6267 | 13.8653
2020-01-25 05:30:00 | 2.866 | 235.952 | 3.3007 | 259.2827 | 5.3533 | 179.9227 | 5.2 | 125.8873 | 1.7653 | 893 | 84.4067 | 17.578
2020-01-25 05:45:00 | 3.5153 | 134.948 | 4.0413 | 148.2873 | 6.6013 | 73.9967 | 6.4693 | 2.344 | 1.7533 | 892.0667 | 85.22 | 28.17
2020-01-25 06:00:00 | 4.528 | 291.6473 | 5.2093 | 320.4933 | 7.8353 | 3.16 | 7.776 | 12.1307 | 1.9053 | 892 | 84.2867 | 31.6487
2020-01-25 06:15:00 | 4.69 | 262.486 | 5.3933 | 288.44 | 8.348 | 12.2373 | 8.43 | 24.1053 | 1.868 | 892 | 84.6 | 31.104
2020-01-25 06:30:00 | 4.7633 | 182.3287 | 5.4833 | 200.36 | 8.596 | 15.6993 | 8.2473 | 25.7567 | 1.628 | 892 | 86.1267 | 41.1153
2020-01-25 06:45:00 | 4.8707 | 211.386 | 5.5987 | 232.2933 | 8.934 | 14.5247 | 9.0107 | 15.3793 | 1.454 | 892 | 87.4267 | 50.1827
2020-01-25 07:00:00 | 5.304 | 97.0413 | 6.1073 | 106.6293 | 9.858 | 14.4607 | 9.8313 | 21.0693 | 1.2047 | 892 | 88.92 | 51.636
2020-01-25 07:15:00 | 5.966 | 179.0533 | 6.8667 | 196.7573 | 10.7047 | 16.2733 | 10.692 | 13.7753 | 1.3173 | 891.0667 | 88.06 | 50.962
2020-01-25 07:30:00 | 5.8987 | 85.98 | 6.7873 | 94.4773 | 10.714 | 16.8993 | 10.508 | 17.836 | 1.3413 | 891.6 | 87.6467 | 48.7527
2020-01-25 07:45:00 | 5.658 | 110.2313 | 6.5113 | 121.13 | 10.4733 | 12.2453 | 10.6053 | 14.8713 | 1.29 | 892 | 87.9933 | 48.6773
2020-01-25 08:00:00 | 5.7847 | 130.832 | 6.6513 | 143.7733 | 10.5713 | 14.0587 | 10.812 | 16.4107 | 1.3133 | 892 | 87.7333 | 52.7207
2020-01-25 08:15:00 | 5.944 | 188.9353 | 6.8373 | 207.6133 | 11.064 | 9.5913 | 11.312 | 17.5793 | 1.3133 | 892 | 87.24 | 54.668
2020-01-25 08:30:00 | 5.8007 | 63.8267 | 6.6773 | 70.1367 | 10.8173 | 11.1393 | 11.112 | 19.2733 | 1.2907 | 892 | 87.52 | 53.272
2020-01-25 08:45:00 | 5.586 | 199.94 | 6.4227 | 219.71 | 10.6093 | 18.3007 | 10.7507 | 23.1873 | 1.3507 | 892 | 87.98 | 49.7593
2020-01-25 09:00:00 | 5.842 | 108.834 | 6.7227 | 119.5973 | 10.9467 | 17.5527 | 10.844 | 25.1253 | 1.4487 | 892 | 88.1067 | 48.1727
2020-01-25 09:15:00 | 6.4273 | 188.2353 | 7.3973 | 206.8533 | 11.858 | 9.2493 | 11.8293 | 42.8833 | 2.2907 | 892 | 85.9133 | 51.3053
2020-01-25 09:30:00 | 6.2307 | 243.8907 | 7.1687 | 268.0067 | 11.244 | 10.7493 | 10.9433 | 16.8973 | 3.7473 | 892.6667 | 80.0013 | 51.8527
2020-01-25 09:45:00 | 6.0467 | 226.7633 | 6.9587 | 249.1867 | 10.758 | 11.4473 | 10.5773 | 15.0607 | 4.3667 | 893 | 77.1853 | 49.298
2020-01-25 10:00:00 | 6.1093 | 116.7993 | 7.0347 | 128.3433 | 11.1873 | 11.4013 | 11.116 | 20.9567 | 5.086 | 893.6667 | 73.3613 | 51.406
2020-01-25 10:15:00 | 6.0873 | 69.3533 | 7.0027 | 76.2113 | 11.048 | 8.4213 | 11.1073 | 19.0927 | 5.1667 | 894 | 71.4313 | 50.134
2020-01-25 10:30:00 | 6.224 | 151.558 | 7.1587 | 166.5453 | 11.3373 | 13.6767 | 10.9773 | 17.97 | 4.9347 | 894 | 71.004 | 47.8387
2020-01-25 10:45:00 | 6.416 | 316.8693 | 7.3847 | 348.2067 | 11.5507 | 126.3067 | 11.2667 | 19.6 | 5.5207 | 894 | 69.076 | 47.1933
2020-01-25 11:00:00 | 6.7193 | 216.12 | 7.7273 | 237.4933 | 11.9413 | 18.3947 | 11.48 | 18.304 | 6.2767 | 894 | 66.0293 | 48.4747
2020-01-25 11:15:00 | 6.4813 | 130.654 | 7.4573 | 143.5693 | 11.4133 | 17.4133 | 11.164 | 16.4773 | 5.8493 | 894 | 67.2673 | 47.156
2020-01-25 11:30:00 | 6.46 | 220.0987 | 7.434 | 241.8667 | 11.54 | 9.7167 | 11.2113 | 25.184 | 6.1747 | 894 | 66.602 | 46.706
2020-01-25 11:45:00 | 6.2413 | 253.416 | 7.1853 | 278.4733 | 10.6547 | 11.8093 | 10.456 | 20.638 | 5.838 | 894 | 66.8253 | 43.3433
2020-01-25 12:00:00 | 5.81 | 270.9473 | 6.6853 | 297.7373 | 9.8447 | 14.5967 | 9.6007 | 19.8607 | 6.3407 | 894 | 65.2427 | 36.9227
2020-01-25 12:15:00 | 5.192 | 161.5773 | 5.9727 | 177.5593 | 8.6707 | 19.0753 | 8.2493 | 25.7587 | 7.0747 | 894 | 62.38 | 33.972
2020-01-25 12:30:00 | 5.3633 | 141.9753 | 6.17 | 156.01 | 8.9547 | 11.354 | 8.332 | 30.0953 | 7.2753 | 894 | 61.008 | 33.3007
2020-01-25 12:45:00 | 4.6973 | 152.222 | 5.412 | 167.2733 | 7.918 | 11.1827 | 7.446 | 19.354 | 7.264 | 894 | 59.9007 | 26.4747
2020-01-25 13:00:00 | 4.2373 | 248.0687 | 4.882 | 272.59 | 7.3053 | 14.7073 | 6.7307 | 25.6873 | 7.11 | 894 | 59.4407 | 23.834
2020-01-25 13:15:00 | 5.082 | 213.3287 | 5.848 | 234.4167 | 8.5147 | 10.79 | 7.9727 | 27.9007 | 6.8973 | 893.0667 | 59.2033 | 23.4287
2020-01-25 13:30:00 | 5.036 | 190.7813 | 5.792 | 209.6493 | 8.4727 | 22.7933 | 7.9053 | 24.6207 | 6.9627 | 893 | 58.8067 | 24.868
2020-01-25 13:45:00 | 4.6667 | 68.4073 | 5.37 | 75.1707 | 7.8553 | 19.6493 | 6.992 | 25.0087 | 7.366 | 893 | 57.696 | 24.5213
2020-01-25 14:00:00 | 5.5987 | 298.5413 | 6.4467 | 328.06 | 9.596 | 18.528 | 9.0787 | 21.4127 | 7.8187 | 893 | 56.198 | 26.9567
2020-01-25 14:15:00 | 5.784 | 122.6053 | 6.6573 | 134.7273 | 9.7807 | 15.8553 | 9.3333 | 22.0827 | 8.2713 | 892.0667 | 54.684 | 28.504
2020-01-25 14:30:00 | 5.836 | 68.912 | 6.7167 | 75.7227 | 10.1127 | 13.2047 | 9.624 | 12.4733 | 8.4007 | 892 | 53.7333 | 31.4773
2020-01-25 14:45:00 | 5.5807 | 266.9787 | 6.4207 | 293.3827 | 9.5933 | 18.368 | 9.3713 | 21.4987 | 8.7013 | 892 | 52.5393 | 31.7533
2020-01-25 15:00:00 | 5.5973 | 109.2653 | 6.4393 | 120.0707 | 9.236 | 31.36 | 8.71 | 33.3767 | 8.2767 | 892 | 53.6093 | 30.3693
2020-01-25 15:15:00 | 5.4367 | 53.3993 | 6.252 | 58.6753 | 8.6567 | 20.0827 | 8.4067 | 28.1487 | 7.7427 | 892 | 55.774 | 29.9373
2020-01-25 15:30:00 | 4.98 | 245.2507 | 5.7307 | 269.504 | 8.6093 | 29.04 | 7.822 | 27.0733 | 8.6133 | 892 | 53.3647 | 26.1947
2020-01-25 15:45:00 | 4.96 | 93.828 | 5.706 | 103.1093 | 8.3327 | 39.476 | 7.9233 | 20.5547 | 8.234 | 891.6667 | 54.3507 | 28.8787
2020-01-25 16:00:00 | 5.1413 | 184.5167 | 5.9173 | 202.7667 | 9.0933 | 20.9733 | 8.988 | 30.134 | 8.3193 | 891 | 54.2127 | 29.2133
2020-01-25 16:15:00 | 5.324 | 166.3007 | 6.1253 | 182.74 | 9.7233 | 11.1207 | 9.584 | 23.4867 | 8.1287 | 891 | 55.2013 | 30.8413
2020-01-25 16:30:00 | 5.09 | 214.194 | 5.8607 | 235.3767 | 9.1207 | 17.2167 | 8.8707 | 35.1313 | 8.2973 | 891 | 54.74 | 32.946
2020-01-25 16:45:00 | 5.3573 | 133.4507 | 6.17 | 146.6493 | 9.554 | 13.5153 | 9.5187 | 29.1667 | 7.6707 | 891 | 57.0207 | 34.39
2020-01-25 17:00:00 | 5.408 | 155.3873 | 6.2193 | 170.752 | 9.8113 | 18.412 | 9.8447 | 20.106 | 7.364 | 891 | 58.178 | 34.3547
2020-01-25 17:15:00 | 5.412 | 154.876 | 6.2233 | 170.1867 | 9.8813 | 22.6673 | 9.8213 | 22.578 | 7.0707 | 891 | 59.0227 | 34.7027
2020-01-25 17:30:00 | 5.2013 | 166.0267 | 5.9833 | 182.4367 | 9.668 | 16.5693 | 9.4087 | 23.1447 | 5.7467 | 891 | 63.6693 | 34.5987
2020-01-25 17:45:00 | 5.0427 | 137.9407 | 5.798 | 151.57 | 9.3487 | 14.2233 | 9.2027 | 23.9707 | 5.0433 | 891 | 66.3147 | 35.248
2020-01-25 18:00:00 | 5.2373 | 23.6893 | 6.0307 | 26.0313 | 9.5107 | 20.3513 | 9.2293 | 21.9447 | 4.628 | 891 | 67.8633 | 37.6387
2020-01-25 18:15:00 | 5.1187 | 188.9253 | 5.8887 | 207.6033 | 9.3313 | 17.546 | 9.3813 | 24.0147 | 4.3447 | 890 | 69.0227 | 34.8353
2020-01-25 18:30:00 | 5.048 | 107.59 | 5.8107 | 118.228 | 9.366 | 17.578 | 9.522 | 16.9913 | 4.0827 | 890 | 70.2833 | 35.5333
2020-01-25 18:45:00 | 5.31 | 130.6393 | 6.1073 | 143.5507 | 9.238 | 16.184 | 9.2933 | 13.9627 | 3.8633 | 890 | 70.846 | 38.0113
2020-01-25 19:00:00 | 4.9587 | 147.5913 | 5.7087 | 162.1847 | 8.746 | 14.528 | 8.6813 | 12.068 | 3.71 | 890 | 71.9633 | 36.0813
2020-01-25 19:15:00 | 4.5767 | 204.9267 | 5.2647 | 225.192 | 8.3967 | 9.6573 | 8.3987 | 24.4907 | 3.522 | 890 | 73.02 | 35.9053
2020-01-25 19:30:00 | 4.8553 | 104.8887 | 5.592 | 115.2567 | 9.0247 | 16.1107 | 8.8247 | 17.24 | 3.3013 | 890 | 74.1113 | 35.8893
2020-01-25 19:45:00 | 5.306 | 218.6607 | 6.1067 | 240.28 | 9.3347 | 8.93 | 9.0773 | 24.5873 | 3.2053 | 890 | 74.336 | 38.8647
2020-01-25 20:00:00 | 5.0193 | 200.3427 | 5.7753 | 220.1533 | 9.0693 | 19.8007 | 9.082 | 23.912 | 2.9973 | 890 | 75.2 | 37.6387
2020-01-25 20:15:00 | 5.332 | 182.8 | 6.138 | 200.8733 | 9.208 | 12.9707 | 8.7487 | 19.57 | 2.8627 | 890 | 75.638 | 37.454
2020-01-25 20:30:00 | 5.1613 | 124.2387 | 5.94 | 136.5247 | 8.57 | 18.374 | 8.3067 | 127.0927 | 2.7693 | 890.6 | 75.902 | 37.6907
2020-01-25 20:45:00 | 5.048 | 65.3827 | 5.8107 | 71.8453 | 8.1127 | 18.3167 | 7.8667 | 10.782 | 2.6933 | 891 | 76.2507 | 37.054
2020-01-25 21:00:00 | 5.0353 | 297.106 | 5.79 | 326.48 | 8.2787 | 23.0413 | 7.768 | 22.2053 | 2.6633 | 891 | 76.1773 | 37.1533
2020-01-25 21:15:00 | 5.1253 | 186.4813 | 5.8973 | 204.916 | 9.084 | 15.2027 | 8.8713 | 15.992 | 2.5693 | 891 | 76.4433 | 38.8293
2020-01-25 21:30:00 | 5.0267 | 112.2027 | 5.784 | 123.2953 | 8.2333 | 8.7147 | 7.9047 | 20.836 | 2.4847 | 891 | 76.496 | 39.45
2020-01-25 21:45:00 | 4.774 | 70.8247 | 5.496 | 77.8327 | 8.2987 | 16.2433 | 8.1047 | 17.476 | 2.4547 | 891 | 76.6533 | 37.284
2020-01-25 22:00:00 | 4.7867 | 56.606 | 5.508 | 62.1993 | 7.7847 | 12.678 | 7.746 | 20.7473 | 2.4907 | 891 | 76.562 | 35.008
2020-01-25 22:15:00 | 4.224 | 141.1033 | 4.8647 | 155.05 | 7.2747 | 11.4387 | 6.9733 | 11.9447 | 2.4673 | 891 | 76.6373 | 31.728
2020-01-25 22:30:00 | 4.23 | 207.9907 | 4.8667 | 228.5533 | 7.59 | 13.238 | 7.2433 | 23.6433 | 2.434 | 891 | 76.81 | 28.6233
2020-01-25 22:45:00 | 4.0713 | 143.334 | 4.6793 | 157.5033 | 7.1493 | 16.6467 | 6.6847 | 189.5427 | 2.4047 | 891 | 76.7807 | 25.9447
2020-01-25 23:00:00 | 3.4107 | 207.8107 | 3.9213 | 228.36 | 5.9253 | 163.0593 | 5.7373 | 348.7533 | 2.358 | 891 | 77.05 | 24.116
2020-01-25 23:15:00 | 3.4367 | 162.0927 | 3.9533 | 178.12 | 5.8867 | 343.4333 | 5.6447 | 190.9327 | 2.3467 | 891 | 76.862 | 23.778
2020-01-25 23:30:00 | 3.8033 | 64.826 | 4.3847 | 71.2393 | 6.1227 | 347.5333 | 5.586 | 11.8313 | 2.3813 | 891 | 76.736 | 22.6247
2020-01-25 23:45:00 | 3.926 | 148.3787 | 4.5133 | 163.0507 | 6.6027 | 208.2527 | 6.1607 | 14.2313 | 2.3127 | 891 | 77.366 | 21.696