## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-27 00:00:00 | 3.69 | 80.3786 | 4.2436 | 88.3214 | 6.905 | 134.1114 | 6.405 | 29.7679 | 1.1436 | 888 | 93.35 | 21.6857
2020-01-27 00:15:00 | 3.6567 | 125.384 | 4.2047 | 137.7733 | 6.7193 | 58.2407 | 6.2487 | 9.316 | 1.0313 | 888 | 94.1 | 20.984
2020-01-27 00:30:00 | 3.436 | 186.944 | 3.952 | 205.432 | 6.046 | 244.9967 | 5.726 | 68.7953 | 0.95867 | 888 | 94.7133 | 22.182
2020-01-27 00:45:00 | 3.5713 | 107.47 | 4.1093 | 118.0973 | 5.7393 | 77.5787 | 5.71 | 193.428 | 0.88867 | 888 | 95.08 | 22.052
2020-01-27 01:00:00 | 3.6147 | 111.9227 | 4.158 | 122.9893 | 5.5627 | 118.6873 | 5.3247 | 6.2473 | 0.77667 | 888 | 95.98 | 19.8187
2020-01-27 01:15:00 | 3.486 | 252.236 | 4.0087 | 277.178 | 5.9753 | 238.1613 | 5.5253 | 127.758 | 0.676 | 888 | 96.9733 | 19.6287
2020-01-27 01:30:00 | 3.59 | 113.1853 | 4.1313 | 124.3767 | 5.7313 | 125.224 | 5.494 | 10.2007 | 0.63533 | 888 | 97.4867 | 19.7313
2020-01-27 01:45:00 | 3.604 | 171.6313 | 4.1433 | 188.5987 | 5.78 | 173.9887 | 5.7853 | 7.024 | 0.61067 | 888 | 97.7933 | 20.0433
2020-01-27 02:00:00 | 3.7493 | 61.8233 | 4.3113 | 67.9347 | 6.0207 | 83.638 | 5.966 | 15.7653 | 0.588 | 887.3333 | 98.1533 | 20.1253
2020-01-27 02:15:00 | 3.868 | 87.6267 | 4.4487 | 96.2887 | 6.2127 | 15.2887 | 6.144 | 22.5047 | 0.55467 | 887 | 98.4 | 19.752
2020-01-27 02:30:00 | 3.6587 | 123.4627 | 4.2073 | 135.6667 | 5.3333 | 235.5187 | 5.3073 | 29.2713 | 0.516 | 887 | 98.4933 | 20.21
2020-01-27 02:45:00 | 3.6073 | 9.6633 | 4.1573 | 10.6073 | 5.222 | 7.636 | 5.3947 | 11.8107 | 0.492 | 887 | 98.7933 | 21.1087
2020-01-27 03:00:00 | 4.0227 | 85.252 | 4.6273 | 93.6793 | 5.3493 | 19.874 | 5.4333 | 10.6607 | 0.49533 | 887 | 98.96 | 24.1593
2020-01-27 03:15:00 | 4.004 | 123.9813 | 4.6067 | 136.242 | 5.9587 | 3.7053 | 6.0193 | 13.3913 | 0.502 | 887 | 99 | 23.3733
2020-01-27 03:30:00 | 3.5787 | 162.2427 | 4.1213 | 178.2887 | 5.8293 | 122.4133 | 5.598 | 10.0453 | 0.50133 | 887 | 99.06 | 24.082
2020-01-27 03:45:00 | 3.9173 | 172.8087 | 4.5073 | 189.8913 | 5.8653 | 127.2973 | 5.7327 | 8.7447 | 0.504 | 887 | 99.2 | 26.8633
2020-01-27 04:00:00 | 3.9667 | 153.0787 | 4.5633 | 168.212 | 5.9847 | 15.7967 | 5.8607 | 123.7067 | 0.46667 | 886.4 | 99.2867 | 28.2133
2020-01-27 04:15:00 | 4.098 | 178.2467 | 4.718 | 195.87 | 5.8973 | 51.47 | 5.554 | 13.2213 | 0.45733 | 886 | 99.5 | 25.9773
2020-01-27 04:30:00 | 3.94 | 122.176 | 4.5333 | 134.2567 | 6.2133 | 308.26 | 5.7093 | 170.6387 | 0.47467 | 886 | 99.5 | 24.7167
2020-01-27 04:45:00 | 3.2773 | 108.2167 | 3.7747 | 118.9133 | 5.4273 | 239.8433 | 5.4427 | 74.1007 | 0.49133 | 886 | 99.5 | 22.7233
2020-01-27 05:00:00 | 3.722 | 176.1467 | 4.28 | 193.5613 | 5.358 | 8.812 | 5.4413 | 10.572 | 0.498 | 886 | 99.4333 | 23.2553
2020-01-27 05:15:00 | 3.7947 | 13.19 | 4.3647 | 14.496 | 5.2453 | 7.356 | 5.296 | 57.104 | 0.48933 | 886 | 99.3 | 23.3173
2020-01-27 05:30:00 | 3.426 | 123.7247 | 3.9427 | 135.962 | 5.4507 | 126.6387 | 5.4573 | 76.166 | 0.48 | 886 | 99.36 | 26.922
2020-01-27 05:45:00 | 3.788 | 142.3693 | 4.3573 | 156.4427 | 6.0033 | 131.7453 | 5.8653 | 5.2587 | 0.46267 | 886 | 99.5333 | 25.9773
2020-01-27 06:00:00 | 3.7733 | 145.0407 | 4.3413 | 159.3787 | 5.9147 | 113.9467 | 5.764 | 15.018 | 0.46133 | 886 | 99.76 | 24.956
2020-01-27 06:15:00 | 3.7987 | 117.3947 | 4.3753 | 129.006 | 5.512 | 304.5 | 5.4847 | 130.9933 | 0.448 | 886 | 99.92 | 23.2067
2020-01-27 06:30:00 | 3.7127 | 167.4533 | 4.272 | 184.0087 | 5.816 | 3.2433 | 5.622 | 11.7467 | 0.424 | 886 | 100 | 23.6513
2020-01-27 06:45:00 | 3.646 | 273.4967 | 4.19 | 300.5387 | 5.7893 | 34.29 | 5.9707 | 17.992 | 0.38667 | 886 | 100 | 24.18
2020-01-27 07:00:00 | 3.7753 | 70.736 | 4.3453 | 77.7313 | 5.932 | 192.73 | 5.724 | 13.3553 | 0.366 | 886 | 100 | 27.1533
2020-01-27 07:15:00 | 4.084 | 83.5107 | 4.7013 | 91.7693 | 7.1547 | 351.3133 | 6.624 | 6.7667 | 0.37067 | 886 | 100 | 28.622
2020-01-27 07:30:00 | 3.788 | 4.2573 | 4.3627 | 4.6773 | 6.1793 | 339.1067 | 6.0113 | 3.7927 | 0.35667 | 886 | 100 | 27.586
2020-01-27 07:45:00 | 4.0267 | 53.8373 | 4.64 | 59.1567 | 6.2613 | 77.5587 | 6.0953 | 14.6173 | 0.358 | 886 | 100 | 27.9513
2020-01-27 08:00:00 | 4.1333 | 277.554 | 4.756 | 304.9973 | 7.19 | 2.972 | 7.1173 | 16.7633 | 0.35667 | 886 | 100 | 28.6547
2020-01-27 08:15:00 | 4.1473 | 176.1567 | 4.774 | 193.576 | 6.7353 | 13.7927 | 6.4847 | 14.5113 | 0.36 | 886 | 100 | 27.94
2020-01-27 08:30:00 | 4.1273 | 118.876 | 4.748 | 130.6333 | 6.4173 | 14.4167 | 6.3573 | 17.4507 | 0.352 | 886.6667 | 100 | 27.416
2020-01-27 08:45:00 | 4.1253 | 147.7807 | 4.75 | 162.398 | 6.6307 | 13.7093 | 6.3813 | 21.114 | 0.37 | 887 | 100 | 28.076
2020-01-27 09:00:00 | 4.12 | 111.1667 | 4.7413 | 122.1553 | 6.5813 | 11.5047 | 6.684 | 14.964 | 0.41 | 887 | 99.9333 | 28.9533
2020-01-27 09:15:00 | 4.528 | 54.5633 | 5.2087 | 59.9533 | 6.89 | 17.068 | 6.954 | 12.9633 | 0.41667 | 887 | 99.6667 | 29.6347
2020-01-27 09:30:00 | 4.3073 | 145.4607 | 4.9607 | 159.84 | 7.4807 | 14.594 | 7.242 | 16.4127 | 0.48 | 887 | 99.1667 | 28.944
2020-01-27 09:45:00 | 4.1073 | 105.7707 | 4.7293 | 116.228 | 7.4187 | 17.05 | 7.1673 | 18.7993 | 0.62133 | 887 | 98.7133 | 26.2973
2020-01-27 10:00:00 | 4.1147 | 176.7313 | 4.732 | 194.212 | 7.354 | 20.404 | 6.9767 | 26.012 | 0.83533 | 887.6667 | 98.2 | 27.8433
2020-01-27 10:15:00 | 4.6647 | 162.942 | 5.3747 | 179.05 | 8.4867 | 19.9827 | 8.058 | 23.702 | 0.98067 | 888 | 97.2133 | 28.63
2020-01-27 10:30:00 | 4.576 | 183.6107 | 5.2713 | 201.766 | 8.2667 | 13.7307 | 7.9353 | 21.228 | 1.1187 | 888 | 96.0267 | 29.6593
2020-01-27 10:45:00 | 4.6193 | 189.2727 | 5.32 | 207.984 | 8.3833 | 22.1487 | 8.2687 | 24.3747 | 1.3147 | 888 | 94.9 | 28.8613
2020-01-27 11:00:00 | 4.2013 | 140.8247 | 4.8407 | 154.7533 | 7.806 | 11.3187 | 7.7653 | 22.9293 | 1.5333 | 888 | 93.84 | 29.6973
2020-01-27 11:15:00 | 4.2693 | 207.1867 | 4.92 | 227.6753 | 7.962 | 14.944 | 7.888 | 21.4467 | 1.6027 | 888.3333 | 92.8333 | 29.1107
2020-01-27 11:30:00 | 4.4107 | 146.7747 | 5.0787 | 161.2827 | 7.9553 | 11.774 | 7.7313 | 20.668 | 1.67 | 889 | 92.12 | 28.2873
2020-01-27 11:45:00 | 4.272 | 176.3393 | 4.9247 | 193.7733 | 7.962 | 18.5893 | 7.8333 | 19.0927 | 1.6567 | 888.4 | 91.48 | 28.1733
2020-01-27 12:00:00 | 4.0613 | 118.716 | 4.6773 | 130.4533 | 7.5007 | 15.96 | 7.2267 | 28.8707 | 1.908 | 888.3333 | 90.8333 | 25.624
2020-01-27 12:15:00 | 3.974 | 204.672 | 4.58 | 224.9133 | 7.6333 | 10.94 | 7.3573 | 25.4167 | 2.202 | 888 | 90.54 | 24.7367
2020-01-27 12:30:00 | 3.7967 | 152.8673 | 4.3673 | 167.98 | 7.0847 | 18.666 | 7.1093 | 23.228 | 2.396 | 888 | 88.6733 | 23.334
2020-01-27 12:45:00 | 3.828 | 139.2547 | 4.4013 | 153.02 | 6.948 | 17.86 | 6.9453 | 20.434 | 2.5253 | 888 | 87.5067 | 22.4027
2020-01-27 13:00:00 | 3.7453 | 161.184 | 4.3107 | 177.1233 | 7.0433 | 11.1187 | 7.1667 | 24.926 | 3.1367 | 888 | 86.3333 | 22.47
2020-01-27 13:15:00 | 3.6267 | 167.14 | 4.1753 | 183.6667 | 6.7373 | 15.7907 | 6.9547 | 23.144 | 3.6433 | 887.0667 | 84.2667 | 19.504
2020-01-27 13:30:00 | 3.444 | 190.946 | 3.9587 | 209.8333 | 6.336 | 20.1947 | 6.9327 | 27.718 | 4.0113 | 887 | 82.28 | 19.524
2020-01-27 13:45:00 | 3.9267 | 158.41 | 4.52 | 174.074 | 7.1227 | 20.166 | 7.5773 | 23.8987 | 4.45 | 887 | 79.408 | 18.3027
2020-01-27 14:00:00 | 3.632 | 93.9387 | 4.1853 | 103.2213 | 6.6667 | 16.932 | 7.094 | 19.12 | 5.1667 | 887 | 76.038 | 17.2073
2020-01-27 14:15:00 | 3.8533 | 26.636 | 4.4333 | 29.2627 | 6.5427 | 18.708 | 6.7153 | 31.5587 | 6.0307 | 887 | 71.3973 | 15.9627
2020-01-27 14:30:00 | 3.8067 | 26.6353 | 4.378 | 29.2653 | 6.4333 | 20.842 | 6.44 | 21.9113 | 6.862 | 887 | 68.2227 | 18.9633
2020-01-27 14:45:00 | 4.5893 | 126.6367 | 5.2793 | 139.158 | 7.5487 | 18.6013 | 7.5013 | 24.4913 | 7.4833 | 887 | 63.3307 | 19.296
2020-01-27 15:00:00 | 4.6307 | 112.2507 | 5.3333 | 123.344 | 8.1213 | 10.37 | 7.872 | 19.0553 | 8.0313 | 887 | 60.708 | 18.942
2020-01-27 15:15:00 | 4.6187 | 37.2633 | 5.312 | 40.94 | 8.0733 | 7.76 | 7.9293 | 32.6893 | 8.5087 | 887.2667 | 57.3473 | 18.1553
2020-01-27 15:30:00 | 3.9833 | 122.998 | 4.5847 | 135.1567 | 7.012 | 13.05 | 6.954 | 20.8167 | 7.4547 | 888 | 59.544 | 14.1227
2020-01-27 15:45:00 | 3.9593 | 256.4453 | 4.5507 | 281.8067 | 7.1567 | 7.352 | 6.6547 | 17.994 | 7.1613 | 887.6667 | 60.974 | 12.722
2020-01-27 16:00:00 | 4.15 | 265.1367 | 4.7733 | 291.3467 | 7.4973 | 12.238 | 7.2147 | 28.0067 | 7.0087 | 887.6667 | 60.5433 | 15.1347
2020-01-27 16:15:00 | 4.0467 | 139.1167 | 4.656 | 152.8667 | 7.3553 | 12.9847 | 7.1167 | 20.826 | 6.6833 | 887.0667 | 61.9367 | 16.5493
2020-01-27 16:30:00 | 3.588 | 222.5267 | 4.1333 | 244.5267 | 6.6047 | 19.672 | 6.648 | 21.1933 | 6.278 | 887 | 62.6953 | 13.736
2020-01-27 16:45:00 | 3.6067 | 183.158 | 4.154 | 201.2733 | 6.6533 | 9.7173 | 6.854 | 16.4287 | 6.0887 | 887 | 63.5827 | 14.7387
2020-01-27 17:00:00 | 3.9393 | 160.7453 | 4.5327 | 176.6387 | 6.9627 | 13.9193 | 6.8693 | 22.0327 | 6.0007 | 887 | 63.2167 | 14.4227
2020-01-27 17:15:00 | 3.5547 | 225.4867 | 4.0867 | 247.784 | 6.4987 | 22.612 | 6.3947 | 23.0747 | 5.8427 | 887 | 63.0847 | 14.9513
2020-01-27 17:30:00 | 3.694 | 106.282 | 4.25 | 116.7967 | 6.906 | 17.0767 | 6.714 | 22.5753 | 5.2 | 887 | 65.7367 | 15.202
2020-01-27 17:45:00 | 3.4073 | 230.44 | 3.92 | 253.2307 | 6.498 | 21.0233 | 6.3587 | 21.5087 | 4.4713 | 887 | 69.0733 | 13.376
2020-01-27 18:00:00 | 3.366 | 221.398 | 3.8687 | 243.2893 | 6.2573 | 19.2293 | 6.0693 | 14.924 | 4.0193 | 887 | 70.018 | 12.8947
2020-01-27 18:15:00 | 3.1127 | 161.6393 | 3.5847 | 177.6233 | 6.12 | 16.6753 | 5.872 | 21.684 | 3.6167 | 886.0667 | 72.1153 | 10.3907
2020-01-27 18:30:00 | 2.7913 | 170.3653 | 3.216 | 187.2133 | 5.4113 | 13.83 | 5.5487 | 22.544 | 3.2907 | 886 | 72.6793 | 9.2247
2020-01-27 18:45:00 | 2.6247 | 284.6287 | 3.0187 | 312.78 | 5.0087 | 12.1473 | 4.998 | 27.7007 | 2.9947 | 886 | 73.7253 | 8.8073
2020-01-27 19:00:00 | 2.448 | 71.294 | 2.82 | 78.3367 | 4.714 | 11.8927 | 4.6407 | 29.8793 | 2.8293 | 886 | 74.6067 | 10.082
2020-01-27 19:15:00 | 2.7747 | 132.2487 | 3.1933 | 145.3233 | 4.9067 | 211.7053 | 4.7427 | 13.2827 | 2.748 | 886.2667 | 75.2393 | 10.9967
2020-01-27 19:30:00 | 2.6667 | 107.5793 | 3.0727 | 118.2167 | 4.762 | 6.2993 | 4.7513 | 53.844 | 2.5533 | 887 | 76.0827 | 11.966
2020-01-27 19:45:00 | 2.982 | 184.5387 | 3.4293 | 202.7867 | 5.488 | 24.004 | 5.3073 | 120.0967 | 2.492 | 887 | 76.128 | 14.6787
2020-01-27 20:00:00 | 3.0093 | 288.174 | 3.4613 | 316.6667 | 5.392 | 165.94 | 5.294 | 79.224 | 2.3593 | 887 | 76.3593 | 15.3453
2020-01-27 20:15:00 | 3.1193 | 242.1713 | 3.5887 | 266.116 | 5.7207 | 123.0567 | 5.738 | 18.546 | 2.208 | 887 | 76.8793 | 16.6167
2020-01-27 20:30:00 | 3.296 | 230.5427 | 3.7893 | 253.334 | 5.5507 | 192.4953 | 5.58 | 18.3227 | 2.1273 | 887 | 76.924 | 16.884
2020-01-27 20:45:00 | 3.2627 | 172.008 | 3.752 | 189.0187 | 5.53 | 4.046 | 5.4513 | 16.27 | 2.038 | 887 | 77.4113 | 16.846
2020-01-27 21:00:00 | 3.2827 | 114.0467 | 3.774 | 125.3253 | 5.6267 | 23.7553 | 5.6427 | 10.516 | 1.8693 | 887 | 78.354 | 17.1407
2020-01-27 21:15:00 | 3.0053 | 229.9353 | 3.462 | 252.6727 | 5.5613 | 0.16 | 5.554 | 51.8513 | 1.7307 | 887 | 78.6527 | 14.884
2020-01-27 21:30:00 | 3.0287 | 65.6927 | 3.4827 | 72.1853 | 5.7413 | 69.49 | 5.434 | 201.76 | 1.5467 | 887 | 79.2667 | 13.3247
2020-01-27 21:45:00 | 3.108 | 98.4227 | 3.5813 | 108.1487 | 5.8727 | 307.8867 | 5.7853 | 33.382 | 1.6453 | 887 | 78.7393 | 13.934
2020-01-27 22:00:00 | 3.188 | 133.8187 | 3.6713 | 147.0527 | 6.0333 | 283.4967 | 5.7947 | 29.6533 | 1.6133 | 887 | 79.0273 | 12.7933
2020-01-27 22:15:00 | 3.266 | 200.746 | 3.7533 | 220.5933 | 5.8167 | 208.2933 | 5.704 | 4.9333 | 1.596 | 887.3333 | 79.534 | 15.1887
2020-01-27 22:30:00 | 3.4827 | 176.4627 | 4.0053 | 193.9093 | 5.9673 | 36.6513 | 6.1207 | 8.3013 | 1.4593 | 888 | 80.3933 | 17.8173
2020-01-27 22:45:00 | 3.5347 | 233.3047 | 4.0713 | 256.3773 | 5.7933 | 122.728 | 6.0893 | 10.2047 | 1.2533 | 888 | 81.6933 | 18.234
2020-01-27 23:00:00 | 3.558 | 213.8313 | 4.092 | 234.98 | 5.808 | 134.5107 | 6.3033 | 21.4793 | 1.2327 | 888 | 82.0267 | 20.3967
2020-01-27 23:15:00 | 3.6987 | 168.35 | 4.2553 | 184.992 | 6.13 | 6.782 | 6.4867 | 19.7987 | 1.0487 | 888 | 82.6533 | 21.1633
2020-01-27 23:30:00 | 3.4927 | 125.6607 | 4.02 | 138.086 | 6.008 | 6.7527 | 6.1353 | 21.1613 | 1.0333 | 888 | 82.6 | 18.8327
2020-01-27 23:45:00 | 3.2133 | 58.8533 | 3.692 | 64.6653 | 6.008 | 13.986 | 6.1227 | 25.666 | 0.89533 | 888 | 83.1 | 16.6547