## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-28 00:00:00 | 2.8736 | 174.7429 | 3.3057 | 192.0243 | 5.5357 | 10.8907 | 6.1993 | 25.7357 | 0.51643 | 887.4167 | 84.4833 | 13.2907
2020-01-28 00:15:00 | 2.5293 | 201.5773 | 2.9087 | 221.5107 | 4.4887 | 168.4327 | 4.6793 | 27.9747 | 0.45867 | 887.9333 | 84.56 | 8.9587
2020-01-28 00:30:00 | 2.438 | 242.18 | 2.8053 | 266.1273 | 4.284 | 239.5933 | 4.5073 | 11.626 | 0.33667 | 888 | 84.6867 | 9.2153
2020-01-28 00:45:00 | 2.7493 | 305.3087 | 3.1627 | 335.5 | 4.8947 | 76.4047 | 5.2127 | 16.522 | 0.246 | 888 | 85.1267 | 10.3053
2020-01-28 01:00:00 | 2.7067 | 99.3833 | 3.1127 | 109.21 | 4.6493 | 55.3087 | 4.786 | 17.8933 | 0.56267 | 887.3333 | 83.6533 | 9.734
2020-01-28 01:15:00 | 2.6493 | 162.8413 | 3.0507 | 178.946 | 4.608 | 236.2733 | 4.5607 | 153.664 | 0.628 | 887.9333 | 83.2067 | 10.5847
2020-01-28 01:30:00 | 3.1 | 238.0173 | 3.564 | 261.554 | 5.4607 | 79.6513 | 5.704 | 11.1153 | 0.50067 | 887.3333 | 83.8667 | 11.5427
2020-01-28 01:45:00 | 3.146 | 199.2613 | 3.6253 | 218.9633 | 5.7513 | 12.588 | 5.7893 | 8.9727 | 0.348 | 887 | 84.6533 | 11.028
2020-01-28 02:00:00 | 2.95 | 91.25 | 3.3953 | 100.2687 | 5.8547 | 18.2893 | 5.044 | 11.844 | -0.076667 | 887 | 86.3733 | 9.8533
2020-01-28 02:15:00 | 2.8987 | 195.088 | 3.34 | 214.3813 | 5.5793 | 18.9553 | 5.1413 | 19.5207 | -0.53333 | 887 | 88.86 | 10.1533
2020-01-28 02:30:00 | 2.8 | 98.7107 | 3.2247 | 108.4733 | 5.148 | 23.792 | 5.054 | 29.024 | -0.74467 | 887 | 89.9333 | 11.362
2020-01-28 02:45:00 | 3.036 | 28.846 | 3.4933 | 31.6933 | 5.8753 | 19.6033 | 5.4853 | 26.6953 | -0.98533 | 887 | 90.86 | 11.3253
2020-01-28 03:00:00 | 2.97 | 249.8433 | 3.4167 | 274.5547 | 5.7007 | 20.2027 | 5.5367 | 23.6947 | -0.89867 | 887 | 90.7267 | 11.0153
2020-01-28 03:15:00 | 2.9353 | 76.3007 | 3.374 | 83.8413 | 5.6467 | 14.7247 | 5.3807 | 21.3153 | -1.0193 | 887 | 90.7 | 12.0073
2020-01-28 03:30:00 | 3.0907 | 205.348 | 3.5567 | 225.6553 | 5.6753 | 16.886 | 5.508 | 20.0807 | -1.0387 | 886.3333 | 91.3533 | 11.9933
2020-01-28 03:45:00 | 3.2667 | 142.906 | 3.7567 | 157.0387 | 6.1153 | 21.9547 | 6.0327 | 22.88 | -0.93933 | 886.3333 | 90.6 | 13.7693
2020-01-28 04:00:00 | 3.5113 | 188.508 | 4.0433 | 207.148 | 6.6973 | 17.324 | 6.692 | 28.0907 | -1.0413 | 886.4 | 90.9133 | 16.32
2020-01-28 04:15:00 | 3.784 | 13.8607 | 4.358 | 15.228 | 6.518 | 9.8693 | 6.6953 | 19.2867 | -1.0053 | 886 | 91.1133 | 18.608
2020-01-28 04:30:00 | 3.5467 | 154.1627 | 4.0813 | 169.4007 | 6.2313 | 10.3293 | 6.656 | 19.7 | -0.948 | 886 | 90.7733 | 20.9693
2020-01-28 04:45:00 | 3.682 | 87.5507 | 4.2373 | 96.2 | 6.4087 | 13.11 | 6.68 | 16.2587 | -0.84867 | 886 | 90.2067 | 23.164
2020-01-28 05:00:00 | 3.536 | 180.7373 | 4.0647 | 198.6067 | 6.2927 | 7.4313 | 6.3493 | 9.4127 | -1.072 | 886 | 91.1 | 23.2087
2020-01-28 05:15:00 | 3.6607 | 303.5327 | 4.2133 | 333.5533 | 6.4733 | 3.5847 | 6.77 | 7.7547 | -1.17 | 886 | 91.36 | 23.7987
2020-01-28 05:30:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 05:45:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 06:00:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 06:15:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 06:30:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 06:45:00 | 3.512 | 278.994 | 4.044 | 306.58 | 6.438 | 0.878 | 6.798 | 3.826 | -1.322 | 886 | 92.08 | 24.484
2020-01-28 07:00:00 | 4.2973 | 148.5427 | 4.948 | 163.2273 | 6.8813 | 9.3887 | 7.46 | 11.9567 | -1.6907 | 886 | 93.2267 | 31.418
2020-01-28 07:15:00 | 4.2973 | 148.5427 | 4.948 | 163.2273 | 6.8813 | 9.3887 | 7.46 | 11.9567 | -1.6907 | 886 | 93.2267 | 31.418
2020-01-28 07:30:00 | 4.2973 | 148.5427 | 4.948 | 163.2273 | 6.8813 | 9.3887 | 7.46 | 11.9567 | -1.6907 | 886 | 93.2267 | 31.418
2020-01-28 07:45:00 | 4.2973 | 148.5427 | 4.948 | 163.2273 | 6.8813 | 9.3887 | 7.46 | 11.9567 | -1.6907 | 886 | 93.2267 | 31.418
2020-01-28 08:00:00 | 4.47 | 107.9027 | 5.15 | 118.5733 | 6.9453 | 8.2073 | 7.866 | 20.862 | -1.6287 | 886.6667 | 93.1133 | 34.8333
2020-01-28 08:15:00 | 4.362 | 314.5167 | 5.0247 | 345.62 | 7.3333 | 5.952 | 8.328 | 16.362 | -1.658 | 887 | 92.9333 | 37.4547
2020-01-28 08:30:00 | 4.8573 | 114.7567 | 5.5887 | 126.1033 | 8.1067 | 116.1633 | 8.622 | 22.156 | -1.588 | 887 | 92.7333 | 37.738
2020-01-28 08:45:00 | 5.3367 | 101.298 | 6.142 | 111.31 | 7.46 | 7.198 | 8.1107 | 11.512 | -1.116 | 887.2667 | 90.6933 | 33.6293
2020-01-28 09:00:00 | 5.1987 | 70.45 | 5.986 | 77.408 | 6.8493 | 9.9987 | 7.1813 | 16.3507 | -0.806 | 888 | 89.3067 | 29.3853
2020-01-28 09:15:00 | 5.0053 | 212.054 | 5.756 | 233.0173 | 7.13 | 274.9167 | 7.4807 | 13.1987 | -0.366 | 888 | 88.5467 | 30.046
2020-01-28 09:30:00 | 4.8773 | 209.2993 | 5.6073 | 229.9967 | 7.2867 | 174.9233 | 8.0213 | 17.522 | 0.122 | 888.6667 | 86.4 | 30.4613
2020-01-28 09:45:00 | 4.6427 | 110.144 | 5.338 | 121.0347 | 6.91 | 83.1653 | 7.168 | 26.0147 | 0.278 | 889 | 85.3067 | 31.0233
2020-01-28 10:00:00 | 4.67 | 128.918 | 5.3707 | 141.6607 | 7.5847 | 30.0533 | 7.9307 | 15.574 | 0.39467 | 889 | 85.5133 | 35.2927
2020-01-28 10:15:00 | 5.2207 | 121.33 | 6.0087 | 133.3227 | 7.6387 | 50.868 | 8.1213 | 14.292 | 0.58333 | 889 | 84 | 35.2293
2020-01-28 10:30:00 | 5.102 | 151.2967 | 5.8707 | 166.2567 | 6.902 | 192.2653 | 7.0753 | 20.5027 | 0.98 | 889 | 82.88 | 30.9833
2020-01-28 10:45:00 | 4.6313 | 98.0707 | 5.3267 | 107.7667 | 6.9853 | 123.7473 | 7.5107 | 12.4327 | 1.7087 | 889.9333 | 79.882 | 30.2067
2020-01-28 11:00:00 | 4.8313 | 71.2487 | 5.5633 | 78.2867 | 7.2713 | 7.756 | 7.766 | 13.4993 | 2.282 | 890 | 76.938 | 26.132
2020-01-28 11:15:00 | 4.7147 | 182.5047 | 5.424 | 200.5533 | 7.5287 | 6.272 | 7.73 | 8.874 | 3.1127 | 890 | 73.8073 | 22.394
2020-01-28 11:30:00 | 4.45 | 107.5013 | 5.118 | 118.1367 | 7.2833 | 7.472 | 7.3507 | 9.8553 | 3.322 | 890 | 72.972 | 19.0767
2020-01-28 11:45:00 | 4.598 | 203.1847 | 5.2933 | 223.2767 | 6.9173 | 123.556 | 7.0367 | 154.3253 | 3.532 | 890 | 71.9 | 20.9127
2020-01-28 12:00:00 | 4.5647 | 230.0873 | 5.2513 | 252.8367 | 6.7587 | 123.2687 | 6.564 | 103.4533 | 3.5407 | 890 | 72.2733 | 21.1587
2020-01-28 12:15:00 | 4.304 | 274.7287 | 4.9547 | 301.8933 | 7.1687 | 14.0833 | 7.046 | 85.5673 | 5.09 | 890 | 67.2393 | 18.6727
2020-01-28 12:30:00 | 4.424 | 195.7367 | 5.0953 | 215.0933 | 8.238 | 14.1567 | 8.5073 | 20.8387 | 7.532 | 890 | 59.142 | 16.5107
2020-01-28 12:45:00 | 4.3573 | 245.176 | 5.016 | 269.42 | 7.822 | 9.732 | 7.6593 | 14.9227 | 8.3967 | 890 | 54.68 | 13.1133
2020-01-28 13:00:00 | 4.1253 | 133.1667 | 4.7513 | 146.3293 | 6.8407 | 11.7027 | 6.6967 | 11.978 | 7.9967 | 890 | 54.634 | 9.5253
2020-01-28 13:15:00 | 3.8533 | 114.04 | 4.4333 | 125.3153 | 6.4387 | 11.69 | 6.1527 | 18.3387 | 8.1393 | 890 | 53.676 | 6.988
2020-01-28 13:30:00 | 3.8147 | 202.8933 | 4.3953 | 222.9553 | 6.7253 | 12.5353 | 6.14 | 8.7393 | 8.986 | 890 | 51.35 | 4.366
2020-01-28 13:45:00 | 3.8507 | 164.422 | 4.4307 | 180.676 | 6.3073 | 12.1507 | 5.8027 | 131.2867 | 8.9987 | 890 | 50.0773 | 2.6667
2020-01-28 14:00:00 | 3.676 | 160.1193 | 4.226 | 175.9467 | 5.9087 | 13.05 | 5.458 | 20.9947 | 9.7853 | 890 | 47.282 | 2.2033
2020-01-28 14:15:00 | 3.778 | 133.6593 | 4.3467 | 146.87 | 6.142 | 18.3427 | 5.842 | 21.316 | 10.46 | 890 | 43.716 | 3.7553
2020-01-28 14:30:00 | 3.668 | 266.3807 | 4.2207 | 292.7267 | 6.714 | 14.73 | 6.4553 | 22.894 | 9.1987 | 890 | 43.3207 | 5.8233
2020-01-28 14:45:00 | 3.558 | 111.058 | 4.0947 | 122.0367 | 5.9447 | 19.8807 | 5.698 | 23.9187 | 8.752 | 890 | 43.7453 | 5.0527
2020-01-28 15:00:00 | 3.246 | 71.4187 | 3.74 | 78.4767 | 5.1487 | 32.3393 | 5.06 | 28.8287 | 9.1067 | 890 | 44.18 | 3.3653
2020-01-28 15:15:00 | 2.93 | 131.578 | 3.372 | 144.5813 | 4.926 | 19.7687 | 4.7527 | 18.952 | 10.33 | 890 | 39.6913 | 1.6527
2020-01-28 15:30:00 | 2.59 | 46.43 | 2.9793 | 51.0153 | 4.4853 | 17.5367 | 4.3433 | 29.5967 | 10.7727 | 890 | 37.5293 | 0.52
2020-01-28 15:45:00 | 2.3113 | 171.9207 | 2.6573 | 188.9233 | 4.034 | 9.7653 | 3.896 | 27.8007 | 11.242 | 890 | 35.474 | 0.092
2020-01-28 16:00:00 | 2.1333 | 150.3847 | 2.4553 | 165.2547 | 3.68 | 124.658 | 3.5013 | 15.6047 | 10.6287 | 890 | 36.7813 | 0
2020-01-28 16:15:00 | 2.0733 | 136.9813 | 2.3873 | 150.5307 | 3.0647 | 149.5193 | 3.118 | 57.076 | 10.4907 | 890 | 37.5647 | 0
2020-01-28 16:30:00 | 2.3467 | 48.3173 | 2.702 | 53.0967 | 3.6733 | 160.8833 | 3.3147 | 235.3867 | 10.236 | 890 | 37.91 | 0
2020-01-28 16:45:00 | 2.3673 | 170.142 | 2.72 | 186.9687 | 3.964 | 234.6533 | 3.6907 | 187.6987 | 9.854 | 890 | 38.6307 | 0
2020-01-28 17:00:00 | 2.328 | 115.6533 | 2.6833 | 127.088 | 4.108 | 120.14 | 4.0513 | 237.9113 | 9.7253 | 890 | 39.1747 | 0
2020-01-28 17:15:00 | 1.83 | 266.59 | 2.1147 | 292.956 | 3.4 | 191.92 | 3.326 | 12.396 | 8.38 | 890 | 42.284 | 0
2020-01-28 17:30:00 | 1.322 | 164.0273 | 1.52 | 180.2473 | 2.5693 | 53.9133 | 3.0747 | 24.544 | 7.9367 | 890 | 44.112 | 0
2020-01-28 17:45:00 | 0.784 | 72.824 | 0.90333 | 80.0267 | 1.5507 | 232.2133 | 2.1773 | 136.7947 | 7.4133 | 890 | 45.2553 | 0
2020-01-28 18:00:00 | 0.076 | 72.89 | 0.088 | 80.1 | 0.148 | 353.94 | 0.66067 | 3.11 | 7.0767 | 890 | 44.8713 | 0
2020-01-28 18:15:00 | 0.041333 | 72.89 | 0.049333 | 80.1 | 0.081333 | 336.8133 | 0.46467 | 80.5253 | 6.858 | 889 | 44.654 | 0
2020-01-28 18:30:00 | 0.89933 | 166.9287 | 1.04 | 183.4333 | 1.1887 | 210.0133 | 1.0113 | 185.2667 | 6.8973 | 889 | 44.9567 | 0
2020-01-28 18:45:00 | 0.508 | 198.946 | 0.59067 | 218.62 | 0.822 | 229.6 | 0.89333 | 222.94 | 6.9487 | 889 | 44.442 | 0
2020-01-28 19:00:00 | 0.32 | 196.9767 | 0.37133 | 216.4533 | 0.44667 | 229.6 | 0.358 | 224.3 | 6.986 | 889 | 43.4773 | 0
2020-01-28 19:15:00 | 0.91867 | 205.6653 | 1.06 | 226.0067 | 1.4053 | 233.1 | 0.95333 | 239.8733 | 6.8913 | 889 | 42.5633 | 0
2020-01-28 19:30:00 | 0.938 | 219.5747 | 1.0787 | 241.2867 | 1.4873 | 242.3 | 1.1027 | 243.7 | 6.798 | 889.6 | 42.73 | 0
2020-01-28 19:45:00 | 1.1107 | 211.63 | 1.2833 | 232.56 | 1.7113 | 241.6067 | 1.452 | 243.7 | 6.7067 | 890 | 44.664 | 0
2020-01-28 20:00:00 | 1.3253 | 193.8153 | 1.5293 | 212.98 | 2.1287 | 229.1333 | 1.8427 | 233.38 | 6.594 | 890 | 46.1087 | 0
2020-01-28 20:15:00 | 1.5473 | 186.3467 | 1.786 | 204.7733 | 2.4393 | 220.0533 | 2.302 | 229.1267 | 6.4553 | 890 | 48.34 | 0
2020-01-28 20:30:00 | 1.4387 | 182.514 | 1.6627 | 200.5533 | 2.5447 | 229.3067 | 2.4633 | 233.6 | 6.2807 | 890 | 48.89 | 0
2020-01-28 20:45:00 | 1.2827 | 165.4727 | 1.48 | 181.8333 | 2.1927 | 219.8333 | 2.5173 | 226.6133 | 6.1513 | 890 | 49.0627 | 0
2020-01-28 21:00:00 | 2.53 | 168.0873 | 2.91 | 184.7067 | 3.54 | 193.9 | 3.428 | 200.4467 | 5.9193 | 890 | 49.976 | 0
2020-01-28 21:15:00 | 3.2007 | 163.3587 | 3.6813 | 179.5067 | 4.1333 | 179.8533 | 4.4793 | 179.38 | 5.3273 | 890 | 55.916 | 0.69467
2020-01-28 21:30:00 | 3.1553 | 155.64 | 3.632 | 171.0333 | 3.8913 | 167.46 | 4.452 | 172.9133 | 5.29 | 890.6667 | 58.8593 | 0.76867
2020-01-28 21:45:00 | 3.27 | 161.8073 | 3.7613 | 177.8 | 4.0007 | 173.3733 | 4.256 | 172.6 | 5.138 | 891 | 60.462 | 2.262
2020-01-28 22:00:00 | 3.2013 | 167.102 | 3.686 | 183.62 | 3.8693 | 175.9667 | 4.152 | 175.4933 | 4.88 | 891 | 64.0313 | 2.5253
2020-01-28 22:15:00 | 3.2427 | 149.4447 | 3.7313 | 164.2267 | 3.936 | 170.0667 | 4.4367 | 180.7933 | 4.694 | 891 | 67.7033 | 1.284
2020-01-28 22:30:00 | 2.7353 | 152.3673 | 3.1467 | 167.4267 | 3.4573 | 170.5067 | 3.828 | 169.1 | 4.6113 | 891 | 70.4193 | 0.482
2020-01-28 22:45:00 | 2.2353 | 142.948 | 2.572 | 157.08 | 2.9347 | 169.3333 | 3.3193 | 170.88 | 4.4413 | 891 | 72.444 | 0.13733
2020-01-28 23:00:00 | 2.5093 | 160.1073 | 2.8953 | 175.94 | 3.228 | 177.3 | 3.4833 | 179.6667 | 4.3913 | 891 | 73.598 | 0.012667
2020-01-28 23:15:00 | 2.2587 | 169.0587 | 2.6047 | 185.78 | 3.0573 | 177.1333 | 3.566 | 178.2933 | 4.372 | 892 | 74.63 | 0.20533
2020-01-28 23:30:00 | 2.2767 | 158.764 | 2.6147 | 174.4533 | 2.9627 | 173.7133 | 3.6747 | 171.6533 | 4.284 | 892 | 75.5527 | 0.21467
2020-01-28 23:45:00 | 1.8913 | 159.752 | 2.178 | 175.5467 | 2.5247 | 167.6 | 3.3413 | 162.3867 | 4.2287 | 892 | 77.3333 | 0