## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-29 00:00:00 | 1.88 | 166.3579 | 2.1614 | 182.8071 | 2.3657 | 169.4214 | 3.1186 | 169.6143 | 4.305 | 892 | 78.4338 | 0.032857
2020-01-29 00:15:00 | 2.23 | 170.14 | 2.5673 | 186.9667 | 2.9707 | 175.54 | 3.414 | 175.4 | 4.1353 | 892 | 79.9307 | 0.176
2020-01-29 00:30:00 | 2.0307 | 162.872 | 2.336 | 178.9733 | 2.6353 | 169.9333 | 3.154 | 171.0533 | 4.012 | 892 | 80.8067 | 0.254
2020-01-29 00:45:00 | 2.104 | 172.2973 | 2.422 | 189.3267 | 2.684 | 171.1 | 3.4327 | 167.22 | 3.8807 | 892 | 81.9 | 0.29133
2020-01-29 01:00:00 | 2.0267 | 166.8407 | 2.3327 | 183.34 | 2.5573 | 175.42 | 3.27 | 169.9733 | 3.846 | 892 | 82.1933 | 0.364
2020-01-29 01:15:00 | 2.224 | 168.1773 | 2.5553 | 184.8067 | 2.8793 | 176.66 | 3.4387 | 177.4533 | 3.646 | 892 | 82.8933 | 0.37
2020-01-29 01:30:00 | 2.132 | 166.84 | 2.45 | 183.34 | 2.804 | 186.2067 | 3.4233 | 180.78 | 3.5067 | 892 | 83.7467 | 0
2020-01-29 01:45:00 | 1.544 | 187.2107 | 1.7767 | 205.7267 | 2.08 | 188.74 | 2.774 | 176.42 | 3.576 | 892 | 83.02 | 0
2020-01-29 02:00:00 | 0.59667 | 145.438 | 0.692 | 159.82 | 1.1187 | 191.3467 | 2.1333 | 178.44 | 3.4027 | 892 | 83.52 | 0
2020-01-29 02:15:00 | 0.58067 | 138.32 | 0.67533 | 152 | 1.1447 | 169.8533 | 2.0553 | 172.02 | 3.1993 | 891 | 84.0867 | 0
2020-01-29 02:30:00 | 0.53067 | 138.32 | 0.61667 | 152 | 1.048 | 169.6 | 1.898 | 162.5 | 3.0527 | 891 | 84.94 | 0
2020-01-29 02:45:00 | 0.374 | 138.32 | 0.43867 | 152 | 0.742 | 169.6 | 1.402 | 160.2933 | 2.6747 | 891 | 87.1 | 0
2020-01-29 03:00:00 | 0.538 | 70.14 | 0.62267 | 77.0733 | 0.093333 | 169.6 | 1.0973 | 160.3 | 2.4227 | 891 | 83.8767 | 0
2020-01-29 03:15:00 | 0.838 | 212.874 | 0.96533 | 233.9233 | 0 | 169.6 | 0.50133 | 160.3 | 2.3267 | 891 | 80.4173 | 0
2020-01-29 03:30:00 | 1.2933 | 96.0493 | 1.4867 | 105.538 | 0.20667 | 169.6 | 0 | 160.3 | 1.8667 | 891 | 78.158 | 0
2020-01-29 03:45:00 | 2.012 | 216.7673 | 2.3207 | 238.2 | 1.8447 | 306.9333 | 0 | 160.3 | 1.5733 | 891 | 78.7693 | 0
2020-01-29 04:00:00 | 2.094 | 216.5547 | 2.414 | 237.97 | 1.958 | 309.3333 | 0.045333 | 160.3 | 1.3193 | 891 | 80.7333 | 0
2020-01-29 04:15:00 | 2.2747 | 322.306 | 2.6233 | 354.18 | 2.36 | 2.158 | 0.48133 | 225.7133 | 1.238 | 891 | 81.1533 | 0
2020-01-29 04:30:00 | 2.5653 | 321.8393 | 2.9567 | 353.6667 | 2.8733 | 6.42 | 1.6173 | 348.8267 | 1.312 | 891 | 79.988 | 0
2020-01-29 04:45:00 | 3.1227 | 319.058 | 3.5987 | 350.6133 | 3.6467 | 5.5327 | 2.224 | 80.8593 | 0.836 | 891 | 79.3387 | 0
2020-01-29 05:00:00 | 3.252 | 173.1487 | 3.744 | 190.27 | 3.8747 | 8.66 | 2.8333 | 17.5567 | 0.49133 | 891 | 80.8733 | 0
2020-01-29 05:15:00 | 3.2347 | 257.9727 | 3.7227 | 283.4833 | 4.202 | 4.028 | 3.7487 | 24.836 | 0.758 | 890.0667 | 81.3667 | 0
2020-01-29 05:30:00 | 3.5993 | 213.3493 | 4.142 | 234.4467 | 4.3767 | 1.3173 | 3.76 | 16.554 | 0.51267 | 890 | 81.5853 | 0.106
2020-01-29 05:45:00 | 3.7187 | 316.7593 | 4.276 | 348.0867 | 4.39 | 5.6713 | 3.66 | 4.3293 | 0.47933 | 890 | 78.9313 | 0.090667
2020-01-29 06:00:00 | 3.962 | 321.3507 | 4.5607 | 353.1333 | 4.646 | 9.0047 | 4.1733 | 9.592 | 0.43 | 890 | 79.238 | 0.30133
2020-01-29 06:15:00 | 3.9113 | 315.386 | 4.5047 | 346.58 | 4.5107 | 7.1773 | 4.9707 | 18.672 | 0.448 | 890.2667 | 78.3507 | 1.932
2020-01-29 06:30:00 | 3.572 | 315.73 | 4.1113 | 346.9533 | 4.4787 | 4.516 | 4.8633 | 17.7733 | 0.27933 | 891 | 79.3407 | 3.3973
2020-01-29 06:45:00 | 3.36 | 275.966 | 3.8647 | 303.2533 | 4.1427 | 10.4153 | 4.6807 | 10.6307 | 0.20133 | 890.0667 | 79.9573 | 4.5267
2020-01-29 07:00:00 | 3.416 | 194.1947 | 3.932 | 213.3967 | 5.0893 | 8.3853 | 5.6507 | 12.402 | -0.038 | 890.6 | 81.8133 | 10.4927
2020-01-29 07:15:00 | 3.7633 | 231.3873 | 4.3293 | 254.268 | 6.058 | 11.544 | 6.4273 | 17.0593 | -0.27 | 891 | 83.4133 | 12.7793
2020-01-29 07:30:00 | 3.7527 | 138.0013 | 4.324 | 151.6453 | 5.9793 | 8.5067 | 6.29 | 17.566 | -0.31733 | 891 | 83.5667 | 13.2947
2020-01-29 07:45:00 | 3.8253 | 230.716 | 4.4053 | 253.5307 | 5.9453 | 8.2847 | 6.29 | 10.1767 | -0.492 | 891 | 84.4 | 12.3433
2020-01-29 08:00:00 | 3.422 | 108.2227 | 3.9353 | 118.9233 | 5.2833 | 24.6687 | 5.4233 | 127.99 | -0.51133 | 891 | 84.6667 | 10.8967
2020-01-29 08:15:00 | 3.196 | 162.774 | 3.6787 | 178.8627 | 5.0993 | 5.4313 | 5.5733 | 10.752 | -0.50933 | 891 | 84.66 | 13.0493
2020-01-29 08:30:00 | 3.2193 | 132.5133 | 3.7007 | 145.6147 | 5.8393 | 5.5373 | 6.5667 | 12.6867 | -0.45533 | 891 | 84.9733 | 18.08
2020-01-29 08:45:00 | 3.65 | 159.9833 | 4.198 | 175.796 | 6.382 | 3.6167 | 6.8533 | 14.5933 | 0.060667 | 891 | 83.6867 | 20.8887
2020-01-29 09:00:00 | 3.6873 | 170.7453 | 4.2413 | 187.628 | 5.8033 | 8.6707 | 6.794 | 15.846 | 0.566 | 891.6667 | 81.3393 | 22.5073
2020-01-29 09:15:00 | 4.3233 | 151.4387 | 4.9767 | 166.414 | 6.622 | 13.53 | 7.0133 | 61.2653 | 1.17 | 892 | 78.6813 | 15.75
2020-01-29 09:30:00 | 4.4007 | 265.1793 | 5.06 | 291.404 | 6.2653 | 10.684 | 6.3267 | 85.766 | 1.4593 | 892 | 77.31 | 10.502
2020-01-29 09:45:00 | 4.028 | 10.8307 | 4.6413 | 11.8967 | 6.368 | 124.0873 | 6.5013 | 19.242 | 2.004 | 892.9333 | 75.456 | 13.2993
2020-01-29 10:00:00 | 3.6013 | 56.8373 | 4.1487 | 62.4527 | 5.6873 | 3.7947 | 6.542 | 11.7453 | 2.7413 | 893 | 72.3807 | 11.222
2020-01-29 10:15:00 | 3.892 | 313.3827 | 4.4807 | 344.38 | 5.9453 | 51.4467 | 6.484 | 15.1227 | 2.5873 | 893 | 73.2287 | 11.2607
2020-01-29 10:30:00 | 3.744 | 266.9073 | 4.312 | 293.304 | 5.8713 | 80.9673 | 6.3007 | 17.8007 | 3.2267 | 893 | 71.262 | 10.0353
2020-01-29 10:45:00 | 3.2607 | 153.458 | 3.7487 | 168.6327 | 4.8487 | 18.1 | 5.3793 | 15.9113 | 4.0807 | 894 | 67.088 | 7.862
2020-01-29 11:00:00 | 3.6647 | 77.2273 | 4.2153 | 84.8573 | 5.0833 | 6.7567 | 5.4827 | 21.8753 | 3.52 | 894 | 69.4213 | 5.7953
2020-01-29 11:15:00 | 3.742 | 10.8147 | 4.3033 | 11.882 | 5.586 | 13.522 | 5.9187 | 13.8387 | 4.2427 | 894 | 67.132 | 3.898
2020-01-29 11:30:00 | 3.8173 | 128.0073 | 4.392 | 140.66 | 5.1947 | 14.1813 | 5.3793 | 19.646 | 4.334 | 894 | 65.2333 | 3.3347
2020-01-29 11:45:00 | 3.7367 | 118.772 | 4.3007 | 130.512 | 4.9033 | 10.0613 | 4.86 | 16.848 | 4.5647 | 893.0667 | 64.7667 | 2.726
2020-01-29 12:00:00 | 3.7533 | 129.142 | 4.3173 | 141.9133 | 5.0773 | 11.3793 | 4.92 | 12.532 | 5.1767 | 893 | 63.0233 | 2.042
2020-01-29 12:15:00 | 3.758 | 44.446 | 4.322 | 48.838 | 5.514 | 12.0247 | 5.4167 | 12.0427 | 6.368 | 893 | 59.5767 | 0.83067
2020-01-29 12:30:00 | 3.132 | 66.8953 | 3.6013 | 73.5027 | 3.8727 | 13.2227 | 3.4787 | 6.3747 | 6.382 | 893 | 58.7413 | 0
2020-01-29 12:45:00 | 2.1687 | 95.328 | 2.494 | 104.7547 | 2.326 | 163.5947 | 2.624 | 164.2693 | 5.9653 | 893 | 60.3567 | 0
2020-01-29 13:00:00 | 2.1567 | 111.772 | 2.4793 | 122.8233 | 2.282 | 72.1053 | 2.4313 | 308.016 | 6.526 | 893 | 57.3873 | 0
2020-01-29 13:15:00 | 1.838 | 266.3227 | 2.1187 | 292.6607 | 1.8613 | 129.5327 | 1.6207 | 118.9267 | 7.1913 | 893 | 53.6773 | 0
2020-01-29 13:30:00 | 1.6433 | 87.848 | 1.902 | 96.5333 | 1.8307 | 56.7287 | 1.8407 | 120.6193 | 7.6673 | 893 | 53.2233 | 0
2020-01-29 13:45:00 | 1.3033 | 152.4767 | 1.4973 | 167.5533 | 1.2087 | 303.12 | 1.0973 | 211.408 | 8.0287 | 893 | 49.2133 | 0
2020-01-29 14:00:00 | 0.91267 | 174.22 | 1.056 | 191.44 | 1.066 | 127.36 | 1.2973 | 102.01 | 9.6773 | 893 | 47.2847 | 0
2020-01-29 14:15:00 | 1.9227 | 135.876 | 2.214 | 149.3133 | 2.0573 | 140.4867 | 2.182 | 129.86 | 10.0933 | 893 | 48.6393 | 0
2020-01-29 14:30:00 | 2.2013 | 144.238 | 2.5327 | 158.4933 | 2.4773 | 175.2467 | 2.2753 | 188.64 | 10.1867 | 893 | 49.5627 | 0
2020-01-29 14:45:00 | 2.4287 | 142.9553 | 2.7947 | 157.0867 | 2.7093 | 146.8333 | 2.2547 | 149.4667 | 10.25 | 892.0667 | 48.5767 | 0
2020-01-29 15:00:00 | 2.5027 | 140.6173 | 2.8753 | 154.5267 | 2.7193 | 160.02 | 2.19 | 165.02 | 10.4 | 892 | 46.8187 | 0
2020-01-29 15:15:00 | 2.3327 | 141.0987 | 2.6853 | 155.0467 | 2.7353 | 159.1933 | 2.4893 | 173.9733 | 10.894 | 892 | 44.3713 | 0
2020-01-29 15:30:00 | 1.832 | 138.7607 | 2.1107 | 152.4733 | 2.246 | 158.6733 | 2.2527 | 187.2333 | 11.4713 | 892 | 41.6547 | 0
2020-01-29 15:45:00 | 1.6333 | 128.738 | 1.8873 | 141.46 | 1.9267 | 170.2467 | 1.8793 | 163.5933 | 11.6453 | 892 | 40.118 | 0.023333
2020-01-29 16:00:00 | 1.5467 | 150.5467 | 1.7833 | 165.4333 | 2.0087 | 203.0667 | 2.212 | 223.1133 | 12.2513 | 892 | 38.638 | 0
2020-01-29 16:15:00 | 2.006 | 154.5833 | 2.312 | 169.8667 | 2.3267 | 225.24 | 2.4807 | 234.5467 | 11.69 | 892 | 40.1393 | 0.23267
2020-01-29 16:30:00 | 2.4573 | 156.4413 | 2.8267 | 171.9067 | 3.0167 | 211.6867 | 3.112 | 229.4067 | 11.18 | 892 | 42.24 | 0.37333
2020-01-29 16:45:00 | 2.5293 | 174.4373 | 2.9113 | 191.68 | 3.1753 | 214.02 | 3.2987 | 228.76 | 11.1347 | 892 | 42.6447 | 0.29667
2020-01-29 17:00:00 | 2.3147 | 162.5367 | 2.6667 | 178.6067 | 2.8667 | 216.6933 | 2.886 | 225.64 | 10.718 | 892 | 43.454 | 0.26067
2020-01-29 17:15:00 | 2.5 | 159.8787 | 2.874 | 175.6867 | 3.0047 | 201.16 | 2.918 | 227.82 | 10.5267 | 892 | 43.996 | 0.276
2020-01-29 17:30:00 | 2.6027 | 164.808 | 2.9973 | 181.0933 | 3.1627 | 215.3133 | 3.1233 | 223.54 | 9.7493 | 892 | 45.6867 | 1.3133
2020-01-29 17:45:00 | 2.7593 | 155.762 | 3.18 | 171.16 | 3.5027 | 202.9533 | 3.6047 | 225.08 | 9.232 | 891 | 46.696 | 2.7313
2020-01-29 18:00:00 | 2.4233 | 164.3473 | 2.7907 | 180.5933 | 3.082 | 218.4733 | 3.2987 | 226.64 | 8.9647 | 891 | 46.6667 | 2.3013
2020-01-29 18:15:00 | 2.7133 | 166.0327 | 3.1207 | 182.4533 | 3.358 | 211.8 | 3.4507 | 215.22 | 8.83 | 891 | 44.7633 | 1.8607
2020-01-29 18:30:00 | 2.3833 | 165.0987 | 2.7393 | 181.42 | 3.072 | 213.3533 | 3.1773 | 220.5733 | 8.6567 | 891 | 43.6347 | 2.0753
2020-01-29 18:45:00 | 2.8373 | 169.3593 | 3.266 | 186.1067 | 3.6993 | 209.02 | 3.8527 | 216.92 | 8.3953 | 891 | 44.5567 | 2.7527
2020-01-29 19:00:00 | 2.7507 | 160.0993 | 3.1693 | 175.9333 | 3.5747 | 211.4333 | 3.816 | 216.7067 | 8.472 | 891 | 44.3127 | 3.7873
2020-01-29 19:15:00 | 2.9807 | 165.6967 | 3.43 | 182.08 | 3.736 | 212.7533 | 3.8593 | 212.4733 | 8.6073 | 891 | 44.152 | 7.0373
2020-01-29 19:30:00 | 2.7867 | 180.688 | 3.2027 | 198.56 | 3.672 | 213.0333 | 3.9347 | 219.52 | 8.2873 | 891 | 46.074 | 8.026
2020-01-29 19:45:00 | 3.3053 | 168.934 | 3.802 | 185.64 | 4.1393 | 215.6067 | 4.388 | 223.08 | 8.178 | 891 | 48.7167 | 7.814
2020-01-29 20:00:00 | 2.9513 | 182.94 | 3.402 | 201.0333 | 3.7893 | 209.22 | 4.0067 | 215.7467 | 8.0327 | 891 | 51.9347 | 5.6107
2020-01-29 20:15:00 | 2.6007 | 162.3833 | 2.992 | 178.44 | 3.2073 | 206.5933 | 3.2507 | 217.9867 | 7.5993 | 891 | 54.5487 | 5.6373
2020-01-29 20:30:00 | 2.5953 | 160.9593 | 2.9867 | 176.8733 | 3.1933 | 187.64 | 3.1987 | 209.2867 | 7.2033 | 891 | 54.7047 | 4.9493
2020-01-29 20:45:00 | 2.9793 | 154.324 | 3.428 | 169.58 | 3.7653 | 183.4533 | 3.342 | 210.3533 | 6.7507 | 891 | 57.012 | 5.0893
2020-01-29 21:00:00 | 3.208 | 155.4593 | 3.6893 | 170.8267 | 3.9547 | 187.1733 | 3.838 | 197.4533 | 6.7673 | 891 | 58.4907 | 6.032
2020-01-29 21:15:00 | 3.194 | 166.962 | 3.6747 | 183.4733 | 3.6693 | 195.1467 | 3.968 | 188.2133 | 7.1347 | 891.9333 | 58.01 | 5.7587
2020-01-29 21:30:00 | 3.044 | 163.622 | 3.5013 | 179.8 | 3.5993 | 187.1333 | 3.9927 | 186.88 | 6.952 | 892 | 57.7593 | 5.1833
2020-01-29 21:45:00 | 3.072 | 156.1147 | 3.5387 | 171.5533 | 3.638 | 177.84 | 4.164 | 181.3067 | 6.7907 | 892 | 58.9553 | 3.34
2020-01-29 22:00:00 | 2.7573 | 160.282 | 3.1793 | 176.1267 | 3.3893 | 168.9533 | 4.008 | 172.7 | 6.686 | 892 | 61.1067 | 2.0087
2020-01-29 22:15:00 | 2.7793 | 156.696 | 3.1993 | 172.1867 | 3.488 | 170.1133 | 4.1327 | 171.9133 | 6.388 | 892 | 63.6513 | 2.4933
2020-01-29 22:30:00 | 2.79 | 161.8493 | 3.21 | 177.8533 | 3.4933 | 168.72 | 4.3447 | 168.5467 | 6.22 | 892 | 65.7767 | 2.0927
2020-01-29 22:45:00 | 2.8147 | 160.3867 | 3.242 | 176.24 | 3.4773 | 173.7733 | 4.186 | 167.8533 | 6.3513 | 892 | 67.5867 | 2.342
2020-01-29 23:00:00 | 2.6947 | 157.788 | 3.1007 | 173.3933 | 3.336 | 174.3867 | 4.018 | 176.26 | 6.244 | 892 | 69.3407 | 2.4807
2020-01-29 23:15:00 | 2.906 | 158.3153 | 3.346 | 173.9667 | 3.638 | 173.5867 | 4.292 | 184.9467 | 6.0213 | 892 | 71.8213 | 3.0973
2020-01-29 23:30:00 | 2.7913 | 166.7307 | 3.2147 | 183.2133 | 3.4873 | 162.42 | 4.2247 | 173.14 | 5.8553 | 892 | 73.7487 | 2.8707
2020-01-29 23:45:00 | 2.6133 | 166.176 | 3.0053 | 182.6067 | 3.4353 | 170.5533 | 4.1067 | 171.7133 | 5.6307 | 892 | 74.9167 | 1.3947