## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-30 00:00:00 | 2.4271 | 154.9886 | 2.7907 | 170.3071 | 3.1936 | 171.9857 | 3.9929 | 172.9357 | 5.6286 | 892 | 75.4273 | 1.8643
2020-01-30 00:15:00 | 2.5387 | 166.72 | 2.9233 | 183.2067 | 3.2653 | 187.2133 | 3.6853 | 178.9333 | 5.532 | 892 | 75.906 | 2.516
2020-01-30 00:30:00 | 2.736 | 160.008 | 3.1453 | 175.8333 | 3.4107 | 188.1733 | 3.8113 | 184.8667 | 5.302 | 892 | 77.0413 | 2.4993
2020-01-30 00:45:00 | 3.0127 | 163.2453 | 3.466 | 179.3933 | 3.746 | 180.38 | 4.18 | 186.3 | 5.1753 | 892 | 78.538 | 2.88
2020-01-30 01:00:00 | 3.1527 | 156.4873 | 3.624 | 171.9533 | 3.95 | 188.6533 | 4.466 | 188.44 | 4.94 | 892 | 79.496 | 2.6053
2020-01-30 01:15:00 | 2.8973 | 165.7767 | 3.3327 | 182.1667 | 3.6133 | 183.66 | 4.1393 | 183.7733 | 4.66 | 892 | 79.9653 | 1.9513
2020-01-30 01:30:00 | 2.2087 | 158.7547 | 2.544 | 174.4533 | 3.01 | 179.96 | 3.6433 | 180.92 | 4.3587 | 892 | 80.98 | 1.4687
2020-01-30 01:45:00 | 2.4933 | 168.548 | 2.87 | 185.2133 | 3.186 | 179.6933 | 3.66 | 184.3333 | 4.162 | 891.0667 | 81.9333 | 1.7453
2020-01-30 02:00:00 | 2.5987 | 175.0673 | 2.9873 | 192.38 | 3.374 | 182.8667 | 4.0113 | 184.7933 | 4.1273 | 891 | 82.4933 | 1.4413
2020-01-30 02:15:00 | 2.1107 | 158.8347 | 2.426 | 174.5333 | 2.958 | 170.02 | 3.506 | 167.6667 | 3.9993 | 891 | 83.3467 | 0.45533
2020-01-30 02:30:00 | 2.1373 | 165.68 | 2.4573 | 182.06 | 2.834 | 169.4067 | 3.202 | 170.5267 | 4.136 | 891 | 82.2533 | 0
2020-01-30 02:45:00 | 1.848 | 166.2667 | 2.13 | 182.7067 | 2.4527 | 176.4067 | 2.8427 | 181.2533 | 4.2487 | 891 | 81.66 | 0
2020-01-30 03:00:00 | 1.4993 | 177.062 | 1.7247 | 194.5733 | 2.226 | 180.66 | 2.902 | 173.9 | 4.3373 | 891 | 80.2413 | 0
2020-01-30 03:15:00 | 0.758 | 176.37 | 0.87267 | 193.8 | 1.4007 | 177.0267 | 2.2967 | 173.8733 | 4.1733 | 891 | 80.342 | 0
2020-01-30 03:30:00 | 0.504 | 176.478 | 0.582 | 193.92 | 0.926 | 177.1 | 1.5873 | 172.5733 | 4.348 | 891 | 80.3667 | 0
2020-01-30 03:45:00 | 0.52067 | 181.764 | 0.602 | 199.74 | 0.99733 | 177.1 | 1.988 | 169.8533 | 4.1573 | 891 | 81.0333 | 0
2020-01-30 04:00:00 | 0.53267 | 182.91 | 0.61867 | 201 | 1.048 | 177.16 | 1.8547 | 171.7467 | 3.7687 | 891 | 82.24 | 0
2020-01-30 04:15:00 | 0.594 | 182.91 | 0.68667 | 201 | 1.1727 | 186.0733 | 1.4027 | 172.08 | 3.0467 | 891 | 85.18 | 0
2020-01-30 04:30:00 | 0.53333 | 182.91 | 0.618 | 201 | 1.048 | 209.5 | 1.438 | 184.04 | 2.5593 | 890.3333 | 87.52 | 0
2020-01-30 04:45:00 | 0.63267 | 182.91 | 0.734 | 201 | 1.234 | 209.5 | 1.3867 | 204.4533 | 2.6867 | 890 | 87.4933 | 0
2020-01-30 05:00:00 | 0.124 | 182.91 | 0.14333 | 201 | 0.246 | 209.5 | 0.25933 | 208.5 | 2.514 | 890 | 88.0733 | 0
2020-01-30 05:15:00 | 0.010667 | 211.666 | 0.012 | 232.5933 | 0 | 209.5 | 0.058667 | 202.5533 | 2.236 | 890 | 89.0467 | 0
2020-01-30 05:30:00 | 0.23067 | 254.9267 | 0.27267 | 280.14 | 0 | 209.5 | 0.448 | 156.46 | 2.12 | 890 | 89.8333 | 0
2020-01-30 05:45:00 | 0.60333 | 288.5053 | 0.69533 | 317.0333 | 0 | 209.5 | 0.08 | 154.6 | 2.0553 | 890 | 89.5133 | 0
2020-01-30 06:00:00 | 1.0633 | 284.6033 | 1.2293 | 312.7507 | 0 | 243.8467 | 0 | 154.6 | 1.7567 | 889.3333 | 86.0333 | 0
2020-01-30 06:15:00 | 1.188 | 203.2527 | 1.3667 | 223.3547 | 0.138 | 303.9667 | 0 | 154.6 | 1.628 | 889 | 84.8533 | 0
2020-01-30 06:30:00 | 1.632 | 223.8807 | 1.8813 | 246.0207 | 0.87667 | 340.04 | 0 | 154.6 | 1.4833 | 889 | 83.7 | 0
2020-01-30 06:45:00 | 1.7933 | 263.2667 | 2.0653 | 289.3027 | 1.2393 | 336.72 | 0.001333 | 154.5733 | 1.4193 | 889 | 84.3067 | 0
2020-01-30 07:00:00 | 2.318 | 322.388 | 2.6693 | 354.2733 | 2.2427 | 350.8267 | 0.018667 | 154.56 | 1.3113 | 889 | 85.02 | 0
2020-01-30 07:15:00 | 2.5647 | 277.6087 | 2.9487 | 305.0613 | 2.53 | 354.1667 | 0.013333 | 154.6933 | 1.1787 | 889 | 86.12 | 0
2020-01-30 07:30:00 | 2.876 | 260.1913 | 3.3073 | 285.922 | 2.9727 | 190.1047 | 0.40933 | 198.6667 | 0.91733 | 889 | 85.9867 | 0
2020-01-30 07:45:00 | 2.9687 | 170.8873 | 3.4133 | 187.786 | 3.2553 | 3.454 | 2.0473 | 302.7787 | 0.764 | 889 | 86.2133 | 0
2020-01-30 08:00:00 | 3.21 | 254.2113 | 3.6987 | 279.3473 | 3.8253 | 112.6573 | 3.0853 | 3.57 | 0.496 | 889.6667 | 88.08 | 0
2020-01-30 08:15:00 | 3.5273 | 166.9373 | 4.0633 | 183.4433 | 4.37 | 7.054 | 3.7873 | 4.6167 | 0.49533 | 890 | 88.44 | 0
2020-01-30 08:30:00 | 3.458 | 255.1107 | 3.9787 | 280.3367 | 3.8653 | 5.2947 | 3.476 | 9.004 | 0.554 | 890 | 87.3133 | 0
2020-01-30 08:45:00 | 3.384 | 317.8133 | 3.896 | 349.2333 | 3.7673 | 5.2027 | 3.5513 | 15.666 | 1.0013 | 890.3333 | 85.0133 | 0
2020-01-30 09:00:00 | 3.3847 | 200.688 | 3.8927 | 220.5307 | 3.9753 | 7.6173 | 3.4267 | 12.2707 | 1.4813 | 891 | 82.5267 | 0
2020-01-30 09:15:00 | 3.1953 | 216.6053 | 3.676 | 238.0247 | 3.6353 | 10.35 | 3.216 | 11.7493 | 1.7167 | 891 | 81.1867 | 0
2020-01-30 09:30:00 | 3.2287 | 109.936 | 3.7107 | 120.8073 | 3.7333 | 4.9393 | 3.2567 | 6.8007 | 1.7727 | 891 | 81.6467 | 0
2020-01-30 09:45:00 | 3.3667 | 216.0453 | 3.8713 | 237.412 | 3.9933 | 5.582 | 3.7807 | 7.5 | 1.9253 | 891.9333 | 81.6067 | 0
2020-01-30 10:00:00 | 3.082 | 52.2933 | 3.552 | 57.4633 | 3.524 | 8.9287 | 3.0473 | 10.2447 | 1.9813 | 892 | 79.0927 | 0
2020-01-30 10:15:00 | 2.14 | 74.7693 | 2.4693 | 82.1607 | 2.096 | 5.112 | 0.68667 | 138.3593 | 2.4033 | 892 | 76.7467 | 0
2020-01-30 10:30:00 | 1.012 | 29.7827 | 1.1687 | 32.726 | 0.95933 | 77.968 | 0.49067 | 230.8 | 3.4327 | 892 | 74.0493 | 0
2020-01-30 10:45:00 | 1.4147 | 130.5267 | 1.6313 | 143.4333 | 1.506 | 163.36 | 1.0507 | 149.3667 | 5.6 | 892.2667 | 68.432 | 0
2020-01-30 11:00:00 | 1.868 | 147.7493 | 2.1567 | 162.3533 | 1.8487 | 181.0467 | 1.268 | 191.0533 | 5.6553 | 892.4 | 69.5707 | 0
2020-01-30 11:15:00 | 2.3687 | 158.54 | 2.724 | 174.22 | 2.4807 | 177.7867 | 2.3147 | 201.4267 | 5.7153 | 892.9333 | 70.4233 | 0.37333
2020-01-30 11:30:00 | 2.7947 | 158.67 | 3.2153 | 174.3667 | 2.9407 | 180.92 | 3.1147 | 203.8 | 5.4413 | 892.4 | 72.622 | 0.558
2020-01-30 11:45:00 | 3.3133 | 159.5827 | 3.8113 | 175.3667 | 3.5087 | 202.8133 | 3.666 | 206.8467 | 5.9007 | 892 | 70.9633 | 0.75933
2020-01-30 12:00:00 | 3.9207 | 145.7147 | 4.5133 | 160.1267 | 4.1493 | 190.64 | 4.01 | 199.52 | 6.166 | 892 | 69.712 | 1.8407
2020-01-30 12:15:00 | 3.7367 | 139.7993 | 4.298 | 153.62 | 4.12 | 179.68 | 4.056 | 192.4 | 6.5887 | 892 | 68.8527 | 3.05
2020-01-30 12:30:00 | 4.2093 | 166.642 | 4.848 | 183.12 | 4.4773 | 188.6 | 4.4727 | 191.6733 | 6.6913 | 892 | 68.7193 | 4.816
2020-01-30 12:45:00 | 4.1067 | 149.05 | 4.7267 | 163.7867 | 4.5587 | 167.2333 | 4.6707 | 180.5733 | 7.246 | 891.0667 | 67.246 | 6.03
2020-01-30 13:00:00 | 4.2247 | 151.34 | 4.86 | 166.3 | 4.7813 | 159.7 | 4.8733 | 174.5733 | 7.754 | 891 | 65.84 | 6.5147
2020-01-30 13:15:00 | 4.3007 | 137.126 | 4.952 | 150.6867 | 5.0467 | 161.1733 | 4.9127 | 178.96 | 8.1233 | 891 | 64.7927 | 6.8213
2020-01-30 13:30:00 | 4.1173 | 148.0173 | 4.742 | 162.6533 | 4.878 | 169.5667 | 4.936 | 176.9133 | 8.3727 | 891 | 64.8747 | 7.6827
2020-01-30 13:45:00 | 3.9787 | 129.498 | 4.5827 | 142.2933 | 4.7313 | 162.1467 | 4.8247 | 193.9333 | 8.5993 | 891 | 64.448 | 9.3447
2020-01-30 14:00:00 | 3.7347 | 133.2553 | 4.296 | 146.4333 | 4.644 | 166.14 | 4.718 | 167.12 | 9.0133 | 891 | 62.5587 | 8.6967
2020-01-30 14:15:00 | 3.598 | 136.4047 | 4.1373 | 149.8867 | 4.3387 | 167.48 | 4.488 | 166.6067 | 9.138 | 891 | 61.7027 | 9.94
2020-01-30 14:30:00 | 4.2447 | 133.5427 | 4.886 | 146.74 | 4.884 | 164.0267 | 5.1513 | 171.1 | 9.3607 | 890.3333 | 60.3753 | 7.802
2020-01-30 14:45:00 | 4.2013 | 135.674 | 4.8327 | 149.0933 | 4.8773 | 172.06 | 5.234 | 171.2133 | 9.4707 | 890 | 59.826 | 5.9907
2020-01-30 15:00:00 | 3.832 | 144.5647 | 4.408 | 158.86 | 4.4433 | 164.3867 | 4.8313 | 178.9533 | 9.6233 | 890 | 58.6587 | 5.216
2020-01-30 15:15:00 | 3.4753 | 137.444 | 4 | 151.0333 | 4.0453 | 168.3133 | 3.978 | 180.1267 | 9.8813 | 890 | 58.2807 | 4.7673
2020-01-30 15:30:00 | 3.9307 | 134.7513 | 4.5253 | 148.0733 | 4.5667 | 163.54 | 4.698 | 172.4467 | 10.0273 | 890 | 57.5947 | 5.2293
2020-01-30 15:45:00 | 3.5607 | 145.142 | 4.098 | 159.4933 | 4.172 | 174.2333 | 4.4067 | 182.3933 | 9.9393 | 890 | 57.0553 | 5.4287
2020-01-30 16:00:00 | 3.734 | 151.2093 | 4.2987 | 166.16 | 4.1073 | 170.8933 | 4.2193 | 194.5467 | 9.7967 | 889.3333 | 56.564 | 5.5567
2020-01-30 16:15:00 | 3.596 | 152.116 | 4.1387 | 167.1467 | 4.1553 | 166.86 | 4.35 | 188.4067 | 9.7193 | 889.6667 | 56.7233 | 5.452
2020-01-30 16:30:00 | 3.08 | 124.2453 | 3.5473 | 136.5333 | 3.5113 | 173.26 | 3.396 | 192.7667 | 9.73 | 889 | 57.0447 | 3.812
2020-01-30 16:45:00 | 3.0913 | 164.5313 | 3.5533 | 180.8 | 3.654 | 221.2667 | 3.5987 | 206.7533 | 9.6773 | 889 | 57.53 | 5.3993
2020-01-30 17:00:00 | 3.4253 | 177.9253 | 3.94 | 195.5133 | 4.3093 | 215.98 | 4.184 | 210.68 | 9.3227 | 889 | 57.8933 | 4.97
2020-01-30 17:15:00 | 2.6413 | 163.0167 | 3.04 | 179.1333 | 3.338 | 196.0667 | 3.414 | 213.8133 | 9.016 | 889 | 58.8067 | 5.3733
2020-01-30 17:30:00 | 2.8547 | 174.4667 | 3.2927 | 191.72 | 3.604 | 218.8733 | 3.768 | 217.9 | 8.9307 | 889 | 57.82 | 8.4593
2020-01-30 17:45:00 | 2.7273 | 148.93 | 3.1413 | 163.66 | 3.4807 | 217.2867 | 3.7793 | 216.9467 | 8.7687 | 888.6667 | 55.9413 | 11.734
2020-01-30 18:00:00 | 3.0453 | 175.648 | 3.5047 | 193.0133 | 4.0173 | 214.6667 | 4.4487 | 226.3533 | 8.494 | 888 | 57.312 | 12.8327
2020-01-30 18:15:00 | 2.8933 | 170.0307 | 3.3253 | 186.84 | 3.8853 | 222.42 | 4.58 | 229.1067 | 8.1713 | 888 | 58.5253 | 13.05
2020-01-30 18:30:00 | 2.7527 | 154.5267 | 3.1673 | 169.8 | 3.774 | 221.82 | 4.476 | 222.6933 | 7.796 | 888 | 60.4253 | 14.5127
2020-01-30 18:45:00 | 2.256 | 179.1713 | 2.5933 | 196.8867 | 3.1753 | 227.58 | 3.8527 | 226.0733 | 7.5813 | 888 | 61.6507 | 13.5827
2020-01-30 19:00:00 | 2.2113 | 171.662 | 2.5447 | 188.6333 | 3.0927 | 222.7533 | 3.876 | 220.1467 | 7.3567 | 888 | 64.11 | 12.47
2020-01-30 19:15:00 | 2.562 | 169.22 | 2.9473 | 185.9533 | 3.4447 | 211.78 | 4.182 | 222.3267 | 7.1787 | 888 | 66.2427 | 11.554
2020-01-30 19:30:00 | 2.544 | 162.6107 | 2.9287 | 178.6933 | 3.4727 | 221.14 | 4.0173 | 220.86 | 7.0507 | 888 | 67.4693 | 9.6287
2020-01-30 19:45:00 | 2.0873 | 171.816 | 2.402 | 188.8133 | 2.898 | 216.38 | 3.322 | 230.1733 | 6.916 | 888 | 67.9973 | 8.7987
2020-01-30 20:00:00 | 2.1947 | 171.902 | 2.5267 | 188.9067 | 3.0567 | 214.6733 | 3.6887 | 224.5933 | 6.752 | 888 | 69.0367 | 8.8573
2020-01-30 20:15:00 | 2.378 | 176.5267 | 2.738 | 193.98 | 3.232 | 222.74 | 3.508 | 226.1733 | 6.8227 | 888 | 71.03 | 6.2287
2020-01-30 20:30:00 | 1.8567 | 174.9453 | 2.1447 | 192.2467 | 2.6767 | 223.0667 | 2.948 | 223.92 | 6.716 | 888 | 72.9307 | 3.892
2020-01-30 20:45:00 | 2.0233 | 179.914 | 2.3267 | 197.7067 | 2.872 | 216.06 | 3.142 | 226.0533 | 6.63 | 888.2667 | 74.3327 | 3.914
2020-01-30 21:00:00 | 2.1113 | 180.9853 | 2.43 | 198.8867 | 3.0107 | 222.68 | 3.368 | 231.6333 | 6.486 | 889 | 76.0847 | 4.528
2020-01-30 21:15:00 | 1.4487 | 164.5713 | 1.6733 | 180.8467 | 2.264 | 226.38 | 2.642 | 229.16 | 6.432 | 889 | 76.864 | 4.5527
2020-01-30 21:30:00 | 1.4207 | 186.096 | 1.64 | 204.5 | 2.24 | 235.6867 | 2.814 | 237.4133 | 6.3927 | 889 | 77.5253 | 4.4247
2020-01-30 21:45:00 | 2.2427 | 172.4713 | 2.58 | 189.5333 | 3.1493 | 224.4133 | 3.4893 | 235.92 | 6.202 | 889 | 78.8613 | 4.4227
2020-01-30 22:00:00 | 1.9913 | 165.3507 | 2.294 | 181.7067 | 2.87 | 222.5 | 3.1047 | 233.2 | 6.128 | 889 | 79.756 | 2.7933
2020-01-30 22:15:00 | 1.8853 | 174.9913 | 2.1727 | 192.2867 | 2.7573 | 225.7667 | 3.0967 | 233.8267 | 6.0973 | 889 | 80.3047 | 1.704
2020-01-30 22:30:00 | 2.2693 | 181.222 | 2.612 | 199.14 | 3.3507 | 229.46 | 3.546 | 232.84 | 6.0627 | 889 | 80.7667 | 1.3313
2020-01-30 22:45:00 | 2.376 | 166.6973 | 2.7327 | 183.18 | 3.4627 | 226.0067 | 3.7727 | 230.6867 | 6.1013 | 889 | 80.7 | 1.3933
2020-01-30 23:00:00 | 1.692 | 174.658 | 1.9467 | 191.9267 | 2.53 | 225.8067 | 3.0233 | 229.6133 | 6.0993 | 889 | 80.5067 | 0.10333
2020-01-30 23:15:00 | 1.3013 | 181.1787 | 1.5067 | 199.0933 | 2.0153 | 211.1333 | 2.4053 | 225.7867 | 6.024 | 889 | 80.4067 | 0
2020-01-30 23:30:00 | 1.392 | 162.994 | 1.6087 | 179.1067 | 2.094 | 210.2067 | 2.4547 | 218.02 | 6.092 | 889 | 79.748 | 0
2020-01-30 23:45:00 | 0.37 | 157.6707 | 0.42667 | 173.2533 | 0.61467 | 198.5133 | 0.80133 | 215.8533 | 5.98 | 889 | 79.646 | 0