## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-31 00:00:00 | 0.94429 | 173.1979 | 1.0907 | 190.3286 | 1.2836 | 182.5 | 1.4236 | 202.7286 | 6.1114 | 889 | 78.6357 | 0
2020-01-31 00:15:00 | 0.14667 | 173.81 | 0.17667 | 191 | 0.27267 | 176.8 | 0.54267 | 195.1933 | 6.056 | 889 | 78.2547 | 0.084667
2020-01-31 00:30:00 | 0.16333 | 173.81 | 0.19667 | 191 | 0.32 | 259.9 | 0 | 195.2 | 5.8447 | 888.4 | 78.69 | 0.016
2020-01-31 00:45:00 | 0.30733 | 134.2367 | 0.35267 | 147.5067 | 0.43 | 235.4067 | 0.14667 | 187.8533 | 5.6887 | 888.6667 | 79.8213 | 0
2020-01-31 01:00:00 | 1.058 | 89.064 | 1.2133 | 97.8867 | 1.432 | 128.9467 | 1.2313 | 140.2 | 5.934 | 888 | 78.1407 | 0
2020-01-31 01:15:00 | 0.626 | 90.07 | 0.72533 | 98.98 | 1.1847 | 132.94 | 1.132 | 140.2333 | 5.9593 | 888 | 77.5153 | 0
2020-01-31 01:30:00 | 0.36533 | 90.27 | 0.42867 | 99.2 | 0.72 | 133.22 | 0.81333 | 140.42 | 6.0593 | 888 | 77.1133 | 0
2020-01-31 01:45:00 | 0 | 90.27 | 0 | 99.2 | 0 | 133.3 | 0.29267 | 140.5 | 5.9347 | 888 | 77.43 | 0
2020-01-31 02:00:00 | 0 | 90.27 | 0 | 99.2 | 0 | 133.36 | 0.73733 | 140.5 | 5.8427 | 888 | 77.812 | 0
2020-01-31 02:15:00 | 0 | 90.27 | 0 | 99.2 | 0 | 133.3067 | 0.25667 | 140.5 | 5.746 | 888 | 78.1187 | 0.28
2020-01-31 02:30:00 | 0.472 | 98.534 | 0.54667 | 108.28 | 0.882 | 144.24 | 1.2013 | 145.7 | 5.9127 | 888 | 77.6567 | 0.488
2020-01-31 02:45:00 | 1.0113 | 152.25 | 1.164 | 167.3 | 1.6667 | 180.8533 | 1.95 | 182.6733 | 6.012 | 888 | 77.2007 | 0
2020-01-31 03:00:00 | 0.59333 | 152.25 | 0.68333 | 167.3 | 1.16 | 182.66 | 1.5273 | 186.36 | 5.8173 | 887.4 | 78.064 | 0
2020-01-31 03:15:00 | 0.178 | 237.0007 | 0.20533 | 260.4333 | 0.017333 | 182.7 | 0.412 | 186.4 | 5.6433 | 887 | 78.91 | 0
2020-01-31 03:30:00 | 0.734 | 287.83 | 0.84933 | 316.3 | 0.80933 | 264.0333 | 0.022 | 201.68 | 5.5227 | 887 | 79.7087 | 0
2020-01-31 03:45:00 | 0.12933 | 287.83 | 0.15467 | 316.3 | 0.18133 | 354.7 | 0.028 | 301 | 5.546 | 887 | 79.516 | 0
2020-01-31 04:00:00 | 0.02 | 287.83 | 0.022 | 316.3 | 0 | 354.7 | 0 | 301 | 5.656 | 887 | 79.0147 | 0
2020-01-31 04:15:00 | 0.044 | 287.83 | 0.050667 | 316.3 | 0.085333 | 339.4467 | 0.34333 | 301.04 | 5.6347 | 887 | 79.048 | 0
2020-01-31 04:30:00 | 0.74267 | 207.6747 | 0.85467 | 228.2067 | 1.3207 | 204.1133 | 1.28 | 213.4 | 5.586 | 887 | 79.5187 | 0
2020-01-31 04:45:00 | 0.71667 | 169.5847 | 0.826 | 186.3467 | 1.27 | 176.6533 | 1.638 | 178.5733 | 5.4007 | 887 | 80.5733 | 0
2020-01-31 05:00:00 | 0.628 | 134.51 | 0.726 | 147.8 | 1.1447 | 176.6467 | 1.538 | 197.24 | 5.2307 | 887 | 81.6733 | 0
2020-01-31 05:15:00 | 0.058 | 134.6233 | 0.066 | 147.9333 | 0.087333 | 174.7267 | 0.81267 | 200.86 | 5.0947 | 887 | 82.38 | 0
2020-01-31 05:30:00 | 0 | 134.51 | 0 | 147.8 | 0 | 174.6 | 0.40667 | 217.2333 | 5.002 | 887 | 82.9333 | 0
2020-01-31 05:45:00 | 0.008 | 134.51 | 0.008 | 147.8 | 0.011333 | 174.6 | 0.34067 | 217.1733 | 4.942 | 887 | 83.2667 | 0
2020-01-31 06:00:00 | 0.012 | 134.51 | 0.012 | 147.8 | 0.018667 | 174.6 | 0.56867 | 217.1 | 4.9313 | 887 | 82.9867 | 0
2020-01-31 06:15:00 | 0 | 134.51 | 0 | 147.8 | 0 | 174.6 | 0.068 | 217.0333 | 4.9087 | 887 | 83.5267 | 0
2020-01-31 06:30:00 | 0 | 134.51 | 0 | 147.8 | 0 | 174.6 | 0.024 | 217.04 | 4.9193 | 887 | 84.1733 | 0
2020-01-31 06:45:00 | 0.14533 | 134.5367 | 0.17067 | 147.8333 | 0 | 174.6 | 0 | 217.0333 | 4.8387 | 887 | 84.7733 | 0
2020-01-31 07:00:00 | 0.084 | 134.59 | 0.098667 | 147.9 | 0.090667 | 215.1867 | 0.16267 | 240.58 | 4.8173 | 887 | 84.9067 | 0
2020-01-31 07:15:00 | 0.31867 | 216.928 | 0.36667 | 238.38 | 0.534 | 266.9733 | 0.494 | 251.44 | 4.828 | 887 | 84.2667 | 0
2020-01-31 07:30:00 | 0.025333 | 237.61 | 0.028 | 261.1 | 0.026667 | 243.66 | 0.018667 | 247.9 | 4.8473 | 887 | 84.9333 | 0
2020-01-31 07:45:00 | 0.148 | 237.634 | 0.17467 | 261.1267 | 0.214 | 261.06 | 0.23067 | 292.1867 | 4.614 | 887.9333 | 88.3133 | 0
2020-01-31 08:00:00 | 0.74933 | 279.196 | 0.87 | 306.8 | 0.94133 | 300.8133 | 1.15 | 342.8 | 4.302 | 888 | 91.8733 | 0
2020-01-31 08:15:00 | 1.224 | 314.0533 | 1.4107 | 345.1067 | 1.7387 | 186.7673 | 1.9507 | 301.8053 | 4.006 | 888 | 94.68 | 0
2020-01-31 08:30:00 | 1.234 | 168.5647 | 1.43 | 185.23 | 2.1067 | 4.0553 | 2.4387 | 5.8053 | 3.7893 | 888 | 96.0867 | 0
2020-01-31 08:45:00 | 1.3593 | 250.34 | 1.566 | 275.0967 | 1.9887 | 9.5467 | 2.198 | 25.6287 | 3.6293 | 888 | 96.54 | 0
2020-01-31 09:00:00 | 1.4847 | 313.0347 | 1.7147 | 343.9933 | 2.2547 | 7.4673 | 2.488 | 14.7367 | 3.498 | 888 | 97.0333 | 0
2020-01-31 09:15:00 | 1.3173 | 205.9987 | 1.5227 | 226.3633 | 2.2413 | 282.6133 | 2.6553 | 10.1593 | 3.5213 | 888.2667 | 98.0067 | 0
2020-01-31 09:30:00 | 1.3567 | 208.2687 | 1.5673 | 228.8633 | 2.368 | 356.3533 | 2.8967 | 9.5867 | 3.514 | 889 | 98.48 | 0.26733
2020-01-31 09:45:00 | 1.6027 | 312.3393 | 1.8493 | 343.2267 | 2.8127 | 210.9533 | 3.3653 | 5.144 | 3.4933 | 889 | 98.9933 | 2.2467
2020-01-31 10:00:00 | 1.7267 | 160.43 | 1.9833 | 176.292 | 3.2213 | 234.9233 | 3.8307 | 9.0193 | 3.526 | 889 | 99.3 | 3.4693
2020-01-31 10:15:00 | 1.7953 | 249.9593 | 2.0653 | 274.6747 | 3.4307 | 191.2507 | 4.036 | 12.6487 | 3.642 | 889 | 99.6933 | 3.7407
2020-01-31 10:30:00 | 1.7947 | 160.75 | 2.0727 | 176.6413 | 3.2427 | 123.62 | 3.7653 | 8.548 | 3.7367 | 889 | 99.8667 | 3.3813
2020-01-31 10:45:00 | 1.664 | 100.1673 | 1.916 | 110.0687 | 3.1193 | 7.9627 | 3.6047 | 7.5987 | 3.7053 | 889 | 99.9333 | 3.9667
2020-01-31 11:00:00 | 1.7453 | 152.8107 | 2.0113 | 167.9167 | 3.4227 | 124.362 | 4.0787 | 15.494 | 3.86 | 889 | 100 | 4.1107
2020-01-31 11:15:00 | 1.8853 | 212.1513 | 2.1693 | 233.128 | 3.3813 | 157.7833 | 3.9473 | 13.9193 | 3.9127 | 889 | 100 | 4.676
2020-01-31 11:30:00 | 1.914 | 215.476 | 2.2033 | 236.78 | 3.5073 | 356.2 | 4.1147 | 6.9293 | 3.848 | 889 | 100 | 5.7533
2020-01-31 11:45:00 | 2.3533 | 197.8153 | 2.7053 | 217.37 | 3.9713 | 74.3987 | 3.9013 | 7.6413 | 3.6767 | 889 | 100 | 6.7227
2020-01-31 12:00:00 | 2.2173 | 99.0247 | 2.5527 | 108.8133 | 4.176 | 125.7013 | 4.006 | 9.0333 | 3.628 | 889 | 100 | 6.528
2020-01-31 12:15:00 | 2.2627 | 274.588 | 2.6053 | 301.74 | 4.1513 | 52.3333 | 4.0293 | 134.028 | 3.586 | 889 | 100 | 5.9927
2020-01-31 12:30:00 | 2.3353 | 219.3527 | 2.684 | 241.04 | 4.0493 | 236.71 | 4.0287 | 21.748 | 3.512 | 889 | 100 | 5.2953
2020-01-31 12:45:00 | 2.4833 | 292.6713 | 2.8587 | 321.6133 | 4.23 | 216.4907 | 4.3987 | 18.1147 | 3.4387 | 889 | 100 | 4.3207
2020-01-31 13:00:00 | 2.3527 | 185.4867 | 2.7067 | 203.83 | 4.408 | 9.332 | 4.548 | 17.5073 | 3.482 | 888.3333 | 100 | 3.2453
2020-01-31 13:15:00 | 2.1707 | 170.4693 | 2.4953 | 187.3287 | 3.764 | 14.8113 | 3.8513 | 10.1913 | 3.5347 | 888 | 100 | 2.762
2020-01-31 13:30:00 | 2.0947 | 107.2207 | 2.412 | 117.818 | 3.4187 | 120.8907 | 3.51 | 10.148 | 3.546 | 888 | 100 | 1.964
2020-01-31 13:45:00 | 1.9973 | 214.544 | 2.2987 | 235.7533 | 3.5367 | 122.7507 | 3.506 | 10.03 | 3.8 | 888 | 100 | 0.91533
2020-01-31 14:00:00 | 2.018 | 250.4107 | 2.3227 | 275.1733 | 3.3433 | 49.4767 | 3.2207 | 4.4827 | 3.5913 | 888 | 100 | 0.71133
2020-01-31 14:15:00 | 1.7087 | 215.974 | 1.9653 | 237.33 | 2.9153 | 117.2667 | 2.6593 | 5.5407 | 3.6553 | 887 | 100 | 0.46533
2020-01-31 14:30:00 | 1.7633 | 163.1553 | 2.0333 | 179.2933 | 3.118 | 186.8833 | 3.008 | 12.2187 | 3.6653 | 887 | 100 | 0.272
2020-01-31 14:45:00 | 1.8007 | 15.1153 | 2.0747 | 16.6073 | 2.9507 | 119.52 | 2.8873 | 15.1173 | 3.524 | 887 | 100 | 0.33667
2020-01-31 15:00:00 | 1.5733 | 172.508 | 1.8067 | 189.5593 | 2.5193 | 171.3667 | 2.538 | 10.1607 | 3.478 | 887 | 100 | 0.26933
2020-01-31 15:15:00 | 1.3887 | 108.3107 | 1.6013 | 119.0167 | 2.494 | 248.3733 | 2.3253 | 6.7533 | 3.6027 | 887 | 100 | 0.28933
2020-01-31 15:30:00 | 1.4847 | 164.9707 | 1.712 | 181.2847 | 2.6313 | 121.6567 | 2.4267 | 2.868 | 3.532 | 887 | 100 | 0.19933
2020-01-31 15:45:00 | 1.4893 | 217.126 | 1.7247 | 238.5953 | 2.59 | 189.6253 | 2.486 | 9.0053 | 3.496 | 886.0667 | 100 | 0.13267
2020-01-31 16:00:00 | 1.7547 | 110.1467 | 2.0253 | 121.036 | 3.01 | 3.184 | 2.84 | 9.6453 | 3.384 | 886 | 100 | 0.29133
2020-01-31 16:15:00 | 1.83 | 129.7533 | 2.106 | 142.58 | 3.1327 | 6.2327 | 2.9673 | 9.9353 | 3.4167 | 886 | 100 | 0.028667
2020-01-31 16:30:00 | 1.7773 | 10.5607 | 2.0513 | 11.5947 | 3.104 | 118.934 | 3.0773 | 8.442 | 3.2293 | 886 | 100 | 0.158
2020-01-31 16:45:00 | 2.0933 | 105.1673 | 2.4147 | 115.5653 | 3.106 | 121.5213 | 3.2787 | 10.2533 | 3.23 | 886 | 100 | 0.043333
2020-01-31 17:00:00 | 2.1987 | 196.95 | 2.5267 | 216.4253 | 2.8427 | 97.3753 | 3.0573 | 11.4227 | 3.1647 | 886 | 100 | 0.042857
2020-01-31 17:15:00 | 1.8947 | 123.8553 | 2.1787 | 136.0973 | 2.9747 | 214.92 | 2.9327 | 6.618 | 3.1407 | 886 | 100 | 0.24533
2020-01-31 17:30:00 | 1.5407 | 289.6013 | 1.7727 | 318.2327 | 2.502 | 5.484 | 2.3747 | 12.158 | 3.126 | 886 | 100 | 0.058
2020-01-31 17:45:00 | 1.8207 | 152.2007 | 2.0987 | 167.2447 | 2.664 | 11.9747 | 2.6907 | 13.4447 | 3.076 | 886 | 100 | 0.34267
2020-01-31 18:00:00 | 1.806 | 163.664 | 2.0827 | 179.8373 | 2.9367 | 50.7007 | 2.7913 | 6.2293 | 3.042 | 886 | 100 | 0.75133
2020-01-31 18:15:00 | 1.8053 | 144.7133 | 2.082 | 159.026 | 3.2713 | 190.7787 | 3.124 | 10.9553 | 3.0187 | 886 | 100 | 0.92533
2020-01-31 18:30:00 | 2.0433 | 214.4433 | 2.346 | 235.6433 | 3.5387 | 239.704 | 3.2613 | 9.8893 | 2.9867 | 886 | 100 | 1.4793
2020-01-31 18:45:00 | 2.3513 | 183.6967 | 2.71 | 201.8647 | 3.9747 | 237.936 | 3.914 | 14.064 | 2.9213 | 886.9333 | 100 | 2.1127
2020-01-31 19:00:00 | 2.552 | 14.6133 | 2.9393 | 16.0547 | 4.092 | 3.898 | 4.0187 | 10.3453 | 2.9127 | 887 | 100 | 2.7053
2020-01-31 19:15:00 | 2.4667 | 56.8173 | 2.838 | 62.4307 | 4.0233 | 2.6933 | 3.9807 | 7.882 | 2.9073 | 887 | 100 | 2.2833
2020-01-31 19:30:00 | 2.418 | 165.0847 | 2.7833 | 181.41 | 3.7147 | 60.1767 | 3.388 | 19.8793 | 2.9213 | 887 | 100 | 2.2787
2020-01-31 19:45:00 | 2.466 | 48.2933 | 2.84 | 53.0667 | 3.5933 | 354.4 | 3.4387 | 5.4773 | 2.948 | 887 | 100 | 2.438
2020-01-31 20:00:00 | 2.2267 | 214.616 | 2.5673 | 235.8333 | 3.4247 | 309.3787 | 3.3033 | 17.462 | 2.958 | 887.6667 | 100 | 2.0293
2020-01-31 20:15:00 | 2.2 | 216.1973 | 2.536 | 237.6633 | 3.0167 | 120.7613 | 2.9927 | 6.668 | 2.9587 | 888 | 100 | 0.752
2020-01-31 20:30:00 | 2.0487 | 275.9227 | 2.358 | 303.3467 | 2.6967 | 244.6227 | 2.666 | 123.3433 | 2.9567 | 888 | 100 | 0.344
2020-01-31 20:45:00 | 1.9153 | 214.5667 | 2.2067 | 235.7833 | 2.6393 | 121.76 | 2.5667 | 19.562 | 2.99 | 888 | 100 | 0.080667
2020-01-31 21:00:00 | 2.1833 | 108.3233 | 2.5167 | 119.0333 | 2.4673 | 5.478 | 2.434 | 9.5887 | 2.9487 | 888 | 100 | 0.19867
2020-01-31 21:15:00 | 1.798 | 10.4547 | 2.0787 | 11.478 | 2.8587 | 9.686 | 3.2067 | 10.2073 | 2.9887 | 888 | 100 | 1.5433
2020-01-31 21:30:00 | 1.8013 | 155.6953 | 2.0753 | 171.0887 | 3.306 | 2.55 | 3.4393 | 12.484 | 3.0287 | 888 | 100 | 2.0113
2020-01-31 21:45:00 | 1.9613 | 300.826 | 2.264 | 330.5733 | 3.8 | 1.59 | 3.7973 | 9.0627 | 3.034 | 888 | 100 | 1.9907
2020-01-31 22:00:00 | 2.092 | 113.1487 | 2.4067 | 124.3267 | 3.5753 | 118.1667 | 3.5973 | 121.3827 | 3.056 | 888 | 100 | 1.4447
2020-01-31 22:15:00 | 2.2667 | 213.632 | 2.6073 | 234.7567 | 3.5573 | 3.664 | 3.7427 | 8.3127 | 3.0567 | 888 | 100 | 2.2507
2020-01-31 22:30:00 | 2.5233 | 108.7613 | 2.9007 | 119.5167 | 4.01 | 47.8827 | 4.1493 | 6.8973 | 3.0207 | 888 | 100 | 2.13
2020-01-31 22:45:00 | 2.39 | 213.5647 | 2.75 | 234.6867 | 3.61 | 301.508 | 3.8287 | 1.6333 | 2.964 | 888 | 100 | 1.2847
2020-01-31 23:00:00 | 2.4087 | 177.7653 | 2.7733 | 195.342 | 3.818 | 123.46 | 3.5733 | 8.358 | 2.9533 | 888 | 100 | 0.824
2020-01-31 23:15:00 | 2.2613 | 154.2813 | 2.6027 | 169.5313 | 3.652 | 5.4513 | 3.516 | 9.3593 | 2.9753 | 888 | 100 | 1.088
2020-01-31 23:30:00 | 1.8093 | 183.0107 | 2.0793 | 201.1093 | 3.3947 | 13.596 | 3.192 | 10.528 | 3.0027 | 888 | 100 | 1.02
2020-01-31 23:45:00 | 1.846 | 263.3533 | 2.1247 | 289.394 | 3.07 | 4.4493 | 3.0327 | 12.3333 | 3.0073 | 888 | 100 | 0.26333