## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-02 00:00:00 | 2.7943 | 305.4129 | 3.215 | 335.6071 | 4.9286 | 7.6357 | 5.4529 | 13.7714 | 3.9714 | 890 | 100 | 14.5821
2020-02-02 00:15:00 | 3.5313 | 172.8253 | 4.0653 | 189.9127 | 5.6947 | 4.1173 | 6.4613 | 14.044 | 3.9967 | 890 | 100 | 20.2727
2020-02-02 00:30:00 | 3.7747 | 218.7473 | 4.3467 | 240.3747 | 6.714 | 12.9927 | 7.262 | 16.7067 | 4.0213 | 890 | 100 | 26.3367
2020-02-02 00:45:00 | 3.984 | 20.5213 | 4.5867 | 22.5467 | 7.462 | 11.2093 | 8.3333 | 18.1347 | 4.03 | 890 | 100 | 33.1587
2020-02-02 01:00:00 | 3.534 | 205.6213 | 4.068 | 225.9467 | 6.9087 | 13.2187 | 7.6227 | 17.4333 | 4.014 | 890 | 100 | 37.3947
2020-02-02 01:15:00 | 3.5827 | 209.226 | 4.1207 | 229.9067 | 6.9773 | 18.5113 | 7.3213 | 20.524 | 4.0307 | 890 | 100 | 37.0613
2020-02-02 01:30:00 | 4.2087 | 232.8107 | 4.844 | 255.8333 | 7.8453 | 19.5333 | 8.6493 | 25.078 | 4.0433 | 890 | 100 | 42.5973
2020-02-02 01:45:00 | 4.5007 | 225.6587 | 5.182 | 247.9667 | 8.5353 | 15.552 | 9.3373 | 20.5907 | 4.0173 | 889.0667 | 100 | 43.1787
2020-02-02 02:00:00 | 4.428 | 173.4587 | 5.094 | 190.6067 | 8.0233 | 18.1913 | 8.4793 | 18.7587 | 3.9593 | 889 | 100 | 41.1907
2020-02-02 02:15:00 | 4.7367 | 143.3233 | 5.452 | 157.4933 | 8.7107 | 12.808 | 9.1727 | 16.9593 | 3.946 | 889 | 100 | 45.6987
2020-02-02 02:30:00 | 5.0607 | 111.5693 | 5.822 | 122.6033 | 9.2527 | 10.458 | 9.892 | 18.2033 | 3.8773 | 889 | 100 | 52.0507
2020-02-02 02:45:00 | 5.932 | 152.0753 | 6.828 | 167.1133 | 10.4113 | 5.9153 | 11.05 | 14.69 | 3.7673 | 889 | 100 | 56.0427
2020-02-02 03:00:00 | 5.97 | 180.546 | 6.8673 | 198.4 | 10.2593 | 10.766 | 10.8 | 14.8073 | 3.7673 | 889 | 100 | 56.9973
2020-02-02 03:15:00 | 5.84 | 132.612 | 6.7253 | 145.72 | 10.3167 | 10.172 | 11.1033 | 19.4107 | 3.818 | 889 | 100 | 59.8327
2020-02-02 03:30:00 | 6.0893 | 278.76 | 7 | 306.32 | 11.016 | 10.238 | 12.082 | 19.9113 | 3.8087 | 889 | 100 | 60.8207
2020-02-02 03:45:00 | 6.7413 | 218.62 | 7.76 | 240.2333 | 12.2967 | 12.082 | 12.7447 | 17.902 | 3.806 | 889 | 100 | 60.67
2020-02-02 04:00:00 | 7.0907 | 137.6 | 8.1593 | 151.21 | 12.834 | 14.9847 | 13.5927 | 21.5493 | 3.7773 | 889 | 100 | 60.6853
2020-02-02 04:15:00 | 7.2827 | 155.644 | 8.3833 | 171.0367 | 13.3047 | 14.7587 | 13.56 | 20.9087 | 3.742 | 889 | 100 | 61.646
2020-02-02 04:30:00 | 7.5407 | 182.0507 | 8.6793 | 200.0533 | 13.4387 | 9.9773 | 13.892 | 18.3013 | 3.736 | 889 | 100 | 61.186
2020-02-02 04:45:00 | 7.2513 | 263.76 | 8.338 | 289.84 | 13.3673 | 8.042 | 13.9393 | 15.198 | 3.7287 | 889 | 100 | 60.098
2020-02-02 05:00:00 | 7.5747 | 161.1687 | 8.7113 | 177.1067 | 13.8747 | 14.3613 | 14.3373 | 20.4673 | 3.728 | 889 | 100 | 60.3127
2020-02-02 05:15:00 | 7.864 | 153.1547 | 9.046 | 168.2967 | 14.0627 | 16.132 | 14.0533 | 21.8053 | 3.7307 | 889 | 100 | 60.748
2020-02-02 05:30:00 | 7.8833 | 135.058 | 9.0707 | 148.4147 | 13.916 | 10.756 | 13.5373 | 20.0067 | 3.7507 | 889 | 100 | 60.618
2020-02-02 05:45:00 | 8.1893 | 96.9033 | 9.4207 | 106.4847 | 14.1453 | 16.6407 | 14.2947 | 14.5027 | 3.8507 | 889 | 100 | 60.6567
2020-02-02 06:00:00 | 7.9847 | 69.1913 | 9.1847 | 76.0313 | 13.95 | 21.5553 | 13.3453 | 27.1687 | 3.8573 | 889 | 99.9467 | 59.9987
2020-02-02 06:15:00 | 7.2887 | 51.5553 | 8.3893 | 56.6527 | 13.3327 | 14.4893 | 13.3547 | 19.874 | 3.7167 | 889 | 99.0933 | 60.6647
2020-02-02 06:30:00 | 7.1827 | 186.416 | 8.266 | 204.8467 | 13.0493 | 15.138 | 13.2707 | 19.5593 | 3.6327 | 889.6 | 97.5667 | 58.2713
2020-02-02 06:45:00 | 6.904 | 147.9053 | 7.944 | 162.5327 | 12.6993 | 12.046 | 12.7087 | 24.3467 | 3.5167 | 890 | 96.14 | 58.3827
2020-02-02 07:00:00 | 6.774 | 153.9053 | 7.7913 | 169.122 | 12.3347 | 18.8 | 12.3927 | 29.9313 | 3.3167 | 890 | 94.5267 | 56.5613
2020-02-02 07:15:00 | 6.4627 | 87.1993 | 7.432 | 95.816 | 11.9307 | 15.2347 | 12.2073 | 22.682 | 3.196 | 890 | 92.8 | 54.4467
2020-02-02 07:30:00 | 6.5807 | 96.1373 | 7.5673 | 105.644 | 12.136 | 25.068 | 12.6247 | 29.5793 | 3.26 | 890 | 90.4267 | 53.526
2020-02-02 07:45:00 | 6.6313 | 172.51 | 7.6287 | 189.5653 | 12.166 | 18.082 | 12.506 | 31.852 | 3.3173 | 890 | 88.38 | 51.0553
2020-02-02 08:00:00 | 5.808 | 115.164 | 6.6793 | 126.5513 | 10.6593 | 18.904 | 11.2893 | 37.2853 | 3.482 | 890.6 | 85.56 | 46.6707
2020-02-02 08:15:00 | 5.5287 | 138.778 | 6.3667 | 152.4967 | 10.2207 | 17.2807 | 11.0187 | 31.5567 | 3.482 | 891 | 84.88 | 45.5247
2020-02-02 08:30:00 | 5.5653 | 233.9093 | 6.4093 | 257.04 | 10.3267 | 24.0807 | 10.99 | 28.8407 | 3.4873 | 891 | 83.8067 | 43.3227
2020-02-02 08:45:00 | 5.9027 | 134.0147 | 6.7927 | 147.2633 | 10.912 | 17.6667 | 11.4253 | 30.6607 | 3.7833 | 891 | 79.924 | 42.746
2020-02-02 09:00:00 | 5.432 | 187.582 | 6.248 | 206.1293 | 10.0427 | 23.5 | 10.8067 | 30.4307 | 3.976 | 891.6667 | 78.7013 | 41.3813
2020-02-02 09:15:00 | 5.7373 | 122.4673 | 6.6033 | 134.5747 | 10.6927 | 26.3493 | 11.0993 | 27.9647 | 4.2013 | 892 | 76.9113 | 39.3713
2020-02-02 09:30:00 | 5.6967 | 197.596 | 6.5553 | 217.1293 | 10.462 | 24.2373 | 11.0213 | 28.5053 | 4.4173 | 892 | 75.0887 | 38.7687
2020-02-02 09:45:00 | 5.1253 | 165.4713 | 5.8987 | 181.8333 | 9.55 | 21.15 | 10.262 | 29.3927 | 4.6753 | 892.2667 | 72.7413 | 36.016
2020-02-02 10:00:00 | 5.104 | 161.1173 | 5.8767 | 177.0467 | 9.468 | 18.8847 | 10.4373 | 27.2427 | 4.9527 | 893 | 70.418 | 37.028
2020-02-02 10:15:00 | 5.4493 | 83.7807 | 6.266 | 92.06 | 10.11 | 17.2313 | 10.7313 | 30.524 | 5.19 | 893 | 69.9287 | 39.402
2020-02-02 10:30:00 | 5.7953 | 189.134 | 6.6687 | 207.8333 | 10.6327 | 20.4573 | 11.0907 | 31.432 | 5.56 | 893 | 69.0333 | 42.692
2020-02-02 10:45:00 | 6.0973 | 183.9007 | 7.0193 | 202.0867 | 10.8087 | 30.412 | 11.544 | 34.1607 | 5.9393 | 893 | 65.832 | 41.762
2020-02-02 11:00:00 | 6.2667 | 271.79 | 7.2067 | 298.6667 | 10.826 | 20.4693 | 11.284 | 34.2853 | 6.3013 | 893 | 59.3793 | 39.5813
2020-02-02 11:15:00 | 5.34 | 180.0713 | 6.146 | 197.8767 | 9.4133 | 29.436 | 9.9213 | 36.46 | 6.8267 | 894 | 58.556 | 35.2107
2020-02-02 11:30:00 | 5.508 | 227.0947 | 6.3367 | 249.5467 | 9.6067 | 18.7253 | 10.1827 | 24.1313 | 7.364 | 894 | 53.9107 | 35.8087
2020-02-02 11:45:00 | 6.0407 | 297.488 | 6.9473 | 326.9067 | 10.116 | 20.3187 | 10.7007 | 35.772 | 7.864 | 894 | 49.6847 | 37.2513
2020-02-02 12:00:00 | 6.036 | 199.428 | 6.946 | 219.1467 | 10.2627 | 13.352 | 10.3907 | 28.2133 | 8.4727 | 894 | 46.984 | 35.398
2020-02-02 12:15:00 | 6.0747 | 302.1547 | 6.9953 | 332.0267 | 10.4427 | 11.8633 | 10.428 | 24.7067 | 8.5713 | 894 | 44.4967 | 36.582
2020-02-02 12:30:00 | 6.208 | 149.556 | 7.1413 | 164.34 | 10.7173 | 14.66 | 10.7673 | 20.8527 | 8.7 | 894 | 42.67 | 36.7333
2020-02-02 12:45:00 | 5.98 | 141.734 | 6.8747 | 155.7473 | 10.338 | 14.2087 | 10.802 | 30.5467 | 8.6827 | 894 | 40.7947 | 35.9633
2020-02-02 13:00:00 | 6.4633 | 81.0427 | 7.436 | 89.0527 | 11.242 | 19.8513 | 11.326 | 23.8533 | 8.6327 | 894 | 40.2187 | 36.264
2020-02-02 13:15:00 | 5.5953 | 60.1727 | 6.4333 | 66.12 | 9.724 | 11.14 | 9.946 | 27.8213 | 8.8433 | 893.7333 | 39.3807 | 30.4307
2020-02-02 13:30:00 | 5.162 | 187.5253 | 5.944 | 206.0733 | 8.9393 | 12.4887 | 9.0907 | 33.6733 | 9.0513 | 893 | 38.4027 | 27.048
2020-02-02 13:45:00 | 5.636 | 200.9747 | 6.4927 | 220.8433 | 9.5493 | 21.278 | 9.0567 | 31.6327 | 9.2167 | 893 | 37.2587 | 28.6467
2020-02-02 14:00:00 | 5.516 | 144.0867 | 6.348 | 158.33 | 9.2947 | 13.1553 | 8.6127 | 30.31 | 9.382 | 893 | 36.9107 | 31.582
2020-02-02 14:15:00 | 5.438 | 247.1667 | 6.2587 | 271.6033 | 9.15 | 28.0807 | 8.3227 | 26.2787 | 9.5807 | 893 | 35.866 | 35.4313
2020-02-02 14:30:00 | 5.7527 | 247.0287 | 6.618 | 271.4573 | 9.9673 | 18.5913 | 10.0067 | 22.6893 | 9.7467 | 892.4 | 35.02 | 35.0327
2020-02-02 14:45:00 | 5.788 | 93.4047 | 6.6607 | 102.6327 | 9.88 | 16.3753 | 9.68 | 28.4007 | 9.4587 | 892 | 33.4633 | 34.4447
2020-02-02 15:00:00 | 5.5833 | 78.5833 | 6.4207 | 86.3533 | 9.4313 | 26.7907 | 9.65 | 36.7267 | 9.3293 | 892 | 33.1887 | 31.3127
2020-02-02 15:15:00 | 5.1627 | 187.3147 | 5.9473 | 205.8333 | 8.7233 | 12.8807 | 8.6047 | 26.464 | 9.3187 | 892 | 32.98 | 26.7033
2020-02-02 15:30:00 | 4.3947 | 221.9813 | 5.0613 | 243.9307 | 7.806 | 13.3207 | 7.546 | 37.4913 | 9.3713 | 892 | 33.37 | 24.858
2020-02-02 15:45:00 | 4.928 | 106.1887 | 5.6693 | 116.688 | 8.5813 | 25.8387 | 8.3027 | 37.1587 | 9.104 | 892 | 33.402 | 25.9067
2020-02-02 16:00:00 | 4.672 | 210.968 | 5.3773 | 231.8267 | 8.312 | 22.8493 | 7.544 | 35.116 | 8.8773 | 892 | 33.5413 | 25.6027
2020-02-02 16:15:00 | 4.3273 | 159.8947 | 4.9833 | 175.7033 | 7.7587 | 13.4893 | 7.6893 | 27.8733 | 8.8167 | 892 | 33.9573 | 19.7407
2020-02-02 16:30:00 | 4.412 | 124.0307 | 5.08 | 136.2933 | 7.8273 | 16.3587 | 7.8347 | 35.324 | 8.7653 | 892 | 35.42 | 22.4973
2020-02-02 16:45:00 | 5.1173 | 208.4447 | 5.8893 | 229.06 | 9.556 | 19.622 | 9.6913 | 26.188 | 8.8027 | 891.6667 | 37.9353 | 27.5613
2020-02-02 17:00:00 | 5.06 | 176.256 | 5.8233 | 193.6867 | 8.882 | 19.194 | 9.2727 | 31.1247 | 8.59 | 891 | 34.7613 | 29.4467
2020-02-02 17:15:00 | 5.59 | 126.9127 | 6.4407 | 139.4627 | 9.92 | 22.12 | 9.9867 | 24.2233 | 8.2793 | 892 | 34.0607 | 30.1647
2020-02-02 17:30:00 | 5.374 | 127.7533 | 6.1867 | 140.3867 | 9.6027 | 17.358 | 9.9 | 23.8627 | 8.0153 | 892 | 35.8713 | 28.372
2020-02-02 17:45:00 | 4.7707 | 205.974 | 5.4927 | 226.34 | 8.814 | 20.3327 | 8.91 | 18.6 | 7.7467 | 892 | 37.114 | 23.514
2020-02-02 18:00:00 | 4.1373 | 183.6447 | 4.7667 | 201.804 | 7.9193 | 23.0353 | 8.054 | 27.032 | 7.4073 | 892 | 38.1193 | 20.0233
2020-02-02 18:15:00 | 3.7273 | 96.194 | 4.2913 | 105.7027 | 7.2 | 14.68 | 7.336 | 32.078 | 7.0787 | 892 | 38.3013 | 16.8473
2020-02-02 18:30:00 | 3.09 | 208.8553 | 3.5633 | 229.4967 | 5.974 | 11.0287 | 5.8627 | 19.4633 | 6.8253 | 892 | 37.5973 | 13.0473
2020-02-02 18:45:00 | 2.6647 | 163.5253 | 3.0693 | 179.6933 | 5.1987 | 6.93 | 5.0807 | 12.884 | 6.5493 | 892 | 38.0267 | 11.176
2020-02-02 19:00:00 | 2.38 | 132.3153 | 2.7427 | 145.396 | 4.5607 | 16.782 | 4.506 | 22.9233 | 6.4033 | 892 | 37.778 | 9.6333
2020-02-02 19:15:00 | 2.0253 | 69.8967 | 2.3373 | 76.804 | 3.9253 | 13.7473 | 3.9507 | 31.024 | 6.328 | 892 | 37.8873 | 8.9033
2020-02-02 19:30:00 | 1.77 | 154.2693 | 2.044 | 169.52 | 3.4827 | 14.6447 | 3.512 | 25.724 | 6.3513 | 892 | 36.8327 | 7.554
2020-02-02 19:45:00 | 1.8767 | 54.514 | 2.1633 | 59.9053 | 3.726 | 15.1393 | 3.6107 | 21.5967 | 6.2307 | 892 | 37.1093 | 7.7747
2020-02-02 20:00:00 | 2.0253 | 73.2413 | 2.336 | 80.478 | 3.9027 | 14.4813 | 3.9007 | 22.7113 | 6.0527 | 892 | 38.062 | 8.304
2020-02-02 20:15:00 | 1.9853 | 105.5173 | 2.2853 | 115.9467 | 3.6433 | 18.798 | 3.762 | 31.1193 | 6.154 | 892 | 37.8493 | 8.8333
2020-02-02 20:30:00 | 1.76 | 313.9333 | 2.0293 | 344.9733 | 3.4593 | 14.8573 | 3.38 | 21.028 | 5.9013 | 892.6 | 38.764 | 8.5093
2020-02-02 20:45:00 | 1.73 | 288.5807 | 1.9887 | 317.12 | 3.298 | 10.428 | 3.2627 | 18.2607 | 5.734 | 893 | 39.1373 | 8.3113
2020-02-02 21:00:00 | 1.8673 | 302.7473 | 2.148 | 332.6867 | 3.4467 | 11.99 | 3.3753 | 18.866 | 5.6907 | 893 | 38.8647 | 9.16
2020-02-02 21:15:00 | 2.2493 | 158.5727 | 2.5887 | 174.25 | 4.1267 | 12.3173 | 3.9933 | 20.598 | 5.9667 | 893 | 38.3407 | 11.116
2020-02-02 21:30:00 | 2.376 | 119.728 | 2.7327 | 131.5687 | 4.4833 | 11.212 | 4.4793 | 23.1287 | 5.624 | 893 | 39.5053 | 12.5727
2020-02-02 21:45:00 | 2.5787 | 148.3933 | 2.9727 | 163.0613 | 4.8547 | 12.8167 | 4.7453 | 20.472 | 5.522 | 893 | 39.7813 | 14.406
2020-02-02 22:00:00 | 2.9793 | 166.868 | 3.432 | 183.3667 | 5.5307 | 12.734 | 5.486 | 20.7553 | 5.302 | 893 | 42.6547 | 15.0693
2020-02-02 22:15:00 | 3.1 | 140.5947 | 3.57 | 154.4967 | 6.07 | 13.7647 | 6.1167 | 22.0993 | 4.6427 | 892.6667 | 45.8787 | 16.2187
2020-02-02 22:30:00 | 2.9373 | 261.7953 | 3.384 | 287.676 | 5.7 | 14.0727 | 6.1527 | 21.2307 | 4.474 | 892 | 46.8267 | 16.3273
2020-02-02 22:45:00 | 3.3207 | 160.3587 | 3.8213 | 176.214 | 5.7007 | 10.5333 | 5.6533 | 11.862 | 4.4313 | 892 | 47.8207 | 16.9233
2020-02-02 23:00:00 | 3.5929 | 285.2779 | 4.1371 | 313.4786 | 5.9257 | 127.8607 | 5.8936 | 8.4736 | 4.5729 | 892 | 48.105 | 16.895
2020-02-02 23:15:00 | 3.3813 | 240.5347 | 3.8887 | 264.3213 | 5.4687 | 6.4213 | 5.6613 | 14.9873 | 4.406 | 892 | 49.0507 | 15.0447
2020-02-02 23:30:00 | 3.3533 | 224.832 | 3.86 | 247.0653 | 5.4407 | 7.6013 | 5.6507 | 20.8873 | 4.334 | 892 | 49.0407 | 11.2193
2020-02-02 23:45:00 | 3.1607 | 284.0213 | 3.64 | 312.1067 | 5.572 | 238.6267 | 5.312 | 14.7827 | 4.3047 | 892 | 48.8807 | 8.1687