## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-04 00:00:00 | 2.7871 | 166.8193 | 3.2071 | 183.3143 | 3.2529 | 202.5929 | 3.5836 | 187.0214 | 4.9371 | 890 | 92.91 | 7.6207
2020-02-04 00:15:00 | 2.7093 | 163.256 | 3.1187 | 179.4 | 3.2213 | 183.9533 | 3.454 | 186.2333 | 4.8167 | 890 | 93.9333 | 7.1427
2020-02-04 00:30:00 | 2.9947 | 157.502 | 3.4447 | 173.08 | 3.3807 | 178.12 | 3.6793 | 183.44 | 4.7047 | 890 | 94.7667 | 6.5833
2020-02-04 00:45:00 | 2.738 | 158.5787 | 3.1467 | 174.2533 | 3.084 | 185.8133 | 3.3827 | 183.26 | 4.5453 | 890 | 96.4333 | 5.9967
2020-02-04 01:00:00 | 2.536 | 145.9313 | 2.9213 | 160.36 | 2.9167 | 180.28 | 3.3153 | 174.2133 | 4.4373 | 890 | 97.5267 | 5.4733
2020-02-04 01:15:00 | 2.2847 | 143.6253 | 2.6307 | 157.82 | 2.602 | 184.62 | 3.042 | 191.5067 | 4.3773 | 890 | 97.9867 | 5.4513
2020-02-04 01:30:00 | 2.2747 | 153.3933 | 2.6207 | 168.56 | 2.6387 | 184.7067 | 2.8893 | 191.22 | 4.346 | 890 | 98.38 | 4.6147
2020-02-04 01:45:00 | 2.5573 | 158.72 | 2.9407 | 174.4133 | 2.9953 | 184.2133 | 3.2553 | 185.4067 | 4.2727 | 890 | 98.9533 | 4.474
2020-02-04 02:00:00 | 2.5687 | 157.284 | 2.96 | 172.8333 | 2.8527 | 188.66 | 3.2887 | 187.7467 | 4.214 | 890 | 99.3467 | 5.154
2020-02-04 02:15:00 | 2.7213 | 154.7813 | 3.1327 | 170.0867 | 3.148 | 194.0933 | 3.7047 | 194.2067 | 4.1827 | 889.0667 | 99.6933 | 4.3293
2020-02-04 02:30:00 | 2.7013 | 158.008 | 3.1107 | 173.6333 | 3.1773 | 183.76 | 3.7753 | 195.78 | 4.1573 | 889 | 99.96 | 5.0347
2020-02-04 02:45:00 | 2.3347 | 165.7033 | 2.694 | 182.0933 | 2.67 | 179.44 | 3.0027 | 195.98 | 4.1393 | 889 | 100 | 4.534
2020-02-04 03:00:00 | 2.7027 | 158.9553 | 3.1107 | 174.6733 | 3.1167 | 198.0267 | 3.8227 | 200.02 | 4.1053 | 889 | 100 | 6.202
2020-02-04 03:15:00 | 2.8287 | 170.094 | 3.2547 | 186.9067 | 3.2207 | 193.12 | 3.5073 | 192.8133 | 4.1173 | 889 | 100 | 6.7653
2020-02-04 03:30:00 | 2.1907 | 148.8547 | 2.5253 | 163.5733 | 2.5687 | 195.8333 | 2.8967 | 202.8667 | 4.1253 | 889 | 100 | 5.8113
2020-02-04 03:45:00 | 2.03 | 145.6693 | 2.336 | 160.0733 | 2.3047 | 182.4333 | 2.5167 | 185.1533 | 4.1013 | 889 | 100 | 5.0767
2020-02-04 04:00:00 | 2.4693 | 152.8629 | 2.845 | 167.9786 | 2.7367 | 188.75 | 2.8479 | 199.1143 | 4.05 | 889 | 100 | 4.6229
2020-02-04 04:15:00 | 2.642 | 155.352 | 3.0407 | 170.7067 | 2.8667 | 177.6 | 3.042 | 181.0867 | 3.9913 | 889 | 100 | 5.0907
2020-02-04 04:30:00 | 2.4167 | 166.638 | 2.7807 | 183.1067 | 2.68 | 198.3133 | 2.7553 | 184.0333 | 3.972 | 889 | 100 | 5.3807
2020-02-04 04:45:00 | 2.7773 | 155.554 | 3.194 | 170.9267 | 3.112 | 187.1067 | 3.392 | 189.9 | 3.9513 | 888.6667 | 100 | 4.0407
2020-02-04 05:00:00 | 2.5107 | 158.9253 | 2.8913 | 174.6333 | 2.686 | 170.3733 | 2.608 | 180.5467 | 3.9413 | 888 | 100 | 3.824
2020-02-04 05:15:00 | 2.3267 | 149.5487 | 2.6787 | 164.3333 | 2.542 | 169.8 | 2.9387 | 174.6 | 3.948 | 888 | 100 | 4.2053
2020-02-04 05:30:00 | 2.4407 | 154.0887 | 2.8073 | 169.32 | 2.6647 | 181.1333 | 3.3527 | 192.9 | 3.9487 | 888 | 100 | 3.806
2020-02-04 05:45:00 | 2.1847 | 161.4593 | 2.516 | 177.42 | 2.526 | 181.1733 | 3.194 | 187.8467 | 3.9433 | 888 | 100 | 3.0087
2020-02-04 06:00:00 | 1.7853 | 155.9267 | 2.0553 | 171.34 | 1.8393 | 170.9733 | 2.2067 | 182.06 | 3.93 | 888 | 100 | 2.9247
2020-02-04 06:15:00 | 1.5053 | 143.8627 | 1.7367 | 158.0933 | 1.5487 | 178.3867 | 1.8793 | 175.3933 | 3.8953 | 888 | 100 | 2.1147
2020-02-04 06:30:00 | 1.8787 | 153.91 | 2.1627 | 169.1267 | 2.0513 | 190.42 | 2.256 | 189.8867 | 3.886 | 888 | 100 | 2.5113
2020-02-04 06:45:00 | 1.8473 | 152.6613 | 2.1327 | 167.7533 | 1.9633 | 176.84 | 2.2787 | 176.8467 | 3.864 | 888 | 100 | 1.7027
2020-02-04 07:00:00 | 1.7593 | 157.638 | 2.0253 | 173.2267 | 1.9487 | 196.5333 | 2.5773 | 185.8 | 3.8473 | 888 | 100 | 0.97867
2020-02-04 07:15:00 | 1.974 | 169.9493 | 2.272 | 186.7467 | 2.044 | 170.6467 | 2.4507 | 176.5667 | 3.8333 | 888.3333 | 100 | 1.0473
2020-02-04 07:30:00 | 2.3213 | 161.1547 | 2.6727 | 177.0933 | 2.6047 | 181.7067 | 2.982 | 188.4067 | 3.834 | 889 | 100 | 1.38
2020-02-04 07:45:00 | 1.8853 | 169.9747 | 2.172 | 186.78 | 2.2773 | 211.1733 | 2.374 | 208.0467 | 3.8387 | 889 | 100 | 1.454
2020-02-04 08:00:00 | 3.0887 | 177.2687 | 3.5547 | 194.8 | 3.6533 | 209.88 | 3.9427 | 211.18 | 3.8667 | 889 | 100 | 2.26
2020-02-04 08:15:00 | 2.174 | 159.3807 | 2.5067 | 175.1333 | 2.5513 | 184.3133 | 2.76 | 186.5667 | 3.8847 | 889 | 100 | 2.0327
2020-02-04 08:30:00 | 2.486 | 156.3487 | 2.8593 | 171.8133 | 2.8587 | 202.8733 | 2.834 | 206.42 | 3.9447 | 889 | 100 | 2.1907
2020-02-04 08:45:00 | 2.4853 | 155.54 | 2.8613 | 170.92 | 2.7813 | 188.0867 | 2.6813 | 195.6 | 3.9773 | 889 | 100 | 1.808
2020-02-04 09:00:00 | 2.528 | 152.9673 | 2.9107 | 168.1 | 2.798 | 185.24 | 3.0787 | 190.5867 | 3.932 | 889 | 100 | 1.1487
2020-02-04 09:15:00 | 2.3413 | 154.89 | 2.6927 | 170.2067 | 2.6793 | 178.2733 | 3.2807 | 183.0933 | 3.922 | 890 | 100 | 1.06
2020-02-04 09:30:00 | 2.0927 | 154.904 | 2.4107 | 170.22 | 2.214 | 174.1667 | 2.554 | 173.7933 | 3.9507 | 890 | 100 | 1.0687
2020-02-04 09:45:00 | 2.4333 | 152.594 | 2.8007 | 167.6867 | 2.706 | 169.6267 | 3.0493 | 171.7467 | 4.0047 | 890 | 100 | 1.5073
2020-02-04 10:00:00 | 2.6587 | 156.6413 | 3.0553 | 172.1267 | 2.986 | 179.4533 | 3.304 | 177.8333 | 3.9973 | 890 | 100 | 1.1947
2020-02-04 10:15:00 | 2.416 | 137.4607 | 2.782 | 151.0533 | 2.6773 | 184.74 | 3.09 | 191.1267 | 4.0027 | 890 | 100 | 1.146
2020-02-04 10:30:00 | 2.0567 | 143.3007 | 2.3667 | 157.4667 | 2.1653 | 190.1467 | 2.5967 | 200.18 | 3.9907 | 890 | 100 | 0.796
2020-02-04 10:45:00 | 2.3227 | 165.7707 | 2.6713 | 182.16 | 2.5267 | 176.6467 | 2.6973 | 191.1 | 4.0033 | 890 | 100 | 0.50533
2020-02-04 11:00:00 | 2.4433 | 151.8147 | 2.814 | 166.8267 | 2.7647 | 167.8467 | 2.9533 | 174.3 | 4.0153 | 890 | 100 | 0.71533
2020-02-04 11:15:00 | 1.8387 | 154.728 | 2.116 | 170.0267 | 1.788 | 191.06 | 1.7633 | 192.0333 | 4.0393 | 890.2667 | 100 | 0.56067
2020-02-04 11:30:00 | 2.4227 | 147.776 | 2.7887 | 162.3867 | 2.4887 | 175.7267 | 2.7487 | 190.5 | 4.1173 | 891 | 100 | 0.88
2020-02-04 11:45:00 | 1.7287 | 149.3047 | 1.992 | 164.06 | 1.62 | 187.9533 | 1.924 | 207.42 | 4.1707 | 891 | 100 | 0.77333
2020-02-04 12:00:00 | 2.1027 | 150.9933 | 2.4213 | 165.92 | 1.9633 | 181.6867 | 2.2307 | 202.2667 | 4.136 | 891 | 100 | 1.0947
2020-02-04 12:15:00 | 1.608 | 162.7253 | 1.8553 | 178.8133 | 1.5313 | 187.2133 | 1.9073 | 193.8733 | 4.1627 | 890.7333 | 100 | 0.68267
2020-02-04 12:30:00 | 1.3627 | 143.514 | 1.5753 | 157.7067 | 1.176 | 178.2 | 1.5487 | 198.3333 | 4.2433 | 890 | 100 | 0.60933
2020-02-04 12:45:00 | 0.93667 | 144.6133 | 1.0833 | 158.9067 | 0.59467 | 191.46 | 1.2273 | 207.4067 | 4.232 | 890 | 100 | 0.686
2020-02-04 13:00:00 | 1.668 | 151.4387 | 1.9193 | 166.4067 | 1.604 | 179.1933 | 1.698 | 179.0533 | 4.2147 | 890 | 100 | 0.30133
2020-02-04 13:15:00 | 1.522 | 159.444 | 1.7553 | 175.2067 | 1.3893 | 182.9733 | 2.1213 | 178.5067 | 4.1673 | 890 | 100 | 0.015333
2020-02-04 13:30:00 | 1.6993 | 154.332 | 1.9533 | 169.5867 | 1.6353 | 182.2133 | 2.3493 | 190.32 | 4.2013 | 889.4 | 100 | 0.34933
2020-02-04 13:45:00 | 2.742 | 153.342 | 3.1533 | 168.5 | 3.0033 | 174.46 | 3.3833 | 175.7867 | 4.2347 | 889 | 100 | 0.564
2020-02-04 14:00:00 | 2.8253 | 161.256 | 3.248 | 177.2 | 3.2227 | 183.4733 | 3.7353 | 178.7733 | 4.262 | 889 | 100 | 1.0773
2020-02-04 14:15:00 | 2.2193 | 157.502 | 2.5527 | 173.0733 | 2.328 | 182.6133 | 2.79 | 174.74 | 4.3073 | 889 | 100 | 0.77
2020-02-04 14:30:00 | 2.6867 | 151.954 | 3.0933 | 166.9733 | 2.9173 | 165.46 | 3.232 | 181.0133 | 4.3233 | 889 | 100 | 0.79867
2020-02-04 14:45:00 | 3.152 | 156.4007 | 3.6273 | 171.8667 | 3.492 | 171.38 | 3.9247 | 172.8133 | 4.3167 | 889 | 100 | 0.91533
2020-02-04 15:00:00 | 2.1553 | 153.79 | 2.48 | 168.9933 | 2.3467 | 160.2 | 2.592 | 168.5667 | 4.3573 | 889 | 100 | 0.92933
2020-02-04 15:15:00 | 2.0627 | 124.552 | 2.38 | 136.8667 | 2.178 | 149.18 | 2.4053 | 170.8 | 4.4047 | 888.0667 | 100 | 0.72
2020-02-04 15:30:00 | 2.4287 | 139.5407 | 2.7933 | 153.3333 | 2.766 | 171.4333 | 2.866 | 170.2733 | 4.4193 | 888 | 100 | 1.3107
2020-02-04 15:45:00 | 3.026 | 142.6273 | 3.478 | 156.7333 | 3.4787 | 168.44 | 3.944 | 173.52 | 4.4873 | 888 | 100 | 1.5067
2020-02-04 16:00:00 | 2.6613 | 166.6887 | 3.058 | 183.1667 | 3.0973 | 174.98 | 3.5927 | 176.14 | 4.56 | 888 | 100 | 1.62
2020-02-04 16:15:00 | 2.4133 | 154.6167 | 2.7773 | 169.9 | 2.7213 | 168.0067 | 3.148 | 166.3533 | 4.7287 | 888 | 100 | 1.91
2020-02-04 16:30:00 | 2.5773 | 159.7147 | 2.9747 | 175.5133 | 2.9607 | 179.2 | 3.6413 | 173.1733 | 4.796 | 888 | 100 | 2.5293
2020-02-04 16:45:00 | 2.6053 | 155.652 | 3.0013 | 171.0467 | 2.9967 | 173.9 | 3.658 | 176.0667 | 4.774 | 888 | 100 | 2.304
2020-02-04 17:00:00 | 2.1893 | 169.848 | 2.5173 | 186.64 | 2.4333 | 182.6733 | 2.8947 | 188.9933 | 4.8327 | 888 | 100 | 1.8993
2020-02-04 17:15:00 | 2.33 | 157.1347 | 2.682 | 172.6733 | 2.6 | 193.7533 | 2.7833 | 180.44 | 4.8873 | 888 | 100 | 1.7293
2020-02-04 17:30:00 | 1.8027 | 166.892 | 2.076 | 183.3933 | 2.0107 | 188.88 | 2.35 | 184.5533 | 4.9333 | 888 | 100 | 1.6787
2020-02-04 17:45:00 | 2.032 | 143.2427 | 2.338 | 157.4 | 2.446 | 159.1267 | 2.9867 | 173.5867 | 4.996 | 888 | 100 | 1.0373
2020-02-04 18:00:00 | 1.8747 | 141.978 | 2.1547 | 156.0133 | 2.2753 | 162.3533 | 2.4827 | 171.1533 | 5.05 | 888 | 100 | 0.79667
2020-02-04 18:15:00 | 2.1613 | 153.5267 | 2.4887 | 168.7133 | 2.486 | 175.5867 | 2.4353 | 181.66 | 5.0627 | 888 | 99.86 | 1.2593
2020-02-04 18:30:00 | 2.158 | 163.6353 | 2.4847 | 179.8133 | 2.496 | 189.92 | 2.3853 | 191.74 | 5.07 | 888 | 99.5067 | 1.59
2020-02-04 18:45:00 | 2.1093 | 175.89 | 2.4287 | 193.28 | 2.2507 | 191.4 | 2.3427 | 198.5133 | 5.1427 | 888.2667 | 98.7133 | 1.9413
2020-02-04 19:00:00 | 2.176 | 171.1047 | 2.5053 | 188.02 | 2.5433 | 199.0333 | 2.618 | 201.6533 | 5.18 | 889 | 98.14 | 2.0167
2020-02-04 19:15:00 | 1.9887 | 160.726 | 2.2867 | 176.6133 | 2.2833 | 207.64 | 2.556 | 195.7533 | 5.2127 | 889 | 97.96 | 2.0653
2020-02-04 19:30:00 | 1.8353 | 173.2513 | 2.118 | 190.38 | 2.008 | 198.34 | 2.44 | 199.9 | 5.2 | 889 | 97.94 | 2.28
2020-02-04 19:45:00 | 1.9933 | 169.542 | 2.292 | 186.3067 | 2.1193 | 189.6333 | 2.366 | 196.2333 | 5.2027 | 889 | 98.02 | 2.6547
2020-02-04 20:00:00 | 1.9173 | 169.9207 | 2.204 | 186.72 | 2.0407 | 193.9067 | 2.3447 | 198.38 | 5.262 | 889 | 97.48 | 2.7567
2020-02-04 20:15:00 | 2.1867 | 164.218 | 2.5127 | 180.46 | 2.4753 | 189.7733 | 2.7287 | 196.3067 | 5.1927 | 889 | 97.8533 | 2.766
2020-02-04 20:30:00 | 2.0127 | 162.4773 | 2.3147 | 178.54 | 2.39 | 182.9067 | 2.648 | 189.26 | 5.1153 | 889 | 98.4 | 2.0253
2020-02-04 20:45:00 | 1.88 | 165.616 | 2.168 | 181.9933 | 2.1913 | 185.4733 | 2.2927 | 191.82 | 5.0973 | 889 | 98.94 | 1.7827
2020-02-04 21:00:00 | 2.008 | 167.3893 | 2.3173 | 183.94 | 2.2673 | 182.8667 | 2.3387 | 190.6933 | 5.192 | 889 | 98.46 | 1.8353
2020-02-04 21:15:00 | 2.274 | 164.2867 | 2.614 | 180.5333 | 2.7133 | 183.12 | 2.7547 | 188.9067 | 5.1987 | 889 | 98.24 | 1.0487
2020-02-04 21:30:00 | 2.0793 | 161.474 | 2.3907 | 177.44 | 2.2467 | 195.66 | 2.654 | 196.0133 | 5.2173 | 889.6667 | 98 | 1.174
2020-02-04 21:45:00 | 2.044 | 164.7293 | 2.354 | 181.02 | 2.2807 | 201.2467 | 2.32 | 200.1667 | 5.316 | 890 | 97.0267 | 1.5713
2020-02-04 22:00:00 | 1.8573 | 165.3027 | 2.1373 | 181.6467 | 2.094 | 199.26 | 2.4227 | 197.04 | 5.256 | 890 | 97.0333 | 1.856
2020-02-04 22:15:00 | 1.6467 | 166.4933 | 1.9007 | 182.96 | 1.7893 | 193.6933 | 2.482 | 188.2133 | 5.2767 | 890 | 96.9133 | 2.0113
2020-02-04 22:30:00 | 1.3714 | 165.9214 | 1.5886 | 182.3286 | 1.7 | 194.7429 | 2.4714 | 182.2429 | 5.2257 | 890 | 97.3286 | 1.8957
2020-02-04 22:45:00 | 0.72 | 145.274 | 0.83 | 159.64 | 1.182 | 203.12 | 2.22 | 214.78 | 5.13 | 890 | 98.02 | 1.714
2020-02-04 23:00:00 | 1.144 | 171.3893 | 1.318 | 188.3333 | 1.3853 | 206.74 | 2.1773 | 200.1867 | 5.106 | 890 | 98.54 | 2.4867
2020-02-04 23:15:00 | 0.94933 | 180.064 | 1.0953 | 197.8667 | 1.5133 | 199.2533 | 2.3407 | 204.16 | 5.0993 | 890 | 98.2133 | 2.3473
2020-02-04 23:30:00 | 0.98733 | 172.1173 | 1.1367 | 189.14 | 1.2773 | 200.0667 | 1.932 | 200.58 | 5.0433 | 890 | 98.66 | 1.878
2020-02-04 23:45:00 | 1.2287 | 173.7567 | 1.416 | 190.9333 | 1.4153 | 204.1133 | 2.104 | 203.1467 | 5.036 | 890 | 98.82 | 2.3093