## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-05 00:00:00 | 1.5143 | 176.1957 | 1.7443 | 193.6143 | 1.74 | 204.75 | 2.4414 | 205.0143 | 5.0371 | 890 | 98.9 | 2.7629
2020-02-05 00:15:00 | 1.562 | 166.5647 | 1.794 | 183.0333 | 1.746 | 200.02 | 2.0767 | 200.38 | 5.0333 | 890 | 98.8 | 2.79
2020-02-05 00:30:00 | 1.4373 | 171.62 | 1.6527 | 188.5933 | 1.4687 | 195.8267 | 1.9733 | 198.9267 | 4.9773 | 890 | 98.96 | 2.3347
2020-02-05 00:45:00 | 1.5313 | 167.0013 | 1.766 | 183.5133 | 1.5927 | 197.5333 | 2.13 | 197.52 | 4.9527 | 890 | 99.22 | 2.2593
2020-02-05 01:00:00 | 2.0487 | 163.6013 | 2.358 | 179.7733 | 2.3293 | 192.1867 | 2.4853 | 194.2667 | 4.9147 | 890 | 99.5 | 2.5033
2020-02-05 01:15:00 | 2.0267 | 152.9153 | 2.3307 | 168.0333 | 2.2847 | 196.52 | 2.9273 | 197.5467 | 4.8993 | 890 | 99.4667 | 3.378
2020-02-05 01:30:00 | 2.3307 | 169.564 | 2.68 | 186.3267 | 2.8247 | 201.5 | 2.9047 | 208.46 | 4.8687 | 890 | 99.52 | 3.4067
2020-02-05 01:45:00 | 1.9993 | 162.0133 | 2.3033 | 178.0333 | 2.2667 | 203.6667 | 2.6047 | 206.5867 | 4.8973 | 889.6667 | 98.8867 | 3.218
2020-02-05 02:00:00 | 2.4713 | 167.8753 | 2.8447 | 184.4733 | 2.8947 | 199.8067 | 3.054 | 205.2 | 4.8867 | 889 | 98.46 | 3.7807
2020-02-05 02:15:00 | 2.31 | 169.4467 | 2.6587 | 186.2 | 2.7873 | 202.3733 | 2.776 | 206.6267 | 4.906 | 889 | 98.4267 | 3.8147
2020-02-05 02:30:00 | 2.172 | 160.1767 | 2.5013 | 176.02 | 2.6067 | 197.2333 | 2.9273 | 193.9067 | 4.8813 | 889 | 98.5667 | 3.2433
2020-02-05 02:45:00 | 2.2733 | 161.324 | 2.622 | 177.28 | 2.8867 | 193.02 | 3.3453 | 187.5733 | 4.832 | 889 | 98.66 | 2.534
2020-02-05 03:00:00 | 1.744 | 173.9587 | 2.0107 | 191.16 | 2.2587 | 203.32 | 2.8793 | 191.5667 | 4.826 | 889 | 98.7067 | 3.2673
2020-02-05 03:15:00 | 1.9453 | 155.26 | 2.2413 | 170.6133 | 2.58 | 216.16 | 2.7933 | 210.54 | 4.7987 | 889 | 98.9267 | 2.9153
2020-02-05 03:30:00 | 1.8087 | 151.5853 | 2.086 | 166.5667 | 2.2 | 188.4 | 2.5013 | 195.08 | 4.7153 | 889 | 99.3667 | 2.722
2020-02-05 03:45:00 | 1.5973 | 165.202 | 1.8373 | 181.5267 | 2.0093 | 199.5333 | 2.304 | 204.7067 | 4.6747 | 889 | 99.6333 | 1.9473
2020-02-05 04:00:00 | 2.0642 | 168.4792 | 2.375 | 185.1333 | 2.5233 | 197.0667 | 2.485 | 198.475 | 4.6283 | 888.5 | 99.6667 | 2.5567
2020-02-05 04:15:00 | 1.889 | 167.536 | 2.183 | 184.11 | 2.68 | 213.09 | 2.596 | 209.4 | 4.612 | 888 | 99.4 | 3.756
2020-02-05 04:30:00 | 1.7093 | 159.7607 | 1.97 | 175.5533 | 2.166 | 200.2733 | 2.6173 | 185.9867 | 4.6227 | 888 | 99.0667 | 5.326
2020-02-05 04:45:00 | 2.1767 | 161.1993 | 2.506 | 177.14 | 2.81 | 185.2867 | 3.4453 | 175.3267 | 4.5953 | 888 | 98.7667 | 4.1013
2020-02-05 05:00:00 | 1.8567 | 167.5 | 2.1387 | 184.0667 | 2.58 | 189.4467 | 3.5833 | 171.6933 | 4.5733 | 887.4 | 98.36 | 3.6387
2020-02-05 05:15:00 | 1.5113 | 154.336 | 1.7427 | 169.6 | 1.762 | 197.6733 | 2.572 | 186.18 | 4.602 | 887 | 97.9 | 5.02
2020-02-05 05:30:00 | 1.5493 | 164.4053 | 1.7887 | 180.66 | 1.5953 | 201.1733 | 2.5713 | 204.72 | 4.5327 | 887 | 98.3533 | 5.412
2020-02-05 05:45:00 | 2.3767 | 160.216 | 2.7387 | 176.06 | 2.8073 | 193.1 | 3.4493 | 197.7 | 4.4613 | 887 | 98.6933 | 6.4287
2020-02-05 06:00:00 | 2.5547 | 163.294 | 2.9453 | 179.44 | 2.9373 | 196.0733 | 3.4867 | 194.2333 | 4.45 | 887 | 98.4667 | 6.458
2020-02-05 06:15:00 | 2.6067 | 163.5487 | 3.0047 | 179.72 | 3.3067 | 200.7867 | 3.8233 | 194.7667 | 4.4527 | 887 | 98.1133 | 6.716
2020-02-05 06:30:00 | 2.4467 | 169.1113 | 2.8173 | 185.8267 | 3.066 | 199.68 | 4.0453 | 193.9467 | 4.5713 | 887 | 96.9 | 7.7227
2020-02-05 06:45:00 | 2.4533 | 174.5513 | 2.8253 | 191.8133 | 3.0213 | 190.2133 | 4 | 193.42 | 4.588 | 887 | 96.3267 | 8.3567
2020-02-05 07:00:00 | 2.448 | 165.7433 | 2.8187 | 182.1333 | 2.9273 | 188.08 | 3.9533 | 190.6733 | 4.628 | 887 | 95.6133 | 8.91
2020-02-05 07:15:00 | 2.6067 | 176.4547 | 3.004 | 193.9067 | 3.226 | 194.5533 | 4.1393 | 196.0133 | 4.5793 | 887 | 95.76 | 9.26
2020-02-05 07:30:00 | 2.386 | 163.5327 | 2.746 | 179.7 | 2.9013 | 194.44 | 4.1207 | 190.64 | 4.5933 | 887 | 95.4 | 10.446
2020-02-05 07:45:00 | 2.788 | 157.5707 | 3.2113 | 173.1467 | 3.2893 | 190.3733 | 4.642 | 189.0667 | 4.4173 | 887 | 96.46 | 9.842
2020-02-05 08:00:00 | 2.932 | 170.1227 | 3.3747 | 186.94 | 3.5827 | 194.9733 | 4.4727 | 201.3467 | 4.4407 | 887 | 96.42 | 8.8287
2020-02-05 08:15:00 | 2.6627 | 159.6133 | 3.0653 | 175.4 | 3.114 | 196.8 | 4.3273 | 193.5667 | 4.6793 | 887 | 94.36 | 7.212
2020-02-05 08:30:00 | 2.7533 | 160.6667 | 3.1667 | 176.56 | 3.3633 | 192.2533 | 4.4027 | 191.7067 | 4.6427 | 887 | 94.6133 | 6.4807
2020-02-05 08:45:00 | 2.6533 | 171.628 | 3.058 | 188.5933 | 3.322 | 193.4067 | 4.1947 | 188.3067 | 4.5193 | 887 | 95.74 | 5.49
2020-02-05 09:00:00 | 2.0293 | 154.9753 | 2.3367 | 170.3 | 2.884 | 201.0467 | 4.0953 | 188.58 | 4.4767 | 887 | 96.4867 | 5.224
2020-02-05 09:15:00 | 1.9953 | 180.9167 | 2.2953 | 198.8 | 2.96 | 196.9667 | 3.808 | 188.5133 | 4.6647 | 887 | 96.3867 | 5.4747
2020-02-05 09:30:00 | 1.9913 | 185.156 | 2.2887 | 203.4667 | 2.6293 | 222.54 | 2.836 | 199.3933 | 4.9107 | 887 | 94.7133 | 7.4873
2020-02-05 09:45:00 | 1.8853 | 162.178 | 2.178 | 178.2133 | 2.1513 | 199.5333 | 3.3407 | 203.32 | 4.778 | 887.3333 | 96.7533 | 9.786
2020-02-05 10:00:00 | 2.4553 | 156.8247 | 2.826 | 172.3333 | 2.9033 | 208.6733 | 3.7107 | 217.0333 | 4.7333 | 888 | 97.2 | 12.1013
2020-02-05 10:15:00 | 2.3793 | 148.896 | 2.742 | 163.62 | 2.81 | 212.6467 | 3.816 | 219.6867 | 4.7913 | 888 | 97.5933 | 14.12
2020-02-05 10:30:00 | 2.3207 | 151.822 | 2.6693 | 166.84 | 2.5473 | 201.1667 | 3.526 | 206.9067 | 4.8527 | 888 | 97.4533 | 11.0373
2020-02-05 10:45:00 | 1.9027 | 153.0607 | 2.192 | 168.1933 | 2.0873 | 214.9533 | 3.4267 | 219.84 | 4.8787 | 888 | 97.6 | 12.2533
2020-02-05 11:00:00 | 2.3167 | 146.9953 | 2.666 | 161.5267 | 2.798 | 204.26 | 3.7733 | 219.44 | 5.002 | 888 | 97.14 | 11.6413
2020-02-05 11:15:00 | 2.3533 | 147.1953 | 2.708 | 161.7467 | 2.6987 | 206.5067 | 3.772 | 214.14 | 5.0193 | 888 | 97.16 | 8.484
2020-02-05 11:30:00 | 1.536 | 137.6193 | 1.7773 | 151.2267 | 1.7147 | 201.5533 | 3.2693 | 222.2 | 5.3213 | 888 | 96.2867 | 6.544
2020-02-05 11:45:00 | 1.192 | 139.5813 | 1.3787 | 153.38 | 1.2553 | 217.62 | 2.384 | 231.46 | 5.6427 | 888 | 94.4067 | 4.4107
2020-02-05 12:00:00 | 1.2053 | 137.5973 | 1.3913 | 151.2 | 1.3 | 213.1533 | 2.3953 | 223.5533 | 5.9327 | 888 | 92.5333 | 3.546
2020-02-05 12:15:00 | 1.5027 | 153.486 | 1.7327 | 168.6667 | 1.606 | 217.0067 | 2.4653 | 219.6 | 6.1133 | 887.7333 | 90.9667 | 2.8507
2020-02-05 12:30:00 | 1.6807 | 164.4067 | 1.9313 | 180.6667 | 1.8553 | 205.3933 | 2.65 | 218.7933 | 6.24 | 887 | 90.6533 | 3.0093
2020-02-05 12:45:00 | 1.7387 | 144.128 | 2.0013 | 158.38 | 2.0133 | 233.74 | 2.5107 | 225.9533 | 6.3367 | 887 | 90.88 | 2.8333
2020-02-05 13:00:00 | 2.0827 | 163.0847 | 2.4007 | 179.2067 | 2.5993 | 230.5533 | 2.8827 | 213.3067 | 6.46 | 887 | 88.5867 | 2.634
2020-02-05 13:15:00 | 2.076 | 199.1447 | 2.4 | 218.8267 | 2.6407 | 217.9933 | 2.926 | 219.5933 | 6.514 | 887 | 84.9933 | 2.5347
2020-02-05 13:30:00 | 1.5907 | 159.4273 | 1.8347 | 175.1933 | 1.9347 | 214.24 | 2.244 | 218.4667 | 6.4893 | 886.4 | 88.34 | 1.2307
2020-02-05 13:45:00 | 1.3327 | 161.0187 | 1.538 | 176.94 | 1.6873 | 223.4533 | 2.132 | 226.34 | 6.5207 | 886 | 87.2667 | 0.768
2020-02-05 14:00:00 | 1.508 | 166.3013 | 1.7367 | 182.74 | 1.9853 | 229.92 | 2.1807 | 230.2467 | 6.7107 | 886 | 84.2333 | 0.77067
2020-02-05 14:15:00 | 1.414 | 167.0907 | 1.6327 | 183.6067 | 1.956 | 238.54 | 2.2173 | 251.7133 | 6.7887 | 886 | 83.0733 | 0.23267
2020-02-05 14:30:00 | 1.3027 | 188.4453 | 1.502 | 207.08 | 1.7767 | 232.96 | 1.7773 | 234.74 | 6.776 | 885.3333 | 82.76 | 0.29533
2020-02-05 14:45:00 | 0.52267 | 175.294 | 0.60867 | 192.62 | 0.946 | 242.0333 | 1.544 | 249.6733 | 6.8693 | 885 | 83.0667 | 0.26
2020-02-05 15:00:00 | 0.46467 | 205.718 | 0.54067 | 226.06 | 0.73867 | 265.0333 | 0.87667 | 283.3 | 6.958 | 885 | 81.6 | 0
2020-02-05 15:15:00 | 0.912 | 217.4947 | 1.0507 | 239 | 0.94867 | 183.9507 | 0.45667 | 173.4987 | 6.83 | 885 | 84.12 | 0
2020-02-05 15:30:00 | 0.96 | 170.768 | 1.1073 | 187.654 | 1.514 | 22.542 | 1.322 | 22.9993 | 6.9887 | 885 | 83.2133 | 0
2020-02-05 15:45:00 | 1.8107 | 117.8087 | 2.088 | 129.4567 | 2.144 | 21.022 | 2.16 | 23.5293 | 6.784 | 885 | 85.5933 | 0
2020-02-05 16:00:00 | 2.3907 | 47.782 | 2.7553 | 52.5027 | 3.7947 | 14.4747 | 3.476 | 23.604 | 6.55 | 885 | 87.4067 | 0
2020-02-05 16:15:00 | 2.554 | 237.2027 | 2.9387 | 260.6547 | 4.75 | 16.834 | 4.448 | 28.0013 | 6.562 | 885 | 88.34 | 1.8493
2020-02-05 16:30:00 | 2.4873 | 186.5973 | 2.8653 | 205.052 | 4.8753 | 13.8 | 4.614 | 21.6693 | 6.338 | 885 | 87.92 | 3.4907
2020-02-05 16:45:00 | 2.5433 | 65.878 | 2.9273 | 72.388 | 4.4327 | 57.3027 | 4.3707 | 18.2667 | 6.2227 | 884.3333 | 88.9733 | 7.2853
2020-02-05 17:00:00 | 3.1307 | 136.1207 | 3.6093 | 149.582 | 5.344 | 73.864 | 5.206 | 21.5333 | 6.1093 | 885 | 89.12 | 10.7293
2020-02-05 17:15:00 | 3.2413 | 212.4167 | 3.7287 | 233.42 | 6.1113 | 10.978 | 5.742 | 20.772 | 6.0053 | 884.0667 | 90.1 | 12.1247
2020-02-05 17:30:00 | 3.492 | 194.4473 | 4.0173 | 213.6733 | 6.6493 | 18.202 | 6.3833 | 22.7627 | 5.864 | 884.6667 | 90.74 | 15.216
2020-02-05 17:45:00 | 3.5227 | 109.0633 | 4.0587 | 119.8467 | 6.3673 | 7.002 | 6.1073 | 20.978 | 5.73 | 885 | 90.7267 | 15.76
2020-02-05 18:00:00 | 3.5047 | 131.3193 | 4.0373 | 144.3033 | 6.2153 | 13.2287 | 5.804 | 23.05 | 5.652 | 885 | 90.3467 | 16.502
2020-02-05 18:15:00 | 2.97 | 224.708 | 3.4167 | 246.93 | 5.484 | 15.8753 | 5.158 | 21.4393 | 5.508 | 885 | 91.5667 | 17.0647
2020-02-05 18:30:00 | 3.0067 | 72.966 | 3.4607 | 80.17 | 5.352 | 53.02 | 5.0027 | 8.9593 | 5.3367 | 885 | 93.1133 | 19.1207
2020-02-05 18:45:00 | 3.8173 | 216.0073 | 4.3967 | 237.3653 | 6.3467 | 82.686 | 5.9273 | 11.9207 | 5.17 | 885 | 93.7933 | 22.454
2020-02-05 19:00:00 | 3.808 | 48.5733 | 4.3827 | 53.3713 | 6.62 | 120.198 | 6.34 | 11.2413 | 4.994 | 885 | 94.2733 | 22.71
2020-02-05 19:15:00 | 3.8527 | 257.5433 | 4.4313 | 283.0133 | 6.7347 | 16.4293 | 6.5167 | 22.4333 | 4.838 | 885.3333 | 94.26 | 25.3253
2020-02-05 19:30:00 | 4.1093 | 170.18 | 4.7327 | 187.0067 | 7.4607 | 8.7913 | 7.162 | 16.338 | 4.7707 | 886 | 93.68 | 28.154
2020-02-05 19:45:00 | 4.1827 | 85.276 | 4.8127 | 93.704 | 7.474 | 12.1033 | 7.472 | 13.394 | 4.6107 | 886 | 93.94 | 30.4667
2020-02-05 20:00:00 | 4.1133 | 126.0067 | 4.744 | 138.4627 | 7.3967 | 8.9093 | 7.234 | 14.9907 | 4.612 | 886 | 93.3133 | 29.52
2020-02-05 20:15:00 | 4.0653 | 48.7193 | 4.6813 | 53.53 | 7.158 | 235.7973 | 6.8173 | 7.5393 | 4.6587 | 886 | 91.8733 | 29.5607
2020-02-05 20:30:00 | 3.9573 | 200.3987 | 4.5567 | 220.2133 | 6.9053 | 223.07 | 6.626 | 7.358 | 4.7667 | 886.6 | 89.6267 | 30.3393
2020-02-05 20:45:00 | 4.024 | 113.69 | 4.6353 | 124.9333 | 7.08 | 13.7753 | 6.7133 | 10.4253 | 4.7813 | 887 | 89.7733 | 31.3807
2020-02-05 21:00:00 | 4.2273 | 215.398 | 4.868 | 236.6933 | 7.846 | 15.4313 | 7.6093 | 15.6787 | 4.6933 | 887 | 90.4467 | 34.0327
2020-02-05 21:15:00 | 4.2933 | 83.4413 | 4.9473 | 91.69 | 8.024 | 15.356 | 8.014 | 15.664 | 4.676 | 887 | 90.5133 | 37.3227
2020-02-05 21:30:00 | 4.3607 | 134.8873 | 5.0193 | 148.2233 | 8.2273 | 14.978 | 8.3333 | 17.836 | 4.6833 | 887 | 90.12 | 37.638
2020-02-05 21:45:00 | 4.3327 | 170.9107 | 4.9913 | 187.8133 | 8.3347 | 13.4207 | 8.4167 | 19.99 | 4.6447 | 887 | 90.1667 | 36.3687
2020-02-05 22:00:00 | 4.5613 | 259.982 | 5.2533 | 285.6933 | 8.678 | 15.866 | 8.7413 | 21.852 | 4.66 | 887 | 89.8667 | 37.3913
2020-02-05 22:15:00 | 4.6827 | 109.908 | 5.3887 | 120.7693 | 8.93 | 15.2747 | 9.0447 | 20.98 | 4.6133 | 887.3333 | 90.2267 | 39.2213
2020-02-05 22:30:00 | 4.804 | 74.046 | 5.524 | 81.362 | 8.816 | 17.154 | 9.124 | 21.496 | 4.7 | 888 | 89.32 | 40.728
2020-02-05 22:45:00 | 5.468 | 61.972 | 6.294 | 68.102 | 10.064 | 6.896 | 10.03 | 20.192 | 4.744 | 888 | 88.98 | 41.042
2020-02-05 23:00:00 | 6.0407 | 88.9747 | 6.954 | 97.77 | 10.692 | 9.2833 | 10.6813 | 21.7373 | 4.7193 | 888 | 88.7667 | 47.7733
2020-02-05 23:15:00 | 5.9807 | 169.6013 | 6.8867 | 186.3667 | 10.6193 | 70.104 | 10.6967 | 21.0047 | 4.718 | 888 | 88.8133 | 48.6027
2020-02-05 23:30:00 | 6.0147 | 206.4333 | 6.9227 | 226.8467 | 10.7507 | 12.1267 | 10.8533 | 21.694 | 4.6773 | 888 | 89.2333 | 47.0813
2020-02-05 23:45:00 | 6.5627 | 169.564 | 7.5513 | 186.3333 | 11.6293 | 15.7853 | 11.8387 | 21.9467 | 4.632 | 887.6667 | 89.22 | 48.6773