## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-07 00:00:00 | 3.4543 | 116.8536 | 3.9779 | 128.4036 | 5.445 | 82.0579 | 5.2886 | 136.3943 | 3.7386 | 891 | 86.16 | 10.0729
2020-02-07 00:15:00 | 3.794 | 83.6873 | 4.3667 | 91.9567 | 5.9947 | 286.6353 | 5.7127 | 49.6667 | 3.686 | 891 | 86.3533 | 14.788
2020-02-07 00:30:00 | 3.628 | 19.868 | 4.1753 | 21.8287 | 5.6593 | 192.328 | 5.4427 | 73.9307 | 3.682 | 891 | 86.1 | 13.6347
2020-02-07 00:45:00 | 3.8447 | 77.82 | 4.4253 | 85.5113 | 6.1207 | 18.106 | 5.8073 | 24.4247 | 3.6467 | 891 | 86.1333 | 13.7207
2020-02-07 01:00:00 | 3.2907 | 201.0373 | 3.7833 | 220.9167 | 5.3347 | 15.31 | 5.258 | 40.4413 | 3.54 | 891 | 86.6867 | 11.4373
2020-02-07 01:15:00 | 3.564 | 178.4173 | 4.1053 | 196.058 | 6.1273 | 11.0747 | 5.964 | 18.4533 | 3.4427 | 891 | 87.22 | 9.4993
2020-02-07 01:30:00 | 3.258 | 39.284 | 3.7547 | 43.1647 | 5.0347 | 146.206 | 4.6047 | 12.572 | 3.3987 | 891 | 87.1667 | 6.98
2020-02-07 01:45:00 | 3.1953 | 139.672 | 3.676 | 153.4767 | 4.922 | 140.3253 | 4.7253 | 8.58 | 3.3447 | 890.0667 | 87.36 | 6.5787
2020-02-07 02:00:00 | 2.858 | 181.8387 | 3.2913 | 199.814 | 5.2967 | 72.58 | 4.8213 | 8.002 | 3.3007 | 890 | 87.9267 | 5.1987
2020-02-07 02:15:00 | 3.2827 | 57.9173 | 3.7753 | 63.6393 | 4.908 | 285.47 | 4.4607 | 6.0893 | 3.3213 | 890 | 87.6133 | 6.1327
2020-02-07 02:30:00 | 3.2687 | 294.214 | 3.7613 | 323.3067 | 5.1587 | 216.3467 | 4.886 | 30.1407 | 3.2807 | 890 | 87.4467 | 7.7213
2020-02-07 02:45:00 | 3.3693 | 118.5207 | 3.8807 | 130.24 | 5.2887 | 11.5467 | 4.9587 | 39.694 | 3.224 | 890 | 87.3533 | 7.5653
2020-02-07 03:00:00 | 3.628 | 187.9953 | 4.1713 | 206.58 | 5.018 | 188.5713 | 4.816 | 8.3587 | 3.1787 | 890 | 87.1133 | 7.3
2020-02-07 03:15:00 | 3.4007 | 311.4613 | 3.9147 | 342.2667 | 5.0993 | 5.3413 | 4.8407 | 8.73 | 3.162 | 890 | 87.0067 | 7.178
2020-02-07 03:30:00 | 3.3 | 67.4067 | 3.7953 | 74.0693 | 4.882 | 10.7393 | 4.7213 | 14.7733 | 3.1393 | 890 | 86.8733 | 6.954
2020-02-07 03:45:00 | 3.1633 | 45.2173 | 3.6427 | 49.684 | 4.7927 | 181.8793 | 4.4893 | 16.462 | 3.1047 | 890 | 86.6733 | 5.782
2020-02-07 04:00:00 | 3.0113 | 127.0493 | 3.462 | 139.61 | 5.0147 | 183.3933 | 4.71 | 7.452 | 3.0793 | 890 | 86.76 | 4.8793
2020-02-07 04:15:00 | 3.1293 | 184.2873 | 3.6093 | 202.512 | 5.1833 | 22.3153 | 4.9847 | 9.7153 | 3.0573 | 890 | 86.5533 | 5.0827
2020-02-07 04:30:00 | 2.9293 | 145.7067 | 3.3767 | 160.1147 | 5.3073 | 127.9187 | 5.1 | 9.3053 | 3.0093 | 890 | 87.3 | 5.2707
2020-02-07 04:45:00 | 2.898 | 259.0067 | 3.3347 | 284.62 | 4.9807 | 120.434 | 4.7333 | 6.6193 | 2.9453 | 890 | 87.3933 | 3.7933
2020-02-07 05:00:00 | 3.0453 | 224.7213 | 3.506 | 246.9467 | 5.3427 | 285.1287 | 4.9927 | 3.89 | 2.962 | 890 | 86.96 | 3.1967
2020-02-07 05:15:00 | 3.12 | 167.158 | 3.584 | 183.6847 | 5.2727 | 75.4253 | 5.0127 | 8.5233 | 2.828 | 890 | 88.8333 | 3.4347
2020-02-07 05:30:00 | 3.14 | 115.4333 | 3.6127 | 126.844 | 4.9567 | 241.584 | 4.7053 | 16.0053 | 2.502 | 890 | 92.3333 | 5.7047
2020-02-07 05:45:00 | 3.3087 | 116.992 | 3.806 | 128.5567 | 4.9853 | 15.6967 | 4.742 | 12.702 | 2.2433 | 890 | 94.7533 | 7.178
2020-02-07 06:00:00 | 3.9033 | 159.086 | 4.4893 | 174.818 | 5.5893 | 12.2773 | 5.3257 | 20.5843 | 2.1753 | 890 | 95.04 | 7.5353
2020-02-07 06:15:00 | 3.4873 | 106.2853 | 4.012 | 116.7867 | 5.246 | 23.968 | 4.8267 | 25.366 | 2.08 | 890 | 96.08 | 6.7453
2020-02-07 06:30:00 | 3.4187 | 66.5213 | 3.934 | 73.0973 | 4.886 | 57.812 | 4.51 | 125.6987 | 2.0027 | 890 | 96.6133 | 6.5127
2020-02-07 06:45:00 | 3.5093 | 109.5313 | 4.0387 | 120.3647 | 4.6433 | 87.438 | 4.3487 | 8.0467 | 2.0113 | 891 | 96.5 | 5.1827
2020-02-07 07:00:00 | 3.444 | 55.0167 | 3.964 | 60.4447 | 4.5333 | 177.4053 | 4.2953 | 123.8247 | 1.9667 | 891 | 97 | 5.472
2020-02-07 07:15:00 | 3.5253 | 83.112 | 4.06 | 91.324 | 4.756 | 127.2833 | 4.492 | 13.0013 | 1.8607 | 891 | 98.18 | 6.4607
2020-02-07 07:30:00 | 3.604 | 152.2013 | 4.1487 | 167.2527 | 5.1587 | 190.4087 | 5.0253 | 7.6907 | 1.8093 | 891 | 98.9533 | 7.982
2020-02-07 07:45:00 | 4.0247 | 182.1813 | 4.632 | 200.1967 | 5.4813 | 4.66 | 5.0827 | 10.2213 | 1.74 | 891 | 99.0733 | 11.2593
2020-02-07 08:00:00 | 3.624 | 59.9973 | 4.1707 | 65.9267 | 5.7293 | 13.7493 | 5.6007 | 10.4247 | 1.7527 | 891 | 98.94 | 12.848
2020-02-07 08:15:00 | 3.3667 | 73.794 | 3.876 | 81.082 | 5.3353 | 12.6133 | 5.2993 | 25.6513 | 1.7887 | 891 | 98.7733 | 12.912
2020-02-07 08:30:00 | 3.164 | 117.618 | 3.644 | 129.24 | 5.512 | 9.54 | 5.3067 | 13.268 | 1.84 | 891.6667 | 98.7667 | 13.496
2020-02-07 08:45:00 | 3.6467 | 240.1687 | 4.1953 | 263.9147 | 5.7007 | 22.714 | 5.516 | 18.5007 | 1.8967 | 892 | 98.6333 | 16.1147
2020-02-07 09:00:00 | 3.8753 | 106.8347 | 4.4573 | 117.3967 | 6.3293 | 21.0893 | 6.004 | 13.0513 | 1.9513 | 892 | 98.0867 | 17.6533
2020-02-07 09:15:00 | 3.94 | 135.6533 | 4.5353 | 149.0667 | 6.28 | 11.4287 | 6.258 | 17.2173 | 2.012 | 892 | 97.5667 | 21.1267
2020-02-07 09:30:00 | 4.228 | 254.3207 | 4.864 | 279.47 | 6.8847 | 13.6267 | 6.628 | 21.342 | 2.0807 | 892 | 97.16 | 22.7853
2020-02-07 09:45:00 | 4.508 | 175.4473 | 5.1847 | 192.7967 | 6.9433 | 11.2627 | 6.6427 | 17.8567 | 2.1313 | 892 | 96.3933 | 22.7807
2020-02-07 10:00:00 | 4.5013 | 101.654 | 5.1847 | 111.7013 | 6.5387 | 60.9407 | 6.5707 | 18.154 | 2.2093 | 892 | 95.5267 | 23.8707
2020-02-07 10:15:00 | 4.376 | 20.2927 | 5.0387 | 22.2913 | 6.312 | 124.0333 | 6.006 | 17.8593 | 2.294 | 892.9333 | 94.9733 | 22.7213
2020-02-07 10:30:00 | 4.3147 | 8.2413 | 4.9627 | 9.0507 | 6.81 | 81.5407 | 6.6787 | 16.6353 | 2.414 | 893 | 94.4533 | 24.474
2020-02-07 10:45:00 | 4.1253 | 190.7667 | 4.7513 | 209.63 | 7.0587 | 8.0693 | 7.0513 | 130.476 | 2.5713 | 893 | 93.62 | 22.3153
2020-02-07 11:00:00 | 3.5693 | 198.1387 | 4.1053 | 217.7333 | 5.9373 | 16.7 | 5.8627 | 18.0147 | 2.6213 | 893 | 93.1 | 19.7993
2020-02-07 11:15:00 | 3.6487 | 175.1473 | 4.2 | 192.4653 | 5.596 | 58.6547 | 5.7313 | 21.3167 | 2.6527 | 893 | 92.66 | 18.518
2020-02-07 11:30:00 | 3.5333 | 152.6667 | 4.066 | 167.7613 | 5.522 | 84.2107 | 5.5547 | 28.0487 | 2.7573 | 893 | 92.4 | 17.254
2020-02-07 11:45:00 | 3.6627 | 170.6533 | 4.216 | 187.5267 | 6.022 | 52.4727 | 6.038 | 17.4907 | 2.8433 | 893 | 91.6333 | 16.954
2020-02-07 12:00:00 | 3.5587 | 138.946 | 4.0953 | 152.68 | 5.904 | 75.994 | 6.1687 | 22.428 | 3.0033 | 893 | 90.98 | 18.07
2020-02-07 12:15:00 | 4.036 | 307.3273 | 4.642 | 337.7133 | 6.336 | 18.2247 | 6.1813 | 16.8533 | 3.2327 | 893 | 90.1267 | 21.3467
2020-02-07 12:30:00 | 3.94 | 186.4507 | 4.5307 | 204.8933 | 6.6013 | 124.0613 | 6.442 | 5.3907 | 3.648 | 893 | 88.6067 | 19.474
2020-02-07 12:45:00 | 3.908 | 247.75 | 4.5027 | 272.2507 | 6.396 | 14.25 | 6.15 | 18.416 | 3.7667 | 893 | 87.7933 | 17.8073
2020-02-07 13:00:00 | 4.014 | 111.216 | 4.62 | 122.2093 | 6.8233 | 17.542 | 6.266 | 21.3 | 3.744 | 893 | 87.8667 | 17.06
2020-02-07 13:15:00 | 3.5627 | 116.1287 | 4.1007 | 127.616 | 5.92 | 10.6253 | 5.492 | 8.6253 | 3.9573 | 893 | 87.4933 | 16.3013
2020-02-07 13:30:00 | 3.8027 | 174.0213 | 4.3773 | 191.224 | 6.1813 | 9 | 5.816 | 21.4707 | 4.4387 | 893 | 85.62 | 13.9013
2020-02-07 13:45:00 | 3.8207 | 238.1247 | 4.394 | 261.676 | 5.9213 | 10.6253 | 5.4313 | 12.764 | 4.608 | 892.7333 | 84.7867 | 13.6747
2020-02-07 14:00:00 | 3.8693 | 70.256 | 4.4507 | 77.1967 | 6.4287 | 15.066 | 5.83 | 23.1847 | 5.2547 | 892 | 82.7933 | 11.54
2020-02-07 14:15:00 | 4.1107 | 56.6067 | 4.73 | 62.2 | 6.474 | 21.5407 | 5.7993 | 19.058 | 5.4293 | 892 | 81.3867 | 10.014
2020-02-07 14:30:00 | 3.9527 | 93.132 | 4.55 | 102.3413 | 5.8993 | 13.6607 | 5.6373 | 28.2727 | 5.6373 | 892 | 80.836 | 8.5867
2020-02-07 14:45:00 | 3.4187 | 11.3887 | 3.9307 | 12.51 | 5.1113 | 17.5947 | 4.4393 | 29.5733 | 6.0747 | 892 | 79.074 | 5.4847
2020-02-07 15:00:00 | 3.14 | 236.506 | 3.616 | 259.8953 | 4.7027 | 18.15 | 4.444 | 13.6753 | 6.3533 | 892 | 78.4973 | 6.416
2020-02-07 15:15:00 | 3.4507 | 96.0187 | 3.9687 | 105.506 | 4.976 | 104.4313 | 4.6787 | 99.4113 | 6.9073 | 892 | 76.416 | 5.416
2020-02-07 15:30:00 | 3.1587 | 119.4333 | 3.64 | 131.2427 | 4.202 | 130.0733 | 3.9967 | 10.656 | 7.126 | 892 | 75.316 | 5.2967
2020-02-07 15:45:00 | 3.3227 | 23.5107 | 3.8233 | 25.83 | 4.6967 | 12.876 | 4.2207 | 14.7953 | 7.1567 | 892 | 74.9773 | 5.0467
2020-02-07 16:00:00 | 3.4113 | 171.6253 | 3.9247 | 188.598 | 5.242 | 58.1593 | 4.53 | 132.524 | 7.5887 | 892 | 73.9667 | 4.6173
2020-02-07 16:15:00 | 3.356 | 110.8247 | 3.86 | 121.7833 | 4.8147 | 183.1053 | 4.412 | 114.724 | 7.7867 | 892 | 72.974 | 5.1947
2020-02-07 16:30:00 | 2.8587 | 143.1633 | 3.2907 | 157.32 | 5.0833 | 15.8713 | 4.8927 | 16.536 | 8.6127 | 892.6667 | 70.1167 | 4.716
2020-02-07 16:45:00 | 2.972 | 167.5127 | 3.4187 | 184.08 | 4.802 | 14.4893 | 4.554 | 25.1227 | 8.414 | 893 | 69.9333 | 4.4007
2020-02-07 17:00:00 | 3.0693 | 175.9013 | 3.5313 | 193.2933 | 4.5053 | 242.4707 | 4.3153 | 17.8507 | 7.902 | 893 | 72.3027 | 4.1007
2020-02-07 17:15:00 | 2.9987 | 109.2627 | 3.4487 | 120.0607 | 4.894 | 10.9607 | 4.654 | 15.924 | 7.9047 | 893 | 72.544 | 2.9553
2020-02-07 17:30:00 | 2.368 | 107.4233 | 2.7287 | 118.0453 | 4.0673 | 131.3313 | 3.6513 | 133.4407 | 7.646 | 893 | 72.886 | 1.6967
2020-02-07 17:45:00 | 2.5667 | 62.1593 | 2.956 | 68.3073 | 4.132 | 71.6873 | 3.768 | 8.238 | 7.0147 | 893 | 74.9893 | 2.7087
2020-02-07 18:00:00 | 2.7207 | 189.0107 | 3.1307 | 207.704 | 4.5093 | 342.3733 | 4.2247 | 83.2513 | 6.6007 | 893 | 76.4993 | 3.2987
2020-02-07 18:15:00 | 2.268 | 73.0007 | 2.6173 | 80.2167 | 4.3573 | 315.732 | 4.2927 | 308.1373 | 6.2913 | 893 | 77.942 | 4.3707
2020-02-07 18:30:00 | 2.3647 | 123.9573 | 2.7247 | 136.2127 | 4.4927 | 179.9513 | 4.4633 | 195.786 | 5.9367 | 893 | 78.8593 | 6.2953
2020-02-07 18:45:00 | 2.2533 | 101.2733 | 2.5947 | 111.2853 | 4.2107 | 75.2633 | 4.1907 | 194.812 | 5.5513 | 892.0667 | 80.506 | 9.0773
2020-02-07 19:00:00 | 2.4987 | 55.3867 | 2.8747 | 60.858 | 4.682 | 13.2853 | 4.564 | 15.23 | 5.2593 | 892 | 82.2533 | 10.992
2020-02-07 19:15:00 | 2.9373 | 266.93 | 3.378 | 293.32 | 5.3733 | 15.038 | 5.4227 | 19.7127 | 4.968 | 892 | 84.1067 | 13.7233
2020-02-07 19:30:00 | 2.9727 | 187.6067 | 3.422 | 206.1573 | 5.706 | 14.4807 | 5.5073 | 13.682 | 4.8967 | 892 | 84.5667 | 15.6833
2020-02-07 19:45:00 | 2.98 | 159.0413 | 3.4293 | 174.7693 | 5.5873 | 56.896 | 5.5327 | 17.7047 | 4.8193 | 892.3333 | 84.86 | 15.6513
2020-02-07 20:00:00 | 2.6067 | 171.338 | 2.998 | 188.2867 | 4.832 | 195.382 | 4.87 | 20.426 | 4.7727 | 893 | 84.7533 | 12.8013
2020-02-07 20:15:00 | 2.9833 | 116.866 | 3.436 | 128.424 | 5.0193 | 165.5613 | 4.916 | 122.648 | 4.8193 | 893 | 83.8467 | 14.6727
2020-02-07 20:30:00 | 3.076 | 237.856 | 3.5433 | 261.376 | 5.358 | 234.3733 | 5.34 | 120.68 | 4.776 | 893 | 83.6733 | 18.82
2020-02-07 20:45:00 | 3.5333 | 287.798 | 4.0647 | 316.26 | 6.1447 | 189.128 | 5.9313 | 56.358 | 4.804 | 893 | 82.9733 | 24.1687
2020-02-07 21:00:00 | 3.7827 | 147.3207 | 4.3507 | 161.8853 | 6.2627 | 92.694 | 6.2053 | 78.7507 | 4.7947 | 893 | 82.5733 | 23.5453
2020-02-07 21:15:00 | 3.976 | 52.1467 | 4.5747 | 57.296 | 6.646 | 99.0713 | 6.5327 | 215.764 | 4.9007 | 893 | 81.48 | 23.826
2020-02-07 21:30:00 | 3.9313 | 59.2653 | 4.528 | 65.1247 | 6.948 | 165.3387 | 6.97 | 100.112 | 4.7867 | 893.6667 | 81.2667 | 27.6927
2020-02-07 21:45:00 | 4.1453 | 191.7147 | 4.7667 | 210.6667 | 7.4467 | 234.81 | 7.1353 | 9.4493 | 4.7027 | 894 | 81.0667 | 31.5707
2020-02-07 22:00:00 | 4.1827 | 183.7113 | 4.814 | 201.8733 | 7.4793 | 349.3333 | 7.152 | 13.9853 | 4.5487 | 894 | 81.3667 | 33.6867
2020-02-07 22:15:00 | 4.2153 | 213.9527 | 4.858 | 235.1067 | 7.002 | 228.2833 | 6.6533 | 54.352 | 4.3813 | 894 | 82.3933 | 31.444
2020-02-07 22:30:00 | 4.131 | 227.26 | 4.751 | 249.734 | 7.137 | 346.62 | 6.657 | 216.808 | 4.205 | 894 | 83.05 | 29.093
2020-02-07 22:45:00 | 3.8122 | 272.8044 | 4.3867 | 299.7889 | 6.7233 | 124.6778 | 6.4656 | 158.8111 | 4.1311 | 894 | 82.9667 | 26.85
2020-02-07 23:00:00 | 3.666 | 254.7953 | 4.214 | 279.9907 | 6.6293 | 189.3687 | 6.498 | 239.884 | 3.888 | 894 | 83.64 | 30.3547
2020-02-07 23:15:00 | 3.792 | 84.9007 | 4.372 | 93.2913 | 6.952 | 168.7047 | 6.6667 | 2.1193 | 3.7713 | 894 | 83.6133 | 29.094
2020-02-07 23:30:00 | 4.084 | 80.0167 | 4.698 | 87.922 | 7.4667 | 353.0733 | 7.0447 | 3.3867 | 3.8 | 894 | 82.84 | 30.656
2020-02-07 23:45:00 | 4.112 | 231.4287 | 4.7373 | 254.3147 | 7.0367 | 94.222 | 6.976 | 239.748 | 3.6927 | 894 | 83.2067 | 36.306