## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-08 00:00:00 | 4.2407 | 113.4514 | 4.8807 | 124.6643 | 7.3014 | 151.2264 | 7.5036 | 4.0507 | 3.3686 | 894 | 85.15 | 39.0707
2020-02-08 00:15:00 | 4.7213 | 82.5087 | 5.4313 | 90.6667 | 7.6767 | 352.1133 | 7.604 | 6.9787 | 3.3467 | 894 | 84.98 | 40.1827
2020-02-08 00:30:00 | 4.7347 | 180.3753 | 5.4467 | 198.2053 | 7.3773 | 238.9233 | 7.4373 | 7.8567 | 3.504 | 894 | 84.18 | 41.902
2020-02-08 00:45:00 | 4.9713 | 164.1373 | 5.7253 | 180.368 | 7.47 | 240.42 | 7.4527 | 7.6553 | 3.3487 | 894 | 84.94 | 42.1133
2020-02-08 01:00:00 | 4.932 | 196.268 | 5.6707 | 215.6767 | 7.78 | 233.1767 | 7.4213 | 16.2487 | 3.3447 | 894 | 84.8733 | 44.1367
2020-02-08 01:15:00 | 5.3307 | 141.278 | 6.1393 | 155.2467 | 8.0407 | 296.6547 | 7.808 | 16.0307 | 3.294 | 894 | 85.2733 | 44.2513
2020-02-08 01:30:00 | 5.5093 | 216.1127 | 6.3413 | 237.4767 | 7.756 | 233.1267 | 8.0867 | 12.4747 | 3.3047 | 894 | 85 | 43.878
2020-02-08 01:45:00 | 5.268 | 224.9673 | 6.0647 | 247.2167 | 8.2567 | 121.5747 | 8.226 | 7.4487 | 3.18 | 894 | 85.2267 | 41.1553
2020-02-08 02:00:00 | 4.956 | 164.562 | 5.7013 | 180.84 | 7.798 | 144.018 | 7.7793 | 6.484 | 3.0607 | 894 | 85.5467 | 39.358
2020-02-08 02:15:00 | 4.3707 | 212.422 | 5.024 | 233.4307 | 7.6193 | 163.65 | 7.5933 | 9.3573 | 2.8847 | 894 | 86.0667 | 40.2467
2020-02-08 02:30:00 | 4.2127 | 206.4427 | 4.846 | 226.8533 | 7.556 | 352.1667 | 7.348 | 8.9453 | 2.772 | 894 | 86.24 | 37.202
2020-02-08 02:45:00 | 4.15 | 251.3693 | 4.78 | 276.2213 | 7.4613 | 191.722 | 7.2673 | 10.2827 | 2.6913 | 894 | 86.4067 | 35.3947
2020-02-08 03:00:00 | 4.2507 | 209.8847 | 4.9013 | 230.6353 | 7.674 | 119.0373 | 7.5073 | 9.5153 | 2.696 | 894 | 86.0267 | 37.7973
2020-02-08 03:15:00 | 4.2853 | 211.8973 | 4.9373 | 232.85 | 7.4507 | 211.1207 | 7.4407 | 14.582 | 2.6167 | 894 | 86.4267 | 35.8393
2020-02-08 03:30:00 | 4.156 | 277.8767 | 4.7847 | 305.3533 | 7.2007 | 73.3007 | 7.3 | 9.18 | 2.4127 | 894 | 87.8733 | 34.248
2020-02-08 03:45:00 | 3.8767 | 147.1587 | 4.4587 | 161.71 | 7.3553 | 19.816 | 7.582 | 7.2327 | 2.2793 | 894 | 88.3533 | 36.036
2020-02-08 04:00:00 | 4.0267 | 201.5287 | 4.6387 | 221.4567 | 7.2107 | 0.428 | 7.6133 | 7.1393 | 2.2833 | 894 | 88.24 | 34.964
2020-02-08 04:15:00 | 4.1333 | 299.9247 | 4.758 | 329.58 | 7.214 | 1.7813 | 7.6113 | 11.4653 | 2.088 | 894 | 89.2533 | 35.024
2020-02-08 04:30:00 | 4.102 | 259.9667 | 4.7187 | 285.6707 | 7.5307 | 2.8167 | 7.7487 | 12.912 | 2.028 | 894 | 90.18 | 36.8567
2020-02-08 04:45:00 | 4.4193 | 140.3447 | 5.0833 | 154.2227 | 7.65 | 47.8367 | 7.866 | 6.6087 | 2.3147 | 894 | 89.5867 | 39.5053
2020-02-08 05:00:00 | 4.3987 | 60.742 | 5.068 | 66.7433 | 6.9993 | 245.4733 | 7.566 | 9.9467 | 2.4513 | 894 | 88.7533 | 43.1247
2020-02-08 05:15:00 | 5.1527 | 45.0473 | 5.9327 | 49.4967 | 7.3387 | 10.3293 | 7.914 | 22.56 | 2.2247 | 894 | 90.0333 | 46.324
2020-02-08 05:30:00 | 5.4667 | 302.474 | 6.292 | 332.3867 | 8.092 | 50.304 | 8.8373 | 5.6187 | 2.0067 | 893.4 | 91.02 | 47.492
2020-02-08 05:45:00 | 5.2833 | 256.5973 | 6.084 | 281.972 | 8.0433 | 191.1907 | 8.2133 | 36.4987 | 1.8207 | 893 | 91.64 | 47.6773
2020-02-08 06:00:00 | 5.4547 | 142.6933 | 6.2733 | 156.8013 | 8.5287 | 126.9247 | 9.038 | 11.2527 | 1.6133 | 893 | 92.4 | 49.1727
2020-02-08 06:15:00 | 5.568 | 259.6807 | 6.406 | 285.3573 | 8.81 | 8.3613 | 9.4147 | 12.8173 | 1.8013 | 893 | 91.5267 | 49.0373
2020-02-08 06:30:00 | 5.6507 | 130.134 | 6.51 | 143.0007 | 9.2953 | 48.77 | 9.694 | 124.9153 | 1.9227 | 893 | 90.6333 | 48.196
2020-02-08 06:45:00 | 5.6293 | 121.474 | 6.4827 | 133.484 | 9.1887 | 69.6227 | 9.7113 | 9.6213 | 1.862 | 893 | 90.6533 | 49.832
2020-02-08 07:00:00 | 5.984 | 14.574 | 6.8913 | 16.008 | 8.9867 | 279.0407 | 9.2627 | 12.1807 | 1.8213 | 893.6 | 90.86 | 49.9173
2020-02-08 07:15:00 | 6.3187 | 10.4193 | 7.2733 | 11.4427 | 9.0547 | 183.11 | 9.2413 | 19.7187 | 1.8053 | 894 | 91.0867 | 50.3893
2020-02-08 07:30:00 | 6.5233 | 115.4113 | 7.506 | 126.8207 | 8.7807 | 228.754 | 8.8253 | 29.9687 | 2.0293 | 894 | 89.9 | 51.1587
2020-02-08 07:45:00 | 5.9453 | 111.0573 | 6.8487 | 122.0327 | 8.592 | 29.3793 | 8.572 | 125.8393 | 2.1827 | 894 | 89.1867 | 52.12
2020-02-08 08:00:00 | 5.638 | 18.2487 | 6.496 | 20.052 | 8.0547 | 126.104 | 8.2187 | 14.0353 | 2.0807 | 894 | 89.6533 | 53.168
2020-02-08 08:15:00 | 5.788 | 234.0227 | 6.666 | 257.1653 | 8.396 | 16.3887 | 8.8053 | 14.2267 | 2.0207 | 894 | 90.2733 | 54.908
2020-02-08 08:30:00 | 5.4433 | 89.8673 | 6.2627 | 98.7487 | 8.742 | 15.498 | 9.4773 | 12.556 | 2.2347 | 894.6 | 89.6067 | 52.3187
2020-02-08 08:45:00 | 5.5107 | 67.528 | 6.3433 | 74.198 | 8.8153 | 6.3053 | 9.6273 | 11.6973 | 2.318 | 895 | 89.6667 | 48.0133
2020-02-08 09:00:00 | 4.8773 | 174.8553 | 5.6153 | 192.1467 | 8.5833 | 70.0707 | 8.952 | 10.4213 | 2.544 | 895 | 89.08 | 43.226
2020-02-08 09:15:00 | 4.6733 | 48.0787 | 5.3747 | 52.8273 | 7.9453 | 72.102 | 8.274 | 5.3847 | 2.746 | 895.3333 | 88.3133 | 39.236
2020-02-08 09:30:00 | 4.5853 | 131.6307 | 5.2767 | 144.6413 | 7.8267 | 20.32 | 8.248 | 8.4847 | 2.9373 | 896 | 87.4133 | 38.2447
2020-02-08 09:45:00 | 4.5173 | 85.7287 | 5.1987 | 94.1967 | 7.8367 | 0.85067 | 7.8473 | 3.9727 | 3.344 | 896 | 86.1 | 39.8973
2020-02-08 10:00:00 | 4.876 | 186.4273 | 5.6167 | 204.8587 | 8.094 | 3.8067 | 8.3987 | 7.4133 | 3.6233 | 896 | 84.9133 | 41.8827
2020-02-08 10:15:00 | 5.034 | 196.2373 | 5.7953 | 215.6467 | 8.286 | 4.626 | 8.654 | 4.5553 | 3.8253 | 896.9333 | 84.3267 | 45.0887
2020-02-08 10:30:00 | 5.292 | 306.282 | 6.0867 | 336.5733 | 8.3927 | 50.7447 | 8.658 | 7.3287 | 4.038 | 897 | 84.0067 | 47.1187
2020-02-08 10:45:00 | 5.4867 | 159.7013 | 6.3167 | 175.4887 | 8.534 | 76.1847 | 8.79 | 6.616 | 4.4647 | 897 | 82.2067 | 46.4793
2020-02-08 11:00:00 | 5.2827 | 46.2287 | 6.0767 | 50.8007 | 8.2573 | 4.6627 | 8.6873 | 10.792 | 4.738 | 897 | 81.1933 | 45.5647
2020-02-08 11:15:00 | 5.4187 | 161.5587 | 6.236 | 177.538 | 8.8007 | 59.8907 | 8.9553 | 7.9593 | 5.4673 | 897 | 78.6913 | 46.9067
2020-02-08 11:30:00 | 5.86 | 268.0933 | 6.74 | 294.5973 | 9.5293 | 73.664 | 9.5953 | 11.5293 | 6.088 | 897 | 75.8167 | 46.3253
2020-02-08 11:45:00 | 6.1653 | 122.5907 | 7.0913 | 134.712 | 9.8647 | 12.262 | 9.4907 | 9.6767 | 6.2853 | 897.6667 | 74.6493 | 44.5013
2020-02-08 12:00:00 | 5.8113 | 142.038 | 6.688 | 156.0773 | 10.0073 | 8.6187 | 9.874 | 14.064 | 7.004 | 897.6667 | 71.308 | 41.8113
2020-02-08 12:15:00 | 5.5873 | 210.0033 | 6.4267 | 230.7667 | 9.816 | 10.1093 | 9.4673 | 14.6887 | 7.486 | 898 | 69.122 | 39.1187
2020-02-08 12:30:00 | 5.422 | 315.3427 | 6.244 | 346.5267 | 9.1973 | 12.558 | 8.8487 | 14.5647 | 7.7673 | 898 | 67.818 | 37.3873
2020-02-08 12:45:00 | 5.4327 | 219.0233 | 6.2533 | 240.6733 | 9.038 | 8.958 | 8.88 | 14.4333 | 8.206 | 897.6667 | 65.866 | 33.872
2020-02-08 13:00:00 | 5.2927 | 241.7873 | 6.0947 | 265.6907 | 9.0853 | 4.7353 | 8.9 | 15.4773 | 8.9927 | 897 | 63.1333 | 31.7613
2020-02-08 13:15:00 | 4.8827 | 114.9 | 5.6173 | 126.2593 | 8.9627 | 10.272 | 8.8093 | 15.1073 | 9.9173 | 897 | 59.5513 | 28.0233
2020-02-08 13:30:00 | 5.3833 | 156.232 | 6.194 | 171.68 | 9.444 | 9.518 | 9.394 | 15.2327 | 10.626 | 897 | 55.4673 | 27.11
2020-02-08 13:45:00 | 5.502 | 203.4733 | 6.3313 | 223.6 | 9.6393 | 13.018 | 9.8227 | 21.052 | 11.2387 | 897 | 51.704 | 24.1987
2020-02-08 14:00:00 | 5.1947 | 158.1673 | 5.982 | 173.8067 | 9.1807 | 18.634 | 8.8793 | 29.338 | 11.78 | 897.6667 | 47.7993 | 24.204
2020-02-08 14:15:00 | 4.87 | 237.1227 | 5.608 | 260.5713 | 8.2907 | 25.8987 | 8.2813 | 30.126 | 12.0347 | 897.0667 | 46.7353 | 23.8987
2020-02-08 14:30:00 | 4.92 | 198.0007 | 5.6687 | 217.5753 | 8.8087 | 32.6953 | 8.9693 | 24.4127 | 12.8127 | 897 | 44.31 | 20.778
2020-02-08 14:45:00 | 4.8687 | 120.1507 | 5.598 | 132.0247 | 8.4907 | 17.4573 | 8.1727 | 19.998 | 13.2627 | 897 | 42.8753 | 19.692
2020-02-08 15:00:00 | 4.628 | 106.872 | 5.3273 | 117.432 | 7.3113 | 15.394 | 7.022 | 26.8167 | 12.3673 | 897 | 43.638 | 17.168
2020-02-08 15:15:00 | 4.5267 | 163.7713 | 5.21 | 179.9567 | 6.5787 | 121.9767 | 6.1567 | 8.008 | 11.108 | 897 | 45.8027 | 13.3447
2020-02-08 15:30:00 | 3.7067 | 169.5987 | 4.266 | 186.3647 | 5.2227 | 146.0473 | 4.638 | 79.0627 | 11.5413 | 896.4 | 44.1087 | 10.0327
2020-02-08 15:45:00 | 3.398 | 211.0767 | 3.9133 | 231.9493 | 4.8627 | 299.2107 | 4.8427 | 105.0853 | 10.9553 | 896 | 45.0187 | 7.9993
2020-02-08 16:00:00 | 2.9387 | 130.818 | 3.3827 | 143.7513 | 4.9293 | 19.9447 | 4.6827 | 19.436 | 11.694 | 896 | 43.3793 | 4.1407
2020-02-08 16:15:00 | 3.0907 | 265.3273 | 3.562 | 291.5587 | 4.938 | 17.1273 | 4.874 | 137.81 | 12.412 | 896 | 41.3933 | 3.5053
2020-02-08 16:30:00 | 3.4133 | 158.726 | 3.9267 | 174.4213 | 5.252 | 149.3207 | 5.308 | 32.94 | 12.214 | 896 | 41.2093 | 3.022
2020-02-08 16:45:00 | 3.308 | 196.0047 | 3.806 | 215.3893 | 5.392 | 3.9367 | 5.2893 | 55.0527 | 12.5867 | 896 | 40.786 | 3.9113
2020-02-08 17:00:00 | 3.1587 | 156.59 | 3.632 | 172.0687 | 5.4733 | 51.522 | 5.2647 | 79.702 | 12.6727 | 896 | 39.8027 | 4.8253
2020-02-08 17:15:00 | 2.992 | 188.5873 | 3.4447 | 207.2393 | 5.0407 | 119.8233 | 4.9867 | 8.6693 | 12.6273 | 896 | 39.1153 | 5.2967
2020-02-08 17:30:00 | 2.8507 | 31.5587 | 3.284 | 34.678 | 4.6473 | 234.6467 | 4.4693 | 240.1833 | 11.698 | 896 | 40.054 | 3.8773
2020-02-08 17:45:00 | 2.12 | 228.38 | 2.4453 | 250.9593 | 3.9587 | 199.1113 | 3.9333 | 155.1067 | 11.0147 | 896 | 41.84 | 2.4233
2020-02-08 18:00:00 | 2.3013 | 210.0767 | 2.6533 | 230.8533 | 4.192 | 28.6873 | 4.3387 | 30.304 | 10.5253 | 896 | 42.5113 | 1.7753
2020-02-08 18:15:00 | 1.6593 | 120.486 | 1.91 | 132.3967 | 3.0867 | 128.0407 | 3.3287 | 127.6313 | 10.2353 | 896 | 41.9393 | 1.8813
2020-02-08 18:30:00 | 1.8 | 151.2127 | 2.0687 | 166.1667 | 3.564 | 23.4853 | 3.722 | 16.7173 | 10.104 | 896 | 41.5993 | 1.0507
2020-02-08 18:45:00 | 1.8253 | 99.6333 | 2.1027 | 109.48 | 3.588 | 31.3727 | 3.454 | 27.3907 | 9.8053 | 896 | 41.8007 | 1.1873
2020-02-08 19:00:00 | 1.5193 | 158.4273 | 1.7567 | 174.09 | 2.9347 | 43.7727 | 2.3887 | 34.2287 | 9.472 | 896 | 42.42 | 1.244
2020-02-08 19:15:00 | 0.75 | 117.3 | 0.866 | 128.9 | 1.3993 | 134.7 | 1.256 | 91.9787 | 9.3307 | 896 | 50.8013 | 1.0287
2020-02-08 19:30:00 | 0.77867 | 125.8353 | 0.896 | 138.28 | 1.3573 | 147.32 | 1.5747 | 112.9313 | 9.26 | 896 | 51.544 | 0.86533
2020-02-08 19:45:00 | 0.47667 | 135.59 | 0.55267 | 149 | 0.91867 | 147.82 | 1.36 | 132.6667 | 9.072 | 896 | 52.8467 | 0.58333
2020-02-08 20:00:00 | 1.2453 | 151.1347 | 1.4353 | 166.0733 | 1.6353 | 172.1667 | 1.7833 | 185.1533 | 9.1473 | 896 | 52.4453 | 0.54667
2020-02-08 20:15:00 | 1.41 | 173.23 | 1.6267 | 190.36 | 1.658 | 184.0933 | 1.43 | 193.4 | 9.3633 | 896.9333 | 50.55 | 0.74267
2020-02-08 20:30:00 | 0.21467 | 172.9 | 0.25067 | 190 | 0.314 | 184 | 0.16867 | 193.3 | 9.32 | 897 | 49.8253 | 0.974
2020-02-08 20:45:00 | 0 | 172.9 | 0 | 190 | 0 | 183.9 | 0.03 | 150.7333 | 8.9247 | 897 | 51.1167 | 0.79
2020-02-08 21:00:00 | 0.076 | 164.4067 | 0.089333 | 180.6667 | 0.14333 | 120.14 | 0.36133 | 62.2253 | 9.006 | 897 | 51.0273 | 0.77133
2020-02-08 21:15:00 | 0.031333 | 113.2767 | 0.034667 | 124.48 | 0 | 104.2533 | 0.31933 | 58.3213 | 8.7573 | 897 | 52.086 | 0.60067
2020-02-08 21:30:00 | 0.32333 | 193.4673 | 0.374 | 212.6 | 0.46 | 84.6 | 0.92333 | 82.7467 | 8.3447 | 897 | 53.8307 | 0.148
2020-02-08 21:45:00 | 1.9093 | 178.984 | 2.202 | 196.68 | 2.4967 | 200.46 | 2.2527 | 200.8933 | 8.0887 | 897 | 58.9473 | 0
2020-02-08 22:00:00 | 2.162 | 175.528 | 2.492 | 192.8867 | 2.6693 | 189.92 | 2.8267 | 199.6333 | 7.782 | 897 | 63.1193 | 0
2020-02-08 22:15:00 | 1.5853 | 172.6407 | 1.8313 | 189.7133 | 1.852 | 189.3133 | 2.1713 | 185.64 | 7.7427 | 897.9333 | 63.7167 | 0
2020-02-08 22:30:00 | 1.9863 | 158.6375 | 2.2837 | 174.325 | 2.24 | 181.5714 | 2.3571 | 190.0571 | 7.6729 | 898 | 63.9271 | 0
2020-02-08 22:45:00 | 2.1425 | 162.89 | 2.4625 | 179 | 2.4825 | 176.3 | 1.525 | 187.275 | 7.4525 | 898 | 64.11 | 0
2020-02-08 23:00:00 | 2.138 | 158.486 | 2.4587 | 174.1533 | 2.5333 | 174.12 | 2.152 | 171.38 | 7.2727 | 898 | 64.5567 | 0
2020-02-08 23:15:00 | 1.5947 | 174.1813 | 1.8387 | 191.4067 | 1.8653 | 179.5733 | 1.768 | 172.5 | 7.3027 | 898 | 63.888 | 0
2020-02-08 23:30:00 | 1.4393 | 172.992 | 1.6567 | 190.1 | 1.6667 | 177.74 | 1.6107 | 172.5 | 7.2907 | 898 | 64.0207 | 0
2020-02-08 23:45:00 | 0.08 | 172.9 | 0.095333 | 190 | 0.11267 | 165.7733 | 0.16067 | 134.6067 | 6.9793 | 898 | 65.5553 | 0