## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-09 00:00:00 | 0.39071 | 283.295 | 0.45571 | 311.3143 | 0.041429 | 89.0207 | 0.025714 | 91.4643 | 6.5343 | 898 | 67.2164 | 0.30643
2020-02-09 00:15:00 | 1.3353 | 210.2533 | 1.54 | 231.04 | 1.384 | 16.1407 | 1.1727 | 76.1493 | 6.336 | 898 | 66.6653 | 1.1807
2020-02-09 00:30:00 | 2.414 | 322.3593 | 2.7773 | 354.2333 | 3.2887 | 10.938 | 3.0107 | 10.624 | 5.6553 | 898 | 62.21 | 1.444
2020-02-09 00:45:00 | 2.992 | 275.562 | 3.4433 | 302.8107 | 4.434 | 13.0033 | 4.3153 | 15.8693 | 5.2513 | 898 | 61.476 | 4.012
2020-02-09 01:00:00 | 2.788 | 246.956 | 3.206 | 271.3727 | 4.9667 | 13.354 | 5.2887 | 21.952 | 4.754 | 897.4 | 64.3213 | 7.1833
2020-02-09 01:15:00 | 2.964 | 265.326 | 3.41 | 291.5587 | 4.952 | 13.8453 | 5.4113 | 14.4987 | 4.5293 | 897 | 66.812 | 10.1047
2020-02-09 01:30:00 | 2.9407 | 55.438 | 3.3853 | 60.9147 | 5.2427 | 10.772 | 5.5967 | 12.9687 | 4.5027 | 897 | 66.0433 | 9.718
2020-02-09 01:45:00 | 2.8367 | 156.658 | 3.2647 | 172.1453 | 5.2253 | 3.6647 | 5.7333 | 14.882 | 4.4933 | 897 | 64.0347 | 9.0493
2020-02-09 02:00:00 | 2.7267 | 208.4127 | 3.1393 | 229.0233 | 5.0967 | 8.376 | 5.7093 | 11.152 | 4.2267 | 897 | 64.006 | 10.5747
2020-02-09 02:15:00 | 3.1813 | 138.0387 | 3.6613 | 151.686 | 6.0587 | 14.1587 | 6.192 | 6.8387 | 3.9873 | 897 | 63.9707 | 13.8033
2020-02-09 02:30:00 | 3.2633 | 62.5687 | 3.754 | 68.7487 | 5.5793 | 17.7427 | 5.686 | 16.886 | 4.2047 | 897 | 61.0153 | 12.236
2020-02-09 02:45:00 | 2.904 | 154.386 | 3.3413 | 169.6487 | 4.932 | 166.526 | 5.3313 | 24.8907 | 4.36 | 897 | 59.5393 | 10.2693
2020-02-09 03:00:00 | 2.934 | 55.832 | 3.3747 | 61.348 | 4.5747 | 85.97 | 5.2733 | 21.2847 | 4.28 | 897 | 59.7407 | 7.106
2020-02-09 03:15:00 | 2.7753 | 208.2073 | 3.1933 | 228.79 | 4.676 | 138.3947 | 5.068 | 18.5487 | 4.246 | 897 | 59.3887 | 3.8567
2020-02-09 03:30:00 | 3.0147 | 169.7013 | 3.4707 | 186.484 | 4.8013 | 14.996 | 4.814 | 19.9007 | 4.1967 | 897 | 58.9393 | 6.0973
2020-02-09 03:45:00 | 3.4007 | 101.936 | 3.9133 | 112.0153 | 5.6453 | 17.2667 | 5.4867 | 20.0307 | 4.244 | 897 | 58.7847 | 9.806
2020-02-09 04:00:00 | 3.0893 | 195.0493 | 3.5567 | 214.34 | 5.2893 | 14.1067 | 5.2473 | 19.088 | 4.0913 | 897 | 59.2753 | 9.2873
2020-02-09 04:15:00 | 2.8067 | 102.0387 | 3.2373 | 112.1293 | 5.0967 | 16.3427 | 5.194 | 19.7233 | 3.7833 | 896.7333 | 60.282 | 7.4353
2020-02-09 04:30:00 | 2.7273 | 152.4527 | 3.136 | 167.526 | 4.9287 | 13.6133 | 5.1687 | 21.802 | 3.5413 | 896 | 61.5853 | 5.0887
2020-02-09 04:45:00 | 2.8573 | 266.0653 | 3.2893 | 292.372 | 4.5667 | 19.9267 | 5.2507 | 29.4547 | 3.4053 | 896 | 61.8393 | 4.7093
2020-02-09 05:00:00 | 3.022 | 245.9667 | 3.4807 | 270.288 | 4.9807 | 20.0193 | 5.4227 | 30.9287 | 3.2433 | 896 | 62.7127 | 5.94
2020-02-09 05:15:00 | 2.7027 | 214.06 | 3.11 | 235.23 | 4.6293 | 10.216 | 5.0173 | 19.7227 | 3.1813 | 896 | 62.632 | 4.8313
2020-02-09 05:30:00 | 2.4493 | 318.928 | 2.8187 | 350.4733 | 4.4173 | 10.8747 | 5.114 | 19.7847 | 2.8733 | 896 | 63.8333 | 4.174
2020-02-09 05:45:00 | 2.8027 | 104.794 | 3.226 | 115.1567 | 4.3613 | 10.5433 | 4.8213 | 19.7813 | 2.892 | 896 | 63.42 | 3.272
2020-02-09 06:00:00 | 3.9187 | 208.0113 | 4.5127 | 228.58 | 5.1527 | 8.2313 | 5.07 | 15.4827 | 3.1487 | 896 | 62.2987 | 3.5393
2020-02-09 06:15:00 | 3.6827 | 68.642 | 4.236 | 75.4287 | 6.0033 | 13.9533 | 5.7987 | 15.6727 | 2.9247 | 896 | 64.272 | 5.228
2020-02-09 06:30:00 | 3.47 | 100.4473 | 3.9913 | 110.3713 | 5.698 | 11.9447 | 5.7693 | 15.4647 | 2.4407 | 896 | 67.996 | 5.6153
2020-02-09 06:45:00 | 3.8127 | 210.8247 | 4.3873 | 231.6767 | 5.1767 | 9.392 | 5.7247 | 10.686 | 2.388 | 896 | 67.9627 | 6.0627
2020-02-09 07:00:00 | 3.8527 | 216.124 | 4.4353 | 237.4933 | 5.1953 | 6.8633 | 5.7047 | 11.8453 | 2.1953 | 896 | 67.4033 | 6.844
2020-02-09 07:15:00 | 3.0947 | 204.744 | 3.566 | 224.9967 | 4.9687 | 9.8473 | 5.5273 | 14.698 | 1.8533 | 896 | 69.0093 | 6.3967
2020-02-09 07:30:00 | 3.3647 | 196.2813 | 3.8707 | 215.69 | 5.2307 | 10.3573 | 5.7447 | 16.9407 | 2.2773 | 896 | 66.2313 | 7.4313
2020-02-09 07:45:00 | 3.3733 | 250.488 | 3.8773 | 275.2533 | 5.7113 | 13.1033 | 5.7767 | 13.0407 | 2.136 | 896 | 67.774 | 8.62
2020-02-09 08:00:00 | 4.044 | 247.37 | 4.6553 | 271.83 | 6.4493 | 14.9827 | 6.0933 | 14.9867 | 2.0393 | 896 | 69.2387 | 10.9887
2020-02-09 08:15:00 | 3.9167 | 176.1413 | 4.5027 | 193.558 | 6.682 | 12.6747 | 6.5767 | 15.3407 | 1.7313 | 896 | 71.7433 | 15.7727
2020-02-09 08:30:00 | 4.2407 | 226.9087 | 4.8773 | 249.3407 | 6.97 | 13.0993 | 6.6467 | 14.9673 | 1.9827 | 896 | 70.95 | 16.7127
2020-02-09 08:45:00 | 4.3373 | 106.6293 | 4.9947 | 117.1713 | 6.9973 | 13.7233 | 7.232 | 20.498 | 2.56 | 896 | 67.844 | 17.9053
2020-02-09 09:00:00 | 4.3 | 50.9633 | 4.9467 | 56.0007 | 6.6313 | 12.0007 | 7.0273 | 19.1707 | 3.0747 | 896.6667 | 65.4207 | 13.3747
2020-02-09 09:15:00 | 4.0353 | 281.05 | 4.6447 | 308.8453 | 6.5213 | 11.322 | 6.518 | 14.334 | 3.7727 | 897.3333 | 62.4607 | 10.738
2020-02-09 09:30:00 | 4.0373 | 125.7733 | 4.6493 | 138.208 | 6.1733 | 8.8427 | 6.302 | 19.1067 | 4.134 | 898 | 60.7187 | 15.3413
2020-02-09 09:45:00 | 4.2487 | 314.8247 | 4.89 | 345.9533 | 6.0993 | 6.768 | 6.4653 | 14.5407 | 4.36 | 898 | 60.7547 | 13.798
2020-02-09 10:00:00 | 3.944 | 186.1167 | 4.5373 | 204.5133 | 5.752 | 7.2387 | 6.5173 | 16.82 | 4.4593 | 898 | 61.5073 | 11.374
2020-02-09 10:15:00 | 4.3687 | 172.372 | 5.0227 | 189.4153 | 6.35 | 10.9347 | 6.512 | 17.8247 | 4.9487 | 898 | 57.8187 | 10.7167
2020-02-09 10:30:00 | 4.1867 | 151.6633 | 4.8167 | 166.6547 | 6.0473 | 9.3247 | 6.3067 | 16.2073 | 5.4333 | 898 | 57.0953 | 10.2833
2020-02-09 10:45:00 | 4.2967 | 299.978 | 4.9473 | 329.64 | 5.414 | 4.0347 | 5.6887 | 17.9173 | 5.4047 | 898 | 57.5493 | 6.5613
2020-02-09 11:00:00 | 3.77 | 136.3067 | 4.3373 | 149.78 | 5.5713 | 15.36 | 5.8753 | 17.74 | 6.6393 | 898 | 53.7753 | 5.148
2020-02-09 11:15:00 | 3.9113 | 173.9447 | 4.5027 | 191.144 | 4.7433 | 13.572 | 5.4593 | 21.3553 | 6.1867 | 898 | 54.9953 | 4.0247
2020-02-09 11:30:00 | 3.812 | 88.8933 | 4.3827 | 97.6827 | 4.8647 | 9.0467 | 5.1693 | 17.396 | 6.8407 | 898 | 51.6907 | 3.17
2020-02-09 11:45:00 | 3.766 | 113.902 | 4.3307 | 125.1653 | 4.46 | 11.164 | 4.754 | 16.2673 | 7.056 | 898 | 52.26 | 1.5
2020-02-09 12:00:00 | 3.4567 | 7.346 | 3.98 | 8.07 | 3.8847 | 9.2087 | 3.978 | 17.114 | 7.5487 | 898 | 49.256 | 0
2020-02-09 12:15:00 | 2.7 | 15.208 | 3.1113 | 16.704 | 3.194 | 22.4913 | 3.2307 | 18.96 | 8.2513 | 898 | 46.4353 | 0
2020-02-09 12:30:00 | 1.6027 | 150.0833 | 1.8453 | 164.9267 | 2.0113 | 31.0007 | 1.9593 | 30.2847 | 9.322 | 898 | 43.4313 | 0
2020-02-09 12:45:00 | 1.958 | 180.9087 | 2.2573 | 198.8 | 1.9827 | 142.3727 | 1.7193 | 140.0007 | 9.5173 | 897.7333 | 47.1433 | 0
2020-02-09 13:00:00 | 3.348 | 143.7807 | 3.8547 | 157.9933 | 3.474 | 175.2467 | 3.002 | 201.6533 | 9.148 | 897.6 | 56.6347 | 0
2020-02-09 13:15:00 | 3.22 | 149.4347 | 3.706 | 164.2067 | 3.344 | 170.96 | 2.816 | 186.34 | 9.7933 | 897.0667 | 54.8267 | 0
2020-02-09 13:30:00 | 3.488 | 153.3907 | 4.02 | 168.56 | 3.8107 | 168.34 | 3.624 | 181.42 | 10.38 | 897 | 51.4727 | 0.91533
2020-02-09 13:45:00 | 3.6747 | 129.8107 | 4.2327 | 142.6467 | 3.9893 | 178.2267 | 3.6547 | 183.92 | 10.4707 | 897 | 49.1593 | 2.0807
2020-02-09 14:00:00 | 3.4253 | 158.8073 | 3.942 | 174.5133 | 3.8253 | 189.9467 | 3.9447 | 190 | 10.7807 | 896.3333 | 45.216 | 2.9633
2020-02-09 14:15:00 | 3.8353 | 135.4827 | 4.4153 | 148.8733 | 4.256 | 155.9333 | 4.396 | 179.54 | 11.5193 | 896 | 41.5287 | 3.0653
2020-02-09 14:30:00 | 3.5773 | 141.8433 | 4.1147 | 155.86 | 4.0907 | 159.72 | 4.1733 | 194.1667 | 12.098 | 896 | 39.7087 | 1.758
2020-02-09 14:45:00 | 3.4313 | 133.2747 | 3.95 | 146.4533 | 3.8867 | 168.1133 | 3.774 | 166.22 | 12.0773 | 895 | 38.4453 | 1.3407
2020-02-09 15:00:00 | 3.0033 | 131.7073 | 3.4587 | 144.7333 | 3.4913 | 162.5667 | 3.464 | 162.3133 | 12.472 | 895 | 37.6653 | 2
2020-02-09 15:15:00 | 3.1507 | 173.524 | 3.6273 | 190.68 | 3.606 | 214.7333 | 4.0613 | 231.6 | 12.6687 | 895 | 35.968 | 6.882
2020-02-09 15:30:00 | 3.8367 | 169.5173 | 4.412 | 186.2733 | 4.8153 | 222.68 | 4.8447 | 236.5733 | 12.9433 | 895 | 37.0627 | 9.234
2020-02-09 15:45:00 | 3.0487 | 141.1293 | 3.508 | 155.08 | 3.8907 | 217.72 | 4.4393 | 227.0333 | 13.2393 | 895 | 38.58 | 5.8373
2020-02-09 16:00:00 | 2.9327 | 142.6487 | 3.3773 | 156.7467 | 3.5127 | 215.2733 | 3.6233 | 214.4933 | 13.12 | 895 | 39.602 | 4.2127
2020-02-09 16:15:00 | 2.9947 | 136.118 | 3.4473 | 149.58 | 3.6847 | 186.3667 | 3.628 | 186.36 | 13.0633 | 894.6667 | 40.0373 | 5.2673
2020-02-09 16:30:00 | 2.7853 | 179.6487 | 3.216 | 197.42 | 3.5227 | 220.1867 | 3.628 | 217.5267 | 12.8707 | 894 | 41.042 | 4.2527
2020-02-09 16:45:00 | 2.572 | 164.3013 | 2.9647 | 180.5533 | 3.0707 | 183.7733 | 3.074 | 201.1933 | 12.78 | 894 | 42.204 | 4.4267
2020-02-09 17:00:00 | 2.9647 | 152.532 | 3.4193 | 167.6133 | 3.3447 | 194.8733 | 3.4507 | 201.5 | 12.218 | 894 | 43.9073 | 6.058
2020-02-09 17:15:00 | 2.848 | 153.478 | 3.282 | 168.6533 | 3.412 | 198.6667 | 3.6067 | 203.7 | 12.142 | 894 | 43.6173 | 8.7827
2020-02-09 17:30:00 | 2.9473 | 162.356 | 3.396 | 178.4 | 3.868 | 225.8933 | 4.104 | 228.6133 | 11.8847 | 894 | 43.8893 | 13.8133
2020-02-09 17:45:00 | 3.776 | 181.66 | 4.3433 | 199.62 | 4.666 | 219.4133 | 5.3053 | 227.7133 | 11.1747 | 893 | 43.562 | 18.024
2020-02-09 18:00:00 | 3.4687 | 166.0747 | 3.9907 | 182.4933 | 4.312 | 207.08 | 4.5913 | 225.1533 | 10.774 | 893 | 42.4113 | 23.904
2020-02-09 18:15:00 | 3.536 | 166.2587 | 4.072 | 182.7 | 4.6407 | 215.3333 | 5.2067 | 214.7867 | 10.3853 | 893 | 42.246 | 19.6893
2020-02-09 18:30:00 | 3.968 | 161.3307 | 4.562 | 177.2867 | 5.106 | 215.8667 | 5.8327 | 222.84 | 10.11 | 892.3333 | 44.3167 | 18.3193
2020-02-09 18:45:00 | 4.2467 | 166.8167 | 4.8873 | 183.3133 | 5.3227 | 214.5 | 5.944 | 216.0467 | 9.9533 | 892 | 45.5513 | 15.386
2020-02-09 19:00:00 | 3.6633 | 166.8707 | 4.2173 | 183.36 | 4.684 | 216.9733 | 5.0307 | 205.86 | 9.6607 | 892 | 47.4553 | 14.1093
2020-02-09 19:15:00 | 3.7253 | 177.7493 | 4.288 | 195.32 | 4.6487 | 213.3867 | 4.8947 | 211.6733 | 9.4553 | 892 | 48.656 | 14.602
2020-02-09 19:30:00 | 3.456 | 179.9327 | 3.9727 | 197.7267 | 4.26 | 207.7333 | 4.4827 | 201.92 | 9.2973 | 892 | 51.3367 | 17.532
2020-02-09 19:45:00 | 3.3107 | 163.5007 | 3.808 | 179.6667 | 4.0353 | 186.6067 | 4.1933 | 195.3267 | 9.1013 | 892 | 53.158 | 16.8033
2020-02-09 20:00:00 | 3.55 | 163.4867 | 4.0893 | 179.6467 | 4.18 | 188.32 | 4.5213 | 182.3467 | 8.6853 | 892 | 57.646 | 12.5313
2020-02-09 20:15:00 | 3.7027 | 173.6833 | 4.2627 | 190.8533 | 4.4107 | 193.96 | 4.8813 | 200.84 | 8.614 | 892 | 61.4233 | 10.71
2020-02-09 20:30:00 | 3.1813 | 164.3213 | 3.6607 | 180.5733 | 3.862 | 192.42 | 4.134 | 191.3733 | 8.454 | 892 | 63.3747 | 10.6947
2020-02-09 20:45:00 | 2.7693 | 155.1647 | 3.1927 | 170.5 | 3.4787 | 189.3667 | 3.838 | 194.5067 | 8.2153 | 892 | 64.3773 | 8.7167
2020-02-09 21:00:00 | 2.3827 | 164.5387 | 2.742 | 180.8067 | 2.918 | 191.2067 | 3.1153 | 190.3067 | 8.1947 | 892 | 64.7347 | 6.9893
2020-02-09 21:15:00 | 2.1373 | 158.546 | 2.466 | 174.22 | 2.6553 | 187.9733 | 2.874 | 196.9933 | 8.026 | 892 | 65.6353 | 5.3913
2020-02-09 21:30:00 | 1.568 | 167.3433 | 1.802 | 183.8867 | 2.0907 | 189.3533 | 2.3967 | 198.1733 | 8.0667 | 892 | 66.2607 | 3.7033
2020-02-09 21:45:00 | 1.9527 | 177.8253 | 2.252 | 195.4133 | 2.324 | 200.4467 | 2.5113 | 195.1333 | 8.0393 | 892 | 67.2513 | 6.028
2020-02-09 22:00:00 | 2.4453 | 163.9833 | 2.8113 | 180.1933 | 2.936 | 198.9333 | 3.068 | 196.3733 | 7.8953 | 892 | 68.2587 | 7.1413
2020-02-09 22:15:00 | 2.1287 | 159.3387 | 2.4547 | 175.0867 | 2.6167 | 197.0667 | 2.8333 | 192.6533 | 7.896 | 892 | 68.786 | 4.6527
2020-02-09 22:30:00 | 1.94 | 177.7075 | 2.2425 | 195.275 | 2.38 | 208.3 | 2.4625 | 205.725 | 7.85 | 892 | 69.28 | 3.625
2020-02-09 22:45:00 | 2.24 | 181.606 | 2.59 | 199.56 | 2.654 | 189.92 | 3.09 | 189.96 | 7.88 | 892 | 69.342 | 4.454
2020-02-09 23:00:00 | 2.108 | 178.204 | 2.4233 | 195.8267 | 2.52 | 196.9667 | 2.782 | 194.1533 | 7.882 | 892 | 69.5807 | 2.2713
2020-02-09 23:15:00 | 1.1547 | 180.2953 | 1.3313 | 198.12 | 1.6673 | 177.4867 | 2.1333 | 177.78 | 7.802 | 892 | 70.136 | 0.804
2020-02-09 23:30:00 | 1.482 | 163.3607 | 1.71 | 179.5133 | 2.1347 | 183.9133 | 2.6727 | 193.6067 | 7.7073 | 892 | 70.964 | 1.1493
2020-02-09 23:45:00 | 1.96 | 165.238 | 2.2613 | 181.5733 | 2.5007 | 203.6333 | 2.9447 | 204.8733 | 7.648 | 892 | 71.808 | 1.9393