## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-10 00:00:00 | 2.1543 | 160.3879 | 2.475 | 176.25 | 2.625 | 193.3571 | 3.26 | 200.2929 | 7.6357 | 892 | 72.46 | 3.0721
2020-02-10 00:15:00 | 2.2533 | 172.1647 | 2.596 | 189.1867 | 2.9547 | 204.48 | 3.2333 | 209.4067 | 7.554 | 892 | 73.4267 | 2.8673
2020-02-10 00:30:00 | 1.852 | 176.1747 | 2.1333 | 193.6 | 2.5727 | 201.8533 | 2.8313 | 204.6533 | 7.5573 | 892 | 73.5387 | 1.8607
2020-02-10 00:45:00 | 1.9333 | 164.1287 | 2.2293 | 180.3533 | 2.5247 | 202.4467 | 2.9973 | 205.6067 | 7.2927 | 892 | 74.858 | 1.5073
2020-02-10 01:00:00 | 2.476 | 156.27 | 2.8513 | 171.72 | 3.0053 | 191.3533 | 3.1527 | 196.96 | 7.19 | 892 | 74.81 | 0.86667
2020-02-10 01:15:00 | 2.2367 | 153.854 | 2.5767 | 169.06 | 2.7767 | 178.04 | 3.0647 | 182.9 | 7.2593 | 891 | 74.0707 | 1.0967
2020-02-10 01:30:00 | 2.3027 | 144.1447 | 2.6527 | 158.3933 | 2.9493 | 175.7733 | 3.0107 | 179.2 | 7.224 | 891 | 73.862 | 1.0687
2020-02-10 01:45:00 | 1.7933 | 159.9953 | 2.0733 | 175.8133 | 2.386 | 159.7667 | 2.848 | 167.0267 | 7.1747 | 891 | 74.05 | 1.1107
2020-02-10 02:00:00 | 2.2567 | 164.68 | 2.5993 | 180.9667 | 2.81 | 170.42 | 3.532 | 175.3933 | 7.092 | 891 | 74.832 | 0.71933
2020-02-10 02:15:00 | 2.2673 | 167.49 | 2.61 | 184.0533 | 2.8933 | 164.26 | 3.6293 | 167.6467 | 7.1107 | 891 | 75.478 | 0.64267
2020-02-10 02:30:00 | 2.0347 | 172.9113 | 2.3413 | 190.0067 | 2.546 | 163.06 | 3.3727 | 161.2933 | 7.2307 | 891 | 74.948 | 0.64
2020-02-10 02:45:00 | 2.1787 | 164.6133 | 2.512 | 180.8867 | 2.608 | 162.92 | 3.522 | 165.7533 | 7.3253 | 890.7333 | 74.8427 | 0.108
2020-02-10 03:00:00 | 2.426 | 157.2907 | 2.7887 | 172.8333 | 3.008 | 173.76 | 3.6047 | 174.3933 | 7.1827 | 890 | 75.5427 | 1.074
2020-02-10 03:15:00 | 2.4247 | 163.0827 | 2.7953 | 179.2067 | 3.0213 | 184.9133 | 3.556 | 181.32 | 7.0013 | 890 | 76.2753 | 1.9067
2020-02-10 03:30:00 | 2.506 | 160.0493 | 2.886 | 175.88 | 3.1833 | 180.9 | 3.8993 | 179.1733 | 6.9353 | 890 | 76.4587 | 1.8727
2020-02-10 03:45:00 | 2.1593 | 152.824 | 2.4873 | 167.9333 | 2.8147 | 176.1867 | 3.4747 | 174.34 | 6.9433 | 890 | 76.3193 | 0.46
2020-02-10 04:00:00 | 1.93 | 163.929 | 2.225 | 180.14 | 2.555 | 175.65 | 3.168 | 174.66 | 6.942 | 890 | 76.352 | 0.599
2020-02-10 04:15:00 | 1.554 | 176.2473 | 1.7887 | 193.6733 | 2.0493 | 177.5467 | 3.0107 | 162.4467 | 6.856 | 889 | 76.9353 | 1.1687
2020-02-10 04:30:00 | 1.61 | 171.294 | 1.8567 | 188.2333 | 2.3433 | 163.4 | 3.6587 | 168.7133 | 6.7827 | 889 | 77.2373 | 0.344
2020-02-10 04:45:00 | 1.1687 | 166.3893 | 1.3513 | 182.8467 | 2.0587 | 159.0067 | 3.2093 | 169.6467 | 6.8593 | 889 | 76.7593 | 0.26467
2020-02-10 05:00:00 | 1.588 | 157.6787 | 1.8333 | 173.2733 | 2.1553 | 173.78 | 2.9613 | 175.3267 | 6.9387 | 889 | 76.3847 | 0.70467
2020-02-10 05:15:00 | 1.3493 | 183.616 | 1.5613 | 201.7733 | 2.092 | 193.8267 | 2.5113 | 183.6533 | 6.89 | 889 | 76.608 | 0.444
2020-02-10 05:30:00 | 1 | 178.196 | 1.1567 | 195.8133 | 1.836 | 213.64 | 2.3233 | 191.5533 | 6.5333 | 889 | 78.082 | 0.37733
2020-02-10 05:45:00 | 1.9467 | 186.8207 | 2.2473 | 205.2867 | 2.7067 | 207.2733 | 3.1587 | 197.4133 | 6.202 | 889 | 79.584 | 1.0213
2020-02-10 06:00:00 | 2.6347 | 167.1833 | 3.0307 | 183.7133 | 3.2853 | 186.66 | 3.8133 | 186.4933 | 6.2 | 889 | 79.1367 | 1.242
2020-02-10 06:15:00 | 2.518 | 154.8147 | 2.8967 | 170.1267 | 3.1493 | 181.84 | 3.3947 | 188.4933 | 6.1553 | 888.7333 | 79.1747 | 1.9033
2020-02-10 06:30:00 | 2.832 | 154.8113 | 3.2587 | 170.12 | 3.5787 | 174.6733 | 3.5787 | 181.9933 | 6.0513 | 888 | 79.5767 | 1.6353
2020-02-10 06:45:00 | 2.2987 | 163.044 | 2.6453 | 179.1667 | 2.8313 | 174.0533 | 3.1233 | 185.4933 | 5.9787 | 888 | 80.07 | 1.5693
2020-02-10 07:00:00 | 3.0293 | 164.312 | 3.4887 | 180.56 | 3.832 | 181.5067 | 3.9933 | 180.0067 | 5.9833 | 888 | 80.22 | 1.3127
2020-02-10 07:15:00 | 2.9133 | 155.7533 | 3.3487 | 171.16 | 3.72 | 168.2133 | 3.6827 | 175.9333 | 5.9087 | 888 | 80.8267 | 1.372
2020-02-10 07:30:00 | 2.7413 | 164.0287 | 3.1553 | 180.2467 | 3.4867 | 164.5667 | 4.0667 | 169.0933 | 5.9293 | 888 | 81.0867 | 0.81533
2020-02-10 07:45:00 | 1.5973 | 139.104 | 1.844 | 152.86 | 2.4587 | 162.38 | 3.1787 | 167.24 | 5.9247 | 888.9333 | 81.4467 | 0
2020-02-10 08:00:00 | 1.416 | 166.6673 | 1.634 | 183.1467 | 2.0767 | 171.7533 | 2.5547 | 170.9467 | 6.0073 | 888.4 | 81.7533 | 0
2020-02-10 08:15:00 | 1.0727 | 182.7087 | 1.2373 | 200.7733 | 1.8393 | 186.4267 | 1.954 | 186.9133 | 6.0753 | 888.9333 | 81.22 | 0
2020-02-10 08:30:00 | 1.394 | 184.4667 | 1.6073 | 202.7067 | 1.976 | 195.8467 | 2.1027 | 190.5667 | 6.0493 | 889 | 81.1 | 0
2020-02-10 08:45:00 | 1.29 | 178.656 | 1.49 | 196.3267 | 2.0613 | 204.2267 | 2.032 | 188.0533 | 6.242 | 889 | 80.1253 | 0
2020-02-10 09:00:00 | 1.224 | 159.5607 | 1.4107 | 175.34 | 1.7873 | 207.5733 | 2.134 | 197.8733 | 6.818 | 889 | 78.4087 | 0
2020-02-10 09:15:00 | 0.99667 | 171.4753 | 1.152 | 188.4267 | 1.3373 | 215.7467 | 1.6233 | 230.48 | 7.5247 | 889.9333 | 75.6807 | 0
2020-02-10 09:30:00 | 1.2467 | 175.1167 | 1.4407 | 192.4267 | 1.4627 | 217.2933 | 1.4667 | 211.5667 | 7.532 | 890 | 75.7567 | 0
2020-02-10 09:45:00 | 1.0947 | 151.4273 | 1.2613 | 166.4 | 1.5493 | 222.38 | 1.666 | 210.28 | 7.4667 | 890 | 76.5527 | 0
2020-02-10 10:00:00 | 1.1027 | 170.544 | 1.2747 | 187.4 | 1.596 | 237.2733 | 1.84 | 224.3467 | 7.1173 | 890 | 79.1 | 0
2020-02-10 10:15:00 | 1.5713 | 156.1367 | 1.8093 | 171.5667 | 1.806 | 216.1333 | 1.8947 | 208.3867 | 7.9927 | 890 | 76.3493 | 0
2020-02-10 10:30:00 | 2.622 | 155.4353 | 3.0173 | 170.8067 | 2.89 | 203.6067 | 3.0273 | 205.1733 | 8.63 | 890.6667 | 74.104 | 0.13
2020-02-10 10:45:00 | 3.136 | 157.858 | 3.6107 | 173.4667 | 3.3627 | 205.12 | 3.3573 | 196.96 | 8.802 | 891 | 73.554 | 0.38267
2020-02-10 11:00:00 | 2.7513 | 157.3467 | 3.1673 | 172.9067 | 2.98 | 191.1867 | 2.9633 | 196.6133 | 8.922 | 891 | 73.4013 | 0.578
2020-02-10 11:15:00 | 3.1347 | 154.0827 | 3.608 | 169.3133 | 3.4607 | 180.08 | 3.2473 | 199.0867 | 9.2067 | 891 | 72.0927 | 1.2947
2020-02-10 11:30:00 | 3.2727 | 154.564 | 3.768 | 169.8467 | 3.4173 | 184.68 | 3.47 | 197.4133 | 9.0347 | 891 | 72.5607 | 2.6553
2020-02-10 11:45:00 | 3.3867 | 146.2867 | 3.8993 | 160.7533 | 3.7027 | 171.5733 | 3.6573 | 193.3867 | 9.0067 | 890.7333 | 72.152 | 2.7053
2020-02-10 12:00:00 | 3.4373 | 123.902 | 3.954 | 136.1533 | 3.72 | 164.28 | 3.7633 | 177.7067 | 9.1047 | 890 | 71.94 | 2.57
2020-02-10 12:15:00 | 3.3093 | 119.5253 | 3.81 | 131.3467 | 3.7207 | 161.7467 | 3.7593 | 165.02 | 9.3147 | 890 | 71.572 | 2.738
2020-02-10 12:30:00 | 3.5027 | 125.3747 | 4.028 | 137.7667 | 4.2387 | 151.6533 | 4.2613 | 155.9733 | 9.498 | 890 | 71.4807 | 3.4793
2020-02-10 12:45:00 | 4.062 | 127.5813 | 4.674 | 140.1933 | 4.6273 | 156.3733 | 4.916 | 167.0133 | 9.8547 | 890 | 70.558 | 4.8213
2020-02-10 13:00:00 | 3.9347 | 130.664 | 4.5307 | 143.5867 | 4.648 | 155.78 | 4.7793 | 185.1333 | 10.1667 | 889.4 | 69.414 | 4.8607
2020-02-10 13:15:00 | 4.3027 | 134.3907 | 4.9527 | 147.68 | 4.898 | 140.4667 | 5.062 | 184.9333 | 10.6047 | 889 | 67.4193 | 6.1227
2020-02-10 13:30:00 | 3.74 | 145.5 | 4.3027 | 159.8867 | 4.224 | 156.9667 | 4.0773 | 167.76 | 10.7107 | 889 | 64.198 | 6.996
2020-02-10 13:45:00 | 3.6673 | 139.8653 | 4.2173 | 153.6867 | 4.35 | 187.6933 | 4.7273 | 181.4 | 10.914 | 888.6667 | 62.7727 | 6.3387
2020-02-10 14:00:00 | 4.43 | 138.1787 | 5.092 | 151.84 | 4.956 | 157.5067 | 5.3147 | 177.1533 | 11.0673 | 888 | 62.5113 | 7.0853
2020-02-10 14:15:00 | 4.7933 | 161.8173 | 5.514 | 177.82 | 5.5533 | 173 | 5.9547 | 184.5 | 11.2053 | 888 | 60.7413 | 8.774
2020-02-10 14:30:00 | 5.102 | 155.123 | 5.879 | 170.46 | 5.767 | 163.92 | 5.957 | 172.32 | 11.259 | 888 | 62.403 | 9.235
2020-02-10 14:45:00 | 4.32 | 161.87 | 4.976 | 177.8733 | 5.0093 | 163.3733 | 5.2333 | 183.02 | 10.9607 | 888 | 63.326 | 7.6647
2020-02-10 15:00:00 | 3.5933 | 151.1353 | 4.1333 | 166.08 | 4.2547 | 185.2933 | 4.3987 | 197.44 | 9.8867 | 887.4 | 67.0987 | 5.2387
2020-02-10 15:15:00 | 3.39 | 161.668 | 3.904 | 177.6533 | 3.9247 | 201.9067 | 4.04 | 191.5333 | 9.928 | 887 | 67.7287 | 5.3673
2020-02-10 15:30:00 | 3.9433 | 148.758 | 4.5427 | 163.4667 | 4.4413 | 180.58 | 4.81 | 182.62 | 9.87 | 887 | 68.068 | 6.6587
2020-02-10 15:45:00 | 4.3587 | 138.752 | 5.0133 | 152.4733 | 5.1867 | 157.8867 | 5.2407 | 170.1133 | 10.2587 | 887 | 67.5813 | 9.3593
2020-02-10 16:00:00 | 4.2533 | 138.9093 | 4.8933 | 152.6467 | 4.9533 | 151.76 | 4.988 | 182.8667 | 10.1047 | 887 | 68.4853 | 10.4667
2020-02-10 16:15:00 | 4.1973 | 141.082 | 4.828 | 155.0267 | 4.8193 | 159.3333 | 4.9907 | 166.8467 | 9.658 | 887 | 70.128 | 8.47
2020-02-10 16:30:00 | 3.9947 | 165.6773 | 4.5927 | 182.0533 | 4.5393 | 176.3867 | 4.948 | 180.8 | 9.156 | 887 | 72.1027 | 7.9867
2020-02-10 16:45:00 | 3.8013 | 150.046 | 4.3833 | 164.88 | 4.3933 | 184.9067 | 4.8127 | 183.82 | 8.9813 | 886.0667 | 73.9407 | 9.27
2020-02-10 17:00:00 | 4.2527 | 160.7687 | 4.892 | 176.66 | 4.6967 | 180.12 | 5.0833 | 189.8133 | 8.89 | 886 | 74.892 | 8.8387
2020-02-10 17:15:00 | 4.0147 | 162.458 | 4.6213 | 178.52 | 4.452 | 169.5733 | 4.8507 | 177.4333 | 8.846 | 886 | 75.6573 | 7.518
2020-02-10 17:30:00 | 3.9493 | 149.1427 | 4.55 | 163.8933 | 4.4713 | 169.28 | 4.714 | 185.2933 | 8.8573 | 886 | 75.6993 | 8.9787
2020-02-10 17:45:00 | 3.9133 | 162.3713 | 4.5113 | 178.4267 | 4.488 | 174.5933 | 4.6987 | 182.2333 | 8.7567 | 886 | 76.3687 | 12.0853
2020-02-10 18:00:00 | 3.5987 | 145.5273 | 4.1447 | 159.9133 | 4.208 | 180.7533 | 4.5867 | 177.82 | 8.6113 | 886 | 77.6193 | 10.4753
2020-02-10 18:15:00 | 3.956 | 141.068 | 4.554 | 155.0133 | 4.534 | 187.9267 | 4.7127 | 190.36 | 8.424 | 886 | 79.3413 | 9.0367
2020-02-10 18:30:00 | 4.0973 | 150.5373 | 4.716 | 165.42 | 4.5847 | 178 | 4.8733 | 194.2533 | 8.19 | 886 | 81.1267 | 10.23
2020-02-10 18:45:00 | 4.0147 | 171.0473 | 4.62 | 187.96 | 4.6967 | 190.58 | 5.02 | 188.6267 | 7.9973 | 886 | 82.36 | 12.5147
2020-02-10 19:00:00 | 3.758 | 160.5493 | 4.3253 | 176.42 | 4.4093 | 193.0933 | 4.8347 | 188.7133 | 7.8513 | 886 | 82.98 | 11.4893
2020-02-10 19:15:00 | 4.14 | 166.034 | 4.7613 | 182.4533 | 4.8753 | 192.56 | 5.374 | 194.8933 | 7.7027 | 886 | 83.6333 | 12.816
2020-02-10 19:30:00 | 4.0847 | 164.6787 | 4.6967 | 180.96 | 4.8033 | 189.64 | 5.4087 | 187.72 | 7.6107 | 886 | 84.0933 | 9.616
2020-02-10 19:45:00 | 3.2133 | 144.7273 | 3.702 | 159.04 | 3.8893 | 183.1667 | 4.4833 | 188.9733 | 7.5227 | 886 | 84.5333 | 7.6773
2020-02-10 20:00:00 | 3.2133 | 166.368 | 3.6987 | 182.82 | 3.8227 | 192.1667 | 4.1453 | 193.42 | 7.554 | 886.6 | 84.4667 | 4.8853
2020-02-10 20:15:00 | 2.7253 | 149.7407 | 3.1353 | 164.5467 | 3.3747 | 200.62 | 3.4593 | 201.3733 | 7.486 | 887 | 84.6933 | 4.052
2020-02-10 20:30:00 | 2.4427 | 174.752 | 2.8113 | 192.0333 | 3.1853 | 206.66 | 3.1853 | 202.2733 | 7.4687 | 887 | 85.0667 | 4.3053
2020-02-10 20:45:00 | 2.256 | 160.6933 | 2.604 | 176.58 | 2.6753 | 199.2533 | 2.7673 | 197.9467 | 7.352 | 887 | 85.7733 | 3.794
2020-02-10 21:00:00 | 2.5507 | 155.02 | 2.9353 | 170.3533 | 2.9007 | 183.3733 | 3.3453 | 194.82 | 7.174 | 887 | 86.7733 | 4.4487
2020-02-10 21:15:00 | 2.6287 | 163.0427 | 3.0227 | 179.16 | 3.1227 | 179.2867 | 3.7333 | 193.58 | 7.0607 | 887 | 87.5267 | 4.6747
2020-02-10 21:30:00 | 2.8613 | 176.5067 | 3.294 | 193.9533 | 3.4607 | 182.3267 | 3.9473 | 187.36 | 7.0167 | 887 | 87.9667 | 3.8307
2020-02-10 21:45:00 | 2.4287 | 165.6187 | 2.794 | 181.9933 | 2.8967 | 181.2267 | 3.5127 | 188.2133 | 6.9413 | 887 | 88.3267 | 3.2887
2020-02-10 22:00:00 | 2.6313 | 157.768 | 3.0293 | 173.3667 | 3.1113 | 186.2267 | 3.5687 | 187.8867 | 6.9453 | 887 | 88.66 | 3.4033
2020-02-10 22:15:00 | 2.4067 | 163.022 | 2.7753 | 179.14 | 2.8213 | 181.6533 | 3.164 | 186.2667 | 6.902 | 887 | 88.86 | 3.8673
2020-02-10 22:30:00 | 2.28 | 142.3314 | 2.6271 | 156.4 | 2.6343 | 172.2643 | 2.8214 | 183.6929 | 6.8586 | 887 | 89 | 2.0721
2020-02-10 22:45:00 | 1.6956 | 132.5467 | 1.9567 | 145.6556 | 2.13 | 178.4889 | 2.4233 | 187.0111 | 6.8 | 887 | 89.3778 | 1.3267
2020-02-10 23:00:00 | 2.3933 | 148.1213 | 2.7513 | 162.7667 | 2.896 | 178.96 | 2.8253 | 183.42 | 6.7193 | 887.6667 | 90.1 | 1.0213
2020-02-10 23:15:00 | 2.6627 | 158.6287 | 3.068 | 174.3133 | 3.202 | 182.5067 | 3.45 | 187.34 | 6.7433 | 887.0667 | 90.08 | 1.406
2020-02-10 23:30:00 | 2.394 | 157.9013 | 2.75 | 173.5133 | 2.9667 | 175.9933 | 3.364 | 181.92 | 6.6127 | 887 | 90.6533 | 0.83
2020-02-10 23:45:00 | 1.7073 | 162.64 | 1.966 | 178.72 | 2.214 | 191.8267 | 2.6713 | 194.5 | 6.5673 | 887 | 91.08 | 0.72133