## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-11 00:00:00 | 1.9979 | 154.4921 | 2.3021 | 169.7714 | 2.3814 | 186.0643 | 2.7464 | 194.0786 | 6.5536 | 887 | 91.2714 | 1.4243
2020-02-11 00:15:00 | 2.6893 | 166.2933 | 3.094 | 182.74 | 3.3473 | 177.9933 | 3.824 | 193.9467 | 6.328 | 887 | 92.1733 | 2.6347
2020-02-11 00:30:00 | 2.7387 | 161.8353 | 3.1593 | 177.8333 | 3.5167 | 175.9467 | 3.666 | 188.2133 | 6.1927 | 887 | 92.92 | 2.732
2020-02-11 00:45:00 | 2.0947 | 157.2627 | 2.414 | 172.8133 | 2.708 | 179.2267 | 3.064 | 188.3333 | 6.1773 | 887 | 93.0333 | 3.4413
2020-02-11 01:00:00 | 2.5873 | 159.668 | 2.9767 | 175.4533 | 3.19 | 184.5533 | 3.5587 | 196.84 | 6.2013 | 887 | 93.2 | 3.2513
2020-02-11 01:15:00 | 2.2443 | 144.2607 | 2.585 | 158.5214 | 2.7029 | 187.3143 | 3.0107 | 200.6071 | 6.1979 | 887 | 93.2643 | 2.1587
2020-02-11 01:30:00 | 2.7833 | 157.176 | 3.2027 | 172.72 | 3.284 | 184.8667 | 3.5 | 202.9333 | 6.2687 | 887 | 93.2667 | 2.778
2020-02-11 01:45:00 | 2.7027 | 157.3013 | 3.1127 | 172.8533 | 3.2087 | 190.36 | 3.7473 | 205.4333 | 6.29 | 887 | 93.2733 | 2.3567
2020-02-11 02:00:00 | 2.3 | 155.1647 | 2.6467 | 170.5067 | 2.686 | 191.38 | 2.7653 | 202.9 | 6.3273 | 887 | 93.04 | 1.8987
2020-02-11 02:15:00 | 2.518 | 145.0653 | 2.8947 | 159.4067 | 2.9847 | 191.42 | 2.9947 | 201.0867 | 6.2873 | 887 | 93.16 | 1.952
2020-02-11 02:30:00 | 2.7887 | 161.2627 | 3.2073 | 177.2067 | 3.398 | 190.1067 | 3.4027 | 206.0533 | 6.1733 | 887 | 93.56 | 3.2287
2020-02-11 02:45:00 | 2.868 | 155.6907 | 3.306 | 171.0867 | 3.4367 | 193.9933 | 3.604 | 206.4467 | 6.1713 | 886.7333 | 93.6467 | 2.7727
2020-02-11 03:00:00 | 2.51 | 152.0573 | 2.8867 | 167.0867 | 2.8993 | 187.14 | 3.1067 | 212.48 | 6.18 | 886 | 93.4 | 1.8173
2020-02-11 03:15:00 | 2.1393 | 155.036 | 2.4633 | 170.3667 | 2.5467 | 190.64 | 2.7673 | 207.38 | 6.114 | 886 | 93.5867 | 1.0967
2020-02-11 03:30:00 | 1.7913 | 170.144 | 2.066 | 186.9667 | 2.206 | 191.9133 | 2.5607 | 222.1067 | 6.078 | 886 | 93.7667 | 0.53333
2020-02-11 03:45:00 | 2.2787 | 161.5613 | 2.6267 | 177.54 | 2.8127 | 182.2467 | 2.92 | 210.42 | 6.0747 | 886 | 93.9267 | 0.688
2020-02-11 04:00:00 | 2.3829 | 160.3386 | 2.7429 | 176.1929 | 2.8843 | 185.5286 | 3.1564 | 208.4071 | 6.0571 | 886 | 94.1429 | 0.895
2020-02-11 04:15:00 | 2.606 | 145.8787 | 2.9987 | 160.3 | 3.118 | 179.68 | 3.0293 | 190.9 | 6.1193 | 886 | 94.2 | 0.070667
2020-02-11 04:30:00 | 2.3827 | 162.0267 | 2.7413 | 178.0467 | 3.0553 | 177.0133 | 3.012 | 182.5733 | 6.15 | 886 | 94.2333 | 0.26733
2020-02-11 04:45:00 | 2.3947 | 163.7513 | 2.7613 | 179.94 | 3.1047 | 176.4667 | 3.2993 | 184.3467 | 6.1167 | 886 | 94.3333 | 0.30867
2020-02-11 05:00:00 | 2.618 | 160.5267 | 3.0147 | 176.4 | 3.2947 | 182.3933 | 3.4627 | 188.6933 | 6.092 | 886 | 94.56 | 0.838
2020-02-11 05:15:00 | 2.5087 | 171.6553 | 2.8853 | 188.6333 | 3.0233 | 183.94 | 3.446 | 201.2067 | 6.0873 | 886 | 94.6 | 1.598
2020-02-11 05:30:00 | 2.6353 | 166.3747 | 3.034 | 182.8267 | 3.128 | 207.3867 | 3.244 | 191.0867 | 6.176 | 886 | 94.2533 | 0.908
2020-02-11 05:45:00 | 2.5353 | 167.9273 | 2.9153 | 184.5333 | 2.984 | 199.54 | 3.2907 | 182.76 | 6.1787 | 886 | 94.0067 | 0.16333
2020-02-11 06:00:00 | 2.4013 | 160.2733 | 2.7693 | 176.1267 | 2.9613 | 187.9667 | 3.378 | 189.2133 | 6.012 | 886 | 94.4933 | 0.36667
2020-02-11 06:15:00 | 2.328 | 163.552 | 2.6807 | 179.72 | 2.8173 | 207.0667 | 3.204 | 200.0067 | 6.0233 | 885 | 95.06 | 0.272
2020-02-11 06:30:00 | 2.2793 | 160.464 | 2.62 | 176.3267 | 2.768 | 186.2267 | 3.1113 | 189.3133 | 6.024 | 885 | 95.0733 | 0
2020-02-11 06:45:00 | 2.316 | 148.89 | 2.6693 | 163.6067 | 2.792 | 187.2667 | 3.02 | 190.24 | 6.0447 | 885 | 95.12 | 0
2020-02-11 07:00:00 | 2.4147 | 163.394 | 2.7853 | 179.5467 | 3.084 | 187.0533 | 3.102 | 188.0067 | 6.018 | 885 | 95.46 | 0
2020-02-11 07:15:00 | 2.182 | 167.8547 | 2.518 | 184.4467 | 2.7487 | 194.6867 | 3.0647 | 184.74 | 6.0073 | 885.2667 | 95.46 | 0
2020-02-11 07:30:00 | 2.1453 | 152.8413 | 2.4687 | 167.9533 | 2.6007 | 189.26 | 2.8687 | 184.6067 | 5.854 | 886 | 96.0067 | 0
2020-02-11 07:45:00 | 2.3493 | 167.284 | 2.7053 | 183.8267 | 2.9707 | 185.9067 | 3.338 | 185.8467 | 5.8993 | 886 | 96.4267 | 0
2020-02-11 08:00:00 | 2.3853 | 154.8887 | 2.7467 | 170.2067 | 2.8367 | 183.1067 | 3.1707 | 180.5 | 6.032 | 886 | 96.2667 | 0
2020-02-11 08:15:00 | 2.3827 | 160.1513 | 2.7427 | 175.9867 | 2.842 | 182.3733 | 3.2753 | 180.22 | 6.1353 | 886 | 95.6467 | 0
2020-02-11 08:30:00 | 2.2773 | 152.5907 | 2.618 | 167.68 | 2.8567 | 179.6733 | 3.476 | 179.4667 | 6.1833 | 886 | 95.34 | 0
2020-02-11 08:45:00 | 1.5727 | 160.0407 | 1.8187 | 175.8667 | 2.1927 | 186.6133 | 2.886 | 180.76 | 6.2627 | 886 | 95.18 | 0
2020-02-11 09:00:00 | 0.92267 | 170.0967 | 1.068 | 186.9133 | 1.394 | 189.54 | 2.0873 | 190.48 | 6.4133 | 886 | 94.7667 | 0
2020-02-11 09:15:00 | 0.90267 | 162.8187 | 1.046 | 178.92 | 1.2287 | 181.6333 | 1.918 | 185.7133 | 6.5427 | 886.9333 | 94.1067 | 0
2020-02-11 09:30:00 | 0.79 | 168.742 | 0.918 | 185.4333 | 1.0173 | 187.2333 | 1.4993 | 179.1667 | 6.6907 | 887 | 93.5333 | 0
2020-02-11 09:45:00 | 0.906 | 151.596 | 1.0487 | 166.58 | 0.93467 | 186.1667 | 1.7173 | 190.2933 | 6.8213 | 887 | 92.8067 | 0
2020-02-11 10:00:00 | 1.1333 | 149.496 | 1.3147 | 164.2733 | 1.2813 | 187.24 | 1.6493 | 203.3 | 7.0293 | 887 | 92.0533 | 0
2020-02-11 10:15:00 | 1.23 | 157.8653 | 1.4247 | 173.4733 | 1.5233 | 183.32 | 1.7367 | 192.0933 | 7.1553 | 888 | 91.3733 | 0
2020-02-11 10:30:00 | 1.2393 | 156.7587 | 1.4293 | 172.26 | 1.4893 | 182.3333 | 1.5327 | 216.1267 | 7.316 | 888 | 91.0133 | 0
2020-02-11 10:45:00 | 1.5913 | 156.1133 | 1.838 | 171.5467 | 1.8553 | 195.4 | 1.9367 | 193.8333 | 7.6 | 888 | 89.5933 | 0
2020-02-11 11:00:00 | 2.6073 | 154.0867 | 3 | 169.3267 | 2.7713 | 192.0733 | 2.632 | 187.66 | 7.5213 | 888 | 89.54 | 0
2020-02-11 11:15:00 | 2.74 | 151.7327 | 3.1533 | 166.7267 | 2.9807 | 182.5267 | 2.926 | 195.98 | 7.3907 | 888 | 89.8 | 0
2020-02-11 11:30:00 | 2.6347 | 144.2913 | 3.0367 | 158.56 | 2.7753 | 192.5 | 2.8147 | 195.0667 | 7.7227 | 888 | 88.7733 | 0
2020-02-11 11:45:00 | 3.1267 | 150.9867 | 3.6067 | 165.9133 | 3.3887 | 180.86 | 3.146 | 179.2267 | 8.088 | 888.2667 | 87.3733 | 0
2020-02-11 12:00:00 | 3.1387 | 170.5093 | 3.6067 | 187.3667 | 3.47 | 187.9867 | 3.514 | 195.9067 | 7.732 | 889 | 88.56 | 0.672
2020-02-11 12:15:00 | 2.8353 | 158.802 | 3.266 | 174.5067 | 3.258 | 182.06 | 3.4027 | 191.9667 | 7.64 | 888.7333 | 89.44 | 1.9887
2020-02-11 12:30:00 | 2.73 | 161.8093 | 3.144 | 177.8133 | 3.1193 | 194.48 | 3.2767 | 203.4 | 7.6047 | 888 | 90.1467 | 2.164
2020-02-11 12:45:00 | 2.7253 | 167.732 | 3.1353 | 184.32 | 3.3067 | 219.5667 | 3.088 | 222.5733 | 7.7893 | 888 | 89.92 | 2.356
2020-02-11 13:00:00 | 2.596 | 166.644 | 2.9853 | 183.1267 | 3.1513 | 202.9533 | 3.062 | 221.1267 | 7.754 | 888 | 89.7933 | 2.3993
2020-02-11 13:15:00 | 2.8147 | 172.034 | 3.236 | 189.04 | 3.376 | 206.74 | 3.2913 | 220.0533 | 7.5747 | 888 | 89.8933 | 2.3307
2020-02-11 13:30:00 | 2.268 | 162.996 | 2.612 | 179.1133 | 2.6553 | 212.36 | 2.8193 | 237.3533 | 7.814 | 888 | 88.2667 | 1.6747
2020-02-11 13:45:00 | 2.4847 | 170.9127 | 2.8567 | 187.8133 | 2.9493 | 213.9933 | 3.0513 | 228.5933 | 8.124 | 887.7333 | 85.7133 | 1.742
2020-02-11 14:00:00 | 2.35 | 140.444 | 2.706 | 154.3267 | 2.7273 | 187.34 | 2.394 | 185.1133 | 8.3753 | 887 | 85.5 | 2.0447
2020-02-11 14:15:00 | 2.4787 | 149.9827 | 2.8553 | 164.8133 | 2.8273 | 167.6067 | 2.726 | 186.8333 | 8.3967 | 887 | 85.04 | 1.368
2020-02-11 14:30:00 | 2.3553 | 143.7587 | 2.7087 | 157.9733 | 2.634 | 150.74 | 2.532 | 169.4867 | 8.7033 | 887 | 82.3733 | 1.548
2020-02-11 14:45:00 | 2.55 | 149.216 | 2.9333 | 163.9733 | 2.824 | 167.88 | 2.6093 | 189.18 | 8.994 | 887 | 80.3567 | 1.6487
2020-02-11 15:00:00 | 2.328 | 136.064 | 2.676 | 149.5133 | 2.9353 | 164.8733 | 3.1573 | 181.36 | 9.2473 | 887 | 79.1947 | 1.7393
2020-02-11 15:15:00 | 2.6253 | 150.0587 | 3.0193 | 164.8933 | 3.0187 | 179.8133 | 2.78 | 188.48 | 9.2753 | 887 | 78.428 | 1.752
2020-02-11 15:30:00 | 3.158 | 152.8793 | 3.6347 | 167.9867 | 3.8187 | 162.3 | 3.848 | 164.4333 | 9.508 | 887 | 77.2013 | 1.69
2020-02-11 15:45:00 | 3.1913 | 158.0107 | 3.676 | 173.6333 | 3.892 | 157.4067 | 3.8647 | 181.14 | 9.536 | 887 | 77.07 | 2.766
2020-02-11 16:00:00 | 2.9813 | 135.6087 | 3.4313 | 149.0133 | 3.5507 | 163.8133 | 3.558 | 181.5533 | 9.4427 | 887 | 77.3973 | 1.834
2020-02-11 16:15:00 | 2.8713 | 147.6153 | 3.3087 | 162.2133 | 3.3993 | 168.1467 | 3.5807 | 171.68 | 9.6127 | 887 | 77.006 | 2.0013
2020-02-11 16:30:00 | 3.172 | 151.494 | 3.652 | 166.4733 | 3.6887 | 178.8133 | 3.7707 | 182.7067 | 9.406 | 887 | 77.6033 | 2.228
2020-02-11 16:45:00 | 3.2847 | 164.2713 | 3.7787 | 180.5133 | 3.6067 | 192.1133 | 4.0827 | 196.2933 | 9.3433 | 887 | 77.726 | 1.9947
2020-02-11 17:00:00 | 3.3327 | 148.8827 | 3.8353 | 163.6 | 3.914 | 177.42 | 3.954 | 200.6667 | 9.234 | 887 | 78.1767 | 3.814
2020-02-11 17:15:00 | 2.7733 | 140.1153 | 3.1953 | 153.9667 | 3.3107 | 200.98 | 3.5473 | 198.2667 | 9.2507 | 887 | 78.524 | 4.3207
2020-02-11 17:30:00 | 2.4413 | 159.184 | 2.8093 | 174.92 | 3.0653 | 197.1267 | 3.0447 | 220.74 | 9.2533 | 887 | 78.6467 | 2.9773
2020-02-11 17:45:00 | 2.5047 | 172.7247 | 2.882 | 189.8 | 3.1333 | 209.6667 | 3.338 | 231.64 | 9.1267 | 887 | 79.0273 | 2.622
2020-02-11 18:00:00 | 1.9733 | 162.1653 | 2.2767 | 178.2 | 2.3853 | 204.7733 | 2.7667 | 221.3267 | 8.952 | 887 | 79.7327 | 1.056
2020-02-11 18:15:00 | 2.1607 | 177.4927 | 2.4853 | 195.04 | 2.8507 | 220.0133 | 2.7593 | 223.36 | 8.8627 | 887 | 80.4667 | 1.2893
2020-02-11 18:30:00 | 2.3587 | 182.884 | 2.7173 | 200.9667 | 3.018 | 216.2133 | 3.3087 | 217.8533 | 8.7633 | 887 | 79.83 | 1.5133
2020-02-11 18:45:00 | 2.4167 | 176.802 | 2.7833 | 194.28 | 3.0913 | 219.64 | 3.2447 | 215.02 | 8.6847 | 887 | 80.1133 | 1.6533
2020-02-11 19:00:00 | 2.034 | 173.968 | 2.342 | 191.1667 | 2.9087 | 222.7533 | 3.018 | 221.8667 | 8.5727 | 887 | 81.2667 | 1.6507
2020-02-11 19:15:00 | 2.83 | 178.3387 | 3.262 | 195.9733 | 3.8167 | 220.0867 | 3.8633 | 225.9267 | 8.4473 | 887 | 82.7867 | 2.8667
2020-02-11 19:30:00 | 2.4007 | 174.612 | 2.7673 | 191.88 | 3.3353 | 232.7467 | 3.8047 | 238.56 | 8.364 | 887 | 82.9667 | 3.2553
2020-02-11 19:45:00 | 1.9707 | 180.858 | 2.2687 | 198.74 | 2.9027 | 236.9467 | 3.4193 | 240.44 | 8.358 | 887 | 83.2 | 2.956
2020-02-11 20:00:00 | 2.0673 | 168.2353 | 2.38 | 184.8733 | 2.8507 | 224.9 | 3.3707 | 222.1933 | 8.3287 | 887 | 83.1933 | 2.5753
2020-02-11 20:15:00 | 2.3607 | 172.5653 | 2.7193 | 189.6333 | 3.2573 | 212.54 | 3.3747 | 208.9667 | 8.1373 | 887 | 83.82 | 5.3213
2020-02-11 20:30:00 | 2.672 | 171.0053 | 3.0747 | 187.9133 | 3.7427 | 219.8867 | 4.0453 | 223.6 | 7.914 | 887 | 84.9667 | 6.12
2020-02-11 20:45:00 | 2.6 | 175.1713 | 2.992 | 192.4867 | 3.5913 | 216.0333 | 3.968 | 221.2333 | 7.8407 | 887 | 85.7267 | 5.5433
2020-02-11 21:00:00 | 2.2607 | 174.2487 | 2.602 | 191.4733 | 3.2053 | 214.4333 | 3.6113 | 220.3867 | 7.79 | 887 | 86.6933 | 4.37
2020-02-11 21:15:00 | 2.0813 | 170.562 | 2.404 | 187.4267 | 2.8893 | 207.9267 | 3.1247 | 219.7133 | 7.8047 | 887 | 87 | 2.9393
2020-02-11 21:30:00 | 1.988 | 177.7413 | 2.2913 | 195.3133 | 2.7407 | 209.08 | 3.1487 | 213.8533 | 7.806 | 887 | 87.06 | 3.0807
2020-02-11 21:45:00 | 1.9293 | 158.2207 | 2.23 | 173.86 | 2.5167 | 193.3667 | 3.106 | 201.08 | 7.822 | 887 | 87.1867 | 2.5767
2020-02-11 22:00:00 | 2.1113 | 156.1873 | 2.4333 | 171.6333 | 2.656 | 175.64 | 3.024 | 193.3 | 7.6767 | 887 | 88.4933 | 1.624
2020-02-11 22:15:00 | 1.662 | 148.9987 | 1.916 | 163.7267 | 2.348 | 171.1533 | 2.8127 | 185.06 | 7.6327 | 887 | 88.8733 | 1.2013
2020-02-11 22:30:00 | 2.03 | 156.564 | 2.361 | 172.5889 | 2.7644 | 165.6667 | 3.2778 | 179.2375 | 7.625 | 887 | 88.8556 | 1.0744
2020-02-11 22:45:00 | 2.0589 | 136.6733 | 2.3678 | 150.1778 | 2.7522 | 171.0889 | 3.3933 | 168.8222 | 7.6289 | 887 | 88.0778 | 1.316
2020-02-11 23:00:00 | 2.1007 | 167.9333 | 2.416 | 184.54 | 2.7867 | 170.1067 | 3.332 | 170.38 | 7.8347 | 887 | 86.12 | 2.0687
2020-02-11 23:15:00 | 2.124 | 166.782 | 2.4427 | 183.2733 | 2.734 | 173.1467 | 3.2227 | 175.0933 | 7.952 | 887 | 83.3933 | 1.546
2020-02-11 23:30:00 | 2.0273 | 161.3053 | 2.3353 | 177.2533 | 2.6373 | 178.5733 | 3.248 | 178.3733 | 8.1027 | 887 | 80.9867 | 2.074
2020-02-11 23:45:00 | 2.0267 | 166.376 | 2.334 | 182.82 | 2.636 | 185.94 | 3.2053 | 180.6467 | 8.0227 | 887 | 81.5867 | 2.16