## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-12 00:00:00 | 2.0443 | 165.4471 | 2.3543 | 181.8071 | 2.6029 | 188.6571 | 3.075 | 197.6786 | 8.1286 | 887 | 80.24 | 1.5164
2020-02-12 00:15:00 | 2.0993 | 181.2467 | 2.4147 | 199.1733 | 2.9667 | 209.6733 | 2.982 | 195.7 | 7.9627 | 887 | 82.4267 | 2.1907
2020-02-12 00:30:00 | 2.1893 | 194.5773 | 2.5207 | 213.82 | 3.1813 | 227.2 | 3.23 | 191.7733 | 7.4333 | 887.6 | 85.9933 | 4.4147
2020-02-12 00:45:00 | 2.078 | 165.34 | 2.3947 | 181.6867 | 2.6947 | 214.0933 | 3.0287 | 195.24 | 7.1613 | 888 | 85.7933 | 6.8073
2020-02-12 01:00:00 | 2.7647 | 153.5333 | 3.1787 | 168.7133 | 3.3227 | 187.2733 | 4.0287 | 191.6533 | 7.0613 | 888 | 85.34 | 6.374
2020-02-12 01:15:00 | 2.344 | 140.8267 | 2.698 | 154.7533 | 2.9227 | 182.8133 | 3.5493 | 191.8133 | 6.962 | 887.0667 | 86.0467 | 3.8613
2020-02-12 01:30:00 | 2.0833 | 159.3453 | 2.3967 | 175.1 | 2.5393 | 180.3933 | 3.3353 | 188.4133 | 6.8687 | 887 | 87.0533 | 2.49
2020-02-12 01:45:00 | 2.776 | 156.3973 | 3.2053 | 171.8667 | 3.5927 | 178.4067 | 4.3367 | 183.7733 | 6.95 | 887 | 85.5067 | 2.3587
2020-02-12 02:00:00 | 3.2107 | 145.4547 | 3.692 | 159.84 | 3.9533 | 189.04 | 4.4893 | 186.5733 | 7.062 | 887 | 84.2933 | 3.022
2020-02-12 02:15:00 | 2.83 | 154.8487 | 3.2593 | 170.16 | 3.404 | 175.9733 | 4.0713 | 178.0267 | 7.2087 | 887 | 82.4667 | 3.0673
2020-02-12 02:30:00 | 1.848 | 167.383 | 2.128 | 183.94 | 2.286 | 174.14 | 2.912 | 177.76 | 7.183 | 887 | 82.84 | 2.499
2020-02-12 02:45:00 | 2.506 | 158.304 | 2.8813 | 173.96 | 3.122 | 177.4533 | 3.476 | 184.0733 | 7.214 | 887 | 82.62 | 3.1593
2020-02-12 03:00:00 | 2.7607 | 153.7573 | 3.1813 | 168.96 | 3.3093 | 168.9933 | 3.4547 | 174.9467 | 7.244 | 887 | 82.48 | 3.6613
2020-02-12 03:15:00 | 2.2807 | 159.972 | 2.6287 | 175.7867 | 2.8493 | 174.2333 | 3.234 | 174.48 | 7.4193 | 887 | 81.4733 | 4.0773
2020-02-12 03:30:00 | 2.2787 | 168.1013 | 2.6213 | 184.7267 | 2.8127 | 172.1267 | 3.4233 | 178.1333 | 7.5613 | 887 | 80.3333 | 3.6653
2020-02-12 03:45:00 | 2.3793 | 156.524 | 2.74 | 172.0067 | 2.892 | 196.34 | 3.4993 | 183.0467 | 7.5653 | 887 | 80.3133 | 3.672
2020-02-12 04:00:00 | 2.015 | 154.7271 | 2.3214 | 170.0214 | 2.5757 | 195.5429 | 3.425 | 195.9143 | 7.4779 | 887 | 80.7143 | 4.7393
2020-02-12 04:15:00 | 1.8987 | 162.008 | 2.184 | 178.0267 | 2.3453 | 182.6133 | 3.25 | 178.6 | 7.4513 | 886.7333 | 80.9133 | 4.7973
2020-02-12 04:30:00 | 1.9027 | 141.9253 | 2.194 | 155.96 | 2.4787 | 174.3133 | 3.1373 | 166.9267 | 7.376 | 886 | 81.3533 | 4.0073
2020-02-12 04:45:00 | 1.4593 | 176.1553 | 1.6807 | 193.5733 | 2.006 | 177.8267 | 2.728 | 165.8733 | 7.4067 | 886 | 81.3533 | 2.3593
2020-02-12 05:00:00 | 1.7653 | 182.4067 | 2.0313 | 200.44 | 2.268 | 210.1467 | 2.368 | 186.9333 | 7.4427 | 886 | 81.0867 | 2.3833
2020-02-12 05:15:00 | 2.08 | 183.8407 | 2.3913 | 202.02 | 2.7313 | 202.0467 | 3.3533 | 189.4067 | 7.422 | 886 | 80.9667 | 2.6927
2020-02-12 05:30:00 | 1.6113 | 166.258 | 1.8613 | 182.6933 | 2.5073 | 187.3 | 3.1833 | 192.0333 | 7.44 | 886 | 80.72 | 1.6713
2020-02-12 05:45:00 | 1.8967 | 162.038 | 2.1847 | 178.06 | 2.618 | 191.2067 | 2.7767 | 197.1 | 7.444 | 886 | 80.5 | 1.7207
2020-02-12 06:00:00 | 2.456 | 155.8247 | 2.8267 | 171.2267 | 3.212 | 196.2933 | 2.998 | 204.84 | 7.466 | 886 | 80.5267 | 1.7573
2020-02-12 06:15:00 | 2.0967 | 155.1213 | 2.4127 | 170.4533 | 2.7207 | 194.2133 | 2.9307 | 184.1067 | 7.3953 | 886 | 80.94 | 1.214
2020-02-12 06:30:00 | 1.916 | 171.692 | 2.206 | 188.6667 | 2.3633 | 193.6867 | 2.7047 | 209.58 | 7.224 | 885.4 | 81.7533 | 1.6527
2020-02-12 06:45:00 | 1.9933 | 170.686 | 2.2953 | 187.5667 | 2.5727 | 192.6867 | 2.83 | 209.8733 | 7.0327 | 885 | 82.98 | 1.4413
2020-02-12 07:00:00 | 2.092 | 174.3807 | 2.4127 | 191.6267 | 2.8427 | 193.2467 | 2.8813 | 196.88 | 6.912 | 885.6 | 83.7867 | 1.4453
2020-02-12 07:15:00 | 2.0193 | 177.6393 | 2.3273 | 195.2067 | 2.6973 | 189.4067 | 2.7327 | 202.68 | 6.8847 | 885.3333 | 84.0333 | 1.5813
2020-02-12 07:30:00 | 1.9787 | 173.9127 | 2.2793 | 191.1133 | 2.6313 | 197.0267 | 2.65 | 210.38 | 6.7993 | 886 | 84.74 | 1.6453
2020-02-12 07:45:00 | 1.8433 | 179.594 | 2.1187 | 197.3533 | 2.448 | 203 | 2.752 | 210.84 | 6.7333 | 886 | 85.2267 | 2.1007
2020-02-12 08:00:00 | 2.1193 | 177.108 | 2.444 | 194.62 | 2.854 | 204.5133 | 3.1933 | 204.9133 | 6.6207 | 886 | 85.9 | 2.7293
2020-02-12 08:15:00 | 2.5647 | 167.0413 | 2.9527 | 183.56 | 3.168 | 195.7467 | 3.0593 | 206.24 | 6.376 | 886 | 87.1667 | 3.222
2020-02-12 08:30:00 | 2.5607 | 170.9673 | 2.9493 | 187.8667 | 3.2647 | 197.2867 | 3.7213 | 211.2267 | 6.256 | 886 | 88.1667 | 3.9053
2020-02-12 08:45:00 | 2.984 | 153.42 | 3.4333 | 168.5867 | 3.596 | 188.9333 | 3.7287 | 212.6267 | 6.4007 | 886 | 87.1333 | 3.3747
2020-02-12 09:00:00 | 3.0647 | 160.2693 | 3.5247 | 176.1133 | 3.812 | 191.1733 | 3.7587 | 203.06 | 6.3093 | 886 | 87.0333 | 3.8327
2020-02-12 09:15:00 | 3.2647 | 159.2413 | 3.754 | 174.98 | 3.8193 | 188.64 | 3.9413 | 200.2867 | 6.282 | 886 | 86.8733 | 4.3447
2020-02-12 09:30:00 | 3.0653 | 158.8507 | 3.528 | 174.5533 | 3.7933 | 193.76 | 4.0927 | 198.4667 | 6.3553 | 886 | 86.66 | 4.724
2020-02-12 09:45:00 | 3.2627 | 161.316 | 3.7533 | 177.2667 | 3.9273 | 193.16 | 4.1647 | 197.18 | 6.4533 | 886 | 86.26 | 4.3167
2020-02-12 10:00:00 | 2.9653 | 169.3487 | 3.4107 | 186.0933 | 3.4273 | 194.58 | 3.922 | 197.9667 | 6.5073 | 886.6 | 85.8333 | 3.5193
2020-02-12 10:15:00 | 2.4507 | 169.12 | 2.8273 | 185.84 | 2.9047 | 206.2867 | 3.2613 | 201.06 | 6.5853 | 887 | 85.6867 | 2.6427
2020-02-12 10:30:00 | 2.3927 | 171.5667 | 2.7527 | 188.5333 | 2.956 | 197.7733 | 3.3533 | 214.9467 | 6.616 | 887 | 86.0667 | 2.8093
2020-02-12 10:45:00 | 2.4993 | 152.2067 | 2.8767 | 167.2533 | 2.9687 | 206 | 3.3187 | 216.5667 | 6.7267 | 887 | 85.8 | 3.162
2020-02-12 11:00:00 | 1.9613 | 141.8087 | 2.258 | 155.8267 | 2.5013 | 208.8867 | 3.376 | 217.28 | 6.874 | 887 | 86.12 | 2.8533
2020-02-12 11:15:00 | 1.8293 | 156.384 | 2.1053 | 171.8467 | 2.426 | 212.9867 | 3.1813 | 209.9133 | 7.1867 | 887 | 84.5067 | 2.4807
2020-02-12 11:30:00 | 1.9853 | 151.5573 | 2.2867 | 166.5467 | 2.3467 | 206.1133 | 3.01 | 209.16 | 7.408 | 887 | 83.6067 | 1.908
2020-02-12 11:45:00 | 1.8193 | 160.3067 | 2.0947 | 176.16 | 2.3127 | 202.0733 | 2.8207 | 223.9933 | 7.5627 | 887 | 82.94 | 1.8147
2020-02-12 12:00:00 | 1.7153 | 151.8087 | 1.9773 | 166.82 | 2.102 | 211.5333 | 2.3533 | 223.7067 | 7.7113 | 887 | 82.2533 | 1.5047
2020-02-12 12:15:00 | 2.2093 | 160.8633 | 2.5433 | 176.7667 | 2.7273 | 213.6467 | 3.0793 | 221.1067 | 7.6347 | 887 | 82.4867 | 1.5187
2020-02-12 12:30:00 | 1.778 | 161.9207 | 2.0513 | 177.9333 | 2.428 | 220.5533 | 2.8647 | 225.1533 | 7.8207 | 887 | 82.0933 | 1.2867
2020-02-12 12:45:00 | 1.9567 | 164.4107 | 2.2573 | 180.6667 | 2.1473 | 210.6933 | 2.524 | 218.4267 | 7.986 | 887 | 81.5067 | 1.4673
2020-02-12 13:00:00 | 1.5773 | 148.5273 | 1.8207 | 163.2067 | 1.9913 | 216.16 | 2.5553 | 228.0867 | 8.0067 | 887 | 81.8267 | 0.94
2020-02-12 13:15:00 | 1.8547 | 162.6313 | 2.1393 | 178.7067 | 2.4973 | 237.3467 | 2.7413 | 238.0533 | 8.1187 | 886.0667 | 80.456 | 0.996
2020-02-12 13:30:00 | 2.1453 | 162.5067 | 2.4667 | 178.5733 | 2.6313 | 222.4 | 2.866 | 229.46 | 8.18 | 886 | 80.04 | 0.772
2020-02-12 13:45:00 | 2.1 | 174.864 | 2.418 | 192.16 | 2.5373 | 212.98 | 2.728 | 223.0267 | 8.2887 | 886 | 79.6007 | 0.64933
2020-02-12 14:00:00 | 2.3293 | 167.5533 | 2.6833 | 184.12 | 2.79 | 228.38 | 2.8827 | 228.6333 | 8.2333 | 886 | 79.7467 | 0.60933
2020-02-12 14:15:00 | 2.144 | 175.4133 | 2.4693 | 192.7533 | 2.646 | 224.5333 | 2.6793 | 214.8733 | 8.2113 | 885.7333 | 79.9893 | 0.91133
2020-02-12 14:30:00 | 2.0593 | 198.4127 | 2.3667 | 218.0267 | 2.6867 | 220.3733 | 2.7853 | 225.92 | 8.4213 | 885 | 79.696 | 1.0053
2020-02-12 14:45:00 | 2.1053 | 180.7 | 2.4233 | 198.5667 | 2.692 | 221.3067 | 2.8153 | 213.4867 | 8.3407 | 885 | 80.6733 | 1.16
2020-02-12 15:00:00 | 1.8293 | 166.932 | 2.114 | 183.44 | 2.21 | 226.9867 | 2.1867 | 213.1333 | 8.1253 | 885 | 81.98 | 0.71933
2020-02-12 15:15:00 | 1.8493 | 169.9633 | 2.1293 | 186.7667 | 2.2993 | 227.8667 | 2.3027 | 233.0867 | 7.942 | 885 | 83.7933 | 0.632
2020-02-12 15:30:00 | 1.8647 | 175.2487 | 2.1487 | 192.5733 | 2.3707 | 212.9667 | 2.478 | 220.78 | 7.8593 | 885 | 84.8933 | 0.91733
2020-02-12 15:45:00 | 1.7147 | 163.3173 | 1.974 | 179.4667 | 2.0007 | 195.6333 | 2.3033 | 202.0667 | 7.832 | 884.0667 | 85.62 | 0.76867
2020-02-12 16:00:00 | 1.1373 | 144.774 | 1.3147 | 159.0867 | 1.402 | 201.72 | 1.6347 | 218.5667 | 7.7867 | 884 | 86.2533 | 0.816
2020-02-12 16:15:00 | 1.166 | 150.504 | 1.3433 | 165.38 | 1.402 | 210.5267 | 1.7673 | 209.74 | 7.8833 | 884 | 86.6 | 0.79067
2020-02-12 16:30:00 | 1.7213 | 175.1267 | 1.9867 | 192.44 | 2.084 | 205.7533 | 2.2913 | 193.24 | 7.914 | 884 | 86.7733 | 0.63933
2020-02-12 16:45:00 | 1.632 | 174.9727 | 1.88 | 192.28 | 2.204 | 191.2733 | 2.472 | 182.7733 | 7.9667 | 884 | 86.6133 | 0.76667
2020-02-12 17:00:00 | 1.1073 | 173.53 | 1.2753 | 190.68 | 1.524 | 181.18 | 1.802 | 184.4533 | 8.096 | 884 | 85.0533 | 1.0127
2020-02-12 17:15:00 | 0.806 | 173.22 | 0.93333 | 190.3467 | 1.4093 | 169.6067 | 1.7867 | 175.5333 | 8.1493 | 884 | 84.98 | 0.568
2020-02-12 17:30:00 | 0.976 | 173.212 | 1.1293 | 190.34 | 1.6413 | 160.76 | 1.9787 | 173.84 | 8.2087 | 884 | 84.5067 | 0.228
2020-02-12 17:45:00 | 0.452 | 173.0867 | 0.52667 | 190.2067 | 0.90333 | 175.4533 | 1.6287 | 199.58 | 8.312 | 884 | 84.04 | 0
2020-02-12 18:00:00 | 0.322 | 173.08 | 0.37467 | 190.2 | 0.63867 | 193.06 | 1.306 | 209.44 | 8.384 | 884 | 84.0933 | 0
2020-02-12 18:15:00 | 0.022667 | 173.08 | 0.028 | 190.2 | 0.042667 | 193.0067 | 0.96933 | 209.4667 | 8.3807 | 884 | 84.2533 | 0.054
2020-02-12 18:30:00 | 0.338 | 173.08 | 0.40133 | 190.2 | 0.66267 | 187.98 | 1.158 | 208.6867 | 8.454 | 884 | 83.92 | 0.02
2020-02-12 18:45:00 | 0.528 | 173.08 | 0.61133 | 190.2 | 1.0387 | 160.9267 | 1.1173 | 199.5267 | 8.4473 | 884 | 84.2533 | 0.033333
2020-02-12 19:00:00 | 0.50067 | 173.08 | 0.57867 | 190.2 | 0.99 | 161 | 0.89133 | 199.6 | 8.4033 | 884 | 84.5867 | 0
2020-02-12 19:15:00 | 0.152 | 173.08 | 0.174 | 190.2 | 0.302 | 161.0933 | 0.312 | 199.6 | 8.366 | 884 | 85.28 | 0
2020-02-12 19:30:00 | 0 | 173.08 | 0 | 190.2 | 0 | 161.04 | 0 | 199.6 | 8.27 | 884 | 85.8933 | 0
2020-02-12 19:45:00 | 0.10933 | 168.3013 | 0.12533 | 184.9467 | 0.15333 | 160.8933 | 0.14133 | 199.52 | 8.2807 | 884 | 86.1067 | 0
2020-02-12 20:00:00 | 0.536 | 137.24 | 0.61733 | 150.8 | 0.96733 | 160.2 | 1.126 | 167 | 8.3007 | 884 | 86.1467 | 0
2020-02-12 20:15:00 | 0.14133 | 137.24 | 0.164 | 150.8 | 0.276 | 160.3867 | 0.90867 | 159 | 8.0153 | 884 | 88.1267 | 0
2020-02-12 20:30:00 | 0 | 137.24 | 0 | 150.8 | 0 | 160.4 | 0.40933 | 159 | 7.722 | 884 | 89.3867 | 0
2020-02-12 20:45:00 | 0.005333 | 137.24 | 0.006667 | 150.8 | 0 | 160.4 | 0.26467 | 159 | 7.9107 | 884 | 88.74 | 0
2020-02-12 21:00:00 | 0.008 | 259.032 | 0.01 | 284.64 | 0 | 160.4 | 0.003333 | 159 | 7.4647 | 884 | 90.4933 | 0
2020-02-12 21:15:00 | 0 | 289.48 | 0 | 318.1 | 0 | 160.4 | 0.10933 | 159 | 7.3013 | 884 | 91.9933 | 0
2020-02-12 21:30:00 | 0 | 289.42 | 0 | 318.04 | 0 | 160.4 | 0.15533 | 159 | 7.638 | 884 | 90.5067 | 0
2020-02-12 21:45:00 | 0 | 289.38 | 0 | 318 | 0 | 160.4 | 0.082 | 159 | 7.3253 | 884 | 91.06 | 0
2020-02-12 22:00:00 | 0 | 289.44 | 0 | 318.06 | 0 | 160.4 | 0 | 159 | 7.0833 | 884 | 92.46 | 0
2020-02-12 22:15:00 | 0 | 289.48 | 0 | 318.1 | 0 | 160.4 | 0.34533 | 163.0133 | 7.0233 | 884 | 92.7667 | 0.136
2020-02-12 22:30:00 | 0.05 | 289.4262 | 0.058333 | 318.0462 | 0.095833 | 160.4 | 0.94769 | 218.9538 | 6.775 | 884 | 93.9833 | 0.35308
2020-02-12 22:45:00 | 0.006667 | 289.38 | 0.006667 | 318 | 0.01 | 212.75 | 1.1933 | 237.2833 | 6.685 | 884 | 94.3833 | 0.28
2020-02-12 23:00:00 | 0.15333 | 289.38 | 0.18067 | 318 | 0.298 | 250.44 | 1.5793 | 237.0133 | 6.912 | 884 | 94.2333 | 0.27733
2020-02-12 23:15:00 | 0.216 | 289.38 | 0.24733 | 318 | 0.42533 | 213.8 | 1.65 | 232.38 | 7.0807 | 884 | 92.88 | 0.13333
2020-02-12 23:30:00 | 0.528 | 289.38 | 0.61533 | 318 | 1.054 | 206.7533 | 1.8813 | 234.3933 | 7.114 | 884 | 92.4933 | 0.25733
2020-02-12 23:45:00 | 0.51267 | 289.4067 | 0.598 | 318.0267 | 1.0127 | 219.2333 | 2.3513 | 237.6533 | 7.01 | 884 | 93.1133 | 0.19267