## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-13 00:00:00 | 0.55429 | 289.4229 | 0.64214 | 318.0429 | 1.1043 | 242.8 | 2.2236 | 251.05 | 7.1229 | 884 | 93.19 | 0.15214
2020-02-13 00:15:00 | 0.668 | 289.4467 | 0.76533 | 318.0667 | 1.318 | 238.88 | 2.418 | 250.2933 | 7.1713 | 884 | 92.98 | 0.332
2020-02-13 00:30:00 | 0.78067 | 289.44 | 0.90867 | 318.06 | 1.5547 | 236.7867 | 2.772 | 245.2 | 7.2353 | 884 | 92.46 | 0.378
2020-02-13 00:45:00 | 0.91933 | 289.3867 | 1.0667 | 318.0067 | 1.8307 | 231.7467 | 2.9727 | 245.6333 | 7.1733 | 884 | 92.1867 | 0.55533
2020-02-13 01:00:00 | 1.088 | 289.44 | 1.2553 | 318.06 | 2.1673 | 237.4 | 2.6613 | 245.7 | 6.9893 | 884 | 92.84 | 0.50067
2020-02-13 01:15:00 | 0.86333 | 289.384 | 0.99467 | 317.9933 | 1.6227 | 236.88 | 2.2967 | 236.38 | 6.918 | 884 | 93.4067 | 0.40467
2020-02-13 01:30:00 | 0.86467 | 205.286 | 1.0007 | 225.58 | 1.568 | 192.7333 | 1.9813 | 225.42 | 7.1 | 884 | 92.5533 | 0.336
2020-02-13 01:45:00 | 1.234 | 159.0187 | 1.4233 | 174.7467 | 1.822 | 170.9467 | 1.462 | 200.5 | 7.0593 | 884 | 92.4467 | 0.098667
2020-02-13 02:00:00 | 0.884 | 148.51 | 1.0207 | 163.2 | 1.69 | 167.14 | 1.4833 | 182.2067 | 7.096 | 884 | 92.3733 | 0.14133
2020-02-13 02:15:00 | 1.056 | 148.4567 | 1.226 | 163.1333 | 1.9933 | 163.98 | 1.7353 | 165.1 | 7.1027 | 884 | 92.2 | 0.13267
2020-02-13 02:30:00 | 0.85667 | 148.51 | 0.98733 | 163.2 | 1.6273 | 164.02 | 1.5253 | 158.3 | 7.2293 | 884 | 91.9533 | 0.077143
2020-02-13 02:45:00 | 0.722 | 148.4353 | 0.832 | 163.1067 | 1.432 | 166.5667 | 1.606 | 165.8467 | 7.3593 | 883.0667 | 91.6467 | 0.23867
2020-02-13 03:00:00 | 0.836 | 148.478 | 0.96867 | 163.16 | 1.632 | 167.24 | 1.998 | 167.7067 | 7.284 | 883 | 91.68 | 0.54
2020-02-13 03:15:00 | 0.83667 | 149.3233 | 0.966 | 164.0867 | 1.5067 | 170.8933 | 2.158 | 167.1467 | 7.1347 | 883 | 92.0267 | 0.53733
2020-02-13 03:30:00 | 0.81867 | 151.23 | 0.94933 | 166.18 | 1.604 | 158.8333 | 2.0407 | 161.0467 | 7.1573 | 883 | 92.1333 | 0.048
2020-02-13 03:45:00 | 0.836 | 158.6433 | 0.96533 | 174.3267 | 1.444 | 174.56 | 1.862 | 167.44 | 7.354 | 883 | 91.5867 | 0
2020-02-13 04:00:00 | 0.518 | 215.7613 | 0.598 | 237.0933 | 0.90067 | 194.82 | 1.4187 | 188.28 | 7.3927 | 883 | 91.48 | 0
2020-02-13 04:15:00 | 0.55533 | 215.628 | 0.64133 | 236.9467 | 1.098 | 218.54 | 1.5447 | 193.9867 | 7.1447 | 882.7333 | 92.4 | 0
2020-02-13 04:30:00 | 0.606 | 214.2547 | 0.69933 | 235.4333 | 1.164 | 236.3933 | 0.69133 | 216.48 | 6.662 | 882 | 94.2533 | 0.14733
2020-02-13 04:45:00 | 1.164 | 272.7073 | 1.3447 | 299.6733 | 2.128 | 247.98 | 1.5793 | 254.3 | 6.7367 | 882 | 94.6733 | 0.32067
2020-02-13 05:00:00 | 0.916 | 281.3607 | 1.054 | 309.1867 | 1.3133 | 243.3933 | 1.5727 | 212.8067 | 7.1447 | 882 | 91.4533 | 0.258
2020-02-13 05:15:00 | 0.93933 | 192.2353 | 1.0793 | 211.24 | 1.634 | 209.54 | 1.9487 | 184.56 | 7.816 | 882 | 85.1667 | 0.184
2020-02-13 05:30:00 | 1.0533 | 208.828 | 1.2187 | 229.4667 | 1.966 | 241.3533 | 1.7927 | 227.5067 | 7.8313 | 882 | 85.38 | 0
2020-02-13 05:45:00 | 1.152 | 239.518 | 1.3227 | 263.2 | 2.0087 | 241.7667 | 2.2087 | 227.4067 | 7.7367 | 882 | 85.8733 | 0.007333
2020-02-13 06:00:00 | 0.88533 | 201.2107 | 1.0273 | 221.1 | 1.76 | 232.76 | 2.7513 | 230.6867 | 7.4087 | 882 | 89.4 | 0.034
2020-02-13 06:15:00 | 0.63733 | 148.404 | 0.73933 | 163.08 | 1.0327 | 208.2333 | 2.7253 | 232.7867 | 7.0913 | 882 | 91.7133 | 0.28867
2020-02-13 06:30:00 | 0.75267 | 152.02 | 0.87 | 167.0467 | 1.0073 | 179.2 | 2.352 | 238.5067 | 6.8253 | 882 | 93.4333 | 0.27733
2020-02-13 06:45:00 | 0.46 | 154.98 | 0.53733 | 170.3 | 0.848 | 208.7 | 2.164 | 236.14 | 6.574 | 881.0667 | 94.68 | 0.017333
2020-02-13 07:00:00 | 0.26643 | 154.98 | 0.31 | 170.3 | 0.51643 | 220.8 | 1.6436 | 237.1857 | 6.5607 | 881 | 94.4857 | 0
2020-02-13 07:15:00 | 0.262 | 155.0547 | 0.30533 | 170.3933 | 0.51733 | 220.8 | 1.5287 | 242.32 | 6.7287 | 881 | 92.6533 | 0
2020-02-13 07:30:00 | 0.098 | 215.9493 | 0.114 | 237.3067 | 0.014667 | 220.8 | 1.4487 | 241.1267 | 6.9407 | 881 | 90.34 | 0
2020-02-13 07:45:00 | 0.126 | 285.608 | 0.14667 | 313.8533 | 0.034 | 220.8 | 1.0927 | 235.34 | 6.85 | 881 | 91.7133 | 0
2020-02-13 08:00:00 | 0.33467 | 277.1447 | 0.39 | 304.5533 | 0.63133 | 198.8 | 1.2893 | 224.72 | 6.7707 | 881 | 91.98 | 0
2020-02-13 08:15:00 | 0.35267 | 157.53 | 0.412 | 173.1 | 0.632 | 219.6 | 1.6273 | 234.3733 | 6.4133 | 881.9333 | 94.9733 | 0.004
2020-02-13 08:30:00 | 0.77667 | 157.53 | 0.89133 | 173.1 | 1.4873 | 213.32 | 1.9033 | 228.1667 | 6.3713 | 882 | 95.1267 | 0.18533
2020-02-13 08:45:00 | 0.862 | 159.7487 | 0.99467 | 175.54 | 1.5873 | 208.5667 | 2.0473 | 213.9533 | 6.4967 | 882 | 94.1 | 0.31
2020-02-13 09:00:00 | 1.186 | 173.6793 | 1.3693 | 190.8533 | 1.6487 | 205.0067 | 2.048 | 212.8 | 6.4893 | 882 | 94.24 | 0.67067
2020-02-13 09:15:00 | 1.3153 | 163.5953 | 1.518 | 179.7733 | 1.9953 | 206.0267 | 2.8093 | 214.9267 | 6.3547 | 882 | 95.6733 | 1.3493
2020-02-13 09:30:00 | 1.7607 | 175.5053 | 2.03 | 192.86 | 2.274 | 201.6733 | 2.9627 | 208.08 | 6.422 | 882 | 95.7333 | 1.8333
2020-02-13 09:45:00 | 2.2273 | 179.052 | 2.564 | 196.7533 | 2.9347 | 202 | 3.308 | 199.94 | 6.5133 | 882 | 94.0267 | 2.0807
2020-02-13 10:00:00 | 2.5953 | 149.0513 | 2.986 | 163.7867 | 3.328 | 197.9 | 3.1147 | 193.66 | 6.664 | 882 | 91.7 | 1.6647
2020-02-13 10:15:00 | 1.892 | 172.306 | 2.1767 | 189.34 | 2.616 | 195.6867 | 2.676 | 201.1067 | 6.7193 | 882 | 91.0467 | 0.952
2020-02-13 10:30:00 | 2.0813 | 163.5893 | 2.394 | 179.7667 | 2.558 | 183.3533 | 2.904 | 188.16 | 6.7607 | 882 | 90.4467 | 1.0187
2020-02-13 10:45:00 | 2.34 | 172.0073 | 2.696 | 189.0133 | 2.9533 | 184.9333 | 3.2 | 186.3733 | 6.9407 | 882 | 89.1467 | 1.2207
2020-02-13 11:00:00 | 2.8127 | 159.282 | 3.2413 | 175.0267 | 3.4807 | 182.68 | 4.116 | 187.52 | 7.3547 | 882 | 86.0067 | 2.1353
2020-02-13 11:15:00 | 2.8627 | 161.436 | 3.2933 | 177.3933 | 3.4247 | 192.7933 | 3.9413 | 189.5867 | 7.592 | 882.9333 | 83.9533 | 2.4627
2020-02-13 11:30:00 | 2.634 | 151.4213 | 3.0367 | 166.4 | 2.962 | 184.2267 | 3.0967 | 187.7667 | 7.6827 | 883 | 83.5 | 2.66
2020-02-13 11:45:00 | 2.2613 | 158.2827 | 2.6067 | 173.9333 | 2.414 | 186.3867 | 2.6227 | 203.0133 | 7.6133 | 883 | 83.7733 | 2.5793
2020-02-13 12:00:00 | 2.0387 | 154.4613 | 2.3493 | 169.74 | 2.208 | 200.3933 | 2.972 | 206.7467 | 7.5207 | 883 | 84.46 | 2.2953
2020-02-13 12:15:00 | 2.51 | 158.0167 | 2.888 | 173.64 | 2.8067 | 198.4333 | 3.9193 | 203.4333 | 7.5213 | 882.0667 | 85.0133 | 2.3313
2020-02-13 12:30:00 | 2.3273 | 153.28 | 2.6787 | 168.4333 | 2.7967 | 199.2933 | 4.1147 | 202.6133 | 7.7027 | 882 | 84.98 | 3.0633
2020-02-13 12:45:00 | 2.368 | 161.542 | 2.726 | 177.52 | 3.0193 | 202.7867 | 4.2467 | 197.96 | 7.8567 | 882 | 84.6533 | 2.2993
2020-02-13 13:00:00 | 1.9893 | 158.064 | 2.296 | 173.6933 | 2.5593 | 203.2 | 3.4913 | 200.5533 | 8.452 | 882 | 82.5267 | 2.0167
2020-02-13 13:15:00 | 2.0973 | 169.1533 | 2.4153 | 185.88 | 2.47 | 203.6067 | 2.8787 | 203.2933 | 8.8047 | 882 | 81.42 | 2.9707
2020-02-13 13:30:00 | 2.626 | 149.816 | 3.0247 | 164.6267 | 2.938 | 189.8333 | 3.0687 | 213.5 | 8.7833 | 882 | 81.4467 | 2.758
2020-02-13 13:45:00 | 2.4827 | 146.6813 | 2.8647 | 161.18 | 2.6747 | 193.62 | 2.8627 | 201.48 | 8.8487 | 881.0667 | 80.2667 | 2.6893
2020-02-13 14:00:00 | 2.8653 | 152.504 | 3.298 | 167.58 | 3.292 | 190.2667 | 3.382 | 195.4 | 8.8953 | 881 | 79.8067 | 3.026
2020-02-13 14:15:00 | 3.33 | 155.556 | 3.8347 | 170.94 | 3.7847 | 188.36 | 4.0107 | 195.16 | 9.096 | 881 | 79.398 | 3.584
2020-02-13 14:30:00 | 3.446 | 149.2327 | 3.9673 | 163.98 | 3.7873 | 187.5267 | 4.1933 | 185.2 | 9.332 | 881 | 79.084 | 3.844
2020-02-13 14:45:00 | 3.4453 | 152.8253 | 3.9627 | 167.9333 | 3.9367 | 185.9267 | 4.324 | 176.9667 | 9.5267 | 881 | 78.3213 | 3.2627
2020-02-13 15:00:00 | 3.3007 | 172.2213 | 3.7973 | 189.24 | 3.868 | 195.2933 | 4.084 | 192.6467 | 9.6367 | 881 | 76.9233 | 3.318
2020-02-13 15:15:00 | 3.104 | 163.3407 | 3.5727 | 179.4867 | 3.5747 | 190.9267 | 3.9987 | 187.88 | 9.7393 | 881 | 75.8567 | 3.1787
2020-02-13 15:30:00 | 3.0193 | 161.9387 | 3.4753 | 177.9467 | 3.4993 | 198.2333 | 3.846 | 196.0933 | 9.9187 | 880.4 | 74.7867 | 2.6953
2020-02-13 15:45:00 | 2.684 | 155.7867 | 3.0953 | 171.1867 | 3.1593 | 195.8733 | 3.174 | 193.2067 | 10.1527 | 880 | 73.7167 | 1.826
2020-02-13 16:00:00 | 2.9653 | 157.412 | 3.4193 | 172.98 | 3.4167 | 179.8667 | 3.7793 | 192.1067 | 10.134 | 880 | 73.4187 | 1.1167
2020-02-13 16:15:00 | 2.7887 | 166.2347 | 3.2047 | 182.6667 | 3.182 | 187.1333 | 3.3853 | 205.1067 | 10.1967 | 880 | 72.968 | 1.218
2020-02-13 16:30:00 | 2.83 | 156.7667 | 3.254 | 172.2667 | 3.43 | 195.5 | 3.5513 | 196.78 | 10.1527 | 880 | 73.416 | 1.6447
2020-02-13 16:45:00 | 2.7027 | 151.2887 | 3.1147 | 166.2533 | 3.2227 | 184.98 | 3.5273 | 187.6867 | 10.1887 | 880 | 73.9613 | 2.108
2020-02-13 17:00:00 | 2.3347 | 149.6947 | 2.6867 | 164.5 | 2.7393 | 189.06 | 3.154 | 192.52 | 10.0807 | 880 | 74.5627 | 1.1453
2020-02-13 17:15:00 | 1.9567 | 115.1807 | 2.252 | 126.5633 | 2.4587 | 171.1733 | 2.8973 | 194.8733 | 10.1153 | 880 | 75.13 | 0.958
2020-02-13 17:30:00 | 2.592 | 157.7013 | 2.984 | 173.2867 | 3.0527 | 176.94 | 3.4293 | 187.16 | 10.1333 | 880 | 75.9407 | 1.99
2020-02-13 17:45:00 | 2.2213 | 137.5053 | 2.5633 | 151.1067 | 2.7553 | 168.36 | 3.3667 | 171.7867 | 10.118 | 880 | 76.4833 | 3.0887
2020-02-13 18:00:00 | 1.6653 | 162.612 | 1.92 | 178.6933 | 2.1333 | 191.0733 | 2.486 | 205.2067 | 10.06 | 880 | 76.6687 | 3.6787
2020-02-13 18:15:00 | 2.368 | 177.2353 | 2.728 | 194.7533 | 2.9313 | 194.36 | 3.2 | 199.8133 | 9.9233 | 880 | 76.9713 | 3.184
2020-02-13 18:30:00 | 2.2973 | 171.2933 | 2.6453 | 188.2333 | 2.902 | 199.72 | 3.282 | 208.0933 | 9.8347 | 880 | 77.0773 | 3.4047
2020-02-13 18:45:00 | 2.1613 | 170.0407 | 2.4893 | 186.8533 | 2.9413 | 199.08 | 2.8993 | 200.9 | 9.7373 | 880 | 77.536 | 3.55
2020-02-13 19:00:00 | 1.8633 | 175.0827 | 2.1467 | 192.3933 | 2.6393 | 202.3667 | 3.022 | 195.8333 | 9.6747 | 880 | 77.712 | 3.1073
2020-02-13 19:15:00 | 1.8027 | 184.3907 | 2.0753 | 202.62 | 2.7067 | 212.9867 | 2.8027 | 204.12 | 9.6373 | 880 | 77.8567 | 2.7987
2020-02-13 19:30:00 | 1.9233 | 167.71 | 2.2113 | 184.2933 | 2.482 | 185.8667 | 2.8253 | 195.7667 | 9.654 | 880 | 77.722 | 2.7587
2020-02-13 19:45:00 | 0.87 | 158.8087 | 1.0073 | 174.52 | 1.6127 | 208.6867 | 2.144 | 211.2267 | 9.6293 | 880 | 78.0333 | 1.1667
2020-02-13 20:00:00 | 0.68 | 199.2627 | 0.78533 | 218.9733 | 1.306 | 229.6667 | 1.6 | 228.5067 | 9.598 | 880.6 | 78.1307 | 0.68067
2020-02-13 20:15:00 | 0.030667 | 224.95 | 0.036667 | 247.2 | 0.042 | 243.0667 | 0.54 | 221.2 | 9.6293 | 881 | 78.316 | 0.23533
2020-02-13 20:30:00 | 0.012 | 224.902 | 0.016 | 247.14 | 0.024 | 224 | 0.49 | 214.0267 | 9.696 | 881 | 78.0227 | 0.10667
2020-02-13 20:45:00 | 0.158 | 211.6793 | 0.182 | 232.6067 | 0.22 | 189.74 | 1.4473 | 155.0533 | 9.6793 | 881 | 77.7173 | 0.028667
2020-02-13 21:00:00 | 1.6347 | 123.1147 | 1.886 | 135.2933 | 2.332 | 132.5533 | 3.212 | 135.9867 | 9.778 | 881 | 76.7407 | 0
2020-02-13 21:15:00 | 1.1013 | 69.1033 | 1.27 | 75.9333 | 1.6247 | 107.0653 | 2.0347 | 117.3227 | 9.9287 | 881 | 74.9367 | 0
2020-02-13 21:30:00 | 1.9987 | 148.0707 | 2.3033 | 162.7133 | 2.3727 | 1.3433 | 2.2113 | 14.2027 | 9.5247 | 881 | 78.468 | 0
2020-02-13 21:45:00 | 1.9987 | 296.5287 | 2.3047 | 325.85 | 2.606 | 167.6213 | 2.6507 | 13.7273 | 9.4127 | 881 | 78.9313 | 0
2020-02-13 22:00:00 | 2.872 | 33.0273 | 3.2987 | 36.2847 | 4.3267 | 240.5167 | 4.4613 | 3.0973 | 9.2427 | 881.6 | 80.648 | 3.1333
2020-02-13 22:15:00 | 2.7227 | 82.2633 | 3.136 | 90.3947 | 4.7607 | 81.2707 | 5.2167 | 13.848 | 9.172 | 882 | 80.96 | 9.0307
2020-02-13 22:30:00 | 3.37 | 2.86 | 3.88 | 3.14 | 5.74 | 12.79 | 6.01 | 22.15 | 9.18 | 882 | 81.2 | 12.01
2020-02-13 22:45:00 | 2.586 | 28.417 | 2.978 | 31.226 | 4.53 | 5.901 | 4.611 | 7.219 | 9.227 | 882 | 80.94 | 9.15
2020-02-13 23:00:00 | 2.9067 | 241.8307 | 3.3513 | 265.744 | 4.6473 | 175.1067 | 4.5833 | 151.9667 | 9.3047 | 882 | 80.4333 | 10.29
2020-02-13 23:15:00 | 3.322 | 237.8893 | 3.8293 | 261.4093 | 5.946 | 93.8153 | 5.57 | 33.176 | 9.2787 | 882 | 80.5467 | 13.9773
2020-02-13 23:30:00 | 3.3787 | 218.8153 | 3.886 | 240.4467 | 6.192 | 343.1667 | 5.87 | 196.1427 | 9.2293 | 882 | 80.6733 | 14.8433
2020-02-13 23:45:00 | 2.8627 | 137.9647 | 3.296 | 151.6 | 5.2247 | 76.1667 | 5.3593 | 15.3733 | 9.2753 | 882.2667 | 80.1747 | 9.6233