## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-14 00:00:00 | 2.3771 | 281.3671 | 2.74 | 309.1914 | 4.3 | 129.9107 | 4.5486 | 18.5229 | 9.31 | 882.6 | 79.541 | 10.585
2020-02-14 00:15:00 | 2.4553 | 83.098 | 2.822 | 91.316 | 4.8427 | 24.9627 | 5.6967 | 26.7193 | 9.1387 | 882 | 80.6733 | 11.81
2020-02-14 00:30:00 | 2.4747 | 67.2573 | 2.85 | 73.9067 | 4.2867 | 123.046 | 4.5167 | 23.5627 | 9.092 | 882 | 80.7533 | 9.372
2020-02-14 00:45:00 | 2.406 | 245.0367 | 2.7747 | 269.264 | 4.556 | 12.6047 | 4.776 | 32.5413 | 8.8513 | 882 | 81.5333 | 13.846
2020-02-14 01:00:00 | 3.1027 | 233.6573 | 3.5727 | 256.766 | 5.7733 | 9.116 | 5.8687 | 13.7887 | 8.4613 | 882 | 83.2733 | 13.4087
2020-02-14 01:15:00 | 2.6413 | 300.584 | 3.0413 | 330.3133 | 4.988 | 8.8327 | 5.288 | 15.116 | 8.4967 | 882 | 82.7133 | 11.6653
2020-02-14 01:30:00 | 2.438 | 168.9453 | 2.8027 | 185.652 | 4.5713 | 13.2947 | 4.8333 | 22.0833 | 8.36 | 882 | 83.3467 | 15.4413
2020-02-14 01:45:00 | 2.8193 | 116.852 | 3.2467 | 128.4033 | 5.278 | 17.4527 | 5.636 | 20.8147 | 8.146 | 881.0667 | 84.24 | 15.3373
2020-02-14 02:00:00 | 3.4847 | 119.4013 | 4.0067 | 131.208 | 6.596 | 14.1213 | 6.6407 | 15.0933 | 7.808 | 881 | 85.82 | 27.1913
2020-02-14 02:15:00 | 3.7613 | 24.7673 | 4.3293 | 27.21 | 7.1513 | 10.6907 | 6.746 | 12.6293 | 7.5073 | 880.7333 | 87.2733 | 33.986
2020-02-14 02:30:00 | 4.2653 | 86.9127 | 4.9133 | 95.5007 | 7.7167 | 8.952 | 8.018 | 18.0067 | 7.2993 | 880 | 88.9533 | 43.3713
2020-02-14 02:45:00 | 5.3253 | 128.1187 | 6.1333 | 140.7833 | 9.2027 | 10.7107 | 9.55 | 24.49 | 7.278 | 880 | 89.0533 | 50.578
2020-02-14 03:00:00 | 5.9913 | 231.0673 | 6.8907 | 253.9193 | 10.3193 | 14.428 | 10.8787 | 18.7727 | 7.4593 | 880 | 87.6533 | 55.296
2020-02-14 03:15:00 | 5.908 | 199.0667 | 6.7987 | 218.7467 | 9.7367 | 10.8393 | 9.8207 | 17.19 | 7.7967 | 879.0667 | 85.1267 | 52.494
2020-02-14 03:30:00 | 6.1887 | 128.3693 | 7.1187 | 141.0607 | 10.5887 | 14.148 | 10.984 | 16.2853 | 7.9187 | 879 | 83.9733 | 53.54
2020-02-14 03:45:00 | 6.0167 | 143.6687 | 6.9227 | 157.8727 | 10.548 | 14.692 | 10.8393 | 22.008 | 7.9113 | 879.6667 | 83.6533 | 56.7073
2020-02-14 04:00:00 | 6.196 | 136.962 | 7.1247 | 150.5 | 11.29 | 10.92 | 11.7673 | 26.1533 | 7.8787 | 879 | 83.5133 | 56.6313
2020-02-14 04:15:00 | 6.5453 | 125.8673 | 7.5247 | 138.3167 | 12.2687 | 13.994 | 12.756 | 27.724 | 7.672 | 879 | 83.9867 | 59.7147
2020-02-14 04:30:00 | 6.7527 | 175.5293 | 7.7627 | 192.8867 | 12.6053 | 20.6873 | 13.12 | 25.6893 | 7.6833 | 879 | 82.82 | 58.904
2020-02-14 04:45:00 | 6.862 | 176.7433 | 7.9 | 194.2167 | 12.8067 | 16.7433 | 13.1473 | 25.614 | 7.8567 | 879 | 80.042 | 58.648
2020-02-14 05:00:00 | 7.052 | 100.4867 | 8.1153 | 110.4233 | 13.04 | 14.9167 | 13.4007 | 25.2693 | 7.9433 | 879 | 77.1327 | 57.782
2020-02-14 05:15:00 | 7.8567 | 116.218 | 9.0413 | 127.7033 | 14.2493 | 18.1747 | 14.5313 | 26.2287 | 7.8907 | 879 | 73.7433 | 58.926
2020-02-14 05:30:00 | 8.0833 | 177.112 | 9.2973 | 194.6233 | 14.6027 | 18.926 | 14.8947 | 30.9213 | 8.0187 | 879 | 68.476 | 59.05
2020-02-14 05:45:00 | 7.9667 | 193.2613 | 9.1667 | 212.37 | 14.2687 | 11.3573 | 14.742 | 30.2327 | 8.1827 | 879 | 62.964 | 60.264
2020-02-14 06:00:00 | 8.2373 | 52.616 | 9.4767 | 57.8227 | 14.72 | 25.7953 | 14.7667 | 25.6827 | 8.1607 | 879 | 58.6747 | 62.0673
2020-02-14 06:15:00 | 7.6933 | 151.3427 | 8.8547 | 166.3107 | 13.7727 | 15.8593 | 13.8807 | 28.9573 | 8.1407 | 879 | 54.7327 | 59.3053
2020-02-14 06:30:00 | 8.2513 | 165.04 | 9.4933 | 181.3587 | 14.6993 | 12.616 | 14.65 | 24.812 | 8.1553 | 879 | 49.6227 | 58.744
2020-02-14 06:45:00 | 8.48 | 70.5193 | 9.7573 | 77.4907 | 15.2087 | 10.7013 | 14.8193 | 24.7707 | 8.1513 | 879 | 46.104 | 58.0387
2020-02-14 07:00:00 | 8.606 | 185.636 | 9.8993 | 203.9933 | 15.5347 | 18.272 | 15.362 | 18.0013 | 8.228 | 879 | 42.6533 | 59.7153
2020-02-14 07:15:00 | 8.6933 | 207.6747 | 10.0107 | 228.2027 | 15.818 | 21.438 | 15.9367 | 24.54 | 8.2973 | 879 | 40.568 | 60.048
2020-02-14 07:30:00 | 8.8467 | 159.0787 | 10.178 | 174.8007 | 15.7293 | 16.8087 | 16.154 | 25.66 | 8.2753 | 879.6 | 38.9573 | 59.014
2020-02-14 07:45:00 | 8.8813 | 135.1 | 10.22 | 148.46 | 15.6307 | 5.6213 | 15.8233 | 22.1653 | 8.2567 | 880 | 37.416 | 60.7713
2020-02-14 08:00:00 | 9.1047 | 120.0133 | 10.4747 | 131.88 | 16.06 | 12.984 | 16.2593 | 23.388 | 8.1027 | 880 | 36.394 | 60.644
2020-02-14 08:15:00 | 9.1547 | 164.844 | 10.528 | 181.1367 | 16.0947 | 13.0187 | 15.8687 | 20.1553 | 7.9367 | 880.2667 | 35.4507 | 60.8687
2020-02-14 08:30:00 | 9.47 | 249.5507 | 10.8973 | 274.23 | 16.676 | 16.4967 | 16.366 | 24.1013 | 7.836 | 881 | 34.5807 | 61.51
2020-02-14 08:45:00 | 9.5567 | 174.464 | 10.9907 | 191.7147 | 16.9453 | 8.604 | 16.538 | 17.1033 | 7.7587 | 881 | 33.5193 | 62.0213
2020-02-14 09:00:00 | 9.7667 | 183.8813 | 11.24 | 202.0633 | 17.1167 | 14.6193 | 16.8367 | 16.4627 | 7.638 | 881 | 32.8953 | 61.0013
2020-02-14 09:15:00 | 10.128 | 184.3067 | 11.6553 | 202.5353 | 17.8253 | 3.9 | 17.5287 | 13.504 | 7.5413 | 881.2667 | 32.0667 | 61.4567
2020-02-14 09:30:00 | 10.7493 | 153.494 | 12.3653 | 168.6767 | 18.7893 | 7.6647 | 18.1807 | 13.4833 | 7.5307 | 882 | 30.88 | 62.0533
2020-02-14 09:45:00 | 10.3773 | 183.7167 | 11.9393 | 201.88 | 18.4713 | 19.0973 | 18.1053 | 19.0073 | 7.4687 | 882 | 31.4133 | 61.0147
2020-02-14 10:00:00 | 10.2733 | 185.358 | 11.8147 | 203.69 | 18.1687 | 14.562 | 18.002 | 20.4467 | 7.3493 | 882 | 31.152 | 62.1827
2020-02-14 10:15:00 | 9.8887 | 148.6 | 11.3727 | 163.2893 | 17.398 | 18.0593 | 17.694 | 30.7887 | 7.312 | 882 | 30.828 | 62.2133
2020-02-14 10:30:00 | 9.9027 | 88.6407 | 11.396 | 97.404 | 17.382 | 9.9747 | 18.006 | 25.442 | 7.3787 | 882.6 | 30.8793 | 62.3233
2020-02-14 10:45:00 | 9.7913 | 253.438 | 11.2673 | 278.5067 | 17.2807 | 9.368 | 17.302 | 25.3247 | 7.4133 | 883 | 30.8133 | 61.3567
2020-02-14 11:00:00 | 10.19 | 206.5327 | 11.7227 | 226.9533 | 18.0333 | 16.5787 | 17.8627 | 21.46 | 7.416 | 883 | 31.1333 | 62.356
2020-02-14 11:15:00 | 10.8113 | 227.9847 | 12.4373 | 250.5267 | 19.232 | 13.286 | 19.2587 | 21.2473 | 7.3827 | 883 | 30.9007 | 62.3407
2020-02-14 11:30:00 | 10.916 | 262.8987 | 12.56 | 288.9 | 19.3427 | 11.2467 | 19.4907 | 26.5787 | 7.342 | 883 | 31.1633 | 62.1133
2020-02-14 11:45:00 | 10.3133 | 97.726 | 11.8713 | 107.3933 | 17.812 | 25.1107 | 18.4307 | 30.0687 | 7.2793 | 883.6667 | 31.6987 | 61.304
2020-02-14 12:00:00 | 10.3687 | 140.9313 | 11.932 | 154.86 | 18.0993 | 17.7233 | 18.2307 | 28.7793 | 7.2113 | 883 | 31.9427 | 60.6853
2020-02-14 12:15:00 | 10.204 | 204.138 | 11.7427 | 224.3267 | 17.778 | 21.8667 | 18.062 | 26.9433 | 7.1933 | 883 | 32.0727 | 61.0413
2020-02-14 12:30:00 | 10.4573 | 146.4553 | 12.0387 | 160.94 | 18.0933 | 28.1307 | 18.4607 | 26.1047 | 7.216 | 883 | 31.776 | 61.1527
2020-02-14 12:45:00 | 9.9487 | 299.268 | 11.4427 | 328.86 | 17.1893 | 22.9047 | 17.406 | 28.5947 | 7.2333 | 883 | 31.5933 | 62.072
2020-02-14 13:00:00 | 10.126 | 123.2827 | 11.6467 | 135.4733 | 17.304 | 16.97 | 17.61 | 27.5393 | 7.188 | 883 | 31.754 | 62.794
2020-02-14 13:15:00 | 10.3193 | 279.7587 | 11.8787 | 307.4267 | 17.4967 | 17.5753 | 17.6313 | 32.2827 | 7.0613 | 883 | 31.5073 | 63.3733
2020-02-14 13:30:00 | 10.124 | 281.1693 | 11.646 | 308.9733 | 17.352 | 20.3013 | 17.79 | 20.8953 | 6.9907 | 883 | 31.3787 | 62.9167
2020-02-14 13:45:00 | 10.052 | 113.5293 | 11.5673 | 124.7513 | 17.1993 | 29.5013 | 17.7487 | 33.91 | 7.0147 | 883 | 30.8547 | 63.194
2020-02-14 14:00:00 | 10.4893 | 81.0587 | 12.07 | 89.0693 | 18.0953 | 14.866 | 18.3967 | 29.5173 | 7.078 | 883 | 30.212 | 63.4907
2020-02-14 14:15:00 | 10.674 | 164.4333 | 12.28 | 180.686 | 18.1287 | 22.8973 | 18.352 | 34.2727 | 7.024 | 883 | 29.3027 | 61.0233
2020-02-14 14:30:00 | 11.0727 | 91.714 | 12.7407 | 100.7753 | 18.7973 | 16.482 | 18.6253 | 28.26 | 6.9653 | 883 | 29.304 | 63.166
2020-02-14 14:45:00 | 10.6347 | 42.5 | 12.2307 | 46.6947 | 18.4307 | 15.2987 | 18.584 | 26.0587 | 6.938 | 883 | 29.5053 | 61.826
2020-02-14 15:00:00 | 11.38 | 106.2107 | 13.0947 | 116.7067 | 19.702 | 21.352 | 20.118 | 26.992 | 6.9 | 882.4 | 29.0473 | 63.7553
2020-02-14 15:15:00 | 11.2873 | 202.8567 | 12.9847 | 222.9133 | 19.2733 | 25.436 | 19.7767 | 35.19 | 6.8187 | 882 | 28.4787 | 60.8193
2020-02-14 15:30:00 | 11.28 | 250.3233 | 12.976 | 275.08 | 19.32 | 21.086 | 19.1693 | 24.7647 | 6.764 | 882 | 28.176 | 57.3433
2020-02-14 15:45:00 | 11.184 | 141.658 | 12.8667 | 155.6633 | 19.1167 | 17.5367 | 19.344 | 21.556 | 6.8847 | 882 | 27.7807 | 57.9473
2020-02-14 16:00:00 | 10.8007 | 267.95 | 12.4293 | 294.4427 | 18.594 | 11.2247 | 18.8867 | 29.1353 | 6.9193 | 882.6 | 27.4833 | 57.266
2020-02-14 16:15:00 | 11.876 | 162.2847 | 13.664 | 178.332 | 20.3173 | 14.4787 | 20.314 | 31.154 | 6.8 | 883 | 27.2813 | 56.0347
2020-02-14 16:30:00 | 11.7113 | 143.6047 | 13.464 | 157.802 | 20.0067 | 17.1147 | 20.47 | 25.4787 | 6.7673 | 882.4 | 27.2233 | 54.4873
2020-02-14 16:45:00 | 11.8347 | 160.7913 | 13.6127 | 176.6867 | 20.3067 | 22.2953 | 20.45 | 28.5967 | 6.784 | 882.2667 | 27.306 | 54.1773
2020-02-14 17:00:00 | 12.3807 | 181.036 | 14.2427 | 198.94 | 21.3307 | 23.5193 | 21.3133 | 26.6747 | 6.8453 | 883 | 26.6973 | 54.404
2020-02-14 17:15:00 | 11.598 | 195.29 | 13.3427 | 214.5967 | 19.606 | 19.8287 | 19.866 | 30.4667 | 6.9193 | 883 | 25.712 | 58.1507
2020-02-14 17:30:00 | 12.078 | 191.6067 | 13.8967 | 210.556 | 20.5867 | 13.2367 | 20.7467 | 21.4007 | 6.9073 | 883 | 25.5467 | 57.7367
2020-02-14 17:45:00 | 12.0533 | 157.27 | 13.864 | 172.8167 | 20.842 | 8.7827 | 20.7787 | 18.2107 | 6.8753 | 883 | 25.6333 | 58.8453
2020-02-14 18:00:00 | 12.2547 | 182.5673 | 14.1033 | 200.6133 | 21.1647 | 9.6953 | 21.3887 | 26.42 | 6.8013 | 883 | 25.8373 | 56.9913
2020-02-14 18:15:00 | 12.5227 | 188.7027 | 14.4013 | 207.36 | 21.4273 | 21.5853 | 21.2093 | 30.7853 | 6.7727 | 883 | 25.8253 | 57.1073
2020-02-14 18:30:00 | 11.9007 | 290.0567 | 13.6873 | 318.7333 | 20.4827 | 40.1993 | 20.1 | 26.342 | 6.76 | 883.6 | 25.704 | 59.1327
2020-02-14 18:45:00 | 11.7733 | 271.4293 | 13.55 | 298.2673 | 20.2413 | 15.0913 | 20.2393 | 16.762 | 6.7493 | 884 | 25.5227 | 56.3447
2020-02-14 19:00:00 | 12.4573 | 209.0007 | 14.334 | 229.6693 | 21.2847 | 21.9153 | 21.5267 | 27.5507 | 6.6907 | 884 | 25.3947 | 57.81
2020-02-14 19:15:00 | 12.874 | 155.506 | 14.81 | 170.88 | 22.2267 | 14.2893 | 22.034 | 19.9393 | 6.658 | 884 | 25.274 | 53.1507
2020-02-14 19:30:00 | 13.5553 | 165.7193 | 15.5947 | 182.1033 | 23.022 | 15.496 | 23.3687 | 28.7387 | 6.6407 | 884 | 25.0947 | 36.2
2020-02-14 19:45:00 | 14.59 | 229.0473 | 16.7833 | 251.6947 | 24.826 | 26.908 | 24.4753 | 34.1113 | 6.636 | 884.9333 | 24.8887 | 32.9427
2020-02-14 20:00:00 | 14.2587 | 163.9007 | 16.4013 | 180.112 | 24.142 | 28.028 | 24.1793 | 40.2913 | 6.6087 | 885 | 24.8213 | 33.1087
2020-02-14 20:15:00 | 13.578 | 95.7927 | 15.6253 | 105.2633 | 23.0327 | 25.2767 | 23.6307 | 31.3193 | 6.5847 | 885.9333 | 24.5427 | 34.024
2020-02-14 20:30:00 | 13.786 | 89.342 | 15.8627 | 98.1733 | 23.2233 | 18.984 | 23.5347 | 27.4887 | 6.5487 | 886 | 24.462 | 24.776
2020-02-14 20:45:00 | 13.354 | 109.1113 | 15.3633 | 119.8993 | 22.784 | 14.8307 | 22.6347 | 28.5593 | 6.4593 | 886.9333 | 24.7887 | 23.7433
2020-02-14 21:00:00 | 14.0127 | 79.71 | 16.126 | 87.588 | 23.8107 | 18.6533 | 23.9793 | 29.1187 | 6.372 | 887 | 24.754 | 23.5873
2020-02-14 21:15:00 | 13.8507 | 46.262 | 15.928 | 50.8393 | 23.6793 | 13.158 | 24.0327 | 30.116 | 6.2673 | 887 | 24.6093 | 24.2287
2020-02-14 21:30:00 | 13.6453 | 136.134 | 15.6927 | 149.59 | 23.5353 | 15.8713 | 23.3967 | 26.358 | 6.14 | 887.6 | 24.9787 | 25.8027
2020-02-14 21:45:00 | 14.116 | 54.0833 | 16.24 | 59.4287 | 23.9507 | 22.1047 | 23.994 | 30.098 | 6.0287 | 888 | 25.0787 | 25.0973
2020-02-14 22:00:00 | 14.158 | 127.9147 | 16.2867 | 140.5647 | 24.1687 | 10.4053 | 24.3113 | 23.798 | 5.848 | 888 | 25.362 | 23.3953
2020-02-14 22:15:00 | 13.836 | 266.5907 | 15.9173 | 292.9467 | 23.964 | 112.484 | 24.042 | 29.7453 | 5.6987 | 888 | 25.4527 | 22.644
2020-02-14 22:30:00 | 13.6507 | 136.7136 | 15.7007 | 150.2286 | 23.3436 | 23.3007 | 24.015 | 31.9014 | 5.5357 | 888 | 25.7864 | 19.94
2020-02-14 22:45:00 | 14.5 | 30.232 | 16.688 | 33.216 | 24.63 | 16.51 | 24.486 | 31.67 | 5.402 | 888 | 26.222 | 14.176
2020-02-14 23:00:00 | 14.1853 | 174.9653 | 16.3247 | 192.272 | 24.7327 | 7.51 | 24.3233 | 14.6093 | 5.172 | 889 | 26.6673 | 12.8447
2020-02-14 23:15:00 | 15.256 | 81.5973 | 17.5513 | 89.668 | 26.9413 | 11.274 | 26.3213 | 19.0173 | 4.9607 | 889 | 27.022 | 11.3507
2020-02-14 23:30:00 | 15.602 | 292.2913 | 17.9453 | 321.2 | 27.6993 | 10.57 | 26.9593 | 19.1827 | 4.7927 | 889 | 27.1187 | 8.9393
2020-02-14 23:45:00 | 15.6307 | 192.69 | 17.9807 | 211.74 | 27.5567 | 13.6253 | 27.2373 | 24.3813 | 4.6093 | 889.2667 | 27.4047 | 5.526