## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-15 00:00:00 | 15.1807 | 49.2157 | 17.4657 | 54.0821 | 26.4193 | 15.4529 | 26.0436 | 19.3479 | 4.45 | 890 | 27.4664 | 5.5286
2020-02-15 00:15:00 | 13.772 | 93.484 | 15.838 | 102.7233 | 23.6293 | 19.774 | 24.2873 | 22.148 | 4.2513 | 890 | 27.29 | 5.6087
2020-02-15 00:30:00 | 13.3833 | 142.6733 | 15.392 | 156.7787 | 23.04 | 13.9013 | 23.6347 | 30.9567 | 4.0593 | 890 | 27.5653 | 5.5587
2020-02-15 00:45:00 | 13.1027 | 63.9033 | 15.068 | 70.2213 | 22.2913 | 24.2153 | 23.082 | 38.4513 | 3.8687 | 890 | 27.5873 | 5.586
2020-02-15 01:00:00 | 12.972 | 275.416 | 14.9207 | 302.6467 | 21.9693 | 19.0193 | 22.396 | 32.5173 | 3.6507 | 890 | 28.0313 | 5.5907
2020-02-15 01:15:00 | 13.2173 | 77.696 | 15.2067 | 85.37 | 22.7367 | 24.5733 | 23.2307 | 34.112 | 3.396 | 890.6667 | 28.336 | 5.5893
2020-02-15 01:30:00 | 12.752 | 84.9387 | 14.6687 | 93.3333 | 21.5913 | 23.34 | 22.1407 | 25.1173 | 3.188 | 890 | 28.61 | 5.388
2020-02-15 01:45:00 | 12.782 | 230.7007 | 14.7033 | 253.5067 | 22.0027 | 14.7073 | 22.5133 | 27.09 | 3.022 | 890.6667 | 29.1927 | 6.5227
2020-02-15 02:00:00 | 15.4087 | 150.2387 | 17.7207 | 165.0867 | 26.88 | 10.4373 | 26.8007 | 23.6407 | 2.8293 | 890 | 30.3767 | 5.51
2020-02-15 02:15:00 | 16.4307 | 289.1887 | 18.9013 | 317.78 | 29.1207 | 13.902 | 28.886 | 24.754 | 2.5147 | 890 | 31.0213 | 1.372
2020-02-15 02:30:00 | 16.7193 | 155.0267 | 19.228 | 170.3567 | 29.4653 | 12.5653 | 29.392 | 21.0107 | 2.2647 | 890 | 30.9727 | 0.50733
2020-02-15 02:45:00 | 16.864 | 174.2033 | 19.3933 | 191.4267 | 29.6593 | 13.6553 | 29.91 | 23.9313 | 1.9913 | 889.7333 | 30.8287 | 0
2020-02-15 03:00:00 | 17.2167 | 154.6447 | 19.798 | 169.93 | 29.9253 | 12.6033 | 29.6733 | 28.772 | 1.7193 | 889 | 30.0007 | 0
2020-02-15 03:15:00 | 17.744 | 200.524 | 20.4067 | 220.35 | 30.8193 | 16.2273 | 31.086 | 23.0813 | 1.4313 | 889 | 29.298 | 0
2020-02-15 03:30:00 | 17.0913 | 184.0887 | 19.6533 | 202.3 | 29.896 | 52.6253 | 30 | 22.9587 | 1.2533 | 889 | 28.496 | 0
2020-02-15 03:45:00 | 17.432 | 99.2273 | 20.0507 | 109.032 | 30.378 | 19.672 | 30.1393 | 19.896 | 1.0273 | 888.7333 | 27.8733 | 0
2020-02-15 04:00:00 | 17.1113 | 114.9007 | 19.6833 | 126.258 | 29.8127 | 15.6333 | 29.554 | 22.7387 | 0.742 | 888 | 27.1627 | 0
2020-02-15 04:15:00 | 16.2367 | 95.4133 | 18.6747 | 104.846 | 28.1367 | 9.8773 | 28.1427 | 18.542 | 0.46133 | 888.9333 | 26.912 | 0
2020-02-15 04:30:00 | 16.4973 | 81.9167 | 18.9707 | 90.014 | 28.5753 | 5.186 | 28.3707 | 18.1353 | 0.21733 | 888.4 | 26.65 | 0
2020-02-15 04:45:00 | 15.5907 | 261.244 | 17.9373 | 287.08 | 27.426 | 6.5273 | 27.206 | 24.392 | 0.086 | 888.2667 | 26.3327 | 0
2020-02-15 05:00:00 | 15.63 | 165.3187 | 17.9807 | 181.668 | 26.878 | 17.016 | 27.36 | 16.772 | 0.038 | 889 | 25.6527 | 0
2020-02-15 05:15:00 | 16.45 | 117.6013 | 18.9247 | 129.2287 | 28.314 | 7.798 | 28.126 | 23.6207 | -0.058667 | 888.0667 | 24.964 | 0
2020-02-15 05:30:00 | 15.7947 | 180.7793 | 18.1647 | 198.6567 | 27.4213 | 21.1627 | 27.23 | 21.2773 | -0.178 | 888.6 | 24.932 | 0.006
2020-02-15 05:45:00 | 15.452 | 166.6673 | 17.776 | 183.1407 | 26.088 | 18.284 | 26.3833 | 34.9427 | -0.288 | 889 | 24.4027 | 0
2020-02-15 06:00:00 | 15.646 | 140.1953 | 17.994 | 154.056 | 26.6013 | 23.8767 | 26.7373 | 28.7847 | -0.38267 | 889 | 24.172 | 0
2020-02-15 06:15:00 | 15.0347 | 164.106 | 17.2967 | 180.3353 | 25.7473 | 126.0287 | 25.8127 | 24.5627 | -0.45467 | 889 | 23.964 | 0
2020-02-15 06:30:00 | 14.6647 | 115.306 | 16.8713 | 126.708 | 24.888 | 10.9833 | 25.778 | 30.4107 | -0.56933 | 889 | 23.8913 | 0
2020-02-15 06:45:00 | 14.8153 | 223.376 | 17.042 | 245.4667 | 25.0813 | 9.6927 | 25.758 | 27.1413 | -0.69333 | 889.2667 | 23.4927 | 0
2020-02-15 07:00:00 | 15.2613 | 186.9887 | 17.5587 | 205.48 | 26.0213 | 9.9153 | 26.194 | 32.246 | -0.774 | 890 | 23.408 | 0
2020-02-15 07:15:00 | 14.82 | 188.9287 | 17.046 | 207.6093 | 25.744 | 10.3 | 25.322 | 23.4113 | -0.90333 | 890 | 23.8347 | 0
2020-02-15 07:30:00 | 15.2947 | 78.5433 | 17.5907 | 86.304 | 26.518 | 14.246 | 26.4327 | 25.1333 | -1.0267 | 890 | 23.9973 | 0
2020-02-15 07:45:00 | 15.4 | 77.724 | 17.7167 | 85.4073 | 26.8947 | 14.8093 | 26.9227 | 23.5607 | -1.1213 | 890.9333 | 24.0647 | 0
2020-02-15 08:00:00 | 15.6253 | 39.9813 | 17.9707 | 43.9347 | 27.0433 | 8.4107 | 27.6073 | 33.3113 | -1.1587 | 891 | 23.542 | 0
2020-02-15 08:15:00 | 15.2093 | 139.4287 | 17.4967 | 153.2173 | 26.3633 | 25.8567 | 26.3253 | 34.0867 | -1.1813 | 891 | 23.3513 | 0
2020-02-15 08:30:00 | 15.03 | 77.9847 | 17.2873 | 85.6907 | 25.982 | 13.8067 | 26.1327 | 28.74 | -1.2107 | 891.6 | 23.4693 | 0
2020-02-15 08:45:00 | 13.82 | 250.8947 | 15.904 | 275.7067 | 23.8367 | 12.5733 | 24.104 | 17.444 | -1.2707 | 892.9333 | 23.354 | 0
2020-02-15 09:00:00 | 13.7007 | 158.4167 | 15.7613 | 174.0867 | 23.3753 | 13.26 | 23.8867 | 22.0133 | -1.268 | 893 | 23.4313 | 0
2020-02-15 09:15:00 | 15.0093 | 276.238 | 17.26 | 303.56 | 25.9573 | 15.788 | 26.0507 | 27.7293 | -1.13 | 893.9333 | 23.6047 | 0
2020-02-15 09:30:00 | 14.968 | 115.2313 | 17.2167 | 126.6233 | 26.0713 | 15.8887 | 26.3733 | 26.72 | -0.996 | 894 | 23.7047 | 0
2020-02-15 09:45:00 | 14.4273 | 197.9427 | 16.6 | 217.5167 | 25.016 | 17.1393 | 25.3907 | 26.0967 | -0.76933 | 894.2667 | 23.1833 | 0
2020-02-15 10:00:00 | 13.9733 | 134.088 | 16.0713 | 147.3427 | 24.262 | 18.0167 | 24.2473 | 30.0033 | -0.452 | 895 | 22.6473 | 0
2020-02-15 10:15:00 | 14.5253 | 170.298 | 16.7153 | 187.1373 | 25.6333 | 12.586 | 25.508 | 27.466 | 0.098667 | 895 | 22.942 | 0.20733
2020-02-15 10:30:00 | 14.6973 | 160.97 | 16.8993 | 176.88 | 25.9187 | 15.1713 | 25.8287 | 25.914 | 0.52867 | 895 | 22.4853 | 3.4147
2020-02-15 10:45:00 | 13.742 | 172.1693 | 15.8107 | 189.1967 | 24.1633 | 18.742 | 23.9187 | 16.552 | 0.78333 | 895.2667 | 22.168 | 0
2020-02-15 11:00:00 | 13.6333 | 197.346 | 15.6867 | 216.86 | 23.3867 | 11.212 | 22.82 | 16.612 | 1.3727 | 896 | 21.3027 | 0
2020-02-15 11:15:00 | 12.7087 | 220.8227 | 14.622 | 242.6573 | 21.5027 | 16.1087 | 21.3607 | 19.0447 | 1.028 | 896 | 21.4487 | 0.32067
2020-02-15 11:30:00 | 12.822 | 133.1013 | 14.752 | 146.2567 | 22.3073 | 13.0853 | 22.072 | 22.5367 | 1.1813 | 896 | 21.8073 | 5.1267
2020-02-15 11:45:00 | 12.86 | 185.9227 | 14.7947 | 204.3033 | 22.2787 | 12.8033 | 22.3027 | 23.9353 | 2.3107 | 896 | 21.006 | 9.0813
2020-02-15 12:00:00 | 12.8067 | 222.478 | 14.7373 | 244.4813 | 22.518 | 8.8113 | 22.4893 | 25.2527 | 2.7627 | 896 | 20.7873 | 9.9407
2020-02-15 12:15:00 | 11.4813 | 158.4733 | 13.2033 | 174.1387 | 19.7247 | 10.9267 | 19.9493 | 23.3993 | 2.6227 | 896 | 20.4027 | 12.5213
2020-02-15 12:30:00 | 11.898 | 207.3147 | 13.6927 | 227.8133 | 20.44 | 11.5767 | 20.8327 | 25.5267 | 2.93 | 896 | 20.3967 | 11.608
2020-02-15 12:45:00 | 12.5253 | 260.4987 | 14.4093 | 286.2533 | 21.4353 | 23.004 | 21.5507 | 34.962 | 3.602 | 895.0667 | 20.0913 | 12.18
2020-02-15 13:00:00 | 12.4713 | 183.152 | 14.3473 | 201.26 | 21.7307 | 14.7267 | 21.3113 | 22.4353 | 4.5533 | 895 | 19.708 | 12.0687
2020-02-15 13:15:00 | 11.3027 | 182.1127 | 13.004 | 200.12 | 19.3287 | 16.9813 | 19.486 | 28.3187 | 4.3107 | 895.6667 | 19.0607 | 12.2713
2020-02-15 13:30:00 | 10.718 | 191.7927 | 12.3293 | 210.7567 | 17.884 | 28.908 | 18.914 | 33.2487 | 3.6193 | 895 | 19.252 | 12.4347
2020-02-15 13:45:00 | 11.4233 | 220.7673 | 13.1447 | 242.5933 | 19.6313 | 22.6507 | 20.0107 | 29.786 | 3.8287 | 895 | 18.6833 | 12.3287
2020-02-15 14:00:00 | 12.0973 | 51.5827 | 13.9127 | 56.6753 | 20.868 | 13.2047 | 21.1167 | 23.18 | 4.862 | 895 | 17.836 | 12.352
2020-02-15 14:15:00 | 11.396 | 223.236 | 13.1147 | 245.3013 | 19.718 | 13.948 | 19.7367 | 20.4667 | 5.326 | 894.0667 | 17.342 | 12.5373
2020-02-15 14:30:00 | 11.248 | 242.7673 | 12.9347 | 266.7733 | 19.5093 | 10.6953 | 19.3793 | 19.6447 | 4.92 | 894 | 17.5193 | 17.214
2020-02-15 14:45:00 | 10.6287 | 281.3367 | 12.2273 | 309.16 | 18.5433 | 6.932 | 18.066 | 15.5053 | 4.6753 | 894.2667 | 17.496 | 22.8347
2020-02-15 15:00:00 | 8.244 | 232.5627 | 9.486 | 255.56 | 14.326 | 12.7467 | 14.132 | 17.476 | 4.4027 | 895 | 17.998 | 31.0247
2020-02-15 15:15:00 | 6.8893 | 234.2593 | 7.9213 | 257.424 | 11.5287 | 24.5813 | 11.334 | 23.3707 | 3.9867 | 895 | 18.5773 | 37.6407
2020-02-15 15:30:00 | 6.2213 | 73.3733 | 7.1533 | 80.624 | 10.514 | 14.5547 | 10.8153 | 28.772 | 3.778 | 895 | 18.758 | 41.8393
2020-02-15 15:45:00 | 5.604 | 150.3987 | 6.446 | 165.2687 | 9.602 | 22.9727 | 9.6867 | 34.956 | 3.5813 | 894.7333 | 19.164 | 38.5227
2020-02-15 16:00:00 | 6.0913 | 142.442 | 7.012 | 156.5247 | 10.516 | 21.078 | 10.654 | 28.8847 | 3.5527 | 894 | 19.528 | 43.7793
2020-02-15 16:15:00 | 6.5947 | 30.3807 | 7.5893 | 33.3827 | 11.282 | 19.1433 | 11.4673 | 28.3547 | 4.0053 | 894 | 19.0813 | 45.348
2020-02-15 16:30:00 | 7.3033 | 75.0467 | 8.406 | 82.4633 | 12.656 | 8.248 | 12.9313 | 19.9153 | 4.0893 | 894 | 19.1687 | 49.9553
2020-02-15 16:45:00 | 6.5867 | 92.1473 | 7.582 | 101.2593 | 11.498 | 8.5373 | 12.1047 | 21.5167 | 4.022 | 894 | 19.1333 | 50.5733
2020-02-15 17:00:00 | 6.2087 | 81.1887 | 7.138 | 89.21 | 10.8167 | 12.392 | 10.8427 | 21.428 | 4.538 | 894 | 19.0533 | 41.6773
2020-02-15 17:15:00 | 5.8967 | 29.796 | 6.7813 | 32.7393 | 10.2993 | 12.2667 | 10.4193 | 23.3447 | 4.4533 | 894 | 19.282 | 36.6127
2020-02-15 17:30:00 | 6.2773 | 172.2427 | 7.224 | 189.272 | 10.9213 | 6.7287 | 10.9513 | 16.2673 | 4.0407 | 894 | 19.9207 | 39.6947
2020-02-15 17:45:00 | 5.5133 | 75.1533 | 6.3427 | 82.588 | 9.9327 | 7.268 | 9.9373 | 36.2553 | 3.804 | 894 | 20.798 | 38.848
2020-02-15 18:00:00 | 5.1873 | 140.0753 | 5.9713 | 153.9233 | 9.674 | 16.9147 | 9.8373 | 29.076 | 3.7873 | 894 | 21.9953 | 39.8073
2020-02-15 18:15:00 | 4.546 | 207.7667 | 5.228 | 228.3133 | 8.648 | 13.3033 | 8.6213 | 27.5033 | 3.4967 | 894 | 22.7093 | 36.342
2020-02-15 18:30:00 | 5.028 | 144.7927 | 5.7867 | 159.1093 | 9.0127 | 4.512 | 9.414 | 22.7207 | 3.272 | 894 | 21.8373 | 35.818
2020-02-15 18:45:00 | 5.296 | 232.338 | 6.0973 | 255.312 | 8.9773 | 163.964 | 8.9727 | 58.3687 | 3.2433 | 894 | 21.1713 | 32.572
2020-02-15 19:00:00 | 5.2307 | 224.6687 | 6.0227 | 246.884 | 8.6287 | 72.25 | 8.5967 | 151.6487 | 3.3107 | 894.6 | 20.5407 | 30.7253
2020-02-15 19:15:00 | 4.3567 | 107.402 | 5.0173 | 118.0213 | 7.5173 | 28.152 | 7.4587 | 13.4227 | 3.2553 | 895 | 20.9753 | 26.4087
2020-02-15 19:30:00 | 4.312 | 222.3327 | 4.9653 | 244.3147 | 7.4307 | 72.52 | 6.9593 | 11.9813 | 3.228 | 895 | 20.9453 | 23.5727
2020-02-15 19:45:00 | 4.0133 | 258.396 | 4.6173 | 283.9547 | 7.0387 | 3.8173 | 6.644 | 13.4373 | 3.144 | 895.2667 | 21.492 | 22.6827
2020-02-15 20:00:00 | 3.248 | 121.5013 | 3.7347 | 133.5153 | 6.1087 | 19.8007 | 5.8293 | 18.8627 | 2.8433 | 896 | 22.8007 | 22.824
2020-02-15 20:15:00 | 3.1753 | 217.552 | 3.6493 | 239.06 | 6.1293 | 23.284 | 6.03 | 29.42 | 2.5313 | 896 | 23.5473 | 22.0907
2020-02-15 20:30:00 | 2.8793 | 273.5567 | 3.3107 | 300.6067 | 5.636 | 21.77 | 5.9707 | 28.1753 | 2.406 | 896 | 23.4413 | 20.446
2020-02-15 20:45:00 | 3.182 | 224.2653 | 3.658 | 246.44 | 6.214 | 22.76 | 6.3433 | 29.2693 | 2.3807 | 896 | 23.3573 | 19.612
2020-02-15 21:00:00 | 3.2313 | 149.688 | 3.7153 | 164.4867 | 6.2973 | 18.868 | 6.634 | 35.7033 | 2.472 | 896 | 23.396 | 19.2813
2020-02-15 21:15:00 | 3.3473 | 227.8293 | 3.8493 | 250.36 | 6.518 | 25.6007 | 6.802 | 30.4227 | 2.542 | 896 | 23.264 | 22.5407
2020-02-15 21:30:00 | 3.5073 | 210.758 | 4.0373 | 231.5933 | 6.846 | 22.836 | 7.172 | 32.208 | 2.4933 | 896 | 23.0553 | 22.1113
2020-02-15 21:45:00 | 3.5993 | 273.2053 | 4.142 | 300.22 | 6.9613 | 24.3293 | 6.944 | 35.634 | 2.3553 | 896 | 23.6913 | 20.4547
2020-02-15 22:00:00 | 3.578 | 218.2893 | 4.1187 | 239.8693 | 6.9427 | 21.2233 | 6.762 | 34.1487 | 2.2913 | 896 | 23.0673 | 20.716
2020-02-15 22:15:00 | 3.5373 | 232.3967 | 4.078 | 255.3773 | 6.894 | 21.5493 | 6.8387 | 25.112 | 2.2793 | 896.9333 | 22.5213 | 22.0307
2020-02-15 22:30:00 | 3.0244 | 268.1833 | 3.4844 | 294.7 | 5.9744 | 16.4111 | 5.9 | 21.2689 | 2.2478 | 897 | 22.3367 | 20.8733
2020-02-15 22:45:00 | 3.6933 | 8.9167 | 4.2567 | 9.7933 | 6.99 | 21.1633 | 6.64 | 30.87 | 2.2856 | 897 | 22.196 | 21.5289
2020-02-15 23:00:00 | 3.872 | 214.5773 | 4.4593 | 235.79 | 7.33 | 35.4427 | 5.688 | 37.1593 | 2.6827 | 897 | 22.0853 | 15.6413
2020-02-15 23:15:00 | 2.9453 | 254.056 | 3.3873 | 279.18 | 5.6593 | 35.4373 | 4.006 | 32.728 | 2.836 | 897 | 21.3887 | 9.5307
2020-02-15 23:30:00 | 1.8147 | 179.9793 | 2.094 | 197.78 | 3.5493 | 29.338 | 3.25 | 22.0493 | 2.8933 | 897 | 21.0573 | 6.6427
2020-02-15 23:45:00 | 2.272 | 209.1893 | 2.614 | 229.8787 | 4.22 | 16.2467 | 4.2753 | 27.878 | 2.8107 | 897 | 21.254 | 8.118