## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-16 00:00:00 | 2.6543 | 86.0336 | 3.0564 | 94.5336 | 5.0871 | 23.5629 | 5.1929 | 29.3807 | 2.835 | 897 | 21.789 | 7.4493
2020-02-16 00:15:00 | 2.2587 | 168.2327 | 2.6033 | 184.8687 | 4.0293 | 13.9867 | 4.1587 | 33.7587 | 2.7673 | 897 | 21.616 | 6.1447
2020-02-16 00:30:00 | 2.0653 | 213.326 | 2.3807 | 234.4213 | 3.83 | 14.1493 | 4.03 | 32.8707 | 2.8487 | 897 | 21.778 | 4.7613
2020-02-16 00:45:00 | 1.988 | 235.752 | 2.291 | 259.07 | 3.262 | 27.837 | 3.518 | 35.66 | 2.942 | 897 | 20.771 | 3.094
2020-02-16 01:00:00 | 2.0707 | 37.9287 | 2.38 | 41.6753 | 3.7293 | 115.854 | 3.6787 | 15.5573 | 2.926 | 897 | 20.918 | 2.5473
2020-02-16 01:15:00 | 1.89 | 217.733 | 2.175 | 239.26 | 3.689 | 243.23 | 3.599 | 77.316 | 2.72 | 897 | 20.932 | 2.416
2020-02-16 01:30:00 | 1.7807 | 120.9467 | 2.046 | 132.9 | 3.4693 | 351.6467 | 3.604 | 238.4733 | 2.694 | 897 | 20.8053 | 2.5833
2020-02-16 01:45:00 | 1.796 | 10.502 | 2.07 | 11.529 | 3.112 | 352.1 | 3.215 | 107.67 | 2.617 | 897 | 20.864 | 2.047
2020-02-16 02:00:00 | 1.62 | 126.288 | 1.872 | 138.764 | 3.228 | 261.3947 | 3.2987 | 4.7607 | 2.1107 | 897 | 21.66 | 0.54333
2020-02-16 02:15:00 | 1.4147 | 305.3147 | 1.6273 | 335.5067 | 2.7953 | 193.196 | 2.934 | 10.718 | 1.728 | 897 | 22.0293 | 0
2020-02-16 02:30:00 | 1.32 | 309.31 | 1.5213 | 339.9 | 2.6273 | 10.8227 | 3.2407 | 15.598 | 1.5527 | 897 | 22.3533 | 0
2020-02-16 02:45:00 | 1.7607 | 186.2973 | 2.0253 | 204.7187 | 3.186 | 19.9627 | 3.6713 | 24.834 | 1.4133 | 896.0667 | 22.3773 | 0
2020-02-16 03:00:00 | 1.8113 | 216.2553 | 2.0873 | 237.6367 | 3.324 | 14.5 | 3.64 | 21.6947 | 1.7053 | 896 | 21.8113 | 0
2020-02-16 03:15:00 | 1.6847 | 87.0027 | 1.946 | 95.6 | 3.25 | 24.9687 | 2.4287 | 26.1353 | 1.9053 | 896 | 21.0587 | 0
2020-02-16 03:30:00 | 1.2273 | 165.692 | 1.42 | 182.08 | 2.4187 | 27.304 | 2.1773 | 25.4547 | 2.0107 | 896 | 20.5013 | 0
2020-02-16 03:45:00 | 1.2347 | 222.2847 | 1.4193 | 244.2667 | 2.3187 | 34.5073 | 3.1973 | 46.034 | 1.6773 | 896 | 22.194 | 0
2020-02-16 04:00:00 | 1.652 | 299.3947 | 1.9007 | 328.9933 | 2.4073 | 10.5613 | 2.73 | 35.798 | 1.43 | 896 | 22.6813 | 0
2020-02-16 04:15:00 | 1.7947 | 310.5173 | 2.0727 | 341.22 | 2.828 | 119.7427 | 2.706 | 4.9847 | 1.3087 | 896 | 23.412 | 0
2020-02-16 04:30:00 | 2.2787 | 209.1627 | 2.6207 | 229.8433 | 3.7273 | 2.744 | 3.582 | 8.0987 | 1.0147 | 896 | 25.0467 | 1.0087
2020-02-16 04:45:00 | 2.696 | 277.0033 | 3.1067 | 304.3987 | 3.958 | 7.7293 | 4.3127 | 15.12 | 0.73667 | 895.0667 | 28.5947 | 2.144
2020-02-16 05:00:00 | 2.8307 | 220.615 | 3.2586 | 242.4329 | 3.9393 | 5.8136 | 4.5614 | 11.9343 | 0.44071 | 895 | 30.4714 | 2.742
2020-02-16 05:15:00 | 2.8093 | 161.1173 | 3.2347 | 177.0547 | 4.5853 | 11.134 | 4.654 | 20.4093 | 0.002 | 895 | 31.876 | 3.5387
2020-02-16 05:30:00 | 2.6653 | 247.648 | 3.0747 | 272.1353 | 4.272 | 9.6187 | 4.8767 | 20.9433 | -0.28533 | 895 | 31.5507 | 4.0453
2020-02-16 05:45:00 | 2.6207 | 295.81 | 3.0153 | 325.06 | 4.7473 | 17.6287 | 4.8573 | 22.6813 | -0.22 | 895 | 32.054 | 3.0687
2020-02-16 06:00:00 | 2.3107 | 299.488 | 2.6567 | 329.1067 | 4.2453 | 17.62 | 4.758 | 19.186 | -0.35333 | 895 | 33.3673 | 2.1213
2020-02-16 06:15:00 | 2.2087 | 310.1767 | 2.546 | 340.8467 | 4.0453 | 16.656 | 4.4093 | 16.052 | -0.35067 | 895 | 34.3053 | 3.0167
2020-02-16 06:30:00 | 2.6913 | 214.5687 | 3.098 | 235.78 | 4.4393 | 16.3667 | 4.82 | 14.912 | -0.18867 | 895 | 34.0913 | 8.2647
2020-02-16 06:45:00 | 3.0307 | 193.9513 | 3.492 | 213.13 | 5.3167 | 8.5173 | 5.4533 | 13.3013 | -0.542 | 895 | 36.068 | 13.5873
2020-02-16 07:00:00 | 3.4229 | 92.5064 | 3.9429 | 101.6536 | 5.5257 | 12.3686 | 5.565 | 17.3814 | -0.73 | 895 | 37.0157 | 16.2207
2020-02-16 07:15:00 | 3.8033 | 132.888 | 4.378 | 146.0267 | 6.3207 | 56.1447 | 6.47 | 17.4993 | -0.44867 | 895 | 35.732 | 15.732
2020-02-16 07:30:00 | 3.4487 | 77.0447 | 3.9733 | 84.6633 | 5.8927 | 234.0433 | 5.8387 | 12.1833 | -0.097333 | 895 | 34.2727 | 12.3113
2020-02-16 07:45:00 | 2.892 | 164.1487 | 3.3333 | 180.3827 | 5.3413 | 239.5933 | 5.398 | 20.3233 | -0.17533 | 895 | 34.9427 | 9.634
2020-02-16 08:00:00 | 3.2353 | 213.5313 | 3.7247 | 234.644 | 5.2713 | 117.1107 | 5.288 | 13.8573 | -0.18733 | 895 | 35.0713 | 13.0887
2020-02-16 08:15:00 | 3.172 | 116.532 | 3.6507 | 128.0547 | 5.9047 | 15.0707 | 5.6587 | 10.8113 | -0.25267 | 895 | 36.9067 | 14.6147
2020-02-16 08:30:00 | 2.9827 | 27.2913 | 3.434 | 29.9847 | 5.288 | 11.126 | 5.264 | 9.5507 | -0.272 | 895 | 37.9 | 15.536
2020-02-16 08:45:00 | 3.5407 | 53.5233 | 4.0713 | 58.8167 | 5.198 | 7.3167 | 5.5227 | 18.0953 | -0.20133 | 895 | 36.552 | 15.846
2020-02-16 09:00:00 | 3.348 | 260.4047 | 3.856 | 286.1547 | 5.312 | 4.624 | 5.5873 | 8.3127 | 0.13667 | 895 | 35.6627 | 16.7827
2020-02-16 09:15:00 | 2.962 | 71.4267 | 3.4093 | 78.4853 | 5.2473 | 123.1673 | 5.2507 | 6.1 | 0.432 | 895.9333 | 36.3107 | 16.02
2020-02-16 09:30:00 | 3.188 | 175.5473 | 3.6673 | 192.9027 | 5.7693 | 7.9447 | 5.6613 | 8.4267 | 1.042 | 896 | 34.8553 | 12.538
2020-02-16 09:45:00 | 2.9587 | 58.0747 | 3.406 | 63.8113 | 5.206 | 5.1793 | 5.4587 | 11.8327 | 1.8607 | 896 | 33.176 | 10.2447
2020-02-16 10:00:00 | 3.3867 | 111.716 | 3.9007 | 122.7547 | 5.492 | 4.9613 | 5.7287 | 12.8713 | 2.588 | 896.6 | 30.4593 | 8.6547
2020-02-16 10:15:00 | 3.7833 | 121.5413 | 4.3587 | 133.556 | 5.498 | 12.9767 | 5.324 | 9.5513 | 3.0007 | 897 | 28.9 | 5.6007
2020-02-16 10:30:00 | 3.9547 | 161.4273 | 4.5533 | 177.3913 | 5.7887 | 15.372 | 5.572 | 15.0673 | 3.5553 | 897 | 27.718 | 3.804
2020-02-16 10:45:00 | 3.5927 | 182.9847 | 4.134 | 201.0773 | 4.906 | 5.61 | 4.45 | 9.0733 | 3.7347 | 897.9333 | 27.314 | 2.0313
2020-02-16 11:00:00 | 3.032 | 117.464 | 3.4853 | 129.0727 | 3.7907 | 14.9967 | 3.546 | 13.6127 | 3.7147 | 897.4 | 27.7567 | 1.306
2020-02-16 11:15:00 | 2.712 | 30.5493 | 3.1213 | 33.5647 | 2.9393 | 130.1853 | 2.67 | 13.0413 | 3.5193 | 897 | 28.186 | 0.58
2020-02-16 11:30:00 | 2.36 | 198.7233 | 2.718 | 218.3707 | 2.5527 | 19.3953 | 2.378 | 8.4 | 3.5033 | 897 | 28.7187 | 0
2020-02-16 11:45:00 | 1.9827 | 75.578 | 2.2853 | 83.0393 | 2.0627 | 22.152 | 1.8033 | 10.1787 | 3.9807 | 897 | 28.3787 | 0
2020-02-16 12:00:00 | 1.786 | 6.5113 | 2.066 | 7.1473 | 1.8033 | 74.4673 | 1.4507 | 23.1507 | 4.6567 | 896.4 | 25.8073 | 0
2020-02-16 12:15:00 | 1.5147 | 11.0747 | 1.7427 | 12.1647 | 1.3693 | 192.4287 | 0.98733 | 239.772 | 4.792 | 896 | 24.77 | 0
2020-02-16 12:30:00 | 1.354 | 238.7953 | 1.5627 | 262.4087 | 1.3133 | 16.7853 | 0.964 | 31.4387 | 5.532 | 896 | 22.4627 | 0
2020-02-16 12:45:00 | 1.55 | 102.208 | 1.7907 | 112.3133 | 1.734 | 72.216 | 1.684 | 74.7567 | 6.6733 | 896 | 21.784 | 0
2020-02-16 13:00:00 | 1.8553 | 76.792 | 2.144 | 84.38 | 2.0873 | 101.5373 | 2.054 | 112.368 | 6.9747 | 896 | 22.504 | 0
2020-02-16 13:15:00 | 2.8073 | 126.1913 | 3.23 | 138.6733 | 3.184 | 141.586 | 3.3767 | 139.0853 | 7.3067 | 896 | 23.354 | 0.034
2020-02-16 13:30:00 | 3.852 | 143.05 | 4.44 | 157.1933 | 4.1813 | 168.0733 | 4.3907 | 166.3067 | 7.3053 | 895.4 | 23.5493 | 0.762
2020-02-16 13:45:00 | 3.8373 | 154.0867 | 4.418 | 169.32 | 4.3213 | 160.9533 | 4.2867 | 148.6333 | 7.506 | 895 | 24.2913 | 1.97
2020-02-16 14:00:00 | 3.8553 | 136.576 | 4.4333 | 150.08 | 4.5553 | 168.5533 | 4.7173 | 181.2667 | 8.264 | 895 | 25.768 | 1.632
2020-02-16 14:15:00 | 3.246 | 153.1947 | 3.736 | 168.34 | 3.72 | 196.9733 | 3.8627 | 185.8267 | 8.038 | 895 | 26.2093 | 2.9487
2020-02-16 14:30:00 | 2.8907 | 183.3147 | 3.3273 | 201.4387 | 3.4633 | 217.7933 | 3.5773 | 225.02 | 8.6733 | 895 | 26.026 | 3.9133
2020-02-16 14:45:00 | 4.09 | 132.8787 | 4.7087 | 146.0147 | 4.704 | 175.8933 | 5.0047 | 164.4733 | 8.674 | 895 | 25.756 | 4.582
2020-02-16 15:00:00 | 4.4207 | 158.382 | 5.0833 | 174.0333 | 5.126 | 177.82 | 5.492 | 172.92 | 8.9273 | 894.4 | 25.8647 | 4.0307
2020-02-16 15:15:00 | 4.4427 | 138.7607 | 5.1107 | 152.4733 | 5.0187 | 169.8067 | 5.2327 | 177.44 | 8.9533 | 894 | 26.5507 | 3.9867
2020-02-16 15:30:00 | 4.0427 | 157.5007 | 4.654 | 173.0733 | 4.6827 | 194.1933 | 4.9293 | 199.4867 | 9.112 | 894 | 27.672 | 4.7087
2020-02-16 15:45:00 | 3.9833 | 170.7993 | 4.5853 | 187.6933 | 4.658 | 217.9 | 4.5607 | 221.8067 | 9.26 | 894 | 28.9767 | 4.1733
2020-02-16 16:00:00 | 3.3107 | 160.6513 | 3.806 | 176.5333 | 4.0827 | 222.2267 | 4.48 | 232.6933 | 9.6427 | 894 | 28.6413 | 2.9447
2020-02-16 16:15:00 | 3.4253 | 168.9333 | 3.9467 | 185.64 | 4.08 | 207.6067 | 4.4153 | 191.28 | 9.6027 | 894.9333 | 28.9687 | 2.6807
2020-02-16 16:30:00 | 2.9707 | 128.6953 | 3.4167 | 141.42 | 3.708 | 170.24 | 3.8693 | 166.0533 | 9.4253 | 895 | 28.7587 | 1.8307
2020-02-16 16:45:00 | 3.2873 | 143.2573 | 3.7867 | 157.42 | 3.7187 | 160.16 | 3.868 | 174.3 | 9.23 | 895 | 29.65 | 0.97333
2020-02-16 17:00:00 | 3.564 | 151.9353 | 4.1007 | 166.96 | 4.0753 | 164.2533 | 3.998 | 171.86 | 9.16 | 895 | 30.462 | 0.32533
2020-02-16 17:15:00 | 3.124 | 130.7467 | 3.5933 | 143.6733 | 3.5513 | 145.72 | 3.508 | 164.0333 | 8.8747 | 895 | 31.8533 | 0
2020-02-16 17:30:00 | 2.5413 | 150.1073 | 2.9227 | 164.9533 | 2.8727 | 157.0733 | 2.828 | 162.0333 | 8.648 | 895 | 32.7073 | 0
2020-02-16 17:45:00 | 1.952 | 151.146 | 2.2433 | 166.0933 | 2.3353 | 159.4267 | 2.4093 | 171.52 | 8.2993 | 895 | 33.9193 | 0
2020-02-16 18:00:00 | 1.454 | 159.972 | 1.676 | 175.7933 | 1.7293 | 176.2067 | 1.6753 | 186.26 | 7.992 | 894.4 | 34.464 | 0
2020-02-16 18:15:00 | 1.7533 | 165.0473 | 2.03 | 181.36 | 2.2667 | 190.72 | 2.2533 | 194.34 | 7.772 | 894 | 35.5573 | 0
2020-02-16 18:30:00 | 1.8273 | 175.4393 | 2.1073 | 192.7867 | 2.2667 | 195.9067 | 2.2547 | 207.28 | 7.6507 | 894 | 35.9407 | 0
2020-02-16 18:45:00 | 1.6013 | 178.7267 | 1.8413 | 196.4 | 2.1287 | 213.2667 | 2.2133 | 218.4933 | 7.5147 | 894 | 36.3213 | 0
2020-02-16 19:00:00 | 1.398 | 187.2847 | 1.6127 | 205.8067 | 1.9327 | 223.7533 | 2.1253 | 232.94 | 7.392 | 894 | 36.894 | 0
2020-02-16 19:15:00 | 1.102 | 204.5087 | 1.2773 | 224.7267 | 1.6447 | 232.92 | 1.9273 | 242.0133 | 7.38 | 894 | 36.758 | 0
2020-02-16 19:30:00 | 0.97533 | 220.9073 | 1.126 | 242.7533 | 1.594 | 233.9 | 1.8667 | 243.4667 | 7.4147 | 894 | 36.728 | 0
2020-02-16 19:45:00 | 1.5033 | 195.5 | 1.7387 | 214.8267 | 2.2827 | 228.0933 | 2.3887 | 235.7733 | 7.342 | 894 | 36.8813 | 0
2020-02-16 20:00:00 | 1.3093 | 207.6207 | 1.5113 | 228.1467 | 1.982 | 231.4533 | 2.0267 | 237.28 | 7.298 | 894.6 | 36.928 | 0
2020-02-16 20:15:00 | 1.6707 | 190.176 | 1.926 | 208.98 | 2.468 | 225.7133 | 2.462 | 228.7867 | 7.1553 | 895 | 37.2473 | 0
2020-02-16 20:30:00 | 1.9207 | 184.5867 | 2.2153 | 202.8333 | 2.71 | 218.1467 | 2.7013 | 219.7133 | 7.108 | 895 | 37.2793 | 0
2020-02-16 20:45:00 | 2.3313 | 207.0807 | 2.6853 | 227.5533 | 3.5793 | 230.0933 | 3.4053 | 231.48 | 6.9547 | 895 | 37.7207 | 1.3727
2020-02-16 21:00:00 | 2.404 | 172.814 | 2.7653 | 189.9 | 3.6613 | 231.4267 | 3.8647 | 236.88 | 6.7647 | 895 | 39.4767 | 2.006
2020-02-16 21:15:00 | 2.5787 | 176.0573 | 2.966 | 193.4667 | 3.8407 | 233.7733 | 4.2693 | 241.54 | 6.4933 | 895 | 40.9227 | 0.36267
2020-02-16 21:30:00 | 1.9307 | 190.828 | 2.226 | 209.7 | 3.0847 | 235.1867 | 3.2073 | 236.46 | 6.3607 | 895 | 41.488 | 0
2020-02-16 21:45:00 | 1.34 | 176.7313 | 1.5447 | 194.2133 | 1.9393 | 212.74 | 2.0793 | 218.4 | 6.1287 | 895.9333 | 42.4247 | 0.25333
2020-02-16 22:00:00 | 1.0733 | 188.5747 | 1.238 | 207.22 | 1.636 | 207.7733 | 2.1133 | 230.1333 | 6.0233 | 896 | 43.4887 | 0.55
2020-02-16 22:15:00 | 1.5573 | 192.19 | 1.7933 | 211.1933 | 2.4893 | 210.14 | 2.8407 | 217.4933 | 5.61 | 896 | 45.4193 | 0.036667
2020-02-16 22:30:00 | 1.2427 | 175.124 | 1.4327 | 192.4333 | 1.8467 | 185.2533 | 2.0547 | 192.22 | 5.5273 | 896 | 45.7487 | 0
2020-02-16 22:45:00 | 1.173 | 176.554 | 1.353 | 194 | 1.745 | 201.24 | 2.02 | 199.56 | 5.496 | 896 | 45.684 | 0
2020-02-16 23:00:00 | 1.462 | 162.3067 | 1.6907 | 178.3533 | 1.8887 | 179.8867 | 2.042 | 194.2667 | 5.452 | 896 | 45.5487 | 0
2020-02-16 23:15:00 | 1.4187 | 165.0327 | 1.6407 | 181.3533 | 1.9073 | 165.6667 | 2.004 | 174.96 | 5.4173 | 896 | 45.0833 | 0
2020-02-16 23:30:00 | 1.826 | 165.7373 | 2.104 | 182.1267 | 2.2693 | 170.8067 | 2.3973 | 172.1 | 5.442 | 896 | 45.034 | 0
2020-02-16 23:45:00 | 1.4693 | 170.4347 | 1.6967 | 187.2867 | 2.0667 | 173.9267 | 2.0873 | 169.6067 | 5.4507 | 896 | 44.596 | 0