## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-17 00:00:00 | 1.0871 | 167.72 | 1.2586 | 184.3 | 1.8314 | 170.15 | 1.9114 | 169.7 | 5.3643 | 896.5714 | 44.2657 | 0
2020-02-17 00:15:00 | 0.91 | 167.72 | 1.052 | 184.3 | 1.59 | 169.22 | 1.772 | 169.7 | 5.34 | 897 | 44.0727 | 0
2020-02-17 00:30:00 | 0.708 | 167.72 | 0.816 | 184.3 | 1.3807 | 169.36 | 1.9487 | 170 | 5.158 | 897 | 44.2993 | 0
2020-02-17 00:45:00 | 0.596 | 134.8333 | 0.69067 | 148.1633 | 0.144 | 169.3333 | 1.0933 | 170.4 | 4.4887 | 897 | 46.6827 | 0
2020-02-17 01:00:00 | 1.3707 | 323.1393 | 1.5807 | 355.1 | 1.0073 | 37.9047 | 0.164 | 170.4 | 3.9333 | 897 | 48.534 | 0
2020-02-17 01:15:00 | 1.084 | 320.036 | 1.25 | 351.68 | 0.61933 | 285.792 | 0.066667 | 170.4 | 3.8193 | 897 | 49.348 | 0
2020-02-17 01:30:00 | 1.0367 | 316.53 | 1.196 | 347.8333 | 0.49067 | 353.0733 | 0 | 170.4 | 3.758 | 897 | 49.11 | 0
2020-02-17 01:45:00 | 0.968 | 314.8507 | 1.116 | 345.9867 | 0.33933 | 348.7 | 0.003333 | 170.4 | 3.658 | 897 | 49.1193 | 0
2020-02-17 02:00:00 | 1.0253 | 320.7993 | 1.1847 | 352.52 | 0.37467 | 349.7133 | 0 | 170.4 | 3.612 | 897 | 49.5593 | 0
2020-02-17 02:15:00 | 1.8953 | 214.788 | 2.1907 | 236.0267 | 1.7227 | 192.6453 | 0.14533 | 147.8547 | 3.3993 | 897 | 50.498 | 0
2020-02-17 02:30:00 | 2.6127 | 324.032 | 3.006 | 356.08 | 3.0633 | 4.738 | 1.9807 | 6.0953 | 2.8067 | 897 | 53.362 | 0
2020-02-17 02:45:00 | 2.858 | 278.2707 | 3.2907 | 305.7893 | 3.3427 | 3.522 | 2.938 | 12.9393 | 2.248 | 897 | 55.4973 | 0
2020-02-17 03:00:00 | 3.452 | 211.984 | 3.978 | 232.9453 | 4.07 | 127.2013 | 3.4653 | 16.9673 | 2.32 | 897 | 53.7333 | 0
2020-02-17 03:15:00 | 3.86 | 45.2393 | 4.4387 | 49.7087 | 4.47 | 5.446 | 3.9407 | 10.334 | 2.422 | 897 | 52.4053 | 0.858
2020-02-17 03:30:00 | 3.4947 | 193.0107 | 4.0247 | 212.0907 | 4.0693 | 7.0133 | 4.3887 | 12.4873 | 2.132 | 897 | 54.0627 | 2.662
2020-02-17 03:45:00 | 3.4267 | 213.8087 | 3.946 | 234.95 | 4.1847 | 5.24 | 4.278 | 11.556 | 1.9693 | 897 | 54.0893 | 4.8727
2020-02-17 04:00:00 | 3.168 | 211.3573 | 3.6433 | 232.2533 | 4.6953 | 9.3647 | 5.072 | 18.584 | 1.5127 | 897 | 56.5373 | 7.302
2020-02-17 04:15:00 | 2.8093 | 209.104 | 3.2333 | 229.78 | 4.8533 | 14.0587 | 5.3213 | 21.8667 | 1.0873 | 897 | 58.16 | 7.3553
2020-02-17 04:30:00 | 2.9787 | 201.0427 | 3.4353 | 220.92 | 5.5007 | 12.4673 | 5.944 | 17.3753 | 0.77133 | 896.4 | 58.9213 | 9.4687
2020-02-17 04:45:00 | 3.228 | 95.108 | 3.716 | 104.5067 | 5.3693 | 126.992 | 5.6307 | 22.8087 | 0.886 | 896 | 57.2393 | 8.5633
2020-02-17 05:00:00 | 2.9387 | 310.302 | 3.384 | 340.9867 | 4.9487 | 12.3407 | 5.4593 | 20.51 | 0.76533 | 896 | 57.7887 | 6.9787
2020-02-17 05:15:00 | 2.8887 | 209.638 | 3.322 | 230.3633 | 4.7453 | 6.254 | 4.9933 | 10.2653 | 0.53467 | 896 | 58.878 | 8.1453
2020-02-17 05:30:00 | 3.258 | 279.222 | 3.7453 | 306.8267 | 5.8147 | 7.1967 | 5.876 | 9.934 | 0.23933 | 896 | 60.3827 | 11.264
2020-02-17 05:45:00 | 3.7233 | 161.3127 | 4.2787 | 177.2593 | 6.2193 | 9.7753 | 6.086 | 12.3433 | -0.006 | 896 | 63.7373 | 13.0347
2020-02-17 06:00:00 | 4.1307 | 218.7927 | 4.7527 | 240.4287 | 6.2633 | 9.3967 | 6.352 | 14.432 | 0.38533 | 896 | 59.076 | 16.1927
2020-02-17 06:15:00 | 3.9507 | 263.9053 | 4.5493 | 290.0053 | 6.6287 | 15.668 | 6.488 | 18.9827 | 0.14533 | 896 | 59.7567 | 19.7973
2020-02-17 06:30:00 | 4.2813 | 284.2873 | 4.9307 | 312.3933 | 6.4013 | 16.2333 | 6.524 | 14.2927 | 0.27533 | 896 | 58.5487 | 22.196
2020-02-17 06:45:00 | 4.5067 | 171.4413 | 5.1893 | 188.39 | 6.4113 | 11.2087 | 6.5467 | 19.812 | 0.222 | 896 | 58.4053 | 20.956
2020-02-17 07:00:00 | 4.0867 | 152.4393 | 4.7047 | 167.51 | 6.6853 | 5.6093 | 6.676 | 11.86 | 0.084667 | 896 | 58.8733 | 25.9173
2020-02-17 07:15:00 | 4.6227 | 77.0927 | 5.3167 | 84.7147 | 7.308 | 4.7687 | 7.2607 | 10.2233 | -0.13667 | 896 | 59.8793 | 29.3967
2020-02-17 07:30:00 | 4.4567 | 148.0607 | 5.1287 | 162.702 | 6.802 | 7.1927 | 6.996 | 16.9013 | -0.13267 | 896 | 59.9487 | 28.9093
2020-02-17 07:45:00 | 4.4387 | 205.3607 | 5.1067 | 225.67 | 6.7807 | 7.0353 | 6.9527 | 15.3593 | -0.38733 | 896 | 61.906 | 29.8753
2020-02-17 08:00:00 | 4.5627 | 229.516 | 5.258 | 252.21 | 6.352 | 128.996 | 6.3587 | 19.4713 | -0.40933 | 896 | 62.1473 | 27.542
2020-02-17 08:15:00 | 4.244 | 174.26 | 4.8847 | 191.4913 | 5.8113 | 14.6793 | 6.0893 | 35.6493 | -0.354 | 896 | 61.2407 | 19.7467
2020-02-17 08:30:00 | 3.224 | 158.2013 | 3.716 | 173.8453 | 5.4107 | 9.4747 | 5.48 | 12.2607 | -0.16333 | 896.6 | 60.956 | 17.0827
2020-02-17 08:45:00 | 3.686 | 203.6507 | 4.2427 | 223.79 | 5.6507 | 9.5807 | 6.2467 | 8.404 | 0.45867 | 897.2667 | 59.6 | 24.2553
2020-02-17 09:00:00 | 2.8987 | 207.0913 | 3.34 | 227.57 | 5.2513 | 7.8487 | 6.1953 | 11.1693 | 1.7933 | 898 | 54.9413 | 20.3687
2020-02-17 09:15:00 | 3.6407 | 211.106 | 4.1893 | 231.98 | 5.454 | 14.352 | 5.4647 | 16.3767 | 1.8713 | 898.9333 | 54.1393 | 20.9547
2020-02-17 09:30:00 | 4.336 | 271.0153 | 4.986 | 297.8147 | 6.3067 | 8.6767 | 6.1127 | 13.3513 | 1.8313 | 899 | 53.1893 | 23.1927
2020-02-17 09:45:00 | 4.228 | 160.2567 | 4.8627 | 176.102 | 6.1753 | 7.4413 | 6.0847 | 16.744 | 2.5313 | 899 | 49.7173 | 25.882
2020-02-17 10:00:00 | 4.352 | 172.728 | 5.0093 | 189.8007 | 6.2147 | 11.3807 | 6.076 | 16.1993 | 2.9887 | 899 | 47.7453 | 22.478
2020-02-17 10:15:00 | 4.4987 | 213.5653 | 5.178 | 234.6847 | 5.9367 | 8.6527 | 6.1253 | 20.2527 | 3.0427 | 899.9333 | 46.8907 | 14.1787
2020-02-17 10:30:00 | 4.1707 | 15.1653 | 4.8 | 16.66 | 5.8247 | 14.2153 | 6.6367 | 21.206 | 3.608 | 900 | 44.8607 | 6.8273
2020-02-17 10:45:00 | 4.176 | 113.558 | 4.806 | 124.7833 | 6.1527 | 13.906 | 6.6567 | 18.654 | 4.7133 | 900 | 42.2233 | 4.666
2020-02-17 11:00:00 | 4.004 | 148.2453 | 4.6073 | 162.9047 | 6.1107 | 14.4833 | 6.1253 | 16.0627 | 5.5073 | 900 | 40.6007 | 4.4387
2020-02-17 11:15:00 | 4.2687 | 263.324 | 4.9107 | 289.3613 | 6.2787 | 15.5853 | 5.8073 | 18.5953 | 5.9627 | 900 | 37.7553 | 3.6007
2020-02-17 11:30:00 | 4.064 | 107.556 | 4.674 | 118.1867 | 6.1907 | 11.7093 | 5.708 | 13.6347 | 6.466 | 900 | 36.372 | 2.0947
2020-02-17 11:45:00 | 3.9847 | 18.0133 | 4.5833 | 19.7933 | 5.3607 | 14.2853 | 4.9747 | 13.0647 | 6.3967 | 900 | 34.7307 | 1.0333
2020-02-17 12:00:00 | 3.7447 | 105.8607 | 4.308 | 116.3287 | 4.7967 | 17.4267 | 4.522 | 13.088 | 6.762 | 900 | 32.3727 | 0.092667
2020-02-17 12:15:00 | 3.0467 | 77.5587 | 3.5053 | 85.2247 | 4.5367 | 22.1247 | 4.2633 | 29.7687 | 7.59 | 900 | 30.8013 | 0
2020-02-17 12:30:00 | 2.842 | 18.44 | 3.2727 | 20.2507 | 3.38 | 15.5713 | 2.7133 | 54.322 | 7.0013 | 900 | 31.6027 | 0
2020-02-17 12:45:00 | 1.4647 | 5.6933 | 1.6893 | 6.2507 | 1.69 | 9.0353 | 1.12 | 349.1667 | 6.9107 | 900 | 31.9847 | 0
2020-02-17 13:00:00 | 1.2513 | 76.6907 | 1.4487 | 84.2707 | 1.166 | 215.0707 | 0.83533 | 214.48 | 7.51 | 899.4 | 30.41 | 0
2020-02-17 13:15:00 | 2.744 | 157.0307 | 3.1593 | 172.56 | 3.108 | 186.4733 | 2.996 | 188.6 | 8.216 | 899 | 29.7087 | 0
2020-02-17 13:30:00 | 2.9567 | 150.9673 | 3.4053 | 165.8933 | 3.1967 | 179.1933 | 3.076 | 187.3267 | 8.2993 | 899 | 32.522 | 0
2020-02-17 13:45:00 | 3.164 | 144.8553 | 3.6413 | 159.18 | 3.7367 | 160.8267 | 3.602 | 181.08 | 8.534 | 898.7333 | 33.7447 | 0.29333
2020-02-17 14:00:00 | 3.1293 | 154.9887 | 3.6007 | 170.32 | 3.546 | 181.9267 | 3.6653 | 196.68 | 8.1873 | 898 | 33.2873 | 0.508
2020-02-17 14:15:00 | 2.7873 | 169.8087 | 3.2067 | 186.6 | 3.4127 | 188.1267 | 3.5027 | 202.8533 | 8.3813 | 898 | 32.0647 | 0.048
2020-02-17 14:30:00 | 2.806 | 168.848 | 3.234 | 185.54 | 3.2107 | 182.7533 | 3.232 | 193.88 | 8.3893 | 898 | 31.4267 | 0
2020-02-17 14:45:00 | 3.0427 | 153.3553 | 3.4973 | 168.52 | 3.38 | 196.4533 | 3.4587 | 203.0333 | 8.0613 | 897.0667 | 32.4307 | 0
2020-02-17 15:00:00 | 2.7213 | 153.682 | 3.1333 | 168.88 | 3.146 | 195.8067 | 3.2113 | 189.8667 | 8.0467 | 897 | 30.6447 | 0
2020-02-17 15:15:00 | 2.528 | 130.686 | 2.9067 | 143.6067 | 2.8493 | 184.9467 | 2.8807 | 220.6533 | 8.1727 | 897 | 29.2827 | 0
2020-02-17 15:30:00 | 2.7573 | 140.2793 | 3.1713 | 154.1533 | 3.2927 | 171.42 | 3.26 | 188.24 | 8.5133 | 897 | 31.2453 | 0
2020-02-17 15:45:00 | 2.7373 | 170.0907 | 3.156 | 186.9067 | 3.532 | 224.4467 | 3.64 | 228.7867 | 8.9247 | 897 | 30.678 | 0.47933
2020-02-17 16:00:00 | 2.54 | 161.3247 | 2.9233 | 177.28 | 3.3333 | 244.7067 | 3.218 | 241.74 | 9.034 | 897 | 28.4527 | 1.0227
2020-02-17 16:15:00 | 2.9693 | 154.7567 | 3.4207 | 170.0667 | 3.5733 | 215.9733 | 3.4547 | 230.5133 | 8.922 | 897 | 30.4773 | 1.476
2020-02-17 16:30:00 | 2.2847 | 151.95 | 2.6273 | 166.98 | 2.9333 | 242.1933 | 3.2667 | 234.1333 | 8.8207 | 897 | 28.9333 | 0.93533
2020-02-17 16:45:00 | 2.1187 | 175.8513 | 2.44 | 193.24 | 2.7413 | 234.84 | 3.0993 | 231.44 | 8.8693 | 897 | 27.6853 | 0.95533
2020-02-17 17:00:00 | 2.21 | 169.2827 | 2.546 | 186.02 | 2.7547 | 227.4133 | 2.7173 | 216.3 | 9.1033 | 897 | 28.4553 | 2.304
2020-02-17 17:15:00 | 2.3533 | 173.462 | 2.7193 | 190.6067 | 3.008 | 233.0933 | 3.2413 | 224.5733 | 8.7573 | 897 | 29.8133 | 3.2087
2020-02-17 17:30:00 | 2.0307 | 181.954 | 2.3427 | 199.94 | 2.9307 | 239.12 | 3.1313 | 238.7467 | 8.2327 | 896.4 | 31.86 | 4.0067
2020-02-17 17:45:00 | 2.2747 | 165.8833 | 2.62 | 182.2867 | 3.162 | 236.8733 | 3.4313 | 238.1667 | 8.0987 | 896 | 32.8073 | 4.4627
2020-02-17 18:00:00 | 1.6787 | 163.682 | 1.9427 | 179.86 | 2.284 | 218.6733 | 2.7933 | 232.4467 | 7.9713 | 896 | 31.564 | 3.3113
2020-02-17 18:15:00 | 1.7267 | 172.85 | 1.992 | 189.94 | 2.4173 | 219.4533 | 2.786 | 210.4667 | 7.656 | 896 | 32.0733 | 3.14
2020-02-17 18:30:00 | 2.2993 | 176.2053 | 2.6527 | 193.6267 | 3.09 | 211.9133 | 3.3533 | 215.78 | 7.4513 | 896 | 31.1487 | 4.65
2020-02-17 18:45:00 | 2.0967 | 163.9647 | 2.4147 | 180.1733 | 2.5773 | 188.96 | 2.7647 | 199.18 | 7.3373 | 896 | 30.9973 | 3.3947
2020-02-17 19:00:00 | 2.5827 | 156.2127 | 2.974 | 171.66 | 3.2553 | 192.8067 | 3.64 | 195.56 | 7.2093 | 895.4 | 31.628 | 3.8693
2020-02-17 19:15:00 | 2.8693 | 161.3893 | 3.3007 | 177.34 | 3.5887 | 183.34 | 3.9907 | 194.2667 | 7.1727 | 895 | 33.544 | 4.322
2020-02-17 19:30:00 | 2.0387 | 171.3953 | 2.346 | 188.3467 | 2.516 | 196.0867 | 3.2433 | 202.64 | 7.224 | 895 | 34.236 | 4.092
2020-02-17 19:45:00 | 2.1973 | 170.5747 | 2.528 | 187.44 | 2.694 | 189.82 | 3.2173 | 205.5133 | 7.032 | 895 | 35.53 | 3.7127
2020-02-17 20:00:00 | 1.93 | 172.77 | 2.2233 | 189.86 | 2.3807 | 201.34 | 2.7513 | 187.7 | 7.0187 | 895 | 36.8987 | 2.4133
2020-02-17 20:15:00 | 2.0947 | 155.8747 | 2.4087 | 171.2933 | 2.7673 | 187.7533 | 3.224 | 193.2933 | 6.8653 | 895 | 37.9213 | 1.454
2020-02-17 20:30:00 | 2.172 | 162.9487 | 2.5 | 179.0667 | 2.7527 | 189.94 | 3.5367 | 197.8733 | 6.8233 | 895 | 39.2007 | 1.4627
2020-02-17 20:45:00 | 2.4747 | 174.45 | 2.848 | 191.7 | 3.0873 | 190.52 | 3.546 | 192.5467 | 6.7967 | 895 | 40.0567 | 2.5253
2020-02-17 21:00:00 | 2.6213 | 171.628 | 3.0193 | 188.6 | 3.1873 | 190.9867 | 3.5067 | 197.8067 | 6.8653 | 895.6 | 40.2227 | 4.2807
2020-02-17 21:15:00 | 2.48 | 155.8653 | 2.8573 | 171.2733 | 3.034 | 183.8867 | 3.5433 | 196.7467 | 6.744 | 896 | 40.756 | 3.93
2020-02-17 21:30:00 | 2.8047 | 153.7093 | 3.232 | 168.9 | 3.4213 | 185.5667 | 3.8987 | 197.9267 | 6.5507 | 896 | 41.1347 | 3.508
2020-02-17 21:45:00 | 2.8287 | 160.4693 | 3.2527 | 176.3333 | 3.5327 | 184.5867 | 4.1787 | 189.8733 | 6.3713 | 895.3333 | 41.8933 | 4.92
2020-02-17 22:00:00 | 2.824 | 162.902 | 3.2487 | 179.0067 | 3.4167 | 186.8667 | 3.8133 | 179.88 | 6.1207 | 896 | 43.5633 | 5.4827
2020-02-17 22:15:00 | 2.7067 | 164.2013 | 3.1187 | 180.4333 | 3.198 | 187.8933 | 3.5633 | 196.1867 | 6.0673 | 896 | 45.6727 | 6.1673
2020-02-17 22:30:00 | 2.4712 | 166.6333 | 2.8478 | 182.8125 | 3.1313 | 180.9111 | 3.4489 | 200.8 | 5.6662 | 896 | 47.5744 | 6.5389
2020-02-17 22:45:00 | 2.02 | 148.83 | 2.33 | 163.55 | 2.705 | 186.35 | 3.155 | 213.2 | 5.24 | 896 | 49.47 | 8.505
2020-02-17 23:00:00 | 2.4193 | 155.1113 | 2.784 | 170.4467 | 2.9847 | 192.94 | 3.4407 | 222.0133 | 5.0147 | 896 | 50.648 | 6.7267
2020-02-17 23:15:00 | 2.2627 | 166.8027 | 2.6053 | 183.2933 | 2.8693 | 188.5 | 3.0313 | 203.5267 | 4.9107 | 896 | 51.588 | 3.9533
2020-02-17 23:30:00 | 2.1667 | 152.7407 | 2.4927 | 167.8467 | 2.742 | 175.1067 | 2.9953 | 195.2 | 4.71 | 896 | 52.9253 | 3.596
2020-02-17 23:45:00 | 2.2733 | 152.8233 | 2.6173 | 167.9267 | 2.7853 | 171.9667 | 3.16 | 180.1733 | 4.658 | 896 | 53.5207 | 4.6327