## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-18 00:00:00 | 2.8064 | 162.0986 | 3.2321 | 178.1214 | 3.4893 | 177.6714 | 3.8786 | 178.8571 | 4.605 | 896 | 53.984 | 5.43
2020-02-18 00:15:00 | 2.57 | 160.7293 | 2.96 | 176.62 | 3.1253 | 175.8467 | 3.694 | 175.9 | 4.798 | 896 | 53.7413 | 5.7993
2020-02-18 00:30:00 | 2.7487 | 153.1527 | 3.1607 | 168.2933 | 3.4367 | 169.2 | 3.9633 | 184.44 | 4.646 | 896 | 54.49 | 5.9093
2020-02-18 00:45:00 | 2.6047 | 160.1467 | 2.996 | 175.9867 | 3.202 | 174.1067 | 3.7947 | 174.0067 | 4.7253 | 895.7333 | 54.1633 | 6.066
2020-02-18 01:00:00 | 2.5233 | 153.61 | 2.9047 | 168.8 | 3.1347 | 163.0733 | 3.8627 | 173.2067 | 4.5127 | 895 | 54.916 | 5.6847
2020-02-18 01:15:00 | 2.376 | 169.5727 | 2.7393 | 186.34 | 2.9247 | 175.4533 | 3.5433 | 178.44 | 4.5273 | 895 | 54.746 | 4.2867
2020-02-18 01:30:00 | 2.1747 | 162.7187 | 2.502 | 178.8067 | 2.776 | 174.9867 | 3.4233 | 168.6667 | 4.5333 | 895 | 54.5173 | 4.1447
2020-02-18 01:45:00 | 2.2513 | 155.6287 | 2.5973 | 171.02 | 2.8887 | 168.5267 | 3.852 | 166.3733 | 4.5553 | 895 | 54.164 | 4.3913
2020-02-18 02:00:00 | 2.4933 | 156.7053 | 2.8733 | 172.2067 | 3.2173 | 164.64 | 3.8213 | 177.3933 | 4.4773 | 895 | 54.4173 | 4.774
2020-02-18 02:15:00 | 2.7553 | 162.0307 | 3.1727 | 178.0533 | 3.502 | 169.08 | 4.2633 | 170.4733 | 4.518 | 894.7333 | 54.3773 | 3.8687
2020-02-18 02:30:00 | 2.5673 | 153.9307 | 2.9547 | 169.1467 | 3.2913 | 168.7333 | 3.9687 | 177.9933 | 4.5013 | 894 | 54.6273 | 4.43
2020-02-18 02:45:00 | 2.4353 | 165.73 | 2.8093 | 182.12 | 3.066 | 173.5267 | 3.6747 | 171.1 | 4.5047 | 894 | 54.6353 | 4.2027
2020-02-18 03:00:00 | 2.8907 | 154.3633 | 3.3233 | 169.6267 | 3.61 | 164.9 | 4.1693 | 168.36 | 4.5227 | 894 | 54.35 | 5.184
2020-02-18 03:15:00 | 2.632 | 160.242 | 3.032 | 176.0867 | 3.3173 | 170.02 | 4.2547 | 181.9133 | 4.5013 | 894 | 54.4813 | 6.012
2020-02-18 03:30:00 | 2.4613 | 157.0227 | 2.8287 | 172.5533 | 3.0747 | 168.9933 | 4.1527 | 164.86 | 4.4547 | 894 | 54.7107 | 5.4147
2020-02-18 03:45:00 | 2.2693 | 164.7487 | 2.6153 | 181.04 | 2.9067 | 176.7867 | 3.6393 | 174.64 | 4.44 | 894 | 55.1833 | 5.1933
2020-02-18 04:00:00 | 2.42 | 156.8993 | 2.788 | 172.4133 | 2.956 | 168.08 | 3.684 | 182.6 | 4.3307 | 893.4 | 56.102 | 6.1933
2020-02-18 04:15:00 | 2.688 | 164.48 | 3.0967 | 180.74 | 3.41 | 174.8667 | 4.2407 | 181.4 | 4.2693 | 893.6667 | 56.65 | 6.5073
2020-02-18 04:30:00 | 2.9227 | 172.7333 | 3.3613 | 189.8133 | 3.644 | 188.6867 | 4.072 | 180.6467 | 4.2273 | 893 | 57.28 | 6.862
2020-02-18 04:45:00 | 3.0927 | 182.0033 | 3.5573 | 199.9933 | 3.7227 | 180.0867 | 4.306 | 180.0333 | 4.256 | 893 | 57.232 | 5.6993
2020-02-18 05:00:00 | 2.652 | 167.2207 | 3.0513 | 183.76 | 3.358 | 187.98 | 3.8307 | 176.82 | 4.248 | 893 | 57.4267 | 4.956
2020-02-18 05:15:00 | 2.3833 | 165.012 | 2.7467 | 181.3267 | 3.1307 | 169.84 | 3.97 | 168.8733 | 4.436 | 893 | 56.9113 | 3.9013
2020-02-18 05:30:00 | 2.1147 | 155.548 | 2.4373 | 170.9267 | 2.7413 | 170.4133 | 3.4013 | 167.3267 | 4.542 | 893 | 56.764 | 3.752
2020-02-18 05:45:00 | 1.9893 | 170.928 | 2.2913 | 187.8333 | 2.7473 | 160.3133 | 3.7193 | 173.9867 | 4.5287 | 893 | 57.2467 | 4.07
2020-02-18 06:00:00 | 2.6787 | 144.7327 | 3.084 | 159.04 | 3.4027 | 164.0467 | 4.32 | 166.0867 | 4.552 | 893 | 57.578 | 4.262
2020-02-18 06:15:00 | 2.164 | 158.7813 | 2.4887 | 174.4733 | 2.9407 | 160.1533 | 4.05 | 169.6667 | 4.5387 | 893 | 57.8607 | 3.7407
2020-02-18 06:30:00 | 2.1087 | 148.7413 | 2.4353 | 163.4467 | 2.9347 | 163.0067 | 4.13 | 167.5333 | 4.5613 | 893 | 57.946 | 3.092
2020-02-18 06:45:00 | 1.7353 | 167.748 | 2.008 | 184.3333 | 2.5953 | 169.0333 | 3.5833 | 166.7933 | 4.648 | 893 | 57.6113 | 2.2033
2020-02-18 07:00:00 | 1.576 | 164.278 | 1.8153 | 180.52 | 2.4747 | 174.5467 | 3.5873 | 169.78 | 4.5647 | 893 | 58.07 | 2.9973
2020-02-18 07:15:00 | 1.6067 | 157.3327 | 1.8553 | 172.88 | 2.5293 | 168.5467 | 3.576 | 160.8267 | 4.5507 | 893 | 58.2273 | 3.0333
2020-02-18 07:30:00 | 1.6407 | 170.6467 | 1.894 | 187.52 | 2.336 | 162.8667 | 3.6673 | 161.6067 | 4.592 | 893 | 58.1707 | 2.9067
2020-02-18 07:45:00 | 1.6767 | 171.7467 | 1.9347 | 188.7333 | 2.2933 | 161.2733 | 3.496 | 165.5533 | 4.6687 | 893.2667 | 58 | 2.6947
2020-02-18 08:00:00 | 1.928 | 164.482 | 2.2187 | 180.7467 | 2.5587 | 170.6467 | 3.6267 | 161.8667 | 4.734 | 894 | 57.8593 | 2.5187
2020-02-18 08:15:00 | 1.408 | 151.2947 | 1.6247 | 166.2533 | 2.0853 | 179.2533 | 3.1313 | 166.6667 | 4.7367 | 894 | 58.112 | 1.5007
2020-02-18 08:30:00 | 1.6007 | 166.6947 | 1.8433 | 183.1733 | 2.276 | 186.48 | 3.4087 | 171.3267 | 4.734 | 894 | 58.51 | 2.8573
2020-02-18 08:45:00 | 1.974 | 174.2527 | 2.2747 | 191.4867 | 2.8113 | 191.4 | 3.57 | 188.76 | 4.5767 | 894 | 61.18 | 3.1973
2020-02-18 09:00:00 | 2.168 | 172.2107 | 2.5013 | 189.24 | 3.0333 | 205.1 | 3.6733 | 192.08 | 4.2713 | 894 | 62.8513 | 2.57
2020-02-18 09:15:00 | 1.8027 | 152.6633 | 2.078 | 167.76 | 2.2347 | 216.7133 | 2.8687 | 195.3867 | 4.206 | 894 | 63.9347 | 2.106
2020-02-18 09:30:00 | 2.218 | 166.8207 | 2.554 | 183.32 | 2.6633 | 206.2933 | 3.5967 | 202.7467 | 4.4433 | 894.6 | 63.608 | 2.46
2020-02-18 09:45:00 | 3.1773 | 163.534 | 3.658 | 179.7067 | 3.682 | 202.32 | 4.4893 | 205.88 | 4.6047 | 895 | 61.466 | 3.3313
2020-02-18 10:00:00 | 3.6293 | 159.3973 | 4.1773 | 175.16 | 4.178 | 195.2933 | 4.326 | 196.66 | 4.6767 | 895 | 58.924 | 3.908
2020-02-18 10:15:00 | 2.746 | 150.1867 | 3.158 | 165.0333 | 3.148 | 194.5333 | 3.6373 | 202.1533 | 5.0987 | 895 | 57.138 | 2.0267
2020-02-18 10:30:00 | 2.1547 | 149.458 | 2.4807 | 164.2333 | 2.4087 | 176.4933 | 2.614 | 189.0933 | 5.4687 | 895 | 55.8853 | 0.36933
2020-02-18 10:45:00 | 2.0687 | 155.8687 | 2.3793 | 171.28 | 2.1653 | 181.9133 | 2.022 | 205.7667 | 5.6087 | 895 | 57.0147 | 0.59867
2020-02-18 11:00:00 | 2.0347 | 157.0287 | 2.342 | 172.5533 | 2.14 | 189.54 | 2.1247 | 212.82 | 5.6707 | 895 | 58.1027 | 0.486
2020-02-18 11:15:00 | 1.7553 | 159.06 | 2.0207 | 174.7867 | 2.0127 | 201.3867 | 2.4927 | 214.8333 | 6.004 | 895 | 57.602 | 0.42667
2020-02-18 11:30:00 | 1.84 | 151.4427 | 2.116 | 166.4133 | 2.2627 | 208.9 | 2.5387 | 212.3733 | 6.5133 | 895 | 55.0387 | 0.292
2020-02-18 11:45:00 | 2.8307 | 153.154 | 3.2573 | 168.2933 | 3.2667 | 212.3067 | 3.234 | 203.36 | 6.776 | 895 | 54.292 | 0.568
2020-02-18 12:00:00 | 3.2447 | 154.756 | 3.73 | 170.0533 | 3.5333 | 207.68 | 3.684 | 195.0733 | 6.9487 | 895 | 53.4827 | 1.274
2020-02-18 12:15:00 | 3.202 | 127.6393 | 3.6807 | 140.26 | 3.6053 | 191.5933 | 3.578 | 184.0533 | 7.3987 | 895 | 52.5587 | 2.1407
2020-02-18 12:30:00 | 3.852 | 147.5487 | 4.428 | 162.1333 | 4.2647 | 162.6867 | 4.0413 | 182.0867 | 7.8993 | 894.4 | 50.8367 | 3.4667
2020-02-18 12:45:00 | 4.0493 | 144.2287 | 4.6647 | 158.4933 | 4.6187 | 167.3067 | 4.6273 | 178.26 | 7.8267 | 894 | 50.4533 | 3.6453
2020-02-18 13:00:00 | 3.4173 | 149.4953 | 3.932 | 164.28 | 3.912 | 152.0133 | 3.9673 | 172.86 | 7.844 | 894 | 50.9033 | 3.6973
2020-02-18 13:15:00 | 3.6967 | 147.0247 | 4.252 | 161.56 | 4.178 | 159.3133 | 4.324 | 165.0267 | 8.0573 | 894 | 50.4447 | 4.434
2020-02-18 13:30:00 | 3.6587 | 134.55 | 4.2147 | 147.8533 | 4.0787 | 162.5267 | 4.278 | 176.9 | 8.586 | 893.4 | 49.392 | 4.8527
2020-02-18 13:45:00 | 3.326 | 125.2413 | 3.8307 | 137.62 | 4.1207 | 164.9467 | 4.404 | 164.5867 | 9.2893 | 893 | 47.6567 | 6.028
2020-02-18 14:00:00 | 3.1853 | 153.122 | 3.6627 | 168.26 | 3.7587 | 164.5333 | 4.2587 | 171.76 | 9.5167 | 893 | 46.9927 | 7.514
2020-02-18 14:15:00 | 3.2947 | 168.844 | 3.7893 | 185.5333 | 3.9453 | 201.34 | 4.3673 | 203.1 | 9.8193 | 893 | 45.0687 | 7.8707
2020-02-18 14:30:00 | 3.7367 | 133.0327 | 4.2987 | 146.18 | 4.456 | 151.6467 | 4.7413 | 169.5867 | 10.1687 | 893 | 43.7167 | 7.0327
2020-02-18 14:45:00 | 3.4373 | 148.048 | 3.954 | 162.6933 | 4.1127 | 160.4067 | 4.3387 | 193.4133 | 9.608 | 893 | 44.7727 | 5.8553
2020-02-18 15:00:00 | 3.914 | 144.3593 | 4.5047 | 158.6267 | 4.4387 | 184.7733 | 4.696 | 200.2 | 9.388 | 892.4 | 45.4153 | 6.3673
2020-02-18 15:15:00 | 4.114 | 152.9773 | 4.734 | 168.1 | 4.7967 | 157.3867 | 5.0133 | 176.6267 | 9.7013 | 892 | 45.3833 | 5.98
2020-02-18 15:30:00 | 4.4329 | 145.1721 | 5.1043 | 159.5214 | 5.1893 | 169.3143 | 5.3857 | 175.1714 | 9.7207 | 892 | 44.9357 | 6.714
2020-02-18 15:45:00 | 4.434 | 142.376 | 5.1013 | 156.4533 | 5.0447 | 163.7533 | 4.9547 | 180.5133 | 9.226 | 892 | 46.0367 | 7.8593
2020-02-18 16:00:00 | 4.4247 | 136.4047 | 5.0927 | 149.8933 | 5.1047 | 159.6333 | 5.14 | 176.3067 | 8.6967 | 892 | 47.2293 | 9.9067
2020-02-18 16:15:00 | 3.828 | 143.74 | 4.408 | 157.9467 | 4.3333 | 179.78 | 4.696 | 172.38 | 8.6427 | 891.0667 | 46.87 | 9.9493
2020-02-18 16:30:00 | 4.5467 | 158.0747 | 5.242 | 173.7 | 5.1413 | 154.9733 | 5.4173 | 171.3933 | 8.9927 | 891 | 45.6607 | 13.8587
2020-02-18 16:45:00 | 4.3413 | 148.1953 | 4.9953 | 162.84 | 5.1747 | 168.2533 | 5.3033 | 170.6467 | 9.4887 | 891 | 43.9813 | 12.2827
2020-02-18 17:00:00 | 4.066 | 153.504 | 4.678 | 168.68 | 4.696 | 173.3933 | 5.0647 | 190.22 | 9.2447 | 891 | 42.754 | 9.8433
2020-02-18 17:15:00 | 4.2133 | 140.0607 | 4.8467 | 153.9133 | 4.9467 | 155.9667 | 4.966 | 181.88 | 9.1427 | 891 | 44.0827 | 10.2713
2020-02-18 17:30:00 | 4.3193 | 157.1067 | 4.9747 | 172.6333 | 4.874 | 160.5933 | 5.324 | 183.2533 | 8.5867 | 891 | 45.6793 | 10.9573
2020-02-18 17:45:00 | 3.8907 | 155.9167 | 4.4793 | 171.3333 | 4.3613 | 177.7333 | 4.938 | 185.5133 | 8.0667 | 891 | 47.3313 | 8.7833
2020-02-18 18:00:00 | 3.3313 | 165.9053 | 3.8387 | 182.3133 | 3.928 | 201.94 | 4.3087 | 199.3733 | 7.854 | 891 | 48.036 | 8.582
2020-02-18 18:15:00 | 3.234 | 166.4567 | 3.7173 | 182.9133 | 4.04 | 215.7933 | 4.1833 | 212.2733 | 7.5367 | 891 | 49.1753 | 10.656
2020-02-18 18:30:00 | 3.208 | 167.6447 | 3.696 | 184.2267 | 3.9333 | 210.3133 | 3.9393 | 214.8933 | 7.348 | 891 | 50.024 | 12.07
2020-02-18 18:45:00 | 2.936 | 179.9373 | 3.3773 | 197.7333 | 3.576 | 216.1933 | 3.5867 | 216.0067 | 7.138 | 891 | 50.9947 | 12.2387
2020-02-18 19:00:00 | 3.0493 | 181.1567 | 3.514 | 199.0667 | 3.9873 | 217.3333 | 3.8133 | 216.5933 | 7.0327 | 891 | 51.6847 | 11.468
2020-02-18 19:15:00 | 3.398 | 168.876 | 3.912 | 185.5667 | 4.3907 | 216.56 | 4.8667 | 220.8333 | 6.8187 | 891 | 53.3153 | 12.9713
2020-02-18 19:30:00 | 3.616 | 156.5367 | 4.1573 | 172.0133 | 4.59 | 215.8867 | 5.4893 | 221.36 | 6.7573 | 891 | 53.11 | 12.8847
2020-02-18 19:45:00 | 3.3973 | 176.0793 | 3.9067 | 193.4933 | 4.3927 | 214.6533 | 4.8753 | 218.6933 | 6.6687 | 891 | 52.9113 | 12.8893
2020-02-18 20:00:00 | 3.3193 | 174.3793 | 3.8193 | 191.62 | 4.37 | 212.6267 | 4.7427 | 220.1667 | 6.448 | 891 | 53.6387 | 11.818
2020-02-18 20:15:00 | 3.2807 | 182.7773 | 3.7767 | 200.8467 | 4.2027 | 217.6 | 4.402 | 218.4667 | 6.442 | 891 | 53.6827 | 10.4693
2020-02-18 20:30:00 | 3.2967 | 179.858 | 3.794 | 197.6467 | 4.2073 | 217.2733 | 4.648 | 219.7933 | 6.3487 | 891 | 54.252 | 9.614
2020-02-18 20:45:00 | 2.9653 | 175.1887 | 3.4193 | 192.5133 | 3.8367 | 216.1867 | 4.1313 | 222.7267 | 6.2453 | 891 | 54.702 | 10.536
2020-02-18 21:00:00 | 3.31 | 180.0073 | 3.8127 | 197.8067 | 4.4153 | 222.0467 | 4.5087 | 220.2867 | 6.018 | 891.6 | 55.4333 | 12.132
2020-02-18 21:15:00 | 3.4293 | 174.8073 | 3.948 | 192.0933 | 4.4467 | 220.4733 | 4.7793 | 228.32 | 5.9953 | 892 | 55.064 | 10.852
2020-02-18 21:30:00 | 3.1193 | 176.762 | 3.59 | 194.24 | 4.0953 | 217.8467 | 4.414 | 223.9733 | 5.9713 | 892 | 55.2873 | 9.9973
2020-02-18 21:45:00 | 3.0407 | 181.3067 | 3.5007 | 199.2267 | 4.0213 | 220.4533 | 4.5793 | 226.0067 | 5.7687 | 892 | 57.0447 | 10.8087
2020-02-18 22:00:00 | 2.804 | 175.6887 | 3.228 | 193.06 | 3.6693 | 214.5467 | 4.0833 | 215.6067 | 5.6033 | 892 | 58.4187 | 6.7273
2020-02-18 22:15:00 | 2.7107 | 173.8073 | 3.12 | 190.9867 | 3.438 | 207.4267 | 3.538 | 217.1533 | 5.6347 | 892 | 58.7913 | 5.3033
2020-02-18 22:30:00 | 2.2653 | 163.6573 | 2.6087 | 179.8333 | 2.848 | 194.8 | 3 | 199.0067 | 5.56 | 892 | 59.1253 | 3.1127
2020-02-18 22:45:00 | 2.0743 | 160.9129 | 2.3929 | 176.8286 | 2.7657 | 186.9286 | 2.9443 | 194.6857 | 5.4129 | 892 | 59.7371 | 1.8586
2020-02-18 23:00:00 | 1.854 | 155.5 | 2.1333 | 170.8733 | 2.6907 | 204.4733 | 2.786 | 209.7133 | 5.52 | 892 | 59.6207 | 0.72133
2020-02-18 23:15:00 | 1.6827 | 177.6487 | 1.9373 | 195.2133 | 2.4387 | 207.94 | 2.3573 | 207.7 | 5.4547 | 892 | 60.3007 | 1.1987
2020-02-18 23:30:00 | 2.2447 | 172.0247 | 2.59 | 189.0333 | 2.8507 | 201.74 | 2.8267 | 200.5133 | 5.5267 | 892 | 60.5133 | 1.5567
2020-02-18 23:45:00 | 2.214 | 171.1873 | 2.5453 | 188.1133 | 2.906 | 198.6533 | 2.8093 | 200.64 | 5.5353 | 892 | 60.68 | 1.626