## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-19 00:00:00 | 1.6771 | 179.0743 | 1.93 | 196.7786 | 2.58 | 199.8 | 2.4571 | 205.1857 | 5.4186 | 892 | 61.158 | 1.1164
2020-02-19 00:15:00 | 1.6607 | 178.4553 | 1.9147 | 196.1067 | 2.3427 | 199.92 | 2.436 | 215.5133 | 5.4493 | 892 | 59.7633 | 0.99
2020-02-19 00:30:00 | 2.01 | 169.7213 | 2.314 | 186.5067 | 2.624 | 193.14 | 2.7173 | 208.0867 | 5.5007 | 892 | 59.0553 | 0.38933
2020-02-19 00:45:00 | 1.6213 | 169.1827 | 1.8707 | 185.9133 | 2.3647 | 176.3933 | 2.5067 | 192.68 | 5.4393 | 892 | 58.8087 | 0
2020-02-19 01:00:00 | 1.5447 | 167.3513 | 1.782 | 183.8933 | 2.3867 | 171.52 | 2.2987 | 183.7667 | 5.3867 | 892 | 58.7913 | 0
2020-02-19 01:15:00 | 1.5227 | 167.2433 | 1.7513 | 183.78 | 2.278 | 166.92 | 2.2293 | 184.0933 | 5.4073 | 892 | 58.9853 | 0
2020-02-19 01:30:00 | 2.2547 | 159.3433 | 2.596 | 175.0933 | 2.9647 | 168.18 | 2.932 | 177.1733 | 5.3247 | 892 | 59.952 | 0
2020-02-19 01:45:00 | 2.2527 | 166.694 | 2.5927 | 183.18 | 3.0047 | 183.8267 | 3.118 | 186.1467 | 5.2587 | 892 | 60.7727 | 0.242
2020-02-19 02:00:00 | 1.802 | 175.3433 | 2.0827 | 192.68 | 2.468 | 185.3467 | 3.1347 | 180.5933 | 5.238 | 892 | 61.31 | 0
2020-02-19 02:15:00 | 2.2933 | 170.2807 | 2.6393 | 187.12 | 3.0353 | 190.7067 | 3.2973 | 193.2 | 5.25 | 892 | 61.5313 | 0
2020-02-19 02:30:00 | 2.1873 | 159.4273 | 2.5167 | 175.1933 | 2.8713 | 198.7867 | 3.0893 | 194.1067 | 5.1307 | 892 | 63.188 | 0
2020-02-19 02:45:00 | 2.2293 | 172.3613 | 2.5693 | 189.4067 | 2.846 | 180.0933 | 3.526 | 179.7867 | 4.994 | 891.0667 | 64.3833 | 0
2020-02-19 03:00:00 | 2.9753 | 163.16 | 3.424 | 179.3 | 3.622 | 179.6133 | 4.032 | 182.5133 | 4.9947 | 891 | 64.6613 | 0.76867
2020-02-19 03:15:00 | 3.126 | 155.5013 | 3.604 | 170.8733 | 3.7933 | 176.6733 | 4.3867 | 178.9267 | 4.8833 | 891 | 65.3413 | 1.01
2020-02-19 03:30:00 | 2.22 | 172.7 | 2.562 | 189.78 | 2.7567 | 178.5267 | 3.19 | 181.2933 | 4.9087 | 891 | 64.7167 | 0.21667
2020-02-19 03:45:00 | 2.3933 | 164.4733 | 2.752 | 180.7267 | 2.97 | 188.1133 | 3.5553 | 188.24 | 4.892 | 891 | 64.274 | 0.85333
2020-02-19 04:00:00 | 3.1573 | 158.6187 | 3.632 | 174.3 | 3.95 | 177.9 | 4.9053 | 174.2267 | 4.708 | 890.4 | 65.5633 | 3.394
2020-02-19 04:15:00 | 2.5707 | 165.8587 | 2.956 | 182.26 | 3.2213 | 182.5333 | 4.038 | 179.74 | 4.6733 | 890 | 66.1327 | 2.67
2020-02-19 04:30:00 | 2.508 | 145.4767 | 2.89 | 159.86 | 3.1527 | 170.1533 | 4.1093 | 175.82 | 4.5493 | 890 | 67.128 | 3.64
2020-02-19 04:45:00 | 2.4133 | 158.2987 | 2.7813 | 173.9533 | 3.0073 | 175.6267 | 3.6973 | 184.32 | 4.3867 | 890 | 67.696 | 4.2793
2020-02-19 05:00:00 | 3.0933 | 164.7067 | 3.5567 | 180.9933 | 3.716 | 189.0933 | 4.254 | 186.7867 | 4.3467 | 890 | 67.7833 | 5.7413
2020-02-19 05:15:00 | 2.924 | 149.8353 | 3.3613 | 164.6533 | 3.5207 | 186.6933 | 4.0553 | 171.6533 | 4.1967 | 889.7333 | 67.4933 | 5.0667
2020-02-19 05:30:00 | 2.93 | 159.7093 | 3.372 | 175.5067 | 3.602 | 179.2067 | 4.236 | 181.2067 | 3.8227 | 889.6 | 69.294 | 4.086
2020-02-19 05:45:00 | 2.5453 | 165.9973 | 2.9293 | 182.4133 | 3.2707 | 180.22 | 3.6893 | 189.4 | 3.7973 | 890 | 69.47 | 1.296
2020-02-19 06:00:00 | 2.5707 | 163.682 | 2.9633 | 179.8667 | 3.0267 | 177.8733 | 3.3767 | 183.58 | 3.854 | 890 | 69.3733 | 1.9793
2020-02-19 06:15:00 | 2.532 | 163.322 | 2.92 | 179.4667 | 3.0227 | 183.76 | 3.4473 | 176.5933 | 3.7027 | 890 | 70.668 | 2.902
2020-02-19 06:30:00 | 2.6293 | 164.368 | 3.028 | 180.62 | 3.1793 | 178.4 | 3.6227 | 185.92 | 3.5813 | 890 | 71.1467 | 3.3947
2020-02-19 06:45:00 | 2.658 | 163.8607 | 3.0647 | 180.0667 | 3.1893 | 181.1333 | 3.5893 | 189.46 | 3.3787 | 890 | 72.048 | 2.4647
2020-02-19 07:00:00 | 2.562 | 161.4973 | 2.954 | 177.4667 | 3.0867 | 174.0267 | 3.4813 | 181.8867 | 3.3293 | 890 | 72.4253 | 1.6247
2020-02-19 07:15:00 | 2.7413 | 163.6007 | 3.1607 | 179.78 | 3.324 | 182.0467 | 3.5867 | 180.7933 | 3.2147 | 890 | 73.38 | 2.88
2020-02-19 07:30:00 | 3.1987 | 157.5953 | 3.68 | 173.18 | 3.828 | 183.6 | 4.1353 | 186.4733 | 2.8733 | 890 | 75.0193 | 5.6367
2020-02-19 07:45:00 | 3.0293 | 157.3467 | 3.492 | 172.9067 | 3.6013 | 196.9067 | 3.8753 | 195.9467 | 2.866 | 890 | 75.4347 | 8.0787
2020-02-19 08:00:00 | 3.3 | 155.6907 | 3.796 | 171.08 | 3.8527 | 181.0933 | 4.2847 | 188.6867 | 2.7587 | 890 | 76.116 | 9.148
2020-02-19 08:15:00 | 3.598 | 162.886 | 4.1393 | 178.9933 | 4.0927 | 191.76 | 4.7327 | 188.6933 | 2.7107 | 890 | 76.7413 | 9.1513
2020-02-19 08:30:00 | 3.4587 | 163.072 | 3.9767 | 179.2 | 4.0673 | 192.9333 | 4.64 | 181.8533 | 2.9533 | 890.6 | 75.7793 | 6.928
2020-02-19 08:45:00 | 3.242 | 158.9093 | 3.7327 | 174.62 | 3.6907 | 204.4533 | 3.8987 | 189.1667 | 3.4627 | 891.2667 | 73.6567 | 4.3327
2020-02-19 09:00:00 | 3.33 | 155.0067 | 3.832 | 170.3333 | 3.6973 | 169.36 | 3.9587 | 187.22 | 3.6407 | 892 | 73.9253 | 3.2047
2020-02-19 09:15:00 | 3.3133 | 158.2773 | 3.8107 | 173.9267 | 3.7047 | 181.18 | 4.062 | 185.9 | 3.8487 | 892 | 73.83 | 3.0387
2020-02-19 09:30:00 | 3.2533 | 156.182 | 3.7427 | 171.6267 | 3.6407 | 169.5 | 3.9227 | 188.7533 | 4.2827 | 892 | 72.3593 | 2.9073
2020-02-19 09:45:00 | 3.5127 | 158.93 | 4.04 | 174.64 | 3.91 | 184.62 | 4.1347 | 195.3733 | 4.6287 | 892 | 71.2187 | 3.404
2020-02-19 10:00:00 | 3.6053 | 155.472 | 4.152 | 170.8467 | 3.966 | 185.8333 | 4.4767 | 191.3867 | 5.0227 | 892 | 69.7887 | 3.9687
2020-02-19 10:15:00 | 3.7933 | 151.718 | 4.3633 | 166.72 | 4.0693 | 181.3267 | 4.376 | 190.14 | 5.3227 | 892.9333 | 68.86 | 4.928
2020-02-19 10:30:00 | 4.1653 | 162.1253 | 4.7933 | 178.1533 | 4.6027 | 188.4933 | 5.118 | 179.12 | 5.378 | 893 | 69.256 | 7.1827
2020-02-19 10:45:00 | 4.2167 | 144.32 | 4.86 | 158.5933 | 4.7887 | 174.2533 | 4.964 | 172.2 | 5.6473 | 892.7333 | 68.7293 | 7.7867
2020-02-19 11:00:00 | 4.52 | 129.5227 | 5.2027 | 142.3267 | 5.1153 | 166.0667 | 5.0987 | 168.1333 | 6.1273 | 892.6 | 67.7707 | 8.9467
2020-02-19 11:15:00 | 4.332 | 125.3347 | 4.9833 | 137.7267 | 5.032 | 165.44 | 5.21 | 186.4267 | 6.4473 | 892.7333 | 67.1827 | 8.066
2020-02-19 11:30:00 | 4.1893 | 140.0833 | 4.8207 | 153.94 | 4.7293 | 160.8067 | 4.8647 | 184.3667 | 6.5787 | 892 | 66.862 | 7.654
2020-02-19 11:45:00 | 4.384 | 152.9053 | 5.0487 | 168.0267 | 4.9647 | 183.4867 | 5.188 | 185.18 | 6.5287 | 892 | 67.222 | 9.404
2020-02-19 12:00:00 | 3.8573 | 163.6293 | 4.444 | 179.8067 | 4.372 | 205.1933 | 4.6767 | 209.9933 | 7.04 | 892 | 66.0447 | 9.3273
2020-02-19 12:15:00 | 3.7673 | 196.8213 | 4.336 | 216.2867 | 4.5653 | 227.1267 | 4.8833 | 225.6467 | 7.622 | 892 | 64.3573 | 9.884
2020-02-19 12:30:00 | 4.5507 | 151.9807 | 5.2367 | 167.0067 | 5.148 | 198.72 | 5.1827 | 176.4133 | 7.622 | 892 | 63.8307 | 10.196
2020-02-19 12:45:00 | 4.272 | 146.0407 | 4.9133 | 160.48 | 4.7587 | 156.82 | 4.8307 | 180.3267 | 7.7127 | 892 | 63.7807 | 12.9127
2020-02-19 13:00:00 | 4.2953 | 140.2 | 4.946 | 154.0533 | 5.112 | 172.6667 | 5.3927 | 198.9 | 8.2273 | 892 | 61.6667 | 14.192
2020-02-19 13:15:00 | 4.78 | 157.3893 | 5.502 | 172.9533 | 5.438 | 183.9867 | 5.4827 | 171.3333 | 8.4453 | 891.0667 | 60.5313 | 13.7407
2020-02-19 13:30:00 | 5.2767 | 147.6513 | 6.0667 | 162.2467 | 5.814 | 179.84 | 6.058 | 190.54 | 8.2627 | 891 | 60.5467 | 14.8067
2020-02-19 13:45:00 | 5.272 | 148.6773 | 6.062 | 163.38 | 5.934 | 172.74 | 6.0053 | 181.12 | 8.514 | 891 | 59.6573 | 14.3167
2020-02-19 14:00:00 | 4.848 | 160.8533 | 5.5793 | 176.7533 | 5.5367 | 174.1267 | 5.9933 | 190.9867 | 8.6947 | 891 | 59.2547 | 16.3487
2020-02-19 14:15:00 | 4.76 | 123.83 | 5.4847 | 136.0667 | 5.396 | 172.1067 | 5.546 | 184.9133 | 9.0107 | 890.7333 | 58.0973 | 18.4427
2020-02-19 14:30:00 | 4.6467 | 155.4407 | 5.3447 | 170.8067 | 5.6453 | 151.26 | 5.752 | 172.74 | 9.4987 | 890 | 56.8453 | 21.4367
2020-02-19 14:45:00 | 4.814 | 146.0253 | 5.538 | 160.4667 | 5.8667 | 169.9067 | 6.2847 | 177.7 | 9.7847 | 890 | 55.1633 | 18.242
2020-02-19 15:00:00 | 5.3633 | 132.4907 | 6.1753 | 145.5867 | 6.3113 | 160.1267 | 6.4873 | 180.3933 | 9.88 | 890 | 54.602 | 20.8853
2020-02-19 15:15:00 | 4.7007 | 134.1413 | 5.4127 | 147.4 | 5.7527 | 168.0733 | 5.902 | 182.0267 | 10.2507 | 890 | 53.294 | 18.738
2020-02-19 15:30:00 | 4.0187 | 153.3553 | 4.622 | 168.5133 | 4.8167 | 185.8133 | 5.3067 | 177.8733 | 10.6547 | 890 | 51.732 | 17.418
2020-02-19 15:45:00 | 4.3627 | 188.3127 | 5.018 | 206.9333 | 5.636 | 229.36 | 5.6733 | 225.82 | 10.5033 | 890 | 52.3273 | 17.0713
2020-02-19 16:00:00 | 3.9093 | 169.7853 | 4.5013 | 186.5733 | 5.0753 | 215.2867 | 5.396 | 230.9067 | 10.7227 | 890 | 52.0053 | 16.248
2020-02-19 16:15:00 | 3.8047 | 164.2633 | 4.3793 | 180.5067 | 4.4973 | 175.46 | 4.8153 | 192.0267 | 10.8067 | 890 | 52.0393 | 20.812
2020-02-19 16:30:00 | 3.8427 | 157.5953 | 4.4267 | 173.1733 | 4.7187 | 183.48 | 4.8927 | 211.7533 | 10.4973 | 890 | 53.0427 | 23.63
2020-02-19 16:45:00 | 3.508 | 117.8547 | 4.0347 | 129.5067 | 4.2127 | 184.2467 | 4.6487 | 187.8667 | 10.6407 | 890 | 52.692 | 21.5327
2020-02-19 17:00:00 | 3.9907 | 127.4393 | 4.5927 | 140.04 | 4.7187 | 157.8133 | 5.012 | 177.9867 | 10.0547 | 889.4 | 54.412 | 19.6307
2020-02-19 17:15:00 | 4.8687 | 152.9307 | 5.6007 | 168.0533 | 5.6713 | 187 | 6.0527 | 193.68 | 9.7067 | 889 | 55.616 | 18.45
2020-02-19 17:30:00 | 4.2607 | 173.1287 | 4.9067 | 190.2467 | 4.8447 | 178.9867 | 5.2993 | 187.7 | 9.2653 | 889 | 56.99 | 18.3253
2020-02-19 17:45:00 | 3.7973 | 125.276 | 4.3773 | 137.66 | 4.4267 | 175.5933 | 4.7393 | 179.9733 | 9.106 | 889 | 57.822 | 14.4493
2020-02-19 18:00:00 | 3.6707 | 159.68 | 4.2247 | 175.4667 | 4.4287 | 191.9533 | 4.96 | 200.8933 | 8.7273 | 889 | 58.8327 | 14.5793
2020-02-19 18:15:00 | 3.3027 | 168.4407 | 3.8067 | 185.0933 | 4.2407 | 212.86 | 4.5007 | 212.3867 | 8.3773 | 889 | 60.542 | 19.8433
2020-02-19 18:30:00 | 3.688 | 183.0393 | 4.2427 | 201.14 | 4.646 | 217.0933 | 5.1033 | 217.1667 | 8.1453 | 888.4 | 61.6267 | 22.07
2020-02-19 18:45:00 | 3.3507 | 153.258 | 3.854 | 168.4133 | 4.2853 | 185.4733 | 4.5707 | 191.7 | 7.9453 | 888 | 62.666 | 21.5133
2020-02-19 19:00:00 | 3.3873 | 160.278 | 3.8953 | 176.12 | 4.0793 | 185.1667 | 4.28 | 198.82 | 7.798 | 888 | 63.3873 | 20.72
2020-02-19 19:15:00 | 3.6007 | 168.2787 | 4.1433 | 184.9133 | 4.2853 | 189.9 | 4.6567 | 194.22 | 7.808 | 888 | 63.6427 | 21.4393
2020-02-19 19:30:00 | 3.146 | 146.834 | 3.6153 | 161.3533 | 3.724 | 183.1067 | 4.2327 | 202.1467 | 7.7293 | 888 | 64.34 | 22.226
2020-02-19 19:45:00 | 2.7067 | 151.9313 | 3.1127 | 166.9533 | 3.2493 | 197.42 | 3.4127 | 193.2133 | 7.572 | 888 | 65.2973 | 18.0347
2020-02-19 20:00:00 | 3.4967 | 164.0887 | 4.022 | 180.3133 | 4.112 | 194.7933 | 4.4067 | 201.28 | 7.5287 | 888 | 65.794 | 16.842
2020-02-19 20:15:00 | 2.4187 | 159.246 | 2.784 | 174.9867 | 3.16 | 188.1133 | 3.6313 | 212.54 | 7.4387 | 888.2667 | 66.392 | 13.006
2020-02-19 20:30:00 | 2.5547 | 142.1447 | 2.946 | 156.1933 | 3.1533 | 175.88 | 3.3 | 196.94 | 7.4093 | 889 | 66.6487 | 10.4507
2020-02-19 20:45:00 | 2.7127 | 161.024 | 3.1207 | 176.9467 | 3.3233 | 197.2933 | 3.454 | 210.3067 | 7.2607 | 889 | 67.5473 | 11.1327
2020-02-19 21:00:00 | 3.504 | 166.118 | 4.034 | 182.54 | 4.28 | 200.08 | 4.5473 | 205.2067 | 7.198 | 889 | 68.1847 | 10.074
2020-02-19 21:15:00 | 3.6013 | 163.718 | 4.1447 | 179.9 | 4.3187 | 182.1 | 4.7393 | 189.8667 | 7.072 | 889 | 68.9733 | 10.2473
2020-02-19 21:30:00 | 3.9007 | 160.5647 | 4.4887 | 176.44 | 4.46 | 200.9867 | 4.942 | 202.34 | 6.9613 | 889.6 | 69.6987 | 11.674
2020-02-19 21:45:00 | 3.8327 | 165.5467 | 4.4073 | 181.9133 | 4.542 | 202.26 | 5.08 | 198.0067 | 6.9113 | 889.3333 | 70.1633 | 8.8413
2020-02-19 22:00:00 | 3.5827 | 162.85 | 4.1187 | 178.9467 | 4.3693 | 202.1 | 4.4473 | 204.32 | 6.8513 | 890 | 70.5447 | 6.0147
2020-02-19 22:15:00 | 3.2567 | 178.8853 | 3.75 | 196.5733 | 3.934 | 205.28 | 4.164 | 218.1733 | 6.7793 | 890 | 71.0867 | 5.7093
2020-02-19 22:30:00 | 3.3087 | 160.8407 | 3.8047 | 176.7467 | 3.9233 | 203.2867 | 4.3233 | 212.0067 | 6.722 | 890 | 71.6547 | 5.024
2020-02-19 22:45:00 | 2.7173 | 154.258 | 3.1247 | 169.5133 | 3.2787 | 174.4867 | 3.3867 | 190.4933 | 6.5713 | 890 | 72.2407 | 3.5507
2020-02-19 23:00:00 | 2.6487 | 135.7987 | 3.046 | 149.2267 | 3.2847 | 165.8 | 3.4733 | 190.34 | 6.4153 | 890 | 72.834 | 2.0267
2020-02-19 23:15:00 | 2.514 | 144.5007 | 2.8987 | 158.7867 | 2.978 | 174.34 | 3.22 | 197.9267 | 6.2733 | 890 | 73.4367 | 2.8467
2020-02-19 23:30:00 | 2.6693 | 139.5327 | 3.072 | 153.3267 | 3.16 | 182.9533 | 3.6647 | 173.9867 | 6.114 | 890 | 74.2033 | 3.022
2020-02-19 23:45:00 | 2.2507 | 157.4733 | 2.5913 | 173.0467 | 2.7587 | 164.7667 | 2.9553 | 171.44 | 6.0713 | 890 | 74.6313 | 1.9113