## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-21 00:00:00 | 4.1193 | 76.4971 | 4.7421 | 84.0536 | 7.745 | 15.8636 | 7.6129 | 24.5957 | 4.945 | 897 | 57.622 | 25.8921
2020-02-21 00:15:00 | 4.134 | 138.6033 | 4.756 | 152.3093 | 7.96 | 14.3933 | 7.9273 | 27.8267 | 4.826 | 896.0667 | 58.5387 | 27.8133
2020-02-21 00:30:00 | 4.5827 | 199.8673 | 5.2767 | 219.6333 | 8.562 | 13.372 | 8.7733 | 23.128 | 4.796 | 896 | 58.552 | 26.184
2020-02-21 00:45:00 | 4.3327 | 174.084 | 4.9833 | 191.3 | 8.0373 | 12.308 | 8.528 | 26.7713 | 4.73 | 896 | 58.5793 | 24.5187
2020-02-21 01:00:00 | 3.9067 | 110.4487 | 4.4933 | 121.3633 | 7.0947 | 15.68 | 7.4567 | 33.164 | 4.6813 | 896 | 58.1807 | 24.884
2020-02-21 01:15:00 | 3.984 | 280.0987 | 4.5787 | 307.7947 | 7.0773 | 14.46 | 7.0707 | 10.5053 | 4.562 | 896 | 59.2933 | 25.588
2020-02-21 01:30:00 | 3.6973 | 126.554 | 4.2513 | 139.072 | 6.57 | 8.1427 | 6.7587 | 17.294 | 4.624 | 896 | 59.0747 | 25.026
2020-02-21 01:45:00 | 4.1387 | 199.0547 | 4.7633 | 218.74 | 7.59 | 10.8153 | 7.44 | 21.57 | 4.4987 | 896 | 59.5767 | 28.1287
2020-02-21 02:00:00 | 4.9413 | 238.0047 | 5.6833 | 261.5373 | 8.8553 | 10.8333 | 8.7633 | 21.556 | 4.3887 | 896 | 60.2053 | 28.7947
2020-02-21 02:15:00 | 5.2093 | 160.7913 | 5.9967 | 176.686 | 9.1533 | 17.408 | 9.1947 | 16.5367 | 4.404 | 896 | 59.8187 | 29.6727
2020-02-21 02:30:00 | 5.5107 | 109.9553 | 6.3453 | 120.8267 | 9.6153 | 14.5247 | 9.6447 | 21.35 | 4.3513 | 896 | 59.5493 | 29.8807
2020-02-21 02:45:00 | 5.4093 | 92.8167 | 6.226 | 101.9967 | 9.5653 | 6.1093 | 9.2633 | 11.2453 | 4.2333 | 896 | 60.204 | 29.8993
2020-02-21 03:00:00 | 4.9027 | 179.378 | 5.6473 | 197.1147 | 8.3787 | 9.35 | 8.1273 | 4.6367 | 4.2087 | 896 | 59.9527 | 29.396
2020-02-21 03:15:00 | 4.8727 | 57.9907 | 5.6073 | 63.722 | 8.4587 | 12.872 | 8.3953 | 17.9653 | 4.138 | 896 | 60.1347 | 29.214
2020-02-21 03:30:00 | 4.992 | 185.216 | 5.752 | 203.5307 | 8.18 | 8.4247 | 8.158 | 16.1253 | 3.9893 | 896 | 60.8493 | 29.532
2020-02-21 03:45:00 | 5.3787 | 278.298 | 6.1913 | 305.8173 | 9.262 | 13.934 | 9.062 | 16.232 | 3.9167 | 895.7333 | 61.072 | 29.9113
2020-02-21 04:00:00 | 5.796 | 51.6533 | 6.6733 | 56.7593 | 9.8793 | 16.7433 | 9.8507 | 15.2733 | 3.8633 | 895.6 | 61.1967 | 29.6613
2020-02-21 04:15:00 | 5.688 | 104.2027 | 6.5473 | 114.5033 | 10.24 | 127.078 | 10.0973 | 19.402 | 3.7853 | 895.3333 | 61.2493 | 29.95
2020-02-21 04:30:00 | 5.8213 | 250.0327 | 6.7007 | 274.7533 | 10.4387 | 10.9153 | 10.338 | 15.53 | 3.7413 | 895.4 | 61.0687 | 30.1373
2020-02-21 04:45:00 | 6.1613 | 111.612 | 7.0913 | 122.646 | 11.016 | 10.8973 | 10.8487 | 14.5473 | 3.6333 | 895.2667 | 61.338 | 30.094
2020-02-21 05:00:00 | 6.406 | 157.8853 | 7.3647 | 173.494 | 11.1013 | 13.5327 | 11.088 | 14.7507 | 3.5627 | 895.4 | 61.2567 | 30.172
2020-02-21 05:15:00 | 6.2813 | 159.7887 | 7.2227 | 175.5893 | 11.01 | 12.3847 | 10.7993 | 19.5473 | 3.3907 | 895.6667 | 61.782 | 30.1627
2020-02-21 05:30:00 | 6.5127 | 145.132 | 7.49 | 159.4873 | 11.386 | 11.316 | 11.288 | 8.0007 | 3.282 | 895 | 61.812 | 30.0993
2020-02-21 05:45:00 | 6.4533 | 139.622 | 7.4293 | 153.4293 | 11.1733 | 17.82 | 11.08 | 10.6547 | 3.304 | 895 | 61.1213 | 30.1213
2020-02-21 06:00:00 | 6.5333 | 109.0773 | 7.5133 | 119.8593 | 11.1133 | 9.9193 | 10.8027 | 15.038 | 3.2347 | 895 | 60.9 | 30.144
2020-02-21 06:15:00 | 6.43 | 128.0633 | 7.3953 | 140.7273 | 11.058 | 15.7073 | 11.12 | 19.8013 | 3.248 | 895.2667 | 59.8953 | 30.158
2020-02-21 06:30:00 | 5.9307 | 120.4333 | 6.8293 | 132.3427 | 10.4567 | 10.8047 | 10.3793 | 21.604 | 3.2073 | 896 | 59.2287 | 30.1953
2020-02-21 06:45:00 | 5.8773 | 170.0053 | 6.7607 | 186.8073 | 10.2327 | 11.1133 | 10.28 | 12.988 | 3.074 | 896 | 59.472 | 29.8973
2020-02-21 07:00:00 | 5.6027 | 196.3967 | 6.4527 | 215.8173 | 9.27 | 7.916 | 9.1987 | 12.8373 | 3.1753 | 896 | 58.3793 | 29.826
2020-02-21 07:15:00 | 5.4127 | 168.51 | 6.224 | 185.1687 | 8.9207 | 55.0547 | 9.0433 | 7.8327 | 3.116 | 896 | 58.28 | 29.7373
2020-02-21 07:30:00 | 5.2373 | 177.8707 | 6.0293 | 195.4587 | 9.01 | 211.9933 | 8.5573 | 60.396 | 3.074 | 896 | 57.7527 | 29.294
2020-02-21 07:45:00 | 4.9113 | 244.2307 | 5.6487 | 268.38 | 8.772 | 118.444 | 8.3527 | 79.5707 | 2.9853 | 896 | 57.534 | 28.546
2020-02-21 08:00:00 | 4.4047 | 211.5687 | 5.0647 | 232.4907 | 8.1013 | 31.2333 | 7.6993 | 2.1987 | 3.032 | 896.6 | 57.0453 | 27.932
2020-02-21 08:15:00 | 4.2613 | 218.9547 | 4.9067 | 240.6093 | 7.434 | 4.736 | 7.0567 | 7.93 | 3.1113 | 897 | 57.4053 | 27.68
2020-02-21 08:30:00 | 4.444 | 170.1747 | 5.1173 | 186.9987 | 7.0913 | 119.1547 | 6.9573 | 11.2147 | 3.402 | 897 | 57.408 | 28.4293
2020-02-21 08:45:00 | 4.44 | 157.1493 | 5.114 | 172.678 | 7.1113 | 7.8073 | 7.0067 | 11.938 | 3.728 | 897.9333 | 57.07 | 38.8933
2020-02-21 09:00:00 | 4.9813 | 298.3353 | 5.7327 | 327.8333 | 8.04 | 10.1073 | 7.9873 | 16.6033 | 4.3973 | 898 | 55.314 | 43.562
2020-02-21 09:15:00 | 4.9207 | 82.16 | 5.6587 | 90.2733 | 7.6487 | 63.4813 | 7.694 | 17.7367 | 4.6453 | 898 | 55.084 | 40.9233
2020-02-21 09:30:00 | 4.6527 | 206.2713 | 5.3547 | 226.666 | 7.3407 | 9.0253 | 7.3667 | 12.1167 | 5.434 | 898.6 | 52.7347 | 37.1253
2020-02-21 09:45:00 | 4.3013 | 49.6607 | 4.9547 | 54.5707 | 6.856 | 30.264 | 7.1633 | 17.2347 | 6.364 | 899 | 49.4927 | 35.656
2020-02-21 10:00:00 | 4.752 | 72.5353 | 5.47 | 79.7027 | 6.9113 | 3.3513 | 6.7907 | 12.2673 | 6.062 | 899 | 50.1453 | 31.098
2020-02-21 10:15:00 | 4.35 | 203.7753 | 5.0073 | 223.9193 | 6.6413 | 7.0627 | 6.8247 | 11.5127 | 6.7193 | 899.9333 | 48.7267 | 29.4893
2020-02-21 10:30:00 | 4.844 | 11.244 | 5.5707 | 12.352 | 7.526 | 12.712 | 7.5033 | 20.7893 | 7.3413 | 900 | 46.6053 | 30.7327
2020-02-21 10:45:00 | 5.0227 | 46.7567 | 5.7773 | 51.3827 | 8.4353 | 14.9767 | 8.6327 | 29.7693 | 8.6853 | 900 | 42.7327 | 28.436
2020-02-21 11:00:00 | 5.244 | 253.018 | 6.0287 | 278.04 | 8.4727 | 15.7887 | 8.4847 | 28.1213 | 8.9647 | 900 | 40.6747 | 27.6853
2020-02-21 11:15:00 | 5.3173 | 161.0927 | 6.12 | 177.0213 | 9.134 | 15.9673 | 8.8607 | 22.448 | 9.7173 | 900 | 38.8407 | 26.2207
2020-02-21 11:30:00 | 5.3627 | 258.5807 | 6.1747 | 284.1487 | 9.0033 | 17.626 | 8.484 | 23.534 | 9.808 | 900 | 37.7647 | 25.3187
2020-02-21 11:45:00 | 5.1113 | 69.062 | 5.8793 | 75.888 | 8.1047 | 19.3907 | 7.7253 | 25.112 | 9.7073 | 900 | 37.078 | 21.9947
2020-02-21 12:00:00 | 4.7347 | 11.3753 | 5.448 | 12.4973 | 7.394 | 21.9153 | 6.8 | 24.3193 | 9.61 | 900 | 35.892 | 12.87
2020-02-21 12:15:00 | 4.2487 | 124.83 | 4.8893 | 137.1753 | 5.884 | 11.2067 | 5.5113 | 18.4453 | 9.5367 | 900 | 36.3907 | 5.9547
2020-02-21 12:30:00 | 3.9587 | 27.784 | 4.558 | 30.5273 | 5.2987 | 22.324 | 5.0347 | 21.5253 | 9.4327 | 900 | 37.67 | 3.7907
2020-02-21 12:45:00 | 3.8593 | 20.664 | 4.4513 | 22.7087 | 5.2167 | 18.8093 | 5.19 | 24.6373 | 10.2973 | 900 | 37.0187 | 2.4853
2020-02-21 13:00:00 | 3.6173 | 136.9427 | 4.164 | 150.4867 | 4.6607 | 17.302 | 4.7207 | 15.6587 | 10.5167 | 900 | 36.934 | 0.99067
2020-02-21 13:15:00 | 2.944 | 7.1533 | 3.3873 | 7.8533 | 3.484 | 12.534 | 3.254 | 54.328 | 10.308 | 899.7333 | 37.3327 | 0
2020-02-21 13:30:00 | 2.488 | 10.092 | 2.8707 | 11.0793 | 2.7573 | 166.7987 | 2.4007 | 294.7693 | 10.3893 | 899 | 36.8267 | 0
2020-02-21 13:45:00 | 2.1333 | 112.8593 | 2.4553 | 124.018 | 2.1547 | 124.0067 | 1.8967 | 77.684 | 10.5447 | 899 | 34.7673 | 0
2020-02-21 14:00:00 | 2.2047 | 9.0653 | 2.538 | 9.9527 | 2.2827 | 304.248 | 1.676 | 109.7533 | 11.0213 | 899 | 32.8627 | 0
2020-02-21 14:15:00 | 2.09 | 161.4727 | 2.4047 | 177.4333 | 2.48 | 15.2993 | 1.9373 | 194.6173 | 11.9633 | 899 | 30.2007 | 0
2020-02-21 14:30:00 | 1.7407 | 228.0107 | 2.0013 | 250.5533 | 2.156 | 30.184 | 2.0867 | 33.5627 | 12.826 | 899 | 29.21 | 0
2020-02-21 14:45:00 | 1.48 | 138.1113 | 1.71 | 151.7667 | 1.5427 | 119.584 | 1.9027 | 68.2187 | 13.6187 | 898.0667 | 28.4673 | 0
2020-02-21 15:00:00 | 1.3693 | 106.6987 | 1.5747 | 117.2467 | 1.618 | 65.5253 | 1.5853 | 161.9967 | 13.0973 | 898 | 30.3113 | 0
2020-02-21 15:15:00 | 2.4193 | 131.8267 | 2.7927 | 144.8533 | 2.7567 | 150.6667 | 2.67 | 137.4267 | 13.354 | 898 | 30.9833 | 0
2020-02-21 15:30:00 | 2.512 | 139.7393 | 2.89 | 153.5533 | 2.7813 | 154.4867 | 2.7853 | 157.42 | 13.0707 | 898 | 31.9193 | 0
2020-02-21 15:45:00 | 3.1007 | 144.358 | 3.5653 | 158.6333 | 3.4613 | 164.66 | 3.4973 | 175.0533 | 13.1087 | 898 | 31.5767 | 0
2020-02-21 16:00:00 | 2.5653 | 151.3753 | 2.95 | 166.3467 | 2.9013 | 155.1333 | 2.7113 | 170.2067 | 13.0513 | 898 | 32.0987 | 0
2020-02-21 16:15:00 | 2.3607 | 139.57 | 2.7187 | 153.3667 | 2.8453 | 158.1867 | 2.962 | 174.1667 | 13.3133 | 898 | 33.2273 | 0.606
2020-02-21 16:30:00 | 2.0873 | 173.706 | 2.4053 | 190.88 | 2.7133 | 227.02 | 2.974 | 210.08 | 13.616 | 898 | 33.0813 | 1.3553
2020-02-21 16:45:00 | 2.5353 | 158.3987 | 2.9187 | 174.0667 | 2.9593 | 215.2 | 3.1973 | 226.6733 | 13.0513 | 898 | 34.5107 | 0.98533
2020-02-21 17:00:00 | 1.836 | 181.4913 | 2.1133 | 199.44 | 2.6953 | 232.16 | 2.748 | 227.32 | 13.4887 | 897.4 | 34.7493 | 0.16133
2020-02-21 17:15:00 | 2.03 | 149.4487 | 2.3327 | 164.2267 | 2.6747 | 217.3067 | 3.116 | 244.7933 | 13.182 | 897 | 35.8127 | 0
2020-02-21 17:30:00 | 1.7607 | 168.2147 | 2.0353 | 184.8467 | 2.258 | 228.1733 | 2.476 | 236.48 | 12.6747 | 897 | 37.05 | 0
2020-02-21 17:45:00 | 1.8627 | 157.8573 | 2.1553 | 173.4667 | 2.6307 | 206.88 | 2.758 | 219.24 | 11.9773 | 897 | 38.584 | 0
2020-02-21 18:00:00 | 1.7287 | 168.1293 | 1.9987 | 184.7533 | 2.568 | 228.82 | 2.5953 | 231.7533 | 11.626 | 897 | 39.3627 | 0
2020-02-21 18:15:00 | 1.332 | 194.992 | 1.5373 | 214.2667 | 2.3013 | 233.1067 | 2.3613 | 239.8733 | 11.4293 | 897 | 40.4967 | 0
2020-02-21 18:30:00 | 1.8793 | 177.502 | 2.1613 | 195.0533 | 2.9793 | 225.1733 | 3.042 | 239.7667 | 11.0913 | 897 | 41.936 | 0.64667
2020-02-21 18:45:00 | 2.2347 | 182.232 | 2.568 | 200.2533 | 3.4513 | 228.0267 | 3.3893 | 233.0467 | 10.746 | 897 | 42.77 | 1.6427
2020-02-21 19:00:00 | 2.1353 | 186.812 | 2.4613 | 205.28 | 3.0427 | 230.2267 | 3.3507 | 233.6867 | 10.672 | 896.4 | 42.572 | 3.3173
2020-02-21 19:15:00 | 2.0613 | 182.1367 | 2.3707 | 200.1533 | 2.7893 | 232.1267 | 3.1047 | 238.1267 | 10.6853 | 896 | 42.3893 | 8.1687
2020-02-21 19:30:00 | 2.4433 | 165.9393 | 2.8127 | 182.3467 | 3.4027 | 220.2 | 4.04 | 231.0067 | 10.5227 | 896 | 43.046 | 10.182
2020-02-21 19:45:00 | 3.012 | 164.042 | 3.4667 | 180.26 | 3.8687 | 215.06 | 4.566 | 221.9533 | 10.4573 | 896 | 43.8493 | 9.6553
2020-02-21 20:00:00 | 3.2553 | 177.566 | 3.7433 | 195.1133 | 4.1553 | 216.2667 | 4.432 | 210.4867 | 10.1313 | 896.6 | 45.4327 | 13.9653
2020-02-21 20:15:00 | 3.0293 | 179.0093 | 3.4873 | 196.7133 | 3.704 | 194.7133 | 4.0307 | 199.0133 | 9.7887 | 897 | 46.9947 | 19.5093
2020-02-21 20:30:00 | 3.0127 | 171.758 | 3.47 | 188.7467 | 3.748 | 208.1533 | 3.8573 | 220.7333 | 9.208 | 897 | 50.9653 | 21.9753
2020-02-21 20:45:00 | 2.946 | 165.414 | 3.3927 | 181.7667 | 3.6833 | 204.34 | 4.3073 | 213.8067 | 8.95 | 897 | 55.3707 | 20.814
2020-02-21 21:00:00 | 2.8887 | 160.6813 | 3.324 | 176.5667 | 3.5027 | 212.7267 | 4.0007 | 207.58 | 8.478 | 897 | 60.1793 | 21.478
2020-02-21 21:15:00 | 3.132 | 162.0047 | 3.6147 | 178.02 | 3.672 | 204.8733 | 4.378 | 210.72 | 8.2393 | 897 | 66.032 | 20.5173
2020-02-21 21:30:00 | 3.4313 | 165.2613 | 3.948 | 181.6 | 4.0867 | 206.56 | 4.6653 | 212.9133 | 7.992 | 897 | 69.6653 | 19.3733
2020-02-21 21:45:00 | 3.7027 | 163.7593 | 4.258 | 179.9533 | 4.434 | 207.4333 | 4.9653 | 206.6933 | 7.912 | 897.6667 | 73.0607 | 16.9713
2020-02-21 22:00:00 | 3.6567 | 158.1307 | 4.2053 | 173.7667 | 4.172 | 194.6933 | 4.5707 | 201.82 | 7.812 | 897.6 | 73.2327 | 16.238
2020-02-21 22:15:00 | 3.7853 | 161.4693 | 4.3587 | 177.44 | 4.2787 | 187.56 | 4.77 | 190.04 | 7.6733 | 898 | 76.036 | 15.138
2020-02-21 22:30:00 | 3.9457 | 174.1543 | 4.54 | 191.3714 | 4.4657 | 191.8286 | 5.0543 | 194.8286 | 7.6114 | 898 | 78.4343 | 13.8914
2020-02-21 22:45:00 | 3.92 | 159.85 | 4.505 | 175.65 | 4.305 | 195.45 | 4.97 | 181.3 | 7.465 | 898 | 80.4 | 11.8214
2020-02-21 23:00:00 | 3.792 | 171.472 | 4.3673 | 188.4333 | 4.2207 | 194.1733 | 4.7887 | 185.86 | 7.1613 | 898 | 82.9533 | 11.8247
2020-02-21 23:15:00 | 3.6947 | 165.564 | 4.2493 | 181.94 | 4.2113 | 192.98 | 4.8653 | 195.7733 | 7.0007 | 898 | 84.2533 | 11.116
2020-02-21 23:30:00 | 3.698 | 166.1127 | 4.2547 | 182.54 | 4.2767 | 191.5133 | 4.9193 | 190.2667 | 6.9827 | 898 | 84.6333 | 9.1927
2020-02-21 23:45:00 | 3.2453 | 158.388 | 3.7327 | 174.0533 | 3.7087 | 189.4 | 4.4373 | 190.2 | 6.81 | 898 | 85.52 | 7.544