## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-22 00:00:00 | 3.535 | 158.2543 | 4.065 | 173.9071 | 3.9514 | 181.8786 | 4.4686 | 188 | 6.795 | 898 | 86.05 | 7.47
2020-02-22 00:15:00 | 3.232 | 160.3587 | 3.7167 | 176.2133 | 3.7013 | 179.9 | 4.5187 | 188.4133 | 6.774 | 898 | 86.2 | 7.0113
2020-02-22 00:30:00 | 3.2067 | 151.6067 | 3.6933 | 166.5933 | 3.746 | 185.6667 | 4.5727 | 191.72 | 6.8027 | 898 | 86.1267 | 4.858
2020-02-22 00:45:00 | 3.224 | 154.4893 | 3.7107 | 169.76 | 3.7493 | 183.92 | 4.4827 | 194.5133 | 6.666 | 898 | 86.76 | 4.7147
2020-02-22 01:00:00 | 2.9367 | 156.6087 | 3.3767 | 172.0933 | 3.4187 | 184.5267 | 4.0133 | 188.5333 | 6.648 | 898 | 86.88 | 4.0873
2020-02-22 01:15:00 | 2.4393 | 159.6553 | 2.8047 | 175.44 | 2.8887 | 183.88 | 3.5573 | 187.1 | 6.588 | 898 | 87.3667 | 4.2713
2020-02-22 01:30:00 | 2.85 | 159.0813 | 3.2787 | 174.8 | 3.3013 | 174.58 | 3.914 | 179.7267 | 6.672 | 898 | 87.28 | 4.7647
2020-02-22 01:45:00 | 2.8 | 154.082 | 3.2287 | 169.32 | 3.2213 | 183.04 | 3.828 | 189 | 6.6607 | 898 | 87.5267 | 3.1973
2020-02-22 02:00:00 | 2.43 | 162.0567 | 2.7953 | 178.08 | 2.8093 | 186.3667 | 3.164 | 188.5733 | 6.702 | 898 | 87.5 | 3.1687
2020-02-22 02:15:00 | 2.7133 | 170.8807 | 3.1253 | 187.78 | 3.1147 | 190.7667 | 3.5253 | 184.6933 | 6.6233 | 898 | 87.8867 | 3.4127
2020-02-22 02:30:00 | 2.7867 | 156.8453 | 3.212 | 172.36 | 3.18 | 178.3067 | 3.6047 | 170.1933 | 6.6053 | 897.4 | 88.2267 | 2.836
2020-02-22 02:45:00 | 2.7347 | 154.552 | 3.1473 | 169.8267 | 3.224 | 183.8267 | 3.678 | 184.7667 | 6.496 | 897 | 88.98 | 2.4593
2020-02-22 03:00:00 | 2.574 | 162.1773 | 2.966 | 178.2133 | 3.0513 | 178 | 3.5433 | 186.3267 | 6.5147 | 897 | 89.26 | 2.2427
2020-02-22 03:15:00 | 2.6133 | 152.1773 | 3.0127 | 167.22 | 3.068 | 177.2667 | 3.5633 | 187.6267 | 6.456 | 897 | 89.8133 | 3.126
2020-02-22 03:30:00 | 2.8 | 160.4993 | 3.2247 | 176.3667 | 3.2887 | 186.3933 | 3.8227 | 179.9067 | 6.4593 | 897 | 90.1533 | 2.4693
2020-02-22 03:45:00 | 2.27 | 149.3593 | 2.616 | 164.1267 | 2.7613 | 179.72 | 3.1793 | 187.1467 | 6.24 | 896.7333 | 91.08 | 2.4073
2020-02-22 04:00:00 | 2.348 | 155.0547 | 2.71 | 170.3867 | 2.7607 | 181.14 | 3.1633 | 186.18 | 6.1693 | 896 | 91.38 | 2.1273
2020-02-22 04:15:00 | 2.45 | 153.794 | 2.8213 | 169 | 3.0093 | 185.9867 | 3.4627 | 193.5467 | 5.954 | 896 | 92.4333 | 2.1687
2020-02-22 04:30:00 | 2.4487 | 164.3027 | 2.82 | 180.5467 | 3.1073 | 193.7333 | 3.6993 | 195.14 | 5.8227 | 896 | 93.14 | 2.2047
2020-02-22 04:45:00 | 2.5067 | 154.72 | 2.886 | 170.0133 | 3.2393 | 190.3867 | 3.6307 | 191.1867 | 5.6607 | 896 | 94.1133 | 2.0387
2020-02-22 05:00:00 | 2.556 | 160.2407 | 2.9447 | 176.0867 | 3.216 | 183.1933 | 3.3667 | 195.26 | 5.6907 | 896 | 94.6867 | 1.622
2020-02-22 05:15:00 | 2.5013 | 161.7587 | 2.876 | 177.7533 | 3.1233 | 187.0067 | 3.2267 | 196.8867 | 5.7347 | 896 | 94.9533 | 1.3293
2020-02-22 05:30:00 | 2.2627 | 154.516 | 2.6 | 169.7933 | 2.8373 | 187.5733 | 2.9787 | 199.3 | 5.6813 | 896 | 95.4533 | 1.458
2020-02-22 05:45:00 | 2.344 | 159.48 | 2.698 | 175.2533 | 3.0447 | 185.8467 | 2.8607 | 203.2733 | 5.652 | 896 | 95.72 | 1.0513
2020-02-22 06:00:00 | 2.112 | 157.412 | 2.43 | 172.98 | 2.7233 | 179.7267 | 2.6153 | 189.6733 | 5.6973 | 896 | 95.74 | 1.042
2020-02-22 06:15:00 | 1.3353 | 188.0207 | 1.5433 | 206.6067 | 2.1413 | 187.04 | 2.2207 | 190.6867 | 5.608 | 896 | 95.72 | 1.0613
2020-02-22 06:30:00 | 1.8807 | 165.066 | 2.1673 | 181.3867 | 2.4873 | 181.5067 | 2.29 | 198.8533 | 5.5267 | 896 | 96.14 | 1.19
2020-02-22 06:45:00 | 2.0107 | 172.984 | 2.3147 | 190.0867 | 2.672 | 179.9933 | 2.4333 | 189.14 | 5.478 | 896 | 96.6133 | 1.3953
2020-02-22 07:00:00 | 2.132 | 162.5993 | 2.4567 | 178.6733 | 2.8853 | 181.5133 | 2.6893 | 188.2867 | 5.5367 | 896 | 96.44 | 1.1107
2020-02-22 07:15:00 | 2.3973 | 175.1747 | 2.758 | 192.5 | 3.1307 | 182.7667 | 3.412 | 191.3733 | 5.406 | 896 | 96.78 | 1.7793
2020-02-22 07:30:00 | 2.9513 | 160.6767 | 3.3927 | 176.56 | 3.852 | 193.2067 | 3.74 | 194.5 | 5.2893 | 896 | 97.36 | 2.1793
2020-02-22 07:45:00 | 2.3093 | 169.612 | 2.6567 | 186.38 | 3.056 | 192.2067 | 3.1293 | 198.64 | 5.2393 | 896 | 97.5867 | 1.39
2020-02-22 08:00:00 | 1.8307 | 173.614 | 2.1093 | 190.7867 | 2.5887 | 193.3333 | 3.0007 | 197.62 | 5.1873 | 896 | 97.6667 | 1.2013
2020-02-22 08:15:00 | 1.9553 | 146.0773 | 2.252 | 160.5133 | 2.5387 | 192.02 | 2.7347 | 200.2 | 5.284 | 896 | 97.7467 | 1.2327
2020-02-22 08:30:00 | 1.1013 | 167.0913 | 1.268 | 183.6133 | 2.012 | 191.0133 | 2.388 | 203.4333 | 5.2813 | 896 | 97.5267 | 1.17
2020-02-22 08:45:00 | 1.1947 | 177.828 | 1.376 | 195.42 | 2.0827 | 198.4 | 2.5673 | 210.9 | 5.2687 | 896 | 97.7 | 0.60667
2020-02-22 09:00:00 | 0.57867 | 177.63 | 0.67267 | 195.2 | 1.134 | 191.6867 | 1.8427 | 218.22 | 5.4167 | 896 | 97.8 | 0
2020-02-22 09:15:00 | 0.028667 | 177.63 | 0.037333 | 195.2 | 0.048667 | 206.9 | 1.1333 | 240.24 | 5.7147 | 896.9333 | 97.32 | 0
2020-02-22 09:30:00 | 0.029333 | 177.63 | 0.033333 | 195.2 | 0.026667 | 190.26 | 0.51467 | 265.06 | 6.196 | 897 | 95.7 | 0
2020-02-22 09:45:00 | 0.18867 | 133.5207 | 0.216 | 146.7267 | 0.29933 | 158.4867 | 0.62467 | 246.52 | 6.722 | 897 | 93.4333 | 0
2020-02-22 10:00:00 | 0.18 | 139.3153 | 0.21267 | 153.0867 | 0.22467 | 175.5133 | 0.33867 | 203.4267 | 7.0553 | 897 | 91.3067 | 0
2020-02-22 10:15:00 | 0.78467 | 163.6293 | 0.90933 | 179.8067 | 0.67067 | 164.5667 | 0.34133 | 166.0867 | 7.068 | 897.9333 | 90.34 | 0
2020-02-22 10:30:00 | 0.81067 | 141.2227 | 0.93667 | 155.18 | 0.76533 | 166.2 | 0.31467 | 163.26 | 7.0307 | 898 | 90.6133 | 0
2020-02-22 10:45:00 | 0.86267 | 141.9853 | 0.99733 | 156.02 | 0.916 | 151.0133 | 0.51733 | 188.56 | 7.1053 | 898 | 90.0733 | 0
2020-02-22 11:00:00 | 1.1947 | 143.7807 | 1.38 | 158 | 1.202 | 149 | 1.0107 | 151.6533 | 7.266 | 898 | 89.6533 | 0
2020-02-22 11:15:00 | 1.4893 | 144.392 | 1.714 | 158.6667 | 1.4947 | 154.6267 | 1.206 | 171.1133 | 7.3553 | 898 | 88.58 | 0
2020-02-22 11:30:00 | 1.85 | 145.8867 | 2.136 | 160.3133 | 1.876 | 161.2333 | 1.6033 | 157.44 | 7.774 | 898 | 87.02 | 0
2020-02-22 11:45:00 | 2.1507 | 152.9907 | 2.484 | 168.1133 | 2.3113 | 164.94 | 2.178 | 189.1533 | 8.4147 | 898 | 83.9667 | 0
2020-02-22 12:00:00 | 2.3387 | 151.4953 | 2.694 | 166.4733 | 2.596 | 185.2533 | 2.2493 | 189.8933 | 8.3807 | 898 | 82.9933 | 0
2020-02-22 12:15:00 | 2.6727 | 147.0033 | 3.0707 | 161.54 | 2.9687 | 181.8867 | 2.582 | 192.8 | 8.2607 | 898 | 83.6533 | 0.004
2020-02-22 12:30:00 | 2.628 | 147.9493 | 3.0233 | 162.58 | 3.24 | 223.86 | 3.0573 | 232.0867 | 8.4467 | 898 | 82.8333 | 0.050667
2020-02-22 12:45:00 | 2.9853 | 177.1693 | 3.4387 | 194.6867 | 3.7553 | 222.7933 | 3.5487 | 226.34 | 8.5867 | 898 | 81.2333 | 0.51267
2020-02-22 13:00:00 | 2.7687 | 176.102 | 3.1847 | 193.5133 | 3.4053 | 216.7333 | 3.3687 | 215.8533 | 8.5433 | 898 | 81.5667 | 0.80933
2020-02-22 13:15:00 | 2.6067 | 185.4893 | 3.0013 | 203.8333 | 3.1593 | 220.1333 | 2.9773 | 239.66 | 8.8553 | 897.0667 | 80.7067 | 0.73667
2020-02-22 13:30:00 | 2.7647 | 164.5387 | 3.1793 | 180.8067 | 3.2367 | 220.8933 | 3.25 | 238.02 | 8.8273 | 897 | 80.2733 | 0.49
2020-02-22 13:45:00 | 2.996 | 175.5073 | 3.448 | 192.86 | 3.544 | 214.7467 | 3.53 | 228.2133 | 8.7867 | 897 | 79.8867 | 0.48533
2020-02-22 14:00:00 | 2.616 | 158.6293 | 3.0153 | 174.3133 | 3.1267 | 209.2267 | 3.236 | 212.78 | 8.684 | 897 | 79.6373 | 0
2020-02-22 14:15:00 | 2.6253 | 167.8893 | 3.028 | 184.4867 | 2.8573 | 174.4867 | 2.874 | 213.8067 | 8.9047 | 896.7333 | 79.0867 | 0
2020-02-22 14:30:00 | 2.3 | 153.0433 | 2.6453 | 168.18 | 2.4807 | 184.1667 | 2.5887 | 179.64 | 8.916 | 896 | 78.8413 | 0
2020-02-22 14:45:00 | 2.5047 | 145.0973 | 2.88 | 159.44 | 2.8687 | 174.48 | 2.5673 | 185.8467 | 9.0787 | 896 | 78.424 | 0
2020-02-22 15:00:00 | 2.3633 | 158.0307 | 2.72 | 173.6533 | 2.774 | 180.0733 | 2.578 | 176.92 | 9.2287 | 896 | 77.6713 | 0
2020-02-22 15:15:00 | 2.5227 | 158.574 | 2.9013 | 174.2533 | 2.958 | 174.2 | 3.06 | 207.5867 | 9.2547 | 896 | 76.9293 | 0
2020-02-22 15:30:00 | 2.5913 | 173.3253 | 2.9853 | 190.4667 | 3.122 | 218.0067 | 3.462 | 228.48 | 9.2807 | 895.4 | 77.1447 | 0
2020-02-22 15:45:00 | 1.7247 | 171.3773 | 1.982 | 188.32 | 2.116 | 219.8067 | 2.1453 | 218.5867 | 9.3687 | 895 | 76.4693 | 0
2020-02-22 16:00:00 | 1.6353 | 135.5613 | 1.888 | 148.9667 | 2.0813 | 207.1933 | 2.5 | 228.7267 | 9.6827 | 895 | 75.322 | 0
2020-02-22 16:15:00 | 1.56 | 168.8093 | 1.802 | 185.5 | 2.154 | 229.8267 | 2.374 | 228.2267 | 9.7973 | 895 | 75.028 | 0
2020-02-22 16:30:00 | 2.042 | 170.382 | 2.3527 | 187.2333 | 2.848 | 224.4467 | 2.8793 | 231.24 | 9.544 | 895 | 75.5933 | 0
2020-02-22 16:45:00 | 1.7533 | 165.1007 | 2.0207 | 181.4267 | 2.3113 | 222.6067 | 2.2207 | 229.68 | 9.4927 | 895 | 75.7933 | 0
2020-02-22 17:00:00 | 1.78 | 157.7213 | 2.046 | 173.32 | 2.2533 | 216.4933 | 2.058 | 234.6467 | 9.4673 | 895 | 76.2793 | 0
2020-02-22 17:15:00 | 2.256 | 172.5653 | 2.596 | 189.6267 | 2.8973 | 224.78 | 2.8727 | 226 | 9.2427 | 895 | 76.5347 | 0
2020-02-22 17:30:00 | 2.2933 | 176.878 | 2.642 | 194.3733 | 2.8933 | 212.9533 | 3.014 | 224.68 | 9.104 | 895 | 77.7253 | 0
2020-02-22 17:45:00 | 1.8747 | 182.1047 | 2.1607 | 200.1133 | 2.5247 | 226.7867 | 2.4467 | 231.0067 | 9.0287 | 895 | 78.71 | 0
2020-02-22 18:00:00 | 1.846 | 178.652 | 2.1327 | 196.32 | 2.39 | 216.9067 | 2.274 | 218.0267 | 8.9153 | 895 | 79.384 | 0
2020-02-22 18:15:00 | 1.8833 | 173.6727 | 2.1733 | 190.8467 | 2.5147 | 217.0467 | 2.362 | 212.9333 | 8.824 | 895 | 79.8473 | 0
2020-02-22 18:30:00 | 2.0287 | 166.6887 | 2.3333 | 183.1733 | 2.7793 | 217.8067 | 2.7133 | 220.7867 | 8.768 | 895 | 80.28 | 0
2020-02-22 18:45:00 | 2.372 | 175.6893 | 2.7273 | 193.0667 | 3.2693 | 217.6733 | 3.2413 | 212.94 | 8.5913 | 895 | 81.34 | 0.21067
2020-02-22 19:00:00 | 2.6173 | 175.7107 | 3.016 | 193.08 | 3.6487 | 213.1133 | 3.5687 | 208.4733 | 8.4433 | 895 | 81.9333 | 1.0727
2020-02-22 19:15:00 | 3.0087 | 178.9853 | 3.46 | 196.68 | 3.9987 | 219.0933 | 3.8867 | 216.54 | 8.332 | 895 | 82.5 | 1.6487
2020-02-22 19:30:00 | 2.7827 | 177.2087 | 3.2007 | 194.7333 | 3.854 | 224.18 | 3.7993 | 221.2267 | 8.2933 | 895 | 82.8 | 1.0207
2020-02-22 19:45:00 | 2.362 | 187.5667 | 2.7167 | 206.1133 | 3.4127 | 225.2067 | 3.0813 | 220.7333 | 8.2247 | 895 | 83.1067 | 0.78733
2020-02-22 20:00:00 | 2.064 | 176.332 | 2.3773 | 193.7733 | 3.0373 | 222.5333 | 2.83 | 221.7867 | 8.1373 | 895 | 83.1333 | 0.72467
2020-02-22 20:15:00 | 1.9747 | 174.6153 | 2.274 | 191.88 | 2.9373 | 218.8733 | 2.7607 | 218.0067 | 8.1093 | 895 | 83.54 | 0.86
2020-02-22 20:30:00 | 2.0787 | 177.9167 | 2.3907 | 195.5 | 2.8607 | 214.1733 | 2.5873 | 215.4 | 8.19 | 895 | 83.1867 | 1.264
2020-02-22 20:45:00 | 2.1313 | 189.7067 | 2.4513 | 208.46 | 3.1 | 217.1667 | 2.7093 | 218.98 | 8.1487 | 895 | 83.2067 | 1.1773
2020-02-22 21:00:00 | 2.2607 | 174.386 | 2.602 | 191.6267 | 3.118 | 216.6867 | 3.1067 | 220.8667 | 8.1153 | 895 | 83.1 | 1.7267
2020-02-22 21:15:00 | 2.1167 | 184.408 | 2.4447 | 202.64 | 3.1373 | 217.0867 | 3.0453 | 220.5733 | 8.068 | 895.2667 | 83.34 | 1.568
2020-02-22 21:30:00 | 2.194 | 180.6607 | 2.5233 | 198.52 | 3.2287 | 220.3667 | 2.978 | 219.6267 | 8.0973 | 896 | 83.2867 | 1.4313
2020-02-22 21:45:00 | 2.1187 | 176.428 | 2.4373 | 193.8733 | 3.086 | 214.4133 | 2.7807 | 209.0133 | 8.1 | 896 | 83.6533 | 1.354
2020-02-22 22:00:00 | 2.04 | 186.9087 | 2.3533 | 205.3933 | 3.07 | 222.3133 | 2.72 | 222.2733 | 8.134 | 896 | 83.86 | 1.032
2020-02-22 22:15:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 22:30:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 22:45:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 23:00:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 23:15:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 23:30:00 | 1.784 | 169.57 | 2.06 | 186.34 | 2.976 | 222.06 | 2.634 | 223.02 | 8.078 | 896 | 84.02 | 1.022
2020-02-22 23:45:00 | 1.6733 | 176.0467 | 1.9267 | 193.4533 | 2.4293 | 200.7733 | 2.348 | 200.62 | 7.9307 | 895 | 84.4 | 0.063333