## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-23 00:00:00 | 1.6733 | 176.0467 | 1.9267 | 193.4533 | 2.4293 | 200.7733 | 2.348 | 200.62 | 7.9307 | 895 | 84.4 | 0.063333
2020-02-23 00:15:00 | 1.6733 | 176.0467 | 1.9267 | 193.4533 | 2.4293 | 200.7733 | 2.348 | 200.62 | 7.9307 | 895 | 84.4 | 0.063333
2020-02-23 00:30:00 | 1.6733 | 176.0467 | 1.9267 | 193.4533 | 2.4293 | 200.7733 | 2.348 | 200.62 | 7.9307 | 895 | 84.4 | 0.063333
2020-02-23 00:45:00 | 1.81 | 175.1427 | 2.088 | 192.46 | 2.3693 | 206.04 | 2.4187 | 204.72 | 7.9833 | 895 | 84.2 | 0
2020-02-23 01:00:00 | 1.416 | 173.0553 | 1.6273 | 190.1667 | 2.044 | 197.56 | 2.268 | 201.6667 | 7.938 | 895 | 84.4067 | 0
2020-02-23 01:15:00 | 1.178 | 172.138 | 1.3607 | 189.1533 | 1.9953 | 198.2 | 2.2793 | 199.7733 | 7.7627 | 895 | 85.02 | 0
2020-02-23 01:30:00 | 1.0007 | 172.27 | 1.1607 | 189.3 | 1.85 | 187.48 | 2.2193 | 198.2733 | 7.6853 | 895 | 85.36 | 0
2020-02-23 01:45:00 | 1.048 | 172.27 | 1.2067 | 189.3 | 1.6927 | 191.8 | 2.4647 | 191.14 | 7.71 | 894.0667 | 85.4 | 0
2020-02-23 02:00:00 | 1.552 | 173.9793 | 1.7913 | 191.18 | 2.3213 | 191.0133 | 2.8273 | 190.6333 | 7.6067 | 894 | 85.8467 | 0.004
2020-02-23 02:15:00 | 1.9733 | 174.3987 | 2.278 | 191.6467 | 2.6213 | 196.7267 | 3.024 | 202.16 | 7.5893 | 894 | 86.1933 | 0.65067
2020-02-23 02:30:00 | 1.7747 | 164.0047 | 2.044 | 180.22 | 2.2193 | 202.8867 | 2.59 | 208.0267 | 7.3907 | 894 | 87.4067 | 0.53733
2020-02-23 02:45:00 | 2.1427 | 174.7693 | 2.4647 | 192.0533 | 2.772 | 199.58 | 3.0887 | 203.6667 | 7.282 | 894 | 88.2533 | 0.492
2020-02-23 03:00:00 | 1.922 | 168.3487 | 2.22 | 184.9867 | 2.5067 | 194.04 | 3.008 | 201.3267 | 7.2667 | 894 | 88.4867 | 0
2020-02-23 03:15:00 | 1.6047 | 166.576 | 1.8487 | 183.0467 | 2.5333 | 192.7267 | 2.636 | 195.8333 | 7.2253 | 893.0667 | 88.82 | 0
2020-02-23 03:30:00 | 1.0533 | 185.516 | 1.2133 | 203.86 | 1.7867 | 192.7533 | 1.9173 | 198.04 | 7.382 | 893 | 87.8533 | 0
2020-02-23 03:45:00 | 0.20333 | 179.63 | 0.238 | 197.4 | 0.4 | 190.2 | 0.562 | 198 | 7.4487 | 893 | 87.3667 | 0
2020-02-23 04:00:00 | 0.016667 | 179.63 | 0.019333 | 197.4 | 0.032 | 190.2 | 0.059333 | 198 | 7.4427 | 893 | 87.54 | 0
2020-02-23 04:15:00 | 0.73846 | 174.8069 | 0.84769 | 192.0923 | 1.2415 | 178.8154 | 1.4015 | 196.0923 | 7.4277 | 892.0769 | 87.5769 | 0
2020-02-23 04:30:00 | 1.6373 | 162.2147 | 1.894 | 178.2467 | 2.2133 | 175.8267 | 2.3127 | 176.3733 | 7.448 | 892 | 87.58 | 0
2020-02-23 04:45:00 | 1.9113 | 164.5073 | 2.204 | 180.7733 | 2.6993 | 181.3667 | 2.8973 | 179.52 | 7.3233 | 892 | 88.1867 | 0
2020-02-23 05:00:00 | 2.5227 | 157.8913 | 2.902 | 173.5067 | 3.3487 | 189.7333 | 3.522 | 184.88 | 7.0633 | 892 | 89.6333 | 0.18
2020-02-23 05:15:00 | 2.1527 | 161.432 | 2.482 | 177.4 | 2.9753 | 190.72 | 3.2807 | 189.5867 | 6.7387 | 892 | 91.5667 | 0.023333
2020-02-23 05:30:00 | 2.01 | 154.1053 | 2.314 | 169.34 | 2.628 | 184.1333 | 3.0133 | 179.0333 | 6.812 | 892 | 90.8667 | 0
2020-02-23 05:45:00 | 1.0693 | 171.5473 | 1.2373 | 188.5067 | 1.7647 | 166.1933 | 2.056 | 171.2467 | 7.0467 | 891.7333 | 88.6867 | 0
2020-02-23 06:00:00 | 0.53067 | 252.9653 | 0.618 | 277.9867 | 0.63267 | 136.0467 | 0.67667 | 171.1 | 7.1487 | 891 | 88.0067 | 0
2020-02-23 06:15:00 | 1.7453 | 157.144 | 2.0127 | 172.68 | 2.4967 | 165.72 | 2.8213 | 176.26 | 7.2047 | 891 | 87.5933 | 0
2020-02-23 06:30:00 | 0.73267 | 172.186 | 0.85333 | 189.2 | 1.1753 | 183.68 | 1.6613 | 180.34 | 7.2333 | 891 | 87.0733 | 0
2020-02-23 06:45:00 | 0.35467 | 262.5567 | 0.41267 | 288.52 | 0.16 | 123.4833 | 0.28067 | 180 | 7.2053 | 891 | 87.08 | 0
2020-02-23 07:00:00 | 0.70267 | 221.0347 | 0.81533 | 242.8867 | 1.0567 | 178.9333 | 1.7793 | 179.6667 | 7.2007 | 891 | 87.3133 | 0
2020-02-23 07:15:00 | 1.5273 | 167.578 | 1.7647 | 184.1467 | 2.3013 | 183.8133 | 2.7587 | 178.2533 | 7.2373 | 891 | 87.1133 | 0.248
2020-02-23 07:30:00 | 1.9533 | 166.02 | 2.2507 | 182.44 | 2.6747 | 185.9867 | 3.2033 | 185.2133 | 7.0607 | 891 | 88.2 | 1.3473
2020-02-23 07:45:00 | 2.3313 | 164.6773 | 2.6847 | 180.96 | 3.0453 | 191.7867 | 3.2573 | 191.9733 | 6.8613 | 891 | 89.6 | 0.97
2020-02-23 08:00:00 | 2.474 | 164.314 | 2.852 | 180.5667 | 2.9533 | 195.6933 | 3.3313 | 197.7667 | 6.8693 | 891 | 89.5067 | 1.3327
2020-02-23 08:15:00 | 2.682 | 162.704 | 3.0893 | 178.7933 | 3.156 | 187.98 | 3.4993 | 194.08 | 6.9187 | 891 | 89.1067 | 1.8127
2020-02-23 08:30:00 | 2.5173 | 162.9987 | 2.894 | 179.12 | 3.028 | 193.1267 | 3.5593 | 201.54 | 6.9633 | 891 | 89 | 2.8427
2020-02-23 08:45:00 | 2.5153 | 154.8487 | 2.8967 | 170.16 | 2.8613 | 181.6467 | 3.2447 | 195.7933 | 6.9147 | 891.9333 | 89.7333 | 3.3187
2020-02-23 09:00:00 | 2.892 | 160.8493 | 3.3273 | 176.7533 | 3.3573 | 181.5733 | 3.7127 | 192.3533 | 6.8433 | 892 | 90.6533 | 3.3187
2020-02-23 09:15:00 | 2.516 | 158.668 | 2.896 | 174.3533 | 2.968 | 185.7533 | 3.5893 | 191.4867 | 6.9127 | 892 | 90.9667 | 2.4373
2020-02-23 09:30:00 | 2.8247 | 156.2267 | 3.25 | 171.6733 | 3.2873 | 182.6733 | 3.5573 | 197.5533 | 7.0173 | 892 | 90.1333 | 2.3193
2020-02-23 09:45:00 | 2.156 | 155.9033 | 2.4867 | 171.32 | 2.2453 | 181.2467 | 2.404 | 213.88 | 7.07 | 892 | 89.8667 | 2.4593
2020-02-23 10:00:00 | 1.6093 | 154.008 | 1.8513 | 169.2333 | 1.686 | 210.0933 | 2.318 | 230.46 | 7.236 | 892 | 89.6133 | 3.1473
2020-02-23 10:15:00 | 2.1 | 158.8567 | 2.42 | 174.56 | 2.28 | 192.2 | 2.884 | 221.5733 | 7.3953 | 892 | 89.2667 | 2.6247
2020-02-23 10:30:00 | 1.866 | 149.0727 | 2.1513 | 163.8067 | 2.0933 | 196.46 | 3.066 | 216.4733 | 7.5293 | 892 | 89.3333 | 2.1273
2020-02-23 10:45:00 | 1.8233 | 142.886 | 2.0993 | 157.0067 | 2.0047 | 199.4467 | 2.6293 | 217.9333 | 7.786 | 892 | 88.6267 | 1.7427
2020-02-23 11:00:00 | 1.8027 | 149.9853 | 2.0767 | 164.8133 | 1.9453 | 190.48 | 2.236 | 230.38 | 7.852 | 892 | 88.2467 | 2.046
2020-02-23 11:15:00 | 2.3187 | 153.3147 | 2.674 | 168.4733 | 2.68 | 199.56 | 3.0107 | 219.92 | 7.966 | 892 | 87.1667 | 2.074
2020-02-23 11:30:00 | 2.1607 | 144.9767 | 2.4853 | 159.3133 | 2.3473 | 189.36 | 2.706 | 213.18 | 8.0673 | 892 | 87.48 | 2.8573
2020-02-23 11:45:00 | 2.3167 | 148.868 | 2.6653 | 163.5867 | 2.5173 | 192.1667 | 3.1533 | 225.5067 | 7.9753 | 892 | 88.9133 | 2.766
2020-02-23 12:00:00 | 2.444 | 149.062 | 2.8093 | 163.7933 | 2.6613 | 181.9067 | 3.0167 | 228.5867 | 8.0753 | 892 | 88.6733 | 2.5067
2020-02-23 12:15:00 | 2.4607 | 153.3087 | 2.832 | 168.46 | 2.7847 | 188.02 | 3.0753 | 209.0267 | 8.3807 | 892 | 86.5067 | 1.9853
2020-02-23 12:30:00 | 2.786 | 155.6133 | 3.2113 | 170.9933 | 3.0073 | 191.9 | 3.2533 | 200.8267 | 8.4013 | 892 | 85.2533 | 1.9587
2020-02-23 12:45:00 | 3.0727 | 155.834 | 3.5347 | 171.24 | 3.4733 | 186.96 | 3.4953 | 210.3 | 8.4547 | 891.0667 | 85.1467 | 1.822
2020-02-23 13:00:00 | 2.7767 | 153.1133 | 3.1953 | 168.2533 | 3.0967 | 177.5133 | 2.886 | 188.46 | 8.5287 | 891 | 84.4067 | 1.9947
2020-02-23 13:15:00 | 2.304 | 157.5967 | 2.652 | 173.18 | 2.608 | 193.5467 | 2.85 | 199.7 | 8.632 | 891 | 83.8267 | 1.786
2020-02-23 13:30:00 | 2.616 | 148.6613 | 3.008 | 163.3667 | 3.06 | 193.98 | 2.996 | 196.2333 | 8.67 | 891 | 83.7867 | 2.4493
2020-02-23 13:45:00 | 2.606 | 137.4393 | 2.9993 | 151.0267 | 2.944 | 182.9467 | 2.808 | 194.24 | 8.6493 | 890.0667 | 83.96 | 2.174
2020-02-23 14:00:00 | 2.3267 | 142.9613 | 2.68 | 157.0933 | 2.724 | 180.4267 | 2.766 | 205.8333 | 8.7333 | 890 | 84.4867 | 2.352
2020-02-23 14:15:00 | 2.5313 | 174.6713 | 2.916 | 191.94 | 2.9567 | 214.16 | 3.12 | 215.9333 | 8.8173 | 889.7333 | 84.6067 | 2.974
2020-02-23 14:30:00 | 2.6953 | 163.2227 | 3.1007 | 179.3533 | 3.044 | 182.4133 | 3.2767 | 194.6267 | 8.982 | 889 | 84.08 | 2.6587
2020-02-23 14:45:00 | 3.1893 | 142.5807 | 3.6807 | 156.68 | 3.6227 | 201.9133 | 3.8807 | 205.7267 | 8.8247 | 889 | 84.1333 | 2.376
2020-02-23 15:00:00 | 2.944 | 153.8793 | 3.392 | 169.0933 | 3.4187 | 173.3267 | 3.828 | 192.4867 | 8.792 | 888.4 | 83.9667 | 1.7033
2020-02-23 15:15:00 | 3.252 | 134.5927 | 3.7453 | 147.9 | 3.7687 | 172.5067 | 3.5453 | 187.8333 | 8.7773 | 888 | 83.9067 | 1.308
2020-02-23 15:30:00 | 2.5847 | 158.6347 | 2.9773 | 174.32 | 3.0147 | 190.0133 | 3.232 | 215.0533 | 8.8933 | 888 | 83.7933 | 0.48
2020-02-23 15:45:00 | 2.474 | 164.864 | 2.8467 | 181.1667 | 3.0207 | 197.8533 | 3.3547 | 219.0067 | 8.9053 | 887.7333 | 83.4067 | 0.38267
2020-02-23 16:00:00 | 2.1507 | 165.298 | 2.48 | 181.6467 | 2.7067 | 209.16 | 2.7633 | 215.58 | 8.96 | 887 | 83.1867 | 0.54067
2020-02-23 16:15:00 | 2.376 | 150.186 | 2.736 | 165.04 | 2.75 | 223.5667 | 2.996 | 225.4067 | 8.9407 | 887 | 82.6467 | 0.504
2020-02-23 16:30:00 | 2.5467 | 166.6073 | 2.93 | 183.08 | 3.2447 | 213.9 | 3.2227 | 229.72 | 8.78 | 887 | 83.28 | 0.812
2020-02-23 16:45:00 | 2.7253 | 177.8333 | 3.136 | 195.4133 | 3.3347 | 221.7667 | 3.336 | 217.84 | 8.68 | 887 | 83.5667 | 1.6627
2020-02-23 17:00:00 | 2.9307 | 170.8107 | 3.374 | 187.7 | 3.6233 | 216.5733 | 3.6153 | 214.96 | 8.5133 | 887 | 84.78 | 2.4087
2020-02-23 17:15:00 | 2.832 | 171.952 | 3.2587 | 188.96 | 3.6453 | 216.16 | 3.772 | 222.04 | 8.5573 | 886.0667 | 85.3 | 3.278
2020-02-23 17:30:00 | 2.9973 | 171.7147 | 3.45 | 188.6933 | 3.968 | 221.7067 | 4.13 | 218.5467 | 8.488 | 886 | 85.6933 | 4.332
2020-02-23 17:45:00 | 2.6253 | 170.892 | 3.022 | 187.7867 | 3.334 | 210.68 | 3.8133 | 221.98 | 8.3667 | 886 | 85.8933 | 3.638
2020-02-23 18:00:00 | 2.512 | 174.9933 | 2.8927 | 192.3 | 3.266 | 214.54 | 3.8847 | 220.4933 | 8.282 | 886 | 86.1267 | 2.3127
2020-02-23 18:15:00 | 2.2267 | 170.4427 | 2.5687 | 187.2933 | 3.1013 | 213.8733 | 3.6213 | 224.18 | 8.2133 | 886 | 86.7733 | 1.2787
2020-02-23 18:30:00 | 1.878 | 173.2253 | 2.1667 | 190.36 | 2.82 | 224.46 | 3.2433 | 214.86 | 8.128 | 886 | 86.9 | 0.888
2020-02-23 18:45:00 | 1.7533 | 179.6873 | 2.0233 | 197.4533 | 2.9153 | 225.3533 | 3.122 | 225.3467 | 8.0313 | 886 | 87.36 | 0.97133
2020-02-23 19:00:00 | 2.4073 | 173.2267 | 2.7693 | 190.3467 | 3.4813 | 225.28 | 3.4313 | 223.26 | 7.966 | 886 | 87.56 | 1.1693
2020-02-23 19:15:00 | 2.1747 | 176.574 | 2.506 | 194.0333 | 3.332 | 231.12 | 3.448 | 229.62 | 7.936 | 886 | 87.7867 | 0.88
2020-02-23 19:30:00 | 1.648 | 181.5987 | 1.9 | 199.5533 | 2.7087 | 237.86 | 2.752 | 226.1 | 7.9093 | 886 | 87.9 | 0.95667
2020-02-23 19:45:00 | 1.4867 | 171.6247 | 1.7133 | 188.5933 | 2.5227 | 224.14 | 2.8313 | 221.7733 | 7.8853 | 886 | 88.1133 | 1.378
2020-02-23 20:00:00 | 2.6587 | 177.0733 | 3.0593 | 194.58 | 3.7933 | 217.1067 | 4.1213 | 221.8733 | 7.8407 | 886 | 88.14 | 2.532
2020-02-23 20:15:00 | 2.0213 | 175.994 | 2.33 | 193.3933 | 2.902 | 217.9133 | 3.2973 | 220.14 | 7.902 | 886 | 86.8867 | 1.872
2020-02-23 20:30:00 | 1.2533 | 168.184 | 1.4507 | 184.8133 | 2.1547 | 213.4267 | 2.6067 | 221.1133 | 7.8087 | 886 | 87.3067 | 1.716
2020-02-23 20:45:00 | 1.014 | 155.8267 | 1.176 | 171.2333 | 1.5093 | 188.6267 | 2.0047 | 218.6467 | 7.692 | 886 | 88.5467 | 0.842
2020-02-23 21:00:00 | 0.70733 | 164.3773 | 0.82 | 180.6333 | 1.1833 | 192.0933 | 1.716 | 209.16 | 7.6827 | 886 | 88.5267 | 0.696
2020-02-23 21:15:00 | 0.906 | 160.252 | 1.042 | 176.1 | 1.5947 | 199.84 | 1.938 | 211.04 | 7.6373 | 886 | 88.7667 | 0.868
2020-02-23 21:30:00 | 1.48 | 161.9007 | 1.708 | 177.9067 | 2.1187 | 195.2333 | 2.324 | 206.9133 | 7.5953 | 886 | 89.2867 | 0.66067
2020-02-23 21:45:00 | 1.678 | 171.8093 | 1.9313 | 188.8 | 2.286 | 205.28 | 2.8013 | 213.7133 | 7.6933 | 886 | 88.9333 | 0.85867
2020-02-23 22:00:00 | 2.0807 | 164.8393 | 2.3967 | 181.1333 | 2.7293 | 194.8867 | 2.9727 | 206.46 | 7.6893 | 886 | 88.7067 | 1.3407
2020-02-23 22:15:00 | 2.2613 | 159.5053 | 2.6013 | 175.28 | 2.72 | 182.6533 | 2.9713 | 195.1867 | 7.642 | 886 | 89.3933 | 1.7673
2020-02-23 22:30:00 | 2.1162 | 151.086 | 2.4067 | 165.0429 | 2.4793 | 192.5929 | 2.8221 | 195.1733 | 7.5693 | 886 | 89.5 | 1.55
2020-02-23 22:45:00 | 2.0178 | 144.1144 | 2.3178 | 158.3667 | 2.5244 | 183.7111 | 2.8333 | 207.8222 | 7.5333 | 886 | 89.58 | 1.5156
2020-02-23 23:00:00 | 1.4853 | 185.1173 | 1.7153 | 203.42 | 2.34 | 218.6867 | 2.4987 | 215.0467 | 7.622 | 886 | 89.0733 | 1.1853
2020-02-23 23:15:00 | 0.51 | 171.55 | 0.59533 | 188.52 | 0.98133 | 216.04 | 1.3793 | 210.72 | 7.4813 | 886 | 89.86 | 0.66333
2020-02-23 23:30:00 | 0.083333 | 171.44 | 0.098667 | 188.4 | 0.16333 | 215.72 | 1.0107 | 221.0667 | 7.404 | 886 | 90.16 | 0.702
2020-02-23 23:45:00 | 0.698 | 171.44 | 0.812 | 188.4 | 1.1973 | 206.44 | 2.0507 | 222.6333 | 7.3953 | 886 | 90.2933 | 0.90133