## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-24 00:00:00 | 1.0571 | 171.44 | 1.2229 | 188.4 | 1.8093 | 206.9786 | 2.47 | 219.8643 | 7.4093 | 886 | 90.16 | 1.2664
2020-02-24 00:15:00 | 1.338 | 171.5067 | 1.5433 | 188.4667 | 2.1307 | 210.9467 | 2.6513 | 230.02 | 7.3747 | 886 | 90.2733 | 1.4473
2020-02-24 00:30:00 | 1.4027 | 171.44 | 1.6173 | 188.4 | 2.2187 | 205.4333 | 2.678 | 223.4867 | 7.28 | 885.4 | 90.7 | 0.75267
2020-02-24 00:45:00 | 0.26467 | 171.4667 | 0.30467 | 188.4267 | 0.51667 | 202.2067 | 0.85667 | 223.8067 | 7.2013 | 885 | 91.52 | 0
2020-02-24 01:00:00 | 0.17 | 171.48 | 0.19733 | 188.44 | 0.33333 | 243.7667 | 1.5787 | 265.9333 | 7.222 | 885 | 91.6333 | 0
2020-02-24 01:15:00 | 0.12533 | 171.5333 | 0.14667 | 188.4933 | 0.24533 | 253.1 | 1.5893 | 285.5333 | 7.3073 | 885 | 90.6667 | 0
2020-02-24 01:30:00 | 0.057333 | 162.2347 | 0.066667 | 178.2733 | 0.11333 | 253.1 | 1.3307 | 268.46 | 7.3007 | 885 | 90.74 | 0
2020-02-24 01:45:00 | 0.15733 | 34.6087 | 0.18467 | 38.024 | 0.25333 | 277.6067 | 0.92067 | 297.38 | 7.3913 | 885 | 89.7867 | 0
2020-02-24 02:00:00 | 0.17533 | 17.04 | 0.21 | 18.73 | 0.33867 | 190.8807 | 0.28533 | 314.3733 | 7.3093 | 885 | 89.86 | 0
2020-02-24 02:15:00 | 0.026 | 17.08 | 0.034 | 18.762 | 0.044667 | 20.4233 | 0.104 | 344.1 | 7.3613 | 885 | 89.2467 | 0
2020-02-24 02:30:00 | 0 | 17.0313 | 0 | 18.704 | 0 | 20.35 | 0.15467 | 344.1 | 7.376 | 885 | 89.0267 | 0
2020-02-24 02:45:00 | 0 | 17.0307 | 0 | 18.72 | 0 | 20.4033 | 0 | 344.1 | 7.4207 | 885 | 88.48 | 0
2020-02-24 03:00:00 | 0.13733 | 152.1053 | 0.16133 | 167.1373 | 0.061333 | 20.4067 | 0.049333 | 344.16 | 7.442 | 884.4 | 88.36 | 0
2020-02-24 03:15:00 | 0.55467 | 290.6027 | 0.644 | 319.3333 | 0.896 | 17.02 | 0.97733 | 105.4093 | 7.23 | 884 | 90.0467 | 0
2020-02-24 03:30:00 | 1.014 | 302.004 | 1.166 | 331.86 | 1.6273 | 11.552 | 1.7827 | 29.514 | 7.1073 | 884 | 90.96 | 0
2020-02-24 03:45:00 | 1.8327 | 320.2987 | 2.1087 | 351.9667 | 2.3853 | 130.0667 | 2.296 | 15.5507 | 7.0327 | 884 | 91.7 | 0
2020-02-24 04:00:00 | 1.8767 | 318.6407 | 2.1587 | 350.1533 | 2.452 | 66.104 | 2.6647 | 21.4567 | 7.0647 | 884 | 91.3933 | 0
2020-02-24 04:15:00 | 1.5647 | 217.016 | 1.804 | 238.4733 | 2.5467 | 78.0887 | 2.9807 | 21.0587 | 7.0013 | 883.7333 | 91.6667 | 0
2020-02-24 04:30:00 | 1.4133 | 307.814 | 1.6327 | 338.2467 | 2.556 | 12.7627 | 3.2533 | 28.0533 | 6.9407 | 883 | 92.0533 | 0
2020-02-24 04:45:00 | 1.3347 | 308.5607 | 1.5393 | 339.0733 | 2.224 | 11.3647 | 3.1567 | 33.04 | 6.8813 | 883 | 92.4333 | 0
2020-02-24 05:00:00 | 1.7607 | 304.7667 | 2.0307 | 334.9 | 2.4027 | 54.8227 | 2.9087 | 22.378 | 6.9253 | 883 | 92.2133 | 0
2020-02-24 05:15:00 | 1.8787 | 276.168 | 2.1647 | 303.4747 | 2.5713 | 72.694 | 3.168 | 19.452 | 6.9627 | 883 | 91.94 | 0
2020-02-24 05:30:00 | 2.174 | 244.2607 | 2.5027 | 268.4187 | 3.366 | 2.7593 | 3.5533 | 10.456 | 6.8893 | 883 | 92.38 | 0.91733
2020-02-24 05:45:00 | 2.1027 | 192.5493 | 2.422 | 211.59 | 3.8787 | 9.1 | 4.1553 | 19.888 | 6.7913 | 883 | 92.8333 | 3.0933
2020-02-24 06:00:00 | 2.436 | 185.2567 | 2.808 | 203.5733 | 4.4587 | 24.75 | 4.4793 | 15.8853 | 6.732 | 883 | 93.38 | 5.9613
2020-02-24 06:15:00 | 2.6707 | 142.0067 | 3.08 | 156.0453 | 5.2527 | 6.798 | 5.3387 | 13.71 | 6.686 | 883 | 93.7933 | 8.2653
2020-02-24 06:30:00 | 2.862 | 207.3573 | 3.2907 | 227.8607 | 5.3853 | 14.2213 | 5.632 | 21.5993 | 6.6433 | 883 | 94.14 | 9.6387
2020-02-24 06:45:00 | 3.006 | 191.6353 | 3.464 | 210.5807 | 5.346 | 7.4087 | 5.562 | 19.7127 | 6.5973 | 883 | 94.46 | 10.412
2020-02-24 07:00:00 | 3.5007 | 17.038 | 4.03 | 18.72 | 5.0333 | 132.0533 | 5.1433 | 23.6293 | 6.5833 | 883 | 94.7 | 12.8307
2020-02-24 07:15:00 | 3.6333 | 129.0553 | 4.1767 | 141.8107 | 5.7447 | 28.0487 | 5.7173 | 13.144 | 6.598 | 883 | 94.6467 | 12.962
2020-02-24 07:30:00 | 3.3587 | 148.1793 | 3.8633 | 162.8313 | 5.3693 | 75.772 | 5.3313 | 15.4333 | 6.68 | 883 | 93.86 | 15.684
2020-02-24 07:45:00 | 3.6327 | 208.4733 | 4.182 | 229.0867 | 5.906 | 7.782 | 6.1027 | 14.9953 | 6.5853 | 883.9333 | 93.76 | 17.1087
2020-02-24 08:00:00 | 3.4053 | 230.67 | 3.9173 | 253.4787 | 5.3113 | 8.9407 | 5.7193 | 21.63 | 6.386 | 884 | 94.34 | 15.7687
2020-02-24 08:15:00 | 3.72 | 171.0287 | 4.2807 | 187.9367 | 5.0387 | 111.6547 | 5.4093 | 12.3933 | 6.5827 | 884 | 93.8267 | 17.0927
2020-02-24 08:30:00 | 4.2027 | 18.6647 | 4.8387 | 20.5047 | 6.308 | 11.3493 | 6.4067 | 13.7247 | 7.036 | 884 | 92.4333 | 19.408
2020-02-24 08:45:00 | 3.8633 | 126.8047 | 4.446 | 139.3393 | 6.6213 | 9.772 | 6.4827 | 11.1113 | 7.73 | 884.2667 | 90.1467 | 19.582
2020-02-24 09:00:00 | 3.8033 | 153.5073 | 4.3833 | 168.686 | 6.062 | 59.456 | 6.092 | 10.4993 | 7.942 | 885 | 89.0867 | 20.0233
2020-02-24 09:15:00 | 3.8507 | 173.636 | 4.43 | 190.804 | 5.5713 | 79.6933 | 5.794 | 4.7 | 8.208 | 885 | 88.1867 | 19.6947
2020-02-24 09:30:00 | 4.5573 | 225.8353 | 5.2467 | 248.162 | 6.8973 | 128.7707 | 6.824 | 46.9327 | 8.4547 | 885.6 | 87.3667 | 22.842
2020-02-24 09:45:00 | 4.884 | 148.248 | 5.6207 | 162.9067 | 7.698 | 10.2687 | 7.5933 | 12.2247 | 9.6153 | 886 | 81.8707 | 25.646
2020-02-24 10:00:00 | 4.8187 | 69.302 | 5.544 | 76.152 | 7.8613 | 5.3127 | 7.8893 | 12.5027 | 10.32 | 886 | 78.0893 | 25.2587
2020-02-24 10:15:00 | 4.392 | 93.3153 | 5.0553 | 102.54 | 7.244 | 9.1933 | 7.4833 | 25.1253 | 10.9493 | 886.9333 | 75.1073 | 25.0833
2020-02-24 10:30:00 | 3.862 | 210.586 | 4.446 | 231.4033 | 6.8773 | 12.838 | 7.2447 | 20.9747 | 11.9467 | 887 | 72.294 | 22.8893
2020-02-24 10:45:00 | 4.14 | 201.8427 | 4.7653 | 221.8 | 7.46 | 11.018 | 7.4267 | 17.576 | 13.9927 | 887 | 63.13 | 18.9233
2020-02-24 11:00:00 | 4.3927 | 205.906 | 5.0593 | 226.264 | 7.0853 | 14.914 | 6.994 | 20.8327 | 12.9633 | 887 | 64.87 | 16.904
2020-02-24 11:15:00 | 4.6747 | 267.0627 | 5.376 | 293.468 | 7.4413 | 13.832 | 7.28 | 14.57 | 12.618 | 887 | 66.2047 | 15.0967
2020-02-24 11:30:00 | 4.5493 | 129.7393 | 5.2333 | 142.5613 | 7.5027 | 12.8767 | 7.5673 | 17.8287 | 13.3893 | 887 | 62.746 | 13.5493
2020-02-24 11:45:00 | 4.6933 | 137.8047 | 5.3993 | 151.4273 | 7.1467 | 20.5 | 7.0373 | 23.9473 | 12.994 | 887 | 62.7393 | 14.5767
2020-02-24 12:00:00 | 4.896 | 158.3907 | 5.6307 | 174.05 | 7.518 | 23.4787 | 7.4393 | 31.1307 | 13.542 | 886.4 | 59.482 | 13.358
2020-02-24 12:15:00 | 4.41 | 155.8913 | 5.0713 | 171.3067 | 7.3427 | 20.5107 | 7.3473 | 25.1913 | 14.7153 | 886 | 55.284 | 10.904
2020-02-24 12:30:00 | 4.022 | 168.2267 | 4.6293 | 184.8653 | 6.0753 | 18.6733 | 5.762 | 26.6527 | 15.0353 | 886 | 52.8593 | 7.8347
2020-02-24 12:45:00 | 3.77 | 22.1893 | 4.336 | 24.384 | 5.3093 | 18.366 | 4.9727 | 30.4173 | 14.9607 | 886 | 53.1773 | 9.272
2020-02-24 13:00:00 | 3.8227 | 39.7633 | 4.3967 | 43.6947 | 4.9453 | 18.37 | 4.922 | 29.7813 | 15.2193 | 886 | 51.6427 | 11.0707
2020-02-24 13:15:00 | 3.9467 | 53.4853 | 4.5367 | 58.7707 | 5.6587 | 25.874 | 5.1473 | 27.0027 | 15.666 | 886 | 50.422 | 9.7907
2020-02-24 13:30:00 | 4.276 | 132.2607 | 4.922 | 145.3407 | 7.0727 | 20.92 | 6.8347 | 17.6647 | 17.0967 | 886 | 45.226 | 10.5647
2020-02-24 13:45:00 | 3.906 | 151.6913 | 4.4927 | 166.6847 | 5.782 | 13.608 | 5.8687 | 17.5893 | 17.0733 | 886 | 44.6027 | 5.926
2020-02-24 14:00:00 | 3.8487 | 115.8567 | 4.4307 | 127.3133 | 5.492 | 12.626 | 5.3673 | 25.678 | 17.2187 | 886 | 43.398 | 3.3927
2020-02-24 14:15:00 | 3.2353 | 71.2647 | 3.7207 | 78.3113 | 4.14 | 65.6507 | 4.1047 | 15.45 | 16.9107 | 886 | 44.2233 | 0.30533
2020-02-24 14:30:00 | 2.2473 | 158.838 | 2.5893 | 174.542 | 2.778 | 185.3073 | 2.596 | 128.02 | 17.39 | 886 | 42.8993 | 0
2020-02-24 14:45:00 | 1.9927 | 214.8327 | 2.298 | 236.0767 | 2.3673 | 48.6093 | 2.0893 | 256.934 | 17.944 | 885.7333 | 41.352 | 0
2020-02-24 15:00:00 | 1.1907 | 147.9093 | 1.3707 | 162.5367 | 1.2547 | 202.8233 | 1.3247 | 299.86 | 17.8507 | 885 | 41.562 | 0
2020-02-24 15:15:00 | 2.0827 | 155.7553 | 2.3973 | 171.1533 | 2.3833 | 163.9867 | 2.2747 | 177.1333 | 18.1427 | 885 | 41.712 | 0
2020-02-24 15:30:00 | 2 | 156.496 | 2.3027 | 171.9667 | 2.2707 | 191.6533 | 2.35 | 189.2733 | 18.0147 | 885 | 42.3027 | 0.04
2020-02-24 15:45:00 | 2.092 | 169.2907 | 2.4167 | 186.0333 | 2.6293 | 213.5467 | 2.76 | 234.9933 | 18.3533 | 885 | 41.5207 | 0
2020-02-24 16:00:00 | 2.2067 | 181.9593 | 2.5427 | 199.9533 | 2.9027 | 230.38 | 3.216 | 237.1733 | 18.5433 | 885 | 41.0293 | 0
2020-02-24 16:15:00 | 2.26 | 174.5147 | 2.6033 | 191.7667 | 2.8993 | 247.0333 | 3.2433 | 249.3533 | 18.514 | 885 | 41.0007 | 0.142
2020-02-24 16:30:00 | 3.0827 | 152.7133 | 3.5447 | 167.82 | 3.8153 | 232.1867 | 3.9173 | 236.9933 | 18.26 | 885 | 41.756 | 1.1227
2020-02-24 16:45:00 | 3.158 | 153.5507 | 3.6347 | 168.74 | 3.8907 | 217.8533 | 3.906 | 221.2733 | 17.874 | 885 | 42.5667 | 1.0607
2020-02-24 17:00:00 | 3.1673 | 167.586 | 3.6427 | 184.16 | 3.7613 | 213.8667 | 4.046 | 221.3267 | 17.7847 | 885 | 42.9067 | 2.0247
2020-02-24 17:15:00 | 3.19 | 177.936 | 3.6667 | 195.4 | 3.9507 | 220.5533 | 4.058 | 220.9533 | 17.6007 | 885 | 43.5113 | 4.1807
2020-02-24 17:30:00 | 3.562 | 170.5773 | 4.1 | 187.4467 | 4.4393 | 217.8533 | 4.5967 | 223.7533 | 17.076 | 885 | 45.654 | 4.9567
2020-02-24 17:45:00 | 3.1247 | 165.5747 | 3.596 | 181.9467 | 3.946 | 215.3867 | 4.122 | 211.6333 | 16.5573 | 885 | 47.5967 | 6.812
2020-02-24 18:00:00 | 3.57 | 160.3947 | 4.1087 | 176.2533 | 4.3693 | 215.74 | 4.6147 | 216.5133 | 16.192 | 885 | 48.9933 | 7.7953
2020-02-24 18:15:00 | 3.6687 | 174.9093 | 4.2193 | 192.2067 | 4.5713 | 220.08 | 5.0893 | 226.2467 | 15.8793 | 885 | 50.1407 | 9.7793
2020-02-24 18:30:00 | 3.7633 | 174.424 | 4.3293 | 191.6667 | 4.6487 | 218.94 | 5.396 | 223.1067 | 15.604 | 885 | 51.2527 | 10.2253
2020-02-24 18:45:00 | 3.4007 | 170.37 | 3.9147 | 187.2067 | 4.3173 | 218.2733 | 5.1553 | 221.4133 | 15.2767 | 885 | 52.1553 | 10.6153
2020-02-24 19:00:00 | 3.5573 | 172.9413 | 4.098 | 190.04 | 4.514 | 209.3467 | 4.988 | 213.2933 | 15.0427 | 885 | 53.124 | 8.6987
2020-02-24 19:15:00 | 3.2327 | 166.414 | 3.7207 | 182.8667 | 3.798 | 196.1667 | 4.0513 | 197.0267 | 15.1693 | 885 | 53.4007 | 7.0587
2020-02-24 19:30:00 | 2.9627 | 156.348 | 3.4107 | 171.8067 | 3.604 | 185.8533 | 4.0913 | 190.5733 | 14.888 | 885 | 54.522 | 6.6507
2020-02-24 19:45:00 | 3.0347 | 157.6687 | 3.4893 | 173.26 | 3.558 | 183.2733 | 3.9607 | 181.92 | 14.914 | 885 | 54.74 | 6.4473
2020-02-24 20:00:00 | 3.1753 | 151.6007 | 3.654 | 166.5867 | 3.7333 | 185.3933 | 4.2013 | 190.06 | 14.6887 | 885 | 55.9127 | 11.5733
2020-02-24 20:15:00 | 3.632 | 146.996 | 4.18 | 161.5333 | 4.2233 | 196.0133 | 4.8127 | 182.0267 | 14.612 | 885.9333 | 56.2047 | 14.188
2020-02-24 20:30:00 | 3.972 | 148.66 | 4.5713 | 163.36 | 4.4527 | 182.7333 | 5.1 | 183.2933 | 14.3473 | 886 | 57.172 | 14.5113
2020-02-24 20:45:00 | 3.9573 | 167.0433 | 4.556 | 183.56 | 4.5407 | 196.6133 | 5.2273 | 194.6733 | 13.9387 | 886.2667 | 59.0747 | 16.1927
2020-02-24 21:00:00 | 4.328 | 159.41 | 4.9833 | 175.1733 | 4.822 | 182.32 | 5.422 | 191.7267 | 13.6367 | 887 | 61.082 | 16.382
2020-02-24 21:15:00 | 4.0947 | 172.4207 | 4.7133 | 189.4667 | 4.616 | 188.4267 | 4.942 | 196.84 | 13.3927 | 887 | 62.85 | 13.9953
2020-02-24 21:30:00 | 4.252 | 164.6467 | 4.896 | 180.92 | 4.8187 | 187.2733 | 5.3133 | 179.0867 | 13.178 | 887 | 64.492 | 15.2673
2020-02-24 21:45:00 | 3.8987 | 166.14 | 4.488 | 182.5733 | 4.5627 | 191.0867 | 4.9787 | 180.3933 | 12.814 | 887 | 66.6047 | 14.8673
2020-02-24 22:00:00 | 3.934 | 166.8513 | 4.5253 | 183.3467 | 4.4947 | 196.54 | 5.0693 | 180.1133 | 12.4787 | 887 | 69.082 | 12.9687
2020-02-24 22:15:00 | 3.882 | 166.0233 | 4.466 | 182.4333 | 4.4393 | 195.8867 | 4.9807 | 183.9133 | 12.2307 | 887 | 70.8647 | 13.0367
2020-02-24 22:30:00 | 4.0857 | 182.79 | 4.7014 | 200.8571 | 4.6486 | 170.7571 | 5.0371 | 184.8 | 12.08 | 887 | 71.7514 | 13.99
2020-02-24 22:45:00 | 4.0018 | 171.4745 | 4.6073 | 188.4273 | 4.6836 | 209.8364 | 5.1491 | 203.0364 | 11.8236 | 887 | 72.9164 | 14.9445
2020-02-24 23:00:00 | 4.0853 | 173.6167 | 4.6973 | 190.78 | 4.728 | 199.04 | 5.2547 | 189.7467 | 11.74 | 887 | 73.546 | 12.33
2020-02-24 23:15:00 | 3.532 | 186.1213 | 4.0613 | 204.5267 | 4.0893 | 191.0133 | 4.5127 | 198.44 | 11.5313 | 887 | 74.5053 | 11.918
2020-02-24 23:30:00 | 3.568 | 156.0367 | 4.1067 | 171.4667 | 4.1133 | 188.06 | 4.5987 | 180.3 | 11.334 | 887 | 75.5147 | 12.1993
2020-02-24 23:45:00 | 4.0433 | 160.1113 | 4.6567 | 175.9467 | 4.5753 | 195.94 | 4.7833 | 190.58 | 11.2013 | 887 | 76.2773 | 14.2713