## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-25 00:00:00 | 3.8079 | 159.165 | 4.3836 | 174.9071 | 4.3657 | 202.5429 | 4.6621 | 186.0929 | 11.0743 | 887 | 76.801 | 12.7371
2020-02-25 00:15:00 | 3.6487 | 158.3413 | 4.202 | 173.9933 | 4.1607 | 174.2467 | 4.8267 | 181.9267 | 10.772 | 887 | 78.2273 | 12.0313
2020-02-25 00:30:00 | 3.7193 | 152.538 | 4.276 | 167.6267 | 4.236 | 166.96 | 4.8427 | 178.24 | 10.694 | 887 | 78.6587 | 8.406
2020-02-25 00:45:00 | 3.3607 | 154.3647 | 3.8667 | 169.6267 | 4.0573 | 171.6467 | 4.812 | 170.3333 | 10.6613 | 887 | 78.668 | 6.0727
2020-02-25 01:00:00 | 3.368 | 159.416 | 3.8733 | 175.18 | 4.0147 | 167.4067 | 4.9147 | 167.66 | 10.626 | 887 | 78.934 | 6.1467
2020-02-25 01:15:00 | 3.432 | 160.8107 | 3.95 | 176.7067 | 3.9567 | 184.26 | 4.508 | 186.6133 | 10.65 | 887 | 79.17 | 6.718
2020-02-25 01:30:00 | 3.0373 | 149.9293 | 3.4993 | 164.7533 | 3.634 | 178.42 | 4.1093 | 188.5667 | 10.4573 | 887 | 80.22 | 8.9133
2020-02-25 01:45:00 | 3.5013 | 154.0647 | 4.028 | 169.2933 | 4.1927 | 184.9467 | 4.592 | 190.08 | 10.242 | 887 | 81.22 | 8.8373
2020-02-25 02:00:00 | 3.314 | 151.376 | 3.812 | 166.3467 | 4 | 199.4733 | 4.5087 | 197.16 | 10.0807 | 887 | 81.9133 | 7.3487
2020-02-25 02:15:00 | 2.8907 | 158.928 | 3.3253 | 174.64 | 3.658 | 196.8333 | 3.9873 | 203.9267 | 9.8427 | 887 | 83.1467 | 6.4233
2020-02-25 02:30:00 | 2.704 | 167.6113 | 3.108 | 184.18 | 3.2573 | 191.7867 | 3.804 | 196.3267 | 9.336 | 887 | 85.3 | 8.4507
2020-02-25 02:45:00 | 3.004 | 161.982 | 3.4553 | 178 | 3.6353 | 185.0133 | 3.9893 | 193.7467 | 8.9373 | 886.7333 | 87.38 | 7.732
2020-02-25 03:00:00 | 2.9933 | 156.1253 | 3.444 | 171.56 | 3.6227 | 191.9667 | 4.2647 | 196.36 | 8.7927 | 886 | 88.6733 | 6.4273
2020-02-25 03:15:00 | 3.1907 | 150.8187 | 3.668 | 165.7333 | 3.76 | 191.2133 | 4.176 | 186.56 | 8.9347 | 886 | 88.3933 | 6.4587
2020-02-25 03:30:00 | 2.8847 | 157.344 | 3.324 | 172.9 | 3.3813 | 199.4333 | 3.7173 | 181.2067 | 9.048 | 886 | 87.84 | 4.2247
2020-02-25 03:45:00 | 2.33 | 147.6257 | 2.6843 | 162.2143 | 2.8579 | 170.7143 | 3.3207 | 178.3 | 9.1071 | 886 | 87.5357 | 1.4847
2020-02-25 04:00:00 | 2.1707 | 145.5653 | 2.496 | 159.96 | 2.6953 | 168.36 | 2.9713 | 174.38 | 9.1613 | 886 | 87.26 | 0.36067
2020-02-25 04:15:00 | 2.3993 | 158.846 | 2.76 | 174.5533 | 3.1527 | 180.2467 | 3.264 | 178.8733 | 9.014 | 886 | 87.8667 | 0.24
2020-02-25 04:30:00 | 2.0093 | 156.048 | 2.322 | 171.48 | 2.916 | 176.06 | 3.0427 | 175.2267 | 8.9447 | 885.4 | 88.1667 | 0
2020-02-25 04:45:00 | 1.766 | 172.4873 | 2.0353 | 189.54 | 2.4527 | 170.9133 | 2.75 | 176.0667 | 9.1613 | 885 | 87.2867 | 0
2020-02-25 05:00:00 | 0.66333 | 158.038 | 0.77067 | 173.66 | 1.3007 | 166.3 | 2.2587 | 175.44 | 9.1733 | 885 | 86.98 | 0
2020-02-25 05:15:00 | 0.206 | 156.8747 | 0.23933 | 172.3933 | 0.408 | 166.2733 | 1.834 | 162.3 | 8.9973 | 885 | 87.66 | 0
2020-02-25 05:30:00 | 0.19533 | 156.88 | 0.22867 | 172.4 | 0.002 | 166.2 | 0.81 | 151 | 8.8367 | 885 | 88.5533 | 0
2020-02-25 05:45:00 | 0.4 | 156.88 | 0.468 | 172.4 | 0.10533 | 109.9853 | 0.612 | 151 | 8.91 | 885 | 88.4133 | 0
2020-02-25 06:00:00 | 1.436 | 282.1607 | 1.6573 | 310.0667 | 1.414 | 287.738 | 0.61267 | 305 | 8.9207 | 885 | 88.34 | 0
2020-02-25 06:15:00 | 1.46 | 308.55 | 1.6867 | 339.06 | 1.53 | 346.56 | 1.2493 | 354.9733 | 8.766 | 885 | 88.9933 | 0
2020-02-25 06:30:00 | 1.218 | 302.096 | 1.4027 | 331.9733 | 1.394 | 353.3067 | 1.3267 | 308.1693 | 8.6347 | 885 | 89.58 | 0
2020-02-25 06:45:00 | 1.9 | 318.0147 | 2.186 | 349.4667 | 2.6 | 192.5407 | 2.4347 | 28.788 | 8.578 | 885 | 89.7933 | 0
2020-02-25 07:00:00 | 2.286 | 68.5747 | 2.6287 | 75.3473 | 3.112 | 55.3427 | 2.942 | 10.7427 | 8.2793 | 885 | 90.4867 | 0
2020-02-25 07:15:00 | 2.5427 | 259.7113 | 2.9267 | 285.3893 | 3.29 | 74.7873 | 3.65 | 9.9467 | 7.7973 | 885 | 91.52 | 0.094
2020-02-25 07:30:00 | 2.33 | 202.992 | 2.6833 | 223.0667 | 3.0907 | 6.2467 | 3.4207 | 21.0347 | 7.5813 | 885 | 92.2867 | 0
2020-02-25 07:45:00 | 1.8973 | 202.4227 | 2.188 | 222.44 | 2.376 | 4.574 | 2.414 | 12.9127 | 7.766 | 885.9333 | 91.8667 | 0
2020-02-25 08:00:00 | 0.3 | 251.448 | 0.34733 | 276.3067 | 0.37867 | 35.922 | 0.33467 | 34.6593 | 8.1 | 886 | 90.0667 | 0
2020-02-25 08:15:00 | 1.7487 | 168.404 | 2.0153 | 185.06 | 2.5573 | 226.2 | 2.07 | 219.6267 | 7.9033 | 886 | 91.3467 | 0
2020-02-25 08:30:00 | 2.076 | 170.1487 | 2.392 | 186.9733 | 2.6153 | 213.3133 | 2.8333 | 229.2467 | 7.3627 | 886.6 | 94.36 | 0
2020-02-25 08:45:00 | 1.9913 | 178.0593 | 2.2927 | 195.6667 | 2.5587 | 204.1667 | 2.794 | 226.4933 | 7.252 | 887 | 95.4667 | 0
2020-02-25 09:00:00 | 2.3 | 163.8873 | 2.646 | 180.0933 | 2.674 | 194.7533 | 2.666 | 210.6467 | 7.5553 | 887 | 94.38 | 0
2020-02-25 09:15:00 | 2.004 | 166.7847 | 2.3113 | 183.28 | 2.3227 | 193.12 | 2.0607 | 202.1133 | 7.9033 | 887 | 92.6667 | 0
2020-02-25 09:30:00 | 0.86333 | 153.2307 | 0.99733 | 168.38 | 0.87533 | 180.7467 | 1.1413 | 197.88 | 8.2993 | 887.6 | 90.4467 | 0
2020-02-25 09:45:00 | 0.13533 | 129.4113 | 0.158 | 142.2 | 0.041333 | 213.3333 | 0.41933 | 222.72 | 8.8247 | 888 | 88.4267 | 0
2020-02-25 10:00:00 | 1.0293 | 162.2087 | 1.1913 | 178.2467 | 1.0187 | 217.48 | 1.566 | 217.92 | 9.668 | 888 | 85.8133 | 0
2020-02-25 10:15:00 | 1.6547 | 150.324 | 1.9067 | 165.1867 | 1.6373 | 190.1733 | 2.1127 | 216.5467 | 10.022 | 888 | 84.2933 | 0
2020-02-25 10:30:00 | 2.4487 | 147.7893 | 2.8213 | 162.4 | 2.7527 | 204.5067 | 3.036 | 223.56 | 10.188 | 888.6 | 83.7333 | 0
2020-02-25 10:45:00 | 3.0107 | 174.7987 | 3.4607 | 192.08 | 3.3553 | 192.88 | 3.4993 | 209.4667 | 10.5073 | 889 | 82.0133 | 0
2020-02-25 11:00:00 | 2.9407 | 151.3547 | 3.3887 | 166.32 | 3.1313 | 169.8667 | 2.7853 | 175.2933 | 10.7673 | 889 | 80.9067 | 0
2020-02-25 11:15:00 | 3.3813 | 155.0873 | 3.8953 | 170.42 | 3.6267 | 182.1867 | 3.3647 | 189.7333 | 10.156 | 889 | 83.6467 | 0
2020-02-25 11:30:00 | 2.974 | 145.1853 | 3.418 | 159.54 | 3.1507 | 177.24 | 2.76 | 188.5733 | 10.8073 | 889 | 81.1387 | 0
2020-02-25 11:45:00 | 2.94 | 136.108 | 3.3807 | 149.56 | 3.194 | 156.9467 | 2.94 | 183.9 | 11.7107 | 889 | 78.1453 | 0
2020-02-25 12:00:00 | 3.0847 | 149.5767 | 3.548 | 164.3667 | 3.3467 | 173.28 | 3.0887 | 174.9 | 11.8093 | 889 | 77.8313 | 0
2020-02-25 12:15:00 | 3.3413 | 147.9573 | 3.848 | 162.5867 | 3.6513 | 170.7267 | 3.502 | 190.3133 | 12.4127 | 889 | 75.0513 | 0
2020-02-25 12:30:00 | 3.3567 | 137.4733 | 3.8633 | 151.0667 | 3.77 | 158.44 | 3.6613 | 164.2733 | 13.218 | 889 | 71.294 | 0
2020-02-25 12:45:00 | 3.296 | 129.448 | 3.794 | 142.2533 | 3.7113 | 168.6133 | 3.528 | 172.0867 | 13.6627 | 888.7333 | 68.7307 | 0.022
2020-02-25 13:00:00 | 3.714 | 144.526 | 4.2767 | 158.82 | 4.0813 | 168.7733 | 3.8447 | 163.04 | 13.94 | 888 | 66.8407 | 0.23667
2020-02-25 13:15:00 | 3.804 | 137.11 | 4.3773 | 150.6667 | 4.308 | 163.4667 | 4.2107 | 175.3333 | 13.9387 | 888 | 65.7153 | 0.29
2020-02-25 13:30:00 | 3.7407 | 124.4427 | 4.302 | 136.7467 | 4.2227 | 163.76 | 4.062 | 176.66 | 14.154 | 888 | 65.3133 | 0.316
2020-02-25 13:45:00 | 3.268 | 127.696 | 3.7667 | 140.32 | 3.8647 | 163.0733 | 3.6727 | 167.0733 | 14.722 | 888 | 63.2173 | 0.90467
2020-02-25 14:00:00 | 3.0533 | 152.6587 | 3.5193 | 167.7533 | 3.3927 | 182.7533 | 3.6513 | 198.22 | 15.5867 | 888 | 61.0533 | 1.058
2020-02-25 14:15:00 | 3.1507 | 133.498 | 3.624 | 146.7 | 3.5927 | 167.1467 | 3.7787 | 193.2933 | 15.258 | 888 | 62.1267 | 2.148
2020-02-25 14:30:00 | 2.9933 | 153.35 | 3.4453 | 168.5133 | 3.6547 | 204.5 | 3.5273 | 217.42 | 15.2087 | 888 | 62.7613 | 1.8607
2020-02-25 14:45:00 | 3.4307 | 170.478 | 3.944 | 187.3333 | 4.118 | 228.98 | 4.1907 | 226.8667 | 15.86 | 887.3333 | 59.4393 | 4.4233
2020-02-25 15:00:00 | 3.7987 | 163.8173 | 4.3773 | 180.0067 | 4.6687 | 230.6 | 4.718 | 235.82 | 14.9887 | 888 | 62.5233 | 5.0273
2020-02-25 15:15:00 | 3.6167 | 173.44 | 4.1667 | 190.5867 | 4.6633 | 230.7867 | 4.8347 | 232.8533 | 14.794 | 887.0667 | 63.3487 | 4.3733
2020-02-25 15:30:00 | 3.098 | 182.9227 | 3.5667 | 201.0067 | 3.9727 | 233.08 | 4.084 | 235.9333 | 15.4533 | 887 | 61.0887 | 3.44
2020-02-25 15:45:00 | 2.2787 | 172.244 | 2.6253 | 189.2733 | 2.978 | 221.2333 | 3.3327 | 227.5067 | 15.566 | 887 | 61.0907 | 1.196
2020-02-25 16:00:00 | 2.182 | 170.6993 | 2.518 | 187.58 | 3.0773 | 227.1 | 3.222 | 220.62 | 15.4107 | 887 | 61.6047 | 0.39933
2020-02-25 16:15:00 | 2.3453 | 175.6613 | 2.7027 | 193.0333 | 2.9553 | 217.98 | 3.068 | 223.2467 | 14.8493 | 887 | 64.04 | 0
2020-02-25 16:30:00 | 1.724 | 172.8673 | 1.9887 | 189.96 | 2.1967 | 206.2067 | 2.3433 | 221.8533 | 14.8307 | 887 | 64.838 | 0.30533
2020-02-25 16:45:00 | 2.5927 | 160.68 | 2.9833 | 176.5667 | 3.2147 | 184.1333 | 3.1387 | 222.8133 | 15.19 | 887 | 64.0533 | 1.4067
2020-02-25 17:00:00 | 2.6587 | 172.884 | 3.0573 | 189.98 | 3.4953 | 225.8267 | 3.7853 | 226.4733 | 15.8053 | 887 | 61.3433 | 2.474
2020-02-25 17:15:00 | 2.2227 | 243.6833 | 2.566 | 267.7733 | 3.008 | 246.08 | 3.3093 | 238.52 | 16.0073 | 887 | 60.9767 | 1.514
2020-02-25 17:30:00 | 1.4893 | 158.8267 | 1.712 | 174.5267 | 1.868 | 208.9333 | 2.1427 | 227.6067 | 15.742 | 887 | 61.5633 | 0.686
2020-02-25 17:45:00 | 1.61 | 170.702 | 1.856 | 187.58 | 2.0427 | 208.12 | 2.204 | 223.2733 | 15.348 | 887 | 62.8073 | 1.0713
2020-02-25 18:00:00 | 1.7827 | 171.9927 | 2.0513 | 189 | 2.54 | 220.2067 | 2.84 | 232.2667 | 15.0313 | 887 | 64.3553 | 1.1947
2020-02-25 18:15:00 | 1.3807 | 173.5927 | 1.5927 | 190.7533 | 2.1627 | 223.14 | 2.3807 | 247.1333 | 14.752 | 887 | 65.0733 | 0.678
2020-02-25 18:30:00 | 0.914 | 156.984 | 1.058 | 172.5 | 1.5827 | 197.14 | 1.8413 | 208.3933 | 14.4533 | 887 | 65.6347 | 0.35
2020-02-25 18:45:00 | 0.99067 | 182.2687 | 1.1413 | 200.2933 | 1.7293 | 209.5067 | 2.1287 | 217.86 | 14.2767 | 887 | 66.308 | 0.13667
2020-02-25 19:00:00 | 1.5973 | 176.2633 | 1.8433 | 193.6933 | 2.2393 | 206.74 | 2.538 | 218.1133 | 14.2667 | 887 | 66.0327 | 0.71867
2020-02-25 19:15:00 | 2.364 | 168.788 | 2.724 | 185.48 | 2.852 | 194.4267 | 3.162 | 203.3 | 14.3293 | 887 | 65.712 | 2.0207
2020-02-25 19:30:00 | 1.944 | 160.9007 | 2.236 | 176.8133 | 2.4187 | 183.5333 | 2.6653 | 187.5133 | 14.178 | 887 | 66.388 | 1.5313
2020-02-25 19:45:00 | 2.2553 | 149.2433 | 2.596 | 164 | 2.6853 | 171.72 | 2.904 | 185.5667 | 13.87 | 887 | 68.1353 | 1.4373
2020-02-25 20:00:00 | 2.1267 | 153.0827 | 2.4493 | 168.22 | 2.6607 | 182.88 | 3.154 | 198.5333 | 13.5513 | 887 | 69.7087 | 3.424
2020-02-25 20:15:00 | 2.234 | 176.8293 | 2.576 | 194.3133 | 2.7527 | 184.0733 | 3.0587 | 202.6 | 13.4333 | 887 | 70.564 | 2.846
2020-02-25 20:30:00 | 2.2133 | 166.4673 | 2.5473 | 182.9333 | 2.8333 | 196.0867 | 3.3667 | 200.9933 | 13.2393 | 887 | 71.648 | 2.914
2020-02-25 20:45:00 | 2.4347 | 168.1293 | 2.804 | 184.76 | 3.066 | 188.5867 | 3.2613 | 197.7067 | 13.2207 | 887 | 71.8427 | 3.1467
2020-02-25 21:00:00 | 2.0333 | 167.7207 | 2.3453 | 184.3067 | 2.5767 | 195.98 | 2.672 | 201.8533 | 13.244 | 887 | 71.6 | 3.4707
2020-02-25 21:15:00 | 2.104 | 180.4747 | 2.4213 | 198.3267 | 2.8067 | 195.7867 | 2.8533 | 203.6333 | 13.0093 | 887 | 72.562 | 4.1527
2020-02-25 21:30:00 | 1.8947 | 168.5327 | 2.184 | 185.2 | 2.57 | 203.4267 | 2.6627 | 210.0067 | 12.758 | 887 | 74.2413 | 4.1313
2020-02-25 21:45:00 | 2.5127 | 156.5573 | 2.894 | 172.0333 | 3.2233 | 167.5533 | 3.084 | 177.6467 | 12.37 | 887.2667 | 75.8267 | 2.0213
2020-02-25 22:00:00 | 2.6373 | 167.2153 | 3.036 | 183.7467 | 3.3027 | 181.38 | 3.068 | 195.9133 | 12.1627 | 888 | 76.74 | 2.0193
2020-02-25 22:15:00 | 3.5087 | 158.28 | 4.0433 | 173.9267 | 4.2667 | 190.36 | 4.046 | 206.2 | 12.1873 | 888 | 77.182 | 7.2313
2020-02-25 22:30:00 | 3.638 | 169.48 | 4.189 | 186.24 | 4.645 | 210.5 | 5.102 | 225.9 | 12.339 | 888 | 78.131 | 11.309
2020-02-25 22:45:00 | 3.46 | 178.092 | 3.98 | 195.7 | 4.528 | 220.64 | 5.264 | 226.44 | 12.164 | 888 | 80.68 | 9.595
2020-02-25 23:00:00 | 3.1047 | 173.3047 | 3.5767 | 190.5667 | 3.632 | 201.2 | 3.5753 | 196.5067 | 12.068 | 888.6 | 81.3267 | 3.7147
2020-02-25 23:15:00 | 3.6467 | 144.5107 | 4.1933 | 158.8 | 4.0947 | 178.22 | 4.3867 | 185.34 | 11.9493 | 888.7333 | 81.22 | 3.4767
2020-02-25 23:30:00 | 3.7053 | 160.376 | 4.2647 | 176.2333 | 4.2307 | 183.18 | 4.5893 | 188.24 | 11.7907 | 888 | 81.9467 | 2.9047
2020-02-25 23:45:00 | 3.39 | 155.1807 | 3.9033 | 170.5267 | 4.2007 | 192.74 | 4.262 | 200.2933 | 11.566 | 888 | 83.42 | 2.318