## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-02-26 00:00:00 | 2.3329 | 162.3357 | 2.6879 | 178.3857 | 3.1307 | 196.9571 | 3.1514 | 204.85 | 11.4007 | 888 | 84.29 | 0.315
2020-02-26 00:15:00 | 2.148 | 159.4727 | 2.474 | 175.24 | 2.6267 | 194.34 | 2.6573 | 186.98 | 11.2947 | 888 | 85.6533 | 0
2020-02-26 00:30:00 | 2.2247 | 179.1387 | 2.558 | 196.8533 | 2.8733 | 213.1467 | 2.6987 | 194.4533 | 11.192 | 888 | 87.18 | 0.56533
2020-02-26 00:45:00 | 2.2107 | 166.1907 | 2.5413 | 182.62 | 3.2107 | 224.9333 | 2.6627 | 219.2867 | 11.2387 | 888 | 87.98 | 0.33133
2020-02-26 01:00:00 | 1.6487 | 189.5547 | 1.8953 | 208.3 | 2.5447 | 223 | 2.1253 | 211.8933 | 11.194 | 888 | 88.3667 | 0
2020-02-26 01:15:00 | 0.63867 | 164.0087 | 0.742 | 180.22 | 1.1827 | 220.4533 | 1.87 | 230.4933 | 11.114 | 888 | 88.74 | 0
2020-02-26 01:30:00 | 0.864 | 174.1327 | 0.99533 | 191.3467 | 1.6593 | 229.3333 | 2.1013 | 234.2933 | 11.1013 | 888 | 89.06 | 0
2020-02-26 01:45:00 | 0.93867 | 138.3053 | 1.0847 | 151.98 | 1.4387 | 214.7467 | 2.182 | 226.0867 | 11.1547 | 888 | 89.0067 | 0
2020-02-26 02:00:00 | 0.86933 | 135.736 | 1.008 | 149.16 | 1.116 | 154.9733 | 1.5007 | 193.38 | 10.9967 | 888 | 89.06 | 0
2020-02-26 02:15:00 | 0.94667 | 154.8 | 1.0867 | 170.1 | 1.462 | 187.2667 | 1.8167 | 195.5 | 10.858 | 888 | 89.24 | 0
2020-02-26 02:30:00 | 0.90867 | 159.77 | 1.0507 | 175.56 | 1.4707 | 195.12 | 1.892 | 186.44 | 10.8927 | 888 | 89.4933 | 0
2020-02-26 02:45:00 | 1.5893 | 167.0813 | 1.8333 | 183.6 | 2.1593 | 189.8333 | 2.4053 | 183.3867 | 10.9173 | 888 | 89.8867 | 0
2020-02-26 03:00:00 | 1.5387 | 171.6213 | 1.778 | 188.5867 | 2.1553 | 200.92 | 2.1347 | 207.1 | 10.812 | 888 | 90.54 | 0
2020-02-26 03:15:00 | 1.634 | 184.08 | 1.8833 | 202.28 | 2.2587 | 208.7667 | 2.442 | 205.1067 | 10.736 | 888 | 91.1533 | 0
2020-02-26 03:30:00 | 1.9907 | 172.3133 | 2.2967 | 189.3467 | 2.916 | 215.4 | 2.6633 | 194.5867 | 10.7473 | 888 | 91.26 | 0.021333
2020-02-26 03:45:00 | 2.67 | 188.5907 | 3.0713 | 207.2333 | 4.058 | 231.8467 | 3.8787 | 221.0467 | 10.6387 | 888 | 91.6867 | 2.5287
2020-02-26 04:00:00 | 2.992 | 169.02 | 3.442 | 185.7333 | 4.116 | 225.48 | 4.7573 | 235.0533 | 10.4307 | 887.4 | 92.52 | 4.4853
2020-02-26 04:15:00 | 2.9253 | 158.6967 | 3.374 | 174.3867 | 3.8993 | 226.7333 | 4.8267 | 236.2533 | 10.2153 | 887.2667 | 93.9933 | 3.3413
2020-02-26 04:30:00 | 2.4387 | 150.3427 | 2.806 | 165.2067 | 2.936 | 198.02 | 3.5227 | 230.36 | 9.786 | 887.4 | 95.02 | 1.4113
2020-02-26 04:45:00 | 2.274 | 155.698 | 2.6153 | 171.0933 | 3.1253 | 215.62 | 3.4147 | 219.4133 | 9.5807 | 887 | 96.56 | 0.498
2020-02-26 05:00:00 | 2.6987 | 169.672 | 3.106 | 186.4467 | 3.3273 | 202.46 | 3.3533 | 207.12 | 9.604 | 887 | 96.6267 | 0.47
2020-02-26 05:15:00 | 2.445 | 166.3357 | 2.8207 | 182.7786 | 3.0271 | 194.1929 | 3.2543 | 192.4357 | 9.5836 | 887 | 97.0286 | 0
2020-02-26 05:30:00 | 2.1747 | 163.03 | 2.5047 | 179.1533 | 2.826 | 181.6533 | 2.7967 | 172.62 | 10.0447 | 887 | 95.4667 | 0
2020-02-26 05:45:00 | 1.726 | 161.2467 | 1.992 | 177.1867 | 2.482 | 173.22 | 2.9653 | 168.7467 | 10.2267 | 887 | 94.36 | 0
2020-02-26 06:00:00 | 1.2867 | 156.6647 | 1.484 | 172.1533 | 1.922 | 177.3333 | 2.254 | 169.38 | 10.302 | 887 | 93.86 | 0
2020-02-26 06:15:00 | 1.4873 | 169.0133 | 1.7127 | 185.72 | 1.9553 | 195.6867 | 2.43 | 179.4733 | 10.258 | 887 | 93.7067 | 0
2020-02-26 06:30:00 | 2.094 | 172.346 | 2.408 | 189.3867 | 2.728 | 191.0067 | 3.0893 | 191.1667 | 10.2427 | 887.6 | 93.7467 | 0
2020-02-26 06:45:00 | 2.04 | 154.5227 | 2.3507 | 169.8067 | 2.532 | 183.74 | 2.98 | 182.2933 | 10.26 | 888 | 93.6933 | 0
2020-02-26 07:00:00 | 1.2893 | 160.11 | 1.4947 | 175.94 | 1.8407 | 203.5533 | 2.5827 | 187.1533 | 10.196 | 888 | 94.0667 | 0
2020-02-26 07:15:00 | 0.94733 | 173.064 | 1.0927 | 190.18 | 1.468 | 203.9933 | 2.0707 | 191.7733 | 10.2033 | 888 | 94.3933 | 0
2020-02-26 07:30:00 | 0.61933 | 176.402 | 0.71267 | 193.84 | 1.1153 | 198.4333 | 1.5653 | 181.9267 | 10.196 | 888 | 94.56 | 0
2020-02-26 07:45:00 | 0.48533 | 176.37 | 0.56533 | 193.8 | 0.954 | 196.02 | 1.2887 | 182.5 | 10.2387 | 888 | 94.48 | 0
2020-02-26 08:00:00 | 0.44933 | 176.37 | 0.52333 | 193.8 | 0.87933 | 195.74 | 1.522 | 182.5 | 10.272 | 888 | 94.24 | 0
2020-02-26 08:15:00 | 1.0007 | 176.4233 | 1.1493 | 193.8667 | 1.436 | 196.7533 | 1.9207 | 184.4333 | 10.3213 | 888 | 94.2 | 0
2020-02-26 08:30:00 | 0.328 | 185.8627 | 0.37933 | 204.2333 | 0.496 | 202.64 | 1.5607 | 191.78 | 10.434 | 888 | 93.6733 | 0
2020-02-26 08:45:00 | 0.024 | 191.84 | 0.028 | 210.8 | 0.044 | 202.5 | 0.616 | 190.5 | 10.5833 | 888 | 93.1267 | 0
2020-02-26 09:00:00 | 0.005333 | 190.164 | 0.006667 | 208.96 | 0 | 202.5 | 0 | 190.5 | 10.816 | 888.6 | 92.3467 | 0
2020-02-26 09:15:00 | 0.050667 | 179.27 | 0.059333 | 197 | 0 | 202.5267 | 0.67533 | 194.3533 | 10.818 | 889 | 92.42 | 0
2020-02-26 09:30:00 | 0.25733 | 176.87 | 0.30333 | 194.36 | 0.32333 | 204.9933 | 1.2607 | 221.2933 | 10.6933 | 889 | 93.02 | 0
2020-02-26 09:45:00 | 1.0787 | 153.1687 | 1.242 | 168.3133 | 1.482 | 212.28 | 1.8953 | 230.4733 | 10.6807 | 889.9333 | 93.5267 | 0
2020-02-26 10:00:00 | 1.8707 | 172.8993 | 2.1593 | 190 | 2.362 | 207.7067 | 2.3053 | 218.02 | 10.7493 | 890 | 93.06 | 0
2020-02-26 10:15:00 | 1.426 | 150.1413 | 1.6487 | 164.9867 | 1.4713 | 183.98 | 1.6227 | 201.1467 | 10.5487 | 890 | 94.1933 | 0
2020-02-26 10:30:00 | 1.6313 | 146.322 | 1.88 | 160.7933 | 1.6433 | 196.58 | 2.12 | 212.0267 | 10.3773 | 890 | 94.8467 | 0
2020-02-26 10:45:00 | 2.2213 | 142.5633 | 2.5627 | 156.66 | 2.718 | 205.36 | 3.0407 | 207.9733 | 10.4767 | 890 | 94.22 | 0
2020-02-26 11:00:00 | 2.476 | 149.2407 | 2.854 | 163.9933 | 2.806 | 196.7933 | 2.9933 | 204.5333 | 10.5827 | 890 | 93.4867 | 0
2020-02-26 11:15:00 | 3.1273 | 154.84 | 3.5987 | 170.1533 | 3.532 | 189.58 | 3.5747 | 196.7533 | 10.5687 | 890 | 93.18 | 0
2020-02-26 11:30:00 | 2.506 | 154.6133 | 2.8807 | 169.9 | 2.9867 | 189.7267 | 3.0987 | 202.2133 | 10.7033 | 890 | 92.7533 | 0
2020-02-26 11:45:00 | 1.6853 | 164.3227 | 1.9427 | 180.5667 | 1.9033 | 202.18 | 2.216 | 204.8133 | 10.982 | 890 | 91.6267 | 0
2020-02-26 12:00:00 | 1.5207 | 155.6 | 1.7553 | 170.9867 | 1.8073 | 203.22 | 1.8207 | 223.8133 | 11.2353 | 890 | 90.9333 | 0
2020-02-26 12:15:00 | 1.7933 | 159.9207 | 2.0727 | 175.74 | 2.286 | 213.56 | 2.4367 | 227.1133 | 11.388 | 890 | 91.0933 | 0
2020-02-26 12:30:00 | 2.1907 | 149.3907 | 2.5253 | 164.1667 | 2.3347 | 210.6733 | 2.3547 | 219.9133 | 11.432 | 890 | 90.1333 | 0
2020-02-26 12:45:00 | 1.8293 | 150.6873 | 2.1067 | 165.5933 | 1.8613 | 205.88 | 2.326 | 217.1467 | 11.4907 | 890 | 90.2467 | 0
2020-02-26 13:00:00 | 1.696 | 154.0227 | 1.9567 | 169.2533 | 1.7427 | 204.0533 | 1.9713 | 223.92 | 11.6827 | 890 | 89.4 | 0
2020-02-26 13:15:00 | 1.8427 | 139.1487 | 2.1187 | 152.9067 | 1.712 | 192.6733 | 2.0587 | 227.3933 | 11.364 | 889.0667 | 90.5933 | 0
2020-02-26 13:30:00 | 2.3627 | 155.948 | 2.7167 | 171.3667 | 2.628 | 201.3067 | 2.564 | 222.8133 | 11.2353 | 889 | 91.5267 | 0
2020-02-26 13:45:00 | 2.132 | 161.2367 | 2.4553 | 177.18 | 2.3433 | 192.0467 | 2.6033 | 217.8467 | 10.9153 | 888.7333 | 93.2467 | 0
2020-02-26 14:00:00 | 2.1807 | 158.7487 | 2.5093 | 174.4467 | 2.3127 | 197.8333 | 2.9053 | 219.6467 | 10.8513 | 888 | 93.56 | 0
2020-02-26 14:15:00 | 1.6613 | 150.41 | 1.9227 | 165.28 | 1.7933 | 202.3 | 2.5487 | 233.0067 | 11.0167 | 888 | 92.2533 | 0
2020-02-26 14:30:00 | 1.8613 | 147.86 | 2.1433 | 162.4733 | 1.9353 | 183.06 | 2.1307 | 217.8733 | 11.1307 | 888 | 92.4667 | 0
2020-02-26 14:45:00 | 2.2007 | 160.4753 | 2.5373 | 176.34 | 2.5407 | 213.9267 | 2.962 | 227.8667 | 11.1833 | 888 | 92.28 | 0
2020-02-26 15:00:00 | 2.106 | 167.2853 | 2.4247 | 183.8267 | 2.752 | 229.8667 | 3.5667 | 230.2667 | 11.4173 | 887.4 | 91.26 | 0.71933
2020-02-26 15:15:00 | 2.4727 | 165.0727 | 2.8447 | 181.3933 | 3.0633 | 218.3733 | 3.5147 | 227.4533 | 11.7713 | 887.9333 | 89.0067 | 1.4487
2020-02-26 15:30:00 | 2.15 | 180.3473 | 2.4753 | 198.18 | 2.742 | 223.0467 | 3.1793 | 230.3533 | 11.7353 | 888 | 89.0867 | 0.976
2020-02-26 15:45:00 | 2.4187 | 176.596 | 2.786 | 194.06 | 3.0473 | 226.4667 | 3.43 | 229.52 | 11.7467 | 887.7333 | 89.2667 | 0.74467
2020-02-26 16:00:00 | 1.8853 | 157.0167 | 2.1693 | 172.5467 | 2.32 | 208 | 2.672 | 227.0533 | 11.84 | 887 | 89.1733 | 0.26133
2020-02-26 16:15:00 | 1.636 | 151.8413 | 1.89 | 166.8533 | 1.7513 | 199.2067 | 2.0687 | 229.0467 | 11.6327 | 887 | 90.6133 | 0.438
2020-02-26 16:30:00 | 1.9393 | 154.236 | 2.238 | 169.4867 | 2.1013 | 193.2933 | 2.2413 | 215.7667 | 11.5987 | 887 | 90.6867 | 0.49867
2020-02-26 16:45:00 | 1.592 | 158.9553 | 1.8353 | 174.6733 | 1.86 | 216.02 | 2.4447 | 219.2533 | 11.934 | 887 | 89.06 | 0.13333
2020-02-26 17:00:00 | 1.332 | 148.9033 | 1.536 | 163.62 | 1.384 | 196.5067 | 1.878 | 212.1667 | 12.206 | 887 | 87.4733 | 0
2020-02-26 17:15:00 | 1.4727 | 159.9507 | 1.6993 | 175.7667 | 1.678 | 211.58 | 1.9553 | 222.9667 | 12.2547 | 887 | 87.12 | 0
2020-02-26 17:30:00 | 0.868 | 165.066 | 1.004 | 181.3867 | 0.952 | 201.92 | 1.554 | 203.6733 | 12.2127 | 887 | 87.2133 | 0
2020-02-26 17:45:00 | 0.48267 | 163.362 | 0.554 | 179.5133 | 0.54533 | 214.0867 | 1.4647 | 230.58 | 12.3 | 887 | 86.24 | 0
2020-02-26 18:00:00 | 0.056 | 160.34 | 0.064 | 176.2 | 0.039333 | 221.6 | 0.976 | 245.3133 | 12.412 | 887 | 85.7267 | 0
2020-02-26 18:15:00 | 0.69467 | 161.4787 | 0.808 | 177.44 | 0.85067 | 212.2933 | 1.704 | 221.4933 | 12.4107 | 887 | 85.5933 | 0.27067
2020-02-26 18:30:00 | 1.1593 | 177.584 | 1.3393 | 195.14 | 1.844 | 221.42 | 2.4027 | 222.42 | 12.3733 | 887 | 85.08 | 0.95933
2020-02-26 18:45:00 | 1.112 | 169.5353 | 1.284 | 186.2933 | 1.9353 | 213.8333 | 2.2353 | 209.82 | 12.228 | 887 | 84.1733 | 1.5427
2020-02-26 19:00:00 | 0.284 | 162.08 | 0.32933 | 178.1 | 0.53 | 187.7467 | 1.3387 | 193.06 | 12.122 | 887 | 83.7933 | 1.008
2020-02-26 19:15:00 | 0.74333 | 156.534 | 0.862 | 172.0133 | 1.2847 | 163.2733 | 1.796 | 181.0467 | 12.0707 | 887 | 83.7933 | 0.81733
2020-02-26 19:30:00 | 0.87933 | 152.61 | 1.0107 | 167.7 | 1.6073 | 163.0133 | 1.7333 | 165.9 | 12.044 | 887 | 84.3733 | 0.29267
2020-02-26 19:45:00 | 1.2947 | 153.2967 | 1.492 | 168.4467 | 1.972 | 164.1667 | 2.1653 | 173.18 | 12.092 | 887.2667 | 85.7733 | 0.76
2020-02-26 20:00:00 | 1.7807 | 161.842 | 2.054 | 177.84 | 2.5133 | 180.0067 | 2.788 | 184.3467 | 12.1667 | 888 | 85.7867 | 1.1447
2020-02-26 20:15:00 | 1.358 | 167.398 | 1.566 | 183.9467 | 2.104 | 187.1133 | 2.288 | 186.9133 | 12.2373 | 888 | 85.8133 | 0.32733
2020-02-26 20:30:00 | 1.4733 | 176.1567 | 1.6973 | 193.5733 | 2.1407 | 193.56 | 2.4127 | 184.72 | 12.272 | 888 | 86.4933 | 0.622
2020-02-26 20:45:00 | 1.3467 | 173.522 | 1.554 | 190.6733 | 2.076 | 193.2933 | 2.3607 | 189.44 | 12.2987 | 888 | 86.9867 | 0.004
2020-02-26 21:00:00 | 0.678 | 174.25 | 0.78667 | 191.48 | 1.2727 | 193.1667 | 2.004 | 191.68 | 12.2 | 888 | 87.34 | 0
2020-02-26 21:15:00 | 0.16867 | 174.254 | 0.2 | 191.4933 | 0.33933 | 198.4267 | 1.552 | 192.96 | 12.1213 | 888.9333 | 87.8467 | 0
2020-02-26 21:30:00 | 0.058667 | 174.26 | 0.069333 | 191.5 | 0.12 | 198.44 | 0.56867 | 211.28 | 12.08 | 889 | 88.1 | 0
2020-02-26 21:45:00 | 0.003333 | 270.676 | 0.003333 | 297.4467 | 0 | 198.4 | 0 | 211.2 | 11.9567 | 889 | 88.7867 | 0
2020-02-26 22:00:00 | 0 | 294.84 | 0 | 324 | 0 | 198.4 | 0 | 211.2 | 11.848 | 889 | 89.14 | 0
2020-02-26 22:15:00 | 0.418 | 297.96 | 0.47933 | 327.4267 | 0.46933 | 198.4 | 0.32533 | 211.2 | 11.8353 | 889 | 89.1 | 0
2020-02-26 22:30:00 | 1.7113 | 275.3847 | 1.972 | 302.6133 | 2.1427 | 50.12 | 1.894 | 116.964 | 11.7667 | 889 | 89.5867 | 0
2020-02-26 22:45:00 | 2.388 | 189.266 | 2.748 | 207.98 | 3.128 | 4.158 | 2.888 | 10.084 | 11.534 | 889 | 91.38 | 0
2020-02-26 23:00:00 | 2.124 | 309.2007 | 2.4473 | 339.7733 | 3.1153 | 105.8733 | 3.61 | 27.5167 | 11.446 | 889 | 92.1 | 0.16467
2020-02-26 23:15:00 | 1.8593 | 209.97 | 2.14 | 230.7333 | 2.8893 | 13.4773 | 3.254 | 17.8713 | 11.3613 | 889 | 92.1 | 0.49
2020-02-26 23:30:00 | 1.8253 | 269.81 | 2.106 | 296.4867 | 3.544 | 13.508 | 3.6907 | 16.8027 | 11.2773 | 889 | 92.0467 | 1.0387
2020-02-26 23:45:00 | 1.652 | 289.944 | 1.9033 | 318.6133 | 3.2707 | 17.4533 | 3.9953 | 18.0053 | 11.2147 | 889 | 92.22 | 2.0547